## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.03.12 00:01:00.106 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.10 15:44:39.984 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.10 15:44:39.984 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.10 10:15:16.156 | AEN-W-PSD-020 | Arden Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.156 | AEN-W-PSD-021 | Arden Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.155 | AEN-W-PSD-019 | Arden Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.105 | AEN-W-PSD-015 | Arden Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.105 | AEN-W-PSD-016 | Arden Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.105 | AEN-W-PSD-017 | Arden Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.105 | AEN-W-PSD-018 | Arden Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.104 | AEN-W-PSD-013 | Arden Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.104 | AEN-W-PSD-014 | Arden Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.040 | AEN-W-PSD-007 | Arden Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.040 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.040 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.040 | AEN-W-PSD-010 | Arden Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.040 | AEN-W-PSD-011 | Arden Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.040 | AEN-W-PSD-012 | Arden Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.039 | AEN-W-PSD-006 | Arden Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.038 | AEN-W-PSD-004 | Arden Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:15:16.038 | AEN-W-PSD-005 | Arden Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.181 | AEN-E-PSD-020 | Arden Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.181 | AEN-E-PSD-021 | Arden Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.180 | AEN-E-PSD-013 | Arden Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.180 | AEN-E-PSD-014 | Arden Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.180 | AEN-E-PSD-015 | Arden Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.180 | AEN-E-PSD-016 | Arden Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.180 | AEN-E-PSD-017 | Arden Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.180 | AEN-E-PSD-018 | Arden Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.180 | AEN-E-PSD-019 | Arden Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-001 | Arden Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-002 | Arden Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-003 | Arden Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-004 | Arden Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-005 | Arden Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-006 | Arden Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-007 | Arden Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-008 | Arden Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-009 | Arden Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-010 | Arden Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-011 | Arden Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 10:10:56.039 | AEN-E-PSD-012 | Arden Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.10 09:47:58.013 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.10 09:47:58.013 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.10 09:03:38.030 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.09 15:31:42.423 | PKV-W-PSD-017 | Parkville Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:42.411 | PKV-W-PSD-009 | Parkville Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:42.410 | PKV-W-PSD-006 | Parkville Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:42.395 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-003 | Parkville Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-005 | Parkville Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-007 | Parkville Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-008 | Parkville Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-010 | Parkville Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-011 | Parkville Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-012 | Parkville Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-013 | Parkville Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-014 | Parkville Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-015 | Parkville Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-016 | Parkville Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-018 | Parkville Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-019 | Parkville Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:24.427 | PKV-E-PSD-012 | Parkville Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:24.390 | PKV-E-PSD-002 | Parkville Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:24.390 | PKV-E-PSD-003 | Parkville Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:24.390 | PKV-E-PSD-005 | Parkville Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:22.418 | PKV-E-PSD-013 | Parkville Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:22.418 | PKV-E-PSD-014 | Parkville Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:22.392 | PKV-E-PSD-004 | Parkville Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:22.392 | PKV-E-PSD-006 | Parkville Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:22.392 | PKV-E-PSD-007 | Parkville Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:22.392 | PKV-E-PSD-008 | Parkville Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:22.392 | PKV-E-PSD-009 | Parkville Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:22.392 | PKV-E-PSD-010 | Parkville Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 14:23:22.392 | PKV-E-PSD-011 | Parkville Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 13:06:22.405 | PKV-W-PSD-020 | Parkville Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 13:06:22.390 | PKV-W-PSD-002 | Parkville Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.09 12:55:43.874 | PDM-Z-8501 | ZONE 8501: B2, EPZ-A-01 | Smoke or heat detected - fire unconfirmed! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.08 12:53:48.011 | PKV-Z-4389 | ZONE 4389: PKV-AJ-02, ESCALATOR 14 CONC. (BOTTOM) | Confirmed fire! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.08 10:37:23.332 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.08 10:37:22.995 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.08 10:36:46.703 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.10 10:08:00.254 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.08 14:08:07.473 | _Mod_Plc_4_2 | MTARD:_Mod_Plc_4_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.08 14:08:07.473 | _Mod_Plc_3_2 | MTARD:_Mod_Plc_3_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.08 14:08:07.473 | _Mod_Plc_2_2 | MTARD:_Mod_Plc_2_2. | Communications Fault - Arden Server 2 to Arden FDS Gateway |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 11:59:41.831 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.829 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.827 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.825 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.823 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.822 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.819 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.817 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.777 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.757 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:13:40.523 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.03.08 10:34:44.107 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Power supply to fire panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.08 10:34:39.460 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Power supply to fire panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 10:32:11.088 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 10:32:10.843 | DMA-FIP-0005 | Anzac Station SHCIE Panel 5 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 10:32:10.806 | PKV-FIP-0006 | Parkville Station SHCIE Panel 5 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.08 10:32:10.597 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 10:32:10.518 | PKV-FIP-0005 | Parkville Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.08 10:32:10.352 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 10:32:10.234 | PKV-FIP-0004 | Parkville Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.08 10:32:10.106 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 10:31:34.899 | AEN-S-STN | Arden Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.12 08:09:26.257 | AEN_DOR_GF_405-2_2 | East Emergency Stairs - Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.12 08:06:10.345 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.10 20:04:36.105 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.10 16:30:07.482 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 14:24:08.689 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 14:03:08.402 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 13:57:40.409 | TNC-W-PSD-003 | State Library Platform 1 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 13:22:16.409 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-03A | Traction Section Arden to Parkville | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-03B | Traction Section Arden to Parkville section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-04A | Traction Section Parkville Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-04B | Traction Section Parkville Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-05A | Traction Section Parkville to State Library | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-05B | Traction Section Parkville to State Library section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-06A | Traction Section State Library Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-06B | Traction Section State Library Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-07A | Traction Section State Library to Town Hall | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-07B | Traction Section State Library to Town hall section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.434 | ESS-Section-08A | Traction Section Town Hall Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 13:01:15.432 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 12:41:16.726 | DMA-W-PSD-004 | Anzac Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.10 12:40:44.033 | AEN-E-PSD-006 | Arden Platform 2 Zone 1 PSD 06 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.10 12:34:34.403 | TNC-E-PSD-021 | State Library Platform 2 Zone 2 PSD 21 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 12:29:54.730 | DMA-W-PSD-001 | Anzac Platform 1 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.10 12:06:12.411 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 12:05:58.408 | TNC-E-PSD-004 | State Library Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 11:42:42.690 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 11:42:28.688 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 11:32:58.689 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 11:30:52.411 | TNC-E-PSD-001 | State Library Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 11:19:46.246 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 11:19:46.246 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 11:03:58.687 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 10:37:00.247 | SKP-DT-1006 | Westbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 10:30:50.682 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 10:12:56.241 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 10:11:14.240 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 10:09:12.242 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.10 10:08:00.244 | SKP-DT-1005 | Westbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.09 18:26:22.405 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.09 18:21:46.685 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.08 17:15:35.945 | SDU_FCU_0402 | Air Cooled Unit | Communications lost alarm |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.08 15:17:27.199 | PKV_FCU_1222_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 14:49:35.829 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 14:10:35.393 | AEN_DOR_GF_246-2_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 13:57:26.018 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 13:57:06.106 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 13:37:11.479 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 12:50:30.140 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 12:29:57.106 | PKV-ASD-0013 | B2, PKV-ASD-0013 Conc 102-3 Esc.14-16 F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 12:29:52.192 | PKV-ASD-0018 | B2, PKV-ASD-0018 Conc Skylight 1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 12:26:04.816 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 12:25:53.725 | WPZ-FIP-0001 | Western Portal Station Fire Panel | Fire panels in the station have a power fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.08 12:01:22.391 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 12:01:22.384 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 2 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 11:59:41.784 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.08 11:59:41.780 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 11:59:41.772 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.08 11:59:41.769 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 11:11:00.098 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 11:11:00.098 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 11:07:45.076 | PKV_AHU_1301_MCV_01 | Air Handling Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 11:07:45.076 | PKV_AHU_1303_MCV_01 | Air Handling Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 11:07:45.076 | PKV_AHU_1305_MCV_01 | Air Handling Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 11:07:06.119 | PKV_FCU_1116_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 11:07:06.108 | PKV_FCU_1115_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 11:07:06.108 | PKV_FCU_1119_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 11:07:06.098 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 11:06:35.942 | SDU_FCU_1001 | Air Cooled Unit | Communications lost alarm |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.08 11:06:19.137 | PKV_FCU_1221_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 11:05:11.084 | PKV_FCU_1115_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:14.207 | PKV-SPE-1316 | B2, PKV-SPE-1316 STORE RM 213-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:13.920 | PKV-SPE-1315 | B2, PKV-SPE-1315 CONC. ADJ LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:13.627 | PKV-SPE-1313 | B2, PKV-SPE-1313 SMO 204-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:10.923 | PKV-SPE-1211 | B3, PKV-SPE-1211 FIRE ESC.C'DOR 405-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:10.634 | PKV-SPE-1210 | B3 PKV-SPE-1210 FIRE ESC.C'DOR 405-5 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:10.346 | PKV-SPE-1208 | B3, PKV-SPE-1208 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:10.060 | PKV-SPE-1207 | B3, PKV-SPE-1207 FIRE LOBBY 406-8 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:09.774 | PKV-SPE-1206 | B3, PKV-SPE-1206 FIRE LOBBY 406-21 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:09.489 | PKV-SPE-1205 | B3, PKV-SPE-1205 FIRE LOBBY 406-6 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:08.952 | PKV-SPE-1202 | B3, PKV-SPE-1202 FIRE LOBBY 406-7 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:08.288 | PKV-SPE-1159 | B2 PKV-SPE-1159 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:08.002 | PKV-SPE-1158 | B2 PKV-SPE-1158 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:07.692 | PKV-SPE-1157 | B2, PKV-SPE-1157 BOH CORRIDOR 151-14 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:07.180 | PKV-SPE-1155 | B2, PKV-SPE-1155 STAFF DDA WC 228-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:06.894 | PKV-SPE-1154 | B2, PKV-SPE-1154 GENERAL STORE 213-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:06.225 | PKV-SPE-1150 | B2 PKV-SPE-1150 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:05.938 | PKV-SPE-1149 | B2 PKV-SPE-1149 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:05.652 | PKV-SPE-1148 | B2 PKV-SPE-1148 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:05.367 | PKV-SPE-1147 | B2 PKV-SPE-1147 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:05.082 | PKV-SPE-1146 | B2, PKV-SPE-1146 FIRE LOBBY 406-10 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:04.796 | PKV-SPE-1145 | B2, PKV-SPE-1145 ST.MASTER OFF 201-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:04.510 | PKV-SPE-1144 | B2, PKV-SPE-1144 INC.CONT ROOM 201-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:04.225 | PKV-SPE-1143 | B2, PKV-SPE-1143 INCIDENT .CONT RM 211-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:03.939 | PKV-SPE-1142 | B2, PKV-SPE-1142 INCIDENT .CONT RM 211-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:03.653 | PKV-SPE-1141 | B2, PKV-SPE-1141 FIRE LOBBY 406-14 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:02.989 | PKV-SPE-1137 | B2, PKV-SPE-1137 FEMALE WC RETAIL 911-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:02.704 | PKV-SPE-1136 | B2, PKV-SPE-1136 MALE WC RETAIL 910-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:37:02.350 | PKV-SPE-1135 | B2, PKV-SPE-1135 DDA TOILET RETAIL 912-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:42.598 | PKV-SPE-0729 | B3, PKV-SPE-0729 DRAIN PUMP ROOM | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:42.313 | PKV-SPE-0728 | B3, PKV-SPE-0728 UNALLOCATED ROOM 299-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:42.027 | PKV-SPE-0727 | B3, PKV-SPE-0727 BOH CORRIDOR 151-34 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:41.731 | PKV-SPE-0726 | B3, PKV-SPE-0726 BOH CORRIDOR 151-33 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:41.446 | PKV-SPE-0725 | B3, PKV-SPE-0725 FIRE LOBBY 406-6 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:41.162 | PKV-SPE-0722 | B3, PKV-SPE-0722 FIRE LOBBY 406-9 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:40.876 | PKV-SPE-0721 | B3, PKV-SPE-0721 LIFT 9 LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:40.705 | DMA-SPE-0765 | B1, DMA-SPE-0765 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:40.591 | PKV-SPE-0720 | B3, PKV-SPE-0720 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:40.463 | DMA-SPE-0764 | B1, DMA-SPE-0764 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:40.221 | DMA-SPE-0763 | B1, DMA-SPE-0763 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:39.974 | DMA-SPE-0762 | B1, DMA-SPE-0762 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:39.732 | DMA-SPE-0761 | B1, DMA-SPE-0761 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:39.492 | DMA-SPE-0760 | B1, DMA-SPE-0760 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:36.135 | PKV-SPE-0681 | B3, PKV-SPE-0681 FIRE ESC.C'DOR 405-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:34.206 | PKV-SPE-0667 | B3, PKV-SPE-0667 FIRE LOBBY 406-21 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:33.921 | PKV-SPE-0666 | B3, PKV-SPE-0666 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:33.635 | PKV-SPE-0665 | B3, PKV-SPE-0665 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:33.349 | PKV-SPE-0664 | B3, PKV-SPE-0664 FIRE LOBBY 406-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:33.065 | PKV-SPE-0663 | B3, PKV-SPE-0663 FIRE LOBBY 406-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:32.778 | PKV-SPE-0662 | B3, PKV-SPE-0662 FIRE LOBBY 406-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:32.596 | DMA-SPE-0652 | B1, DMA-SPE-0652 MAINT OFFICE 230-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:32.493 | PKV-SPE-0661 | B3, PKV-SPE-0661 FIRE LOBBY 406-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:32.348 | DMA-SPE-0651 | B1, DMA-SPE-0651 MAINT STAFF KITCH 250-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:32.208 | PKV-SPE-0660 | B3, PKV-SPE-0660 STAFF BIKE STORE 290-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:32.100 | DMA-SPE-0650 | B1, DMA-SPE-0650 MAINT STAF DDA WC 255-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:31.922 | PKV-SPE-0658 | B3, PKV-SPE-0658 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:31.852 | DMA-SPE-0649 | B1, DMA-SPE-0649 AMS F STAFF LOCKR 252-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:31.638 | PKV-SPE-0657 | B3, PKV-SPE-0657 BOH CORRIDOR 151-18 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:31.604 | DMA-SPE-0648 | B1, DMA-SPE-0648 MAINT M STAFF WC 253-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:31.360 | DMA-SPE-0647 | B1, DMA-SPE-0647 AMS M STAFF LOCKR 251-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:31.116 | DMA-SPE-0646 | B1, DMA-SPE-0646 FIRST AID ROOM 105-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:30.544 | DMA-SPE-0642 | B1, DMA-SPE-0642 GENERAL OFFICE 209-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:30.300 | DMA-SPE-0641 | B1, DMA-SPE-0641 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:30.056 | DMA-SPE-0640 | B1, DMA-SPE-0640 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:28.284 | DMA-SPE-0625 | B1, DMA-SPE-0625 RETAIL WC LOBBY 913-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:26.194 | DMA-SPE-0579 | B1, DMA-SPE-0579 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:25.732 | DMA-SPE-0576 | B1, DMA-SPE-0576 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:23.515 | PKV-SPE-0527 | B2, PKV-SPE-0527 BOH CORRIDOR 201-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:22.958 | PKV-SPE-0524 | B2, PKV-SPE-0524 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:22.409 | PKV-SPE-0521 | B2, PKV-SPE-0521 BOH PLANT ENTRY 151-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:22.125 | PKV-SPE-0520 | B2, PKV-SPE-0520 RETAIL UNIT 901-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:21.838 | PKV-SPE-0519 | B2, PKV-SPE-0519 RETAIL UNIT 901-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:21.553 | PKV-SPE-0518 | B2, PKV-SPE-0518 MECH RISER 821-10 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:21.267 | PKV-SPE-0517 | B2, PKV-SPE-0517 RETAIL UNIT 901-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:20.978 | PKV-SPE-0516 | B2, PKV-SPE-0516 RETAIL UNIT 901-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:20.689 | PKV-SPE-0515 | B2, PKV-SPE-0515 CONC. LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:20.402 | PKV-SPE-0514 | B2, PKV-SPE-0514 CONC. LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:20.115 | PKV-SPE-0513 | B2, PKV-SPE-0513 MECHANICAL RISER 821-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:19.571 | PKV-SPE-0510 | B2, PKV-SPE-0510 RETAIL UNIT 901-9 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:16.447 | PKV-SPE-0483 | B2, PKV-SPE-0483 CONC. CORRIDOR 103-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:16.163 | PKV-SPE-0482 | B2, PKV-SPE-0482 CONC. CORRIDOR 103-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:12.202 | PKV-SPE-0447 | B2, PKV-SPE-0447 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:11.916 | PKV-SPE-0446 | B2, PKV-SPE-0446 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:11.632 | PKV-SPE-0445 | B2, PKV-SPE-0445 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:11.347 | PKV-SPE-0444 | B2, PKV-SPE-0444 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:11.064 | PKV-SPE-0443 | B2, PKV-SPE-0443 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:10.777 | PKV-SPE-0442 | B2, PKV-SPE-0442 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:10.490 | PKV-SPE-0441 | B2, PKV-SPE-0441 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:10.203 | PKV-SPE-0440 | B2, PKV-SPE-0440 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:09.918 | PKV-SPE-0439 | B2, PKV-SPE-0439 BOH CORRIDOR 151-27 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:09.633 | PKV-SPE-0438 | B2, PKV-SPE-0438 FIRE LOBBY 406-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:36:05.741 | DMA-SPE-0342 | B1, DMA-SPE-0342 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:05.491 | DMA-SPE-0341 | B1, DMA-SPE-0341 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:05.246 | DMA-SPE-0340 | B1, DMA-SPE-0340 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:05.003 | DMA-SPE-0339 | B1, DMA-SPE-0339 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:04.760 | DMA-SPE-0338 | B1, DMA-SPE-0338 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:04.518 | DMA-SPE-0337 | B1, DMA-SPE-0337 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:04.270 | DMA-SPE-0336 | B1, DMA-SPE-0336 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:04.024 | DMA-SPE-0335 | B1, DMA-SPE-0335 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:03.670 | DMA-SPE-0333 | B1, DMA-SPE-0333 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:03.425 | DMA-SPE-0332 | B1, DMA-SPE-0332 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:03.182 | DMA-SPE-0331 | B1, DMA-SPE-0331 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:02.831 | DMA-SPE-0329 | B1, DMA-SPE-0329 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:02.589 | DMA-SPE-0328 | B1, DMA-SPE-0328 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:02.235 | DMA-SPE-0326 | B1, DMA-SPE-0326 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:01.885 | DMA-SPE-0324 | B1, DMA-SPE-0324 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:01.636 | DMA-SPE-0323 | B1, DMA-SPE-0323 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:01.390 | DMA-SPE-0322 | B1, DMA-SPE-0322 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:01.143 | DMA-SPE-0321 | B1, DMA-SPE-0321 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:36:00.895 | DMA-SPE-0320 | B1, DMA-SPE-0320 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:59.458 | PKV-SPE-0350 | B2, PKV-SPE-0350 Void Under Escalators | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:59.172 | PKV-SPE-0349 | B2, PKV-SPE-0349 GENERAL STORE 213-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:58.887 | PKV-SPE-0348 | B2, PKV-SPE-0348 ST.CONTROL RM 211-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:58.601 | PKV-SPE-0347 | B2, PKV-SPE-0347 ST.CONTROL RM 211-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:58.314 | PKV-SPE-0346 | B2, PKV-SPE-0346 INCIDENT CONT.RM 201-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:58.029 | PKV-SPE-0345 | B2, PKV-SPE-0345 ST. MASTER OFFICE 201-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:57.745 | PKV-SPE-0344 | B2, PKV-SPE-0344 FIRE LOBBY 406-10 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:57.461 | PKV-SPE-0343 | B2, PKV-SPE-0343 BOH CORRIDOR 151-11 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:57.177 | PKV-SPE-0342 | B2, PKV-SPE-0342 FIRE LOBBY 406-14 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:56.894 | PKV-SPE-0341 | B2, PKV-SPE-0341 REFUSE ROOM 239-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:55.091 | PKV-SPE-0327 | B2, PKV-SPE-0327 FIRE TANK PUMP RM 415-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:54.807 | PKV-SPE-0326 | B2, PKV-SPE-0326 Fire Suppress RM 409-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:54.522 | PKV-SPE-0325 | B2, PKV-SPE-0325 FIELD DEV RM 1 710-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:52.221 | PKV-SPE-0308 | B2, PKV-SPE-0308 BOH CORRIDOR 151-14 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:51.938 | PKV-SPE-0307 | B2, PKV-SPE-0307 OP.EQUIP STORE 244-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:51.652 | PKV-SPE-0306 | B2, PKV-SPE-0306 FIRE SPF ROOM 1 802-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:51.368 | PKV-SPE-0305 | B2, PKV-SPE-0305 FIRE SPF ROOM 1 802-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:51.084 | PKV-SPE-0304 | B2, PKV-SPE-0304 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:50.262 | PKV-SPE-0220 | B2, PKV-SPE-0220 CONC. CORRIDOR 103-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:41.276 | DMA-SPE-0138 | B1, DMA-SPE-0138 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:41.028 | DMA-SPE-0137 | B1, DMA-SPE-0137 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:40.783 | DMA-SPE-0136 | B1, DMA-SPE-0136 GENERAL OFFICE 209-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:40.541 | DMA-SPE-0135 | B1, DMA-SPE-0135 FIELD DEVICE RM 2 710-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:40.188 | DMA-SPE-0133 | B1, DMA-SPE-0133 BOH CORRIDOR 151-5 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:39.943 | DMA-SPE-0132 | B1, DMA-SPE-0132 BOH CORRIDOR 151-5 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:38.619 | DMA-SPE-0121 | B1, DMA-SPE-0121 MAINT. OFFICE 230-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:37.210 | PKV-SPE-0112 | B1, PKV-SPE-0112 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:36.927 | PKV-SPE-0111 | B1, PKV-SPE-0111 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:30.122 | PKV-IVM-0039 | B3, PKV-IVM-0039 405-4 Esc Corridor M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:27.641 | DMA-HTD-0130 | B1, DMA-HTD-0130 AMS STAFF M LOCK 251-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:25.555 | DMA-HTD-0110 | B1, DMA-HTD-0110 MAINT STAF DDA WC 255-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:25.308 | DMA-HTD-0109 | B1, DMA-HTD-0109 MAINT STAFF KITCH 250-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:25.062 | DMA-HTD-0108 | B1, DMA-HTD-0108 AMS STAFF F LOCK 252-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:24.818 | DMA-HTD-0107 | B1, DMA-HTD-0107 MAINT M STAFF WC 253-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:24.573 | DMA-HTD-0106 | B1, DMA-HTD-0106 AMS MALE SHOWER 257-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:24.325 | DMA-HTD-0105 | B1, DMA-HTD-0105 FIRST AID ROOM 105-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:23.634 | PKV-HTD-0012 | B2, PKV-HTD-0012 OP STAFF DDA WC 228-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:22.824 | PKV-HTD-0007 | B2, PKV-HTD-0007 FEMALE WC RETAIL 911-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:22.530 | PKV-HTD-0006 | B2, PKV-HTD-0006 MALE WC RETAIL 910-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:22.245 | PKV-HTD-0005 | B2, PKV-HTD-0005 DDA TOILET RETAIL 912-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:19.282 | PKV-FPD-0021 | B3, PKV-FPD-0021 (SPF-0302) STAIR | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:18.993 | PKV-FPD-0020 | B3, PKV-FPD-0020 (SPF-0301) STAIR | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:18.708 | PKV-FPD-0019 | B2, PKV-FPD-0019 (SPF-1202)STAIR PRESS | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:18.424 | PKV-FPD-0018 | B2, PKV-FPD-0018 (SPF-1201)STAIR PRESS | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:17.871 | PKV-FPD-0015 | B2, PKV-FPD-0015 (FCU-1208) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:17.587 | PKV-FPD-0014 | B2, PKV-FPD-0014 (FCU-1207) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:17.303 | PKV-FPD-0013 | B2, PKV-FPD-0013 (OAF-1202) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:17.020 | PKV-FPD-0012 | B2, PKV-FPD-0012 (OAF-1201) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:35:08.107 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:07.757 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:04.710 | DMA_FCU_1110_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:04.360 | DMA_FCU_1110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:04.004 | DMA_FCU_1109_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:03.656 | DMA_FCU_1109_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:03.306 | DMA_FCU_1109_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:02.954 | DMA_FCU_1109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:01.179 | DMA_FCU_1101_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:35:00.823 | DMA_FCU_1101_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:59.401 | DMA_FCU_0201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:58.510 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:57.103 | DMA_FCU_0118_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:56.931 | DMA_FCU_0118_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:54.856 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:54.505 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:54.333 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:52.601 | DMA_FCU_0102_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:43.151 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:43.079 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:41.512 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:40.935 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:40.878 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:40.622 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:40.317 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:34:39.322 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:39.570 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:39.008 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:36.962 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:36.071 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:34.017 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:33.280 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:31.327 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.08 10:33:27.150 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:33:26.683 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:33:26.063 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:33:25.283 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:33:24.754 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:33:24.118 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:33:23.387 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:33:22.884 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:33:22.253 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:33:21.808 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:33:21.118 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:32:01.075 | PKV-ASD-0069 | B4U, PKV-ASD-0069 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:32:00.788 | PKV-ASD-0068 | B4U, PKV-ASD-0068 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:32:00.503 | PKV-ASD-0067 | B4U, PKV-ASD-0067 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:32:00.092 | PKV-ASD-0065 | B4U, PKV-ASD-0065 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:59.548 | PKV-ASD-0062 | B4U, PKV-ASD-0062 U/P CENTRE EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:59.261 | PKV-ASD-0061 | B4U, PKV-ASD-0061 U/P CENTRE EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:58.977 | PKV-ASD-0060 | B4U, PKV-ASD-0060 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:58.689 | PKV-ASD-0059 | B4U, PKV-ASD-0059 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:58.405 | PKV-ASD-0058 | B4U, PKV-ASD-0058 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:58.121 | PKV-ASD-0057 | B4U, PKV-ASD-0057 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:57.835 | PKV-ASD-0056 | B4U, PKV-ASD-0056 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:57.551 | PKV-ASD-0055 | B4U, PKV-ASD-0055 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:57.267 | PKV-ASD-0054 | B4U, PKV-ASD-0054 U/P WEST 4 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:56.984 | PKV-ASD-0053 | B4U, PKV-ASD-0053 U/P WEST 3 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:56.697 | PKV-ASD-0052 | B4, PKV-ASD-0052 OHLE SWITCH 601-1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:56.413 | PKV-ASD-0051 | B4U, PKV-ASD-0051 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:56.001 | PKV-ASD-0049 | B4U, PKV-ASD-0049 U/P CENTRE EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:55.716 | PKV-ASD-0048 | B4U, PKV-ASD-0048 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:55.431 | PKV-ASD-0047 | B4U, PKV-ASD-0047 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:55.145 | PKV-ASD-0046 | B4U, PKV-ASD-0046 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:54.861 | PKV-ASD-0045 | B4U, PKV-ASD-0045 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:54.573 | PKV-ASD-0044 | B4U, PKV-ASD-0044 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:54.288 | PKV-ASD-0043 | B4U, PKV-ASD-0043 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:54.003 | PKV-ASD-0042 | B4U, PKV-ASD-0042 U/P WEST 2 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:53.718 | PKV-ASD-0041 | B4U, PKV-ASD-0041 U/P WEST 1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:51.210 | PKV-ASD-0011 | B4, PKV-ASD-0011 TIE STATION 603-1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.309 | PKV_NDB_0401_MFM_05 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.251 | PKV_NDB_0401_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.193 | PKV_NDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.135 | PKV_NDB_0401_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.077 | PKV_NDB_0401_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.020 | PKV_MSB_0404_MFM_19 | PKV-CHD-0402 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:43.962 | PKV_MSB_0404_MFM_18 | PKV-ESC-0013 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:43.636 | PKV_MSB_0403_MFM_17 | PKV-ESC-0009 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:43.069 | PKV_MSB_0401_MFM_20 | PKV-ESC-0007 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.958 | PKV_MSB_0401_MFM_10 | PKV-LFT-0011 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.900 | PKV_MSB_0401_MFM_09 | PKV-LFT-0010 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.736 | PKV_MSB_0401_MFM_04 | PKV-ESC-0012 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.595 | PKV_MCC_0402_MFM_22 | PKV-SPF-0302 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.456 | PKV_MCC_0402_MFM_15 | PKV-OFN-0003 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.399 | PKV_MCC_0402_MFM_09 | PKV-TFN-0103-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.206 | PKV_MCC_0401_MFM_07 | PKV-TFN-0203-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.649 | AEN_MSB_0403_MFM_02 | AEN-LFT-0003 Multi-function Meter | Communications lost alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 10:31:41.473 | AEN_MSB_0402_MFM_19 | PAE-MDB-0402 Multi-function Meter | Communications lost alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 10:31:41.362 | PKV_EDB_0404_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.304 | PKV_EDB_0404_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.246 | PKV_EDB_0404_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.189 | PKV_EDB_0404_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.042 | AEN_MSB_0401_MFM_19 | PAE-MDB-0401 Multi-function Meter | Communications lost alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 10:31:40.943 | PKV_EDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.158 | PKV_CDB_0406_MFM_03 | SECTION 3 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 12HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.100 | PKV_CDB_0406_MFM_02 | SECTION 2 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 8HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.040 | PKV_CDB_0406_MFM_01 | SECTION 1 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 2HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 09:09:41.867 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 08:23:58.250 | ESS-Section-11B | Traction Section Anzac to South yarra section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.08 08:23:58.216 | ESS-Section-10A | Traction Section Anzac Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.08 08:23:52.582 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 08:23:52.578 | AEN_DOR_LG_405-3_2 | Fire escape Corridor - Lower Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 08:23:52.575 | AEN_DOR_LG_405-3_1 | Fire escape Corridor - Lower Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 08:23:52.570 | AEN_DOR_L1_ESC_STAIRS_5_1 | Security Door (L1 EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 08:23:52.524 | AEN_DOR_B2_403-1_2 | Security Door (B2 WEST) | Door open too long |  |  |  | 0 | ARN
ACK High | 2024.03.10 10:15:16.038 | AEN-W-PSD-001 | Arden Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.03.10 15:44:59.044 | sergio_paniagua |  | 0 | ARN
ACK High | 2024.03.10 10:15:16.038 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2024.03.10 15:45:02.287 | sergio_paniagua |  | 0 | ARN
ACK High | 2024.03.10 10:15:16.038 | AEN-W-PSD-003 | Arden Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! | 2024.03.10 15:45:04.785 | sergio_paniagua |  | 0 | ARN
ACK High | 2024.03.09 16:05:16.732 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.03.10 12:26:32.833 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.09 15:51:34.736 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.03.10 12:26:51.807 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.09 15:31:42.436 | PKV-W-PSD-021 | Parkville Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.03.10 10:33:15.095 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 15:31:40.398 | PKV-W-PSD-001 | Parkville Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.03.10 10:32:13.350 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 14:23:24.440 | PKV-E-PSD-019 | Parkville Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2024.03.10 10:32:02.873 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 14:23:24.428 | PKV-E-PSD-016 | Parkville Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2024.03.10 10:32:29.176 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 14:23:24.428 | PKV-E-PSD-017 | Parkville Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.03.10 10:32:44.388 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 14:23:24.428 | PKV-E-PSD-018 | Parkville Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2024.03.10 10:32:05.548 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 14:23:22.418 | PKV-E-PSD-015 | Parkville Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2024.03.10 10:32:25.232 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 14:23:22.418 | PKV-E-PSD-020 | Parkville Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2024.03.10 10:31:58.021 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 14:23:22.418 | PKV-E-PSD-021 | Parkville Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.03.10 10:31:52.716 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 14:23:22.392 | PKV-E-PSD-001 | Parkville Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.03.10 16:08:54.127 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 13:15:44.393 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.03.10 10:32:17.596 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.09 08:51:42.390 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.03.10 10:30:26.029 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.08 14:05:16.990 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! | 2024.03.09 09:31:33.723 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.08 10:32:06.356 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! | 2024.03.10 08:42:11.572 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.08 10:32:05.918 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.03.10 08:41:47.947 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.08 10:32:05.342 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! | 2024.03.10 08:42:11.773 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.08 10:32:05.030 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.03.10 08:42:11.966 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.08 10:32:04.850 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! | 2024.03.10 08:40:44.594 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.08 10:32:04.482 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.03.10 08:39:37.030 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.08 10:32:04.008 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! | 2024.03.10 08:39:52.262 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.08 10:31:52.921 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! | 2024.03.10 08:39:36.976 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.08 10:31:52.909 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! | 2024.03.10 08:36:47.765 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.08 10:31:52.902 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! | 2024.03.10 08:36:48.001 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK Med | 2024.03.08 10:35:15.871 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable | 2024.03.09 11:15:41.246 | juan_castilloruiz |  | 0 | SDU
ACK Med | 2024.03.08 10:35:15.757 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable | 2024.03.09 11:15:41.070 | juan_castilloruiz |  | 0 | SDU
ACK Med | 2024.03.08 10:33:11.369 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2024.03.10 08:32:24.920 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.08 10:33:11.365 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable | 2024.03.10 08:32:25.091 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.08 10:32:59.576 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2024.03.10 08:39:51.926 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.08 10:32:59.573 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2024.03.10 08:39:52.088 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.08 10:31:35.574 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! | 2024.03.10 10:54:05.119 | sergio_paniagua |  | 0 | PKV
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.03.10 19:33:20.059 | AEN_LFT_0006 | Lift 6 BOH (Platforms to Level 2) | Lift General Fault | 2024.03.12 09:09:06.231 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.10 10:43:32.734 | DMA-E-PSD-002 | Anzac Platform 2 Zone 1 PSD 02 | PSD isolated | 2024.03.10 12:27:22.357 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.09 03:02:20.867 | AEN_AHU_1103_MVD_03 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm | 2024.03.12 08:59:46.743 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.08 10:32:35.203 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated | 2024.03.10 10:32:41.281 | sergio_paniagua |  | 0 | PKV
ACK Low | 2024.03.08 08:23:58.239 | ESS-Section-11A | Traction Section Anzac to South Yarra | Section A Traction Power status Unknown | 2024.03.10 08:42:33.500 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.227 | ESS-Section-10B | Traction Section Anzac Station section B | Section B Traction Power status Unknown | 2024.03.10 08:42:11.005 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.207 | ESS-Section-09B | Traction Section Town Hall to Anzac section B | Section B Traction Power status Unknown | 2024.03.10 08:41:59.353 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.194 | ESS-Section-09A | Traction Section Town Hall to Anzac | Section A Traction Power status Unknown | 2024.03.10 08:41:47.459 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.186 | ESS-Section-08B | Traction Section Town Hall Station section B | Section B Traction Power status Unknown | 2024.03.10 08:41:36.359 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.056 | ESS-Section-02B | Traction Section Arden Station section B | Section B Traction Power status Unknown | 2024.03.10 08:39:21.581 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.043 | ESS-Section-02A | Traction Section Arden Station | Section A Traction Power status Unknown | 2024.03.10 08:36:47.589 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.034 | ESS-Section-01B | Traction Section Footscray west to Arden section B | Section B Traction Power status Unknown | 2024.03.10 08:38:34.238 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.023 | ESS-Section-01A | Traction Section Footscray west to Arden | Section A Traction Power status Unknown | 2024.03.09 09:31:33.545 | sergio_paniagua |  | 0 | SDU