## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.06.18 00:13:51.791 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.06.18 00:10:33.790 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.06.17 23:25:36.571 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 23:25:34.578 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 23:11:08.597 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 23:11:08.575 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 20:12:08.573 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 20:03:22.169 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.06.17 19:36:37.603 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 19:19:05.602 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 19:05:46.197 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.06.17 18:12:00.568 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 18:10:00.653 | TSC-W-PSD-025 | Town Hall Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 18:10:00.653 | TSC-W-PSD-029 | Town Hall Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 18:10:00.618 | TSC-W-PSD-024 | Town Hall Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 18:10:00.576 | TSC-W-PSD-011 | Town Hall Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 18:10:00.576 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 18:02:52.164 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.06.17 17:25:05.719 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 17:24:47.727 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 17:18:57.688 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 17:18:56.719 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 15:47:05.986 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 15:35:35.983 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 15:18:40.161 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.06.17 14:53:00.568 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 14:50:44.600 | TSC-W-PSD-020 | Town Hall Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 14:50:44.576 | TSC-W-PSD-002 | Town Hall Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:48:40.182 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:40.084 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.995 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.921 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.858 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.799 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.731 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.679 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:30.898 | AEN_ROL_RNERV_W | West Tunnel RNERV Roller Door | RNERV crane arm extended over tracks! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:46:38.491 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:44:45.111 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:44:45.077 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:44:24.887 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:33.339 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:13.465 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:13.004 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:12.542 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:10.739 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.666 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.602 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.536 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:09.187 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:08.593 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.18 03:29:58.203 | PKV_FCU_1213_14_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.06.17 17:25:05.719 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:47:01.743 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:46:32.867 | TSC-FIP-0001 | Town Hall Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.17 10:46:02.656 | TNC-FIP-0001 | State Library Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.17 10:43:09.320 | PKV-FIP-0001 | Parkville Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | PKV
CAME UNACK Med | 2024.06.17 10:35:18.075 | WPZ-FIP-0001 | Western Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:35:16.887 | AEN-FIP-0001 | Arden Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.344 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.333 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.298 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:25.710 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:14.359 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:14.316 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:11.700 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:11.682 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:42:54.181 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:50:15.741 | _Driver1_2 | Anzac Server 2 | PSS2 S7 Driver 1 overloaded (TVCS PLC) |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.03 10:49:53.704 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.699 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.694 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:52.198 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.195 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.192 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:38.107 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Communications Fault - State Library Server 2 to State Library TVCS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:38.099 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Communications Fault - State Library Server 1 to State Library TVCS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.241 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.239 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.238 | _TNC-BMS-PLC3_2 | MTSTL:_TNC-BMS-PLC3_2. | Communications Fault - State Library Server 2 to State Library BMS Gateway PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.236 | _TNC-BMS-PLC3 | MTSTL:_TNC-BMS-PLC3. | Communications Fault - State Library Server 1 to State Library BMS Gateway PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.234 | _TNC-BMS-PLC_2 | MTSTL:_TNC-BMS-PLC_2. | Communications Fault - State Library Server 2 to State Library BMS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.232 | _TNC-BMS-PLC | MTSTL:_TNC-BMS-PLC. | Communications Fault - State Library Server 1 to State Library BMS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.970 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.968 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.967 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.964 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.962 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.960 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.18 07:55:19.491 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 07:46:07.109 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 07:45:07.097 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 07:17:02.382 | PKV_DOR_B3_PKV-S-01_2 | Security Door (B3 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 07:15:08.120 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 07:09:51.923 | PKV_DOR_GF_PKV-S-05_1 | Security Door (PUBLIC REALM EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 06:50:49.723 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 06:48:39.994 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift monitoring lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.18 06:47:58.009 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.18 06:45:42.928 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift monitoring lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.18 06:44:59.998 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.18 03:40:31.706 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator stopped.(emergency brake fault) |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 21:32:10.166 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.17 20:29:14.750 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:29:14.750 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:26:28.749 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:26:23.826 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:25:19.743 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:25:19.743 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:23:56.745 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:23:31.744 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:23:23.825 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:22:42.753 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:22:30.746 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:22:20.745 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:12:17.126 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:05:00.749 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 20:04:59.758 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 15:36:14.088 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 12:49:09.263 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 12:23:05.220 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 12:13:06.295 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 12:03:33.225 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 11:53:36.306 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 11:12:25.329 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:52:44.732 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:46:55.569 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:46:42.649 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:17:22.155 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:38.267 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.246 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.209 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.177 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.154 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.131 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:31.392 | PKV_DOR_GF_PKV-S-03_2 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.349 | PKV_DOR_B2_PKV-S-03_3 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.347 | PKV_DOR_B2_PKV-S-03_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.344 | PKV_DOR_B2_PKV-S-02_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.339 | PKV_DOR_B2_405-5_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:30.818 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:22.356 | AEN-SPE-0404 | B1, AEN-SPE-0404, 151-10 BOH Corridor | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:22.030 | AEN-SPE-0403 | B1, AEN-SPE-0403, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:21.408 | AEN-SPE-0400 | B1, AEN-SPE-0400, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:39.288 | AEN-SPE-0095 | B1, AEN-SPE-0095, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:38.386 | AEN-SPE-0090 | B1, AEN-SPE-0090, 151-10 BOH Corridor | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:22.755 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.661 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.286 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.046 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.849 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.609 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.414 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.039 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:20.799 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:20.560 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:45:54.246 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:45:54.077 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:44:40.506 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:39.768 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:39.026 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:38.286 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:37.548 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:36.802 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:36.058 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:35.313 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:34.562 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:33.818 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:33.074 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:32.331 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:31.586 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:30.836 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:30.088 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:29.344 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:06.674 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:43:58.781 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:43:48.039 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:47.837 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:38.900 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:36.959 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:43:35.739 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:35.299 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.17 09:43:31.275 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.17 09:43:30.631 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:43:25.896 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.104 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 2 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.101 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.095 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 2 |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.091 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 1 |  |  |  | 0 | STL
WENT UNACK High | 2024.06.18 07:49:07.788 | AEN-E-LCP | Arden Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.18 07:49:11.788 | 0 | ARN
WENT UNACK High | 2024.06.18 03:36:47.785 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.06.18 03:36:53.785 | 0 | ARN
WENT UNACK High | 2024.06.18 03:28:05.791 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.18 03:28:09.792 | 0 | ARN
WENT UNACK High | 2024.06.18 03:26:53.793 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.18 07:49:07.810 | 0 | ARN
WENT UNACK High | 2024.06.18 03:10:59.787 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.06.18 03:11:39.788 | 0 | ARN
WENT UNACK High | 2024.06.18 03:05:45.787 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.18 07:49:07.810 | 0 | ARN
WENT UNACK High | 2024.06.18 03:05:45.787 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.06.18 03:05:55.789 | 0 | ARN
WENT UNACK High | 2024.06.18 01:21:55.791 | AEN-E-PSD-021 | Arden Platform 2 Zone 2 PSD 21 | Manual release activated! |  |  | 2024.06.18 01:22:27.792 | 0 | ARN
WENT UNACK High | 2024.06.17 22:51:07.788 | AEN-W-LCP | Arden Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.17 22:51:13.789 | 0 | ARN
WENT UNACK High | 2024.06.17 21:41:57.792 | AEN-W-PSD-021 | Arden Platform 1 Zone 2 PSD 21 | Manual release activated! |  |  | 2024.06.17 21:42:29.792 | 0 | ARN
WENT UNACK High | 2024.06.17 20:33:04.169 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.06.17 20:33:14.164 | 0 | STL
WENT UNACK High | 2024.06.17 20:24:36.576 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.06.17 20:24:50.571 | 0 | THL
WENT UNACK High | 2024.06.17 19:43:25.603 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.06.17 19:44:03.603 | 0 | AZC
WENT UNACK High | 2024.06.17 19:42:47.595 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.17 19:42:51.604 | 0 | AZC
WENT UNACK High | 2024.06.17 19:31:01.596 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.06.17 19:31:25.604 | 0 | AZC
WENT UNACK High | 2024.06.17 19:09:04.572 | TSC-E-LCP | Town Hall Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.17 19:09:10.568 | 0 | THL
WENT UNACK High | 2024.06.17 19:05:44.161 | TNC-E-LCP | State Library Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.17 19:05:46.163 | 0 | STL
WENT UNACK High | 2024.06.17 18:54:10.576 | TSC-E-PSD-023 | Town Hall Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.657 | TSC-E-PSD-030 | Town Hall Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.703 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.617 | TSC-E-PSD-024 | Town Hall Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.617 | TSC-E-PSD-026 | Town Hall Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.617 | TSC-E-PSD-027 | Town Hall Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.617 | TSC-E-PSD-028 | Town Hall Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.616 | TSC-E-PSD-014 | Town Hall Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.616 | TSC-E-PSD-015 | Town Hall Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.616 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.616 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.616 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:51:44.574 | TSC-E-PSD-012 | Town Hall Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 18:35:57.603 | DMA-E-LCP | Anzac Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.17 18:35:59.601 | 0 | AZC
WENT UNACK High | 2024.06.17 18:21:11.601 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.06.17 18:25:23.600 | 0 | AZC
WENT UNACK High | 2024.06.17 18:15:18.577 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.06.17 18:15:30.570 | 0 | THL
WENT UNACK High | 2024.06.17 18:02:56.161 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.06.17 18:06:26.162 | 0 | STL
WENT UNACK High | 2024.06.17 17:42:21.983 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.17 17:42:47.984 | 0 | PKV
WENT UNACK High | 2024.06.17 17:28:41.984 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.06.17 17:29:07.984 | 0 | PKV
WENT UNACK High | 2024.06.17 16:56:41.706 | DMA_FIO_0148_RE0103 | Tunnel Vent. Zone S10 - Fire Confirmed at Retail Room 901-03 | Smoke detected in shaft! |  |  | 2024.06.17 16:59:11.709 | 0 | AZC
WENT UNACK High | 2024.06.17 15:51:48.054 | AEN_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.06.17 15:52:06.955 | 0 | ARN
WENT UNACK High | 2024.06.17 15:26:00.168 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD obstructed on opening or closing! |  |  | 2024.06.17 15:26:02.170 | 0 | STL
WENT UNACK High | 2024.06.17 15:22:16.161 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.17 15:23:00.161 | 0 | STL
WENT UNACK High | 2024.06.17 14:58:24.572 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.17 15:02:26.573 | 0 | THL
WENT UNACK High | 2024.06.17 14:28:43.981 | PKV-E-LCP | Parkville Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.17 14:28:45.977 | 0 | PKV
WENT UNACK High | 2024.06.17 13:31:26.164 | TNC-W-LCP | State Library Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.17 13:31:28.161 | 0 | STL
WENT UNACK High | 2024.06.17 12:56:28.569 | TSC-W-LCP | Town Hall Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.17 12:56:32.570 | 0 | THL
WENT UNACK High | 2024.06.17 11:26:32.770 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.06.17 18:15:15.785 | 0 | AZC
WENT UNACK High | 2024.06.17 11:26:04.771 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.06.17 21:41:15.784 | 0 | AZC
WENT UNACK High | 2024.06.17 09:44:40.022 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.600 | 0 | THL
WENT UNACK High | 2024.06.17 09:43:44.295 | TSC-E-PSD-029 | Town Hall Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.703 | 0 | THL
WENT UNACK High | 2024.06.17 09:43:41.669 | TSC-E-PSD-025 | Town Hall Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 09:43:39.681 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 09:43:38.234 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 09:43:33.640 | TSC-E-PSD-013 | Town Hall Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 09:43:32.298 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 09:43:29.605 | TSC-E-PSD-007 | Town Hall Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK High | 2024.06.17 09:43:26.348 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  | 2024.06.17 19:09:04.606 | 0 | THL
WENT UNACK Med | 2024.06.18 07:36:04.711 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.18 07:36:14.716 | 0 | AZC
WENT UNACK Med | 2024.06.18 03:37:39.806 | AEN-S-STN | Arden Station PSD System | PSD lost connection to signalling system! |  |  | 2024.06.18 03:37:43.783 | 0 | ARN
WENT UNACK Med | 2024.06.18 03:37:39.182 | _Mod_Plc_1 | Arden Server 1 | Communications Fault - Arden Server 1 to Arden PSD Servers |  |  | 2024.06.18 03:37:39.806 | 0 | ARN
WENT UNACK Med | 2024.06.18 03:37:39.181 | _Mod_Plc_1_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden PSD Servers |  |  | 2024.06.18 03:37:47.805 | 0 | PKV
WENT UNACK Med | 2024.06.18 03:30:59.783 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.18 03:36:53.785 | 0 | ARN
WENT UNACK Med | 2024.06.18 03:22:13.789 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.18 03:28:11.791 | 0 | ARN
WENT UNACK Med | 2024.06.18 03:10:55.787 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.18 03:11:43.787 | 0 | ARN
WENT UNACK Med | 2024.06.18 03:05:41.787 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.18 03:06:03.788 | 0 | ARN
WENT UNACK Med | 2024.06.18 01:14:00.008 | _ForcefieldDriver | Distributed Servers | Communications Fault to Forcefield Server |  |  | 2024.06.18 01:30:00.023 | 0 | ARN
WENT UNACK Med | 2024.06.17 20:32:36.168 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.17 20:33:16.166 | 0 | STL
WENT UNACK Med | 2024.06.17 20:25:06.572 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.17 20:25:10.572 | 0 | THL
WENT UNACK Med | 2024.06.17 20:03:11.794 | DMA_FCU_1111_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.17 20:03:58.793 | 0 | AZC
WENT UNACK Med | 2024.06.17 20:03:11.794 | DMA_FCU_1115_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.17 20:05:07.801 | 0 | AZC
WENT UNACK Med | 2024.06.17 19:43:15.606 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.17 19:44:07.605 | 0 | AZC
WENT UNACK Med | 2024.06.17 19:30:31.598 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.17 19:42:53.601 | 0 | AZC
WENT UNACK Med | 2024.06.17 19:24:01.602 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.17 19:24:11.603 | 0 | AZC
WENT UNACK Med | 2024.06.17 18:54:02.569 | TSC-E-PLT | Town Hall Platform 2 | PSDs in local control mode on specified platform |  |  | 2024.06.17 18:54:40.570 | 0 | THL
WENT UNACK Med | 2024.06.17 18:29:59.599 | DMA-E-PLT | Anzac Platform 2 | PSDs in local control mode on specified platform |  |  | 2024.06.17 18:31:03.596 | 0 | AZC
WENT UNACK Med | 2024.06.17 18:21:09.600 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.17 18:25:25.598 | 0 | AZC
WENT UNACK Med | 2024.06.17 18:11:58.571 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.17 18:15:32.572 | 0 | THL
WENT UNACK Med | 2024.06.17 18:02:42.163 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.17 18:06:34.166 | 0 | STL
WENT UNACK Med | 2024.06.17 17:42:19.983 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.17 17:42:47.984 | 0 | PKV
WENT UNACK Med | 2024.06.17 17:28:27.983 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.17 17:28:59.983 | 0 | PKV
WENT UNACK Med | 2024.06.17 15:40:21.778 | DMA_FCU_0105_06_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.17 15:40:47.789 | 0 | AZC
WENT UNACK Med | 2024.06.17 15:36:18.424 | _Mod_Plc_4 | MTAZC:_Mod_Plc_4. | Communications Fault - Anzac Server 1 to Anzac EWIS |  |  | 2024.06.17 15:36:19.655 | 0 | AZC
WENT UNACK Med | 2024.06.17 15:36:18.424 | _Mod_Plc_3 | MTAZC:_Mod_Plc_3. | Communications Fault - Anzac Server 1 to Anzac EWIS |  |  | 2024.06.17 15:36:19.550 | 0 | AZC
WENT UNACK Med | 2024.06.17 15:36:12.955 | _Mod_Plc_2 | MTAZC:_Mod_Plc_2. | Communications Fault - Anzac Server 1 to Anzac FDS Gateway |  |  | 2024.06.17 15:36:14.072 | 0 | ARN
WENT UNACK Med | 2024.06.17 15:18:34.164 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.17 15:23:02.163 | 0 | STL
WENT UNACK Med | 2024.06.17 15:13:54.163 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | Door control unit communication lost |  |  | 2024.06.17 15:16:20.163 | 0 | STL
WENT UNACK Med | 2024.06.17 14:58:56.169 | TNC-E-PLT | State Library Platform 2 | PSDs in local control mode on specified platform |  |  | 2024.06.17 14:59:20.160 | 0 | STL
WENT UNACK Med | 2024.06.17 14:58:22.573 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.17 15:02:28.570 | 0 | THL
WENT UNACK Med | 2024.06.17 14:47:34.337 | _Mod_Plc_2_2 | MTAZC:_Mod_Plc_2_2. | Communications Fault - Anzac Server 2 to Anzac FDS Gateway |  |  | 2024.06.17 14:47:38.454 | 0 | ARN
WENT UNACK Med | 2024.06.17 14:39:34.041 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  | 2024.06.17 14:39:34.964 | 0 | AZC
WENT UNACK Med | 2024.06.17 12:16:54.743 | DMA_FCU_0119_20_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.17 12:21:22.748 | 0 | AZC
WENT UNACK Med | 2024.06.17 12:15:06.751 | DMA_SPP_0209_10_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.06.17 12:15:13.921 | 0 | AZC
WENT UNACK Med | 2024.06.17 11:31:54.172 | AEN_SPP_0201_02_FG | Sewer Drainage Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.06.17 11:32:15.036 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:46:30.506 | _Conn_event_0_1_to_ctrl_2_1 | Distributed Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:46:31.358 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:46:27.064 | _Conn_event_0_1_to_ctrl_3_1 | Distributed Server 1 | Control Manager Not Running - mtdist_scripts.lst |  |  | 2024.06.17 10:46:27.943 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:46:00.942 | _Conn_event_0_1_to_ctrl_3_1 | Anzac Server 1 | Control Manager Not Running - mtazc_scripts.lst |  |  | 2024.06.17 10:46:01.237 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:45:57.644 | _Conn_event_0_1_to_ctrl_2_1 | Anzac Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:45:57.929 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:45:31.903 | _Conn_event_0_1_to_ctrl_3_1 | Town Hall Server 1 | Control Manager Not Running - mtthl_scripts.lst |  |  | 2024.06.17 10:45:32.154 | 0 | THL
WENT UNACK Med | 2024.06.17 10:45:28.818 | _Conn_event_0_1_to_ctrl_2_1 | Town Hall Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:45:29.100 | 0 | THL
WENT UNACK Med | 2024.06.17 10:45:05.383 | _Conn_event_0_1_to_ctrl_2_1 | State Library Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:45:05.656 | 0 | STL
WENT UNACK Med | 2024.06.17 10:45:01.933 | _Conn_event_0_1_to_ctrl_3_1 | State Library Server 1 | Control Manager Not Running - mtstl_scripts.lst |  |  | 2024.06.17 10:45:02.168 | 0 | STL
WENT UNACK Med | 2024.06.17 10:31:21.324 | _PDM-BMS-PLC_2 | MTAZC:_PDM-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Eastern Portal BMS PLC |  |  | 2024.06.17 10:31:22.107 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:20.610 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD |  |  | 2024.06.17 10:31:22.627 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:20.194 | _DMA-BMS-PLC_2 | MTAZC:_DMA-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Anzac BMS PLC |  |  | 2024.06.17 10:31:24.097 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:20.194 | _DMA-BMS-PLC3_2 | MTAZC:_DMA-BMS-PLC3_2. | Communications Fault - Anzac Server 2 to Anzac BMS Gateway PLC |  |  | 2024.06.17 10:31:20.925 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:19.842 | _DMA-TVC-PLC_2 | MTAZC:_DMA-TVC-PLC_2. | Communication Fault - Anzac Server 2 to Anzac TVCS PLC |  |  | 2024.06.17 10:31:19.873 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:14.535 | _Mod_Plc_1_2 | MTTHL:_Mod_Plc_1_2. | Communications Fault - Town Hall Server 2 to Town Hall PSD Servers |  |  | 2024.06.17 10:31:16.555 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:31:05.797 | _Mod_Plc_1_2 | MTSTL:_Mod_Plc_1_2. | Communications Fault - State Library Server 2 to State Library PSD Servers |  |  | 2024.06.17 10:31:07.817 | 0 | THL
WENT UNACK Med | 2024.06.17 10:31:00.322 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  | 2024.06.17 10:31:01.582 | 0 | STL
WENT UNACK Med | 2024.06.17 10:31:00.322 | _Mod_Plc_3_2 | MTPKV:_Mod_Plc_3_2. | Communications Fault - Parkville Server 2 to Parkville EWIS |  |  | 2024.06.17 10:31:01.402 | 0 | STL
WENT UNACK Med | 2024.06.17 10:31:00.148 | _PKV-FDS-S7PLUS_2 | MTPKV:_PKV-FDS-S7PLUS_2. | Communications Fault - Parkville Server 2 to Parkville FDS PLC |  |  | 2024.06.17 10:31:02.423 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:59.947 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  | 2024.06.17 10:31:03.969 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:59.792 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  | 2024.06.17 10:31:01.816 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:59.547 | _PKV-BMS-PLC3_2 | MTPKV:_PKV-BMS-PLC3_2. | Communications Fault - Parkville Server 2 to Parkville BMS Gateway PLC |  |  | 2024.06.17 10:31:00.268 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:59.452 | _PKV-BMS-PLC_2 | MTPKV:_PKV-BMS-PLC_2. | Communications Fault - Parkville Server 2 to Parkville BMS PLC |  |  | 2024.06.17 10:31:06.477 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:59.107 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Communications Fault - Parkville Server 2 to Parkville TVCS PLC |  |  | 2024.06.17 10:30:59.171 | 0 | STL
WENT UNACK Med | 2024.06.17 10:28:54.974 | _PAE-BMS-PLC_2 | MTARD:_PAE-BMS-PLC_2. | Communications Fault - Arden Server 2 to Western Portal BMS PLC |  |  | 2024.06.17 10:28:55.750 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:54.741 | _Mod_Plc_4_2 | MTARD:_Mod_Plc_4_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  | 2024.06.17 10:28:55.886 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:54.741 | _Mod_Plc_3_2 | MTARD:_Mod_Plc_3_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  | 2024.06.17 10:28:55.796 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:54.571 | _AEN-FDS-S7PLUS_2 | MTARD:_AEN-FDS-S7PLUS_2. | Communications Fault - Arden Server 2 to Arden FDS PLC |  |  | 2024.06.17 10:28:56.815 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:54.365 | _Mod_Plc_2_2 | MTARD:_Mod_Plc_2_2. | Communications Fault - Arden Server 2 to Arden FDS Gateway |  |  | 2024.06.17 10:28:55.389 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:53.880 | _AEN-BMS-PLC3_2 | MTARD:_AEN-BMS-PLC3_2. | Communications Fault - Arden Server 2 to Arden BMS Gateway PLC |  |  | 2024.06.17 10:28:54.630 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:53.879 | _AEN-BMS-PLC_2 | Arden BMS PLC | Communications Fault - Arden Server 2 to Arden BMS PLC |  |  | 2024.06.17 10:29:01.306 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:53.574 | _AEN-TVC-PLC_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden TVCS PLC |  |  | 2024.06.17 10:28:53.633 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:39.870 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD |  |  | 2024.06.17 15:36:07.612 | 0 | AZC
WENT UNACK Med | 2024.06.17 09:42:52.907 | DMA-S-STN | Anzac Station PSD System | PSD lost connection to signalling system! |  |  | 2024.06.17 15:36:07.612 | 0 | AZC
WENT UNACK Med | 2024.06.14 19:55:01.977 | _DMA-FDS-S7PLUS_2 | MTAZC:_DMA-FDS-S7PLUS_2. | Communications Fault - Anzac Server 2 to Anzac FDS PLC |  |  | 2024.06.17 15:02:16.243 | 0 | ARN
WENT UNACK Med | 2024.06.14 19:54:42.566 | _DMA-FDS-S7PLUS | MTAZC:_DMA-FDS-S7PLUS. | Communications Fault - Anzac Server 1 to Anzac FDS PLC |  |  | 2024.06.17 15:01:56.807 | 0 | AZC
WENT UNACK Med | 2024.06.14 19:51:04.276 | _Mod_Plc_4_2 | MTAZC:_Mod_Plc_4_2. | Communications Fault - Anzac Server 2 to Anzac EWIS |  |  | 2024.06.17 15:03:23.696 | 0 | ARN
WENT UNACK Med | 2024.06.14 19:50:54.273 | _Mod_Plc_3_2 | MTAZC:_Mod_Plc_3_2. | Communications Fault - Anzac Server 2 to Anzac EWIS |  |  | 2024.06.17 15:03:24.656 | 0 | ARN
WENT UNACK Low | 2024.06.18 07:53:42.188 | AEN_DOR_B1_151-4_1 | Concourse east - back of house emergency corridor | Unauthorised access |  |  | 2024.06.18 07:53:47.545 | 0 | ARN
WENT UNACK Low | 2024.06.18 07:50:25.087 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.06.18 07:50:35.486 | 0 | PKV
WENT UNACK Low | 2024.06.18 07:41:43.079 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access |  |  | 2024.06.18 07:41:44.157 | 0 | ARN
WENT UNACK Low | 2024.06.18 07:35:02.164 | PKV-ASD-0007 | B2, PKV-ASD-0007 STATN EQ.RM 705-1 - F1 | Aspirating smoke detector fault |  |  | 2024.06.18 07:36:44.170 | 0 | PKV
WENT UNACK Low | 2024.06.18 07:34:53.138 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.06.18 07:35:06.640 | 0 | PKV
WENT UNACK Low | 2024.06.18 07:34:37.042 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  | 2024.06.18 07:37:10.029 | 0 | PKV
WENT UNACK Low | 2024.06.18 07:33:31.644 | PKV_DOR_B1_PKV-S-02_2 | Security Door (B1 EAST) | Unauthorised access |  |  | 2024.06.18 07:33:38.874 | 0 | PKV
WENT UNACK Low | 2024.06.18 07:22:22.119 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault |  |  | 2024.06.18 07:22:46.122 | 0 | PKV
WENT UNACK Low | 2024.06.18 07:08:01.709 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.06.18 07:08:05.714 | 0 | AZC
WENT UNACK Low | 2024.06.18 06:51:09.640 | AEN_DOR_B1_151-3_1 | Concourse west - back of house corridor | Unauthorised access |  |  | 2024.06.18 06:51:14.613 | 0 | ARN
WENT UNACK Low | 2024.06.18 03:37:18.341 | AEN_DOR_B2_ESC_STAIRS_04_2 | Platform 2 east - single emergency door | Unauthorised access |  |  | 2024.06.18 03:37:30.784 | 0 | ARN
WENT UNACK Low | 2024.06.18 03:07:42.898 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.06.18 03:18:00.884 | 0 | SDU
WENT UNACK Low | 2024.06.18 02:36:43.915 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.06.18 02:36:44.923 | 0 | THL
WENT UNACK Low | 2024.06.18 02:09:47.242 | PKV_DOR_GF_PKV-S-03_1 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  | 2024.06.18 02:09:50.776 | 0 | PKV
WENT UNACK Low | 2024.06.18 01:24:05.789 | AEN-W-PSD-010 | Arden Platform 1 Zone 2 PSD 10 | PSD isolated |  |  | 2024.06.18 01:24:17.790 | 0 | ARN
WENT UNACK Low | 2024.06.18 01:21:47.792 | AEN-E-PSD-021 | Arden Platform 2 Zone 2 PSD 21 | PSD isolated |  |  | 2024.06.18 01:22:15.790 | 0 | ARN
WENT UNACK Low | 2024.06.17 22:27:45.941 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.17 22:27:59.877 | 0 | PKV
WENT UNACK Low | 2024.06.17 21:41:17.791 | AEN-W-PSD-021 | Arden Platform 1 Zone 2 PSD 21 | PSD isolated |  |  | 2024.06.17 21:46:57.783 | 0 | ARN
WENT UNACK Low | 2024.06.17 20:20:22.740 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.06.18 06:50:02.719 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:20:17.753 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  | 2024.06.18 06:50:28.723 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:37.794 | DMA_FCU_1127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:05:27.042 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_1119_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:03:58.793 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_0121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:03:58.790 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_0123_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:03:58.790 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_0127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:03:58.790 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_1001_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:03:58.790 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_1101_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:05:07.801 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_1125_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:03:58.790 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_1145_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:03:58.790 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_1103_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:05:07.801 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_1105_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:05:07.801 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_1117_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:05:06.799 | 0 | AZC
WENT UNACK Low | 2024.06.17 20:03:11.794 | DMA_FCU_1121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.17 20:05:07.801 | 0 | AZC
WENT UNACK Low | 2024.06.17 19:05:08.714 | DMA_TEXB | Tunnel Ambient Temperature Control | Temperature Sensors B - Discrepancy |  |  | 2024.06.17 19:06:57.719 | 0 | AZC
WENT UNACK Low | 2024.06.17 18:40:44.161 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | Maintenance mode activated |  |  | 2024.06.17 21:31:48.170 | 0 | STL
WENT UNACK Low | 2024.06.17 17:50:06.103 | PKV_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.06.17 17:50:55.084 | 0 | PKV
WENT UNACK Low | 2024.06.17 17:39:01.095 | PKV_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  | 2024.06.17 17:40:15.110 | 0 | PKV
WENT UNACK Low | 2024.06.17 17:24:58.735 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Loss of redundancy (fans) |  |  | 2024.06.17 17:25:04.697 | 0 | AZC
WENT UNACK Low | 2024.06.17 17:18:57.688 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | Loss of redundancy (fans) |  |  | 2024.06.17 17:24:47.727 | 0 | AZC
WENT UNACK Low | 2024.06.17 17:18:51.700 | DMA_StationFunc | Operator Fire Emergency Mode Selection - Domain Station | Station Fire Ventilation Mode still active |  |  | 2024.06.17 17:18:57.688 | 0 | SDU
WENT UNACK Low | 2024.06.17 16:39:19.216 | AEN_DOR_GF_401-1_1 | Ground floor east - fire control room | Unauthorised access |  |  | 2024.06.17 16:39:22.860 | 0 | ARN
WENT UNACK Low | 2024.06.17 16:28:38.395 | PKV_DOR_B2_151-15_1 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.06.17 16:28:49.559 | 0 | PKV
WENT UNACK Low | 2024.06.17 15:58:02.481 | AEN_DOR_B1_ESC_STAIRS_03_2 | Concourse west - back of house emergency stairs | Unauthorised access |  |  | 2024.06.17 15:58:10.479 | 0 | ARN
WENT UNACK Low | 2024.06.17 15:57:25.096 | AEN_DOR_B2_ESC_STAIRS_03_2 | Platform 1 west - double emergency door | Unauthorised access |  |  | 2024.06.17 15:57:37.305 | 0 | ARN
WENT UNACK Low | 2024.06.17 15:40:05.523 | AEN_DOR_L1_ESC_STAIRS_5_1 | Level 1 east - office stairs | Unauthorised access |  |  | 2024.06.17 15:40:18.047 | 0 | ARN
WENT UNACK Low | 2024.06.17 15:12:50.693 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Degraded |  |  | 2024.06.17 17:25:05.719 | 0 | SDU
WENT UNACK Low | 2024.06.17 15:00:16.514 | AEN_DOR_B1_ESC_STAIRS_03_1 | Concourse west - back of house emergency corridor | Unauthorised access |  |  | 2024.06.17 15:00:22.598 | 0 | ARN
WENT UNACK Low | 2024.06.17 14:59:39.434 | AEN_DOR_LG_ESC_STAIR_07_1 | Lower ground west - back of house stairs | Unauthorised access |  |  | 2024.06.17 14:59:44.713 | 0 | ARN
WENT UNACK Low | 2024.06.17 14:48:48.609 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.17 14:48:57.270 | 0 | PKV
WENT UNACK Low | 2024.06.17 12:32:34.324 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.06.17 12:34:56.296 | 0 | PKV
WENT UNACK Low | 2024.06.17 12:17:39.792 | DMA_SDP_0109_10_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.06.17 12:17:52.802 | 0 | AZC
WENT UNACK Low | 2024.06.17 11:51:53.226 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  | 2024.06.17 11:52:50.309 | 0 | PKV
WENT UNACK Low | 2024.06.17 11:05:19.746 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.18 07:54:14.566 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:46:14.666 | DMA_SDP_0111_12_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.06.17 10:46:20.670 | 0 | AZC
WENT UNACK Low | 2024.06.17 10:31:19.051 | _ReduManager_2 | Anzac Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:31:24.373 | 0 | ARN
WENT UNACK Low | 2024.06.17 10:31:12.909 | _ReduManager_2 | Town Hall Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:31:22.352 | 0 | AZC
WENT UNACK Low | 2024.06.17 10:31:04.286 | _ReduManager_2 | State Library Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:31:19.640 | 0 | THL
WENT UNACK Low | 2024.06.17 10:30:59.086 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Link Failure - Parkville Server 2 to Parkville TVCS CPU 1 |  |  | 2024.06.17 10:30:59.171 | 0 | STL
WENT UNACK Low | 2024.06.17 10:30:58.390 | _ReduManager_2 | Parkville Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:31:15.388 | 0 | STL
WENT UNACK Low | 2024.06.17 10:28:53.528 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 1 |  |  | 2024.06.17 10:28:53.633 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:28:53.528 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  | 2024.06.17 10:28:53.654 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:28:52.806 | _ReduManager_2 | Arden Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:29:08.422 | 0 | PKV
WENT UNACK Low | 2024.06.17 09:48:38.292 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.871 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.280 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.871 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.257 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.871 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.232 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.871 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.223 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  | 2024.06.17 19:47:48.471 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.200 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.870 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.188 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  | 2024.06.17 19:47:48.469 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.164 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.870 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.143 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.870 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.120 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.870 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.109 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.870 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.096 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.870 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.086 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.869 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.075 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.869 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.063 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.869 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:38.052 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  | 2024.06.17 10:49:55.869 | 0 | SDU
WENT UNACK Low | 2024.06.17 09:48:29.328 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  | 2024.06.17 10:49:55.860 | 0 | SDU
ACK High | 2024.05.20 08:23:30.503 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.05.20 15:17:54.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded | 2024.05.20 15:17:59.449 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.17 10:47:01.691 | DMA-FIP-0001 | Anzac Station FDCIE Panel | No modbus server/gateway connection | 2024.06.17 14:28:57.072 | emilio_ito |  | 0 | AZC
ACK Med | 2024.06.03 10:48:16.689 | _Driver1_2 | MTARD:_Driver1_2. | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.04 08:54:10.389 | sergio_paniagua |  | 0 | PKV
ACK Med | 2024.06.03 10:47:25.340 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.339 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.338 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.336 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.335 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.334 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.333 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.332 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.306 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.291 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.03 10:47:25.310 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.308 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.03 10:47:25.302 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.299 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN