## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.04.18 07:28:54.885 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.18 07:19:53.820 | _Event_2 | MTTHL:_Event_2. | License expires |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.17 17:28:35.904 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.17 17:27:36.894 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.17 16:27:32.714 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.17 16:26:46.712 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.17 16:25:46.709 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.17 16:05:31.707 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.17 14:41:46.901 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.17 14:41:35.899 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.17 14:40:53.900 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.17 14:40:12.912 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.17 14:13:41.894 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.17 14:13:40.892 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.17 12:56:58.197 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.17 12:56:58.174 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.17 12:56:58.037 | AEN-W-EED-001 | Arden Platform 1 Zone 1 EED 01 | EED Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.17 12:56:58.002 | AEN-W-EED-001 | Arden Platform 1 Zone 1 EED 01 | EED opened! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.17 11:16:54.997 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.17 10:15:24.467 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.17 10:15:24.430 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.17 07:44:37.096 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.17 07:43:55.102 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.16 18:04:23.871 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.16 18:04:23.871 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.15 22:57:59.869 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.15 22:56:23.879 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.15 22:56:23.879 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 21:29:14.357 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:28:20.354 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:17:26.355 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:17:16.354 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:04:12.323 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 21:03:24.319 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 20:52:08.328 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 18:29:21.994 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 11:35:13.998 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 07:42:42.000 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 07:27:27.998 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 06:46:08.103 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.14 03:03:52.102 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.13 18:03:14.319 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.13 11:08:59.101 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.13 11:08:57.100 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.18 07:07:38.870 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Emergency Intercom Activated Level 2 |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.17 16:26:46.712 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.17 16:25:46.709 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.17 14:41:46.901 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.17 14:40:12.912 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.17 14:08:47.545 | _AEN-BMS-PLC | Arden BMS PLC | Communications Fault - Arden Server 1 to Arden BMS PLC |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 14:08:47.536 | _AEN-BMS-PLC_2 | Arden BMS PLC | Communications Fault - Arden Server 2 to Arden BMS PLC |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.17 14:07:51.750 | AEN_LFT_0006 | Lift 6 BOH (Platforms to Level 2) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 14:07:51.748 | AEN_LFT_0005 | Lift 5 BOH (Platforms to Ground Floor) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 14:07:51.748 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 14:07:51.738 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 14:07:51.738 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 14:07:51.738 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 14:03:50.885 | _AEN-BMS-PLC3 | MTARD:_AEN-BMS-PLC3. | Communications Fault - Arden Server 1 to Arden BMS 3 PLC |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 14:03:48.884 | _AEN-BMS-PLC3_2 | MTARD:_AEN-BMS-PLC3_2. | Communications Fault - Arden Server 2 to Arden BMS 3 PLC |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.17 12:57:28.526 | _Mod_Plc_1 | Arden Server 1 | Communications Fault - Arden Server 1 to Arden PSD Servers |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 12:57:28.526 | _Mod_Plc_1_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden PSD Servers |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.17 12:56:58.011 | AEN-E-PSD-007 | Arden Platform 2 Zone 1 PSD 07 | Low motor current |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 10:19:55.703 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.17 10:15:24.338 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.17 08:07:56.111 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.15 22:57:59.869 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.15 22:56:23.879 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.15 12:04:29.762 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.14 22:09:25.645 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.14 22:09:25.361 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.14 21:52:28.370 | _Mod_Plc_1_2 | MTSTL:_Mod_Plc_1_2. | Communications Fault - State Library Server 2 to State Library PSD Servers |  |  |  | 0 | THL
CAME UNACK Med | 2024.04.14 21:52:28.361 | _Mod_Plc_1 | MTSTL:_Mod_Plc_1. | Communications Fault - State Library Server 1 to State Library PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.14 21:37:10.377 | _Mod_Plc_1_2 | MTTHL:_Mod_Plc_1_2. | Communications Fault - Town Hall Server 2 to Town Hall PSD Servers |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 10:37:49.760 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:27:04.810 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:15:51.924 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:15:51.913 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:15:51.902 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:09:07.729 | DMA_ACH_1003 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:09:07.729 | DMA_ACH_1001 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.821 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.760 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.760 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.760 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.760 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.758 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.758 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.747 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.747 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.747 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.747 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.743 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:47.733 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:42.827 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:42.827 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:42.814 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:42.814 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:38.870 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:38.859 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:38.859 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:38.859 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:38.859 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 07:07:38.859 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.18 06:43:32.916 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 23:46:12.106 | SKP-DT-1001 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 23:05:58.108 | SKP-DT-1006 | Westbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 22:40:42.244 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 22:37:29.037 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 22:37:11.047 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 22:31:16.294 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 22:31:02.222 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 22:30:10.049 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 22:29:11.067 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 22:29:11.067 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 22:27:20.644 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 22:27:09.062 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 22:26:42.222 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 18:21:12.105 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 17:16:11.710 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 16:12:03.720 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 16:12:03.720 | AEN_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 14:48:55.726 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Lift General Fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 14:07:52.702 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 14:07:51.748 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 14:07:51.738 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 14:07:51.738 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 14:07:50.783 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 13:36:35.666 | AEN_DOR_B2_ESC_STAIRS_03_2 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 13:22:57.838 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.17 12:56:58.013 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 10:01:42.110 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 10:01:42.110 | SKP-DT-1005 | Westbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 08:40:26.332 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 08:40:26.328 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 08:40:26.325 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 08:24:47.218 | AEN_DOR_B2_ESC_STAIRS_04_4 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 08:24:21.228 | AEN_DOR_B2_ESC_STAIRS_04_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 08:07:56.111 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 08:07:56.111 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.17 08:03:13.113 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.17 07:36:46.770 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.17 07:07:04.460 | PKV_HWH_1901_ENG_01 | Hot Water - Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 07:07:04.460 | PKV_ACH_1903_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 07:07:04.191 | PKV_ACH_1901 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 07:07:02.352 | PKV_ACH_1901_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:43:43.012 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:42:34.192 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:35:28.118 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:32:36.117 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:30:52.124 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:23:19.030 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:21:02.160 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:13:30.129 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:12:27.015 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:10:58.190 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:06:19.022 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:05:42.112 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator stopped (braking distance exceeded) |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:04:05.096 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 21:55:38.094 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 21:52:58.132 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 15:21:57.943 | _ReduManager_2 | Anzac Server 2 | Server 2 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 13:56:40.820 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 12:11:24.908 | AEN_DOR_B1_ESC_STAIRS_04_2 | East Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 11:39:17.022 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.15 23:31:53.256 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:31:44.261 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 13:04:58.981 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 11:18:46.246 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.15 10:57:28.791 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.15 06:26:43.107 | PKV_HWH_1901 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:26:43.107 | PKV_HWH_1903 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:26:43.107 | PKV_ACH_1903 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:23.113 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:23.113 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:22.238 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:22.238 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:13.212 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:13.211 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.13 10:57:11.949 | DMA-SPE-0928 | B1, DMA-SPE-0928 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.13 09:17:19.998 | AEN-W-PSD-015 | Arden Platform 1 Zone 2 PSD 15 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 09:07:02.358 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.13 08:49:42.001 | AEN-E-PSD-018 | Arden Platform 2 Zone 2 PSD 18 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:49:16.002 | AEN-E-PSD-015 | Arden Platform 2 Zone 2 PSD 15 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:47:49.157 | AEN_DOR_GF_246-2_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:44:39.998 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:40:33.997 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:40:13.997 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:38:45.996 | AEN-W-PSD-007 | Arden Platform 1 Zone 1 PSD 07 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:07:06.356 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.13 06:51:36.352 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.13 06:51:36.352 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Speaker fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.12 18:00:41.028 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 12:14:35.212 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:36.183 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:27.826 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:22.855 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.977 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.100 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:20.211 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.767 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.756 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
WENT UNACK Med | 2024.04.18 07:07:23.159 | _DMA-BMS-PLC_2 | MTAZC:_DMA-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Anzac BMS PLC |  |  | 2024.04.18 07:07:28.659 | 0 | ARN
WENT UNACK Med | 2024.04.18 07:07:23.152 | _DMA-BMS-PLC | MTAZC:_DMA-BMS-PLC. | Communications Fault - Anzac Server 1 to Anzac BMS PLC |  |  | 2024.04.18 07:07:28.560 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:21:38.997 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  | 2024.04.16 15:21:39.847 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:21:37.908 | _DMA-BMS-PLC3 | MTAZC:_DMA-BMS-PLC3. | Communications Fault - Anzac Server 1 to Anzac BMS 3 PLC |  |  | 2024.04.16 15:21:38.575 | 0 | AZC
WENT UNACK Med | 2024.04.16 14:28:27.977 | _SYP-TIAS-PLC | MTDIST:_SYP-TIAS-PLC. | Communications Fault - Dist Server 1 to SYP TIAS PLC |  |  | 2024.04.16 15:17:27.154 | 0 | ARN
WENT UNACK Med | 2024.04.16 14:13:22.190 | _SYP-TIAS-PLC_2 | MTDIST:_SYP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SYP TIAS PLC |  |  | 2024.04.16 15:17:46.175 | 0 | THL
WENT UNACK Med | 2024.04.16 01:00:59.777 | _PAE-BMS-PLC | MTARD:_PAE-BMS-PLC. | Communications Fault - Arden Server 1 to Western Portal BMS PLC |  |  | 2024.04.16 01:03:55.130 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:40.787 | _PAE-BMS-PLC_2 | MTARD:_PAE-BMS-PLC_2. | Communications Fault - Arden Server 2 to Western Portal BMS PLC |  |  | 2024.04.16 01:04:10.954 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:39.721 | _AEN-TVC-PLC_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden TVCS PLC |  |  | 2024.04.16 01:04:12.343 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:39.712 | _AEN-TVC-PLC | Arden Server 1 | Communications Fault - Arden Server 1 to Arden TVCS PLC |  |  | 2024.04.16 01:04:29.096 | 0 | ARN
WENT UNACK Low | 2024.04.18 07:19:54.268 | _ReduManager_2 | Town Hall Server 2 | Server 2 - Passive |  |  | 2024.04.18 07:20:05.429 | 0 | AZC
WENT UNACK Low | 2024.04.17 03:22:02.299 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.04.17 03:22:03.282 | 0 | THL
WENT UNACK Low | 2024.04.16 01:00:39.717 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  | 2024.04.16 01:04:12.384 | 0 | PKV
WENT UNACK Low | 2024.04.16 01:00:39.709 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 1 |  |  | 2024.04.16 01:04:29.096 | 0 | ARN
WENT UNACK Low | 2024.04.16 01:00:38.862 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 2 |  |  | 2024.04.16 01:04:29.118 | 0 | ARN
WENT UNACK Low | 2024.04.16 01:00:22.136 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 1 |  |  | 2024.04.16 01:04:12.343 | 0 | PKV
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.04.08 14:46:48.740 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault | 2024.04.11 09:41:53.793 | kai_longley |  | 0 | ARN
ACK Med | 2024.04.08 08:03:38.289 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault | 2024.04.11 09:41:56.666 | kai_longley |  | 0 | ARN
ACK Med | 2024.04.08 08:03:38.282 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault | 2024.04.11 09:41:56.666 | kai_longley |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.805 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.803 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.802 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.799 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.798 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.796 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.795 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.793 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.745 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost | 2024.04.11 09:41:56.763 | kai_longley |  | 0 | ARN
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.04.15 16:33:52.256 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.15 18:04:27.400 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.15 06:25:13.201 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.15 18:04:39.311 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.08 10:34:16.263 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Low | 2024.03.26 12:41:38.250 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown | 2024.04.11 09:40:13.294 | kai_longley |  | 0 | SDU
ACK Low | 2024.03.26 11:05:59.648 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown | 2024.03.26 11:06:08.800 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:59:37.774 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2024.03.26 10:59:44.951 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:58:20.171 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown | 2024.03.26 10:58:24.277 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:52:37.824 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2024.03.26 10:52:51.956 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:50:59.369 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown | 2024.04.11 09:40:32.821 | kai_longley |  | 0 | SDU
ACK Low | 2024.03.25 10:37:49.764 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Low | 2024.03.25 10:37:49.754 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN