## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK Low | 2024.10.08 07:26:04.400 | PKV_DOR_B1_PKV-S-02_2 | East Emergency Stairs - Lower Ground Floor | Unauthorised access |  |  |  | 0 | PKV
ACK High | 2024.10.08 06:47:41.427 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! | 2024.10.08 07:24:46.884 | kai_longley |  | 0 | SDU
ACK High | 2024.10.08 06:39:36.422 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! | 2024.10.08 07:24:48.399 | kai_longley |  | 0 | SDU
ACK High | 2024.10.08 01:28:21.128 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.10.08 07:24:49.782 | kai_longley |  | 0 | PKV
ACK High | 2024.10.08 01:27:55.129 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! | 2024.10.08 07:24:51.214 | kai_longley |  | 0 | PKV
ACK High | 2024.10.08 01:27:45.124 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! | 2024.10.08 07:24:52.649 | kai_longley |  | 0 | PKV
ACK High | 2024.10.08 01:26:13.121 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.10.08 07:24:54.038 | kai_longley |  | 0 | SDU
ACK High | 2024.10.08 01:26:13.121 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.10.08 07:24:55.473 | kai_longley |  | 0 | SDU
ACK High | 2024.10.07 23:29:32.430 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! | 2024.10.08 07:24:56.885 | kai_longley |  | 0 | SDU
ACK High | 2024.10.07 21:08:24.428 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! | 2024.10.08 07:24:59.584 | kai_longley |  | 0 | SDU
ACK High | 2024.10.07 21:08:05.423 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! | 2024.10.08 07:25:00.964 | kai_longley |  | 0 | SDU
ACK High | 2024.10.07 09:52:34.393 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! | 2024.10.08 07:25:02.260 | kai_longley |  | 0 | SDU
ACK High | 2024.10.07 09:51:56.364 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! | 2024.10.08 07:25:03.642 | kai_longley |  | 0 | SDU
ACK High | 2024.10.07 09:51:51.391 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! | 2024.10.08 07:25:12.471 | kai_longley |  | 0 | SDU
ACK High | 2024.10.06 08:38:49.444 | TSC-E-PSD-014 | Town Hall Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:22.882 | kai_longley |  | 0 | THL
ACK High | 2024.10.06 08:38:49.444 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:24.217 | kai_longley |  | 0 | THL
ACK High | 2024.10.06 08:38:49.421 | TSC-E-PSD-008 | Town Hall Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:25.513 | kai_longley |  | 0 | THL
ACK High | 2024.10.06 08:38:49.421 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:26.717 | kai_longley |  | 0 | THL
ACK High | 2024.10.06 08:38:49.397 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:28.070 | kai_longley |  | 0 | THL
ACK High | 2024.10.06 08:38:49.397 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:29.302 | kai_longley |  | 0 | THL
ACK High | 2024.10.06 08:01:41.645 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.10.07 09:21:32.463 | kai_longley |  | 0 | PKV
ACK High | 2024.10.06 07:18:59.677 | PKV-E-PSD-008 | Parkville Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:34.014 | kai_longley |  | 0 | PKV
ACK High | 2024.10.06 07:18:59.677 | PKV-E-PSD-011 | Parkville Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:35.464 | kai_longley |  | 0 | PKV
ACK High | 2024.10.06 07:18:59.677 | PKV-E-PSD-014 | Parkville Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:36.708 | kai_longley |  | 0 | PKV
ACK High | 2024.10.06 07:18:59.677 | PKV-E-PSD-017 | Parkville Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:38.616 | kai_longley |  | 0 | PKV
ACK High | 2024.10.06 07:18:59.677 | PKV-E-PSD-021 | Parkville Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:40.218 | kai_longley |  | 0 | PKV
ACK High | 2024.10.06 07:18:59.644 | PKV-E-PSD-001 | Parkville Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:41.789 | kai_longley |  | 0 | PKV
ACK High | 2024.10.06 07:18:59.644 | PKV-E-PSD-005 | Parkville Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2024.10.07 09:21:43.142 | kai_longley |  | 0 | PKV
ACK High | 2024.10.05 14:47:38.139 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! | 2024.10.07 09:21:44.364 | kai_longley |  | 0 | AZC
ACK High | 2024.10.05 14:47:19.162 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! | 2024.10.07 09:21:45.759 | kai_longley |  | 0 | AZC
ACK High | 2024.10.05 14:46:16.157 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.10.07 09:21:46.947 | kai_longley |  | 0 | AZC
ACK High | 2024.10.05 14:46:02.145 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.10.07 09:21:48.568 | kai_longley |  | 0 | AZC
ACK High | 2024.10.05 14:45:18.147 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.10.07 09:21:49.889 | kai_longley |  | 0 | SDU
ACK High | 2024.10.05 14:45:17.147 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.10.07 09:21:51.506 | kai_longley |  | 0 | SDU
ACK High | 2024.10.05 14:16:47.644 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.10.07 09:22:57.250 | kai_longley |  | 0 | PKV
ACK High | 2024.10.05 08:13:11.529 | TSC-W-PSD-021 | Town Hall Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.10.07 09:22:58.717 | kai_longley |  | 0 | THL
ACK High | 2024.10.05 08:13:11.399 | TSC-W-PSD-014 | Town Hall Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.10.07 09:23:00.116 | kai_longley |  | 0 | THL
ACK High | 2024.10.05 08:13:11.399 | TSC-W-PSD-017 | Town Hall Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.10.07 09:23:01.410 | kai_longley |  | 0 | THL
ACK High | 2024.10.05 08:13:11.398 | TSC-W-PSD-001 | Town Hall Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.10.07 09:23:02.917 | kai_longley |  | 0 | THL
ACK High | 2024.10.05 08:13:11.398 | TSC-W-PSD-005 | Town Hall Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2024.10.07 09:23:04.514 | kai_longley |  | 0 | THL
ACK High | 2024.10.05 08:13:11.398 | TSC-W-PSD-008 | Town Hall Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.10.07 09:23:05.817 | kai_longley |  | 0 | THL
ACK High | 2024.10.05 08:13:11.398 | TSC-W-PSD-011 | Town Hall Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.10.07 09:23:07.202 | kai_longley |  | 0 | THL
ACK High | 2024.10.04 13:59:46.315 | TNC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.10.07 09:23:10.268 | kai_longley |  | 0 | SDU
ACK High | 2024.10.04 13:59:46.315 | TNC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2024.10.07 09:23:11.567 | kai_longley |  | 0 | SDU
ACK High | 2024.10.02 11:29:05.443 | TSC_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2024.10.03 07:49:18.855 | kai_longley |  | 0 | THL
ACK High | 2024.09.30 16:15:41.373 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! | 2024.10.02 08:08:14.323 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:26:59.218 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Arden station haven't ack'd an important alarm! | 2024.09.25 10:03:13.485 | kai_longley |  | 0 | SSC
ACK High | 2024.09.24 09:26:55.008 | PKV_ROL_RNERV_W | RNERV Enclosure Door - Parkville, West Tunnel | RNERV crane arm extended over tracks! | 2024.09.25 10:03:14.502 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:26:54.438 | PDM_ROL_RNERV_W | RNERV Enclosure Door - Eastern Portal, West Tunnel | RNERV crane arm extended over tracks! | 2024.09.24 12:59:58.372 | operator |  | 0 | SDU
ACK High | 2024.09.24 09:21:36.138 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.09.25 10:03:15.688 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:21:35.681 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2024.09.25 10:03:16.755 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:21:34.897 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.09.25 10:03:18.064 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:21:34.453 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.09.25 10:03:19.302 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:21:34.450 | TNC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.09.25 10:03:20.502 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:50.822 | TNC_TFN_0201_03_DS | Tunnel Ventilation Fan - Latrobe Shaft | All fans inoperative! | 2024.09.25 10:16:34.878 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:50.792 | TNC_TFN_0101_03_DS | Tunnel Ventilation Fan 03 - Franklin West Shaft | All fans inoperative! | 2024.09.25 10:16:36.099 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:50.762 | TNC_OFN_0001_03_DS | Over Track Exhaust Fan 01 - A'Beckett Shaft | All fans inoperative! | 2024.09.25 10:16:37.191 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:50.731 | TNC_OCN_0201_02_DS | Over Concourse Exhaust Fan 01 - Latrobe Shaft | All fans inoperative! | 2024.09.25 10:16:38.568 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:50.700 | TNC_OCN_0101_02_DS | Over Concourse Exhaust Fan 01 - Franklin West Shaft | All fans inoperative! | 2024.09.25 10:16:39.852 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:45.924 | TSC_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - OSD Shaft - Variable Speed Drive | All fans inoperative! | 2024.09.25 10:16:53.093 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:18:45.297 | TSC_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - City Square Shaft - Variable Speed Drive | All fans inoperative! | 2024.09.25 10:16:58.691 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:18:44.674 | TSC_OFN_0001_03_DS | Over Track Exhaust Fan 01 - OSD Shaft - Variable Speed Drive | All fans inoperative! | 2024.09.25 10:16:55.202 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:18:44.050 | TSC_OCN_0101_02_DS | Over Concourse Exhaust Fan 01 - City Square Shaft | All fans inoperative! | 2024.09.25 10:16:57.506 | kai_longley |  | 0 | THL
ACK Med | 2024.10.08 01:27:55.129 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2024.10.08 07:25:19.149 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.08 01:27:45.124 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2024.10.08 07:25:20.783 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.07 09:51:56.364 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable | 2024.10.08 07:25:23.271 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.05 14:47:19.162 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable | 2024.10.07 09:24:02.889 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.05 14:46:02.145 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2024.10.07 09:24:04.125 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.04 12:06:38.219 | _Mod_Plc_2 | MTPKV:_Mod_Plc_2. | Communications Fault - Parkville Server 1 to Parkville FDS Gateway | 2024.10.07 09:24:04.091 | kai_longley |  | 0 | STL
ACK Med | 2024.10.04 12:05:33.991 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Modbus redundancy loss | 2024.10.07 09:24:04.091 | kai_longley |  | 0 | PKV
ACK Med | 2024.10.04 12:05:33.989 | PKV-FIP-0001 | Parkville Station FDCIE Panel | No modbus gateway connection | 2024.10.07 09:24:04.091 | kai_longley |  | 0 | PKV
ACK Med | 2024.10.04 12:05:33.989 | PKV-FIP-0002 | Parkville Station SHCIE Panel 2 | No modbus gateway connection | 2024.10.07 09:24:04.091 | kai_longley |  | 0 | PKV
ACK Med | 2024.10.04 12:05:33.989 | PKV-FIP-0003 | Parkville Station SHCIE Panel 3 | No modbus gateway connection | 2024.10.07 09:24:04.091 | kai_longley |  | 0 | PKV
ACK Med | 2024.10.04 12:05:33.989 | PKV-FIP-0004 | Parkville Station SHCIE Panel 4 | No modbus gateway connection | 2024.10.07 09:24:04.091 | kai_longley |  | 0 | PKV
ACK Med | 2024.10.04 12:05:33.989 | PKV-FIP-0005 | Parkville Station SHCIE Panel 5 | No modbus gateway connection | 2024.10.07 09:24:04.091 | kai_longley |  | 0 | PKV
ACK Med | 2024.10.04 12:05:33.989 | PKV-FIP-0006 | Parkville Station SHCIE Panel 6 | No modbus gateway connection | 2024.10.07 09:24:04.091 | kai_longley |  | 0 | PKV
ACK Med | 2024.10.04 11:49:23.620 | WPZ-FIP-0003 | Western Portal Station Fire Panel | No modbus gateway connection | 2024.10.07 09:24:04.080 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.04 11:49:23.619 | WPZ-FIP-0001 | Western Portal Main Fire Panel | No modbus gateway connection | 2024.10.07 09:24:04.080 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.04 11:49:23.619 | WPZ-FIP-0002 | Western Portal Station Fire Panel | No modbus gateway connection | 2024.10.07 09:24:04.080 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.03 19:28:16.251 | TSC_UPS_0432 | Uninterruptible Power Supply | UPS internal diagnostic fault | 2024.10.07 09:24:04.085 | kai_longley |  | 0 | THL
ACK Med | 2024.10.03 19:28:16.251 | TSC_UPS_0432 | Uninterruptible Power Supply | UPS general fault | 2024.10.07 09:24:04.085 | kai_longley |  | 0 | THL
ACK Med | 2024.10.03 14:58:23.416 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | External Smoke Detected! | 2024.10.07 09:24:04.080 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.02 22:10:57.402 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault | 2024.10.07 09:24:04.080 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.02 13:07:10.472 | PKV_FCU_0309_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2024.10.03 16:24:17.694 | kai_longley |  | 0 | PKV
ACK Med | 2024.09.30 16:15:41.373 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable | 2024.10.03 13:05:48.582 | erick_rollon |  | 0 | SDU
ACK Med | 2024.09.24 10:35:47.612 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:47.610 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 10:35:46.353 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:46.351 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 10:35:46.348 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:46.346 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 10:35:46.343 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:46.341 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:19.290 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:19.287 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:17.831 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:17.829 | _Mod_Plc_4 | MTTHL:_Mod_Plc_4. | Communications Fault - Town Hall Server 1 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:17.827 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:17.824 | _Mod_Plc_3 | MTTHL:_Mod_Plc_3. | Communications Fault - Town Hall Server 1 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:17.822 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:17.819 | _Mod_Plc_2 | MTTHL:_Mod_Plc_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS Gateway | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:20:47.332 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:20:47.330 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:20:47.329 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:20:47.327 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:20:47.326 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.24 10:20:47.325 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.24 10:20:47.323 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.24 10:20:47.322 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.24 09:21:08.697 | TNC_BMSComm | CBD North TVCS BMS PLC | Lost communication between the TNC TVCS PLC and the BMS PLC. | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:20:43.173 | TSC_BMSComm | CBD South TVCS BMS PLC | Lost communication between the TSC TVCS PLC and the BMS PLC. | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:20:31.230 | TNC_ModeSts | TVCS CBD North Station mode status S06 | Tunnel section ventilation unavailable | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:20:31.216 | TNC_ModeSts | TVCS CBD North Station mode status S06 | Over Track Exhaust Unavailable | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:20:14.005 | TSC_ModeSts | TVCS CBD South Station mode status S08 | Tunnel section ventilation unavailable | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:20:13.988 | TSC_ModeSts | TVCS CBD South Station mode status S08 | Over Track Exhaust Unavailable | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:19:17.824 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | Door control unit communication lost | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:19:17.124 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | Door control unit communication lost | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:19:15.738 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | Door control unit communication lost | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:19:15.040 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | Door control unit communication lost | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:19:08.128 | TNC-FIP-0008 | State Library Station SHCIE Panel 8 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:07.262 | TNC-FIP-0007 | State Library Station SHCIE Panel 7 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:06.401 | TNC-FIP-0006 | State Library Station SHCIE Panel 6 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:05.544 | TNC-FIP-0005 | State Library Station SHCIE Panel 5 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:04.686 | TNC-FIP-0004 | State Library Station SHCIE Panel 4 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:03.828 | TNC-FIP-0003 | State Library Station SHCIE Panel 3 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:02.958 | TNC-FIP-0002 | State Library Station SHCIE Panel 2 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:02.304 | SDU-FIP-0006 | Cross Passage CDB North FDCIE Panel 2 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:19:02.284 | SDU-FIP-0005 | Cross Passage CDB North FDCIE Panel 1 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:18:58.211 | TSC-FIP-0006 | Town Hall Station SHCIE Panel 6 | No modbus gateway connection | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:18:57.324 | TSC-FIP-0005 | Town Hall Station SHCIE Panel 5 | No modbus gateway connection | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:18:56.429 | TSC-FIP-0004 | Town Hall Station SHCIE Panel 4 | No modbus gateway connection | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:18:55.543 | TSC-FIP-0003 | Town Hall Station SHCIE Panel 3 | No modbus gateway connection | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:18:54.645 | TSC-FIP-0002 | Town Hall Station SHCIE Panel 2 | No modbus gateway connection | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:18:26.385 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:47.003 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:46.982 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.08 07:15:19.959 | DMA_DOR_B1_151-1_1 | West Fire Escape Corridor - Concourse | Unauthorised access | 2024.10.08 07:25:29.225 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.08 04:05:00.219 | AEN_DOR_B2_ESC_STAIRS_04_2 | Platform 2 east - single emergency door | Unauthorised access | 2024.10.08 07:25:32.109 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.07 00:50:40.376 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.10.07 09:24:23.376 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.06 20:47:31.114 | S_94_3_14753 | Traction Section State Library to Town hall section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.114 | S_94_5_14755 | Traction Section Town Hall Station section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.114 | S_95_1_14761 | Traction Section State Library Station section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.114 | S_95_3_14763 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.114 | S_95_5_14765 | Traction Section Town Hall Station section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.114 | S_96_1_14801 | Traction Section Town Hall to Anzac section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.114 | S_96_3_14803 | Traction Section Anzac Station section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.114 | S_97_1_14811 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.114 | S_97_3_14813 | Traction Section Anzac Station section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.114 | S_98_1_14851 | Traction Section Anzac to South yarra section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.114 | S_99_1_14861 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_88_1_14601 | Traction Section Footscray west to Arden section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_89_1_14611 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_90_1_14651 | Traction Section Arden Station section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_90_3_14653 | Traction Section Arden to Parkville section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_91_1_14661 | Traction Section Arden Station section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_91_3_14663 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_92_1_14701 | Traction Section Parkville Station section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_92_3_14703 | Traction Section Parkville to State Library section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_93_1_14711 | Traction Section Parkville Station section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_93_3_14713 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.113 | S_94_1_14751 | Traction Section State Library Station section A | Section Traction Power status Unknown | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 20:47:31.109 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.06 09:29:57.394 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD isolated | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.06 08:50:31.394 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.05 14:33:40.441 | AEN-SPE-0090 | B1, AEN-SPE-0090, 151-10 BOH Corridor | Heat or smoke detector fault | 2024.10.07 08:56:32.757 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.10.05 14:33:40.441 | AEN-SPE-0095 | B1, AEN-SPE-0095, 103-2 PAID CONC | Heat or smoke detector fault | 2024.10.07 08:56:32.757 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.10.05 14:33:40.441 | AEN-SPE-0400 | B1, AEN-SPE-0400, 103-2 PAID CONC | Heat or smoke detector fault | 2024.10.07 08:56:32.757 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.10.05 14:33:40.441 | AEN-SPE-0403 | B1, AEN-SPE-0403, 103-2 PAID CONC | Heat or smoke detector fault | 2024.10.07 08:56:32.757 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.10.05 14:33:40.441 | AEN-SPE-0404 | B1, AEN-SPE-0404, 151-10 BOH Corridor | Heat or smoke detector fault | 2024.10.07 08:56:32.757 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.10.05 13:49:17.340 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault | 2024.10.07 09:24:23.376 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.05 10:02:25.422 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.10.07 09:24:23.406 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.05 07:55:28.308 | DMA_DOR_B1_151-5_1 | East BOH Corridor - Concourse | Unauthorised access | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.05 07:47:46.927 | DMA_DOR_B1_151-5_2 | East BOH Corridor - Concourse | Unauthorised access | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.05 07:47:25.830 | DMA_DOR_B1_151-5_4 | East BOH Corridor - Concourse | Unauthorised access | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.04 14:57:22.915 | DMA_DOR_B2_402-4_2 | East Emergency Stairs - Platform | Unauthorised access | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.04 14:57:16.673 | DMA_DOR_B2_402-4_3 | East Emergency Stairs - Platform | Unauthorised access | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.04 14:41:36.250 | DMA_DOR_B2_405-3_1 | West Emergency Stairs - Platform | Unauthorised access | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.04 13:23:11.336 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.10.07 09:24:23.376 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.04 12:39:01.801 | TNC_ESC_0005 | Escalator 5 Bank 2 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:01.790 | TNC_ESC_0001 | Escalator 1 Bank 1 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:01.790 | TNC_ESC_0002 | Escalator 2 Bank 1 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:01.790 | TNC_ESC_0003 | Escalator 3 Bank 1 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:00.811 | TNC_ESC_0018 | Escalator 18 Bank 6 (B3 Basement to Ground Floor) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:00.811 | TNC_ESC_0019 | Escalator 19 Bank 6 (B3 Basement to Ground Floor) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:00.811 | TNC_ESC_0020 | Escalator 20 Bank 6 (B3 Basement to Ground Floor) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:00.791 | TNC_ESC_0008 | Escalator 8 Bank 3 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:00.791 | TNC_ESC_0009 | Escalator 9 Bank 3 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:00.781 | TNC_ESC_0006 | Escalator 6 Bank 2 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:00.781 | TNC_ESC_0007 | Escalator 7 Bank 3 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 12:39:00.770 | TNC_ESC_0004 | Escalator 4 Bank 2 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.10.07 09:24:23.425 | kai_longley |  | 0 | STL
ACK Low | 2024.10.04 11:32:07.542 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.10.07 09:24:23.406 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.04 11:31:22.363 | PKV_DOR_B2_151-15_1 | East BOH Corridor Entry - Concourse | Unauthorised access | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.04 09:48:21.539 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.10.07 09:24:23.406 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.04 08:31:45.536 | AEN_DOR_GF_405-2_2 | Ground floor east - back of house emergency corridor | Unauthorised access | 2024.10.04 13:40:36.994 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.10.04 07:34:43.065 | AEN_DOR_GF_151-12_1 | Ground floor east - office stairs | Unauthorised access | 2024.10.04 13:40:29.791 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.10.04 02:08:55.238 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2024.10.07 09:24:23.406 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.03 19:33:04.338 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift monitoring lost | 2024.10.07 09:24:23.376 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.03 18:50:31.342 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift monitoring lost | 2024.10.07 09:24:23.376 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.02 15:01:30.465 | PKV_FCU_1115_16_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable | 2024.10.03 16:24:14.049 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.02 12:26:28.581 | DMA_DOR_B2_405-4_1 | West Emergency Stairs - Platform | Unauthorised access | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.02 11:29:15.392 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.392 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.392 | TSC_LFT_0014 | Lift 14 BOH (B6 Basement to B3 Basement) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.392 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.392 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.392 | TSC_LFT_0017 | Lift 17 BOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.392 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.392 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.392 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.391 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.391 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.386 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.386 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.386 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.386 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.386 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.386 | TSC_LFT_0006 | Lift 6 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0030 | Escalator 30 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0031 | Escalator 31 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0032 | Escalator 32 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0033 | Escalator 33 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0034 | Escalator 34 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0035 | Escalator 35 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0036 | Escalator 36 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0037 | Escalator 37 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0038 | Escalator 38 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0039 | Escalator 39 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0040 | Escalator 40 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0041 | Escalator 41 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0042 | Escalator 42 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0043 | Escalator 43 Bank 15 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.375 | TSC_ESC_0044 | Escalator 44 Bank 15 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0014 | Escalator 14 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0015 | Escalator 15 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0016 | Escalator 16 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0017 | Escalator 17 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0018 | Escalator 18 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0019 | Escalator 19 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0020 | Escalator 20 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0021 | Escalator 21 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0022 | Escalator 22 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0023 | Escalator 23 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0024 | Escalator 24 Bank 9 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0025 | Escalator 25 Bank 9 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0026 | Escalator 26 Bank 10 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0027 | Escalator 27 Bank 10 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0028 | Escalator 28 Bank 11 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.368 | TSC_ESC_0029 | Escalator 29 Bank 11 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0001 | Escalator 1 Bank 1 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0002 | Escalator 2 Bank 2 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0003 | Escalator 3 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0004 | Escalator 4 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0005 | Escalator 5 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0006 | Escalator 6 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0007 | Escalator 7 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0013 | Escalator 13 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0008 | Escalator 8 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0009 | Escalator 9 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0010 | Escalator 10 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0011 | Escalator 11 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:15.356 | TSC_ESC_0012 | Escalator 12 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.394 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.394 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.394 | TSC_LFT_0014 | Lift 14 BOH (B6 Basement to B3 Basement) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.394 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.394 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.394 | TSC_LFT_0017 | Lift 17 BOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0006 | Lift 6 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 11:29:05.383 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.07 09:24:23.411 | kai_longley |  | 0 | THL
ACK Low | 2024.10.02 09:33:00.330 | DMA_DOR_B1_ST05_1 | East Emergency Stairs - Concourse | Unauthorised access | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.02 07:55:28.716 | PKV_DOR_B4_PKV-S-02_2 | East Emergency Stairs - Platform | Unauthorised access | 2024.10.02 14:11:51.130 | operator |  | 0 | PKV
ACK Low | 2024.10.01 12:27:28.495 | DMA_ROL_GF_DMA-DMARD_1 | Domain Road Station Entry Roller Door | Unauthorised access | 2024.10.07 09:24:23.435 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.30 22:12:18.381 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift monitoring lost | 2024.10.03 16:24:35.629 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.26 15:02:08.660 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift monitoring lost | 2024.09.26 19:42:55.807 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.26 12:40:25.090 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access | 2024.09.26 19:42:55.843 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.26 10:58:49.742 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.26 11:30:08.852 | operator |  | 0 | ARN
ACK Low | 2024.09.26 10:58:49.742 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault | 2024.09.26 11:30:08.852 | operator |  | 0 | ARN
ACK Low | 2024.09.26 08:56:08.422 | AEN_DOR_B1_ESC_STAIRS_04_2 | Concourse east - back of house emergency stairs | Unauthorised access | 2024.09.26 19:42:55.843 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.26 07:51:52.999 | PKV_DOR_B3_402-7_1 | East Emergency Stairs - Basement | Unauthorised access | 2024.09.26 19:42:55.843 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.26 01:47:19.139 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically | 2024.09.26 19:42:55.843 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.25 07:48:09.422 | PKV_ROL_GF_PKV-RMH_1 | RMH Entry Roller Door | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 05:18:34.343 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 14:11:30.555 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 14:03:08.425 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 14:02:23.542 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 11:03:13.801 | AEN_DOR_LG_405-3_2 | Lower ground east - back of house emergency stairs | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 10:20:47.295 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 10:20:47.292 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 10:20:47.287 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 10:20:47.283 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 09:27:00.629 | PKV_ROL_GF_PKV-VCCC_1 | VCCC Entry Roller Door | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:27:00.607 | PKV_ROL_GF_PKV-RPDE_1 | Royal Parade Entry Roller Door | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.812 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.759 | PKV_DOR_B4_PKV-S-01_1 | West Emergency Stairs - Platform | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.660 | PKV_DOR_B3_151-18_1 | West Fire Escape Corridor - Basement | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.638 | PKV_DOR_B2_PKV-S-03_3 | West Emergency Stairs - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.594 | PKV_DOR_B2_PKV-S-02_1 | East Emergency Stairs - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.564 | PKV_DOR_B2_405-5_1 | West Emergency Corrdidor - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.488 | PKV_DOR_B2_151-10_1 | East Fire Lobby Entry - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:53.952 | DMA_DOR_B2_402-4_1 | East Emergency Stairs - Platform | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:26:53.850 | DMA_DOR_B1_212-1_1 | Access to Office - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:24:18.398 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:18.268 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:18.112 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.975 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.823 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.690 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.537 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.408 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.251 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.113 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.960 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.832 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.680 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.551 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.397 | TNC_LFT_0011 | Lift 11 BOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.267 | TNC_LFT_0011 | Lift 11 BOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.114 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.985 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.832 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.702 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.547 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.417 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.259 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.129 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.974 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.843 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.687 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.555 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.398 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.262 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.106 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:13.975 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:13.821 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:13.690 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:13.535 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:13.403 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:23:36.673 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:23:36.023 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:23:10.791 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:22:18.117 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault | 2024.09.25 10:18:25.423 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 09:21:05.348 | TNC_TEXB | Tunnel Ambient Temperature Control | Tunnel B - Ambient Temperature Control Unavailable | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | SDU
ACK Low | 2024.09.24 09:20:39.558 | TSC_TEXB | Tunnel Ambient Temperature Control | Tunnel B - Ambient Temperature Control Unavailable | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:30.844 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:29.875 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:28.905 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:27.950 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:26.990 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:09.907 | TNC_TEXA | Tunnel Ambient Temperature Control | Tunnel A - Ambient Temperature Control Unavailable | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | SDU
ACK Low | 2024.09.24 09:19:58.372 | TSC_TEXA | Tunnel Ambient Temperature Control | Tunnel A - Ambient Temperature Control Unavailable | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:19:48.906 | TNC_HCS_0002 | Staff Protection/Rail Occupancy Status - State Library Signal 02 | Staff Protection Switch activated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:48.893 | TNC_HCS_0001 | Staff Protection/Rail Occupancy Status - State Library Signal 01 | Staff Protection Switch activated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:46.224 | TSC_HCS_0002 | Staff Protection/Rail Occupancy Status - Town Hall Signal 02 | Staff Protection Switch activated | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:19:46.206 | TSC_HCS_0001 | Staff Protection/Rail Occupancy Status - Town Hall Signal 01 | Staff Protection Switch activated | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:19:38.615 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | Speaker fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:19:38.364 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:19:33.174 | TNC-W-PSD-004 | State Library Platform 1 Zone 1 PSD 04 | PSD isolated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:32.022 | TNC-W-PSD-002 | State Library Platform 1 Zone 1 PSD 02 | PSD isolated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:31.022 | PKV-W-PSD-009 | Parkville Platform 1 Zone 1 PSD 09 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:19:28.773 | TNC-E-PSD-026 | State Library Platform 2 Zone 3 PSD 26 | PSD isolated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:16.444 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD isolated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:16.148 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:19:15.242 | DMA-W-PSD-004 | Anzac Platform 1 Zone 1 PSD 04 | PSD isolated | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:19:14.713 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD isolated | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:19:09.981 | DMA-E-PSD-023 | Anzac Platform 2 Zone 3 PSD 23 | PSD isolated | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC