## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.06.13 07:30:50.469 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.12 14:53:03.990 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.12 14:13:10.990 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.12 12:34:59.995 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.12 10:16:36.995 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.11 13:29:51.994 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.11 11:59:41.785 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.11 11:59:36.742 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.11 11:59:33.754 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.11 11:18:34.328 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.11 10:39:14.327 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.11 10:38:56.331 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.11 10:37:58.324 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.11 10:37:15.340 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.11 10:37:14.327 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.09 12:17:50.992 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.07 16:53:04.990 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.06 22:43:22.274 | TSC-W-PSD-029 | Town Hall Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.06 22:43:22.251 | TSC-W-PSD-011 | Town Hall Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.06 21:46:02.249 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.06.06 20:29:56.249 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.06.05 18:14:54.704 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.05 09:55:12.511 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.05 09:55:12.511 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.03 10:03:13.630 | AEN_ROL_RNERV_W | West Tunnel RNERV Roller Door | RNERV crane arm extended over tracks! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.03 10:01:16.559 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.03 10:01:16.545 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.03 09:59:12.828 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.03 09:59:12.814 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.03 09:58:26.306 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.11 11:59:41.785 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.11 11:18:34.328 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.11 10:37:58.324 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.05 18:13:04.701 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.05 17:32:57.701 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.04 08:42:49.681 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.04 08:42:44.680 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.03 10:50:15.738 | _Driver1_2 | Anzac Server 2 | PSS2 S7 Driver 1 overloaded (TVCS PLC) |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.03 10:50:12.774 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.702 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.696 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.691 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:52.195 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.190 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.185 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:38.106 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Communications Fault - State Library Server 2 to State Library TVCS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:38.097 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Communications Fault - State Library Server 1 to State Library TVCS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.239 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.238 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.236 | _TNC-BMS-PLC3_2 | MTSTL:_TNC-BMS-PLC3_2. | Communications Fault - State Library Server 2 to State Library BMS Gateway PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.234 | _TNC-BMS-PLC3 | MTSTL:_TNC-BMS-PLC3. | Communications Fault - State Library Server 1 to State Library BMS Gateway PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.232 | _TNC-BMS-PLC_2 | MTSTL:_TNC-BMS-PLC_2. | Communications Fault - State Library Server 2 to State Library BMS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.229 | _TNC-BMS-PLC | MTSTL:_TNC-BMS-PLC. | Communications Fault - State Library Server 1 to State Library BMS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.969 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.966 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.964 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.963 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.961 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.959 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 09:57:47.739 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.13 09:35:07.762 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.13 08:59:40.117 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 08:54:41.561 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 08:54:41.561 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 08:54:37.567 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 08:54:24.697 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 08:36:54.706 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 08:05:11.446 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.13 08:00:26.617 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 07:54:15.432 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.13 07:38:37.566 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 07:38:25.568 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 07:38:03.448 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.13 07:34:37.542 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 07:33:57.556 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 07:20:55.559 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.13 01:22:38.423 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator stopped.(emergency brake fault) |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 23:21:23.429 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 23:21:15.449 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 23:20:07.444 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 23:20:00.447 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:39:44.434 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:39:38.452 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.399 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.399 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.398 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.398 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.398 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.398 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.398 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.398 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.398 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.398 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.398 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 22:35:34.398 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.12 15:44:08.304 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.12 15:02:22.624 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.12 14:32:58.637 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.12 13:17:02.633 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.12 13:13:57.557 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.12 13:13:57.557 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.12 11:59:31.551 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.12 10:07:57.307 | PKV_DOR_B2_405-5_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.12 09:14:19.740 | PKV_DOR_GF_PKV-S-03_1 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.12 08:10:15.392 | PKV_DOR_GF_PKV-S-05_1 | Security Door (PUBLIC REALM EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.12 06:51:50.574 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.12 06:28:31.556 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:21.009 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:21.009 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:21.009 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:21.009 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:20.993 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:20.993 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:20.993 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:20.887 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:20.887 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:20.887 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:20.887 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:20.886 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:20.886 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:17.894 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:17.894 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 13:49:17.894 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.06 06:53:06.434 | SDU_TEP_0305_06_DS | Tunnel Drainage Pump - Duty Selection | All devices unavailable |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.05 14:25:01.628 | PKV_DOR_B2_PKV-S-03_3 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.04 14:39:10.658 | PKV_DOR_GF_PKV-S-03_2 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.04 09:59:00.155 | PKV_DOR_B2_PKV-S-03_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.04 08:56:20.736 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.03 10:49:38.103 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 2 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.099 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.092 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 2 |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.089 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 1 |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:47:20.619 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.03 10:03:20.641 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.03 10:03:20.602 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.03 10:03:20.574 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.03 10:03:20.546 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.03 09:58:28.628 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 09:58:24.519 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 09:58:19.119 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
WENT UNACK High | 2024.06.13 09:15:25.628 | AEN-E-LCP | Arden Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.13 09:15:27.627 | 0 | ARN
WENT UNACK High | 2024.06.13 07:30:32.657 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.06.13 09:15:18.472 | 0 | AZC
WENT UNACK Med | 2024.06.13 09:31:59.543 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.13 09:32:07.545 | 0 | PKV
WENT UNACK Med | 2024.06.13 08:09:08.591 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.13 08:09:16.591 | 0 | PKV
WENT UNACK Med | 2024.06.13 07:48:32.602 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.13 07:48:42.594 | 0 | PKV
WENT UNACK Med | 2024.06.12 22:19:06.484 | DMA_FCU_0115_16_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.12 22:19:32.672 | 0 | AZC
WENT UNACK Med | 2024.06.12 22:19:05.502 | DMA_FCU_1111_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.12 22:19:32.741 | 0 | AZC
WENT UNACK Med | 2024.06.12 22:19:04.489 | DMA_FCU_1115_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.12 22:23:16.487 | 0 | AZC
WENT UNACK Med | 2024.06.12 21:03:47.480 | DMA_FCU_1139_40_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.12 21:04:26.482 | 0 | AZC
WENT UNACK Med | 2024.06.12 21:03:46.468 | DMA_FCU_1137_38_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.12 21:04:26.482 | 0 | AZC
WENT UNACK Med | 2024.06.12 19:35:52.699 | DMA_FCU_1113_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.12 19:36:08.486 | 0 | AZC
WENT UNACK Med | 2024.06.12 16:52:51.502 | DMA_SPP_0207_08_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.06.12 16:53:33.485 | 0 | AZC
WENT UNACK Med | 2024.06.12 14:38:31.771 | _PDM-BMS-PLC_2 | MTAZC:_PDM-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Eastern Portal BMS PLC |  |  | 2024.06.12 14:41:19.046 | 0 | ARN
WENT UNACK Med | 2024.06.12 14:38:17.734 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  | 2024.06.12 14:41:05.045 | 0 | AZC
WENT UNACK Med | 2024.06.12 14:31:12.622 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.12 14:31:20.590 | 0 | PKV
WENT UNACK Med | 2024.06.12 14:31:08.613 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.12 14:31:17.557 | 0 | PKV
WENT UNACK Med | 2024.06.12 14:24:46.275 | _PAE-BMS-PLC_2 | MTARD:_PAE-BMS-PLC_2. | Communications Fault - Arden Server 2 to Western Portal BMS PLC |  |  | 2024.06.12 14:27:34.050 | 0 | PKV
WENT UNACK Med | 2024.06.12 14:24:29.152 | _PAE-BMS-PLC | MTARD:_PAE-BMS-PLC. | Communications Fault - Arden Server 1 to Western Portal BMS PLC |  |  | 2024.06.12 14:27:17.044 | 0 | ARN
WENT UNACK Med | 2024.06.12 12:56:55.532 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.12 12:57:05.543 | 0 | PKV
WENT UNACK Med | 2024.06.12 12:02:54.492 | DMA_FCU_1135_36_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.12 12:04:30.465 | 0 | AZC
WENT UNACK Med | 2024.06.12 10:50:15.474 | DMA_FCU_0111_12_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.12 11:18:22.836 | 0 | AZC
WENT UNACK Med | 2024.06.12 10:19:37.539 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.12 10:19:47.539 | 0 | PKV
WENT UNACK Med | 2024.06.11 23:58:56.448 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  | 2024.06.11 23:58:57.445 | 0 | STL
WENT UNACK Med | 2024.06.11 22:47:33.579 | PKV_FCU_1213_14_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.12 10:58:24.743 | 0 | PKV
WENT UNACK Med | 2024.06.11 14:37:08.376 | _DMA-BMS-PLC | MTAZC:_DMA-BMS-PLC. | Communications Fault - Anzac Server 1 to Anzac BMS PLC |  |  | 2024.06.11 14:38:01.106 | 0 | AZC
WENT UNACK Med | 2024.06.11 14:37:08.352 | _DMA-BMS-PLC_2 | MTAZC:_DMA-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Anzac BMS PLC |  |  | 2024.06.11 14:38:00.884 | 0 | ARN
WENT UNACK Med | 2024.06.07 16:41:21.941 | _PKV-BMS-PLC_2 | MTPKV:_PKV-BMS-PLC_2. | Communications Fault - Parkville Server 2 to Parkville BMS PLC |  |  | 2024.06.07 16:42:03.163 | 0 | STL
WENT UNACK Med | 2024.06.07 16:41:21.940 | _PKV-BMS-PLC | MTPKV:_PKV-BMS-PLC. | Communications Fault - Parkville Server 1 to Parkville BMS PLC |  |  | 2024.06.07 16:42:03.156 | 0 | PKV
WENT UNACK Med | 2024.06.06 22:47:29.484 | _SYP-TIAS-PLC_2 | MTDIST:_SYP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SYP TIAS PLC |  |  | 2024.06.06 22:48:11.135 | 0 | THL
WENT UNACK Med | 2024.06.06 22:47:11.219 | _SYP-TIAS-PLC | MTDIST:_SYP-TIAS-PLC. | Communications Fault - Dist Server 1 to SYP TIAS PLC |  |  | 2024.06.06 22:47:53.143 | 0 | ARN
WENT UNACK Med | 2024.06.06 14:52:58.463 | _Mod_Plc_2 | MTPKV:_Mod_Plc_2. | Communications Fault - Parkville Server 1 to Parkville FDS Gateway |  |  | 2024.06.06 14:53:02.586 | 0 | STL
WENT UNACK Med | 2024.06.06 12:34:49.031 | _DMA-TVC-PLC_2 | MTAZC:_DMA-TVC-PLC_2. | Communication Fault - Anzac Server 2 to Anzac TVCS PLC |  |  | 2024.06.06 12:35:19.113 | 0 | ARN
WENT UNACK Med | 2024.06.06 12:34:41.436 | _DMA-TVC-PLC | MTAZC:_DMA-TVC-PLC. | Communications Fault - Anzac Server 1 to Anzac TVCS PLC |  |  | 2024.06.06 12:35:11.498 | 0 | AZC
WENT UNACK Med | 2024.06.06 12:34:23.560 | _DMA-BMS-PLC3 | MTAZC:_DMA-BMS-PLC3. | Communications Fault - Anzac Server 1 to Anzac BMS Gateway PLC |  |  | 2024.06.06 12:34:27.537 | 0 | AZC
WENT UNACK Med | 2024.06.05 13:05:54.617 | _AEN-BMS-PLC3 | MTARD:_AEN-BMS-PLC3. | Communications Fault - Arden Server 1 to Arden BMS Gateway PLC |  |  | 2024.06.05 13:05:54.803 | 0 | ARN
WENT UNACK Med | 2024.06.05 13:03:17.744 | _AEN-TVC-PLC_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden TVCS PLC |  |  | 2024.06.05 13:06:03.417 | 0 | PKV
WENT UNACK Med | 2024.06.05 13:03:17.728 | _AEN-TVC-PLC | Arden Server 1 | Communications Fault - Arden Server 1 to Arden TVCS PLC |  |  | 2024.06.05 13:05:46.289 | 0 | ARN
WENT UNACK Med | 2024.06.05 13:03:17.524 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Communications Fault - Parkville Server 2 to Parkville TVCS PLC |  |  | 2024.06.05 13:05:37.580 | 0 | STL
WENT UNACK Med | 2024.06.05 13:03:17.522 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Communications Fault - Parkville Server 1 to Parkville TVCS PLC |  |  | 2024.06.05 13:05:50.904 | 0 | PKV
WENT UNACK Med | 2024.06.05 13:03:17.067 | _PKV-BMS-PLC3_2 | MTPKV:_PKV-BMS-PLC3_2. | Communications Fault - Parkville Server 2 to Parkville BMS Gateway PLC |  |  | 2024.06.05 13:06:05.050 | 0 | STL
WENT UNACK Med | 2024.06.05 13:03:13.745 | _AEN-BMS-PLC_2 | Arden BMS PLC | Communications Fault - Arden Server 2 to Arden BMS PLC |  |  | 2024.06.05 13:06:01.155 | 0 | PKV
WENT UNACK Med | 2024.06.05 13:03:13.745 | _AEN-BMS-PLC3_2 | MTARD:_AEN-BMS-PLC3_2. | Communications Fault - Arden Server 2 to Arden BMS Gateway PLC |  |  | 2024.06.05 13:06:01.054 | 0 | PKV
WENT UNACK Med | 2024.06.05 13:02:59.941 | _PKV-BMS-PLC3 | MTPKV:_PKV-BMS-PLC3. | Communications Fault - Parkville Server 1 to Parkville BMS Gateway PLC |  |  | 2024.06.05 13:05:47.044 | 0 | PKV
WENT UNACK Med | 2024.06.05 13:02:59.224 | _DMA-BMS-PLC3_2 | MTAZC:_DMA-BMS-PLC3_2. | Communications Fault - Anzac Server 2 to Anzac BMS Gateway PLC |  |  | 2024.06.05 13:05:47.981 | 0 | ARN
WENT UNACK Med | 2024.06.05 13:02:59.184 | _AEN-BMS-PLC | Arden BMS PLC | Communications Fault - Arden Server 1 to Arden BMS PLC |  |  | 2024.06.05 13:05:47.178 | 0 | ARN
WENT UNACK Med | 2024.06.03 16:42:15.430 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  | 2024.06.03 16:42:20.080 | 0 | STL
WENT UNACK Med | 2024.06.03 15:40:46.547 | _Mod_Plc_2 | MTAZC:_Mod_Plc_2. | Communications Fault - Anzac Server 1 to Anzac FDS Gateway |  |  | 2024.06.03 15:41:49.337 | 0 | ARN
WENT UNACK Med | 2024.06.03 15:40:46.546 | _Mod_Plc_2_2 | MTAZC:_Mod_Plc_2_2. | Communications Fault - Anzac Server 2 to Anzac FDS Gateway |  |  | 2024.06.03 15:41:49.357 | 0 | ARN
WENT UNACK Low | 2024.06.13 09:35:16.088 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.13 09:35:22.750 | 0 | PKV
WENT UNACK Low | 2024.06.13 09:32:09.171 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.06.13 09:32:21.156 | 0 | PKV
WENT UNACK Low | 2024.06.13 09:21:34.729 | PKV_DOR_B1_PKV-S-02_2 | Security Door (B1 EAST) | Unauthorised access |  |  | 2024.06.13 09:21:45.174 | 0 | PKV
WENT UNACK Low | 2024.06.13 09:19:32.772 | AEN_LFT_0005 | Lift 5 BOH (Platforms to Ground Floor) | Lift General Fault |  |  | 2024.06.13 09:19:33.969 | 0 | ARN
WENT UNACK Low | 2024.06.13 09:17:04.396 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.06.13 09:17:09.263 | 0 | PKV
WENT UNACK Low | 2024.06.13 09:14:44.689 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault |  |  | 2024.06.13 09:15:09.566 | 0 | PKV
WENT UNACK Low | 2024.06.13 09:13:40.350 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access |  |  | 2024.06.13 09:13:45.113 | 0 | ARN
WENT UNACK Low | 2024.06.13 09:02:07.543 | DMA-HTD-0124 | GF, DMA-HTD-0124 Equipment Room 234-3 | Heat or smoke detector fault |  |  | 2024.06.13 09:27:53.525 | 0 | AZC
WENT UNACK Low | 2024.06.13 09:00:42.613 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  | 2024.06.13 09:31:18.629 | 0 | PKV
WENT UNACK Low | 2024.06.13 09:00:20.399 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault |  |  | 2024.06.13 09:27:51.379 | 0 | AZC
WENT UNACK Low | 2024.06.13 08:55:52.587 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator stopped(foreign object trapped in handrail entry - top right) |  |  | 2024.06.13 08:56:12.592 | 0 | PKV
WENT UNACK Low | 2024.06.13 08:48:52.202 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.13 09:20:44.515 | 0 | PKV
WENT UNACK Low | 2024.06.13 08:33:14.326 | AEN_DOR_B2_ESC_STAIRS_04_2 | Platform 2 east - single emergency door | Unauthorised access |  |  | 2024.06.13 08:33:19.907 | 0 | ARN
WENT UNACK Low | 2024.06.13 08:29:16.019 | AEN_DOR_B1_151-4_1 | Concourse east - back of house emergency corridor | Unauthorised access |  |  | 2024.06.13 08:29:22.956 | 0 | ARN
WENT UNACK Low | 2024.06.13 08:19:55.558 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator stopped.(combplate bottom right) |  |  | 2024.06.13 08:20:03.537 | 0 | PKV
WENT UNACK Low | 2024.06.13 08:08:03.198 | PKV_DOR_B3_PKV-S-01_1 | Security Door (B3 WEST) | Unauthorised access |  |  | 2024.06.13 08:08:06.763 | 0 | PKV
WENT UNACK Low | 2024.06.13 07:40:59.967 | PKV_DOR_B4_PKV-S-01_1 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.13 07:41:07.276 | 0 | PKV
WENT UNACK Low | 2024.06.13 07:38:28.627 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift monitoring lost |  |  | 2024.06.13 07:56:23.555 | 0 | PKV
WENT UNACK Low | 2024.06.13 07:10:45.751 | AEN_DOR_GF_401-1_1 | Ground floor east - fire control room | Unauthorised access |  |  | 2024.06.13 07:10:46.890 | 0 | ARN
WENT UNACK Low | 2024.06.13 07:10:23.547 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.13 07:10:29.891 | 0 | PKV
WENT UNACK Low | 2024.06.13 06:31:31.067 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.06.13 06:31:32.217 | 0 | THL
WENT UNACK Low | 2024.06.13 04:46:13.437 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.464 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.433 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.464 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.432 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.462 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.432 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.464 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.425 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.462 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.424 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.461 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.424 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.461 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.419 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.456 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.419 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.456 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.415 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.453 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.412 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.452 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.402 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.451 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.390 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.442 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.390 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.445 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.390 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.448 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:46:13.385 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  | 2024.06.13 04:46:13.438 | 0 | SDU
WENT UNACK Low | 2024.06.13 04:45:21.909 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  | 2024.06.13 04:45:22.258 | 0 | SDU
WENT UNACK Low | 2024.06.12 23:18:05.442 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  | 2024.06.13 07:30:11.434 | 0 | AZC
WENT UNACK Low | 2024.06.12 23:16:51.449 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  | 2024.06.13 07:53:54.435 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:42:39.442 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  | 2024.06.13 08:04:34.445 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:26.485 | DMA_FCU_1127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:24:34.754 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:05.489 | DMA_FCU_1105_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:23:18.483 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:05.489 | DMA_FCU_1103_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:23:18.483 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:05.489 | DMA_FCU_1101_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:23:18.483 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:05.489 | DMA_FCU_0127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:19:32.704 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:05.489 | DMA_FCU_0121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:19:32.704 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:04.492 | DMA_FCU_1119_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:19:32.741 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:04.489 | DMA_FCU_1121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:23:16.487 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:04.489 | DMA_FCU_1117_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:23:16.487 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:04.479 | DMA_FCU_1145_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:19:32.704 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:04.479 | DMA_FCU_1125_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:19:32.704 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:04.479 | DMA_FCU_1001_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:19:32.704 | 0 | AZC
WENT UNACK Low | 2024.06.12 22:19:04.479 | DMA_FCU_0123_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 22:19:32.704 | 0 | AZC
WENT UNACK Low | 2024.06.12 20:35:40.475 | DMA_FCU_1123_24_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 20:35:54.475 | 0 | AZC
WENT UNACK Low | 2024.06.12 19:47:42.680 | DMA_FCU_0109_10_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.12 19:48:18.483 | 0 | AZC
WENT UNACK Low | 2024.06.12 17:41:15.940 | AEN_FCU_1201_02_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.13 08:36:32.810 | 0 | ARN
WENT UNACK Low | 2024.06.12 15:50:50.666 | AEN_DOR_GF_405-2_1 | Ground floor east - emergency escape ramp | Door open too long |  |  | 2024.06.12 15:56:25.295 | 0 | ARN
WENT UNACK Low | 2024.06.12 15:38:27.743 | PKV_DOR_B2_151-15_1 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.06.12 15:38:46.885 | 0 | PKV
WENT UNACK Low | 2024.06.12 14:55:36.280 | PKV_DOR_B3_PKV-S-01_2 | Security Door (B3 WEST) | Unauthorised access |  |  | 2024.06.12 17:23:51.608 | 0 | PKV
WENT UNACK Low | 2024.06.12 14:36:56.536 | AEN_DOR_GF_405-2_2 | Ground floor east - back of house emergency corridor | Unauthorised access |  |  | 2024.06.12 15:02:51.277 | 0 | ARN
WENT UNACK Low | 2024.06.12 14:36:39.751 | AEN_DOR_L1_ESC_STAIRS_5_1 | Level 1 east - office stairs | Unauthorised access |  |  | 2024.06.12 14:36:54.530 | 0 | ARN
WENT UNACK Low | 2024.06.12 14:33:36.418 | AEN_DOR_B1_151-3_1 | Concourse west - back of house corridor | Unauthorised access |  |  | 2024.06.12 14:33:41.251 | 0 | ARN
WENT UNACK Low | 2024.06.12 14:26:55.558 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.06.12 14:28:05.594 | 0 | PKV
WENT UNACK Low | 2024.06.12 13:49:42.634 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift monitoring lost |  |  | 2024.06.12 13:58:43.564 | 0 | PKV
WENT UNACK Low | 2024.06.12 13:45:26.126 | AEN_DOR_B2_ESC_STAIRS_03_2 | Platform 1 west - double emergency door | Unauthorised access |  |  | 2024.06.12 13:45:38.725 | 0 | ARN
WENT UNACK Low | 2024.06.12 13:42:42.627 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  | 2024.06.12 13:42:44.698 | 0 | PKV
WENT UNACK Low | 2024.06.12 13:40:54.807 | AEN_DOR_B2_ESC_STAIRS_03_1 | Platform 2 west - single emergency door | Unauthorised access |  |  | 2024.06.12 13:41:32.009 | 0 | ARN
WENT UNACK Low | 2024.06.12 13:28:33.469 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.12 13:28:40.487 | 0 | PKV
WENT UNACK Low | 2024.06.12 12:33:35.101 | PDM_DOR_W_1 | PDM West Tunnel Door 1 | Unauthorised access |  |  | 2024.06.12 12:33:52.200 | 0 | SDU
WENT UNACK Low | 2024.06.12 12:32:06.165 | PDM_DOR_E_1 | PDM East Tunnel Door 1 | Unauthorised access |  |  | 2024.06.12 12:32:19.387 | 0 | SDU
WENT UNACK Low | 2024.06.12 11:50:34.696 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.06.12 12:01:22.606 | 0 | PKV
WENT UNACK Low | 2024.06.12 11:47:17.361 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.12 11:47:26.925 | 0 | PKV
WENT UNACK Low | 2024.06.12 10:26:19.555 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.06.12 10:26:51.552 | 0 | PKV
WENT UNACK Low | 2024.06.12 07:33:02.532 | DMA-FPD-0018 | B1, DMA-FPD-0018 FCU-0110 LFT-03 S/A | Heat or smoke detector fault |  |  | 2024.06.12 10:59:42.610 | 0 | AZC
WENT UNACK Low | 2024.06.12 07:32:30.528 | DMA-FPD-0017 | B1, DMA-FPD-0017 FCU-0109 LFT-03 S/A | Heat or smoke detector fault |  |  | 2024.06.12 10:59:42.610 | 0 | AZC
WENT UNACK Low | 2024.06.07 13:25:59.574 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  | 2024.06.12 14:37:06.574 | 0 | PKV
WENT UNACK Low | 2024.06.05 13:03:17.723 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 1 |  |  | 2024.06.05 13:05:46.289 | 0 | ARN
WENT UNACK Low | 2024.06.05 13:03:17.524 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Link Failure - Parkville Server 2 to Parkville TVCS CPU 1 |  |  | 2024.06.05 13:05:37.580 | 0 | STL
WENT UNACK Low | 2024.06.05 13:02:56.228 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 2 |  |  | 2024.06.05 13:05:46.289 | 0 | ARN
ACK High | 2024.06.03 09:58:06.706 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! | 2024.06.04 08:53:46.364 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.06.03 09:58:06.239 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.06.04 08:53:58.916 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.06.03 09:58:05.771 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! | 2024.06.04 08:41:47.122 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.05.20 08:23:30.503 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.05.20 15:17:54.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded | 2024.05.20 15:17:59.449 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.03 10:48:16.685 | _Driver1_2 | MTARD:_Driver1_2. | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.04 08:54:10.389 | sergio_paniagua |  | 0 | PKV
ACK Med | 2024.06.03 10:47:25.339 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.338 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.337 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.336 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.335 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.334 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.333 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.331 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.305 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.290 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 09:59:08.939 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2024.06.04 08:41:46.882 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.06.03 09:59:08.936 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2024.06.04 08:41:46.976 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.06.12 22:23:12.561 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.06.12 22:23:51.607 | emilio_ito |  | 0 | AZC
ACK Low | 2024.06.12 22:23:11.440 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.06.12 22:23:59.342 | emilio_ito |  | 0 | AZC
ACK Low | 2024.06.12 19:41:21.440 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.06.12 19:49:56.501 | emilio_ito |  | 0 | AZC
ACK Low | 2024.06.07 13:24:06.778 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.06.12 12:13:14.034 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.06.07 13:23:48.780 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.06.12 12:20:43.364 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.06.07 13:23:35.775 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.06.12 12:00:22.346 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.06.07 13:22:46.772 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault | 2024.06.12 12:00:28.903 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.06.04 10:25:25.629 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated | 2024.06.04 10:44:36.015 | kasturi_jathar |  | 0 | ARN
ACK Low | 2024.06.04 09:58:49.761 | PKV_DOR_B2_PKV-S-02_1 | Security Door (B2 EAST) | Unauthorised access | 2024.06.04 14:27:30.238 | sergio_paniagua |  | 0 | PKV
ACK Low | 2024.06.03 10:47:25.309 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.307 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.03 10:47:25.302 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.298 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.03 10:03:20.712 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown | 2024.06.04 13:12:35.885 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.06.03 10:03:20.685 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown | 2024.06.04 13:12:35.911 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.06.03 10:03:13.526 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access | 2024.06.03 12:33:52.544 | sergio_paniagua |  | 0 | ARN
ACK Low | 2024.06.03 10:03:13.400 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Door open too long | 2024.06.03 13:14:12.895 | sergio_paniagua |  | 0 | ARN
ACK Low | 2024.06.03 10:02:06.395 | AEN-SPE-0404 | B1, AEN-SPE-0404, 151-10 BOH Corridor | Heat or smoke detector fault | 2024.06.03 13:55:40.589 | kasturi_jathar |  | 0 | ARN
ACK Low | 2024.06.03 10:02:06.063 | AEN-SPE-0403 | B1, AEN-SPE-0403, 103-2 PAID CONC | Heat or smoke detector fault | 2024.06.03 13:55:38.503 | kasturi_jathar |  | 0 | ARN
ACK Low | 2024.06.03 10:02:05.448 | AEN-SPE-0400 | B1, AEN-SPE-0400, 103-2 PAID CONC | Heat or smoke detector fault | 2024.06.03 14:00:22.077 | kasturi_jathar |  | 0 | ARN
ACK Low | 2024.06.03 10:01:23.258 | AEN-SPE-0095 | B1, AEN-SPE-0095, 103-2 PAID CONC | Heat or smoke detector fault | 2024.06.03 14:00:24.072 | kasturi_jathar |  | 0 | ARN
ACK Low | 2024.06.03 10:01:22.348 | AEN-SPE-0090 | B1, AEN-SPE-0090, 151-10 BOH Corridor | Heat or smoke detector fault | 2024.06.03 14:00:25.761 | kasturi_jathar |  | 0 | ARN
ACK Low | 2024.06.03 09:59:40.389 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.06.03 14:21:42.497 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.06.03 09:58:58.760 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy | 2024.06.04 13:16:15.141 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.06.03 09:58:34.141 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated | 2024.06.04 08:39:22.630 | sergio_paniagua |  | 0 | PKV
ACK Low | 2024.06.03 09:58:30.699 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated | 2024.06.04 08:39:22.630 | sergio_paniagua |  | 0 | PKV
ACK Low | 2024.06.03 09:58:22.834 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD isolated | 2024.06.03 14:00:37.428 | kasturi_jathar |  | 0 | ARN