## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location | Test Comment
CAME UNACK High | 2024.04.24 00:01:56.519 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.24 00:01:03.304 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 12:12:39.168 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 10:12:18.564 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 10:11:54.564 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.24 07:58:24.991 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN | CYP holding doors open on site
CAME UNACK Low | 2024.04.23 15:18:32.955 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN | General fault alarm as a result of loss of power
CAME UNACK Low | 2024.04.23 14:42:20.802 | AEN_DOR_GF_246-2_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN | CYP holding doors open on site
CAME UNACK Low | 2024.04.23 12:29:52.241 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Unauthorised access |  |  |  | 0 | ARN | Door forced open
CAME UNACK High | 2024.04.22 08:55:08.153 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:55:08.128 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:52:51.751 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.22 08:52:51.741 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.22 08:51:41.101 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:51:41.091 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 12:18:06.449 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN | Door forced open
CAME UNACK Low | 2024.04.23 12:02:34.937 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN | CYP holding doors open on site
CAME UNACK High | 2024.04.22 08:50:23.180 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:50:23.178 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:50:23.173 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:50:23.171 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:50:00.849 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.22 08:50:00.837 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.22 08:49:20.507 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:49:20.494 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:57.840 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:48:57.293 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:48:45.955 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:43.442 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:22.518 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:21.913 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:21.658 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:21.404 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.22 08:48:20.804 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.22 08:48:20.253 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.22 08:48:19.904 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.23 07:30:25.258 | AEN_DOR_B1_ESC_STAIRS_04_2 | East Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN | CYP holding doors open on site
CAME UNACK High | 2024.04.22 09:02:53.065 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN | PED being used for access
CAME UNACK Med | 2024.04.24 08:01:15.735 | PKV_UPS_0401 | Uninterruptible Power Supply | UPS internal diagnostic fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.24 08:01:15.735 | PKV_UPS_0401 | Uninterruptible Power Supply | UPS general fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.24 07:54:21.743 | PKV_UPS_0402 | Uninterruptible Power Supply | UPS internal diagnostic fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.24 07:54:21.743 | PKV_UPS_0402 | Uninterruptible Power Supply | UPS general fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.22 14:09:41.138 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.22 10:12:18.564 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 09:46:55.586 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.22 09:02:52.782 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN | PED being used for access
CAME UNACK Low | 2024.04.22 09:02:40.508 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN | Isolation of lift causes this alarm
CAME UNACK Low | 2024.04.22 09:02:37.644 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN | Isolation of lift causes this alarm
CAME UNACK Med | 2024.04.22 08:55:12.810 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:55:05.225 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:52:03.265 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift locked out due to high temperature! |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:52:02.216 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Emergency Intercom Activated Level 2 |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 09:02:34.721 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN | Isolation of lift causes this alarm
CAME UNACK Med | 2024.04.22 08:49:40.865 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:49:40.862 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:49:21.229 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:49:21.226 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:48:05.434 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 09:02:31.880 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational |  |  |  | 0 | ARN | Isolation of lift causes this alarm
ACK Low | 2024.04.22 09:02:28.865 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault | 2024.04.22 09:48:59.644 | operator |  | 0 | ARN | Isolation of panel
CAME UNACK Med | 2024.04.17 12:57:28.526 | _Mod_Plc_1_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden PSD Servers |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.17 10:19:55.703 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.22 08:57:30.529 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.14 22:09:25.361 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.14 21:52:28.370 | _Mod_Plc_1_2 | MTSTL:_Mod_Plc_1_2. | Communications Fault - State Library Server 2 to State Library PSD Servers |  |  |  | 0 | THL
CAME UNACK Med | 2024.04.14 21:52:28.361 | _Mod_Plc_1 | MTSTL:_Mod_Plc_1. | Communications Fault - State Library Server 1 to State Library PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.14 21:37:10.377 | _Mod_Plc_1_2 | MTTHL:_Mod_Plc_1_2. | Communications Fault - Town Hall Server 2 to Town Hall PSD Servers |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 10:37:49.760 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.24 07:59:43.593 | PKV-ASD-0059 | B4U, PKV-ASD-0059 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.24 07:59:43.593 | PKV-ASD-0060 | B4U, PKV-ASD-0060 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.24 07:59:41.348 | PKV-ASD-0047 | B4U, PKV-ASD-0047 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.24 07:59:41.348 | PKV-ASD-0048 | B4U, PKV-ASD-0048 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.24 07:58:45.476 | PKV-SPE-0862 | B4, PKV-SPE-0862 FIELD DEVICE RM 3 710-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.22 08:57:30.340 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.24 07:58:10.209 | PKV_FCU_0207_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.24 07:54:58.108 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.24 07:54:58.108 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.24 07:47:56.388 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.24 07:41:21.176 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.24 07:41:21.176 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:21:41.135 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:20:15.136 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:18:19.246 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:14:50.176 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:14:37.184 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:14:15.183 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:13:55.184 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:10:45.130 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:08:52.063 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:05:44.046 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:04:05.127 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:01:18.077 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 23:01:03.191 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 22:53:29.335 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 22:49:55.129 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 22:48:04.052 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 22:46:13.147 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 22:35:53.069 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 22:34:23.131 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 22:20:21.193 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 22:20:21.193 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 20:31:27.610 | PKV_StationFunc | TVCS Operator Fire Emergency Section 04 - Parkville Station | Station Fire Ventilation Mode still active |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.23 17:26:03.250 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 17:25:33.156 | PKV_HWH_1901 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 17:25:33.156 | PKV_HWH_1903 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 17:25:33.156 | PKV_ACH_1903 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 16:04:56.451 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.22 08:57:29.401 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.22 08:55:11.935 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN | PED being used for access
CAME UNACK Low | 2024.04.23 12:48:58.186 | SYP-DT-1011 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:55:11.381 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN | PED being used for access
CAME UNACK Low | 2024.04.22 08:55:00.670 | AEN_DOR_GF_246-1_1 | Security Door (GF WEST) | Unauthorised access |  |  |  | 0 | ARN | Door forced open
CAME UNACK Low | 2024.04.22 08:55:00.667 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long |  |  |  | 0 | ARN | CYP holding doors open on site
CAME UNACK Low | 2024.04.23 11:51:25.524 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.23 10:21:00.705 | DMA_TEXB | Tunnel Ambient Temperature Control | Tunnel B - Ambient Temperature Control Unavailable |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:55:00.659 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Door open too long |  |  |  | 0 | ARN | CYP holding doors open on site
CAME UNACK Low | 2024.04.22 17:54:40.393 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:54:40.371 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:43:00.390 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:43:00.378 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:43:00.378 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:41:05.418 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 14:14:56.187 | SYP-DT-1009 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 14:14:56.187 | SYP-DT-1012 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.301 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.301 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.301 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.301 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.301 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.298 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 12:48:58.426 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 12:22:46.188 | SYP-DT-1013 | Westbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:00.657 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN | Door forced open
CAME UNACK Low | 2024.04.22 08:55:00.652 | AEN_DOR_B2_ESC_STAIRS_03_2 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | ARN | Door forced open
CAME UNACK Low | 2024.04.22 08:55:00.641 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN | CYP holding doors open on site
CAME UNACK Low | 2024.04.22 08:51:36.167 | AEN-W-PSD-015 | Arden Platform 1 Zone 2 PSD 15 | PSD isolated |  |  |  | 0 | ARN | PSD isolated during a blockade
CAME UNACK Low | 2024.04.22 08:55:09.712 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.692 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.672 | SKP-DT-1006 | Westbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.653 | SKP-DT-1005 | Westbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.633 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.614 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.594 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.574 | SKP-DT-1001 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.728 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.709 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.676 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.646 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.626 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.605 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:00.765 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:55:00.761 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:55:00.727 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:55:00.717 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:51:21.535 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN | PSD opening
CAME UNACK Low | 2024.04.22 08:51:20.143 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD isolated |  |  |  | 0 | ARN | PSD isolated during a blockade
CAME UNACK Low | 2024.04.22 08:51:17.419 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated |  |  |  | 0 | ARN | PSD isolated during a blockade
CAME UNACK Low | 2024.04.22 08:51:14.710 | AEN-W-PSD-007 | Arden Platform 1 Zone 1 PSD 07 | PSD isolated |  |  |  | 0 | ARN | PSD isolated during a blockade
CAME UNACK Low | 2024.04.22 08:51:01.466 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | ARN | PSD isolated during a blockade
CAME UNACK High | 2024.04.22 08:50:39.083 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN | PSD opening
CAME UNACK Low | 2024.04.22 08:54:46.655 | DMA-SPE-0928 | B1, DMA-SPE-0928 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:52:03.255 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:52:02.125 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:52:00.266 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:52:00.215 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:51:59.647 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:51:59.596 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:51:59.232 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:51:59.179 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:51:37.059 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:51:36.964 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:50:37.711 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD isolated |  |  |  | 0 | ARN | PSD isolated during a blockade
CAME UNACK Low | 2024.04.22 08:50:24.478 | AEN-E-PSD-018 | Arden Platform 2 Zone 2 PSD 18 | PSD isolated |  |  |  | 0 | ARN | PSD isolated during a blockade
CAME UNACK Low | 2024.04.22 08:50:16.535 | AEN-E-PSD-015 | Arden Platform 2 Zone 2 PSD 15 | PSD isolated |  |  |  | 0 | ARN | PSD isolated during a blockade
CAME UNACK Med | 2024.04.22 08:49:54.745 | AEN-E-PSD-007 | Arden Platform 2 Zone 1 PSD 07 | Low motor current |  |  |  | 0 | ARN | Real alarm to be looked at
CAME UNACK High | 2024.04.22 08:48:05.490 | AEN-W-EED-001 | Arden Platform 1 Zone 1 EED 01 | EED Unscheduled Door Opening! |  |  |  | 0 | ARN | CYP holding doors open on site
CAME UNACK High | 2024.04.22 08:48:05.363 | AEN-W-EED-001 | Arden Platform 1 Zone 1 EED 01 | EED opened! |  |  |  | 0 | ARN | CYP holding doors open on site
CAME UNACK Med | 2024.04.22 08:25:20.552 | _PDM-BMS-PLC_2 | MTAZC:_PDM-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Eastern Portal BMS PLC |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:50:21.095 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:20.493 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:19.775 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:19.158 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:18.499 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:17.983 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:17.120 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:16.673 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.17 12:57:28.526 | _Mod_Plc_1 | Arden Server 1 | Communications Fault - Arden Server 1 to Arden PSD Servers |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:50:15.808 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:15.269 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:14.549 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:13.978 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:49:49.365 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:49:48.846 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:49:20.506 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:48:54.891 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 08:48:52.846 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:48:50.828 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.22 08:48:46.490 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 08:48:45.745 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:48:43.852 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Speaker fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.22 08:48:43.800 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.22 08:48:43.512 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.22 08:48:43.235 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:48:41.480 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 08:48:40.616 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 08:48:39.761 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 08:48:38.892 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.767 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.756 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
WENT UNACK Med | 2024.04.23 12:02:35.052 | _Conn_dist_1_1_to_dist_3_2 | Distributed Server 1 | Connection lost to Arden Server 2 - Link 0 |  |  | 2024.04.23 12:37:23.055 | 0 | THL
WENT UNACK Med | 2024.04.23 12:02:35.052 | _Conn_dist_1_1_to_dist_3_2 | Distributed Server 1 | Connection lost to Arden Server 2 - Link 1 |  |  | 2024.04.23 12:37:43.148 | 0 | THL
WENT UNACK Med | 2024.04.23 12:02:34.929 | _Conn_dist_1_2_to_dist_3_2 | Distributed Server 2 | Connection lost to Arden Server 2 - Link 0 |  |  | 2024.04.23 12:37:37.598 | 0 | THL
WENT UNACK Med | 2024.04.23 12:02:34.929 | _Conn_dist_1_2_to_dist_3_2 | Distributed Server 2 | Connection lost to Arden Server 2 - Link 1 |  |  | 2024.04.23 12:37:57.648 | 0 | THL
WENT UNACK Med | 2024.04.22 17:34:31.553 | _PKV-BMS-PLC_2 | MTPKV:_PKV-BMS-PLC_2. | Communications Fault - Parkville Server 2 to Parkville BMS PLC |  |  | 2024.04.22 17:34:36.575 | 0 | STL
WENT UNACK Med | 2024.04.22 17:33:28.430 | _PKV-BMS-PLC3_2 | MTPKV:_PKV-BMS-PLC3_2. | Communications Fault - Parkville Server 2 to Parkville BMS 3 PLC |  |  | 2024.04.22 17:33:32.717 | 0 | STL
WENT UNACK Low | 2024.04.24 07:43:18.789 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.04.24 07:43:19.742 | 0 | THL
WENT UNACK Low | 2024.04.24 07:37:42.160 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.04.24 07:41:18.150 | 0 | SDU
WENT UNACK Low | 2024.04.23 19:45:52.439 | DMA_FCU_1119_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 19:46:50.481 | 0 | AZC
WENT UNACK Low | 2024.04.23 19:42:41.222 | DMA_FCU_1119_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 19:43:30.431 | 0 | AZC
WENT UNACK Low | 2024.04.23 19:28:34.843 | DMA_FCU_1119_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.04.23 19:28:56.669 | 0 | AZC
WENT UNACK Low | 2024.04.23 15:07:34.490 | DMA_ACH_1003 | Air Cooled Chillers | Communications lost alarm |  |  | 2024.04.23 15:09:21.229 | 0 | AZC
WENT UNACK Low | 2024.04.23 14:03:10.998 | PAE_LFT_0002 | Lift 2 BOH (Ground Floor to Level 1) | Lift monitoring lost |  |  | 2024.04.23 14:03:58.000 | 0 | SDU
WENT UNACK Low | 2024.04.23 12:04:40.601 | DMA_FCU_1111_MVD_01 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 12:08:29.636 | 0 | AZC
WENT UNACK Low | 2024.04.23 12:04:40.599 | DMA_FCU_0201_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 12:06:58.538 | 0 | AZC
WENT UNACK Low | 2024.04.23 12:04:40.599 | DMA_FCU_0201_MVD_07 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 12:06:58.538 | 0 | AZC
WENT UNACK Low | 2024.04.23 12:04:40.599 | DMA_FCU_0201_MVD_08 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 12:06:58.538 | 0 | AZC
WENT UNACK Low | 2024.04.23 12:04:40.589 | DMA_FCU_0117_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 12:06:58.526 | 0 | AZC
WENT UNACK Low | 2024.04.23 12:04:40.589 | DMA_FCU_0117_MVD_08 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 12:06:58.526 | 0 | AZC
WENT UNACK Low | 2024.04.23 12:04:40.589 | DMA_FCU_0201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 12:06:58.526 | 0 | AZC
WENT UNACK Low | 2024.04.23 12:04:39.631 | DMA_FCU_1111_MVD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 12:08:29.636 | 0 | AZC
WENT UNACK Low | 2024.04.23 12:04:39.631 | DMA_FCU_1111_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 12:08:28.569 | 0 | AZC
WENT UNACK Low | 2024.04.23 12:04:39.610 | DMA_FCU_0201_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.23 12:06:58.526 | 0 | AZC
WENT UNACK Low | 2024.04.23 11:33:32.414 | DMA_ACH_1001 | Air Cooled Chillers | Communications lost alarm |  |  | 2024.04.23 13:34:25.434 | 0 | AZC
WENT UNACK Low | 2024.04.22 17:41:05.431 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  | 2024.04.24 08:03:28.437 | 0 | AZC
WENT UNACK Low | 2024.04.22 14:39:34.323 | _ReduManager_2 | Parkville Server 2 | Server 2 - Passive |  |  | 2024.04.23 14:42:21.197 | 0 | STL
WENT UNACK Low | 2024.04.22 14:17:18.823 | _ReduManager_2 | Distributed Server 2 | Server 2 - Passive |  |  | 2024.04.23 12:02:34.937 | 0 | THL
WENT UNACK Low | 2024.04.22 08:52:21.373 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Lift General Fault |  |  | 2024.04.24 07:46:51.003 | 0 | SDU
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.805 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.803 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.802 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.799 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
CAME UNACK Med | 2024.04.14 22:09:25.645 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD |  |  |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.798 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN | Not currently connected to Sunshine
ACK Med | 2024.03.25 10:37:49.796 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN | Not currently connected to Sunshine
ACK Med | 2024.03.25 10:37:49.795 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN | Not currently connected to Sunshine
ACK Med | 2024.03.25 10:37:49.793 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN | Not currently connected to Sunshine
ACK Low | 2024.03.25 10:37:49.764 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN | Not currently connected to Sunshine
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.04.23 20:45:58.101 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault | 2024.04.23 20:47:23.724 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.22 23:18:37.097 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault | 2024.04.23 19:37:49.021 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.22 18:27:24.095 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault | 2024.04.22 19:19:23.674 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.22 10:53:50.290 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost | 2024.04.22 14:55:38.656 | emilio_ito |  | 0 | PKV
ACK Low | 2024.03.25 10:37:49.754 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN | Not currently connected to Sunshine
ACK Low | 2024.04.22 08:49:53.036 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost | 2024.04.23 19:37:34.500 | emilio_ito |  | 0 | PKV
ACK Med | 2024.03.25 10:37:49.745 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN | Not currently connected to Sunshine
ACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost | 2024.04.11 09:41:56.763 | kai_longley |  | 0 | ARN