## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.04.09 08:48:40.356 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.04.09 08:30:56.325 | PKV-W-PSD-011 | Parkville Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 08:29:34.339 | PKV-E-PSD-020 | Parkville Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 08:29:34.325 | PKV-E-PSD-002 | Parkville Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 08:22:55.997 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.09 08:17:49.219 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 08:16:03.098 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.08 16:10:50.688 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:10:38.719 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:10:31.696 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:10:24.685 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:03:37.871 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 12:13:54.347 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 12:09:30.358 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 11:46:38.348 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 11:45:06.355 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:04:16.359 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 08:04:16.316 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 08:04:16.248 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 08:04:16.215 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 08:04:05.593 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 08:02:20.553 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.08 08:02:19.865 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.08 08:02:19.611 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.08 08:02:06.720 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:02:06.243 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:02:05.852 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:02:05.551 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.07 05:14:01.751 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 07:23:57.759 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 07:23:00.752 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:48:26.040 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.09 08:30:56.325 | PKV-W-PSD-029 | Parkville Platform 1 Zone 3 PSD 29 | Door control unit fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.08 16:10:38.719 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 16:10:24.685 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 14:46:48.740 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.08 10:00:22.565 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.08 08:03:38.289 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.08 08:03:38.282 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.08 08:03:32.441 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 08:03:32.425 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 08:03:22.656 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 08:03:22.640 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 08:02:27.898 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 09:48:10.765 | SKP-PLC-0001 | South Kensington PLC | TIAS PLC power supply fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.27 08:40:02.779 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 10:37:49.760 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.25 10:37:49.745 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 10:36:43.499 | SYP-PLC-0001 | South Yarra PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 09:05:40.459 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 08:53:43.700 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 08:35:44.352 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.09 08:35:44.352 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Speaker fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.09 08:34:36.127 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 08:26:44.440 | DMA_FCU_0119_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 08:24:54.132 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 07:43:05.195 | AEN_DOR_LG_405-3_2 | Fire escape Corridor - Lower Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.09 07:21:59.695 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.09 06:52:15.039 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:34:33.163 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:34:33.163 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:33:16.154 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.205 | PKV_ACH_1901_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.205 | PKV_ACH_1903_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.205 | PKV_HWH_1901_ENG_01 | Hot Water - Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.067 | PKV_HWH_1901 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.067 | PKV_HWH_1903 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.067 | PKV_ACH_1903 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 23:47:22.140 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 23:47:14.151 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 19:36:31.674 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 17:49:26.108 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 16:03:05.051 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 15:59:50.491 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 15:59:50.491 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 15:59:50.481 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 15:59:50.468 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 15:58:26.543 | DMA_FCU_0201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 15:57:46.533 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 15:55:51.410 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 15:46:29.702 | AEN_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 15:45:10.006 | AEN_DOR_B1_ESC_STAIRS_04_2 | East Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 15:44:48.310 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.160 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.160 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.113 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.111 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.101 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.101 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:42:52.238 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:42:52.238 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:08:40.634 | AEN_DOR_B2_ESC_STAIRS_04_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.691 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:24:21.432 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.432 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.421 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.421 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.411 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.411 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.409 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.398 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.398 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.398 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.397 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.387 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:14:35.212 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 11:51:10.496 | AEN_DOR_B2_ESC_STAIRS_03_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 10:34:16.263 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 10:09:30.338 | AEN_DOR_B2_ESC_STAIRS_03_2 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:50:10.668 | AEN_DOR_L1_ESC_STAIRS_5_1 | Security Door (L1 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:27:29.035 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:11:37.828 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:08:10.194 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 08:05:20.566 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:05:20.072 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:05:19.568 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:05:19.077 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:05:19.046 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:57.077 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:56.585 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:55.959 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:55.382 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:54.658 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:53.921 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:53.358 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:52.879 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:52.316 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:51.470 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:50.951 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:45.436 | AEN_ESC_0004 | Escalator 4 Bank 4 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:44.334 | AEN_ESC_0003 | Escalator 3 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:43.491 | AEN_ESC_0002 | Escalator 2 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:42.500 | AEN_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:36.183 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:27.826 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:22.855 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.977 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.100 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:20.211 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:02:53.033 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:02:52.879 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:48:10.765 | SKP-PSU-1027 | PLC 24V Power supply 2 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.28 09:33:48.768 | SKP-PSU-1026 | PLC 24V Power supply 1 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1001 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 10:25:38.768 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 08:48:56.770 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 08:40:02.769 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 12:41:38.250 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 10:50:59.369 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 10:37:49.767 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.764 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.25 10:37:49.756 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.754 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.25 10:36:43.488 | SYP-LS-1019 | Junction Box JB1003 Tamper Input | Tamper detected |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 10:36:43.488 | SYP-LS-1020 | Junction Box JB1004 Tamper Input | Tamper detected |  |  |  | 0 | SDU
WENT UNACK High | 2024.04.09 08:48:40.356 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.04.09 08:48:54.360 | 0 | THL
WENT UNACK High | 2024.04.09 08:46:06.357 | TSC-W-LCP | Town Hall Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.09 08:46:10.358 | 0 | THL
WENT UNACK High | 2024.04.09 08:44:54.359 | TSC-E-LCP | Town Hall Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.09 08:45:00.358 | 0 | THL
WENT UNACK High | 2024.04.09 08:22:55.997 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.04.09 08:23:25.999 | 0 | ARN
WENT UNACK High | 2024.04.09 08:19:15.995 | AEN-W-LCP | Arden Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.09 08:19:19.995 | 0 | ARN
WENT UNACK High | 2024.04.09 08:18:22.510 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.09 08:18:58.508 | 0 | AZC
WENT UNACK High | 2024.04.09 08:17:39.997 | AEN-E-LCP | Arden Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.09 08:17:43.999 | 0 | ARN
WENT UNACK High | 2024.04.09 08:15:44.360 | TNC-E-LCP | State Library Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.09 08:15:56.357 | 0 | STL
WENT UNACK High | 2024.04.09 08:13:50.351 | TNC-W-LCP | State Library Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.09 08:14:04.358 | 0 | STL
WENT UNACK High | 2024.04.09 07:30:03.995 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.04.09 07:30:16.004 | 0 | ARN
WENT UNACK High | 2024.04.09 03:29:03.539 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.09 08:05:45.525 | 0 | AZC
WENT UNACK High | 2024.04.09 03:00:30.349 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.04.09 03:10:30.348 | 0 | AZC
WENT UNACK High | 2024.04.09 02:55:49.999 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.04.09 02:55:58.002 | 0 | ARN
WENT UNACK High | 2024.04.09 02:51:43.998 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 08:18:44.015 | 0 | ARN
WENT UNACK High | 2024.04.09 02:47:34.007 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 08:18:44.015 | 0 | ARN
WENT UNACK High | 2024.04.08 22:41:53.965 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Smoke or heat detected! Extend timer within 30s to investigate!! |  |  | 2024.04.08 22:41:54.965 | 0 | PKV
WENT UNACK High | 2024.04.08 22:41:52.971 | PKV-Z-4207 | ZONE 4207: B1, PKV-AC-03 BOH CENTRE | Smoke or heat detected - fire unconfirmed! |  |  | 2024.04.08 22:42:56.994 | 0 | PKV
WENT UNACK High | 2024.04.08 22:41:26.962 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  | 2024.04.08 22:41:53.965 | 0 | PKV
WENT UNACK High | 2024.04.08 14:14:08.322 | PKV-E-LCP | Parkville Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.08 14:14:16.320 | 0 | PKV
WENT UNACK High | 2024.04.08 14:13:04.317 | PKV-W-LCP | Parkville Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.08 14:13:12.323 | 0 | PKV
WENT UNACK High | 2024.04.08 14:10:04.356 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.04.08 14:15:20.360 | 0 | STL
WENT UNACK High | 2024.04.08 13:55:12.360 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.04.08 13:55:28.356 | 0 | STL
WENT UNACK High | 2024.04.08 13:14:38.359 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.04.08 13:28:06.359 | 0 | STL
WENT UNACK High | 2024.04.08 12:10:10.356 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.04.08 12:13:02.351 | 0 | AZC
WENT UNACK High | 2024.04.08 12:01:34.348 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.04.08 12:02:20.353 | 0 | AZC
WENT UNACK High | 2024.04.08 12:00:42.350 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.04.08 12:01:00.350 | 0 | AZC
WENT UNACK High | 2024.04.08 08:08:38.487 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 08:46:06.377 | 0 | THL
WENT UNACK High | 2024.04.08 08:08:38.474 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 08:44:54.380 | 0 | THL
WENT UNACK High | 2024.04.08 08:07:28.456 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.04.08 08:11:52.459 | 0 | STL
WENT UNACK High | 2024.04.08 08:06:29.823 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 08:13:50.370 | 0 | STL
WENT UNACK High | 2024.04.08 08:06:29.812 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 08:08:38.377 | 0 | STL
WENT UNACK High | 2024.04.08 08:05:50.732 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.08 14:13:04.335 | 0 | PKV
WENT UNACK High | 2024.04.08 08:05:50.721 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.08 14:14:08.339 | 0 | PKV
WENT UNACK High | 2024.04.08 08:05:24.727 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.08 10:41:10.024 | 0 | ARN
WENT UNACK High | 2024.04.08 08:05:00.970 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 08:46:06.377 | 0 | THL
WENT UNACK High | 2024.04.08 08:03:58.181 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  | 2024.04.09 08:46:06.378 | 0 | THL
WENT UNACK High | 2024.04.08 08:03:35.989 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 08:13:50.370 | 0 | STL
WENT UNACK High | 2024.04.08 08:03:35.975 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 08:08:38.377 | 0 | STL
WENT UNACK High | 2024.04.08 08:03:34.081 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  | 2024.04.09 08:44:54.382 | 0 | THL
WENT UNACK High | 2024.04.08 08:03:21.941 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.08 14:13:04.335 | 0 | PKV
WENT UNACK High | 2024.04.08 08:03:21.928 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.08 14:14:08.339 | 0 | PKV
WENT UNACK High | 2024.04.08 08:02:57.277 | TNC-W-PSD-026 | State Library Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  | 2024.04.09 08:13:50.372 | 0 | STL
WENT UNACK High | 2024.04.08 08:02:45.749 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 14:13:04.817 | 0 | PKV
WENT UNACK High | 2024.04.08 08:02:44.762 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  | 2024.04.09 08:08:38.379 | 0 | STL
WENT UNACK High | 2024.04.08 08:02:43.144 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 14:14:08.812 | 0 | PKV
WENT UNACK High | 2024.04.08 08:02:39.275 | AEN-W-PSD-020 | Arden Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:42:00.024 | 0 | ARN
WENT UNACK High | 2024.04.08 08:02:38.935 | AEN-W-PSD-019 | Arden Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:42:00.024 | 0 | ARN
WENT UNACK High | 2024.04.08 08:02:37.856 | AEN-W-PSD-016 | Arden Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:42:00.024 | 0 | ARN
WENT UNACK High | 2024.04.08 08:02:37.488 | AEN-W-PSD-015 | Arden Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:42:00.024 | 0 | ARN
WENT UNACK High | 2024.04.08 08:02:37.147 | AEN-W-PSD-014 | Arden Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:42:00.024 | 0 | ARN
WENT UNACK High | 2024.04.08 08:02:36.470 | AEN-W-PSD-012 | Arden Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:42:00.024 | 0 | ARN
WENT UNACK High | 2024.04.08 08:02:35.469 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:42:00.024 | 0 | ARN
WENT UNACK High | 2024.04.08 08:02:34.446 | AEN-W-PSD-006 | Arden Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:42:00.024 | 0 | ARN
WENT UNACK High | 2024.04.08 08:02:33.799 | AEN-W-PSD-004 | Arden Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:42:00.023 | 0 | ARN
WENT UNACK High | 2024.04.08 08:02:33.150 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:42:00.023 | 0 | ARN
WENT UNACK High | 2024.04.08 08:02:30.289 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  | 2024.04.08 10:41:10.026 | 0 | ARN
WENT UNACK High | 2024.04.08 08:01:48.499 | TNC-E-EED-001 | State Library Platform 2 Zone 1 EED 01 | EED Unscheduled Door Opening! |  |  | 2024.04.09 08:08:38.377 | 0 | STL
WENT UNACK Med | 2024.04.09 09:01:50.355 | TNC-W-PLT | State Library Platform 1 | PSDs in local control mode on specified platform |  |  | 2024.04.09 09:04:30.354 | 0 | STL
WENT UNACK Med | 2024.04.09 08:48:26.356 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.09 08:49:06.356 | 0 | THL
WENT UNACK Med | 2024.04.09 08:33:58.357 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.09 08:34:44.352 | 0 | STL
WENT UNACK Med | 2024.04.09 08:28:12.253 | _PAE-BMS-PLC_2 | MTARD:_PAE-BMS-PLC_2. | Communications Fault - Arden Server 2 to Western Portal BMS PLC |  |  | 2024.04.09 08:32:24.839 | 0 | PKV
WENT UNACK Med | 2024.04.09 08:28:12.000 | _PAE-BMS-PLC | MTARD:_PAE-BMS-PLC. | Communications Fault - Arden Server 1 to Western Portal BMS PLC |  |  | 2024.04.09 08:32:23.861 | 0 | ARN
WENT UNACK Med | 2024.04.09 08:16:37.080 | PKV_TEP_0303_04_FG | Tunnel Drainage Pump - Function Group | Tunnel drainage pit level not dropping! |  |  | 2024.04.09 08:16:38.449 | 0 | PKV
WENT UNACK Med | 2024.04.09 08:14:53.997 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.09 08:23:25.999 | 0 | ARN
WENT UNACK Med | 2024.04.09 07:30:00.004 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.09 07:30:17.999 | 0 | ARN
WENT UNACK Med | 2024.04.09 03:00:28.351 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.09 03:10:32.349 | 0 | AZC
WENT UNACK Med | 2024.04.08 20:15:22.358 | TNC-W-PSD-018 | State Library Platform 1 Zone 2 PSD 18 | Door control unit communication lost |  |  | 2024.04.08 20:16:22.355 | 0 | STL
WENT UNACK Med | 2024.04.08 17:45:08.216 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.04.08 17:45:16.105 | 0 | PKV
WENT UNACK Med | 2024.04.08 16:10:46.689 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Degraded |  |  | 2024.04.08 16:10:50.688 | 0 | SDU
WENT UNACK Med | 2024.04.08 16:10:21.695 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Degraded |  |  | 2024.04.08 16:10:25.689 | 0 | SDU
WENT UNACK Med | 2024.04.08 13:14:36.359 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.08 13:28:08.359 | 0 | STL
WENT UNACK Med | 2024.04.08 12:13:10.354 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.08 12:13:14.351 | 0 | AZC
WENT UNACK Med | 2024.04.08 12:01:30.349 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.08 12:02:22.355 | 0 | AZC
WENT UNACK Med | 2024.04.08 12:00:38.349 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.08 12:01:00.350 | 0 | AZC
WENT UNACK Med | 2024.04.08 11:26:39.880 | AEN_SPP_0203_04_FG | Sewer Drainage Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.04.08 11:27:28.890 | 0 | ARN
WENT UNACK Med | 2024.04.08 08:51:18.478 | PKV-S-STN | Parkville Station PSD System | PSD power fault (Surge protection or Earth failure) |  |  | 2024.04.08 08:51:32.479 | 0 | PKV
WENT UNACK Med | 2024.04.08 08:42:52.462 | TNC-E-PSD-005 | State Library Platform 2 Zone 1 PSD 05 | Door control unit communication lost |  |  | 2024.04.08 08:44:02.464 | 0 | STL
WENT UNACK Med | 2024.04.08 08:40:14.459 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door control unit communication lost |  |  | 2024.04.08 08:41:24.463 | 0 | STL
WENT UNACK Med | 2024.04.08 08:12:46.464 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.08 08:17:54.459 | 0 | STL
WENT UNACK Med | 2024.04.08 08:07:18.458 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.08 08:11:54.457 | 0 | STL
WENT UNACK Med | 2024.04.08 08:02:36.399 | TNC-E-PSD-005 | State Library Platform 2 Zone 1 PSD 05 | Low motor current |  |  | 2024.04.08 08:44:02.464 | 0 | STL
WENT UNACK Low | 2024.04.09 09:05:09.363 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  | 2024.04.09 09:05:41.379 | 0 | AZC
WENT UNACK Low | 2024.04.09 09:03:53.960 | AEN_AHU_1103_MVD_03 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 09:04:00.860 | 0 | ARN
WENT UNACK Low | 2024.04.09 09:00:31.881 | AEN-FLS-0008 | GF, AEN-FLS-0008, SCV1-RETAIL 1 Spr.F/S | Heat or smoke detector fault |  |  | 2024.04.09 09:01:12.871 | 0 | ARN
WENT UNACK Low | 2024.04.09 08:53:56.024 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  | 2024.04.09 08:57:03.021 | 0 | AZC
WENT UNACK Low | 2024.04.09 08:51:16.765 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Lift safety feature fault |  |  | 2024.04.09 08:51:17.768 | 0 | SDU
WENT UNACK Low | 2024.04.09 08:51:16.765 | PAE_LFT_0002 | Lift 2 BOH (Ground Floor to Level 1) | Lift safety feature fault |  |  | 2024.04.09 08:51:17.768 | 0 | SDU
WENT UNACK Low | 2024.04.09 08:29:10.193 | PKV-ASD-0048 | B4U, PKV-ASD-0048 U/P CENTRE F1 | Aspirating smoke detector fault |  |  | 2024.04.09 08:37:35.129 | 0 | PKV
WENT UNACK Low | 2024.04.09 08:28:20.254 | PKV-ASD-0060 | B4U, PKV-ASD-0060 U/P CENTRE F1 | Aspirating smoke detector fault |  |  | 2024.04.09 08:37:37.331 | 0 | PKV
WENT UNACK Low | 2024.04.09 08:28:16.169 | PKV-ASD-0047 | B4U, PKV-ASD-0047 U/P CENTRE F1 | Aspirating smoke detector fault |  |  | 2024.04.09 08:41:47.129 | 0 | PKV
WENT UNACK Low | 2024.04.09 07:45:21.675 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.04.09 07:49:25.674 | 0 | SDU
WENT UNACK Low | 2024.04.09 07:44:27.564 | AEN_DOR_GF_405-2_1 | Security Door (GF EAST) | Door open too long |  |  | 2024.04.09 08:37:33.967 | 0 | ARN
WENT UNACK Low | 2024.04.09 07:43:18.488 | PKV_SDP_0103_04_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.04.09 07:43:58.485 | 0 | PKV
WENT UNACK Low | 2024.04.09 07:36:40.160 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  | 2024.04.09 08:39:49.152 | 0 | PKV
WENT UNACK Low | 2024.04.09 07:34:50.167 | PKV_FCU_0211_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 07:35:18.296 | 0 | PKV
WENT UNACK Low | 2024.04.09 07:28:42.732 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.09 07:29:36.439 | 0 | ARN
WENT UNACK Low | 2024.04.09 07:25:51.012 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Unauthorised access |  |  | 2024.04.09 07:25:56.499 | 0 | ARN
WENT UNACK Low | 2024.04.09 07:21:47.808 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Door open too long |  |  | 2024.04.09 07:22:46.540 | 0 | ARN
WENT UNACK Low | 2024.04.09 07:19:36.053 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift monitoring lost |  |  | 2024.04.09 07:20:13.057 | 0 | SDU
WENT UNACK Low | 2024.04.09 07:13:02.137 | PKV-ASD-0059 | B4U, PKV-ASD-0059 U/P CENTRE F1 | Aspirating smoke detector fault |  |  | 2024.04.09 08:44:21.272 | 0 | PKV
WENT UNACK Low | 2024.04.09 06:55:41.705 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  | 2024.04.09 07:03:08.729 | 0 | SDU
WENT UNACK Low | 2024.04.09 06:41:56.428 | DMA_MCC_0401_ATS_01 | DMA-MCC-0401-ESB-03 ATS | Automatic transfer switch unhealthy |  |  | 2024.04.09 07:18:36.423 | 0 | AZC
WENT UNACK Low | 2024.04.09 06:33:23.785 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.04.09 07:21:30.538 | 0 | ARN
WENT UNACK Low | 2024.04.09 06:33:16.154 | PKV_FCU_0207_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 06:37:30.182 | 0 | PKV
WENT UNACK Low | 2024.04.09 06:31:21.052 | PKV_FCU_0211_MVD_01 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 06:38:36.157 | 0 | PKV
WENT UNACK Low | 2024.04.09 05:57:46.327 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.04.09 05:57:47.280 | 0 | THL
WENT UNACK Low | 2024.04.09 04:48:13.629 | DMA_SDP_0109_10_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.04.09 04:49:20.608 | 0 | AZC
WENT UNACK Low | 2024.04.09 03:22:41.650 | DMA_SDP_0101_02_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.04.09 03:29:48.584 | 0 | AZC
WENT UNACK Low | 2024.04.08 23:06:21.005 | AEN_SDP_0101_02_FG | Station Drainage Pit - Function Group | Station drainage pit not dropping! |  |  | 2024.04.08 23:07:27.820 | 0 | ARN
WENT UNACK Low | 2024.04.08 23:03:59.052 | AEN-ASD-0043 | B1, AEN-ASD-0043, 705-1 STER - F1 | Aspirating smoke detector fault |  |  | 2024.04.08 23:05:20.117 | 0 | ARN
WENT UNACK Low | 2024.04.08 22:25:25.056 | PKV_FCU_0403_MVD_03 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 22:29:35.050 | 0 | PKV
WENT UNACK Low | 2024.04.08 22:25:25.056 | PKV_FCU_0403_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 22:29:34.155 | 0 | PKV
WENT UNACK Low | 2024.04.08 22:25:23.057 | PKV_FCU_0207_SMD_04 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 22:29:37.051 | 0 | PKV
WENT UNACK Low | 2024.04.08 22:25:23.057 | PKV_FCU_0207_SMD_05 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 22:29:36.170 | 0 | PKV
WENT UNACK Low | 2024.04.08 18:18:13.000 | AEN_AHU_0103_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 18:57:27.772 | 0 | ARN
WENT UNACK Low | 2024.04.08 16:53:15.303 | AEN_DOR_GF_246-2_1 | Security Door (GF EAST) | Door open too long |  |  | 2024.04.08 17:05:55.894 | 0 | ARN
WENT UNACK Low | 2024.04.08 16:45:10.147 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.04.08 16:45:57.048 | 0 | PKV
WENT UNACK Low | 2024.04.08 16:20:04.788 | AEN_AHU_0101_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 16:20:11.763 | 0 | ARN
WENT UNACK Low | 2024.04.08 16:14:04.787 | AEN_AHU_0101_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 16:14:53.935 | 0 | ARN
WENT UNACK Low | 2024.04.08 16:10:31.696 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Degraded |  |  | 2024.04.08 16:10:38.719 | 0 | SDU
WENT UNACK Low | 2024.04.08 16:10:21.695 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Degraded |  |  | 2024.04.08 16:10:25.689 | 0 | SDU
WENT UNACK Low | 2024.04.08 15:57:46.544 | DMA_FCU_0121_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 15:58:33.422 | 0 | AZC
WENT UNACK Low | 2024.04.08 15:57:46.544 | DMA_FCU_0127_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 15:58:33.422 | 0 | AZC
WENT UNACK Low | 2024.04.08 15:55:51.410 | DMA_FCU_1001_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 15:58:34.449 | 0 | AZC
WENT UNACK Low | 2024.04.08 15:51:22.027 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long |  |  | 2024.04.09 06:52:03.233 | 0 | ARN
WENT UNACK Low | 2024.04.08 15:32:17.047 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.04.08 15:33:26.159 | 0 | PKV
WENT UNACK Low | 2024.04.08 14:50:41.369 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Unauthorised access |  |  | 2024.04.08 14:50:48.484 | 0 | ARN
WENT UNACK Low | 2024.04.08 14:40:14.075 | AEN-ASD-0056 | B1, AEN-ASD-0056, 602-3 TRAC SUB 3 - F1 | Aspirating smoke detector fault |  |  | 2024.04.08 14:40:55.033 | 0 | ARN
WENT UNACK Low | 2024.04.08 14:29:44.488 | AEN_DOR_B1_ESC_STAIRS_04_2 | East Emergency Stairs - Concourse | Unauthorised access |  |  | 2024.04.08 14:29:44.629 | 0 | ARN
WENT UNACK Low | 2024.04.08 12:55:25.362 | AEN_DOR_B2_ESC_STAIRS_04_4 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.08 12:56:09.306 | 0 | ARN
WENT UNACK Low | 2024.04.08 12:55:25.281 | AEN_DOR_B2_403-1_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.08 12:55:25.302 | 0 | ARN
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1137_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:29.493 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1138_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:29.493 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1139_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:29.493 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1140_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:29.493 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1141_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:29.493 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1141_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.518 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1141_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.561 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1141_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.561 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1141_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.561 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1142_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:29.493 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1143_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:29.493 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1144_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:30.568 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1145_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:30.568 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1201_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:30.579 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1201_MVD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.561 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1201_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.561 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1201_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.561 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.561 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1202_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:30.579 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.656 | DMA_FCU_1202_MVD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.561 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.651 | DMA_FCU_1125_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.403 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.651 | DMA_FCU_1127_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.403 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.651 | DMA_FCU_1127_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.403 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.651 | DMA_FCU_1129_SMD_01 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:44.535 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.651 | DMA_FCU_1129_SMD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:44.535 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.641 | DMA_FCU_1113_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.392 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.641 | DMA_FCU_1115_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.392 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.641 | DMA_FCU_1115_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.392 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.641 | DMA_FCU_1117_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.392 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.641 | DMA_FCU_1117_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.392 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.641 | DMA_FCU_1119_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.392 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.641 | DMA_FCU_1119_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.392 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.641 | DMA_FCU_1121_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.392 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.641 | DMA_FCU_1121_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.392 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.640 | DMA_FCU_1109_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.507 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.640 | DMA_FCU_1109_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.540 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.640 | DMA_FCU_1110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.640 | DMA_FCU_1110_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.640 | DMA_FCU_1111_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.640 | DMA_FCU_1111_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:28.392 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.640 | DMA_FCU_1111_MVD_01 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.540 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.640 | DMA_FCU_1111_MVD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.540 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.640 | DMA_FCU_1111_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:43.540 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_0201_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_0201_MVD_07 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_0201_MVD_08 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_0202_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.620 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1101_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.620 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1101_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.620 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1103_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.582 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1103_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1105_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1105_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1107_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1107_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1108_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1108_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.630 | DMA_FCU_1109_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:27.592 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0114_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.609 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0115_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.609 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0116_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.609 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0117_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.609 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0117_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0117_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0117_MVD_08 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0118_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.609 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0119_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0201_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.620 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.620 | DMA_FCU_0201_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_AHU_1103_MVD_02 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_AHU_1103_MVD_03 | Air Handling Unit - Outside Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_AHU_1103_MVD_04 | Air Handling Unit - CO2 Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.496 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_FCU_0101_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:25.520 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_FCU_0102_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:25.520 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_FCU_0105_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:25.520 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_FCU_0105_SMD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:25.520 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_FCU_0105_SMD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:25.531 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_FCU_0106_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:25.531 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_FCU_0111_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:25.531 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_FCU_0112_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.609 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.609 | DMA_FCU_0113_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:26.609 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.598 | DMA_AHU_0101_MVD_02 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:41.529 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.598 | DMA_AHU_0101_MVD_04 | Air Handling Unit - CO2 Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:41.529 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.598 | DMA_AHU_1101_MVD_02 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:41.529 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.598 | DMA_AHU_1101_MVD_03 | Air Handling Unit - Outside Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.485 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:24:16.598 | DMA_AHU_1101_MVD_04 | Air Handling Unit - CO2 Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 12:47:42.485 | 0 | AZC
WENT UNACK Low | 2024.04.08 12:19:55.050 | AEN_DOR_B2_ESC_STAIRS_04_4 | Security Door (B2 EAST) | Door open too long |  |  | 2024.04.08 12:24:15.881 | 0 | ARN
WENT UNACK Low | 2024.04.08 11:50:09.848 | AEN_DOR_GF_246-1_1 | Security Door (GF WEST) | Unauthorised access |  |  | 2024.04.08 12:06:46.091 | 0 | ARN
WENT UNACK Low | 2024.04.08 11:17:12.895 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Unauthorised access |  |  | 2024.04.08 11:17:14.963 | 0 | ARN
WENT UNACK Low | 2024.04.08 11:16:06.090 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.08 11:16:07.380 | 0 | ARN
WENT UNACK Low | 2024.04.08 10:38:53.074 | PKV_AHU_1303_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 17:06:07.057 | 0 | PKV
WENT UNACK Low | 2024.04.08 10:38:13.035 | PKV_FCU_0309_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.08 10:44:04.973 | 0 | PKV
WENT UNACK Low | 2024.04.08 10:03:13.968 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.04.08 10:22:38.010 | 0 | PKV
WENT UNACK Low | 2024.04.08 10:00:28.512 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.04.08 10:00:54.765 | 0 | PKV
WENT UNACK Low | 2024.04.08 09:33:39.599 | AEN_DOR_B2_403-1_2 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.08 09:33:40.306 | 0 | ARN
WENT UNACK Low | 2024.04.08 09:13:27.889 | AEN_DOR_GF_405-2_2 | East Emergency Stairs - Ground Floor | Unauthorised access |  |  | 2024.04.08 09:13:37.286 | 0 | ARN
WENT UNACK Low | 2024.04.08 08:03:57.748 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD isolated |  |  | 2024.04.08 11:05:59.197 | 0 | THL
WENT UNACK Low | 2024.04.08 08:03:33.607 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD isolated |  |  | 2024.04.08 11:04:27.198 | 0 | THL
WENT UNACK Low | 2024.04.08 08:02:47.871 | TNC-W-PSD-003 | State Library Platform 1 Zone 1 PSD 03 | PSD isolated |  |  | 2024.04.08 08:36:38.453 | 0 | STL
WENT UNACK Low | 2024.04.08 08:02:45.545 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated |  |  | 2024.04.08 08:18:52.475 | 0 | PKV
WENT UNACK Low | 2024.04.08 08:02:42.935 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated |  |  | 2024.04.08 08:18:36.482 | 0 | PKV
WENT UNACK Low | 2024.04.08 08:02:36.493 | TNC-E-PSD-005 | State Library Platform 2 Zone 1 PSD 05 | PSD isolated |  |  | 2024.04.08 08:41:08.458 | 0 | STL
WENT UNACK Low | 2024.04.08 08:02:35.162 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  | 2024.04.08 08:39:38.460 | 0 | STL
WENT UNACK Low | 2024.04.08 08:02:34.981 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated |  |  | 2024.04.08 10:28:22.282 | 0 | ARN
WENT UNACK Low | 2024.04.08 08:02:30.119 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD isolated |  |  | 2024.04.08 10:39:04.006 | 0 | ARN
WENT UNACK Low | 2024.04.04 08:30:46.254 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Door open too long |  |  | 2024.04.08 11:15:29.830 | 0 | ARN
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.805 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.803 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.802 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.799 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.798 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.796 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.795 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.793 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.04.09 08:06:26.529 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift safety feature fault | 2024.04.09 08:53:27.666 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.04.09 07:18:18.434 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.04.09 08:53:27.720 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.04.08 14:11:57.042 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.08 14:46:47.398 | josh_estrada |  | 0 | PKV
ACK Low | 2024.04.08 12:24:12.540 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.04.09 08:53:53.327 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.04.08 12:24:12.540 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault | 2024.04.09 08:53:53.272 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.04.08 09:02:50.773 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault | 2024.04.08 18:14:44.939 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.08 08:05:46.098 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault | 2024.04.09 08:54:46.001 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.04.08 08:05:46.051 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.04.09 08:54:46.024 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.04.08 08:05:44.367 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.08 08:22:05.823 | josh_estrada |  | 0 | PKV
ACK Low | 2024.04.08 08:05:44.320 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault | 2024.04.08 08:22:04.303 | josh_estrada |  | 0 | PKV
ACK Low | 2024.04.04 10:04:30.760 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Unauthorised access | 2024.04.04 10:04:35.384 | kai_longley |  | 0 | ARN
ACK Low | 2024.03.26 16:20:31.006 | AEN_DOR_B1_ESC_STAIRS_03_1 | West Emergency Stairs - Concourse | Door open too long | 2024.04.02 10:14:37.841 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.26 11:05:59.648 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown | 2024.03.26 11:06:08.800 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:59:37.774 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2024.03.26 10:59:44.951 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:58:20.171 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown | 2024.03.26 10:58:24.277 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:52:37.824 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2024.03.26 10:52:51.956 | sergio_paniagua |  | 0 | SDU