## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.04.15 22:57:59.869 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.15 22:56:23.879 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.15 22:56:23.879 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.15 22:56:23.879 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.15 22:56:23.879 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 21:29:14.357 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:28:20.354 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:17:26.355 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:17:16.354 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:04:12.323 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 21:03:24.319 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 21:02:40.319 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door opened! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 20:52:08.328 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 18:29:21.994 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 11:35:13.998 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 07:42:42.000 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 07:27:27.998 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 06:46:08.103 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.14 03:03:52.102 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.13 18:03:14.319 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.13 11:08:59.101 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.13 11:08:57.100 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.12 09:47:39.690 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.12 09:47:21.691 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.12 09:46:59.692 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.12 09:46:37.688 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.11 13:13:34.017 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.11 13:13:21.023 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.11 13:06:45.017 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.11 12:58:29.016 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:02:06.720 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.15 22:57:59.869 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.15 22:56:23.879 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.15 12:04:29.762 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.15 06:02:33.340 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Emergency Intercom Activated Level 2 |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.14 22:09:25.645 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.14 22:09:25.361 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.14 21:52:28.370 | _Mod_Plc_1_2 | MTSTL:_Mod_Plc_1_2. | Communications Fault - State Library Server 2 to State Library PSD Servers |  |  |  | 0 | THL
CAME UNACK Med | 2024.04.14 21:52:28.361 | _Mod_Plc_1 | MTSTL:_Mod_Plc_1. | Communications Fault - State Library Server 1 to State Library PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.14 21:37:10.377 | _Mod_Plc_1_2 | MTTHL:_Mod_Plc_1_2. | Communications Fault - Town Hall Server 2 to Town Hall PSD Servers |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.14 21:31:47.016 | _Mod_Plc_1_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden PSD Servers |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.14 21:31:47.004 | _Mod_Plc_1 | Arden Server 1 | Communications Fault - Arden Server 1 to Arden PSD Servers |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.14 21:26:05.337 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.14 21:02:04.318 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.13 09:24:30.103 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.12 09:47:39.690 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.12 09:46:37.688 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.11 13:06:45.017 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 10:37:49.760 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:24:18.357 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:10:41.821 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 07:09:47.615 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:09:47.615 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:09:47.594 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:09:47.581 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:08:10.922 | AEN_DOR_GF_405-2_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 07:07:22.277 | DMA_FCU_0119_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:06:42.294 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:06:12.191 | DMA_ACH_1003 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:06:12.191 | DMA_ACH_1001 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:04:47.539 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 06:46:17.627 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 06:45:12.262 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 03:48:02.729 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.15 23:59:23.116 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:58:11.188 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:55:34.259 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:55:21.313 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:49:01.206 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:46:49.181 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:37:18.204 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:33:12.259 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:31:53.256 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:31:44.261 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:27:47.181 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:25:43.163 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:21:46.169 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:19:10.178 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:14:16.251 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:09:29.130 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:07:45.119 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:01:37.155 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 22:59:51.189 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 22:58:18.204 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 22:56:03.239 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 22:33:25.061 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 18:11:31.734 | AEN_DOR_B1_ESC_STAIRS_04_2 | East Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.15 17:46:29.237 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 13:09:09.498 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 13:04:58.981 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 11:25:54.694 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.694 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.694 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.694 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.694 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.694 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.694 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.694 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.694 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.694 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.693 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.693 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.693 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.693 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.693 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.693 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:25:54.691 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.15 11:18:46.246 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.15 10:57:28.791 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.15 10:09:24.788 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.15 06:30:11.325 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:30:11.325 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:26:43.107 | PKV_HWH_1901 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:26:43.107 | PKV_HWH_1903 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:26:43.107 | PKV_ACH_1903 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:23.113 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:23.113 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:22.238 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:22.238 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:13.212 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:13.211 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:02:32.199 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.15 06:02:32.199 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.13 10:57:11.949 | DMA-SPE-0928 | B1, DMA-SPE-0928 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.13 10:43:30.111 | SKP-DT-1006 | Westbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:45:36.112 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:45:36.112 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:43:44.103 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:27:32.108 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:26:14.106 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:24:30.103 | SKP-DT-1005 | Westbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:17:19.998 | AEN-W-PSD-015 | Arden Platform 1 Zone 2 PSD 15 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 09:07:02.358 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.13 08:49:42.001 | AEN-E-PSD-018 | Arden Platform 2 Zone 2 PSD 18 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:49:16.002 | AEN-E-PSD-015 | Arden Platform 2 Zone 2 PSD 15 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:47:49.157 | AEN_DOR_GF_246-2_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:44:39.998 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:40:33.997 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:40:13.997 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:38:45.996 | AEN-W-PSD-007 | Arden Platform 1 Zone 1 PSD 07 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:07:06.356 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.13 06:51:36.352 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.13 06:51:36.352 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Speaker fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.13 06:44:48.312 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.13 06:44:48.312 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.12 18:00:41.028 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.12 12:23:20.028 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.12 12:23:13.998 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.12 10:43:04.815 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.12 09:45:35.700 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.12 09:45:35.700 | AEN_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.11 20:48:07.470 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 20:02:31.308 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 19:49:48.299 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 17:01:53.238 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 13:13:12.039 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.11 11:01:03.340 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 10:34:56.950 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.11 09:05:34.191 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 22:06:57.503 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:57:40.174 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 20:35:49.370 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.432 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.421 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.411 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.411 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.398 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:14:35.212 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:36.183 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:27.826 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:22.855 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.977 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.100 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:20.211 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:02:53.033 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:02:52.879 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 10:37:49.767 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.756 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
WENT UNACK High | 2024.04.16 01:00:40.031 | _Driver1 | MTAZC:_Driver1. |  |  |  | 2024.04.16 01:28:49.019 | 0 | AZC
WENT UNACK High | 2024.04.16 01:00:39.712 | _Driver1 | MTARD:_Driver1. |  |  |  | 2024.04.16 01:09:16.711 | 0 | ARN
WENT UNACK High | 2024.04.16 00:36:18.406 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.16 07:25:36.291 | 0 | AZC
WENT UNACK High | 2024.04.15 22:43:28.870 | PKV_FIO_0001_CONC | Fire Confirmed - Parkville Station S04A - Concourse - PKV-B-01 | Smoke detected in shaft! |  |  | 2024.04.15 22:56:05.873 | 0 | PKV
WENT UNACK High | 2024.04.15 22:43:26.968 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Smoke or heat detected! Extend timer within 30s to investigate!! |  |  | 2024.04.15 22:55:50.965 | 0 | PKV
WENT UNACK High | 2024.04.15 22:40:46.977 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  | 2024.04.15 22:43:27.975 | 0 | PKV
WENT UNACK High | 2024.04.15 17:20:45.876 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  | 2024.04.15 17:26:17.875 | 0 | SDU
WENT UNACK High | 2024.04.15 17:19:46.872 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  | 2024.04.15 17:26:32.871 | 0 | SDU
WENT UNACK High | 2024.04.15 12:32:30.223 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.15 19:15:47.660 | 0 | AZC
WENT UNACK High | 2024.04.15 11:55:49.982 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke or heat detected! Extend timer within 30s to investigate!! |  |  | 2024.04.15 11:55:50.987 | 0 | AZC
WENT UNACK High | 2024.04.15 11:51:48.986 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  | 2024.04.15 11:55:49.982 | 0 | AZC
WENT UNACK Med | 2024.04.16 06:56:33.618 | AEN_UPS_0401 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.04.16 06:56:48.616 | 0 | ARN
WENT UNACK Med | 2024.04.16 06:56:33.618 | AEN_UPS_0401 | Uninterruptible Power Supply | UPS internal diagnostic fault |  |  | 2024.04.16 06:56:48.616 | 0 | ARN
WENT UNACK Med | 2024.04.16 06:56:31.617 | AEN_UPS_0402 | Uninterruptible Power Supply | UPS internal diagnostic fault |  |  | 2024.04.16 06:56:47.617 | 0 | ARN
WENT UNACK Med | 2024.04.16 06:56:19.619 | AEN_UPS_0402 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.04.16 06:56:47.617 | 0 | ARN
WENT UNACK Med | 2024.04.16 06:56:10.189 | AEN_FCU_0105_06_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.04.16 06:58:10.195 | 0 | ARN
WENT UNACK Med | 2024.04.16 06:56:10.179 | AEN_FCU_0013_14_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.04.16 06:57:40.205 | 0 | ARN
WENT UNACK Med | 2024.04.16 06:56:10.144 | AEN_FCU_0109_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.04.16 06:57:47.040 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:15:58.446 | _PKV-BMS-PLC | MTPKV:_PKV-BMS-PLC. | Communications Fault - Parkville Server 1 to Parkville BMS PLC |  |  | 2024.04.16 01:16:04.667 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:15:49.442 | _DMA-BMS-PLC | MTAZC:_DMA-BMS-PLC. | Communications Fault - Anzac Server 1 to Anzac BMS PLC |  |  | 2024.04.16 01:15:57.367 | 0 | AZC
WENT UNACK Med | 2024.04.16 01:04:15.076 | _DMA-BMS-PLC3 | MTAZC:_DMA-BMS-PLC3. | Communications Fault - Anzac Server 1 to Anzac BMS 3 PLC |  |  | 2024.04.16 01:16:11.079 | 0 | AZC
WENT UNACK Med | 2024.04.16 01:03:53.894 | _AEN-BMS-PLC3 | MTARD:_AEN-BMS-PLC3. | Communications Fault - Arden Server 1 to Arden BMS 3 PLC |  |  | 2024.04.16 01:16:13.821 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:59.777 | _PAE-BMS-PLC | MTARD:_PAE-BMS-PLC. | Communications Fault - Arden Server 1 to Western Portal BMS PLC |  |  | 2024.04.16 01:03:55.130 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:49.963 | _DMA-BMS-PLC_2 | MTAZC:_DMA-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Anzac BMS PLC |  |  | 2024.04.16 01:04:24.271 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:49.963 | _DMA-BMS-PLC3_2 | MTAZC:_DMA-BMS-PLC3_2. | Communications Fault - Anzac Server 2 to Anzac BMS 3 PLC |  |  | 2024.04.16 01:03:55.517 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:49.582 | _PDM-BMS-PLC_2 | MTAZC:_PDM-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Eastern Portal BMS PLC |  |  | 2024.04.16 01:03:56.142 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:48.085 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  | 2024.04.16 01:03:55.419 | 0 | AZC
WENT UNACK Med | 2024.04.16 01:00:46.075 | _PKV-BMS-PLC3 | MTPKV:_PKV-BMS-PLC3. | Communications Fault - Parkville Server 1 to Parkville BMS 3 PLC |  |  | 2024.04.16 01:04:16.725 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:41.699 | _AEN-BMS-PLC3_2 | MTARD:_AEN-BMS-PLC3_2. | Communications Fault - Arden Server 2 to Arden BMS 3 PLC |  |  | 2024.04.16 01:04:11.800 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:41.690 | _AEN-BMS-PLC_2 | Arden BMS PLC | Communications Fault - Arden Server 2 to Arden BMS PLC |  |  | 2024.04.16 01:04:19.125 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:41.298 | _PKV-BMS-PLC3_2 | MTPKV:_PKV-BMS-PLC3_2. | Communications Fault - Parkville Server 2 to Parkville BMS 3 PLC |  |  | 2024.04.16 01:04:11.720 | 0 | STL
WENT UNACK Med | 2024.04.16 01:00:40.787 | _PAE-BMS-PLC_2 | MTARD:_PAE-BMS-PLC_2. | Communications Fault - Arden Server 2 to Western Portal BMS PLC |  |  | 2024.04.16 01:04:10.954 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:39.886 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Communications Fault - Parkville Server 2 to Parkville TVCS PLC |  |  | 2024.04.16 01:04:21.495 | 0 | STL
WENT UNACK Med | 2024.04.16 01:00:39.884 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Communications Fault - Parkville Server 1 to Parkville TVCS PLC |  |  | 2024.04.16 01:04:35.805 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:39.721 | _AEN-TVC-PLC_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden TVCS PLC |  |  | 2024.04.16 01:04:12.343 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:39.712 | _AEN-TVC-PLC | Arden Server 1 | Communications Fault - Arden Server 1 to Arden TVCS PLC |  |  | 2024.04.16 01:04:29.096 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:32.036 | _PKV-BMS-PLC_2 | MTPKV:_PKV-BMS-PLC_2. | Communications Fault - Parkville Server 2 to Parkville BMS PLC |  |  | 2024.04.16 01:04:07.678 | 0 | STL
WENT UNACK Med | 2024.04.15 22:57:56.870 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | Degraded fans |  |  | 2024.04.15 22:57:59.869 | 0 | PKV
WENT UNACK Med | 2024.04.15 22:27:05.868 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | Degraded fans |  |  | 2024.04.15 22:27:06.870 | 0 | PKV
WENT UNACK Med | 2024.04.15 22:27:05.868 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | Degraded fans |  |  | 2024.04.15 22:27:06.870 | 0 | PKV
WENT UNACK Med | 2024.04.15 21:41:31.253 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.04.15 21:41:41.252 | 0 | PKV
WENT UNACK Med | 2024.04.15 21:13:04.297 | DMA_FCU_0105_06_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.04.15 21:13:23.453 | 0 | AZC
WENT UNACK Med | 2024.04.15 19:35:06.320 | DMA_FCU_0103_04_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.04.15 19:35:25.452 | 0 | AZC
WENT UNACK Med | 2024.04.15 12:13:05.936 | _Conn_event_0_2_to_driver_2_2 | Town Hall Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.15 12:13:07.612 | 0 | AZC
WENT UNACK Med | 2024.04.15 12:13:05.936 | _Conn_event_0_2_to_driver_1_2 | Town Hall Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.15 12:13:07.156 | 0 | AZC
WENT UNACK Med | 2024.04.15 12:13:05.936 | _Conn_event_0_2_to_ctrl_3_2 | Town Hall Server 2 | Control Manager Not Running - mtthl_scripts.lst |  |  | 2024.04.15 12:13:09.014 | 0 | AZC
WENT UNACK Med | 2024.04.15 12:13:05.936 | _Conn_event_0_2_to_ctrl_2_2 | Town Hall Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.15 12:13:08.807 | 0 | AZC
WENT UNACK Med | 2024.04.15 12:13:05.936 | _Conn_event_0_2_to_ctrl_1_2 | Town Hall Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.15 12:13:06.406 | 0 | AZC
WENT UNACK Med | 2024.04.15 12:11:26.060 | _Conn_dist_1_1_to_dist_6_2 | Distributed Server 1 | Connection lost to Town Hall Server 2 - Link 1 |  |  | 2024.04.15 12:13:33.248 | 0 | THL
WENT UNACK Med | 2024.04.15 12:11:26.060 | _Conn_dist_1_2_to_dist_6_2 | Distributed Server 2 | Connection lost to Town Hall Server 2 - Link 0 |  |  | 2024.04.15 12:13:33.247 | 0 | THL
WENT UNACK Med | 2024.04.15 12:11:26.060 | _Conn_dist_1_2_to_dist_6_2 | Distributed Server 2 | Connection lost to Town Hall Server 2 - Link 1 |  |  | 2024.04.15 12:13:53.252 | 0 | THL
WENT UNACK Med | 2024.04.15 12:11:26.059 | _Conn_dist_1_1_to_dist_6_2 | Distributed Server 1 | Connection lost to Town Hall Server 2 - Link 0 |  |  | 2024.04.15 12:13:14.230 | 0 | THL
WENT UNACK Med | 2024.04.15 12:03:56.498 | _Mod_Plc_3_2 | MTPKV:_Mod_Plc_3_2. | Communications Fault - Parkville Server 2 to Parkville EWIS |  |  | 2024.04.15 12:04:29.577 | 0 | STL
WENT UNACK Med | 2024.04.15 12:03:52.106 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  | 2024.04.15 12:04:31.974 | 0 | STL
WENT UNACK Med | 2024.04.13 10:46:24.896 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | Power supply to gas supression panel fault |  |  | 2024.04.15 11:48:35.008 | 0 | AZC
WENT UNACK Med | 2024.04.13 09:36:34.866 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  | 2024.04.15 11:48:35.003 | 0 | AZC
WENT UNACK Med | 2024.04.11 11:25:05.904 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | Power supply to gas supression panel fault |  |  | 2024.04.15 11:48:34.996 | 0 | AZC
WENT UNACK Med | 2024.04.11 11:25:05.904 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  | 2024.04.15 11:48:35.005 | 0 | AZC
WENT UNACK Med | 2024.04.11 11:25:05.904 | DMA-FIP-0005 | Anzac Station SHCIE Panel 5 | Power supply to gas supression panel fault |  |  | 2024.04.15 11:48:35.007 | 0 | AZC
WENT UNACK Med | 2024.04.11 11:25:05.850 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Power supply to fire panel fault |  |  | 2024.04.15 11:48:34.857 | 0 | AZC
WENT UNACK Low | 2024.04.16 07:09:31.648 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Unauthorised access |  |  | 2024.04.16 07:09:39.970 | 0 | ARN
WENT UNACK Low | 2024.04.16 07:06:42.294 | DMA_FCU_0127_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 07:08:30.355 | 0 | AZC
WENT UNACK Low | 2024.04.16 07:06:42.294 | DMA_FCU_0121_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 07:08:30.355 | 0 | AZC
WENT UNACK Low | 2024.04.16 07:04:47.550 | DMA_FCU_1001_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 07:08:31.254 | 0 | AZC
WENT UNACK Low | 2024.04.16 07:03:35.643 | AEN_DOR_B2_ESC_STAIRS_03_2 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.16 07:03:41.154 | 0 | ARN
WENT UNACK Low | 2024.04.16 06:56:16.968 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift monitoring lost |  |  | 2024.04.16 06:56:53.988 | 0 | ARN
WENT UNACK Low | 2024.04.16 06:56:15.965 | AEN_ESC_0002 | Escalator 2 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  | 2024.04.16 06:56:40.904 | 0 | ARN
WENT UNACK Low | 2024.04.16 06:56:12.890 | AEN_LFT_0005 | Lift 5 BOH (Platforms to Ground Floor) | Lift monitoring lost |  |  | 2024.04.16 06:56:55.998 | 0 | ARN
WENT UNACK Low | 2024.04.16 06:56:10.112 | AEN_FCU_0007_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.04.16 06:56:24.137 | 0 | ARN
WENT UNACK Low | 2024.04.16 06:14:27.937 | AEN_DOR_GF_401-1_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.04.16 06:14:32.549 | 0 | ARN
WENT UNACK Low | 2024.04.16 01:01:02.972 | PKV_DOR_B4_PKV-S-01_1 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.16 01:01:07.395 | 0 | PKV
WENT UNACK Low | 2024.04.16 01:00:39.886 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Link Failure - Parkville Server 2 to Parkville TVCS CPU 1 |  |  | 2024.04.16 01:04:21.495 | 0 | STL
WENT UNACK Low | 2024.04.16 01:00:39.884 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Link Failure - Parkville Server 1 to Parkville TVCS CPU 1 |  |  | 2024.04.16 01:04:35.805 | 0 | PKV
WENT UNACK Low | 2024.04.16 01:00:39.717 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  | 2024.04.16 01:04:12.384 | 0 | PKV
WENT UNACK Low | 2024.04.16 01:00:39.709 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 1 |  |  | 2024.04.16 01:04:29.096 | 0 | ARN
WENT UNACK Low | 2024.04.16 01:00:38.862 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 2 |  |  | 2024.04.16 01:04:29.118 | 0 | ARN
WENT UNACK Low | 2024.04.16 01:00:22.136 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 1 |  |  | 2024.04.16 01:04:12.343 | 0 | PKV
WENT UNACK Low | 2024.04.16 00:29:57.995 | AEN_AHU_1103_MVD_03 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 00:29:58.894 | 0 | ARN
WENT UNACK Low | 2024.04.15 22:57:51.879 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | Loss of redundancy (fans) |  |  | 2024.04.15 22:57:56.870 | 0 | PKV
WENT UNACK Low | 2024.04.15 22:56:05.873 | PKV_StationFunc | TVCS Operator Fire Emergency Section 04 - Parkville Station | Station Fire Ventilation Mode still active |  |  | 2024.04.15 22:56:23.879 | 0 | SDU
WENT UNACK Low | 2024.04.15 22:46:10.317 | PKV_AHU_1303_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 22:56:09.261 | 0 | PKV
WENT UNACK Low | 2024.04.15 22:46:09.269 | PKV_AHU_1303_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 22:56:11.290 | 0 | PKV
WENT UNACK Low | 2024.04.15 22:46:09.269 | PKV_AHU_1303_MVD_01 | Air Handling Unit - Outside Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 22:56:11.290 | 0 | PKV
WENT UNACK Low | 2024.04.15 22:45:30.367 | PKV_FCU_0211_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 22:56:07.272 | 0 | PKV
WENT UNACK Low | 2024.04.15 22:45:30.356 | PKV_FCU_0403_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 22:57:36.286 | 0 | PKV
WENT UNACK Low | 2024.04.15 22:45:29.269 | PKV_FCU_0211_MVD_01 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 22:57:40.305 | 0 | PKV
WENT UNACK Low | 2024.04.15 22:45:29.269 | PKV_FCU_0403_MVD_03 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 22:57:37.249 | 0 | PKV
WENT UNACK Low | 2024.04.15 22:45:29.269 | PKV_FCU_0207_SMD_05 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 22:56:08.283 | 0 | PKV
WENT UNACK Low | 2024.04.15 22:45:29.269 | PKV_FCU_0207_SMD_04 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 22:57:40.305 | 0 | PKV
WENT UNACK Low | 2024.04.15 22:25:50.334 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.04.15 22:25:51.342 | 0 | THL
WENT UNACK Low | 2024.04.15 21:12:27.575 | DMA_FCU_0105_SMD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 21:12:42.337 | 0 | AZC
WENT UNACK Low | 2024.04.15 21:09:12.346 | DMA_FCU_0105_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 21:09:46.244 | 0 | AZC
WENT UNACK Low | 2024.04.15 20:17:34.904 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.04.15 20:17:39.175 | 0 | ARN
WENT UNACK Low | 2024.04.15 19:21:55.389 | DMA_FCU_0104_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 19:22:12.335 | 0 | AZC
WENT UNACK Low | 2024.04.15 17:44:46.969 | AEN_AHU_0101_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 17:45:00.018 | 0 | ARN
WENT UNACK Low | 2024.04.15 17:41:20.000 | AEN_AHU_0103_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 17:42:14.016 | 0 | ARN
WENT UNACK Low | 2024.04.15 17:41:20.000 | AEN_AHU_0103_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 17:42:04.013 | 0 | ARN
WENT UNACK Low | 2024.04.15 17:20:03.871 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Degraded |  |  | 2024.04.15 22:57:59.869 | 0 | SDU
WENT UNACK Low | 2024.04.15 17:19:47.872 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | Loss of redundancy (fans) |  |  | 2024.04.15 17:23:39.871 | 0 | PKV
WENT UNACK Low | 2024.04.15 16:32:06.261 | DMA_SDP_0101_02_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.04.15 16:39:07.774 | 0 | AZC
WENT UNACK Low | 2024.04.15 16:17:08.999 | AEN-ASD-0056 | B1, AEN-ASD-0056, 602-3 TRAC SUB 3 - F1 | Aspirating smoke detector fault |  |  | 2024.04.15 16:17:51.011 | 0 | ARN
WENT UNACK Low | 2024.04.15 15:12:06.120 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Unauthorised access |  |  | 2024.04.15 15:12:18.403 | 0 | ARN
WENT UNACK Low | 2024.04.15 14:34:05.329 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.15 22:26:10.344 | 0 | PKV
WENT UNACK Low | 2024.04.15 14:26:29.107 | AEN_DOR_L1_ESC_STAIRS_5_1 | Security Door (L1 EAST) | Unauthorised access |  |  | 2024.04.15 14:26:35.939 | 0 | ARN
WENT UNACK Low | 2024.04.15 14:26:29.036 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.04.15 14:26:35.697 | 0 | PKV
WENT UNACK Low | 2024.04.15 14:22:07.370 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Unauthorised access |  |  | 2024.04.15 14:22:14.878 | 0 | ARN
WENT UNACK Low | 2024.04.15 14:01:12.397 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Unauthorised access |  |  | 2024.04.15 14:01:14.301 | 0 | ARN
WENT UNACK Low | 2024.04.15 13:28:50.016 | AEN_AHU_1101_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 13:29:17.023 | 0 | ARN
WENT UNACK Low | 2024.04.15 13:22:30.651 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.04.15 17:23:25.643 | 0 | SDU
WENT UNACK Low | 2024.04.15 12:27:52.232 | DMA_FCU_1202_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 12:53:19.384 | 0 | AZC
WENT UNACK Low | 2024.04.15 12:21:31.667 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.15 12:21:41.041 | 0 | PKV
WENT UNACK Low | 2024.04.15 12:13:06.451 | _ReduManager_2 | Town Hall Server 2 | Server 2 - Passive |  |  | 2024.04.15 12:13:15.277 | 0 | AZC
WENT UNACK Low | 2024.04.15 11:02:49.798 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.04.15 11:38:17.793 | 0 | SDU
WENT UNACK Low | 2024.04.15 10:36:11.377 | DMA_FCU_1141_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 10:36:56.198 | 0 | AZC
WENT UNACK Low | 2024.04.15 10:36:11.377 | DMA_FCU_1141_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 10:36:55.374 | 0 | AZC
WENT UNACK Low | 2024.04.15 10:31:19.346 | DMA_FCU_1141_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 10:35:07.575 | 0 | AZC
WENT UNACK Low | 2024.04.15 10:31:19.346 | DMA_FCU_1141_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 10:35:10.194 | 0 | AZC
WENT UNACK Low | 2024.04.15 10:24:11.363 | DMA_FCU_1129_SMD_01 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 10:26:47.555 | 0 | AZC
WENT UNACK Low | 2024.04.15 10:24:10.921 | AEN_LFT_0005 | Lift 5 BOH (Platforms to Ground Floor) | Lift General Fault |  |  | 2024.04.15 10:26:43.985 | 0 | ARN
WENT UNACK Low | 2024.04.15 10:18:38.357 | DMA_FCU_1129_SMD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 10:22:58.348 | 0 | AZC
WENT UNACK Low | 2024.04.15 10:10:20.937 | AEN_AHU_0101_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 10:10:24.012 | 0 | ARN
WENT UNACK Low | 2024.04.15 09:56:01.752 | PAE_LFT_0002 | Lift 2 BOH (Ground Floor to Level 1) | Lift General Fault |  |  | 2024.04.15 10:01:07.741 | 0 | SDU
WENT UNACK Low | 2024.04.15 09:56:00.752 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Lift General Fault |  |  | 2024.04.15 10:00:50.743 | 0 | SDU
WENT UNACK Low | 2024.04.15 09:42:24.355 | AEN_DOR_B2_ESC_STAIRS_03_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.15 09:45:16.355 | 0 | ARN
WENT UNACK Low | 2024.04.15 09:37:25.835 | AEN_DOR_B2_403-1_2 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.15 09:37:30.588 | 0 | ARN
WENT UNACK Low | 2024.04.15 09:36:33.437 | AEN_DOR_B2_403-1_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.15 09:36:39.026 | 0 | ARN
WENT UNACK Low | 2024.04.15 09:02:25.344 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  | 2024.04.15 09:04:18.314 | 0 | AZC
WENT UNACK Low | 2024.04.15 09:02:23.332 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  | 2024.04.15 09:04:23.343 | 0 | AZC
WENT UNACK Low | 2024.04.15 08:26:56.397 | PKV_SDP_0101_02_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.04.15 08:27:30.508 | 0 | PKV
WENT UNACK Low | 2024.04.15 08:24:05.462 | PKV_SDP_0103_04_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.04.15 08:25:18.419 | 0 | PKV
WENT UNACK Low | 2024.04.15 08:14:32.222 | DMA_FCU_1109_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 08:15:37.556 | 0 | AZC
WENT UNACK Low | 2024.04.15 08:14:32.222 | DMA_FCU_1109_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.15 08:16:25.351 | 0 | AZC
WENT UNACK Low | 2024.04.11 11:25:16.479 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault |  |  | 2024.04.15 11:48:35.776 | 0 | AZC
WENT UNACK Low | 2024.04.11 11:25:06.144 | DMA-FPD-0014 | B1, DMA-FPD-0014 ECS PLANTROOM 3 801-5 | Heat or smoke detector fault |  |  | 2024.04.15 11:48:35.363 | 0 | AZC
WENT UNACK Low | 2024.04.11 11:25:06.144 | DMA-FPD-0015 | B1, DMA-FPD-0015 ECS PLANTROOM 3 801-5 | Heat or smoke detector fault |  |  | 2024.04.15 11:48:35.363 | 0 | AZC
WENT UNACK Low | 2024.04.11 11:25:06.144 | DMA-FPD-0003 | B1, DMA-FPD-0003 OAF-1101 Plant Rm 801-3 | Heat or smoke detector fault |  |  | 2024.04.15 11:48:35.375 | 0 | AZC
WENT UNACK Low | 2024.04.11 11:25:06.144 | DMA-FPD-0004 | B1, DMA-FPD-0004 OAF-1102 Plant Rm 801-3 | Heat or smoke detector fault |  |  | 2024.04.15 11:48:35.375 | 0 | AZC
WENT UNACK Low | 2024.04.11 11:04:17.486 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.04.16 07:21:17.537 | 0 | AZC
ACK High | 2024.04.11 13:11:03.023 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.04.11 13:11:08.014 | sergio_pareja |  | 0 | SDU
ACK High | 2024.04.11 13:10:49.024 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.04.11 13:11:08.032 | sergio_pareja |  | 0 | SDU
ACK High | 2024.04.08 08:02:06.243 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.04.11 11:52:48.986 | sergio_pareja |  | 0 | AZC
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.04.08 14:46:48.740 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault | 2024.04.11 09:41:53.793 | kai_longley |  | 0 | ARN
ACK Med | 2024.04.08 08:03:38.289 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault | 2024.04.11 09:41:56.666 | kai_longley |  | 0 | ARN
ACK Med | 2024.04.08 08:03:38.282 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault | 2024.04.11 09:41:56.666 | kai_longley |  | 0 | ARN
ACK Med | 2024.04.08 08:03:32.441 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2024.04.11 12:01:37.313 | sergio_pareja |  | 0 | SDU
ACK Med | 2024.03.25 10:37:49.805 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.803 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.802 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.799 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.798 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.796 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.795 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.793 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.745 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost | 2024.04.11 09:41:56.763 | kai_longley |  | 0 | ARN
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.04.15 16:33:52.256 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.15 18:04:27.400 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.15 06:25:13.201 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.15 18:04:39.311 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.08 10:34:16.263 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Low | 2024.04.08 08:05:19.568 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.04.11 09:39:52.885 | kai_longley |  | 0 | ARN
ACK Low | 2024.04.08 08:05:19.077 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational | 2024.04.09 13:51:54.167 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.03.26 12:41:38.250 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown | 2024.04.11 09:40:13.294 | kai_longley |  | 0 | SDU
ACK Low | 2024.03.26 11:05:59.648 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown | 2024.03.26 11:06:08.800 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:59:37.774 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2024.03.26 10:59:44.951 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:58:20.171 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown | 2024.03.26 10:58:24.277 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:52:37.824 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2024.03.26 10:52:51.956 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:50:59.369 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown | 2024.04.11 09:40:32.821 | kai_longley |  | 0 | SDU
ACK Low | 2024.03.25 10:37:49.764 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Low | 2024.03.25 10:37:49.754 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN