## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK Low | 2024.10.16 08:03:19.653 | TSC_ESC_0003 | Escalator 3 Bank 3 (B4 Basement to B3 Basement) | Escalator General Fault |  |  |  | 0 | THL
CAME UNACK Low | 2024.10.16 08:03:19.653 | TSC_ESC_0003 | Escalator 3 Bank 3 (B4 Basement to B3 Basement) | Escalator stopped (brake mechanism fault) |  |  |  | 0 | THL
CAME UNACK Low | 2024.10.16 08:02:38.519 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator General Fault |  |  |  | 0 | AZC
WENT UNACK Med | 2024.10.15 14:11:57.187 | _TNC-BMS-PLC3_2 | MTSTL:_TNC-BMS-PLC3_2. | Communications Fault - State Library Server 2 to State Library BMS Gateway PLC |  |  | 2024.10.15 14:12:39.033 | 0 | THL
WENT UNACK Med | 2024.10.15 14:11:57.103 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Communications Fault - Parkville Server 1 to Parkville TVCS PLC |  |  | 2024.10.15 14:12:18.337 | 0 | PKV
WENT UNACK Med | 2024.10.15 14:11:57.069 | _TSC-TVC-PLC_2 | MTTHL:_TSC-TVC-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall TVCS PLC |  |  | 2024.10.15 14:12:33.091 | 0 | AZC
WENT UNACK Med | 2024.10.15 14:11:57.047 | _TSC-TVC-PLC | MTTHL:_TSC-TVC-PLC. | Communications Fault - Town Hall Server 1 to Town Hall TVCS PLC |  |  | 2024.10.15 14:12:43.625 | 0 | THL
WENT UNACK Med | 2024.10.15 14:11:56.931 | _DMA-TVC-PLC_2 | MTAZC:_DMA-TVC-PLC_2. | Communication Fault - Anzac Server 2 to Anzac TVCS PLC |  |  | 2024.10.15 14:12:37.256 | 0 | ARN
WENT UNACK Med | 2024.10.15 14:11:56.928 | _DMA-TVC-PLC | MTAZC:_DMA-TVC-PLC. | Communications Fault - Anzac Server 1 to Anzac TVCS PLC |  |  | 2024.10.15 14:12:44.702 | 0 | AZC
WENT UNACK Med | 2024.10.15 14:11:56.356 | _AEN-TVC-PLC_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden TVCS PLC |  |  | 2024.10.15 14:12:40.406 | 0 | PKV
WENT UNACK Med | 2024.10.15 14:11:56.356 | _AEN-TVC-PLC | Arden Server 1 | Communications Fault - Arden Server 1 to Arden TVCS PLC |  |  | 2024.10.15 14:12:34.598 | 0 | ARN
WENT UNACK Med | 2024.10.15 14:11:55.196 | _DMA-BMS-PLC3 | MTAZC:_DMA-BMS-PLC3. | Communications Fault - Anzac Server 1 to Anzac BMS Gateway PLC |  |  | 2024.10.15 14:11:55.241 | 0 | AZC
WENT UNACK Med | 2024.10.15 14:11:54.663 | _TSC-BMS-PLC3 | MTTHL:_TSC-BMS-PLC3. | Communications Fault - Town Hall Server 1 to Town Hall BMS Gateway PLC |  |  | 2024.10.15 14:11:54.708 | 0 | THL
WENT UNACK Med | 2024.10.15 14:11:52.291 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Communications Fault - State Library Server 2 to State Library TVCS PLC |  |  | 2024.10.15 14:12:42.302 | 0 | THL
WENT UNACK Med | 2024.10.15 14:11:50.661 | _AEN-BMS-PLC3_2 | MTARD:_AEN-BMS-PLC3_2. | Communications Fault - Arden Server 2 to Arden BMS Gateway PLC |  |  | 2024.10.15 14:11:50.700 | 0 | PKV
WENT UNACK Med | 2024.10.15 14:11:48.788 | _PDM-BMS-PLC_2 | MTAZC:_PDM-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Eastern Portal BMS PLC |  |  | 2024.10.15 14:11:48.831 | 0 | ARN
WENT UNACK Med | 2024.10.15 14:11:48.136 | _DMA-BMS-PLC_2 | MTAZC:_DMA-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Anzac BMS PLC |  |  | 2024.10.15 14:11:57.575 | 0 | ARN
WENT UNACK Med | 2024.10.15 14:11:48.136 | _DMA-BMS-PLC3_2 | MTAZC:_DMA-BMS-PLC3_2. | Communications Fault - Anzac Server 2 to Anzac BMS Gateway PLC |  |  | 2024.10.15 14:11:48.180 | 0 | ARN
WENT UNACK Med | 2024.10.15 14:11:46.024 | _PAE-BMS-PLC | MTARD:_PAE-BMS-PLC. | Communications Fault - Arden Server 1 to Western Portal BMS PLC |  |  | 2024.10.15 14:11:46.068 | 0 | ARN
WENT UNACK Med | 2024.10.15 14:11:45.006 | _AEN-BMS-PLC3 | MTARD:_AEN-BMS-PLC3. | Communications Fault - Arden Server 1 to Arden BMS Gateway PLC |  |  | 2024.10.15 14:11:45.051 | 0 | ARN
WENT UNACK Med | 2024.10.15 14:11:44.757 | _AEN-BMS-PLC | Arden BMS PLC | Communications Fault - Arden Server 1 to Arden BMS PLC |  |  | 2024.10.15 14:11:44.897 | 0 | ARN
WENT UNACK Med | 2024.10.15 14:11:43.720 | _TSC-BMS-PLC3_2 | MTTHL:_TSC-BMS-PLC3_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS Gateway PLC |  |  | 2024.10.15 14:11:43.765 | 0 | AZC
WENT UNACK Med | 2024.10.15 14:11:38.266 | _AEN-BMS-PLC_2 | Arden BMS PLC | Communications Fault - Arden Server 2 to Arden BMS PLC |  |  | 2024.10.15 14:11:38.407 | 0 | PKV
WENT UNACK Med | 2024.10.15 14:11:37.964 | _TSC-BMS-PLC | MTTHL:_TSC-BMS-PLC. | Communications Fault - Town Hall Server 1 to Town Hall BMS PLC |  |  | 2024.10.15 14:11:44.428 | 0 | THL
WENT UNACK Med | 2024.10.15 14:11:27.475 | _TNC-BMS-PLC_2 | MTSTL:_TNC-BMS-PLC_2. | Communications Fault - State Library Server 2 to State Library BMS PLC |  |  | 2024.10.15 14:11:27.637 | 0 | THL
WENT UNACK Med | 2024.10.15 14:08:19.838 | _DMA-BMS-PLC | MTAZC:_DMA-BMS-PLC. | Communications Fault - Anzac Server 1 to Anzac BMS PLC |  |  | 2024.10.15 14:08:28.136 | 0 | AZC
WENT UNACK Med | 2024.10.15 14:08:19.773 | _PKV-BMS-PLC | MTPKV:_PKV-BMS-PLC. | Communications Fault - Parkville Server 1 to Parkville BMS PLC |  |  | 2024.10.15 14:08:19.906 | 0 | PKV
WENT UNACK Med | 2024.10.15 14:08:19.712 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  | 2024.10.15 14:08:19.749 | 0 | AZC
WENT UNACK Med | 2024.10.15 14:08:19.697 | _PKV-BMS-PLC3 | MTPKV:_PKV-BMS-PLC3. | Communications Fault - Parkville Server 1 to Parkville BMS Gateway PLC |  |  | 2024.10.15 14:08:19.735 | 0 | PKV
WENT UNACK Med | 2024.10.15 14:08:13.463 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC |  |  | 2024.10.15 14:08:19.618 | 0 | AZC
WENT UNACK Med | 2024.10.15 13:26:10.032 | _Mod_Plc_2 | MTAZC:_Mod_Plc_2. | Communications Fault - Anzac Server 1 to Anzac FDS Gateway |  |  | 2024.10.15 13:26:10.208 | 0 | ARN
WENT UNACK Med | 2024.10.15 13:26:10.032 | _Mod_Plc_2_2 | MTAZC:_Mod_Plc_2_2. | Communications Fault - Anzac Server 2 to Anzac FDS Gateway |  |  | 2024.10.15 13:26:10.216 | 0 | ARN
WENT UNACK Low | 2024.10.16 07:21:47.405 | _Mod_Plc_1 | Distributed Server 1 | Communications Fault - Distributed Server 1 to RSG |  |  | 2024.10.16 07:21:48.397 | 0 | ARN
WENT UNACK Low | 2024.10.15 14:11:57.102 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Link Failure - Parkville Server 1 to Parkville TVCS CPU 2 |  |  | 2024.10.15 14:12:48.327 | 0 | PKV
WENT UNACK Low | 2024.10.15 14:11:56.351 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 1 |  |  | 2024.10.15 14:12:40.413 | 0 | PKV
WENT UNACK Low | 2024.10.15 14:11:56.351 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 2 |  |  | 2024.10.15 14:12:34.598 | 0 | ARN
WENT UNACK Low | 2024.10.15 14:11:50.344 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  | 2024.10.15 14:12:40.406 | 0 | PKV
WENT UNACK Low | 2024.10.15 14:11:44.510 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 1 |  |  | 2024.10.15 14:12:34.598 | 0 | ARN
WENT UNACK Low | 2024.10.15 14:11:28.306 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Link Failure - Parkville Server 1 to Parkville TVCS CPU 1 |  |  | 2024.10.15 14:12:18.337 | 0 | PKV
WENT UNACK Low | 2024.10.15 07:04:56.261 | _Mod_Plc_1_2 | Distributed Server 2 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.10.15 07:04:57.270 | 0 | THL
ACK High | 2024.10.16 07:42:01.880 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door opened! | 2024.10.16 08:00:57.849 | kai_longley |  | 0 | ARN
ACK High | 2024.10.15 15:46:43.744 | SDU_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2024.10.16 08:01:01.273 | kai_longley |  | 0 | SDU
ACK High | 2024.10.15 13:40:42.744 | TSC_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2024.10.16 08:00:59.585 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 20:23:29.088 | PKV_OFN_0001_03_DS | Kernot Rd OTE shaft | All fans inoperative! | 2024.10.15 07:21:01.162 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 19:38:09.089 | PKV_TFN_0201_03_DS | Leicester St TVF shaft | All fans inoperative! | 2024.10.15 07:21:02.785 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 19:34:11.090 | PKV_TFN_0101_03_DS | Barry St TVF shaft | All fans inoperative! | 2024.10.15 07:21:04.132 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 18:34:38.449 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! | 2024.10.15 07:21:05.608 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 18:33:58.449 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! | 2024.10.15 07:21:07.182 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 18:30:40.249 | AEN_TFN_0201_03_DS | Laurens St TVF shaft | Tunnel Section 03 Arden End - Ventilation Unavailable! | 2024.10.15 07:21:08.579 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 18:30:35.301 | AEN_OFN_0201_02_DS | Laurens St OTE shaft | Arden - East End Over Track Ventilation Unavailable! | 2024.10.15 07:21:10.041 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 18:30:29.255 | AEN_OFN_0101_02_DS | Fogarty St OTE shaft | Arden - West End Over Track Ventilation Unavailable! | 2024.10.15 07:21:11.337 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 18:29:36.304 | AEN_TFN_0101_03_DS | Fogarty St TVF shaft | Tunnel Section 01 - Ventilation Unavailable! | 2024.10.15 07:21:12.736 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 18:26:08.098 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.10.15 07:21:13.932 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 18:26:08.098 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.10.15 07:21:15.131 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 17:11:24.459 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! | 2024.10.15 07:21:17.944 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 17:10:45.456 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! | 2024.10.15 07:21:20.452 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 11:19:55.907 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! | 2024.10.14 16:27:47.262 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 10:56:10.039 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.10.14 16:27:48.589 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 10:54:39.882 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.10.14 16:27:49.699 | kai_longley |  | 0 | ARN
ACK High | 2024.10.14 09:55:49.647 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2024.10.14 16:27:52.932 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 09:03:27.376 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Anzac station haven't ack'd an important alarm! | 2024.10.14 16:27:54.182 | kai_longley |  | 0 | SSC
ACK High | 2024.10.14 09:03:27.335 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Town Hall station haven't ack'd an important alarm! | 2024.10.14 16:27:55.460 | kai_longley |  | 0 | SSC
ACK High | 2024.10.14 09:03:27.322 | AEN_FOLLOWUP | Arden Follow up alarm | Metrol haven't ack'd an important alarm! | 2024.10.14 16:27:56.836 | kai_longley |  | 0 | ARN
ACK High | 2024.10.14 09:03:27.319 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Parkville station haven't ack'd an important alarm! | 2024.10.14 16:27:59.627 | kai_longley |  | 0 | SSC
ACK High | 2024.10.14 09:03:27.317 | TSC_FOLLOWUP | Town Hall Follow up alarm | Metrol haven't ack'd an important alarm! | 2024.10.14 16:28:00.962 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 09:03:27.251 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | Arden station haven't ack'd an important alarm! | 2024.10.14 16:28:02.284 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 09:03:27.251 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | State Library station haven't ack'd an important alarm! | 2024.10.14 16:28:03.628 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 09:03:27.251 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | Town Hall station haven't ack'd an important alarm! | 2024.10.14 16:28:05.122 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 09:03:27.226 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | Parkville station haven't ack'd an important alarm! | 2024.10.14 16:28:06.336 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:32:38.304 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:10.726 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:32:38.288 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:12.133 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:29:49.214 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:18.048 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:29:49.198 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:19.187 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:29:03.385 | PKV-E-PSD-021 | Parkville Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.10.14 16:28:25.031 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:29:01.448 | PKV-E-PSD-017 | Parkville Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.10.14 16:28:28.630 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:28:59.887 | PKV-E-PSD-014 | Parkville Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.10.14 16:28:26.232 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:28:58.414 | PKV-E-PSD-011 | Parkville Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.10.14 16:28:29.760 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:28:56.913 | PKV-E-PSD-008 | Parkville Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.10.14 16:28:30.932 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:28:55.420 | PKV-E-PSD-005 | Parkville Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2024.10.14 16:28:32.263 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:28:53.416 | PKV-E-PSD-001 | Parkville Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.10.14 16:28:33.446 | kai_longley |  | 0 | PKV
ACK High | 2024.10.14 08:13:45.344 | TNC_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2024.10.14 16:28:34.611 | kai_longley |  | 0 | STL
ACK High | 2024.10.14 08:13:06.840 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:35.736 | kai_longley |  | 0 | ARN
ACK High | 2024.10.14 08:10:47.509 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:36.789 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:10:47.493 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:38.732 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:10:04.672 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:40.593 | kai_longley |  | 0 | STL
ACK High | 2024.10.14 08:10:04.657 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:41.445 | kai_longley |  | 0 | STL
ACK High | 2024.10.14 08:08:49.612 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:42.399 | kai_longley |  | 0 | ARN
ACK High | 2024.10.14 08:08:49.592 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:44.839 | kai_longley |  | 0 | ARN
ACK High | 2024.10.14 08:08:38.607 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.10.14 16:28:45.788 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:08:38.445 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2024.10.14 16:28:46.747 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:08:38.117 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.10.14 16:28:47.556 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:07:59.480 | TNC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2024.10.14 16:28:48.623 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:07:59.462 | TNC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.10.14 16:28:49.667 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:07:56.580 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.10.14 16:28:50.581 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:07:56.462 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.10.14 16:28:51.435 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:06:59.260 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:52.334 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:06:59.245 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:53.291 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:06:53.187 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:54.182 | kai_longley |  | 0 | STL
ACK High | 2024.10.14 08:06:53.172 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:55.064 | kai_longley |  | 0 | STL
ACK High | 2024.10.14 08:06:36.685 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.10.14 16:28:56.998 | kai_longley |  | 0 | ARN
ACK High | 2024.10.14 08:06:12.975 | TSC-W-PSD-021 | Town Hall Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.10.14 16:28:58.741 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:06:10.132 | TSC-W-PSD-017 | Town Hall Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.10.14 16:28:59.658 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:06:09.382 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:00.445 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:06:07.718 | TSC-W-PSD-014 | Town Hall Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:01.406 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:06:05.628 | TSC-W-PSD-011 | Town Hall Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:02.292 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:06:03.520 | TSC-W-PSD-008 | Town Hall Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:03.192 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:06:01.386 | TSC-W-PSD-005 | Town Hall Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:04.100 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:58.516 | TSC-W-PSD-001 | Town Hall Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:04.924 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:48.839 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:06.012 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:48.700 | TNC-E-PSD-018 | State Library Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:06.837 | kai_longley |  | 0 | STL
ACK High | 2024.10.14 08:05:48.126 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:07.790 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:46.740 | TSC-E-PSD-014 | Town Hall Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:08.689 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:46.208 | TNC-E-PSD-014 | State Library Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:09.571 | kai_longley |  | 0 | STL
ACK High | 2024.10.14 08:05:45.077 | AEN-E-PSD-020 | Arden Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:11.402 | kai_longley |  | 0 | ARN
ACK High | 2024.10.14 08:05:44.698 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:14.383 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:42.648 | TSC-E-PSD-008 | Town Hall Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:15.306 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:40.593 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:16.194 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:39.298 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! | 2024.10.14 16:29:17.178 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:05:39.221 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! | 2024.10.14 16:29:18.075 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:05:39.146 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! | 2024.10.14 16:29:18.915 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:05:39.070 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! | 2024.10.14 16:29:22.832 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:05:37.819 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.10.14 16:29:23.688 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:33.023 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Arden station haven't ack'd an important alarm! | 2024.10.14 16:29:24.605 | kai_longley |  | 0 | SSC
ACK High | 2024.10.14 08:05:22.736 | DMA_TFN_0201_03_DS | Bowen Ln TVF shaft | All fans inoperative! | 2024.10.14 16:29:27.869 | kai_longley |  | 0 | AZC
ACK High | 2024.10.14 08:05:22.209 | DMA_TFN_0101_03_DS | Albert Rd TVF shaft | All fans inoperative! | 2024.10.14 16:29:28.731 | kai_longley |  | 0 | AZC
ACK High | 2024.10.14 08:05:21.683 | DMA_OFN_0201_02_DS | Bowen Ln OTE shaft | All fans inoperative! | 2024.10.14 16:29:29.622 | kai_longley |  | 0 | AZC
ACK High | 2024.10.14 08:05:21.125 | DMA_OFN_0101_02_DS | Albert Rd OTE shaft | All fans inoperative! | 2024.10.14 16:29:30.435 | kai_longley |  | 0 | AZC
ACK High | 2024.10.14 08:05:18.826 | TNC_TFN_0201_03_DS | LaTrobe St TVF shaft | All fans inoperative! | 2024.10.14 16:29:31.397 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:05:18.783 | TNC_TFN_0101_03_DS | Franklin St TVF shaft | All fans inoperative! | 2024.10.14 16:29:32.398 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:05:18.751 | TNC_OFN_0001_03_DS | ABeckett St OTE shaft | All fans inoperative! | 2024.10.14 16:29:33.281 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:05:18.721 | TNC_OCN_0201_02_DS | Lt LaTrobe St OCE shaft | All fans inoperative! | 2024.10.14 16:29:35.614 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:05:18.691 | TNC_OCN_0101_02_DS | Franklin St OCE shaft | All fans inoperative! | 2024.10.14 16:29:36.498 | kai_longley |  | 0 | SDU
ACK High | 2024.10.14 08:05:17.882 | TSC_TFN_0201_03_DS | Royston Pl TVF shaft | All fans inoperative! | 2024.10.14 16:29:37.450 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:17.317 | TSC_TFN_0101_03_DS | Flinders Ln TVF shaft | All fans inoperative! | 2024.10.14 16:29:38.399 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:16.762 | TSC_OFN_0001_03_DS | Royston Pl OTE shaft | All fans inoperative! | 2024.10.14 16:29:39.218 | kai_longley |  | 0 | THL
ACK High | 2024.10.14 08:05:16.191 | TSC_OCN_0101_02_DS | Flinders Ln OTE shaft | All fans inoperative! | 2024.10.14 16:29:40.197 | kai_longley |  | 0 | THL
ACK Med | 2024.10.16 07:41:57.880 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door alarm bypassed! | 2024.10.16 08:01:12.210 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.16 07:28:32.189 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door alarm bypassed! | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Med | 2024.10.16 07:24:45.875 | AEN_TEP_0303_05_DS | Tunnel Drainage Pump - Duty Selection | Tunnel drainage pit - reduced capability! | 2024.10.16 08:01:12.210 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.16 01:05:51.353 | SDU_TEP_0303_LVT_01 | Tunnel Drainage Pump - Level Transmitter | Tracks at risk of flooding! | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 20:23:29.088 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2024.10.15 07:21:22.134 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 19:34:11.090 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2024.10.15 07:21:24.931 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 18:30:35.301 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable | 2024.10.15 07:21:26.320 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 18:29:36.304 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable | 2024.10.15 07:21:27.635 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 18:29:35.328 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | External Smoke Detected! | 2024.10.15 07:21:28.990 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 10:31:49.172 | _Conn_dist_1_2_to_dist_5_1 | Distributed Server 2 | Connection lost to State Library Server 1 - Link 1 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.14 10:31:49.170 | _Conn_dist_1_2_to_dist_5_1 | Distributed Server 2 | Connection lost to State Library Server 1 - Link 0 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.14 10:31:49.168 | _Conn_dist_1_1_to_dist_5_1 | Distributed Server 1 | Connection lost to State Library Server 1 - Link 1 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.14 10:31:49.167 | _Conn_dist_1_1_to_dist_5_1 | Distributed Server 1 | Connection lost to State Library Server 1 - Link 0 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.14 10:31:49.165 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 10:31:49.163 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 10:31:49.162 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 10:31:49.160 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 10:31:49.159 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.14 10:31:49.157 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.14 10:31:49.155 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.14 10:31:49.153 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.14 10:31:49.140 | _Conn_dist_1_2_to_dist_4_2 | Distributed Server 2 | Connection lost to Parkville Server 2 - Link 1 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 10:31:49.138 | _Conn_dist_1_2_to_dist_4_2 | Distributed Server 2 | Connection lost to Parkville Server 2 - Link 0 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 10:31:49.136 | _Conn_dist_1_1_to_dist_4_2 | Distributed Server 1 | Connection lost to Parkville Server 2 - Link 1 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 10:31:49.135 | _Conn_dist_1_1_to_dist_4_2 | Distributed Server 1 | Connection lost to Parkville Server 2 - Link 0 | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:28:17.615 | PKV_FCU_0309_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2024.10.14 16:29:59.867 | kai_longley |  | 0 | PKV
ACK Med | 2024.10.14 08:07:44.173 | TSC_BMSComm | CBD South TVCS BMS PLC | Lost communication between the TSC TVCS PLC and the BMS PLC. | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:07:32.609 | TNC_BMSComm | CBD North TVCS BMS PLC | Lost communication between the TNC TVCS PLC and the BMS PLC. | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.14 08:07:04.207 | AEN_TNCComm | CBS North TVCS PLC | AEN-TNC TVCS communication link failure. | 2024.10.14 16:29:59.836 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.14 08:07:04.171 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault | 2024.10.14 16:29:59.836 | kai_longley |  | 0 | ARN
ACK Med | 2024.10.14 08:07:01.353 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2024.10.14 16:29:59.855 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 08:07:01.327 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable | 2024.10.14 16:29:59.855 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 08:06:59.997 | TSC_ModeSts | TVCS CBD South Station mode status S08 | Tunnel section ventilation unavailable | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 08:06:59.984 | TSC_ModeSts | TVCS CBD South Station mode status S08 | Over Track Exhaust Unavailable | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 08:06:53.957 | TNC_ModeSts | TVCS CBD North Station mode status S06 | Tunnel section ventilation unavailable | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 08:06:53.945 | TNC_ModeSts | TVCS CBD North Station mode status S06 | Over Track Exhaust Unavailable | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 08:06:15.835 | TSC-W-PSD-026 | Town Hall Platform 1 Zone 3 PSD 26 | Low motor current | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:06:12.219 | TSC-W-PSD-020 | Town Hall Platform 1 Zone 2 PSD 20 | Door control unit communication lost | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:52.364 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | Door control unit communication lost | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:51.650 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | Door control unit communication lost | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:50.229 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | Door control unit communication lost | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:49.525 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | Door control unit communication lost | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:35.799 | SYP-PLC-0001 | South Yarra PLC | PLC system fault | 2024.10.14 16:29:59.881 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 08:05:32.748 | TNC-FIP-0008 | State Library Station SHCIE Panel 8 | No modbus gateway connection | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.14 08:05:32.412 | TSC-FIP-0006 | Town Hall Station SHCIE Panel 6 | No modbus gateway connection | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:32.374 | TNC-FIP-0007 | State Library Station SHCIE Panel 7 | No modbus gateway connection | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.14 08:05:32.035 | TSC-FIP-0005 | Town Hall Station SHCIE Panel 5 | No modbus gateway connection | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:31.994 | TNC-FIP-0006 | State Library Station SHCIE Panel 6 | No modbus gateway connection | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.14 08:05:31.659 | TSC-FIP-0004 | Town Hall Station SHCIE Panel 4 | No modbus gateway connection | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:31.597 | TNC-FIP-0005 | State Library Station SHCIE Panel 5 | No modbus gateway connection | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.14 08:05:31.274 | TSC-FIP-0003 | Town Hall Station SHCIE Panel 3 | No modbus gateway connection | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:31.215 | TNC-FIP-0004 | State Library Station SHCIE Panel 4 | No modbus gateway connection | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.14 08:05:30.897 | TSC-FIP-0002 | Town Hall Station SHCIE Panel 2 | No modbus gateway connection | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:30.805 | TNC-FIP-0003 | State Library Station SHCIE Panel 3 | No modbus gateway connection | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.14 08:05:30.425 | TNC-FIP-0002 | State Library Station SHCIE Panel 2 | No modbus gateway connection | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.14 08:05:30.136 | SDU-FIP-0006 | Cross Passage CDB North FDCIE Panel 2 | No modbus gateway connection | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 08:05:30.118 | SDU-FIP-0005 | Cross Passage CDB North FDCIE Panel 1 | No modbus gateway connection | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | SDU
ACK Med | 2024.10.14 08:05:15.135 | TSC_UPS_0432 | Uninterruptible Power Supply | UPS general fault | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.14 08:05:15.132 | TSC_UPS_0432 | Uninterruptible Power Supply | UPS internal diagnostic fault | 2024.10.14 16:29:59.788 | kai_longley |  | 0 | THL
ACK Med | 2024.10.11 15:20:13.012 | _Conn_event_0_2_to_event_0_1 | State Library Server 2 | Connection lost to Server 2 - Link 0 | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.11 15:20:13.012 | _Conn_event_0_2_to_event_0_1 | State Library Server 2 | Connection lost to Server 2 - Link 1 | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.11 15:20:12.766 | _Conn_event_0_1_to_event_0_2 | MTPKV:_Conn_event_0_1_to_event_0_2. | Connection lost to Server 2 - Link 0 | 2024.10.14 16:29:59.867 | kai_longley |  | 0 | STL
ACK Med | 2024.10.11 15:20:12.766 | _Conn_event_0_1_to_event_0_2 | MTPKV:_Conn_event_0_1_to_event_0_2. | Connection lost to Server 2 - Link 1 | 2024.10.14 16:29:59.867 | kai_longley |  | 0 | STL
ACK Med | 2024.10.11 15:07:57.321 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Communications Fault - State Library Server 1 to State Library TVCS PLC | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.11 15:07:28.640 | _TNC-BMS-PLC3 | MTSTL:_TNC-BMS-PLC3. | Communications Fault - State Library Server 1 to State Library BMS Gateway PLC | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.11 15:07:28.035 | _TNC-BMS-PLC | MTSTL:_TNC-BMS-PLC. | Communications Fault - State Library Server 1 to State Library BMS PLC | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2024.10.11 08:02:23.683 | _Mod_Plc_1 | MTSTL:_Mod_Plc_1. | Communications Fault - State Library Server 1 to State Library PSD Servers | 2024.10.14 10:19:15.600 | eric_maddocks |  | 0 | STL
ACK Med | 2024.10.11 08:02:23.426 | _Mod_Plc_1_2 | MTSTL:_Mod_Plc_1_2. | Communications Fault - State Library Server 2 to State Library PSD Servers | 2024.10.14 10:19:15.600 | eric_maddocks |  | 0 | THL
ACK Med | 2024.09.24 10:35:47.612 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:47.610 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 10:35:46.353 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:46.351 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 10:35:46.348 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:46.346 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 10:35:46.343 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:46.341 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:19.290 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:19.287 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:17.831 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:17.829 | _Mod_Plc_4 | MTTHL:_Mod_Plc_4. | Communications Fault - Town Hall Server 1 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:17.827 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:17.824 | _Mod_Plc_3 | MTTHL:_Mod_Plc_3. | Communications Fault - Town Hall Server 1 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:17.822 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:17.819 | _Mod_Plc_2 | MTTHL:_Mod_Plc_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS Gateway | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.08.26 10:31:47.003 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:46.982 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | ARN
ACK Med | 2021.04.27 16:07:16.369 | _Conn_event_0_2_to_event_0_1 | MTPKV:_Conn_event_0_2_to_event_0_1. | Connection lost to Server 1 - Link 1 | 2024.10.14 16:29:59.867 | kai_longley |  | 0 | PKV
ACK Med | 2021.04.27 16:07:16.368 | _Conn_event_0_1_to_ctrl_1_1 | State Library Server 1 | Control Manager Not Running - pvss_scripts.lst | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Med | 2021.04.27 16:07:16.368 | _Conn_event_0_1_to_driver_1_1 | State Library Server 1 | TVCS PLC Driver Not Running (S7) | 2024.10.14 16:29:59.799 | kai_longley |  | 0 | STL
ACK Low | 2024.10.16 07:34:59.425 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.10.16 08:01:12.151 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.16 07:32:44.605 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator General Fault | 2024.10.16 08:01:12.151 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.16 07:17:44.941 | PKV_DOR_B4_PKV-S-02_2 | East Emergency Stairs - Platform | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.16 06:55:57.432 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.10.16 08:01:12.151 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.16 06:45:58.831 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault | 2024.10.16 08:01:12.133 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.16 06:27:40.321 | AEN_DOR_GF_ESC_STAIR_9_1 | Ground floor east - after hours stairs | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.16 02:07:41.875 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated | 2024.10.16 08:01:12.210 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.15 18:20:20.615 | PKV_DOR_B4_PKV-S-02_3 | East Emergency Stairs - Platform | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 16:15:53.002 | PKV_DOR_B2_151-10_1 | East Fire Lobby Entry - Concourse | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 15:37:11.322 | DMA_DOR_B2_405-4_1 | Platform 1 East - Emergency stairs | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.15 14:16:49.442 | TSC_SDP_0101_LVT_01 | Station Drainage Pump - Level Transmitter | Drainage pit at risk of overflow | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 14:13:16.625 | PKV_FCU_1115_16_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable | 2024.10.16 08:01:12.133 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 13:47:37.446 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2024.10.16 08:01:12.151 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.15 13:40:52.594 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.583 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.583 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.583 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.583 | TSC_LFT_0006 | Lift 6 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.583 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.583 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.583 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.583 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.571 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.571 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.571 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.539 | TSC_ESC_0044 | Escalator 44 Bank 15 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.539 | TSC_ESC_0043 | Escalator 43 Bank 15 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.539 | TSC_ESC_0042 | Escalator 42 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.539 | TSC_ESC_0041 | Escalator 41 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.528 | TSC_ESC_0040 | Escalator 40 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.528 | TSC_ESC_0039 | Escalator 39 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.528 | TSC_ESC_0038 | Escalator 38 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.528 | TSC_ESC_0037 | Escalator 37 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.528 | TSC_ESC_0036 | Escalator 36 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.528 | TSC_ESC_0035 | Escalator 35 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.524 | TSC_ESC_0034 | Escalator 34 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.524 | TSC_ESC_0033 | Escalator 33 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.524 | TSC_ESC_0032 | Escalator 32 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.523 | TSC_ESC_0031 | Escalator 31 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.513 | TSC_ESC_0030 | Escalator 30 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.513 | TSC_ESC_0029 | Escalator 29 Bank 11 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.513 | TSC_ESC_0028 | Escalator 28 Bank 11 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.513 | TSC_ESC_0027 | Escalator 27 Bank 10 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.513 | TSC_ESC_0026 | Escalator 26 Bank 10 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.513 | TSC_ESC_0025 | Escalator 25 Bank 9 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.511 | TSC_ESC_0024 | Escalator 24 Bank 9 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.501 | TSC_ESC_0023 | Escalator 23 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.501 | TSC_ESC_0022 | Escalator 22 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.501 | TSC_ESC_0021 | Escalator 21 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.501 | TSC_ESC_0020 | Escalator 20 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.501 | TSC_ESC_0019 | Escalator 19 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.501 | TSC_ESC_0018 | Escalator 18 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.490 | TSC_ESC_0012 | Escalator 12 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.490 | TSC_ESC_0011 | Escalator 11 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.490 | TSC_ESC_0010 | Escalator 10 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.490 | TSC_ESC_0017 | Escalator 17 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.490 | TSC_ESC_0016 | Escalator 16 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.490 | TSC_ESC_0015 | Escalator 15 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.490 | TSC_ESC_0014 | Escalator 14 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.490 | TSC_ESC_0013 | Escalator 13 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.479 | TSC_ESC_0009 | Escalator 9 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.479 | TSC_ESC_0008 | Escalator 8 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.479 | TSC_ESC_0007 | Escalator 7 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.479 | TSC_ESC_0006 | Escalator 6 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.476 | TSC_ESC_0005 | Escalator 5 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.464 | TSC_ESC_0004 | Escalator 4 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.464 | TSC_ESC_0002 | Escalator 2 Bank 2 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:52.464 | TSC_ESC_0001 | Escalator 1 Bank 1 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:51.591 | TSC_LFT_0017 | Lift 17 BOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:51.591 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:51.587 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:51.576 | TSC_LFT_0014 | Lift 14 BOH (B6 Basement to B3 Basement) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:51.576 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.587 | TSC_LFT_0017 | Lift 17 BOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.587 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.587 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.575 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.575 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.575 | TSC_LFT_0014 | Lift 14 BOH (B6 Basement to B3 Basement) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.575 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.575 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.564 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.564 | TSC_LFT_0006 | Lift 6 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.564 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.564 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.564 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.564 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.564 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.564 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:40:42.563 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 13:37:37.441 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2024.10.16 08:01:12.151 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.15 13:31:05.020 | DMA_DOR_B2_402-4_4 | Platform 1 East - Emergency stairs | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.15 13:26:10.215 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault | 2024.10.16 08:01:12.151 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.15 12:59:43.553 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.10.16 08:01:12.133 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 12:58:17.746 | AEN_DOR_GF_246-1_2 | Ground floor west - loading dock 2 | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.15 11:05:23.240 | AEN_DOR_LG_405-3_2 | Lower ground east - back of house emergency stairs | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.15 10:55:22.196 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD isolated | 2024.10.16 08:01:12.172 | kai_longley |  | 0 | THL
ACK Low | 2024.10.15 10:53:23.222 | _ReduManager_2 | Arden Server 2 | Server 2 - Preferred active | 2024.10.16 08:01:12.210 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 09:26:47.189 | DMA_DOR_B1_406-3_1 | Concourse South - Fire escape corridor | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.15 08:56:30.470 | PKV_DOR_B2_PKV-S-02_1 | East Emergency Stairs - Concourse | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 08:38:12.434 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.10.16 08:01:12.151 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.15 07:27:42.540 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost | 2024.10.16 08:01:12.133 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 07:26:30.528 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator General Fault | 2024.10.16 08:01:12.133 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 07:25:49.907 | AEN_DOR_GF_246-1_1 | Ground floor west - loading dock 1 | Unauthorised access | 2024.10.16 08:01:12.230 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.15 07:19:19.519 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost | 2024.10.15 07:21:40.647 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 07:17:45.532 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator General Fault | 2024.10.15 07:21:40.647 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 07:07:41.516 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost | 2024.10.15 07:21:40.647 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 07:06:20.074 | PKV_DOR_B2_406-14_2 | East Fire Escape Corridor - Concourse | Unauthorised access | 2024.10.15 07:21:40.661 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 07:05:31.529 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator General Fault | 2024.10.15 07:21:40.647 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 06:51:28.532 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost | 2024.10.15 07:21:40.647 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.15 06:50:53.524 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator General Fault | 2024.10.15 07:21:40.647 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 19:17:58.560 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault | 2024.10.14 20:16:56.692 | devin_long |  | 0 | PKV
ACK Low | 2024.10.14 14:54:46.695 | _ReduManager_2 | Distributed Server 2 | Server 2 - Set active automatically | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 14:49:32.997 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.10.14 16:30:16.447 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 13:41:07.613 | PKV_DOR_B4_PKV-S-01_1 | West Emergency Stairs - Platform | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 10:54:59.511 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 10:53:02.438 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 10:31:49.121 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 10:31:49.118 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.14 10:31:49.112 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 10:31:49.109 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.14 10:17:29.569 | PAE_DOR_W_3 | PAE West Tunnel Door 3 | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 09:55:33.011 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault | 2024.10.14 16:30:16.409 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 09:40:28.083 | TSC-W-PSD-002 | Town Hall Platform 1 Zone 1 PSD 02 | PSD isolated | 2024.10.14 16:30:16.401 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 08:32:32.816 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.10.14 14:38:17.904 | emilio_ito |  | 0 | PKV
ACK Low | 2024.10.14 08:32:32.572 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.10.14 14:38:12.377 | emilio_ito |  | 0 | PKV
ACK Low | 2024.10.14 08:32:32.108 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.10.14 14:22:47.120 | emilio_ito |  | 0 | PKV
ACK Low | 2024.10.14 08:30:23.691 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.10.14 16:30:16.447 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:30:22.803 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.10.14 16:30:16.447 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:30:21.914 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.10.14 14:37:44.801 | emilio_ito |  | 0 | PKV
ACK Low | 2024.10.14 08:30:21.027 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost | 2024.10.14 16:30:16.447 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:30:20.141 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost | 2024.10.14 16:30:16.447 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:29:19.096 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | Speaker fault | 2024.10.14 16:30:16.447 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:29:18.868 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | PSD isolated | 2024.10.14 16:30:16.447 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:29:12.113 | PKV-W-PSD-009 | Parkville Platform 1 Zone 1 PSD 09 | PSD isolated | 2024.10.14 16:30:16.447 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:10:42.221 | AEN-SPE-0404 | B1, AEN-SPE-0404, 151-10 BOH Corridor | Heat or smoke detector fault | 2024.10.14 16:30:16.409 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.14 08:09:58.687 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:58.567 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:58.416 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:58.297 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:58.147 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:58.023 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:57.873 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:57.744 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:57.597 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:57.418 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:57.252 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:57.127 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:56.977 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:56.848 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:56.693 | TNC_LFT_0011 | Lift 11 BOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:56.568 | TNC_LFT_0011 | Lift 11 BOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:56.417 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:56.294 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:56.145 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:56.021 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:55.867 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:55.735 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:55.588 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:55.468 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:55.321 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:55.198 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:55.053 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:54.925 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:54.764 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:54.640 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:54.495 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:54.368 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:54.219 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:54.092 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:53.940 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:53.806 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:09:52.380 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift General Fault | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:09:51.348 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:09:51.303 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:09:51.097 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:09:51.037 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:09:50.829 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:09:50.769 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift monitoring lost | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:09:49.794 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:09:49.528 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:09:49.328 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift monitoring lost | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:09:44.592 | AEN-SPE-0090 | B1, AEN-SPE-0090, 151-10 BOH Corridor | Heat or smoke detector fault | 2024.10.14 16:30:16.409 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.14 08:08:44.951 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault | 2024.10.14 09:41:51.650 | chris_lawson |  | 0 | ARN
ACK Low | 2024.10.14 08:08:44.883 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.10.14 09:41:51.650 | chris_lawson |  | 0 | ARN
ACK Low | 2024.10.14 08:08:43.617 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault | 2024.10.14 16:30:16.409 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.14 08:07:40.041 | TSC_TEXB | Tunnel Ambient Temperature Control | Tunnel B - Ambient Temperature Control Unavailable | 2024.10.14 16:30:16.401 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 08:07:28.951 | TNC_TEXB | Tunnel Ambient Temperature Control | Temperature Sensors B - Discrepancy | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:06:37.995 | TSC_TEXA | Tunnel Ambient Temperature Control | Tunnel A - Ambient Temperature Control Unavailable | 2024.10.14 16:30:16.401 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 08:06:33.359 | TNC_TEXA | Tunnel Ambient Temperature Control | Tunnel A - Ambient Temperature Control Unavailable | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:06:20.417 | TSC_HCS_0002 | Staff Protection/Rail Occupancy Status - Town Hall Signal 02 | Staff Protection Switch activated | 2024.10.14 16:30:16.401 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 08:06:20.403 | TSC_HCS_0001 | Staff Protection/Rail Occupancy Status - Town Hall Signal 01 | Staff Protection Switch activated | 2024.10.14 16:30:16.401 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 08:06:14.203 | TNC_HCS_0002 | Staff Protection/Rail Occupancy Status - State Library Signal 02 | Staff Protection Switch activated | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:06:14.189 | TNC_HCS_0001 | Staff Protection/Rail Occupancy Status - State Library Signal 01 | Staff Protection Switch activated | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:06:08.881 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD isolated | 2024.10.14 16:30:16.401 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 08:05:57.712 | TNC-W-PSD-004 | State Library Platform 1 Zone 1 PSD 04 | PSD isolated | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:05:56.537 | TNC-W-PSD-002 | State Library Platform 1 Zone 1 PSD 02 | PSD isolated | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:05:53.088 | TNC-E-PSD-026 | State Library Platform 2 Zone 3 PSD 26 | PSD isolated | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:05:52.087 | DMA-W-PSD-004 | Anzac Platform 1 Zone 1 PSD 04 | PSD isolated | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:05:51.583 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD isolated | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:05:50.642 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated | 2024.10.14 16:30:16.401 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 08:05:48.302 | TNC-E-PSD-018 | State Library Platform 2 Zone 2 PSD 18 | PSD isolated | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:05:46.829 | DMA-E-PSD-023 | Anzac Platform 2 Zone 3 PSD 23 | PSD isolated | 2024.10.14 16:30:16.434 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:05:45.875 | TNC-E-PSD-014 | State Library Platform 2 Zone 2 PSD 14 | PSD isolated | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:05:44.735 | AEN-E-PSD-020 | Arden Platform 2 Zone 2 PSD 20 | PSD isolated | 2024.10.14 16:30:16.409 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.14 08:05:41.941 | SYP-LS-1020 | Junction Box JB1004 Tamper Input | PLC Power Supply fault | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:41.883 | SYP-LS-1019 | Junction Box JB1003 Tamper Input | PLC Power Supply fault | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:40.217 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD isolated | 2024.10.14 16:30:16.401 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 08:05:39.550 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD isolated | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | STL
ACK Low | 2024.10.14 08:05:37.483 | S_99_1_14861 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.466 | S_98_1_14851 | Traction Section Anzac to South yarra section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.449 | S_97_3_14813 | Traction Section Anzac Station section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.437 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated | 2024.10.14 16:30:16.401 | kai_longley |  | 0 | THL
ACK Low | 2024.10.14 08:05:37.431 | S_97_1_14811 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.413 | S_96_3_14803 | Traction Section Anzac Station section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.396 | S_96_1_14801 | Traction Section Town Hall to Anzac section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.375 | S_95_5_14765 | Traction Section Town Hall Station section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.358 | S_95_3_14763 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.340 | S_95_1_14761 | Traction Section State Library Station section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.323 | S_94_5_14755 | Traction Section Town Hall Station section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.306 | S_94_3_14753 | Traction Section State Library to Town hall section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.288 | S_94_1_14751 | Traction Section State Library Station section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.271 | S_93_3_14713 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.250 | S_93_1_14711 | Traction Section Parkville Station section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.233 | S_92_3_14703 | Traction Section Parkville to State Library section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.215 | S_92_1_14701 | Traction Section Parkville Station section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.198 | S_91_3_14663 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.181 | S_91_1_14661 | Traction Section Arden Station section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.164 | S_90_3_14653 | Traction Section Arden to Parkville section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.146 | S_90_1_14651 | Traction Section Arden Station section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.127 | S_89_1_14611 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:37.108 | S_88_1_14601 | Traction Section Footscray west to Arden section A | Section Traction Power status Unknown | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.14 08:05:34.414 | PKV_ROL_GF_PKV-VCCC_1 | VCCC Entry Roller Door | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:05:34.408 | PKV_ROL_GF_PKV-RPDE_1 | Royal Parade Entry Roller Door | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:05:34.402 | PKV_ROL_GF_PKV-RMH_1 | RMH Entry Roller Door | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:05:28.228 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:05:28.206 | PKV_DOR_B3_PKV-S-03_3 | West Upper Emergency Stairs - Basement | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:05:28.170 | PKV_DOR_B3_151-18_1 | West Fire Escape Corridor - Basement | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:05:28.164 | PKV_DOR_B2_PKV-S-03_3 | West Emergency Stairs - Concourse | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:05:28.157 | PKV_DOR_B2_PKV-S-03_1 | West Emergency Stairs - Concourse | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:05:28.137 | PKV_DOR_B2_405-5_1 | West Emergency Corrdidor - Concourse | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:05:28.119 | PKV_DOR_B2_151-15_1 | East BOH Corridor Entry - Concourse | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | PKV
ACK Low | 2024.10.14 08:05:27.410 | DMA_DOR_B1_ST05_1 | Concourse East - Emergency stairs | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:05:27.382 | DMA_DOR_B1_212-1_1 | Concourse - Office access | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:05:27.369 | DMA_DOR_B1_151-5_3 | Concourse East - Back of House East corridor | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:05:27.349 | DMA_DOR_B1_151-1_1 | Concourse West - Fire escape corridor | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | AZC
ACK Low | 2024.10.14 08:05:27.242 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.14 08:05:27.183 | AEN_DOR_GF_151-12_1 | Ground floor east - office stairs | Unauthorised access | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | ARN
ACK Low | 2024.10.14 08:05:25.602 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. | 2024.10.14 16:30:16.462 | kai_longley |  | 0 | SDU
ACK Low | 2024.10.11 15:20:12.904 | _ReduManager_2 | State Library Server 2 | Server 2 - Active - No connection to redundant peer | 2024.10.14 16:30:16.384 | kai_longley |  | 0 | THL