## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
1 | 2025.03.24 13:34:28.781 | AEN-Z-35113 | ZONE 35113: B1, AEN-G-10 UPS/BATT RM A - ASD Fire 1 | Confirmed fire! |  |  |  | 0 | ARN
1 | 2025.03.24 13:34:16.847 | AEN-Z-35111 | ZONE 35111: B1, AEN-G-10 UPS/BATT ROOM A | Confirmed fire! |  |  |  | 0 | ARN
1 | 2025.03.24 13:03:22.541 | TSC_OFN_0001_03_DS | Royston Pl OTE shaft | All fans inoperative! |  |  |  | 0 | THL
1 | 2025.03.24 13:03:12.541 | TSC_TFN_0201_03_DS | Royston Pl TVF shaft | All fans inoperative! |  |  |  | 0 | THL
1 | 2025.03.24 13:03:01.538 | TSC_TFN_0101_03_DS | Flinders Ln TVF shaft | All fans inoperative! |  |  |  | 0 | THL
1 | 2025.03.24 13:00:11.536 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | THL
1 | 2025.03.24 13:00:11.536 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | THL
1 | 2025.03.24 12:28:57.729 | TNC_TFN_0201_03_DS | LaTrobe St TVF shaft | All fans inoperative! |  |  |  | 0 | SDU
1 | 2025.03.24 12:28:34.723 | TNC_OFN_0001_03_DS | AâBeckett St OTE shaft | All fans inoperative! |  |  |  | 0 | SDU
1 | 2025.03.24 13:35:08.742 | AEN-FIP-0003 | Arden Station Fire Panel 2 | No modbus gateway connection |  |  |  | 0 | ARN
1 | 2025.03.24 13:03:22.541 | TSC_ModeSts | TVCS CBD South Station mode status S08 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
1 | 2025.03.24 13:03:01.538 | TSC_ModeSts | TVCS CBD South Station mode status S08 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
1 | 2025.03.24 12:28:34.723 | TNC_ModeSts | TVCS CBD North Station mode status S06 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
1 | 2025.03.24 10:51:53.844 | AEN_FCU_1005_06_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  |  | 0 | ARN
1 | 2025.03.24 13:40:44.572 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault |  |  |  | 0 | THL
1 | 2025.03.24 13:37:44.030 | DMA_ESC_0008 | Escalator 8 Bank 6 (Street to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
1 | 2025.03.24 12:19:29.560 | TSC_LFT_0006 | Lift 6 FOH (B3 Basement to GF Ground Floor) | Lift General Fault |  |  |  | 0 | THL
1 | 2025.03.24 10:47:46.482 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift monitoring lost |  |  |  | 0 | THL
1 | 2025.03.24 10:20:45.652 | DMA_DOR_GF_GF_1 | Ground floor Shrine - Emergency stairs | Unauthorised access |  |  |  | 0 | AZC
1 | 2025.03.24 10:07:54.977 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
1 | 2025.03.24 06:41:36.724 | TNC_TFN_0101_03_DS | Franklin St TVF shaft | All fans inoperative! | 2025.03.24 07:56:59.231 | kai_longley |  | 0 | SDU
1 | 2025.03.22 20:16:39.151 | AEN_TFN_0201_03_DS | Laurens St TVF shaft | Tunnel Section 03 Arden End - Ventilation Unavailable! | 2025.03.24 07:57:02.801 | kai_longley |  | 0 | SDU
1 | 2025.03.22 20:16:29.155 | AEN_OFN_0201_02_DS | Laurens St OTE shaft | Arden - East End Over Track Ventilation Unavailable! | 2025.03.24 07:57:03.973 | kai_longley |  | 0 | SDU
1 | 2025.03.22 20:16:23.151 | AEN_OFN_0101_02_DS | Fogarty St OTE shaft | Arden - West End Over Track Ventilation Unavailable! | 2025.03.24 07:57:05.077 | kai_longley |  | 0 | SDU
1 | 2025.03.22 20:16:18.108 | AEN_TFN_0101_03_DS | Fogarty St TVF shaft | Tunnel Section 01 - Ventilation Unavailable! | 2025.03.24 07:57:06.209 | kai_longley |  | 0 | SDU
1 | 2025.03.22 20:14:09.311 | PKV_TFN_0201_03_DS | Leicester St TVF shaft | All fans inoperative! | 2025.03.24 07:57:07.312 | kai_longley |  | 0 | PKV
1 | 2025.03.22 20:13:58.326 | PKV_OFN_0001_03_DS | Kernot Rd OTE shaft | All fans inoperative! | 2025.03.24 07:57:08.412 | kai_longley |  | 0 | PKV
1 | 2025.03.22 20:13:47.313 | PKV_TFN_0101_03_DS | Barry St TVF shaft | All fans inoperative! | 2025.03.24 07:57:09.514 | kai_longley |  | 0 | PKV
1 | 2025.03.22 18:51:22.314 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2025.03.24 07:57:10.690 | kai_longley |  | 0 | SDU
1 | 2025.03.21 18:06:33.498 | DMA_TFN_0201_03_DS | Bowen Ln TVF shaft | All fans inoperative! | 2025.03.24 07:57:11.870 | kai_longley |  | 0 | AZC
1 | 2025.03.21 18:06:20.497 | DMA_OFN_0201_02_DS | Bowen Ln OTE shaft | All fans inoperative! | 2025.03.24 07:57:12.915 | kai_longley |  | 0 | AZC
1 | 2025.03.21 18:06:13.502 | DMA_OFN_0101_02_DS | Albert Rd OTE shaft | All fans inoperative! | 2025.03.24 07:57:42.473 | kai_longley |  | 0 | AZC
1 | 2025.03.21 18:06:07.492 | DMA_TFN_0101_03_DS | Albert Rd TVF shaft | All fans inoperative! | 2025.03.24 07:57:43.740 | kai_longley |  | 0 | AZC
1 | 2025.03.21 17:28:02.498 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2025.03.24 07:57:53.437 | kai_longley |  | 0 | SDU
1 | 2025.03.21 17:28:02.498 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2025.03.24 07:57:54.526 | kai_longley |  | 0 | SDU
1 | 2025.03.21 10:27:37.232 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | Anzac station haven't ack'd an important alarm! | 2025.03.24 07:57:55.921 | kai_longley |  | 0 | SDU
1 | 2025.03.21 10:20:36.373 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Parkville station haven't ack'd an important alarm! | 2025.03.24 07:57:57.076 | kai_longley |  | 0 | SSC
1 | 2025.03.21 10:19:29.851 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | State Library station haven't ack'd an important alarm! | 2025.03.24 07:57:58.194 | kai_longley |  | 0 | SDU
1 | 2025.03.21 09:51:11.397 | PKV_FOLLOWUP | Parkville Follow up alarm | Metrol haven't ack'd an important alarm! | 2025.03.21 14:22:38.743 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.21 09:16:17.112 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | Arden station haven't ack'd an important alarm! | 2025.03.24 07:57:59.367 | kai_longley |  | 0 | SDU
1 | 2025.03.21 08:35:27.688 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | Parkville station haven't ack'd an important alarm! | 2025.03.24 07:58:01.696 | kai_longley |  | 0 | SDU
1 | 2025.03.21 08:27:08.550 | TNC_TEP_0305_06_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.03.21 08:30:12.259 | kai_longley |  | 0 | SDU
1 | 2025.03.12 21:26:09.450 | TSC_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.03.13 07:12:46.097 | kai_longley |  | 0 | SDU
1 | 2025.03.12 01:40:07.727 | TNC_OCN_0201_02_DS | Lt LaTrobe St OCE shaft | All fans inoperative! | 2025.03.13 07:13:11.206 | kai_longley |  | 0 | SDU
1 | 2025.03.11 09:48:49.222 | TNC_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.03.13 07:13:25.479 | kai_longley |  | 0 | SDU
1 | 2025.03.11 09:48:49.210 | TNC_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.03.13 07:13:26.995 | kai_longley |  | 0 | SDU
1 | 2025.03.11 09:46:40.232 | TSC_FOLLOWUP | Town Hall Follow up alarm | Town Hall station haven't ack'd an important alarm! | 2025.03.13 07:13:47.721 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:46:40.217 | TNC_FOLLOWUP | State Library Follow up alarm | State Library station haven't ack'd an important alarm! | 2025.03.13 07:13:50.868 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:46:40.198 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Arden station haven't ack'd an important alarm! | 2025.03.13 07:13:57.878 | kai_longley |  | 0 | SSC
1 | 2025.03.11 09:46:39.973 | DMA_FOLLOWUP | Domain Follow up alarm | Metrol haven't ack'd an important alarm! | 2025.03.13 07:14:04.504 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:46:39.962 | AEN_FOLLOWUP | Arden Follow up alarm | Arden station haven't ack'd an important alarm! | 2025.03.13 07:14:11.506 | kai_longley |  | 0 | ARN
1 | 2025.03.11 09:46:35.990 | PDM_ROL_RNERV_W | RNERV Enclosure Door - Eastern Portal, West Tunnel | RNERV crane arm extended over tracks! | 2025.03.13 07:14:13.062 | kai_longley |  | 0 | SDU
1 | 2025.03.11 09:40:46.562 | TNC_OCN_0101_02_DS | Franklin St OCE shaft | All fans inoperative! | 2025.03.13 07:16:17.988 | kai_longley |  | 0 | SDU
1 | 2025.03.11 09:40:45.297 | TSC_OCN_0101_02_DS | Flinders Ln OTE shaft | All fans inoperative! | 2025.03.13 07:16:19.478 | kai_longley |  | 0 | THL
1 | 2025.03.22 20:16:29.155 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable | 2025.03.24 07:58:41.190 | kai_longley |  | 0 | SDU
1 | 2025.03.22 20:16:18.108 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable | 2025.03.24 07:58:41.190 | kai_longley |  | 0 | SDU
1 | 2025.03.22 20:13:58.326 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2025.03.24 07:58:41.193 | kai_longley |  | 0 | SDU
1 | 2025.03.22 20:13:47.313 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2025.03.24 07:58:41.193 | kai_longley |  | 0 | SDU
1 | 2025.03.22 16:28:54.182 | PKV_FCU_0307_08_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2025.03.24 07:58:41.193 | kai_longley |  | 0 | PKV
1 | 2025.03.21 21:20:35.698 | TSC-W-PSD-015 | Town Hall Platform 1 Zone 2 PSD 15 | Door control unit fault | 2025.03.24 07:58:41.098 | kai_longley |  | 0 | THL
1 | 2025.03.21 18:06:20.497 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable | 2025.03.24 07:58:41.195 | kai_longley |  | 0 | SDU
1 | 2025.03.21 18:06:07.492 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2025.03.24 07:58:41.195 | kai_longley |  | 0 | SDU
1 | 2025.03.21 18:02:12.713 | TNC_ModeSts | TVCS CBD North Station mode status S06 | Tunnel section ventilation unavailable | 2025.03.24 07:58:41.095 | kai_longley |  | 0 | SDU
1 | 2025.03.14 18:18:33.129 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | No modbus gateway connection | 2025.03.16 16:54:52.267 | kai_longley |  | 0 | AZC
1 | 2025.03.14 15:48:46.938 | WPZ-FIP-0001 | Western Portal Main Fire Panel | No modbus gateway connection | 2025.03.16 16:54:52.261 | kai_longley |  | 0 | SDU
1 | 2025.03.14 15:48:46.938 | WPZ-FIP-0002 | Western Portal Station Fire Panel | No modbus gateway connection | 2025.03.16 16:54:52.261 | kai_longley |  | 0 | SDU
1 | 2025.03.14 15:48:46.938 | WPZ-FIP-0003 | Western Portal Station Fire Panel | No modbus gateway connection | 2025.03.16 16:54:52.261 | kai_longley |  | 0 | SDU
1 | 2025.03.11 10:44:49.086 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | THL
1 | 2025.03.11 10:44:49.085 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | THL
1 | 2025.03.11 10:44:49.083 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | THL
1 | 2025.03.11 10:44:49.081 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | THL
1 | 2025.03.11 10:44:49.080 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | ARN
1 | 2025.03.11 10:44:49.078 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | ARN
1 | 2025.03.11 10:44:49.076 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | ARN
1 | 2025.03.11 10:44:49.075 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | ARN
1 | 2025.03.11 09:45:27.480 | TNC-FIP-0001 | State Library Station FDCIE Panel | Modbus redundancy loss | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:27.216 | TNC-FIP-0001 | State Library Station FDCIE Panel | No modbus gateway connection | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:40:57.885 | TNC-FIP-0008 | State Library Station SHCIE Panel 8 | No modbus gateway connection | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:40:57.641 | TSC-FIP-0006 | Town Hall Station SHCIE Panel 6 | No modbus gateway connection | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:40:57.349 | TNC-FIP-0007 | State Library Station SHCIE Panel 7 | No modbus gateway connection | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:40:57.181 | TSC-FIP-0005 | Town Hall Station SHCIE Panel 5 | No modbus gateway connection | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:40:56.816 | TNC-FIP-0006 | State Library Station SHCIE Panel 6 | No modbus gateway connection | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:40:56.722 | TSC-FIP-0004 | Town Hall Station SHCIE Panel 4 | No modbus gateway connection | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:40:56.279 | TNC-FIP-0005 | State Library Station SHCIE Panel 5 | No modbus gateway connection | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:40:56.263 | TSC-FIP-0003 | Town Hall Station SHCIE Panel 3 | No modbus gateway connection | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:40:55.801 | TSC-FIP-0002 | Town Hall Station SHCIE Panel 2 | No modbus gateway connection | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:40:55.744 | TNC-FIP-0004 | State Library Station SHCIE Panel 4 | No modbus gateway connection | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:40:55.207 | TNC-FIP-0003 | State Library Station SHCIE Panel 3 | No modbus gateway connection | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:40:54.677 | TNC-FIP-0002 | State Library Station SHCIE Panel 2 | No modbus gateway connection | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:40:54.258 | SDU-FIP-0006 | Cross Passage CDB North FDCIE Panel 2 | No modbus gateway connection | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | SDU
1 | 2025.03.11 09:40:54.247 | SDU-FIP-0005 | Cross Passage CDB North FDCIE Panel 1 | No modbus gateway connection | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | SDU
1 | 2025.03.24 07:06:15.424 | DMA_DOR_GF_GF_3 | Ground floor Albert - Emergency egress | Unauthorised access | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | AZC
1 | 2025.03.24 06:58:32.135 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault | 2025.03.24 07:59:06.577 | kai_longley |  | 0 | PKV
1 | 2025.03.24 06:34:09.590 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift General Fault | 2025.03.24 07:59:06.547 | kai_longley |  | 0 | STL
1 | 2025.03.24 00:34:18.483 | S_98_1_14851 | Traction Section Anzac to South yarra section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.483 | S_99_1_14861 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.482 | S_94_5_14755 | Traction Section Town Hall Station section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.482 | S_95_1_14761 | Traction Section State Library Station section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.482 | S_95_3_14763 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.482 | S_95_5_14765 | Traction Section Town Hall Station section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.482 | S_96_1_14801 | Traction Section Town Hall to Anzac section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.482 | S_96_3_14803 | Traction Section Anzac Station section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.482 | S_97_1_14811 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.482 | S_97_3_14813 | Traction Section Anzac Station section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.481 | S_91_3_14663 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.481 | S_92_1_14701 | Traction Section Parkville Station section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.481 | S_92_3_14703 | Traction Section Parkville to State Library section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.481 | S_93_1_14711 | Traction Section Parkville Station section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.481 | S_93_3_14713 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.481 | S_94_1_14751 | Traction Section State Library Station section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.481 | S_94_3_14753 | Traction Section State Library to Town hall section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.480 | S_88_1_14601 | Traction Section Footscray west to Arden section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.480 | S_89_1_14611 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.480 | S_90_1_14651 | Traction Section Arden Station section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.480 | S_90_3_14653 | Traction Section Arden to Parkville section A | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.480 | S_91_1_14661 | Traction Section Arden Station section B | Section Traction Power status Unknown | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:18.477 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:15.404 | SDU_SYS_0001 | ESS conection status | PSS 2 connection 1 lost | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:15.404 | SDU_SYS_0001 | ESS conection status | All connections lost | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.24 00:34:15.376 | SDU_SYS_0001 | ESS conection status | PSS 1 connection 1 lost | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | SDU
1 | 2025.03.22 12:12:27.523 | PKV_DOR_B2_PKV-S-03_3 | West Emergency Stairs - Concourse | Unauthorised access | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | PKV
1 | 2025.03.22 11:14:18.112 | PKV_DOR_B3_PKV-S-03_3 | West Upper Emergency Stairs - Basement | Unauthorised access | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | PKV
1 | 2025.03.22 11:05:12.238 | PKV_DOR_B3_151-18_1 | West Fire Escape Corridor - Basement | Unauthorised access | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | PKV
1 | 2025.03.22 10:00:03.378 | DMA_DOR_B1_151-5_4 | Concourse East - Back of house East corridor | Unauthorised access | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | AZC
1 | 2025.03.22 09:10:56.076 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2025.03.24 07:59:06.635 | kai_longley |  | 0 | AZC
1 | 2025.03.22 08:27:04.488 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.03.24 07:59:06.583 | kai_longley |  | 0 | THL
1 | 2025.03.22 08:27:04.487 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2025.03.24 07:59:06.583 | kai_longley |  | 0 | THL
1 | 2025.03.22 08:26:52.494 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.03.24 07:59:06.583 | kai_longley |  | 0 | THL
1 | 2025.03.22 08:26:52.494 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2025.03.24 07:59:06.583 | kai_longley |  | 0 | THL
1 | 2025.03.22 07:25:35.420 | PKV_DOR_B3_PKV-S-03_1 | West Upper Emergency Stairs - Basement | Unauthorised access | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | PKV
1 | 2025.03.22 07:07:41.197 | TSC-W-PSD-015 | Town Hall Platform 1 Zone 2 PSD 15 | PSD isolated | 2025.03.24 07:59:06.583 | kai_longley |  | 0 | THL
1 | 2025.03.21 14:31:00.039 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically | 2025.03.24 07:59:06.610 | kai_longley |  | 0 | ARN
1 | 2025.03.21 13:39:20.588 | TSC_LFT_0017 | Lift 17 BOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.03.24 07:59:06.583 | kai_longley |  | 0 | THL
1 | 2025.03.21 13:35:24.691 | PKV_DOR_B2_406-14_2 | East Fire Escape Corridor - Concourse | Unauthorised access | 2025.03.21 14:30:17.649 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.21 11:11:00.341 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2025.03.21 14:30:17.477 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.21 11:11:00.341 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault | 2025.03.21 14:30:17.477 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.21 10:51:29.549 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift General Fault | 2025.03.21 11:32:31.445 | kai_longley |  | 0 | THL
1 | 2025.03.21 08:40:00.870 | DMA_DOR_B1_ST01_2 | Concourse West - Emergency stairs | Unauthorised access | 2025.03.21 14:30:17.649 | kasturi_jathar |  | 0 | AZC
1 | 2025.03.21 06:22:42.497 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.21 06:21:41.544 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.20 17:47:26.418 | TSC_ESC_0009 | Escalator 9 Bank 5 (Concourse to Platforms) | Escalator General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.20 17:46:06.420 | TSC_ESC_0011 | Escalator 11 Bank 5 (Concourse to Platforms) | Escalator General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.20 17:20:25.456 | TSC_ESC_0008 | Escalator 8 Bank 4 (Concourse to Platforms) | Escalator General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.20 17:19:33.466 | TSC_ESC_0006 | Escalator 6 Bank 4 (Concourse to Platforms) | Escalator General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.20 13:39:48.870 | PKV_DOR_B4_PKV-S-01_3 | West Emergency Stairs - Platform | Unauthorised access | 2025.03.21 08:26:06.232 | kai_longley |  | 0 | PKV
1 | 2025.03.20 10:02:08.194 | DMA_DOR_B1_151-5_2 | Concourse East - Back of house corridor | Unauthorised access | 2025.03.21 08:26:06.232 | kai_longley |  | 0 | AZC
1 | 2025.03.20 08:34:58.459 | PKV_DOR_B2_151-15_1 | East BOH Corridor Entry - Concourse | Unauthorised access | 2025.03.21 08:26:06.232 | kai_longley |  | 0 | PKV
1 | 2025.03.19 12:25:48.410 | TSC_ESC_0007 | Escalator 7 Bank 4 (Concourse to Platforms) | Escalator General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.19 11:40:57.458 | TSC_ESC_0010 | Escalator 10 Bank 5 (Concourse to Platforms) | Escalator General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.19 11:22:04.407 | TSC_ESC_0003 | Escalator 3 Bank 3 (Concourse to Platforms) | Escalator General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.19 11:18:44.410 | TSC_ESC_0004 | Escalator 4 Bank 3 (Concourse to Platforms) | Escalator General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.19 11:15:46.414 | TSC_ESC_0005 | Escalator 5 Bank 3 (Concourse to Platforms) | Escalator General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.19 11:10:36.402 | TSC_ESC_0001 | Escalator 1 Bank 1 (Concourse to Platforms) | Escalator General Fault | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.19 11:05:38.415 | TSC_ESC_0002 | Escalator 2 Bank 2 (Concourse to Platforms) | Escalator stopped (brake mechanism fault) | 2025.03.21 08:26:06.199 | kai_longley |  | 0 | THL
1 | 2025.03.19 10:30:20.859 | AEN_ESC_0001 | Escalator 1 Bank 1 (Concourse to Platforms) | Escalator General Fault | 2025.03.19 12:59:40.986 | oumadevi_mantilla |  | 0 | ARN
1 | 2025.03.18 09:52:12.479 | TSC_ESC_0002 | Escalator 2 Bank 2 (Concourse to Platforms) | Escalator General Fault | 2025.03.18 21:56:57.189 | kai_longley |  | 0 | THL
1 | 2025.03.18 09:43:28.618 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2025.03.18 21:56:57.189 | kai_longley |  | 0 | THL
1 | 2025.03.18 09:31:04.551 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.03.18 21:56:57.189 | kai_longley |  | 0 | THL
1 | 2025.03.18 09:31:04.551 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2025.03.18 21:56:57.189 | kai_longley |  | 0 | THL
1 | 2025.03.17 15:14:55.734 | PKV_DOR_B2_402-3_3 | East Emergency Stairs - Concourse | Unauthorised access | 2025.03.17 16:12:55.187 | luke_jennings |  | 0 | PKV
1 | 2025.03.17 14:11:47.567 | _ReduManager_2 | Anzac Server 2 | Server 2 - Set active automatically | 2025.03.17 14:47:21.200 | luke_jennings |  | 0 | ARN
1 | 2025.03.17 12:44:02.015 | TNC_SYS_0002 | State Library FDS PLC connection status | PSS 2 connection 1 lost | 2025.03.17 16:46:04.096 | luke_jennings |  | 0 | STL
1 | 2025.03.17 12:44:02.015 | TNC_SYS_0002 | State Library FDS PLC connection status | All connections lost | 2025.03.17 16:46:04.096 | luke_jennings |  | 0 | STL
1 | 2025.03.17 12:43:50.516 | TNC_SYS_0002 | State Library FDS PLC connection status | PSS 1 connection 1 lost | 2025.03.17 16:46:04.096 | luke_jennings |  | 0 | STL
1 | 2025.03.17 11:44:08.769 | TNC_SYS_0001 | State Library FDS (Modbus) connection status | PSS 2 connection 1 lost | 2025.03.17 16:46:04.096 | luke_jennings |  | 0 | STL
1 | 2025.03.17 11:44:08.769 | TNC_SYS_0001 | State Library FDS (Modbus) connection status | All connections lost | 2025.03.17 16:46:04.096 | luke_jennings |  | 0 | STL
1 | 2025.03.17 11:44:08.765 | TNC_SYS_0001 | State Library FDS (Modbus) connection status | PSS 1 connection 1 lost | 2025.03.17 16:46:04.096 | luke_jennings |  | 0 | STL
1 | 2025.03.17 09:03:07.532 | PKV_DOR_B4_PKV-S-02_2 | East Emergency Stairs - Platform | Unauthorised access | 2025.03.17 14:47:38.971 | luke_jennings |  | 0 | PKV
1 | 2025.03.17 07:45:42.442 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panel(s) in the station have a fault | 2025.03.17 14:47:38.894 | luke_jennings |  | 0 | PKV
1 | 2025.03.15 06:59:22.806 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift General Fault | 2025.03.16 16:55:00.197 | kai_longley |  | 0 | STL
1 | 2025.03.15 06:59:22.806 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2025.03.16 16:55:00.197 | kai_longley |  | 0 | STL
1 | 2025.03.15 06:19:13.719 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift General Fault | 2025.03.16 16:55:00.197 | kai_longley |  | 0 | STL
1 | 2025.03.14 15:57:42.360 | PKV_DOR_B3_PKV-S-01_1 | West Lower Emergency Stairs - Basement | Unauthorised access | 2025.03.16 16:55:00.209 | kai_longley |  | 0 | PKV
1 | 2025.03.14 15:49:44.255 | PKV_DOR_B2_PKV-S-03_1 | West Emergency Stairs - Concourse | Unauthorised access | 2025.03.16 16:55:00.209 | kai_longley |  | 0 | PKV
1 | 2025.03.14 13:13:03.460 | AEN-ASD-0009 | L2, AEN-ASD-0009, Entrance C/S - F1 | Aspirating smoke detector fault | 2025.03.16 16:55:00.172 | kai_longley |  | 0 | ARN
1 | 2025.03.14 13:07:51.184 | AEN_SYS_0005 | Arden BMS PLC connection status | PSS 1 connection 1 lost | 2025.03.16 16:55:07.860 | kai_longley |  | 0 | ARN
1 | 2025.03.14 13:07:50.362 | AEN_SYS_0006 | Arden gateway PLC connection status | PSS 1 connection 1 lost | 2025.03.16 16:55:07.860 | kai_longley |  | 0 | ARN
1 | 2025.03.14 13:07:50.041 | AEN_SYS_0002 | Arden FDS PLC connection status | PSS 1 connection 1 lost | 2025.03.16 16:55:07.860 | kai_longley |  | 0 | ARN
1 | 2025.03.14 13:07:50.018 | PAE_SYS_0001 | Western portal BMS PLC connection status | PSS 1 connection 1 lost | 2025.03.16 16:55:07.860 | kai_longley |  | 0 | SDU
1 | 2025.03.14 07:36:49.072 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2025.03.16 16:55:07.838 | kai_longley |  | 0 | AZC
1 | 2025.03.14 07:30:28.151 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2025.03.16 16:55:07.838 | kai_longley |  | 0 | AZC
1 | 2025.03.13 14:06:44.288 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault | 2025.03.16 16:55:07.798 | kai_longley |  | 0 | PKV
1 | 2025.03.13 14:06:42.269 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault | 2025.03.16 16:55:07.798 | kai_longley |  | 0 | PKV
1 | 2025.03.13 13:58:30.188 | PKV_DOR_B3_402-7_2 | East Emergency Stairs - Basement | Unauthorised access | 2025.03.16 16:55:07.888 | kai_longley |  | 0 | PKV
1 | 2025.03.13 13:31:34.248 | PKV_ESC_0016 | Escalator 16 Bank 7 (Street to Concourse) | Escalator power lost | 2025.03.16 16:55:07.798 | kai_longley |  | 0 | PKV
1 | 2025.03.13 13:29:42.874 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2025.03.16 16:55:07.823 | kai_longley |  | 0 | STL
1 | 2025.03.13 13:29:27.882 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift General Fault | 2025.03.16 16:55:07.823 | kai_longley |  | 0 | STL
1 | 2025.03.13 13:29:01.251 | PKV_ESC_0014 | Escalator 14 Bank 7 (Street to Concourse) | Escalator power lost | 2025.03.16 16:55:07.798 | kai_longley |  | 0 | PKV
1 | 2025.03.13 13:27:28.228 | PKV_ESC_0015 | Escalator 15 Bank 7 (Street to Concourse) | Escalator power lost | 2025.03.16 16:55:07.798 | kai_longley |  | 0 | PKV
1 | 2025.03.13 12:55:59.233 | PKV_ESC_0015 | Escalator 15 Bank 7 (Street to Concourse) | Escalator stopped (brake mechanism fault) | 2025.03.16 16:54:39.942 | kai_longley |  | 0 | PKV
1 | 2025.03.13 12:54:34.242 | PKV_ESC_0014 | Escalator 14 Bank 7 (Street to Concourse) | Escalator stopped (brake mechanism fault) | 2025.03.16 16:54:39.942 | kai_longley |  | 0 | PKV
1 | 2025.03.13 12:53:31.228 | PKV_ESC_0014 | Escalator 14 Bank 7 (Street to Concourse) | Escalator General Fault | 2025.03.13 12:53:41.107 | alex_wilder |  | 0 | PKV
1 | 2025.03.13 12:53:27.227 | PKV_ESC_0015 | Escalator 15 Bank 7 (Street to Concourse) | Escalator General Fault | 2025.03.13 12:53:41.107 | alex_wilder |  | 0 | PKV
1 | 2025.03.13 12:53:22.211 | PKV_ESC_0016 | Escalator 16 Bank 7 (Street to Concourse) | Escalator General Fault | 2025.03.13 12:53:41.107 | alex_wilder |  | 0 | PKV
1 | 2025.03.13 12:42:06.725 | PKV_SYS_0001 | Parkville FDS (Modbus) connection status | PSS 2 connection 1 lost | 2025.03.16 16:54:39.942 | kai_longley |  | 0 | PKV
1 | 2025.03.13 10:31:58.487 | DMA_DOR_B1_212-1_1 | Concourse - Office access | Unauthorised access | 2025.03.13 12:53:41.176 | alex_wilder |  | 0 | AZC
1 | 2025.03.13 10:27:22.940 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panel(s) in the station have a fault | 2025.03.13 10:31:50.847 | kai_longley |  | 0 | ARN
1 | 2025.03.13 08:47:05.233 | PKV_ESC_0013 | Escalator 13 Bank 6 (Street to Concourse) | Escalator power lost | 2025.03.13 12:53:41.107 | alex_wilder |  | 0 | PKV
1 | 2025.03.13 08:44:05.265 | PKV_ESC_0012 | Escalator 12 Bank 6 (Street to Concourse) | Escalator power lost | 2025.03.13 12:53:41.107 | alex_wilder |  | 0 | PKV
1 | 2025.03.13 07:45:08.973 | PKV_DOR_B2_405-5_1 | West Emergency Corrdidor - Concourse | Unauthorised access | 2025.03.13 08:24:49.357 | kai_longley |  | 0 | PKV
1 | 2025.03.13 06:50:59.937 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panel(s) in the station have a fault | 2025.03.13 07:18:05.028 | kai_longley |  | 0 | AZC
1 | 2025.03.13 06:48:36.082 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panel(s) in the portal building have a fault | 2025.03.13 07:18:05.028 | kai_longley |  | 0 | SDU
1 | 2025.03.12 21:26:19.361 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.361 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.361 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.361 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.361 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.361 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.361 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.361 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.350 | TSC_ESC_0043 | Escalator 43 Bank 15 (B3M Basement Mezzanine to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.350 | TSC_ESC_0044 | Escalator 44 Bank 15 (B3M Basement Mezzanine to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.347 | TSC_ESC_0038 | Escalator 38 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.347 | TSC_ESC_0039 | Escalator 39 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.347 | TSC_ESC_0040 | Escalator 40 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.347 | TSC_ESC_0041 | Escalator 41 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.347 | TSC_ESC_0042 | Escalator 42 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0025 | Escalator 25 Bank 9 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0026 | Escalator 26 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0027 | Escalator 27 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0028 | Escalator 28 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0029 | Escalator 29 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0030 | Escalator 30 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0031 | Escalator 31 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0032 | Escalator 32 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0033 | Escalator 33 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0034 | Escalator 34 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0035 | Escalator 35 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0036 | Escalator 36 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.337 | TSC_ESC_0037 | Escalator 37 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.331 | TSC_ESC_0019 | Escalator 19 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.331 | TSC_ESC_0020 | Escalator 20 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.331 | TSC_ESC_0021 | Escalator 21 Bank 8 (B1 Basement to B3M Basement Mezzanine) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.331 | TSC_ESC_0022 | Escalator 22 Bank 8 (B1 Basement to B3M Basement Mezzanine) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.331 | TSC_ESC_0023 | Escalator 23 Bank 8 (B1 Basement to B3M Basement Mezzanine) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.331 | TSC_ESC_0024 | Escalator 24 Bank 9 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.319 | TSC_ESC_0013 | Escalator 13 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.319 | TSC_ESC_0014 | Escalator 14 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.319 | TSC_ESC_0015 | Escalator 15 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.319 | TSC_ESC_0016 | Escalator 16 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.319 | TSC_ESC_0017 | Escalator 17 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.319 | TSC_ESC_0018 | Escalator 18 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:19.319 | TSC_ESC_0012 | Escalator 12 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:09.399 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:09.399 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:09.399 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:09.399 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:09.388 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:09.388 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:09.388 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 21:26:09.388 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.12 18:04:11.322 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2025.03.13 07:18:04.991 | kai_longley |  | 0 | PKV
1 | 2025.03.12 14:38:05.342 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | PKV
1 | 2025.03.12 07:20:37.751 | PKV_DOR_B3_402-7_1 | East Emergency Stairs - Basement | Unauthorised access | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | PKV
1 | 2025.03.11 11:12:30.167 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost | 2025.03.13 07:18:05.028 | kai_longley |  | 0 | AZC
1 | 2025.03.11 11:12:30.167 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift monitoring lost | 2025.03.13 07:18:05.028 | kai_longley |  | 0 | AZC
1 | 2025.03.11 11:12:30.132 | DMA_ESC_0012 | Escalator 12 Bank 7 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:05.028 | kai_longley |  | 0 | AZC
1 | 2025.03.11 11:12:30.121 | DMA_ESC_0011 | Escalator 11 Bank 7 (Street to B1 Basement) | Escalator communications lost | 2025.03.13 07:18:05.028 | kai_longley |  | 0 | AZC
1 | 2025.03.11 11:12:25.137 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift failed to enter secure mode | 2025.03.13 07:18:05.028 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:46:41.548 | PKV_ROL_GF_PKV-RPDE_1 | Royal Parade Entry Roller Door | Unauthorised access | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | PKV
1 | 2025.03.11 09:46:35.570 | DMA_DOR_B1_ST05_2 | Concourse East - East emergency stairs | Unauthorised access | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:46:35.564 | DMA_DOR_B1_ST05_1 | Concourse East - Emergency stairs | Unauthorised access | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:46:35.550 | DMA_DOR_B1_406-3_2 | Concourse - South fire lobby | Unauthorised access | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:46:35.545 | DMA_DOR_B1_406-3_1 | Concourse South - Fire escape corridor | Unauthorised access | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:46:35.528 | DMA_DOR_B1_151-5_3 | Concourse East - Back of House East corridor | Unauthorised access | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:46:35.516 | DMA_DOR_B1_151-5_1 | Concourse East - Back of House East corridor | Unauthorised access | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:46:35.510 | DMA_DOR_B1_151-1_1 | Concourse West - Fire escape corridor | Unauthorised access | 2025.03.13 07:18:05.001 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:45:34.507 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:34.338 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:33.856 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:33.689 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:33.501 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:33.334 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:32.849 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:32.690 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:32.502 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:32.333 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:31.934 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:31.772 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:31.587 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:31.422 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:31.227 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:31.067 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:30.878 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:30.717 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:30.528 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:30.356 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:30.162 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:30.000 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:29.808 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:29.646 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:29.454 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:45:29.279 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift monitoring lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:44:06.695 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2025.03.13 07:18:05.028 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:44:06.348 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2025.03.13 07:18:05.028 | kai_longley |  | 0 | AZC
1 | 2025.03.11 09:43:43.479 | AEN_LFT_0006 | Lift 6 BOH (Platforms to Level 2) | Lift monitoring lost | 2025.03.13 07:18:04.992 | kai_longley |  | 0 | ARN
1 | 2025.03.11 09:43:12.472 | TNC_ESC_0025 | Escalator 25 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:11.404 | TNC_ESC_0024 | Escalator 24 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:10.348 | TNC_ESC_0023 | Escalator 23 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:09.284 | TNC_ESC_0022 | Escalator 22 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:08.218 | TNC_ESC_0021 | Escalator 21 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:07.156 | TNC_ESC_0020 | Escalator 20 Bank 6 (Street to B3 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:06.103 | TNC_ESC_0019 | Escalator 19 Bank 6 (Street to B3 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:05.048 | TNC_ESC_0018 | Escalator 18 Bank 6 (Street to B3 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:03.984 | TNC_ESC_0017 | Escalator 17 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:02.912 | TNC_ESC_0016 | Escalator 16 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:01.856 | TNC_ESC_0015 | Escalator 15 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:43:00.803 | TNC_ESC_0014 | Escalator 14 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:59.740 | TNC_ESC_0013 | Escalator 13 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:58.682 | TNC_ESC_0012 | Escalator 12 Bank 4 (B3 Basement to B5 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:57.615 | TNC_ESC_0011 | Escalator 11 Bank 4 (B3 Basement to B5 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:56.554 | TNC_ESC_0010 | Escalator 10 Bank 4 (B3 Basement to B5 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:55.501 | TNC_ESC_0009 | Escalator 9 Bank 3 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:54.446 | TNC_ESC_0008 | Escalator 8 Bank 3 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:53.382 | TNC_ESC_0007 | Escalator 7 Bank 3 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:52.321 | TNC_ESC_0006 | Escalator 6 Bank 2 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:51.251 | TNC_ESC_0005 | Escalator 5 Bank 2 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:50.191 | TNC_ESC_0004 | Escalator 4 Bank 2 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:49.116 | TNC_ESC_0003 | Escalator 3 Bank 1 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:47.970 | TNC_ESC_0002 | Escalator 2 Bank 1 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:46.908 | TNC_ESC_0001 | Escalator 1 Bank 1 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.03.11 09:49:22.762 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:39.143 | PKV_FCU_0215_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable | 2025.03.13 07:18:04.991 | kai_longley |  | 0 | PKV
1 | 2025.03.11 09:42:25.116 | AEN_ESC_0007 | Escalator 7 Bank 5 (Street to Concourse) | Escalator power lost | 2025.03.13 07:18:04.992 | kai_longley |  | 0 | ARN
1 | 2025.03.11 09:42:24.334 | AEN_ESC_0006 | Escalator 6 Bank 5 (Street to Concourse) | Escalator power lost | 2025.03.13 07:18:04.992 | kai_longley |  | 0 | ARN
1 | 2025.03.11 09:42:24.000 | PKV_ESC_0006 | Escalator 6 Bank 3 (Concourse to Platforms) | Escalator power lost | 2025.03.13 07:18:04.991 | kai_longley |  | 0 | PKV
1 | 2025.03.11 09:42:23.555 | AEN_ESC_0005 | Escalator 5 Bank 5 (Street to Concourse) | Escalator power lost | 2025.03.13 07:18:04.992 | kai_longley |  | 0 | ARN
1 | 2025.03.11 09:42:23.113 | PKV_ESC_0005 | Escalator 5 Bank 3 (Concourse to Platforms) | Escalator power lost | 2025.03.13 07:18:04.991 | kai_longley |  | 0 | PKV
1 | 2025.03.11 09:42:22.228 | PKV_ESC_0004 | Escalator 4 Bank 2 (Concourse to Platforms) | Escalator power lost | 2025.03.11 09:49:22.755 | kai_longley |  | 0 | PKV
1 | 2025.03.11 09:42:21.351 | PKV_ESC_0003 | Escalator 3 Bank 2 (Concourse to Platforms) | Escalator power lost | 2025.03.11 09:49:22.755 | kai_longley |  | 0 | PKV
1 | 2025.03.11 09:42:20.481 | PKV_ESC_0002 | Escalator 2 Bank 1 (Concourse to Platforms) | Escalator power lost | 2025.03.13 07:18:04.991 | kai_longley |  | 0 | PKV
1 | 2025.03.11 09:42:19.603 | PKV_ESC_0001 | Escalator 1 Bank 1 (Concourse to Platforms) | Escalator power lost | 2025.03.13 07:18:04.991 | kai_longley |  | 0 | PKV
1 | 2025.03.11 09:42:12.357 | TNC_SYS_0003 | State Library EWIS connection status | PSS 2 connection 2 lost | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:12.352 | TNC_SYS_0003 | State Library EWIS connection status | PSS 2 connection 1 lost | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:12.346 | TNC_SYS_0003 | State Library EWIS connection status | PSS 1 connection 2 lost | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:12.340 | TNC_SYS_0003 | State Library EWIS connection status | PSS 1 connection 1 lost | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:12.332 | TNC_SYS_0003 | State Library EWIS connection status | All connections lost | 2025.03.13 07:18:04.995 | kai_longley |  | 0 | STL
1 | 2025.03.11 09:42:10.120 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 2 connection 2 lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:42:10.115 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 2 connection 1 lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:42:10.110 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 1 connection 2 lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:42:10.105 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 1 connection 1 lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:42:10.098 | TSC_SYS_0003 | Town Hall EWIS connection status | All connections lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:42:10.052 | TSC_SYS_0001 | Town Hall FDS (Modbus) connection status | PSS 2 connection 1 lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:42:10.045 | TSC_SYS_0001 | Town Hall FDS (Modbus) connection status | PSS 1 connection 1 lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL
1 | 2025.03.11 09:42:10.037 | TSC_SYS_0001 | Town Hall FDS (Modbus) connection status | All connections lost | 2025.03.13 07:18:04.979 | kai_longley |  | 0 | THL