## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
1 | 2025.04.07 14:15:36.233 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door opened! | 2025.04.07 14:29:44.811 | kai_longley |  | 0 | THL
1 | 2025.04.07 13:33:09.469 | TNC-E-EED-015 | State Library Platform 2 Zone 1 EED 15 | EED Unscheduled Door Opening! | 2025.04.07 14:29:46.572 | kai_longley |  | 0 | STL
1 | 2025.04.07 10:01:28.706 | TNC-E-DDX-001 | State Library Platform 2 Zone 2 DD 01 | Driver Door Unscheduled Door Opening! | 2025.04.07 11:52:39.064 | kai_longley |  | 0 | STL
1 | 2025.04.07 09:39:53.211 | TNC-E-EED-021 | State Library Platform 2 Zone 2 EED 21 | EED Unscheduled Door Opening! | 2025.04.07 09:40:07.698 | kai_longley |  | 0 | STL
1 | 2025.04.07 09:39:37.212 | TNC-E-EED-038 | State Library Platform 2 Zone 3 EED 38 | EED Unscheduled Door Opening! | 2025.04.07 09:39:38.338 | kai_longley |  | 0 | STL
1 | 2025.04.07 09:38:45.207 | TNC-E-DDX-002 | State Library Platform 2 Zone 2 DD 02 | Driver Door Unscheduled Door Opening! | 2025.04.07 09:38:46.430 | kai_longley |  | 0 | STL
1 | 2025.04.07 09:23:42.495 | TNC-E-EED-037 | State Library Platform 2 Zone 3 EED 37 | EED Unscheduled Door Opening! | 2025.04.07 09:38:08.818 | kai_longley |  | 0 | STL
1 | 2025.04.07 08:27:14.112 | SKP-ZONE-0002 | East Tunnel Detection Zone 2 | TIAS activated! | 2025.04.07 09:38:10.284 | kai_longley |  | 0 | SDU
1 | 2025.04.07 07:53:32.111 | SKP-ZONE-0004 | West Tunnel Detection Zone 2 | TIAS activated! | 2025.04.07 09:38:11.763 | kai_longley |  | 0 | SDU
1 | 2025.04.07 07:46:21.102 | SKP-ZONE-0003 | West Tunnel Detection Zone 1 | TIAS activated! | 2025.04.07 09:38:13.272 | kai_longley |  | 0 | SDU
1 | 2025.04.07 07:36:41.108 | SKP-ZONE-0001 | East Tunnel Detection Zone 1 | TIAS activated! | 2025.04.07 09:38:14.622 | kai_longley |  | 0 | SDU
1 | 2025.04.07 06:59:00.107 | SYP-ZONE-0001 | East Tunnel Detection Zone 1 | TIAS activated! | 2025.04.07 09:38:16.224 | kai_longley |  | 0 | SDU
1 | 2025.04.06 21:54:55.103 | SYP-ZONE-0003 | West Tunnel Detection Zone 1 | TIAS activated! | 2025.04.06 22:06:20.758 | russell_oliver |  | 0 | SDU
1 | 2025.04.06 21:40:22.203 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2025.04.07 09:33:26.464 | kai_longley |  | 0 | SDU
1 | 2025.04.06 21:40:22.203 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2025.04.07 09:33:26.464 | kai_longley |  | 0 | SDU
1 | 2025.04.06 20:53:34.877 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2025.04.07 09:38:20.206 | kai_longley |  | 0 | THL
1 | 2025.04.06 20:53:34.877 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2025.04.07 09:38:18.811 | kai_longley |  | 0 | THL
1 | 2025.04.06 17:24:13.208 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2025.04.07 09:38:21.601 | kai_longley |  | 0 | SDU
1 | 2025.04.06 17:24:13.208 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2025.04.07 09:38:22.791 | kai_longley |  | 0 | SDU
1 | 2025.04.06 17:24:05.871 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2025.04.07 09:33:26.486 | kai_longley |  | 0 | THL
1 | 2025.04.06 17:24:05.871 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2025.04.07 09:33:26.486 | kai_longley |  | 0 | THL
1 | 2025.04.06 17:23:51.840 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2025.04.07 09:38:24.086 | kai_longley |  | 0 | SDU
1 | 2025.04.06 16:35:05.317 | DMA-E-PSD-001 | Anzac Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2025.04.06 17:49:52.161 | tauseef_mohammed |  | 0 | AZC
1 | 2025.04.06 16:24:24.512 | DMA-E-PSD-002 | Anzac Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2025.04.06 16:31:50.419 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-013 | Anzac Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:43.322 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-014 | Anzac Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:47.837 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-015 | Anzac Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:52.309 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-016 | Anzac Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:57.621 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-017 | Anzac Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2025.04.06 16:33:02.486 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-018 | Anzac Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2025.04.06 16:33:06.710 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-003 | Anzac Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! | 2025.04.06 16:31:56.019 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-019 | Anzac Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2025.04.06 16:33:10.711 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-020 | Anzac Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2025.04.06 16:33:16.060 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-021 | Anzac Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2025.04.06 16:33:21.826 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-005 | Anzac Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:06.837 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-006 | Anzac Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:11.882 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.393 | DMA-E-PSD-008 | Anzac Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:22.023 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.392 | DMA-E-PSD-004 | Anzac Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:01.444 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.392 | DMA-E-PSD-007 | Anzac Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:16.682 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.392 | DMA-E-PSD-009 | Anzac Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:26.937 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.392 | DMA-E-PSD-010 | Anzac Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:30.974 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.392 | DMA-E-PSD-011 | Anzac Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:34.837 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 16:24:24.392 | DMA-E-PSD-012 | Anzac Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2025.04.06 16:32:39.452 | oumadevi_mantilla |  | 0 | AZC
1 | 2025.04.06 12:26:18.517 | TNC-W-PSD-030 | State Library Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:25.522 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.496 | TNC-W-PSD-028 | State Library Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:26.778 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.496 | TNC-W-PSD-029 | State Library Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:28.136 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.492 | TNC-W-PSD-027 | State Library Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:29.586 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.487 | TNC-W-PSD-026 | State Library Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:31.038 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.483 | TNC-W-PSD-025 | State Library Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:32.302 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.478 | TNC-W-PSD-024 | State Library Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:34.028 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.473 | TNC-W-PSD-023 | State Library Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:35.818 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.469 | TNC-W-PSD-022 | State Library Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:37.415 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.464 | TNC-W-PSD-021 | State Library Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:41.491 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.459 | TNC-W-PSD-020 | State Library Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:40.321 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.454 | TNC-W-PSD-019 | State Library Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:42.732 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.451 | TNC-W-PSD-018 | State Library Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:43.854 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.450 | TNC-W-PSD-017 | State Library Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:45.228 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.447 | TNC-W-PSD-016 | State Library Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:50.015 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.443 | TNC-W-PSD-015 | State Library Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:51.416 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.441 | TNC-W-PSD-014 | State Library Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:53.053 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.437 | TNC-W-PSD-013 | State Library Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:54.405 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.434 | TNC-W-PSD-012 | State Library Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:55.830 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.407 | TNC-W-PSD-011 | State Library Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:57.236 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.405 | TNC-W-PSD-010 | State Library Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:58.466 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.399 | TNC-W-PSD-008 | State Library Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:59.623 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.374 | TNC-W-PSD-007 | State Library Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:00.939 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.315 | TNC-W-PSD-006 | State Library Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:02.148 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.291 | TNC-W-PSD-005 | State Library Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:03.641 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.286 | TNC-W-PSD-004 | State Library Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:04.852 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.281 | TNC-W-PSD-003 | State Library Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:06.094 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.277 | TNC-W-PSD-002 | State Library Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:07.488 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.272 | TNC-W-PSD-001 | State Library Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:08.629 | kai_longley |  | 0 | STL
1 | 2025.04.05 11:50:52.462 | TNC-W-PSD-009 | State Library Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:09.773 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.536 | TNC-E-PSD-030 | State Library Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:10.907 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.535 | TNC-E-PSD-029 | State Library Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:13.769 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.533 | TNC-E-PSD-028 | State Library Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:14.936 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.531 | TNC-E-PSD-026 | State Library Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:16.216 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.531 | TNC-E-PSD-027 | State Library Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:17.361 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.529 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:18.536 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.523 | TNC-E-PSD-023 | State Library Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:19.770 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.523 | TNC-E-PSD-024 | State Library Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:20.855 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.521 | TNC-E-PSD-021 | State Library Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:22.029 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.521 | TNC-E-PSD-022 | State Library Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:23.249 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.519 | TNC-E-PSD-020 | State Library Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:24.370 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.518 | TNC-E-PSD-019 | State Library Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:25.442 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.517 | TNC-E-PSD-018 | State Library Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:26.684 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.516 | TNC-E-PSD-017 | State Library Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:27.819 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.514 | TNC-E-PSD-015 | State Library Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:28.997 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.514 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:30.535 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.513 | TNC-E-PSD-014 | State Library Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:31.935 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.511 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:34.443 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.511 | TNC-E-PSD-013 | State Library Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:36.008 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.510 | TNC-E-PSD-011 | State Library Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:41.845 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.508 | TNC-E-PSD-010 | State Library Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:42.992 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.507 | TNC-E-PSD-009 | State Library Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:44.092 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.505 | TNC-E-PSD-008 | State Library Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:45.209 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.504 | TNC-E-PSD-007 | State Library Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:46.423 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.503 | TNC-E-PSD-006 | State Library Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:47.574 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.500 | TNC-E-PSD-005 | State Library Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:48.684 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.499 | TNC-E-PSD-004 | State Library Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:49.723 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.497 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:50.847 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.496 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:59.356 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.495 | TNC-E-PSD-001 | State Library Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2025.04.07 09:40:10.043 | kai_longley |  | 0 | STL
1 | 2025.04.04 12:24:28.871 | TSC_OCN_0101_02_DS | Flinders Ln OTE shaft | All fans inoperative! | 2025.04.04 15:21:41.506 | kai_longley |  | 0 | THL
1 | 2025.04.03 21:56:36.046 | PKV_TFN_0201_03_DS | Leicester St TVF shaft | All fans inoperative! | 2025.04.04 15:21:47.349 | kai_longley |  | 0 | PKV
1 | 2025.04.03 21:53:36.836 | PKV_OFN_0001_03_DS | Kernot Rd OTE shaft | All fans inoperative! | 2025.04.04 15:21:50.591 | kai_longley |  | 0 | PKV
1 | 2025.04.03 21:53:30.837 | PKV_TFN_0101_03_DS | Barry St TVF shaft | All fans inoperative! | 2025.04.04 15:21:51.892 | kai_longley |  | 0 | PKV
1 | 2025.04.03 21:51:41.417 | AEN_TFN_0201_03_DS | Laurens St TVF shaft | Tunnel Section 03 Arden End - Ventilation Unavailable! | 2025.04.04 15:21:53.357 | kai_longley |  | 0 | SDU
1 | 2025.04.03 21:49:27.396 | AEN_TFN_0101_03_DS | Fogarty St TVF shaft | Tunnel Section 01 - Ventilation Unavailable! | 2025.04.04 15:21:54.656 | kai_longley |  | 0 | SDU
1 | 2025.04.02 13:31:03.642 | _Event | MTAZC:_Event. | License check failed | 2025.04.03 09:14:36.757 | kai_longley |  | 1 | AZC
1 | 2025.04.02 13:31:03.642 | _Event | MTAZC:_Event. | License expires | 2025.04.03 09:14:38.774 | kai_longley |  | 0 | AZC
1 | 2025.04.01 16:58:18.183 | DMA_OFN_0101_02_DS | Albert Rd OTE shaft | All fans inoperative! | 2025.04.03 09:29:16.064 | kai_longley |  | 0 | AZC
1 | 2025.04.01 16:58:18.183 | DMA_OFN_0201_02_DS | Bowen Ln OTE shaft | All fans inoperative! | 2025.04.03 09:29:17.248 | kai_longley |  | 0 | AZC
1 | 2025.04.01 16:58:18.183 | DMA_TFN_0101_03_DS | Albert Rd TVF shaft | All fans inoperative! | 2025.04.03 09:29:18.660 | kai_longley |  | 0 | AZC
1 | 2025.04.01 16:58:18.183 | DMA_TFN_0201_03_DS | Bowen Ln TVF shaft | All fans inoperative! | 2025.04.03 09:29:20.101 | kai_longley |  | 0 | AZC
1 | 2025.03.31 19:18:01.158 | TNC_OFN_0001_03_DS | ABeckett St OTE shaft | All fans inoperative! | 2025.04.01 07:15:20.690 | kai_longley |  | 0 | SDU
1 | 2025.03.31 19:18:01.158 | TNC_TFN_0101_03_DS | Franklin St TVF shaft | All fans inoperative! | 2025.04.01 07:15:19.074 | kai_longley |  | 0 | SDU
1 | 2025.03.31 19:18:01.158 | TNC_TFN_0201_03_DS | LaTrobe St TVF shaft | All fans inoperative! | 2025.04.01 07:15:17.438 | kai_longley |  | 0 | SDU
1 | 2025.03.31 19:15:23.572 | AEN_OFN_0101_02_DS | Fogarty St OTE shaft | Arden - West End Over Track Ventilation Unavailable! | 2025.04.01 07:15:32.875 | kai_longley |  | 0 | SDU
1 | 2025.03.31 19:15:23.572 | AEN_OFN_0201_02_DS | Laurens St OTE shaft | Arden - East End Over Track Ventilation Unavailable! | 2025.04.01 07:15:31.061 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:30:00.622 | TNC_TEP_0305_06_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.03.31 12:29:57.158 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:30:00.609 | TNC_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.03.31 12:29:58.567 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:30:00.595 | TNC_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.03.31 12:30:00.015 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:29:29.448 | TSC_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.03.31 12:30:01.446 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:27:16.236 | TSC_FOLLOWUP | Town Hall Follow up alarm | Town Hall station haven't ack'd an important alarm! | 2025.03.31 12:30:08.649 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:27:16.224 | TNC_FOLLOWUP | State Library Follow up alarm | State Library station haven't ack'd an important alarm! | 2025.03.31 12:30:10.148 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:27:16.206 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Arden station haven't ack'd an important alarm! | 2025.03.31 12:30:13.047 | kai_longley |  | 0 | SSC
1 | 2025.03.31 10:27:16.171 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | State Library station haven't ack'd an important alarm! | 2025.03.31 12:30:14.320 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:27:16.133 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | Parkville station haven't ack'd an important alarm! | 2025.03.31 12:30:15.648 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:27:16.060 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | Arden station haven't ack'd an important alarm! | 2025.03.31 12:30:17.848 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:27:16.024 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | Anzac station haven't ack'd an important alarm! | 2025.03.31 12:30:19.249 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:27:15.962 | PKV_FOLLOWUP | Parkville Follow up alarm | Metrol haven't ack'd an important alarm! | 2025.03.31 10:53:16.689 | dominic_dlasselle |  | 0 | PKV
1 | 2025.03.31 10:27:15.951 | DMA_FOLLOWUP | Anzac Follow up alarm | Metrol haven't ack'd an important alarm! | 2025.03.31 11:50:09.580 | kasturi_jathar |  | 0 | AZC
1 | 2025.03.31 10:27:15.939 | AEN_FOLLOWUP | Arden Follow up alarm | Arden station haven't ack'd an important alarm! | 2025.03.31 10:53:22.098 | dominic_dlasselle |  | 0 | ARN
1 | 2025.03.31 10:27:12.036 | PDM_ROL_RNERV_W | RNERV Enclosure Door - Eastern Portal, West Tunnel | RNERV crane arm extended over tracks! | 2025.03.31 12:30:20.587 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:21:45.204 | TSC_TFN_0201_03_DS | Royston Pl TVF shaft | All fans inoperative! | 2025.03.31 12:30:35.649 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:44.544 | TSC_TFN_0101_03_DS | Flinders Ln TVF shaft | All fans inoperative! | 2025.03.31 12:30:45.349 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:43.870 | TSC_OFN_0001_03_DS | Royston Pl OTE shaft | All fans inoperative! | 2025.03.31 12:30:51.010 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:42.069 | TNC_OCN_0201_02_DS | Lt LaTrobe St OCE shaft | All fans inoperative! | 2025.03.31 12:30:57.800 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:21:42.055 | TNC_OCN_0101_02_DS | Franklin St OCE shaft | All fans inoperative! | 2025.03.31 12:30:59.156 | kai_longley |  | 0 | SDU
1 | 2025.04.07 14:10:20.486 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door alarm bypassed! | 2025.04.07 14:29:51.325 | kai_longley |  | 0 | THL
1 | 2025.04.07 14:03:16.153 | DMA-FIP-0001 | Anzac Station FDCIE Panel | No modbus gateway connection | 2025.04.07 14:03:35.645 | ravinder_kaur |  | 0 | AZC
1 | 2025.04.07 14:03:16.153 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Modbus redundancy loss | 2025.04.07 14:03:40.838 | ravinder_kaur |  | 0 | AZC
1 | 2025.04.07 14:03:16.153 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | No modbus gateway connection | 2025.04.07 14:29:51.322 | kai_longley |  | 0 | AZC
1 | 2025.04.07 14:03:16.153 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | No modbus gateway connection | 2025.04.07 14:29:51.322 | kai_longley |  | 0 | AZC
1 | 2025.04.07 14:03:16.153 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | No modbus gateway connection | 2025.04.07 14:29:51.322 | kai_longley |  | 0 | AZC
1 | 2025.04.07 14:03:16.153 | DMA-FIP-0005 | Anzac Station SHCIE Panel 5 | No modbus gateway connection | 2025.04.07 14:29:51.322 | kai_longley |  | 0 | AZC
1 | 2025.04.07 14:03:16.153 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | No modbus gateway connection | 2025.04.07 14:29:51.322 | kai_longley |  | 0 | AZC
1 | 2025.04.07 14:03:16.153 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | No modbus gateway connection | 2025.04.07 14:29:51.322 | kai_longley |  | 0 | SDU
1 | 2025.04.07 14:03:16.153 | EPZ-FIP-0002 | Eastern Portal Station Fire Panel | No modbus gateway connection | 2025.04.07 14:29:51.322 | kai_longley |  | 0 | SDU
1 | 2025.04.07 12:52:31.545 | TNC_FCU_1409_10_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2025.04.07 13:20:14.526 | kai_longley |  | 0 | STL
1 | 2025.04.07 10:03:54.903 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault | 2025.04.07 14:29:51.330 | kai_longley |  | 0 | SDU
1 | 2025.04.07 10:03:54.488 | TSC_ATSComm | RSG Modbus | HCS/ATS communication fault | 2025.04.07 14:29:51.325 | kai_longley |  | 0 | SDU
1 | 2025.04.07 07:09:28.829 | AEN_FCU_1005_06_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2025.04.07 09:36:00.773 | kai_longley |  | 0 | ARN
1 | 2025.04.04 15:40:27.290 | PKV_FCU_1201_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2025.04.04 15:57:33.500 | kai_longley |  | 0 | PKV
1 | 2025.04.03 21:53:36.836 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2025.04.04 15:22:28.978 | kai_longley |  | 0 | SDU
1 | 2025.04.03 21:53:30.837 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2025.04.04 15:22:28.978 | kai_longley |  | 0 | SDU
1 | 2025.04.03 21:49:27.396 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable | 2025.04.04 15:22:28.942 | kai_longley |  | 0 | SDU
1 | 2025.04.01 16:58:18.183 | DMA_ModeSts | TVCS Mode Status - Anzac Station S10 | Over Track Exhaust Unavailable | 2025.04.03 09:29:31.853 | kai_longley |  | 0 | SDU
1 | 2025.04.01 16:58:18.183 | DMA_ModeSts | TVCS Mode Status - Anzac Station S10 | Tunnel section ventilation unavailable | 2025.04.03 09:29:31.853 | kai_longley |  | 0 | SDU
1 | 2025.03.31 19:18:01.158 | TNC_ModeSts | TVCS State Library Station Mode Status S06 | Over Track Exhaust Unavailable | 2025.04.01 07:16:13.123 | kai_longley |  | 0 | SDU
1 | 2025.03.31 19:18:01.158 | TNC_ModeSts | TVCS State Library Station Mode Status S06 | Tunnel section ventilation unavailable | 2025.04.01 07:16:13.123 | kai_longley |  | 0 | SDU
1 | 2025.03.31 19:15:23.572 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable | 2025.04.01 07:16:13.136 | kai_longley |  | 0 | SDU
1 | 2025.03.31 11:48:43.704 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | THL
1 | 2025.03.31 11:48:43.702 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | THL
1 | 2025.03.31 11:48:43.700 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | THL
1 | 2025.03.31 11:48:43.697 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | THL
1 | 2025.03.31 11:48:43.694 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | ARN
1 | 2025.03.31 11:48:43.692 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | ARN
1 | 2025.03.31 11:48:43.690 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | ARN
1 | 2025.03.31 11:48:43.687 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | ARN
1 | 2025.03.31 10:23:10.155 | TSC_ModeSts | TVCS Town Hall Station Mode Status S08 | Tunnel section ventilation unavailable | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:23:10.151 | TSC_ModeSts | TVCS Town Hall Station Mode Status S08 | Over Track Exhaust Unavailable | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:21:57.987 | PKV_FCU_0401_02_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2025.03.31 11:49:55.148 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:21:57.657 | PKV_FCU_0307_08_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2025.03.31 11:50:01.078 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:21:55.627 | TSC-FIP-0006 | Town Hall Station SHCIE Panel 6 | No modbus gateway connection | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:55.159 | TSC-FIP-0005 | Town Hall Station SHCIE Panel 5 | No modbus gateway connection | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:54.689 | TSC-FIP-0004 | Town Hall Station SHCIE Panel 4 | No modbus gateway connection | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:54.223 | TSC-FIP-0003 | Town Hall Station SHCIE Panel 3 | No modbus gateway connection | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:53.753 | TSC-FIP-0002 | Town Hall Station SHCIE Panel 2 | No modbus gateway connection | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:53.240 | TNC-FIP-0008 | State Library Station SHCIE Panel 8 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:52.696 | TNC-FIP-0007 | State Library Station SHCIE Panel 7 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:52.157 | TNC-FIP-0006 | State Library Station SHCIE Panel 6 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:51.617 | TNC-FIP-0005 | State Library Station SHCIE Panel 5 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:51.074 | TNC-FIP-0004 | State Library Station SHCIE Panel 4 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:50.537 | TNC-FIP-0003 | State Library Station SHCIE Panel 3 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:50.000 | TNC-FIP-0002 | State Library Station SHCIE Panel 2 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:49.593 | SDU-FIP-0006 | Cross Passage CDB North FDCIE Panel 2 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:21:49.581 | SDU-FIP-0005 | Cross Passage CDB North FDCIE Panel 1 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | SDU
1 | 2025.04.07 14:15:31.528 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 14:12:10.760 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 14:12:10.760 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift General Fault | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 14:03:16.107 | DMA_SYS_0001 | Anzac FDS (Modbus) connection status | All connections lost | 2025.04.07 14:29:51.322 | kai_longley |  | 0 | AZC
1 | 2025.04.07 14:03:16.107 | DMA_SYS_0001 | Anzac FDS (Modbus) connection status | PSS 2 connection 1 lost | 2025.04.07 14:29:51.322 | kai_longley |  | 0 | AZC
1 | 2025.04.07 14:03:16.087 | DMA_SYS_0001 | Anzac FDS (Modbus) connection status | PSS 1 connection 1 lost | 2025.04.07 14:29:51.322 | kai_longley |  | 0 | AZC
1 | 2025.04.07 12:37:38.704 | TNC-W-PSD-020 | State Library Platform 1 Zone 2 PSD 20 | PSD isolated | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:31:56.771 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.04.07 14:29:51.325 | kai_longley |  | 0 | THL
1 | 2025.04.07 12:24:35.497 | TNC_ESC_0007 | Escalator 7 Bank 3 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:24:22.585 | TNC_ESC_0008 | Escalator 8 Bank 3 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:24:14.949 | TNC-W-PSD-029 | State Library Platform 1 Zone 3 PSD 29 | PSD isolated | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:23:59.375 | TNC_ESC_0009 | Escalator 9 Bank 3 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:16:07.567 | TNC_ESC_0005 | Escalator 5 Bank 2 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:16:05.030 | DMA_DOR_B1_151-5_2 | Concourse East - Back of house corridor | Unauthorised access | 2025.04.07 12:16:45.564 | elizabeth_james |  | 0 | AZC
1 | 2025.04.07 12:15:46.529 | TNC_ESC_0006 | Escalator 6 Bank 2 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:14:51.300 | TNC_ESC_0004 | Escalator 4 Bank 2 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 11:46:27.325 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 11:34:28.674 | PKV_LFT_0005 | Lift 5 FOH (Street to Concourse) | Lift General Fault | 2025.04.07 11:34:58.101 | andrew_hitchell |  | 0 | PKV
1 | 2025.04.07 11:03:05.610 | PKV_LFT_0006 | Lift 6 FOH (Street to Concourse) | Lift General Fault | 2025.04.07 11:08:19.302 | andrew_hitchell |  | 0 | PKV
1 | 2025.04.07 10:22:59.435 | TNC-E-PSD-010 | State Library Platform 2 Zone 2 PSD 10 | PSD isolated | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 10:03:54.569 | SDU_SYS_0002 | RSG connection status | All connections lost | 2025.04.07 14:29:51.378 | kai_longley |  | 0 | SDU
1 | 2025.04.07 10:03:54.569 | SDU_SYS_0002 | RSG connection status | PSS 2 connection 1 lost | 2025.04.07 14:29:51.378 | kai_longley |  | 0 | SDU
1 | 2025.04.07 10:03:53.925 | SDU_SYS_0002 | RSG connection status | PSS 1 connection 1 lost | 2025.04.07 14:29:51.378 | kai_longley |  | 0 | SDU
1 | 2025.04.07 09:46:17.497 | DMA_LFT_0004 | Lift 4 FOH (Street to Concourse) | Lift General Fault | 2025.04.07 09:46:56.037 | elizabeth_james |  | 0 | AZC
1 | 2025.04.07 09:40:08.689 | TNC-E-PSD-021 | State Library Platform 2 Zone 2 PSD 21 | PSD isolated | 2025.04.07 09:40:57.541 | kai_longley |  | 0 | STL
1 | 2025.04.07 09:24:51.719 | TNC-E-PSD-029 | State Library Platform 2 Zone 3 PSD 29 | PSD isolated | 2025.04.07 09:40:57.541 | kai_longley |  | 0 | STL
1 | 2025.04.07 08:42:49.462 | TNC-W-PSD-024 | State Library Platform 1 Zone 3 PSD 24 | PSD isolated | 2025.04.07 09:40:57.541 | kai_longley |  | 0 | STL
1 | 2025.04.07 08:33:24.574 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | PSD isolated | 2025.04.07 09:40:57.597 | kai_longley |  | 0 | THL
1 | 2025.04.07 08:32:59.077 | TSC-W-PSD-013 | Town Hall Platform 1 Zone 2 PSD 13 | PSD isolated | 2025.04.07 09:40:57.597 | kai_longley |  | 0 | THL
1 | 2025.04.07 08:31:05.119 | DMA_DOR_B1_212-1_1 | Concourse - Office access | Unauthorised access | 2025.04.07 08:31:22.520 | elizabeth_james |  | 0 | AZC
1 | 2025.04.07 08:24:23.219 | TNC-E-PSD-007 | State Library Platform 2 Zone 1 PSD 07 | PSD isolated | 2025.04.07 09:40:57.541 | kai_longley |  | 0 | STL
1 | 2025.04.07 08:14:11.948 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD isolated | 2025.04.07 08:15:19.837 | elizabeth_james |  | 0 | AZC
1 | 2025.04.07 08:08:16.704 | DMA-E-PSD-027 | Anzac Platform 2 Zone 3 PSD 27 | PSD isolated | 2025.04.07 08:08:31.545 | elizabeth_james |  | 0 | AZC
1 | 2025.04.07 07:42:07.163 | TNC_DOR_GF_CBN-S-04_1 | Franklin West Emergency Stairs - Ground Floor | Unauthorised access | 2025.04.07 09:40:57.633 | kai_longley |  | 0 | STL
1 | 2025.04.07 06:57:20.561 | PDM_DOR_EGRESS_1 | PDM Egress Shaft Door | Unauthorised access | 2025.04.07 09:40:57.633 | kai_longley |  | 0 | SDU
1 | 2025.04.06 19:47:02.514 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft Smoke Detection Unavailable | 2025.04.07 09:40:57.559 | kai_longley |  | 0 | SDU
1 | 2025.04.06 12:31:36.628 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift General Fault | 2025.04.07 09:40:57.541 | kai_longley |  | 0 | STL
1 | 2025.04.06 11:45:26.612 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift General Fault | 2025.04.07 09:40:57.541 | kai_longley |  | 0 | STL
1 | 2025.04.06 08:22:27.211 | _ReduManager_2 | Parkville Server 2 | Server 2 - Set active automatically | 2025.04.07 09:40:57.615 | kai_longley |  | 0 | STL
1 | 2025.04.05 16:48:10.218 | PKV_DOR_B2_406-14_2 | East Fire Escape Corridor - Concourse | Unauthorised access | 2025.04.05 16:55:13.583 | tauseef_mohammed |  | 0 | PKV
1 | 2025.04.05 14:08:12.153 | PKV_DOR_B2_151-10_1 | East Fire Lobby Entry - Concourse | Unauthorised access | 2025.04.05 14:09:02.164 | alena_vu |  | 0 | PKV
1 | 2025.04.05 13:01:11.266 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2025.04.07 09:40:57.597 | kai_longley |  | 0 | THL
1 | 2025.04.05 12:36:00.238 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.04.07 09:40:57.597 | kai_longley |  | 0 | THL
1 | 2025.04.05 11:46:09.248 | PKV_LFT_0004 | Lift 4 FOH (Street to Concourse) | Lift power lost | 2025.04.05 11:46:22.947 | alena_vu |  | 0 | PKV
1 | 2025.04.05 09:06:39.274 | TSC_LFT_0017 | Lift 17 BOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.04.07 09:40:57.597 | kai_longley |  | 0 | THL
1 | 2025.04.05 08:56:58.223 | TSC_ESC_0009 | Escalator 9 Bank 5 (Concourse to Platforms) | Escalator communications lost | 2025.04.07 09:40:57.597 | kai_longley |  | 0 | THL
1 | 2025.04.05 08:56:11.238 | TSC_ESC_0011 | Escalator 11 Bank 5 (Concourse to Platforms) | Escalator communications lost | 2025.04.07 09:40:57.597 | kai_longley |  | 0 | THL
1 | 2025.04.05 08:54:53.301 | TSC_ESC_0010 | Escalator 10 Bank 5 (Concourse to Platforms) | Escalator communications lost | 2025.04.07 09:40:57.597 | kai_longley |  | 0 | THL
1 | 2025.04.05 08:46:19.217 | PKV_ESC_0006 | Escalator 6 Bank 3 (Concourse to Platforms) | Escalator power lost | 2025.04.05 08:53:19.363 | alena_vu |  | 0 | PKV
1 | 2025.04.05 08:44:58.263 | PKV_ESC_0005 | Escalator 5 Bank 3 (Concourse to Platforms) | Escalator power lost | 2025.04.05 08:53:21.662 | alena_vu |  | 0 | PKV
1 | 2025.04.04 19:47:39.036 | _ReduManager_2 | Arden Server 2 | Server 2 - Set active automatically | 2025.04.07 09:40:57.559 | kai_longley |  | 0 | PKV
1 | 2025.04.04 18:06:45.132 | TNC_LFT_0011 | Lift 11 BOH (B6 Basement to B5 Basement) | Lift General Fault | 2025.04.07 09:40:57.541 | kai_longley |  | 0 | STL
1 | 2025.04.04 15:40:27.276 | PKV_FCU_0205_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable | 2025.04.05 06:18:06.148 | alena_vu |  | 0 | PKV
1 | 2025.04.04 13:21:31.730 | _ReduManager | Distributed Server 1 | Server 1 - Preferred active | 2025.04.04 15:22:29.042 | kai_longley |  | 0 | ARN
1 | 2025.04.04 09:56:49.167 | PKV_DOR_B2_151-15_1 | East BOH Corridor Entry - Concourse | Unauthorised access | 2025.04.04 12:16:32.980 | tauseef_mohammed |  | 0 | PKV
1 | 2025.04.04 08:10:37.832 | DMA_LFT_0009 | Lift 9 BOH (Concourse to Platforms) | Lift General Fault | 2025.04.04 13:15:43.311 | dominic_dlasselle |  | 0 | AZC
1 | 2025.04.04 06:21:04.294 | PKV_DOR_B3_151-18_1 | West Fire Escape Corridor - Basement | Unauthorised access | 2025.04.04 12:16:47.658 | tauseef_mohammed |  | 0 | PKV
1 | 2025.04.04 06:16:02.678 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panel(s) in the station have a fault | 2025.04.04 12:44:04.676 | kai_longley |  | 0 | AZC
1 | 2025.04.04 06:16:02.553 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panel(s) in the portal building have a fault | 2025.04.04 15:22:29.042 | kai_longley |  | 0 | SDU
1 | 2025.04.03 19:09:05.380 | PKV_DOR_B4_PKV-S-01_1 | West Emergency Stairs - Platform | Unauthorised access | 2025.04.04 12:16:49.383 | tauseef_mohammed |  | 0 | PKV
1 | 2025.04.03 18:32:27.853 | DMA_LFT_0006 | Lift 6 FOH (Street to Concourse) | Lift failed to enter secure mode | 2025.04.04 13:15:58.298 | dominic_dlasselle |  | 0 | AZC
1 | 2025.04.03 11:51:41.685 | AEN-ASD-0009 | L2, AEN-ASD-0009, Entrance C/S - F1 | Aspirating smoke detector fault | 2025.04.04 15:22:28.942 | kai_longley |  | 0 | ARN
1 | 2025.04.03 11:51:41.525 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panel(s) in the station have a fault | 2025.04.03 11:51:57.747 | emilio_ito |  | 0 | ARN
1 | 2025.04.03 11:51:41.434 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panel(s) in the portal building have a fault | 2025.04.03 11:52:18.714 | emilio_ito |  | 0 | SDU
1 | 2025.04.03 09:20:59.840 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panel(s) in the station have a fault | 2025.04.03 09:29:31.808 | kai_longley |  | 0 | PKV
1 | 2025.04.03 09:10:00.241 | PKV_ESC_0004 | Escalator 4 Bank 2 (Concourse to Platforms) | Escalator power lost | 2025.04.03 09:29:31.808 | kai_longley |  | 0 | PKV
1 | 2025.04.03 09:08:57.213 | PKV_ESC_0003 | Escalator 3 Bank 2 (Concourse to Platforms) | Escalator power lost | 2025.04.03 09:29:31.808 | kai_longley |  | 0 | PKV
1 | 2025.04.03 08:22:00.772 | DMA_DOR_B1_151-5_4 | Concourse East - Back of house East corridor | Unauthorised access | 2025.04.03 09:29:31.826 | kai_longley |  | 0 | AZC
1 | 2025.04.02 13:50:42.651 | TNC_ESC_0025 | Escalator 25 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.650 | TNC_ESC_0024 | Escalator 24 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0017 | Escalator 17 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0018 | Escalator 18 Bank 6 (Street to B3 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0019 | Escalator 19 Bank 6 (Street to B3 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0020 | Escalator 20 Bank 6 (Street to B3 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0021 | Escalator 21 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0022 | Escalator 22 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0023 | Escalator 23 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.638 | TNC_ESC_0016 | Escalator 16 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0010 | Escalator 10 Bank 4 (B3 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0011 | Escalator 11 Bank 4 (B3 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0012 | Escalator 12 Bank 4 (B3 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0013 | Escalator 13 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0014 | Escalator 14 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0015 | Escalator 15 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.616 | TNC_ESC_0001 | Escalator 1 Bank 1 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.616 | TNC_ESC_0002 | Escalator 2 Bank 1 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.616 | TNC_ESC_0003 | Escalator 3 Bank 1 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 12:07:23.289 | TSC_SDP_0107_LVT_01 | Station Drainage Pump - Level Transmitter | Drainage pit at risk of overflow | 2025.04.03 09:29:31.719 | kai_longley |  | 0 | THL
1 | 2025.04.02 08:28:50.291 | TSC_SPP_0207_LVT_01 | Sewer Pump - Level Transmitter | Sewer pit at risk of overflow | 2025.04.03 09:29:31.719 | kai_longley |  | 0 | THL
1 | 2025.04.02 07:58:40.624 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift General Fault | 2025.04.02 08:17:25.632 | josh_estrada |  | 0 | STL
1 | 2025.04.01 10:37:33.379 | DMA_LFT_0006 | Lift 6 FOH (Street to Concourse) | Lift monitoring lost | 2025.04.01 10:38:51.967 | elizabeth_james |  | 0 | AZC
1 | 2025.04.01 06:57:55.455 | TSC_LFT_0006 | Lift 6 FOH (B3 Basement to GF Ground Floor) | Lift General Fault | 2025.04.01 07:16:13.037 | kai_longley |  | 0 | THL
1 | 2025.04.01 06:57:44.450 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift General Fault | 2025.04.01 07:16:13.037 | kai_longley |  | 0 | THL
1 | 2025.03.31 15:13:51.808 | DMA_LFT_0007 | Lift 7 BOH (Street to Concourse) | Lift monitoring lost | 2025.03.31 17:56:21.708 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 15:13:51.801 | DMA_ESC_0011 | Escalator 11 Bank 7 (Street to Concourse) | Escalator communications lost | 2025.03.31 17:56:46.724 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 15:13:51.801 | DMA_ESC_0012 | Escalator 12 Bank 7 (Street to Concourse) | Escalator communications lost | 2025.03.31 17:56:46.724 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 15:13:41.050 | DMA_LFT_0003 | Lift 3 FOH (Street to Concourse) | Lift General Fault | 2025.03.31 17:56:46.724 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 15:13:39.795 | DMA_LFT_0006 | Lift 6 FOH (Street to Concourse) | Lift safety feature fault | 2025.03.31 17:56:46.724 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 15:13:39.795 | DMA_LFT_0007 | Lift 7 BOH (Street to Concourse) | Lift safety feature fault | 2025.03.31 17:56:46.724 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 10:27:17.608 | PKV_ROL_GF_PKV-RPDE_1 | Royal Parade Entry Roller Door | Unauthorised access | 2025.03.31 10:53:27.507 | dominic_dlasselle |  | 0 | PKV
1 | 2025.03.31 10:27:12.132 | PKV_DOR_B3_PKV-S-03_3 | West Upper Emergency Stairs - Basement | Unauthorised access | 2025.03.31 11:46:23.693 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:27:12.099 | PKV_DOR_B2_PKV-S-03_3 | West Emergency Stairs - Concourse | Unauthorised access | 2025.03.31 11:46:27.949 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:27:12.054 | PKV_DOR_B1_PKV-S-02_2 | East Emergency Stairs - Lower Ground Floor | Unauthorised access | 2025.03.31 11:46:40.142 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:26:27.936 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:27.761 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:27.218 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:27.034 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:26.824 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:26.654 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:26.113 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:25.940 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:25.091 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:24.918 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:24.699 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:24.524 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:24.312 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:24.137 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:23.924 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:23.752 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:23.540 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:23.367 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:23.144 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:22.970 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:21.999 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:21.846 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift General Fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:21.451 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift General Fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:18.521 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:18.335 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:18.118 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:17.925 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:17.463 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:17.277 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:16.644 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:16.456 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:16.240 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:16.049 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:15.829 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:15.640 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:15.422 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:15.233 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:15.006 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:14.814 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:14.622 | TSC_LFT_0006 | Lift 6 FOH (B3 Basement to GF Ground Floor) | Lift failed to enter secure mode | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:14.218 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift failed to enter secure mode | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:13.681 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:13.591 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:13.272 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:26:13.178 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:25:08.965 | PKV_LFT_0011 | Lift 11 BOH (Street to Lower Ground) | Lift General Fault | 2025.03.31 11:45:40.876 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:25:07.572 | PKV_LFT_0004 | Lift 4 FOH (Street to Concourse) | Lift General Fault | 2025.03.31 11:46:48.885 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:25:07.392 | PKV_LFT_0003 | Lift 3 FOH (Street to Concourse) | Lift safety feature fault | 2025.03.31 11:46:52.717 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:25:07.274 | PKV_LFT_0003 | Lift 3 FOH (Street to Concourse) | Lift General Fault | 2025.03.31 11:46:54.876 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:24:35.462 | TSC_ESC_0044 | Escalator 44 Bank 15 (B3M Basement Mezzanine to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:34.252 | TSC_ESC_0043 | Escalator 43 Bank 15 (B3M Basement Mezzanine to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:33.036 | TSC_ESC_0042 | Escalator 42 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:31.830 | TSC_ESC_0041 | Escalator 41 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:30.614 | TSC_ESC_0040 | Escalator 40 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:29.400 | TSC_ESC_0039 | Escalator 39 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:28.186 | TSC_ESC_0038 | Escalator 38 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:26.966 | TSC_ESC_0037 | Escalator 37 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:25.739 | TSC_ESC_0036 | Escalator 36 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:24.521 | TSC_ESC_0035 | Escalator 35 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:23.286 | TSC_ESC_0034 | Escalator 34 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:22.063 | TSC_ESC_0033 | Escalator 33 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:20.837 | TSC_ESC_0032 | Escalator 32 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:19.614 | TSC_ESC_0031 | Escalator 31 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:19.224 | AEN_LFT_0006 | Lift 6 BOH (Level 2 to Platforms) | Lift monitoring lost | 2025.03.31 11:47:03.089 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:24:18.410 | TSC_ESC_0030 | Escalator 30 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:17.203 | TSC_ESC_0029 | Escalator 29 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:15.980 | TSC_ESC_0028 | Escalator 28 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:14.770 | TSC_ESC_0027 | Escalator 27 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:13.545 | TSC_ESC_0026 | Escalator 26 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:12.318 | TSC_ESC_0025 | Escalator 25 Bank 9 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:11.057 | TSC_ESC_0024 | Escalator 24 Bank 9 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:09.806 | TSC_ESC_0023 | Escalator 23 Bank 8 (B1 Basement to B3M Basement Mezzanine) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:08.548 | TSC_ESC_0022 | Escalator 22 Bank 8 (B1 Basement to B3M Basement Mezzanine) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:07.316 | TSC_ESC_0021 | Escalator 21 Bank 8 (B1 Basement to B3M Basement Mezzanine) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:06.090 | TSC_ESC_0020 | Escalator 20 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:04.868 | TSC_ESC_0019 | Escalator 19 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:03.648 | TSC_ESC_0018 | Escalator 18 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:02.438 | TSC_ESC_0017 | Escalator 17 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:01.218 | TSC_ESC_0016 | Escalator 16 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:24:00.007 | TSC_ESC_0015 | Escalator 15 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:58.801 | TSC_ESC_0014 | Escalator 14 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:57.591 | TSC_ESC_0013 | Escalator 13 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:56.379 | TSC_ESC_0012 | Escalator 12 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:55.596 | TSC_ESC_0011 | Escalator 11 Bank 5 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:54.411 | TSC_ESC_0010 | Escalator 10 Bank 5 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:53.216 | TSC_ESC_0009 | Escalator 9 Bank 5 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:52.023 | TSC_ESC_0008 | Escalator 8 Bank 4 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:51.507 | TSC_ESC_0008 | Escalator 8 Bank 4 (Concourse to Platforms) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:50.731 | TSC_ESC_0007 | Escalator 7 Bank 4 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:50.231 | TSC_ESC_0007 | Escalator 7 Bank 4 (Concourse to Platforms) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:49.452 | TSC_ESC_0006 | Escalator 6 Bank 4 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:48.932 | TSC_ESC_0006 | Escalator 6 Bank 4 (Concourse to Platforms) | Escalator communications lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:48.170 | TSC_ESC_0005 | Escalator 5 Bank 3 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:46.959 | TSC_ESC_0004 | Escalator 4 Bank 3 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:45.748 | TSC_ESC_0003 | Escalator 3 Bank 3 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:44.549 | TSC_ESC_0002 | Escalator 2 Bank 2 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:44.112 | TSC_ESC_0002 | Escalator 2 Bank 2 (Concourse to Platforms) | Escalator stopped (brake mechanism fault) | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:43.257 | TSC_ESC_0001 | Escalator 1 Bank 1 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:41.803 | TNC_ESC_0009 | Escalator 9 Bank 3 (B5 Basement to B6 Basement) | Escalator General Fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:40.729 | TNC_ESC_0008 | Escalator 8 Bank 3 (B5 Basement to B6 Basement) | Escalator General Fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:39.656 | TNC_ESC_0007 | Escalator 7 Bank 3 (B5 Basement to B6 Basement) | Escalator General Fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:38.597 | TNC_ESC_0006 | Escalator 6 Bank 2 (B5 Basement to B6 Basement) | Escalator General Fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:37.512 | TNC_ESC_0005 | Escalator 5 Bank 2 (B5 Basement to B6 Basement) | Escalator General Fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:36.459 | TNC_ESC_0004 | Escalator 4 Bank 2 (B5 Basement to B6 Basement) | Escalator General Fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:35.655 | PKV_FCU_0215_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable | 2025.03.31 11:48:03.150 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:23:16.626 | PKV_ESC_0002 | Escalator 2 Bank 1 (Concourse to Platforms) | Escalator power lost | 2025.03.31 11:45:21.275 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:23:15.742 | PKV_ESC_0001 | Escalator 1 Bank 1 (Concourse to Platforms) | Escalator power lost | 2025.03.31 11:45:19.648 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:23:10.119 | AEN_ESC_0007 | Escalator 7 Bank 5 (Street to Concourse) | Escalator power lost | 2025.03.31 11:45:24.299 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:09.317 | AEN_ESC_0006 | Escalator 6 Bank 5 (Street to Concourse) | Escalator power lost | 2025.03.31 11:45:23.027 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:08.538 | AEN_ESC_0005 | Escalator 5 Bank 5 (Street to Concourse) | Escalator power lost | 2025.03.31 11:45:27.273 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:07.016 | AEN_ESC_0003 | Escalator 3 Bank 3 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 11:45:25.939 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:06.883 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 2 connection 2 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.877 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 2 connection 1 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.871 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 1 connection 2 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.866 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 1 connection 1 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.858 | TSC_SYS_0003 | Town Hall EWIS connection status | All connections lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.818 | TSC_SYS_0001 | Town Hall FDS (Modbus) connection status | PSS 2 connection 1 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.810 | TSC_SYS_0001 | Town Hall FDS (Modbus) connection status | PSS 1 connection 1 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.802 | TSC_SYS_0001 | Town Hall FDS (Modbus) connection status | All connections lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.534 | AEN_ESC_0003 | Escalator 3 Bank 3 (Concourse to Platforms) | Escalator stopped (main drive chain top right) | 2025.03.31 11:45:29.274 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:05.442 | AEN_ESC_0001 | Escalator 1 Bank 1 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 11:45:30.618 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:01.437 | TNC_SYS_0003 | State Library EWIS connection status | PSS 2 connection 2 lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:01.431 | TNC_SYS_0003 | State Library EWIS connection status | PSS 2 connection 1 lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:01.426 | TNC_SYS_0003 | State Library EWIS connection status | PSS 1 connection 2 lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:01.420 | TNC_SYS_0003 | State Library EWIS connection status | PSS 1 connection 1 lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:01.411 | TNC_SYS_0003 | State Library EWIS connection status | All connections lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL