## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.03.28 07:49:38.932 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door opened! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.28 00:01:03.978 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.28 00:01:03.978 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.27 16:39:32.623 | DMA-E-EED-040 | Anzac Platform 2 Zone 3 EED 40 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 16:29:26.630 | DMA-E-EED-023 | Anzac Platform 2 Zone 3 EED 23 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 16:29:26.630 | DMA-E-EED-022 | Anzac Platform 2 Zone 3 EED 22 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 16:19:34.629 | DMA-W-EED-040 | Anzac Platform 1 Zone 3 EED 40 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 16:16:26.624 | DMA-W-EED-014 | Anzac Platform 1 Zone 1 EED 14 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 16:15:54.620 | DMA-W-EED-013 | Anzac Platform 1 Zone 1 EED 13 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 12:00:04.343 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 12:00:04.343 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 11:44:30.468 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.27 10:35:12.627 | DMA-W-EED-001 | Anzac Platform 1 Zone 1 EED 01 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 09:58:48.929 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.27 09:53:50.494 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.27 09:53:50.493 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.27 09:41:18.635 | DMA-E-PSD-029 | Anzac Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 09:41:18.635 | DMA-W-PSD-002 | Anzac Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 09:34:32.930 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.27 09:25:40.929 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.27 09:08:02.936 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.27 08:29:28.959 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.27 08:28:20.498 | TNC-W-PSD-026 | State Library Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.27 08:28:20.483 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.27 08:06:20.467 | TNC-E-EED-001 | State Library Platform 2 Zone 1 EED 01 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.27 08:04:04.450 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.27 07:23:57.759 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 07:23:00.752 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 03:34:50.445 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.27 03:33:00.454 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-004 | Arden Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-006 | Arden Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-012 | Arden Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-014 | Arden Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-015 | Arden Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-016 | Arden Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-019 | Arden Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-020 | Arden Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 00:21:44.613 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.26 00:21:40.606 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.25 15:31:36.379 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 12:24:02.607 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.25 11:42:04.285 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:48:26.040 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:47:03.822 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.25 09:47:03.755 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.25 09:45:42.174 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.25 09:44:44.584 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.25 09:43:39.203 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.25 09:43:39.087 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.25 09:42:58.661 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:42:58.632 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:42:40.875 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:40.370 | TSC-W-PSD-029 | Town Hall Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:39.867 | TSC-W-PSD-028 | Town Hall Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:39.367 | TSC-W-PSD-027 | Town Hall Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:38.865 | TSC-W-PSD-026 | Town Hall Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:38.362 | TSC-W-PSD-025 | Town Hall Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:37.858 | TSC-W-PSD-024 | Town Hall Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:37.358 | TSC-W-PSD-023 | Town Hall Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:36.854 | TSC-W-PSD-022 | Town Hall Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:36.353 | TSC-W-PSD-021 | Town Hall Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:35.853 | TSC-W-PSD-020 | Town Hall Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:35.354 | TSC-W-PSD-019 | Town Hall Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:34.847 | TSC-W-PSD-018 | Town Hall Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:34.345 | TSC-W-PSD-017 | Town Hall Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:33.345 | TSC-W-PSD-015 | Town Hall Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:32.840 | TSC-W-PSD-014 | Town Hall Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:32.340 | TSC-W-PSD-013 | Town Hall Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:31.836 | TSC-W-PSD-012 | Town Hall Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:31.332 | TSC-W-PSD-011 | Town Hall Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:30.827 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:30.318 | TSC-W-PSD-009 | Town Hall Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:29.815 | TSC-W-PSD-008 | Town Hall Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:29.316 | TSC-W-PSD-007 | Town Hall Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:28.810 | TSC-W-PSD-006 | Town Hall Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:28.310 | TSC-W-PSD-005 | Town Hall Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:27.808 | TSC-W-PSD-004 | Town Hall Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:27.311 | TSC-W-PSD-003 | Town Hall Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:26.809 | TSC-W-PSD-002 | Town Hall Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:26.309 | TSC-W-PSD-001 | Town Hall Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:25.809 | TSC-E-PSD-030 | Town Hall Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:25.310 | TSC-E-PSD-029 | Town Hall Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:24.805 | TSC-E-PSD-028 | Town Hall Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:24.306 | TSC-E-PSD-027 | Town Hall Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:23.806 | TSC-E-PSD-026 | Town Hall Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:23.309 | TSC-E-PSD-025 | Town Hall Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:22.805 | TSC-E-PSD-024 | Town Hall Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:22.309 | TSC-E-PSD-023 | Town Hall Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:21.807 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:21.308 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:20.305 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:19.801 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:19.303 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:18.804 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:18.299 | TSC-E-PSD-015 | Town Hall Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:17.802 | TSC-E-PSD-014 | Town Hall Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:17.303 | TSC-E-PSD-013 | Town Hall Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:16.790 | TSC-E-PSD-012 | Town Hall Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:16.289 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:15.266 | TSC-E-PSD-009 | Town Hall Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:14.755 | TSC-E-PSD-008 | Town Hall Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:14.253 | TSC-E-PSD-007 | Town Hall Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:13.752 | TSC-E-PSD-006 | Town Hall Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:13.256 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:12.132 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.25 09:42:12.113 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.25 09:42:06.484 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD obstructed on opening or closing! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.25 09:41:11.979 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.25 09:41:11.231 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.25 09:41:10.979 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 07:49:34.931 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.27 14:11:26.183 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.27 08:40:02.779 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.27 07:06:21.879 | _Mod_Plc_1_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden PSD Servers |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.27 07:06:21.872 | _Mod_Plc_1 | Arden Server 1 | Communications Fault - Arden Server 1 to Arden PSD Servers |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 19:10:13.393 | AEN_ATSComm | ATS/HCS External system heartbeat | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 15:31:36.379 | AEN_SSX_0002 | TVCS Shaft Smoke Detection System 02 | External Smoke Detected! |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 10:37:49.762 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.25 10:37:49.746 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 10:36:43.499 | SYP-PLC-0001 | South Yarra PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 10:33:24.330 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.03.25 10:30:57.865 | _Mod_Plc_2_2 | MTARD:_Mod_Plc_2_2. | Communications Fault - Arden Server 2 to Arden FDS Gateway |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.25 10:30:57.865 | _Mod_Plc_4_2 | MTARD:_Mod_Plc_4_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.25 10:30:57.865 | _Mod_Plc_3_2 | MTARD:_Mod_Plc_3_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.25 09:45:05.520 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Power supply to fire panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 09:44:24.554 | AEN_TNCComm | State Library TVCS PLC Communication heartbeat | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 09:44:24.554 | AEN_TSCComm | Town Hall TVCS PLC Communication heartbeat | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 09:42:12.832 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 09:42:12.818 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 09:41:28.114 | DMA-FIP-0005 | Anzac Station SHCIE Panel 5 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 09:41:27.871 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 09:41:27.625 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 09:41:27.377 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 07:54:04.231 | AEN_DOR_B2_ESC_STAIRS_03_2 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.28 07:53:17.263 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.28 07:43:35.999 | PAE_LFT_0002 | Lift 2 BOH (Ground Floor to Level 1) | Lift General Fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.28 07:38:13.259 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 06:55:14.978 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 06:24:14.642 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 20:48:00.043 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 20:26:20.926 | WPZ-FIP-0001 | Western Portal Station Fire Panel | Fire panels in the station have a power fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 16:04:15.010 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 15:58:50.159 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 15:55:17.170 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 15:47:07.215 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 14:31:06.142 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 14:31:05.881 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 14:06:16.279 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 13:48:27.564 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 13:45:55.234 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 13:39:26.001 | AEN_LFT_0005 | Lift 5 BOH (Platforms to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 13:27:02.062 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 13:27:02.062 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 13:24:22.969 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 13:24:22.969 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 13:05:52.101 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 13:05:46.214 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 13:02:33.202 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 13:02:16.242 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 13:00:30.125 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 12:24:04.455 | TNC-E-PSD-001 | State Library Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.27 12:21:41.864 | AEN_NDB_0407_MFM_01 | AEN-NDB-0407 Section 01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 11:53:51.245 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 11:51:53.286 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 11:51:53.286 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1001 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 10:25:38.768 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 10:12:03.984 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 08:48:56.770 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 08:48:06.614 | DMA-E-PSD-029 | Anzac Platform 2 Zone 3 PSD 29 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 08:44:42.611 | DMA-W-PSD-002 | Anzac Platform 1 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 08:40:02.769 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 08:34:24.934 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.27 08:14:22.454 | TNC-W-PSD-026 | State Library Platform 1 Zone 3 PSD 26 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.27 08:08:04.453 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.27 07:59:00.472 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 07:56:40.474 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:43:04.925 | PKV_FCU_1119_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:42:01.847 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:42:01.846 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:39:05.756 | PKV_ACH_1903 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:39:04.950 | PKV_ACH_1901_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:39:04.950 | PKV_HWH_1901_ENG_01 | Hot Water - Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:37:39.839 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.865 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.865 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.865 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.861 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.850 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.836 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.836 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.836 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.836 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.825 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.825 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:02.971 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:02.960 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.26 20:19:47.575 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.575 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.575 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.575 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.575 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.574 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 20:19:47.572 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 16:20:31.120 | AEN_DOR_LG_405-3_2 | Fire escape Corridor - Lower Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.26 16:20:31.075 | AEN_DOR_GF_246-2_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.26 16:20:31.059 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.26 16:20:31.008 | AEN_DOR_B1_ESC_STAIRS_03_1 | West Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.26 16:20:31.003 | AEN_DOR_B1_ESC_STAIR_04_1 | Security Door (B1 EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.26 13:52:54.863 | AEN_MSB_0404_MFM_02 | AEN-LFT-0002 Multi-function Meter | Communications lost alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.26 12:41:38.250 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 11:53:12.514 | PKV_MSB_0403_MFM_18 | PKV-CHD-0401 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.26 11:21:01.118 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.26 10:50:59.369 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 15:31:36.409 | AEN_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 11:18:37.777 | PKV_MSB_0402_MFM_00 | PKV-TRD-2212 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 11:18:32.777 | PKV_MSB_0404_MFM_00 | PKV-TRD-2214 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 10:37:49.767 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.765 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.25 10:37:49.757 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.754 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.25 10:36:43.488 | SYP-LS-1019 | Junction Box JB1003 Tamper Input | Tamper detected |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 10:36:43.488 | SYP-LS-1020 | Junction Box JB1004 Tamper Input | Tamper detected |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 09:42:33.599 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:20.560 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:15.522 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:12.510 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:12.009 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:11.508 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:11.005 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:41:50.756 | TNC-W-PSD-003 | State Library Platform 1 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:42.701 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:41:41.857 | TNC-E-PSD-021 | State Library Platform 2 Zone 2 PSD 21 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:35.190 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:29.340 | TNC-E-PSD-004 | State Library Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:28.554 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:28.063 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:27.771 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:40:53.299 | PKV_NDB_0401_MFM_05 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:53.243 | PKV_NDB_0401_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:53.187 | PKV_NDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:53.130 | PKV_NDB_0401_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:53.073 | PKV_NDB_0401_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:53.015 | PKV_MSB_0404_MFM_19 | PKV-CHD-0402 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:52.959 | PKV_MSB_0404_MFM_18 | PKV-ESC-0013 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:52.484 | PKV_MSB_0403_MFM_17 | PKV-ESC-0009 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.764 | PKV_MSB_0401_MFM_20 | PKV-ESC-0007 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.641 | PKV_MSB_0401_MFM_10 | PKV-LFT-0011 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.584 | PKV_MSB_0401_MFM_09 | PKV-LFT-0010 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.406 | PKV_MSB_0401_MFM_04 | PKV-ESC-0012 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.262 | PKV_MCC_0402_MFM_22 | PKV-SPF-0302 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.119 | PKV_MCC_0402_MFM_15 | PKV-OFN-0003 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.062 | PKV_MCC_0402_MFM_09 | PKV-TFN-0103-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:50.866 | PKV_MCC_0401_MFM_07 | PKV-TFN-0203-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:49.936 | PKV_EDB_0404_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:49.879 | PKV_EDB_0404_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:49.821 | PKV_EDB_0404_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:49.765 | PKV_EDB_0404_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:49.505 | PKV_EDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:48.304 | PKV_CDB_0406_MFM_03 | SECTION 3 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 12HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:48.246 | PKV_CDB_0406_MFM_02 | SECTION 2 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 8HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:48.189 | PKV_CDB_0406_MFM_01 | SECTION 1 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 2HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
WENT UNACK High | 2024.03.28 07:52:26.465 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.03.28 07:55:04.466 | 0 | PKV
WENT UNACK High | 2024.03.28 00:01:06.940 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.03.28 00:01:16.939 | 0 | THL
WENT UNACK High | 2024.03.28 00:01:03.328 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.03.28 06:39:19.332 | 0 | AZC
WENT UNACK High | 2024.03.28 00:00:34.451 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.03.28 00:00:40.449 | 0 | STL
WENT UNACK High | 2024.03.27 19:48:36.932 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.03.27 19:48:46.935 | 0 | THL
WENT UNACK High | 2024.03.27 16:40:06.617 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.03.27 16:40:20.612 | 0 | AZC
WENT UNACK High | 2024.03.27 16:39:32.610 | DMA-E-EED-040 | Anzac Platform 2 Zone 3 EED 40 | EED opened! |  |  | 2024.03.27 16:39:48.615 | 0 | AZC
WENT UNACK High | 2024.03.27 16:29:26.615 | DMA-E-EED-022 | Anzac Platform 2 Zone 3 EED 22 | EED opened! |  |  | 2024.03.27 16:29:58.609 | 0 | AZC
WENT UNACK High | 2024.03.27 16:29:26.615 | DMA-E-EED-023 | Anzac Platform 2 Zone 3 EED 23 | EED opened! |  |  | 2024.03.27 16:29:56.616 | 0 | AZC
WENT UNACK High | 2024.03.27 16:24:04.608 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.03.27 16:24:16.613 | 0 | AZC
WENT UNACK High | 2024.03.27 16:20:24.607 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.03.27 16:21:10.613 | 0 | AZC
WENT UNACK High | 2024.03.27 16:19:34.615 | DMA-W-EED-040 | Anzac Platform 1 Zone 3 EED 40 | EED opened! |  |  | 2024.03.27 16:20:08.608 | 0 | AZC
WENT UNACK High | 2024.03.27 16:16:26.611 | DMA-W-EED-014 | Anzac Platform 1 Zone 1 EED 14 | EED opened! |  |  | 2024.03.27 16:16:48.612 | 0 | AZC
WENT UNACK High | 2024.03.27 16:15:54.607 | DMA-W-EED-013 | Anzac Platform 1 Zone 1 EED 13 | EED opened! |  |  | 2024.03.27 16:16:20.607 | 0 | AZC
WENT UNACK High | 2024.03.27 16:12:58.605 | DMA-W-EED-001 | Anzac Platform 1 Zone 1 EED 01 | EED opened! |  |  | 2024.03.27 16:13:58.612 | 0 | AZC
WENT UNACK High | 2024.03.27 15:39:52.609 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.03.27 15:48:24.605 | 0 | AZC
WENT UNACK High | 2024.03.27 15:30:30.450 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.03.27 15:32:50.450 | 0 | STL
WENT UNACK High | 2024.03.27 15:27:08.453 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.03.27 15:29:56.456 | 0 | STL
WENT UNACK High | 2024.03.27 13:45:00.469 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.03.27 13:45:16.468 | 0 | PKV
WENT UNACK High | 2024.03.27 13:37:48.467 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.03.27 13:44:02.474 | 0 | PKV
WENT UNACK High | 2024.03.27 13:23:03.035 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke or heat detected! Extend timer within 30s to investigate!! |  |  | 2024.03.27 13:23:04.020 | 0 | AZC
WENT UNACK High | 2024.03.27 13:20:50.054 | DMA-Z-7407 | ZONE 7407: GF, DMA-AA-01 Escalator 7 (Top Pit) | Confirmed fire! |  |  | 2024.03.27 13:23:26.042 | 0 | AZC
WENT UNACK High | 2024.03.27 13:20:28.035 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  | 2024.03.27 13:20:33.029 | 0 | AZC
WENT UNACK High | 2024.03.27 12:59:18.470 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.03.27 13:14:48.473 | 0 | PKV
WENT UNACK High | 2024.03.27 12:07:52.935 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.03.27 14:10:06.936 | 0 | THL
WENT UNACK High | 2024.03.27 11:59:09.348 | DMA_FIO_0148_CONC | Tunnel Vent. Zone S10 - Fire Confirmed at Concourse | Shaft smoke detection unavailable! |  |  | 2024.03.27 11:59:59.347 | 0 | AZC
WENT UNACK High | 2024.03.27 11:59:09.348 | DMA_FIO_0148_PLAT | Tunnel Vent. Zone S10 - Fire Confirmed at Platform | Shaft smoke detection unavailable! |  |  | 2024.03.27 11:59:59.347 | 0 | AZC
WENT UNACK High | 2024.03.27 11:59:09.348 | DMA_FIO_0148_RE0101 | Tunnel Vent. Zone S10 - Fire Confirmed at Retail Room 901-01 | Shaft smoke detection unavailable! |  |  | 2024.03.27 11:59:59.347 | 0 | AZC
WENT UNACK High | 2024.03.27 11:59:09.348 | DMA_FIO_0148_RE0102 | Tunnel Vent. Zone S10 - Fire Confirmed at Retail Room 901-02 | Shaft smoke detection unavailable! |  |  | 2024.03.27 11:59:59.347 | 0 | AZC
WENT UNACK High | 2024.03.27 11:59:09.348 | DMA_FIO_0148_RE0103 | Tunnel Vent. Zone S10 - Fire Confirmed at Retail Room 901-03 | Shaft smoke detection unavailable! |  |  | 2024.03.27 11:59:59.347 | 0 | AZC
WENT UNACK High | 2024.03.27 11:21:54.450 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.03.27 11:22:48.446 | 0 | STL
WENT UNACK High | 2024.03.27 10:22:01.935 | PAE-Z-12111 | ZONE 12111: L1, WPZ-C-01 UPS/BATT Room 1 | Smoke or heat detected - fire unconfirmed! |  |  | 2024.03.27 10:22:40.928 | 0 | SDU
WENT UNACK High | 2024.03.27 10:20:02.928 | PAE-Z-12121 | ZONE 12121: L1, WPZ-D-01 UPS/BATT Room 2 | Smoke or heat detected - fire unconfirmed! |  |  | 2024.03.27 10:21:23.929 | 0 | SDU
WENT UNACK High | 2024.03.27 10:08:09.377 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.03.27 10:11:49.380 | 0 | AZC
WENT UNACK High | 2024.03.27 10:07:19.929 | PAE-Z-1301 | ZONE 1301: GF, WPZ-A-01 | Smoke or heat detected - fire unconfirmed! |  |  | 2024.03.27 10:07:59.929 | 0 | SDU
WENT UNACK High | 2024.03.27 08:56:15.047 | DMA-Z-7709 | ZONE 7709: B1, DMA-LT-09 LIFT 9 | Confirmed fire! |  |  | 2024.03.27 09:27:15.044 | 0 | AZC
WENT UNACK High | 2024.03.27 08:48:26.608 | DMA-E-PSD-029 | Anzac Platform 2 Zone 3 PSD 29 | Manual release activated! |  |  | 2024.03.27 08:48:58.614 | 0 | AZC
WENT UNACK High | 2024.03.27 08:45:02.608 | DMA-W-PSD-002 | Anzac Platform 1 Zone 1 PSD 02 | Manual release activated! |  |  | 2024.03.27 08:45:32.608 | 0 | AZC
WENT UNACK High | 2024.03.27 08:34:28.937 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | Manual release activated! |  |  | 2024.03.27 08:35:00.932 | 0 | THL
WENT UNACK High | 2024.03.27 08:28:42.934 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | Manual release activated! |  |  | 2024.03.27 08:29:12.934 | 0 | THL
WENT UNACK High | 2024.03.25 08:40:29.803 | _Driver1 | MTAZC:_Driver1. |  |  |  | 2024.03.27 10:00:09.344 | 0 | AZC
WENT UNACK Med | 2024.03.28 07:52:18.475 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.03.28 07:55:06.467 | 0 | PKV
WENT UNACK Med | 2024.03.28 06:56:42.067 | AEN-FIP-0005 | Arden Station Fire Panel 4 | Power supply to gas supression panel fault |  |  | 2024.03.28 07:26:48.098 | 0 | ARN
WENT UNACK Med | 2024.03.28 06:14:44.928 | TSC-E-PSD-007 | Town Hall Platform 2 Zone 1 PSD 07 | Door control unit communication lost |  |  | 2024.03.28 06:15:42.931 | 0 | THL
WENT UNACK Med | 2024.03.28 00:00:24.451 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.03.28 00:00:42.451 | 0 | STL
WENT UNACK Med | 2024.03.27 21:40:08.935 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.03.27 21:46:32.936 | 0 | THL
WENT UNACK Med | 2024.03.27 19:19:56.931 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.03.27 19:48:48.929 | 0 | THL
WENT UNACK Med | 2024.03.27 17:12:57.481 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  | 2024.03.27 22:32:20.489 | 0 | STL
WENT UNACK Med | 2024.03.27 15:52:17.937 | PKV_FCU_1113_14_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.03.27 15:53:39.070 | 0 | PKV
WENT UNACK Med | 2024.03.27 15:40:22.609 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.03.27 15:48:56.612 | 0 | AZC
WENT UNACK Med | 2024.03.27 15:30:26.445 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.03.27 15:32:52.452 | 0 | STL
WENT UNACK Med | 2024.03.27 15:27:04.451 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.03.27 15:29:58.452 | 0 | STL
WENT UNACK Med | 2024.03.27 15:08:38.616 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.03.27 15:38:32.612 | 0 | AZC
WENT UNACK Med | 2024.03.27 14:06:16.277 | _Conn_event_0_2_to_ctrl_2_2 | Distributed Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.03.27 14:06:17.243 | 0 | THL
WENT UNACK Med | 2024.03.27 14:05:52.415 | _Conn_event_0_1_to_ctrl_2_1 | Distributed Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.03.27 14:05:53.361 | 0 | ARN
WENT UNACK Med | 2024.03.27 13:49:22.472 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  | 2024.03.27 22:32:20.472 | 0 | PKV
WENT UNACK Med | 2024.03.27 13:44:54.469 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.03.27 13:45:18.469 | 0 | PKV
WENT UNACK Med | 2024.03.27 13:37:34.476 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.03.27 13:44:02.474 | 0 | PKV
WENT UNACK Med | 2024.03.27 12:16:26.612 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.03.27 12:36:06.614 | 0 | AZC
WENT UNACK Med | 2024.03.27 12:07:58.935 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.03.27 14:10:06.936 | 0 | THL
WENT UNACK Med | 2024.03.27 12:02:35.622 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD |  |  | 2024.03.27 12:02:50.619 | 0 | AZC
WENT UNACK Med | 2024.03.27 12:00:28.613 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.03.27 12:14:04.611 | 0 | AZC
WENT UNACK Med | 2024.03.27 11:55:41.088 | DMA-C-01-EVAC | EWIS device for Anzac | EWIS fault |  |  | 2024.03.27 11:55:42.063 | 0 | AZC
WENT UNACK Med | 2024.03.27 11:55:40.624 | DMA-S-STN | Anzac Station PSD System | PSD lost connection to signalling system! |  |  | 2024.03.27 12:02:50.619 | 0 | AZC
WENT UNACK Med | 2024.03.27 10:27:44.927 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  | 2024.03.27 10:44:38.928 | 0 | THL
WENT UNACK Med | 2024.03.27 10:11:36.445 | TNC-S-STN | State Library Station PSD System | PSD lost connection to signalling system! |  |  | 2024.03.27 10:23:26.444 | 0 | STL
WENT UNACK Med | 2024.03.27 06:35:50.362 | _PKV-BMS-PLC_2 | MTPKV:_PKV-BMS-PLC_2. | Communications Fault - Parkville Server 2 to Parkville BMS PLC |  |  | 2024.03.27 06:35:56.154 | 0 | STL
WENT UNACK Med | 2024.03.26 15:21:42.281 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  | 2024.03.26 15:21:47.091 | 0 | AZC
WENT UNACK Low | 2024.03.28 07:52:05.971 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.03.28 07:52:06.819 | 0 | THL
WENT UNACK Low | 2024.03.28 07:49:11.521 | AEN_DOR_B2_403-1_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.03.28 08:01:25.216 | 0 | ARN
WENT UNACK Low | 2024.03.28 07:42:32.175 | DMA_FCU_0121_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.03.28 07:42:52.189 | 0 | AZC
WENT UNACK Low | 2024.03.28 07:41:56.272 | DMA-FLS-0004 | GF, DMA-FLS-0004 Tram Stop Spr.F/S | Heat or smoke detector fault |  |  | 2024.03.28 07:43:24.200 | 0 | AZC
WENT UNACK Low | 2024.03.28 07:03:51.386 | AEN_DOR_GF_405-2_1 | Security Door (GF EAST) | Door open too long |  |  | 2024.03.28 07:09:14.518 | 0 | ARN
WENT UNACK Low | 2024.03.28 06:24:59.012 | AEN_LFT_0006 | Lift 6 BOH (Platforms to Level 2) | Lift General Fault |  |  | 2024.03.28 06:48:31.013 | 0 | ARN
WENT UNACK Low | 2024.03.28 06:03:28.989 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.03.28 06:17:40.036 | 0 | ARN
WENT UNACK Low | 2024.03.28 05:50:33.266 | AEN_AHU_1103_MVD_03 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.03.28 05:50:34.168 | 0 | ARN
WENT UNACK Low | 2024.03.28 04:57:59.197 | AEN-ASD-0056 | B1, AEN-ASD-0056, 602-3 TRAC SUB 3 - F1 | Aspirating smoke detector fault |  |  | 2024.03.28 04:59:22.201 | 0 | ARN
WENT UNACK Low | 2024.03.27 23:23:06.148 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.03.27 23:23:17.005 | 0 | PKV
WENT UNACK Low | 2024.03.27 20:33:52.977 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.03.27 20:34:01.802 | 0 | PKV
WENT UNACK Low | 2024.03.27 18:41:43.346 | DMA_TEXB | Tunnel Ambient Temperature Control | Temperature Sensors B - Discrepancy |  |  | 2024.03.27 18:43:10.337 | 0 | AZC
WENT UNACK Low | 2024.03.27 17:40:37.040 | AEN_AHU_0101_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.03.27 17:41:32.014 | 0 | ARN
WENT UNACK Low | 2024.03.27 17:40:37.040 | AEN_AHU_0101_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.03.27 17:41:26.016 | 0 | ARN
WENT UNACK Low | 2024.03.27 17:01:15.021 | AEN_AHU_1101_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.03.27 17:01:32.029 | 0 | ARN
WENT UNACK Low | 2024.03.27 17:01:15.021 | AEN_AHU_1101_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.03.27 17:01:16.016 | 0 | ARN
WENT UNACK Low | 2024.03.27 16:52:02.883 | AEN_DOR_L1_ESC_STAIRS_5_1 | Security Door (L1 EAST) | Unauthorised access |  |  | 2024.03.27 16:52:05.994 | 0 | ARN
WENT UNACK Low | 2024.03.27 16:19:01.017 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.03.28 06:07:45.020 | 0 | SDU
WENT UNACK Low | 2024.03.27 15:18:47.066 | PKV_FCU_0201_02_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.03.27 15:19:11.203 | 0 | PKV
WENT UNACK Low | 2024.03.27 15:16:21.033 | PKV_FCU_0201_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.03.27 15:17:14.031 | 0 | PKV
WENT UNACK Low | 2024.03.27 14:45:02.640 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.03.27 14:45:18.012 | 0 | ARN
WENT UNACK Low | 2024.03.27 14:38:07.340 | DMA_TEXB | Tunnel Ambient Temperature Control | Tunnel B - Ambient Temperature Control Unavailable |  |  | 2024.03.27 14:38:47.339 | 0 | AZC
WENT UNACK Low | 2024.03.27 14:28:42.322 | AEN_DOR_B2_ESC_STAIRS_03_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.03.27 14:28:45.584 | 0 | ARN
WENT UNACK Low | 2024.03.27 14:17:09.342 | DMA_TEXA | Tunnel Ambient Temperature Control | Tunnel A - Ambient Temperature Control Unavailable |  |  | 2024.03.27 14:18:09.340 | 0 | AZC
WENT UNACK Low | 2024.03.27 14:05:52.418 | _ReduManager_2 | Distributed Server 2 | Server 2 - Passive |  |  | 2024.03.27 14:06:16.279 | 0 | THL
WENT UNACK Low | 2024.03.27 13:27:19.173 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Fire Above Escalator |  |  | 2024.03.27 13:27:24.072 | 0 | AZC
WENT UNACK Low | 2024.03.27 12:58:51.197 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.03.27 12:59:17.212 | 0 | AZC
WENT UNACK Low | 2024.03.27 11:59:39.343 | DMA_HCS_0001 | Staff Protection Switch - Protection Enabled Signal 01 | Staff Protection Switch fault |  |  | 2024.03.27 11:59:59.347 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.760 | DMA-FPD-0005 | B1, DMA-FPD-0005 SPF-0101 Plant Rm 802-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.373 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.615 | DMA-FPD-0006 | B1, DMA-FPD-0006 SPF-0102 Plant Rm 802-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.373 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.614 | DMA-SPE-0569 | B1, DMA-SPE-0569 FIRE LOBBY 406-8 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.614 | DMA-FPD-0007 | B1, DMA-FPD-0007 FIRE SPF ROOM 1 802-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.614 | DMA-SPE-0670 | GF, DMA-SPE-0670 LIFT DMA-LT-0004 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.614 | DMA-FPD-0001 | B1, DMA-FPD-0001 ECS PLANTROOM 1 801-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.373 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.611 | DMA-SPE-0581 | B1, DMA-SPE-0581 NON-HABIT VOID 297-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.611 | DMA-SPE-0582 | B1, DMA-SPE-0582 NON-HABIT VOID 297-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.611 | DMA-SPE-0583 | B1, DMA-SPE-0583 NON-HABIT VOID 297-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.611 | DMA-SPE-0584 | B1, DMA-SPE-0584 FIRE LOBBY 406-8 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.538 | DMA-SPE-0206 | B1, DMA-SPE-0206 FIELD DEVICE RM 3 710-3 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.127 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.538 | DMA-SPE-0207 | B1, DMA-SPE-0207 LV DB ROOM 653-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.127 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.538 | DMA-SPE-0448 | B1, DMA-SPE-0448 RISER | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.127 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.538 | DMA-SPE-0580 | B1, DMA-SPE-0580 STAFF BIKE STORE 290-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.156 | DMA-SPE-0213 | B1, DMA-SPE-0213 ECS PLANTROOM 1 801-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.156 | DMA-SPE-0218 | B1, DMA-SPE-0218 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.156 | DMA-SPE-0238 | B1, DMA-SPE-0238 HVAC PLANT ROOM 811-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.156 | DMA-SPE-0239 | B1, DMA-SPE-0239 ECS PLANTROOM 1 801-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.156 | DMA-SPE-0240 | B1, DMA-SPE-0240 ECS PLANTROOM 1 801-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.156 | DMA-SPE-0241 | B1, DMA-SPE-0241 ECS PLANTROOM 1 801-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.156 | DMA-SPE-0242 | B1, DMA-SPE-0242 ECS PLANTROOM 1 801-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.156 | DMA-SPE-0545 | B1, DMA-SPE-0545 FIRE SPF ROOM 1 802-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.106 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.156 | DMA-SPE-0546 | B1, DMA-SPE-0546 FIRE SPF ROOM 3 802-3 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.221 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:56.155 | DMA-SPE-0212 | B1, DMA-SPE-0212 ECS PLANTROOM 1 801-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.227 | DMA-SPE-0221 | B1, DMA-SPE-0221 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.227 | DMA-SPE-0222 | B1, DMA-SPE-0222 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.227 | DMA-SPE-0430 | B1, DMA-SPE-0430 HV RISER 620-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.227 | DMA-SPE-0434 | B1, DMA-SPE-0434 LV RISER 660-2 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.227 | DMA-SPE-0435 | B1, DMA-SPE-0435 COMM'S RISER 701-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.227 | DMA-SPE-0436 | B1, DMA-SPE-0436 COMM'S RISER 701-2 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.106 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.227 | DMA-SPE-0437 | B1, DMA-SPE-0437 MECHANICAL RISER 821-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.106 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.227 | DMA-SPE-0561 | B1, DMA-SPE-0561 OCS SPARE ROOM 245-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.221 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.227 | DMA-SPE-0746 | B2, DMA-SPE-0746 AIR LOCK 406-4 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.221 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.226 | DMA-SPE-0195 | B1, DMA-SPE-0195 GAS CYLINDER RM 409-2 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.226 | DMA-SPE-0197 | B1, DMA-SPE-0197 GEN. EXH FAN RM 803-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.226 | DMA-SPE-0198 | B1, DMA-SPE-0198 GEN. EXH FAN RM 803-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.226 | DMA-SPE-0199 | B1, DMA-SPE-0199 GEN. EXH FAN RM 803-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.226 | DMA-SPE-0210 | B1, DMA-SPE-0210 FIRE LOBBY 406-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.226 | DMA-SPE-0211 | B1, DMA-SPE-0211 RETAIL PLANT RM 931-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.226 | DMA-SPE-0219 | B1, DMA-SPE-0219 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:55.226 | DMA-SPE-0220 | B1, DMA-SPE-0220 HVAC PLANT ROOM 811-3 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:20.105 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:53.114 | DMA-FLS-0007 | GF DMA-FLS-0007 Entry Port 100-2 Spr.F/S | Heat or smoke detector fault |  |  | 2024.03.27 09:27:17.237 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:53.114 | DMA-IVM-0020 | B1, DMA-IVM-0020 ECS PLANT 801-1 Hyd.M/V | Heat or smoke detector fault |  |  | 2024.03.27 09:27:17.237 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:53.114 | DMA-IVM-0031 | B1, DMA-IVM-0031 Retail 901-02 Spr.MV | Heat or smoke detector fault |  |  | 2024.03.27 09:27:17.237 | 0 | AZC
WENT UNACK Low | 2024.03.27 09:08:53.114 | DMA-IVM-0040 | B1, DMA-IVM-0040 Entry Port 100-2 Spr.MV | Heat or smoke detector fault |  |  | 2024.03.27 09:27:17.237 | 0 | AZC
WENT UNACK Low | 2024.03.27 08:45:58.617 | DMA-E-PSD-026 | Anzac Platform 2 Zone 3 PSD 26 | PSD isolated |  |  | 2024.03.27 08:46:42.609 | 0 | AZC
WENT UNACK Low | 2024.03.27 07:42:19.181 | DMA-SPE-0255 | B1, DMA-SPE-0255 RETAIL UNIT 901-3 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 07:42:19.181 | DMA-SPE-0259 | B1, DMA-SPE-0259 RETAIL UNIT 901-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 07:42:19.181 | DMA-SPE-0263 | B1, DMA-SPE-0263 RETAIL UNIT 901-2 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 07:42:19.181 | DMA-SPE-0701 | B1, DMA-SPE-0701 CHANGE PLACE FAC. 110-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 07:42:19.181 | DMA-SPE-0262 | B1, DMA-SPE-0262 RETAIL UNIT 901-2 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.373 | 0 | AZC
WENT UNACK Low | 2024.03.27 07:42:19.181 | DMA-SPE-0349 | B1, DMA-SPE-0349 RETAIL UNIT 901-2 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.373 | 0 | AZC
WENT UNACK Low | 2024.03.27 07:42:16.177 | DMA-HTD-0121 | B1, DMA-HTD-0121 CHANGE PLACE FAC. 110-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:22.336 | 0 | AZC
WENT UNACK Low | 2024.03.27 06:39:05.756 | SDU_FCU_1001 | Air Cooled Unit | Communications lost alarm |  |  | 2024.03.27 10:22:22.855 | 0 | SDU
WENT UNACK Low | 2024.03.26 10:11:35.140 | DMA-HTD-0104 | B1, DMA-HTD-0104 PROT.SERV TEA PNT 218-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.127 | 0 | AZC
WENT UNACK Low | 2024.03.26 10:11:35.140 | DMA-HTD-0117 | B1, DMA-HTD-0117 PROT.SERV OFF WC 217-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.127 | 0 | AZC
WENT UNACK Low | 2024.03.26 10:11:35.140 | DMA-SPE-0134 | B1, DMA-SPE-0134 MYKI ROOM 306-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.128 | 0 | AZC
WENT UNACK Low | 2024.03.26 10:11:35.140 | DMA-SPE-0146 | B1, DMA-SPE-0146 PROT.SERV TEAROOM 215-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.128 | 0 | AZC
WENT UNACK Low | 2024.03.26 10:11:35.140 | DMA-SPE-0644 | B1, DMA-SPE-0644 PROT.SERV TEAROOM 215-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.164 | 0 | AZC
WENT UNACK Low | 2024.03.26 10:11:35.140 | DMA-SPE-0645 | B1, DMA-SPE-0645 PROT.SERV OFF WC 217-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.164 | 0 | AZC
WENT UNACK Low | 2024.03.26 10:11:33.139 | DMA-HTD-0103 | B1, DMA-HTD-0103 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.127 | 0 | AZC
WENT UNACK Low | 2024.03.26 10:11:06.162 | DMA-SPE-0176 | B1, DMA-SPE-0176 PROT.SERV HANDOVR 216-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.128 | 0 | AZC
WENT UNACK Low | 2024.03.26 10:11:04.097 | DMA-SPE-0138 | B1, DMA-SPE-0138 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.127 | 0 | AZC
WENT UNACK Low | 2024.03.26 10:11:04.097 | DMA-SPE-0640 | B1, DMA-SPE-0640 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  | 2024.03.27 09:27:21.127 | 0 | AZC
ACK High | 2024.03.25 15:37:01.418 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! | 2024.03.26 08:32:22.782 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.25 15:36:50.401 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! | 2024.03.26 08:32:22.824 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.25 15:31:36.379 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! | 2024.03.26 08:32:44.625 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.25 09:43:39.411 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.03.26 08:35:20.802 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.25 09:43:39.329 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.03.26 08:35:12.841 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.25 09:41:21.474 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! | 2024.03.26 08:34:56.190 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.25 09:41:20.953 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.03.26 08:35:12.755 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.25 09:41:20.517 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! | 2024.03.26 08:34:56.267 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.25 09:41:20.174 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.03.26 08:34:56.356 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.03.25 15:37:01.418 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable | 2024.03.26 08:32:22.735 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.25 15:31:36.379 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable | 2024.03.26 08:32:22.655 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.25 15:31:36.379 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | External Smoke Detected! | 2024.03.26 08:32:44.567 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.25 10:37:49.806 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.804 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.803 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.800 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.798 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.797 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.795 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.794 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 09:42:47.956 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2024.03.26 08:34:56.081 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.25 09:42:47.936 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable | 2024.03.26 08:34:56.136 | sergio_paniagua |  | 0 | SDU
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.03.27 08:57:43.230 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault | 2024.03.27 09:18:19.771 | himanshu_kakkad |  | 0 | ARN
ACK Low | 2024.03.27 08:57:43.230 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational | 2024.03.27 09:18:19.704 | himanshu_kakkad |  | 0 | ARN
ACK Low | 2024.03.26 11:05:59.648 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown | 2024.03.26 11:06:08.800 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:59:37.774 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2024.03.26 10:59:44.951 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:58:20.171 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown | 2024.03.26 10:58:24.277 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:52:37.824 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2024.03.26 10:52:51.956 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 07:22:04.161 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 11:08:46.327 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 11:08:46.327 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 11:08:46.315 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 11:08:46.315 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 11:03:52.304 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 11:01:57.167 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:47:13.377 | AEN_FCU_0107_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm | 2024.03.26 11:23:43.178 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.03.25 09:46:05.476 | DMA-FPD-0015 | B1, DMA-FPD-0015 ECS PLANTROOM 3 801-5 | Heat or smoke detector fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:46:05.231 | DMA-FPD-0014 | B1, DMA-FPD-0014 ECS PLANTROOM 3 801-5 | Heat or smoke detector fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:46:03.620 | DMA-FPD-0004 | B1, DMA-FPD-0004 OAF-1102 Plant Rm 801-3 | Heat or smoke detector fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:46:03.380 | DMA-FPD-0003 | B1, DMA-FPD-0003 OAF-1101 Plant Rm 801-3 | Heat or smoke detector fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:45:05.385 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:36.438 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:35.839 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:34.096 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:32.518 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:32.159 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:31.613 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:30.849 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:30.160 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:27.950 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:41:43.961 | DMA-W-PSD-004 | Anzac Platform 1 Zone 1 PSD 04 | PSD isolated | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:41:42.882 | DMA-W-PSD-001 | Anzac Platform 1 Zone 1 PSD 01 | PSD isolated | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:41:32.688 | DMA-E-PSD-002 | Anzac Platform 2 Zone 1 PSD 02 | PSD isolated | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC