## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.06.17 09:48:55.276 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:48:40.182 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:40.084 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.995 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.921 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.858 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.799 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.731 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:39.679 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:48:30.898 | AEN_ROL_RNERV_W | West Tunnel RNERV Roller Door | RNERV crane arm extended over tracks! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:47:36.382 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:46:39.584 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.06.17 09:46:38.491 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:46:38.477 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:46:26.669 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:45:57.831 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.06.17 09:45:57.813 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.06.17 09:45:03.320 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:45:03.193 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:44:45.111 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:44:45.077 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:44:40.043 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:44:40.022 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:44:24.887 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:44:24.872 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:44:23.781 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.06.17 09:44:13.510 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.06.17 09:44:13.495 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.06.17 09:44:04.194 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:51.397 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:44.295 | TSC-E-PSD-029 | Town Hall Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:41.669 | TSC-E-PSD-025 | Town Hall Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:39.681 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:38.961 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:38.234 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:33.640 | TSC-E-PSD-013 | Town Hall Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:33.339 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:32.298 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:29.605 | TSC-E-PSD-007 | Town Hall Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:26.348 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:25.630 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 09:43:13.465 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:13.004 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:12.542 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:10.739 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.666 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.602 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.536 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:09.187 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:08.593 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:08.010 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:07.421 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.17 10:35:18.075 | WPZ-FIP-0001 | Western Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:35:16.887 | AEN-FIP-0001 | Arden Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 10:16:39.870 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.17 09:44:32.344 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.333 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.298 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:25.710 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:25.683 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:17.868 | DMA-C-01-EVAC | EWIS device for Anzac | EWIS fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.17 09:44:14.359 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:14.316 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:11.700 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:11.682 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:43:53.518 | PKV_FCU_1213_14_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.06.17 09:42:54.181 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.17 09:42:52.907 | DMA-S-STN | Anzac Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.14 19:55:01.977 | _DMA-FDS-S7PLUS_2 | MTAZC:_DMA-FDS-S7PLUS_2. | Communications Fault - Anzac Server 2 to Anzac FDS PLC |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.14 19:54:42.566 | _DMA-FDS-S7PLUS | MTAZC:_DMA-FDS-S7PLUS. | Communications Fault - Anzac Server 1 to Anzac FDS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.14 19:51:04.281 | _Mod_Plc_4 | MTAZC:_Mod_Plc_4. | Communications Fault - Anzac Server 1 to Anzac EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.14 19:51:04.276 | _Mod_Plc_4_2 | MTAZC:_Mod_Plc_4_2. | Communications Fault - Anzac Server 2 to Anzac EWIS |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.14 19:50:54.273 | _Mod_Plc_3 | MTAZC:_Mod_Plc_3. | Communications Fault - Anzac Server 1 to Anzac EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.14 19:50:54.273 | _Mod_Plc_3_2 | MTAZC:_Mod_Plc_3_2. | Communications Fault - Anzac Server 2 to Anzac EWIS |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.03 10:50:15.741 | _Driver1_2 | Anzac Server 2 | PSS2 S7 Driver 1 overloaded (TVCS PLC) |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.03 10:49:53.704 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.699 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.694 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:52.198 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.195 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.192 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:38.107 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Communications Fault - State Library Server 2 to State Library TVCS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:38.099 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Communications Fault - State Library Server 1 to State Library TVCS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.241 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.239 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.238 | _TNC-BMS-PLC3_2 | MTSTL:_TNC-BMS-PLC3_2. | Communications Fault - State Library Server 2 to State Library BMS Gateway PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.236 | _TNC-BMS-PLC3 | MTSTL:_TNC-BMS-PLC3. | Communications Fault - State Library Server 1 to State Library BMS Gateway PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.234 | _TNC-BMS-PLC_2 | MTSTL:_TNC-BMS-PLC_2. | Communications Fault - State Library Server 2 to State Library BMS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.232 | _TNC-BMS-PLC | MTSTL:_TNC-BMS-PLC. | Communications Fault - State Library Server 1 to State Library BMS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.970 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.968 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.967 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.964 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.962 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.960 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.17 10:39:54.700 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:37:34.729 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:17:22.155 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:38.292 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.280 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.267 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.257 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.246 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.232 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.223 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.209 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.200 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.188 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.177 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.164 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.154 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.143 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.131 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.120 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.109 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.096 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.086 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.075 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.063 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.052 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:31.398 | PKV_DOR_GF_PKV-S-05_1 | Security Door (PUBLIC REALM EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.392 | PKV_DOR_GF_PKV-S-03_2 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.389 | PKV_DOR_GF_PKV-S-03_1 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.349 | PKV_DOR_B2_PKV-S-03_3 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.347 | PKV_DOR_B2_PKV-S-03_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.344 | PKV_DOR_B2_PKV-S-02_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.339 | PKV_DOR_B2_405-5_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:30.818 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:48:29.328 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:47:22.356 | AEN-SPE-0404 | B1, AEN-SPE-0404, 151-10 BOH Corridor | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:22.030 | AEN-SPE-0403 | B1, AEN-SPE-0403, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:21.408 | AEN-SPE-0400 | B1, AEN-SPE-0400, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:39.288 | AEN-SPE-0095 | B1, AEN-SPE-0095, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:38.386 | AEN-SPE-0090 | B1, AEN-SPE-0090, 151-10 BOH Corridor | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:31.589 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:31.444 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:31.351 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:31.204 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:31.112 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:30.966 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:30.873 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:30.723 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:30.627 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:30.567 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:30.438 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:30.346 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:30.286 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:30.107 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:29.960 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:29.862 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:29.713 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:29.617 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:28.480 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:46:22.755 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.661 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.379 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.286 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.138 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.046 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.849 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.702 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.609 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.414 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.132 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.039 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:20.892 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:20.799 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:20.652 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:20.560 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:45:54.246 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:45:54.077 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:45:53.908 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:45:53.734 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:44:51.902 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:44:40.506 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:39.768 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:39.026 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:38.286 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:37.548 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:36.802 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:36.058 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:35.313 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:34.562 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:33.818 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:33.074 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:32.331 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:31.586 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:30.836 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:30.088 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:29.344 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:06.674 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:43:58.781 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:43:48.039 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:47.837 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:38.900 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:36.959 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:43:35.739 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:35.299 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.17 09:43:31.275 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.17 09:43:30.631 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:43:25.896 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.104 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 2 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.101 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.095 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 2 |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.091 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 1 |  |  |  | 0 | STL
WENT UNACK Med | 2024.06.17 10:35:16.284 | _Conn_event_0_1_to_ctrl_3_1 | Arden Server 1 | Control Manager Not Running - mtard_scripts.lst |  |  | 2024.06.17 10:35:16.510 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:35:12.859 | _Conn_event_0_1_to_ctrl_2_1 | Arden Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:35:13.116 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:21.324 | _PDM-BMS-PLC_2 | MTAZC:_PDM-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Eastern Portal BMS PLC |  |  | 2024.06.17 10:31:22.107 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:20.610 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD |  |  | 2024.06.17 10:31:22.627 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:20.194 | _DMA-BMS-PLC_2 | MTAZC:_DMA-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Anzac BMS PLC |  |  | 2024.06.17 10:31:24.097 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:20.194 | _DMA-BMS-PLC3_2 | MTAZC:_DMA-BMS-PLC3_2. | Communications Fault - Anzac Server 2 to Anzac BMS Gateway PLC |  |  | 2024.06.17 10:31:20.925 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:19.842 | _DMA-TVC-PLC_2 | MTAZC:_DMA-TVC-PLC_2. | Communication Fault - Anzac Server 2 to Anzac TVCS PLC |  |  | 2024.06.17 10:31:19.873 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:18.545 | _Conn_event_0_2_to_driver_2_2 | Anzac Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.06.17 10:31:20.159 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:18.545 | _Conn_event_0_2_to_driver_1_2 | Anzac Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.06.17 10:31:19.783 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:18.545 | _Conn_event_0_2_to_ctrl_3_2 | Anzac Server 2 | Control Manager Not Running - mtazc_scripts.lst |  |  | 2024.06.17 10:31:21.800 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:18.545 | _Conn_event_0_2_to_ctrl_2_2 | Anzac Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:31:21.598 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:18.545 | _Conn_event_0_2_to_ctrl_1_2 | Anzac Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:31:18.989 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:14.535 | _Mod_Plc_1_2 | MTTHL:_Mod_Plc_1_2. | Communications Fault - Town Hall Server 2 to Town Hall PSD Servers |  |  | 2024.06.17 10:31:16.555 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:31:13.893 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost |  |  | 2024.06.17 10:31:16.865 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:31:12.404 | _Conn_event_0_2_to_driver_2_2 | Town Hall Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.06.17 10:31:14.095 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:31:12.404 | _Conn_event_0_2_to_driver_1_2 | Town Hall Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.06.17 10:31:13.640 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:31:12.404 | _Conn_event_0_2_to_ctrl_3_2 | Town Hall Server 2 | Control Manager Not Running - mtthl_scripts.lst |  |  | 2024.06.17 10:31:15.562 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:31:12.404 | _Conn_event_0_2_to_ctrl_2_2 | Town Hall Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:31:15.362 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:31:12.404 | _Conn_event_0_2_to_ctrl_1_2 | Town Hall Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:31:12.858 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:31:07.474 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost |  |  | 2024.06.17 10:31:10.845 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:31:05.797 | _Mod_Plc_1_2 | MTSTL:_Mod_Plc_1_2. | Communications Fault - State Library Server 2 to State Library PSD Servers |  |  | 2024.06.17 10:31:07.817 | 0 | THL
WENT UNACK Med | 2024.06.17 10:31:03.835 | _Conn_event_0_2_to_driver_2_2 | State Library Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.06.17 10:31:05.396 | 0 | THL
WENT UNACK Med | 2024.06.17 10:31:03.835 | _Conn_event_0_2_to_driver_1_2 | State Library Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.06.17 10:31:04.996 | 0 | THL
WENT UNACK Med | 2024.06.17 10:31:03.835 | _Conn_event_0_2_to_ctrl_3_2 | State Library Server 2 | Control Manager Not Running - mtstl_scripts.lst |  |  | 2024.06.17 10:31:06.819 | 0 | THL
WENT UNACK Med | 2024.06.17 10:31:03.835 | _Conn_event_0_2_to_ctrl_2_2 | State Library Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:31:06.622 | 0 | THL
WENT UNACK Med | 2024.06.17 10:31:03.835 | _Conn_event_0_2_to_ctrl_1_2 | State Library Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:31:04.211 | 0 | THL
WENT UNACK Med | 2024.06.17 10:31:00.322 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  | 2024.06.17 10:31:01.582 | 0 | STL
WENT UNACK Med | 2024.06.17 10:31:00.322 | _Mod_Plc_3_2 | MTPKV:_Mod_Plc_3_2. | Communications Fault - Parkville Server 2 to Parkville EWIS |  |  | 2024.06.17 10:31:01.402 | 0 | STL
WENT UNACK Med | 2024.06.17 10:31:00.148 | _PKV-FDS-S7PLUS_2 | MTPKV:_PKV-FDS-S7PLUS_2. | Communications Fault - Parkville Server 2 to Parkville FDS PLC |  |  | 2024.06.17 10:31:02.423 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:59.947 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  | 2024.06.17 10:31:03.969 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:59.792 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  | 2024.06.17 10:31:01.816 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:59.547 | _PKV-BMS-PLC3_2 | MTPKV:_PKV-BMS-PLC3_2. | Communications Fault - Parkville Server 2 to Parkville BMS Gateway PLC |  |  | 2024.06.17 10:31:00.268 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:59.522 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost |  |  | 2024.06.17 10:31:02.452 | 0 | THL
WENT UNACK Med | 2024.06.17 10:30:59.452 | _PKV-BMS-PLC_2 | MTPKV:_PKV-BMS-PLC_2. | Communications Fault - Parkville Server 2 to Parkville BMS PLC |  |  | 2024.06.17 10:31:06.477 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:59.107 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Communications Fault - Parkville Server 2 to Parkville TVCS PLC |  |  | 2024.06.17 10:30:59.171 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:57.930 | _Conn_event_0_2_to_driver_2_2 | Parkville Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.06.17 10:30:59.425 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:57.930 | _Conn_event_0_2_to_driver_1_2 | Parkville Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.06.17 10:30:59.076 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:57.930 | _Conn_event_0_2_to_ctrl_3_2 | Parkville Server 2 | Control Manager Not Running - mtpkv_scripts.lst |  |  | 2024.06.17 10:31:00.827 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:57.930 | _Conn_event_0_2_to_ctrl_2_2 | Parkville Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:31:00.628 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:57.930 | _Conn_event_0_2_to_ctrl_1_2 | Parkville Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:30:58.299 | 0 | STL
WENT UNACK Med | 2024.06.17 10:30:53.909 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost |  |  | 2024.06.17 10:30:56.452 | 0 | STL
WENT UNACK Med | 2024.06.17 10:29:38.107 | _Conn_dist_1_1_to_dist_7_2 | Distributed Server 1 | Connection lost to Anzac Server 2 - Link 1 |  |  | 2024.06.17 10:31:58.613 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:38.107 | _Conn_dist_1_2_to_dist_7_2 | Distributed Server 2 | Connection lost to Anzac Server 2 - Link 0 |  |  | 2024.06.17 10:31:54.889 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:38.106 | _Conn_dist_1_1_to_dist_7_2 | Distributed Server 1 | Connection lost to Anzac Server 2 - Link 0 |  |  | 2024.06.17 10:31:38.647 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:38.106 | _Conn_dist_1_2_to_dist_7_2 | Distributed Server 2 | Connection lost to Anzac Server 2 - Link 1 |  |  | 2024.06.17 10:32:14.891 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:31.603 | _Conn_dist_1_1_to_dist_6_2 | Distributed Server 1 | Connection lost to Town Hall Server 2 - Link 0 |  |  | 2024.06.17 10:31:19.099 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:31.603 | _Conn_dist_1_1_to_dist_6_2 | Distributed Server 1 | Connection lost to Town Hall Server 2 - Link 1 |  |  | 2024.06.17 10:31:38.626 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:31.603 | _Conn_dist_1_2_to_dist_6_2 | Distributed Server 2 | Connection lost to Town Hall Server 2 - Link 1 |  |  | 2024.06.17 10:31:54.888 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:31.603 | _Conn_dist_1_2_to_dist_6_2 | Distributed Server 2 | Connection lost to Town Hall Server 2 - Link 0 |  |  | 2024.06.17 10:31:34.873 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:24.186 | _Conn_dist_1_1_to_dist_5_2 | Distributed Server 1 | Connection lost to State Library Server 2 - Link 0 |  |  | 2024.06.17 10:31:18.640 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:24.186 | _Conn_dist_1_2_to_dist_5_2 | Distributed Server 2 | Connection lost to State Library Server 2 - Link 0 |  |  | 2024.06.17 10:31:54.887 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:24.186 | _Conn_dist_1_2_to_dist_5_2 | Distributed Server 2 | Connection lost to State Library Server 2 - Link 1 |  |  | 2024.06.17 10:31:34.861 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:24.185 | _Conn_dist_1_1_to_dist_5_2 | Distributed Server 1 | Connection lost to State Library Server 2 - Link 1 |  |  | 2024.06.17 10:31:38.653 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:18.239 | _Conn_dist_1_1_to_dist_4_2 | Distributed Server 1 | Connection lost to Parkville Server 2 - Link 1 |  |  | 2024.06.17 10:30:59.564 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:18.239 | _Conn_dist_1_2_to_dist_4_2 | Distributed Server 2 | Connection lost to Parkville Server 2 - Link 1 |  |  | 2024.06.17 10:31:34.859 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:18.238 | _Conn_dist_1_1_to_dist_4_2 | Distributed Server 1 | Connection lost to Parkville Server 2 - Link 0 |  |  | 2024.06.17 10:31:18.620 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:18.238 | _Conn_dist_1_2_to_dist_4_2 | Distributed Server 2 | Connection lost to Parkville Server 2 - Link 0 |  |  | 2024.06.17 10:31:14.911 | 0 | THL
WENT UNACK Med | 2024.06.17 10:29:04.964 | _Conn_event_0_2_to_event_0_1 | Anzac Server 2 | Connection lost to Server 2 - Link 0 |  |  | 2024.06.17 10:31:38.671 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:29:04.964 | _Conn_event_0_2_to_event_0_1 | Anzac Server 2 | Connection lost to Server 2 - Link 1 |  |  | 2024.06.17 10:31:58.688 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:29:04.957 | _Conn_event_0_1_to_event_0_2 | Anzac Server 1 | Connection lost to Server 2 - Link 0 |  |  | 2024.06.17 10:31:38.673 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:29:04.957 | _Conn_event_0_1_to_event_0_2 | Anzac Server 1 | Connection lost to Server 2 - Link 1 |  |  | 2024.06.17 10:31:58.689 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:28:54.974 | _PAE-BMS-PLC_2 | MTARD:_PAE-BMS-PLC_2. | Communications Fault - Arden Server 2 to Western Portal BMS PLC |  |  | 2024.06.17 10:28:55.750 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:54.741 | _Mod_Plc_4_2 | MTARD:_Mod_Plc_4_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  | 2024.06.17 10:28:55.886 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:54.741 | _Mod_Plc_3_2 | MTARD:_Mod_Plc_3_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  | 2024.06.17 10:28:55.796 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:54.571 | _AEN-FDS-S7PLUS_2 | MTARD:_AEN-FDS-S7PLUS_2. | Communications Fault - Arden Server 2 to Arden FDS PLC |  |  | 2024.06.17 10:28:56.815 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:54.365 | _Mod_Plc_2_2 | MTARD:_Mod_Plc_2_2. | Communications Fault - Arden Server 2 to Arden FDS Gateway |  |  | 2024.06.17 10:28:55.389 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:54.218 | _Mod_Plc_1_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden PSD Servers |  |  | 2024.06.17 10:28:56.230 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:53.880 | _AEN-BMS-PLC3_2 | MTARD:_AEN-BMS-PLC3_2. | Communications Fault - Arden Server 2 to Arden BMS Gateway PLC |  |  | 2024.06.17 10:28:54.630 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:53.879 | _AEN-BMS-PLC_2 | Arden BMS PLC | Communications Fault - Arden Server 2 to Arden BMS PLC |  |  | 2024.06.17 10:29:01.306 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:53.574 | _AEN-TVC-PLC_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden TVCS PLC |  |  | 2024.06.17 10:28:53.633 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:52.331 | _Conn_event_0_2_to_driver_2_2 | Arden Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.06.17 10:28:53.850 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:52.331 | _Conn_event_0_2_to_driver_1_2 | Arden Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.06.17 10:28:53.517 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:52.331 | _Conn_event_0_2_to_ctrl_3_2 | Arden Server 2 | Control Manager Not Running - mtard_scripts.lst |  |  | 2024.06.17 10:28:55.437 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:52.331 | _Conn_event_0_2_to_ctrl_2_2 | Arden Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:28:55.235 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:52.331 | _Conn_event_0_2_to_ctrl_1_2 | Arden Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:28:52.735 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:50.663 | _Conn_event_0_2_to_event_0_1 | State Library Server 2 | Connection lost to Server 2 - Link 0 |  |  | 2024.06.17 10:31:31.925 | 0 | STL
WENT UNACK Med | 2024.06.17 10:28:50.663 | _Conn_event_0_2_to_event_0_1 | State Library Server 2 | Connection lost to Server 2 - Link 1 |  |  | 2024.06.17 10:31:51.961 | 0 | STL
WENT UNACK Med | 2024.06.17 10:28:50.647 | _Conn_event_0_1_to_event_0_2 | State Library Server 1 | Connection lost to Server 2 - Link 0 |  |  | 2024.06.17 10:31:31.926 | 0 | THL
WENT UNACK Med | 2024.06.17 10:28:50.647 | _Conn_event_0_1_to_event_0_2 | State Library Server 1 | Connection lost to Server 2 - Link 1 |  |  | 2024.06.17 10:31:51.962 | 0 | THL
WENT UNACK Med | 2024.06.17 10:28:47.511 | _RDBArchive_2 | Arden Server 2 | RDB Connection Lost |  |  | 2024.06.17 10:28:50.704 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:44.853 | _Conn_event_0_2_to_event_0_1 | MTPKV:_Conn_event_0_2_to_event_0_1. | Connection lost to Server 1 - Link 1 |  |  | 2024.06.17 10:31:50.196 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:44.847 | _Conn_event_0_1_to_event_0_2 | MTPKV:_Conn_event_0_1_to_event_0_2. | Connection lost to Server 2 - Link 0 |  |  | 2024.06.17 10:31:30.214 | 0 | STL
WENT UNACK Med | 2024.06.17 10:28:44.847 | _Conn_event_0_1_to_event_0_2 | MTPKV:_Conn_event_0_1_to_event_0_2. | Connection lost to Server 2 - Link 1 |  |  | 2024.06.17 10:31:50.197 | 0 | STL
WENT UNACK Med | 2024.06.17 10:28:41.308 | _Conn_dist_1_1_to_dist_3_2 | Distributed Server 1 | Connection lost to Arden Server 2 - Link 1 |  |  | 2024.06.17 10:29:18.344 | 0 | THL
WENT UNACK Med | 2024.06.17 10:28:41.308 | _Conn_dist_1_2_to_dist_3_2 | Distributed Server 2 | Connection lost to Arden Server 2 - Link 0 |  |  | 2024.06.17 10:29:14.913 | 0 | THL
WENT UNACK Med | 2024.06.17 10:28:41.307 | _Conn_dist_1_1_to_dist_3_2 | Distributed Server 1 | Connection lost to Arden Server 2 - Link 0 |  |  | 2024.06.17 10:28:59.298 | 0 | THL
WENT UNACK Med | 2024.06.17 10:28:41.307 | _Conn_dist_1_2_to_dist_3_2 | Distributed Server 2 | Connection lost to Arden Server 2 - Link 1 |  |  | 2024.06.17 10:29:34.860 | 0 | THL
WENT UNACK Med | 2024.06.17 10:28:36.958 | _Conn_event_0_2_to_event_0_1 | Arden Server 2 | Connection lost to Server 1 - Link 0 |  |  | 2024.06.17 10:29:26.009 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:28:36.958 | _Conn_event_0_2_to_event_0_1 | Arden Server 2 | Connection lost to Server 1 - Link 1 |  |  | 2024.06.17 10:29:45.962 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:28:36.923 | _Conn_event_0_1_to_event_0_2 | Arden Server 1 | Connection lost to Server 2 - Link 1 |  |  | 2024.06.17 10:29:45.963 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:28:36.923 | _Conn_event_0_1_to_event_0_2 | Arden Server 1 | Connection lost to Server 2 - Link 0 |  |  | 2024.06.17 10:29:26.010 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:22:24.366 | _Mod_Plc_2 | MTARD:_Mod_Plc_2. | Communications Fault - Arden Server 1 to Arden FDS Gateway |  |  | 2024.06.17 10:22:25.482 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:17:34.732 | _Conn_dist_1_2_to_dist_6_1 | Distributed Server 2 | Connection lost to Town Hall Server 1 - Link 1 |  |  | 2024.06.17 10:18:14.725 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:17:34.701 | _Conn_dist_1_2_to_dist_4_1 | Distributed Server 2 | Connection lost to Parkville Server 1 - Link 1 |  |  | 2024.06.17 10:18:14.720 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:17:34.701 | _Conn_dist_1_2_to_dist_3_1 | Distributed Server 2 | Connection lost to Arden Server 1 - Link 0 |  |  | 2024.06.17 10:17:54.704 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:17:15.026 | _SYP-TIAS-PLC_2 | MTDIST:_SYP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SYP TIAS PLC |  |  | 2024.06.17 10:17:15.272 | 0 | THL
WENT UNACK Med | 2024.06.17 10:17:15.025 | _SKP-TIAS-PLC_2 | MTDIST:_SKP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SKP TIAS PLC |  |  | 2024.06.17 10:17:15.272 | 0 | THL
WENT UNACK Med | 2024.06.17 10:17:14.591 | _Conn_dist_1_2_to_dist_3_1 | Distributed Server 2 | Connection lost to Arden Server 1 - Link 1 |  |  | 2024.06.17 10:18:14.709 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:17:14.591 | _Conn_dist_1_2_to_dist_4_1 | Distributed Server 2 | Connection lost to Parkville Server 1 - Link 0 |  |  | 2024.06.17 10:17:54.757 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:17:14.591 | _Conn_dist_1_2_to_dist_5_1 | Distributed Server 2 | Connection lost to State Library Server 1 - Link 0 |  |  | 2024.06.17 10:17:54.773 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:17:14.591 | _Conn_dist_1_2_to_dist_5_1 | Distributed Server 2 | Connection lost to State Library Server 1 - Link 1 |  |  | 2024.06.17 10:18:15.026 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:17:14.591 | _Conn_dist_1_2_to_dist_6_1 | Distributed Server 2 | Connection lost to Town Hall Server 1 - Link 0 |  |  | 2024.06.17 10:17:54.714 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:17:14.591 | _Conn_dist_1_2_to_dist_7_1 | Distributed Server 2 | Connection lost to Anzac Server 1 - Link 0 |  |  | 2024.06.17 10:17:54.714 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:17:13.750 | _Conn_event_0_2_to_ctrl_1_2 | Distributed Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:17:14.080 | 0 | THL
WENT UNACK Med | 2024.06.17 10:17:13.750 | _Conn_event_0_2_to_ctrl_2_2 | Distributed Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:17:15.395 | 0 | THL
WENT UNACK Med | 2024.06.17 10:17:13.750 | _Conn_event_0_2_to_ctrl_3_2 | MTDIST:_Conn_event_0_2_to_ctrl_3_2. | Control Manager Not Running - mtdist_scripts.lst |  |  | 2024.06.17 10:17:15.597 | 0 | THL
WENT UNACK Med | 2024.06.17 10:17:13.750 | _Conn_event_0_2_to_ctrl_4_2 | Distributed Server 2 |  |  |  | 2024.06.17 10:17:15.798 | 0 | THL
WENT UNACK Med | 2024.06.17 10:17:13.750 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 |  |  |  | 2024.06.17 10:17:14.796 | 0 | THL
WENT UNACK Med | 2024.06.17 10:17:12.690 | _RDBArchive_2 | Distributed Server 2 | RDB Connection Lost |  |  | 2024.06.17 10:17:13.119 | 0 | THL
WENT UNACK Med | 2024.06.17 10:16:40.633 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  | 2024.06.17 10:16:41.395 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:16:39.505 | _DMA-BMS-PLC | MTAZC:_DMA-BMS-PLC. | Communications Fault - Anzac Server 1 to Anzac BMS PLC |  |  | 2024.06.17 10:16:43.964 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:16:39.505 | _DMA-BMS-PLC3 | MTAZC:_DMA-BMS-PLC3. | Communications Fault - Anzac Server 1 to Anzac BMS Gateway PLC |  |  | 2024.06.17 10:16:40.208 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:16:39.138 | _DMA-TVC-PLC | MTAZC:_DMA-TVC-PLC. | Communications Fault - Anzac Server 1 to Anzac TVCS PLC |  |  | 2024.06.17 10:16:39.178 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:16:37.882 | _Conn_event_0_1_to_ctrl_1_1 | Anzac Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:16:38.289 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:16:37.882 | _Conn_event_0_1_to_ctrl_2_1 | Anzac Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:16:40.911 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:16:37.882 | _Conn_event_0_1_to_ctrl_3_1 | Anzac Server 1 | Control Manager Not Running - mtazc_scripts.lst |  |  | 2024.06.17 10:16:41.106 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:16:37.882 | _Conn_event_0_1_to_driver_1_1 | Anzac Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.06.17 10:16:39.081 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:16:37.882 | _Conn_event_0_1_to_driver_2_1 | Anzac Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.06.17 10:16:39.471 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:16:34.880 | _Conn_event_0_1_to_ctrl_1_1 | Town Hall Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:16:35.275 | 0 | THL
WENT UNACK Med | 2024.06.17 10:16:34.880 | _Conn_event_0_1_to_ctrl_2_1 | Town Hall Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:16:37.776 | 0 | THL
WENT UNACK Med | 2024.06.17 10:16:34.880 | _Conn_event_0_1_to_ctrl_3_1 | Town Hall Server 1 | Control Manager Not Running - mtthl_scripts.lst |  |  | 2024.06.17 10:16:37.980 | 0 | THL
WENT UNACK Med | 2024.06.17 10:16:34.880 | _Conn_event_0_1_to_driver_1_1 | Town Hall Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.06.17 10:16:36.058 | 0 | THL
WENT UNACK Med | 2024.06.17 10:16:34.880 | _Conn_event_0_1_to_driver_2_1 | Town Hall Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.06.17 10:16:36.509 | 0 | THL
WENT UNACK Med | 2024.06.17 10:16:33.126 | _Mod_Plc_1 | MTSTL:_Mod_Plc_1. | Communications Fault - State Library Server 1 to State Library PSD Servers |  |  | 2024.06.17 10:16:35.144 | 0 | STL
WENT UNACK Med | 2024.06.17 10:16:33.010 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  | 2024.06.17 10:16:36.264 | 0 | AZC
WENT UNACK Med | 2024.06.17 10:16:31.307 | _Mod_Plc_4 | MTPKV:_Mod_Plc_4. | Communications Fault - Parkville Server 1 to Parkville EWIS |  |  | 2024.06.17 10:16:32.545 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:31.307 | _Mod_Plc_3 | MTPKV:_Mod_Plc_3. | Communications Fault - Parkville Server 1 to Parkville EWIS |  |  | 2024.06.17 10:16:32.380 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:31.172 | _Conn_event_0_1_to_ctrl_1_1 | State Library Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:16:31.536 | 0 | STL
WENT UNACK Med | 2024.06.17 10:16:31.172 | _Conn_event_0_1_to_ctrl_2_1 | State Library Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:16:33.953 | 0 | STL
WENT UNACK Med | 2024.06.17 10:16:31.172 | _Conn_event_0_1_to_ctrl_3_1 | State Library Server 1 | Control Manager Not Running - mtstl_scripts.lst |  |  | 2024.06.17 10:16:34.370 | 0 | STL
WENT UNACK Med | 2024.06.17 10:16:31.172 | _Conn_event_0_1_to_driver_1_1 | State Library Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.06.17 10:16:32.324 | 0 | STL
WENT UNACK Med | 2024.06.17 10:16:31.172 | _Conn_event_0_1_to_driver_2_1 | State Library Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.06.17 10:16:32.724 | 0 | STL
WENT UNACK Med | 2024.06.17 10:16:31.146 | _PKV-BMS-PLC3 | MTPKV:_PKV-BMS-PLC3. | Communications Fault - Parkville Server 1 to Parkville BMS Gateway PLC |  |  | 2024.06.17 10:16:31.862 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:30.942 | _PKV-FDS-S7PLUS | MTPKV:_PKV-BMS-PLC. | Communications Fault - Parkville Server 1 to Parkville FDS PLC |  |  | 2024.06.17 10:16:33.245 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:30.736 | _Mod_Plc_2 | MTPKV:_Mod_Plc_2. | Communications Fault - Parkville Server 1 to Parkville FDS Gateway |  |  | 2024.06.17 10:16:34.764 | 0 | STL
WENT UNACK Med | 2024.06.17 10:16:30.576 | _Mod_Plc_1 | Parkville Server 1 | Communications Fault - Parkville Server 1 to Parkville PSD Servers |  |  | 2024.06.17 10:16:32.597 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:30.445 | _PKV-BMS-PLC | MTPKV:_PKV-BMS-PLC. | Communications Fault - Parkville Server 1 to Parkville BMS PLC |  |  | 2024.06.17 10:16:37.702 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:30.099 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Communications Fault - Parkville Server 1 to Parkville TVCS PLC |  |  | 2024.06.17 10:16:30.153 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:29.888 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost |  |  | 2024.06.17 10:16:33.282 | 0 | THL
WENT UNACK Med | 2024.06.17 10:16:28.874 | _Conn_event_0_1_to_ctrl_1_1 | Parkville Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:16:29.284 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:28.874 | _Conn_event_0_1_to_ctrl_2_1 | Parkville Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:16:31.601 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:28.874 | _Conn_event_0_1_to_ctrl_3_1 | Parkville Server 1 | Control Manager Not Running - mtpkv_scripts.lst |  |  | 2024.06.17 10:16:31.798 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:28.874 | _Conn_event_0_1_to_driver_1_1 | Parkville Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.06.17 10:16:30.068 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:28.874 | _Conn_event_0_1_to_driver_2_1 | Parkville Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.06.17 10:16:30.417 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:27.552 | _PAE-BMS-PLC | MTARD:_PAE-BMS-PLC. | Communications Fault - Arden Server 1 to Western Portal BMS PLC |  |  | 2024.06.17 10:16:28.342 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:27.321 | _Mod_Plc_3 | MTARD:_Mod_Plc_3. | Communications Fault - Arden Server 1 to Arden EWIS |  |  | 2024.06.17 10:16:28.386 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:27.321 | _Mod_Plc_4 | MTARD:_Mod_Plc_4. | Communications Fault - Arden Server 1 to Arden EWIS |  |  | 2024.06.17 10:16:28.481 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:27.152 | _AEN-FDS-S7PLUS | MTARD:_AEN-FDS-S7PLUS. | Communications Fault - Arden Server 1 to Arden FDS PLC |  |  | 2024.06.17 10:16:29.407 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:26.853 | _RDBArchive | State Library Server 1 | RDB Connection Lost |  |  | 2024.06.17 10:16:29.801 | 0 | STL
WENT UNACK Med | 2024.06.17 10:16:26.790 | _Mod_Plc_1 | Arden Server 1 | Communications Fault - Arden Server 1 to Arden PSD Servers |  |  | 2024.06.17 10:16:28.816 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:26.449 | _AEN-BMS-PLC | Arden BMS PLC | Communications Fault - Arden Server 1 to Arden BMS PLC |  |  | 2024.06.17 10:16:33.710 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:26.449 | _AEN-BMS-PLC3 | MTARD:_AEN-BMS-PLC3. | Communications Fault - Arden Server 1 to Arden BMS Gateway PLC |  |  | 2024.06.17 10:16:27.216 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:26.139 | _AEN-TVC-PLC | Arden Server 1 | Communications Fault - Arden Server 1 to Arden TVCS PLC |  |  | 2024.06.17 10:16:26.229 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:24.905 | _Conn_event_0_1_to_ctrl_1_1 | Arden Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:16:25.308 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:24.905 | _Conn_event_0_1_to_driver_1_1 | Arden Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.06.17 10:16:26.083 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:24.905 | _Conn_event_0_1_to_driver_2_1 | Arden Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.06.17 10:16:26.418 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:16:24.559 | _RDBArchive | Parkville Server 1 | RDB Connection Lost |  |  | 2024.06.17 10:16:27.432 | 0 | PKV
WENT UNACK Med | 2024.06.17 10:16:20.575 | _RDBArchive | Arden Server 1 | RDB Connection Lost |  |  | 2024.06.17 10:16:23.393 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:56.797 | _Conn_dist_1_1_to_dist_7_1 | Distributed Server 1 | Connection lost to Anzac Server 1 - Link 0 |  |  | 2024.06.17 10:16:58.253 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:56.796 | _Conn_dist_1_1_to_dist_7_1 | Distributed Server 1 | Connection lost to Anzac Server 1 - Link 1 |  |  | 2024.06.17 10:17:18.238 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:56.796 | _Conn_dist_1_2_to_dist_7_1 | Distributed Server 2 | Connection lost to Anzac Server 1 - Link 1 |  |  | 2024.06.17 10:18:14.721 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:53.675 | _Conn_dist_1_1_to_dist_6_1 | Distributed Server 1 | Connection lost to Town Hall Server 1 - Link 0 |  |  | 2024.06.17 10:16:58.276 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:53.675 | _Conn_dist_1_1_to_dist_6_1 | Distributed Server 1 | Connection lost to Town Hall Server 1 - Link 1 |  |  | 2024.06.17 10:17:18.234 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:50.951 | _Conn_dist_1_1_to_dist_5_1 | Distributed Server 1 | Connection lost to State Library Server 1 - Link 1 |  |  | 2024.06.17 10:16:58.252 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:50.950 | _Conn_dist_1_1_to_dist_5_1 | Distributed Server 1 | Connection lost to State Library Server 1 - Link 0 |  |  | 2024.06.17 10:16:38.294 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:48.332 | _Conn_dist_1_1_to_dist_4_1 | Distributed Server 1 | Connection lost to Parkville Server 1 - Link 0 |  |  | 2024.06.17 10:16:58.252 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:48.331 | _Conn_dist_1_1_to_dist_4_1 | Distributed Server 1 | Connection lost to Parkville Server 1 - Link 1 |  |  | 2024.06.17 10:16:38.289 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:44.133 | _Conn_dist_1_1_to_dist_3_1 | Distributed Server 1 | Connection lost to Arden Server 1 - Link 1 |  |  | 2024.06.17 10:16:58.252 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:14:44.132 | _Conn_dist_1_1_to_dist_3_1 | Distributed Server 1 | Connection lost to Arden Server 1 - Link 0 |  |  | 2024.06.17 10:16:38.276 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:03:58.428 | _SYP-TIAS-PLC | MTDIST:_SYP-TIAS-PLC. | Communications Fault - Dist Server 1 to SYP TIAS PLC |  |  | 2024.06.17 10:03:58.683 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:03:58.427 | _SKP-TIAS-PLC | MTDIST:_SKP-TIAS-PLC. | Communications Fault - Dist Server 1 to SKP TIAS PLC |  |  | 2024.06.17 10:03:58.683 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:03:57.113 | _Conn_event_0_1_to_ctrl_2_1 | Distributed Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.06.17 10:03:58.798 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:03:57.113 | _Conn_event_0_1_to_ctrl_4_1 | Distributed Server 1 |  |  |  | 2024.06.17 10:03:59.200 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:03:57.113 | _Conn_event_0_1_to_ctrl_3_1 | Distributed Server 1 | Control Manager Not Running - mtdist_scripts.lst |  |  | 2024.06.17 10:03:58.998 | 0 | ARN
WENT UNACK Med | 2024.06.17 10:03:56.038 | _RDBArchive | Distributed Server 1 | RDB Connection Lost |  |  | 2024.06.17 10:03:56.515 | 0 | ARN
WENT UNACK Med | 2024.06.17 09:16:32.809 | _ForcefieldDriver | Distributed Servers | Communications Fault to Forcefield Server |  |  | 2024.06.17 09:16:32.820 | 0 | ARN
WENT UNACK Med | 2024.06.14 19:54:33.281 | _Mod_Plc_2_2 | MTAZC:_Mod_Plc_2_2. | Communications Fault - Anzac Server 2 to Anzac FDS Gateway |  |  | 2024.06.17 10:31:24.730 | 0 | ARN
WENT UNACK Med | 2024.06.14 19:54:33.269 | _Mod_Plc_2 | MTAZC:_Mod_Plc_2. | Communications Fault - Anzac Server 1 to Anzac FDS Gateway |  |  | 2024.06.17 10:16:44.036 | 0 | ARN
WENT UNACK Med | 2024.06.13 14:11:13.938 | _Driver2 | MTARD:_Driver2. | PSS1 S7Plus Driver 2 overloaded (BMS PLC) |  |  | 2024.06.13 14:12:06.490 | 0 | PKV
WENT UNACK Med | 2021.04.27 16:07:16.368 | _Conn_event_0_1_to_ctrl_1_1 | Distributed Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.06.17 10:03:57.383 | 0 | ARN
WENT UNACK Med | 2021.04.27 16:07:16.368 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 |  |  |  | 2024.06.17 10:03:58.190 | 0 | ARN
WENT UNACK Low | 2024.06.17 10:39:15.580 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.17 10:39:24.823 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:31:20.660 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.06.17 10:31:27.989 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:31:19.051 | _ReduManager_2 | Anzac Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:31:24.373 | 0 | ARN
WENT UNACK Low | 2024.06.17 10:31:12.909 | _ReduManager_2 | Town Hall Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:31:22.352 | 0 | AZC
WENT UNACK Low | 2024.06.17 10:31:04.286 | _ReduManager_2 | State Library Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:31:19.640 | 0 | THL
WENT UNACK Low | 2024.06.17 10:30:59.086 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Link Failure - Parkville Server 2 to Parkville TVCS CPU 1 |  |  | 2024.06.17 10:30:59.171 | 0 | STL
WENT UNACK Low | 2024.06.17 10:30:58.390 | _ReduManager_2 | Parkville Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:31:15.388 | 0 | STL
WENT UNACK Low | 2024.06.17 10:29:15.618 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.17 10:29:26.428 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:28:53.528 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 1 |  |  | 2024.06.17 10:28:53.633 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:28:53.528 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  | 2024.06.17 10:28:53.654 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:28:52.806 | _ReduManager_2 | Arden Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:29:08.422 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:28:10.579 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.17 10:29:11.039 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:24:19.163 | AEN_DOR_B1_151-4_1 | Concourse east - back of house emergency corridor | Unauthorised access |  |  | 2024.06.17 10:24:25.054 | 0 | ARN
WENT UNACK Low | 2024.06.17 10:18:24.233 | AEN_DOR_B2_ESC_STAIRS_03_2 | Platform 1 west - double emergency door | Unauthorised access |  |  | 2024.06.17 10:18:39.056 | 0 | ARN
WENT UNACK Low | 2024.06.17 10:17:14.800 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.06.17 10:17:16.900 | 0 | THL
WENT UNACK Low | 2024.06.17 10:17:14.260 | _ReduManager_2 | Distributed Server 2 | Server 2 - Passive |  |  | 2024.06.17 10:17:22.154 | 0 | THL
WENT UNACK Low | 2024.06.17 10:17:13.750 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 0 |  |  | 2024.06.17 10:17:14.590 | 0 | THL
WENT UNACK Low | 2024.06.17 10:17:13.750 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 0 |  |  | 2024.06.17 10:17:14.256 | 0 | THL
WENT UNACK Low | 2024.06.17 10:16:30.078 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Link Failure - Parkville Server 1 to Parkville TVCS CPU 1 |  |  | 2024.06.17 10:16:30.153 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:16:26.094 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 1 |  |  | 2024.06.17 10:16:26.229 | 0 | ARN
WENT UNACK Low | 2024.06.17 10:16:26.094 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 2 |  |  | 2024.06.17 10:16:26.250 | 0 | ARN
WENT UNACK Low | 2024.06.17 10:16:17.251 | _Conn_event_0_1_to_event_0_2 | Distributed Server 1 | Connection lost to Server 2 - Link 0 |  |  | 2024.06.17 10:17:37.402 | 0 | THL
WENT UNACK Low | 2024.06.17 10:16:17.251 | _Conn_event_0_1_to_event_0_2 | Distributed Server 1 | Connection lost to Server 2 - Link 1 |  |  | 2024.06.17 10:17:57.464 | 0 | THL
WENT UNACK Low | 2024.06.17 10:16:17.244 | _Conn_event_0_2_to_event_0_1 | Distributed Server 2 | Connection lost to Server 1 - Link 0 |  |  | 2024.06.17 10:17:37.400 | 0 | ARN
WENT UNACK Low | 2024.06.17 10:16:17.244 | _Conn_event_0_2_to_event_0_1 | Distributed Server 2 | Connection lost to Server 1 - Link 1 |  |  | 2024.06.17 10:17:57.463 | 0 | ARN
WENT UNACK Low | 2024.06.17 10:14:41.764 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.06.17 10:15:00.955 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:03:57.113 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 0 |  |  | 2024.06.17 10:03:57.558 | 0 | ARN
WENT UNACK Low | 2024.06.17 10:03:57.113 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 0 |  |  | 2024.06.17 10:03:57.998 | 0 | ARN
WENT UNACK Low | 2024.06.17 09:53:29.890 | AEN_DOR_B1_151-3_1 | Concourse west - back of house corridor | Unauthorised access |  |  | 2024.06.17 09:53:34.253 | 0 | ARN
ACK High | 2024.05.20 08:23:30.503 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.05.20 15:17:54.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded | 2024.05.20 15:17:59.449 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.03 10:48:16.689 | _Driver1_2 | MTARD:_Driver1_2. | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.04 08:54:10.389 | sergio_paniagua |  | 0 | PKV
ACK Med | 2024.06.03 10:47:25.340 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.339 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.338 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.336 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.335 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.334 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.333 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.332 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.306 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.291 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.03 10:47:25.310 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.308 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.03 10:47:25.302 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.299 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN