## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.05.17 06:31:02.148 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.17 06:30:38.149 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.16 20:30:43.465 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.16 20:30:15.469 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.16 20:29:37.466 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.16 20:29:06.472 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.15 19:26:38.810 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.15 19:26:25.767 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.15 19:25:21.767 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.15 19:25:21.767 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.15 10:56:53.983 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.15 10:56:53.983 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.13 17:25:33.943 | DMA-E-PSD-028 | Anzac Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.13 17:25:33.785 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.13 11:47:38.309 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.13 11:26:12.610 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.13 11:11:26.612 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.13 10:00:38.819 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.12 21:24:20.318 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.12 21:13:44.329 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.12 19:58:24.614 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.12 19:50:16.330 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.11 19:15:22.819 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.09 08:52:02.821 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.09 04:27:28.821 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.09 00:18:57.827 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.08 09:24:26.938 | _Driver1_2 | MTARD:_Driver1_2. | Driver overloaded |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.07 20:55:46.316 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.07 20:55:32.309 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.07 19:19:16.312 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.07 19:13:18.333 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.07 19:01:04.576 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.06 13:49:44.822 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 13:21:29.819 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:24:49.474 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.06 09:24:37.553 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.06 09:12:45.472 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:07:17.901 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:07:17.893 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:07:17.885 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:07:17.877 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:07:17.740 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.06 09:07:17.148 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.16 22:53:50.233 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.16 20:30:43.465 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.16 20:29:37.466 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.16 08:03:46.253 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.15 19:26:38.810 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.15 10:56:53.952 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.05.13 17:47:16.381 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.11 17:49:31.321 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.05.06 09:08:17.878 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.06 09:08:17.874 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.17 09:05:44.221 | DMA_FCU_1123_24_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.17 09:04:04.124 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.17 08:59:50.067 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.17 08:59:16.066 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.17 08:53:19.680 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Lift monitoring lost |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.17 08:46:56.102 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.17 08:46:30.094 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.17 08:39:56.174 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.17 08:36:56.160 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.17 08:24:54.864 | AEN_ESC_0007 | Escalator 7 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.17 08:24:17.960 | AEN_ESC_0005 | Escalator 5 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.17 08:21:20.038 | AEN_ESC_0006 | Escalator 6 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.17 08:20:49.194 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.17 07:56:55.557 | AEN_DOR_B2_ESC_STAIRS_04_4 | Platform 1 east - single emergency door | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.17 07:37:03.183 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.17 07:36:15.002 | AEN_DOR_GF_405-2_1 | Ground floor east - emergency escape ramp | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.17 07:17:46.994 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped (braking distance exceeded) |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.17 07:14:40.996 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 23:48:48.223 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.16 23:48:48.220 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.16 22:58:57.225 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.225 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.225 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.225 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.225 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.224 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.224 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.224 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.224 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.224 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.224 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:58:57.224 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:54:58.096 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:54:58.096 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:54:12.110 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 22:54:12.110 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 21:34:58.278 | _ReduManager_2 | Town Hall Server 2 | Server 2 - Set active automatically |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 17:57:21.976 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.16 17:56:05.184 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.16 16:17:00.164 | DMA_FCU_1127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 15:53:18.102 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.16 14:32:30.137 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.16 14:02:03.675 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.16 13:47:56.129 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.16 12:19:59.186 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.16 12:18:25.325 | AEN_DOR_B2_ESC_STAIRS_03_2 | Platform 1 west - double emergency door | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.16 11:35:54.150 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.16 09:39:18.106 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.16 07:44:12.205 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.15 13:51:44.182 | PKV_FCU_1207_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.15 13:11:10.471 | PKV_TEXB | Tunnel Ambient Temperature Control - Westbound | Tunnel B - Ambient Temperature Control Unavailable |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.15 09:48:41.101 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.15 09:47:27.103 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.15 07:32:01.078 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.14 14:33:09.925 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.14 09:25:03.092 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.14 09:25:03.092 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.13 17:25:33.644 | DMA-E-PSD-028 | Anzac Platform 2 Zone 3 PSD 28 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.13 17:25:33.633 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.11 17:44:44.220 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 17:32:30.803 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.11 17:31:51.797 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.10 12:09:52.390 | PKV-SPE-0018 | B1, PKV-SPE-0018 Gas Meter Room 944-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.10 09:35:22.263 | DMA_SDP_0109_10_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.08 19:18:06.264 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.08 19:18:06.252 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.08 14:11:37.281 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.08 14:11:34.169 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.08 13:06:35.362 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 10:38:29.085 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.05.06 10:38:29.076 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.05.06 09:12:44.004 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.06 09:12:43.963 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.06 09:12:43.937 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.06 09:12:43.908 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.06 09:12:37.638 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:12:37.580 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:50.121 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:49.343 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:48.560 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:42.286 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:41.504 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:16.052 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.06 09:07:56.289 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:07:34.198 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.05.06 09:07:33.965 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
WENT UNACK High | 2024.05.17 03:45:22.140 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.05.17 03:45:36.144 | 0 | ARN
WENT UNACK High | 2024.05.17 02:38:00.145 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.05.17 02:38:06.139 | 0 | ARN
WENT UNACK High | 2024.05.16 22:48:51.824 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke or heat detected! Extend timer within 30s to investigate!! |  |  | 2024.05.16 22:48:52.815 | 0 | AZC
WENT UNACK High | 2024.05.16 22:44:47.183 | DMA-Z-7219 | ZONE 7219: B1, DMA-CD-01 ECS PLANTROOM 2 | Confirmed fire! |  |  | 2024.05.16 22:49:32.253 | 0 | AZC
WENT UNACK High | 2024.05.16 22:43:35.183 | DMA-Z-7219 | ZONE 7219: B1, DMA-CD-01 ECS PLANTROOM 2 | Smoke or heat detected - fire unconfirmed! |  |  | 2024.05.16 22:44:47.237 | 0 | AZC
WENT UNACK High | 2024.05.16 22:43:10.825 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  | 2024.05.16 22:44:18.822 | 0 | AZC
WENT UNACK High | 2024.05.16 20:05:19.466 | PKV_StationFunc | TVCS Operator Fire Emergency Section 04 - Parkville Station | Operator initiated emergency ventilation mode Is active In the station! |  |  | 2024.05.16 20:29:06.472 | 0 | SDU
WENT UNACK High | 2024.05.16 18:47:13.957 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.05.16 18:51:27.958 | 0 | PKV
WENT UNACK High | 2024.05.16 18:46:05.956 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.05.16 18:46:15.956 | 0 | PKV
WENT UNACK High | 2024.05.16 18:38:21.957 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.05.16 18:38:31.957 | 0 | PKV
WENT UNACK High | 2024.05.16 18:29:51.950 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.05.16 18:34:09.951 | 0 | PKV
WENT UNACK High | 2024.05.16 17:59:04.267 | DMA-Z-72111 | ZONE 72111: B1, DMA-BM-01 COMMS EQUIP ROOM 704-1 | Smoke or heat detected - fire unconfirmed! |  |  | 2024.05.16 18:12:53.201 | 0 | AZC
WENT UNACK High | 2024.05.16 17:50:18.189 | PKV-Z-4524 | ZONE 4524: B4, PKV-AZ-01 PLATFORM WEST | Smoke or heat detected - fire unconfirmed! |  |  | 2024.05.16 17:56:46.174 | 0 | PKV
WENT UNACK High | 2024.05.16 17:50:10.317 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  | 2024.05.16 17:50:40.317 | 0 | PKV
WENT UNACK High | 2024.05.16 17:50:09.319 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Smoke or heat detected! Extend timer within 30s to investigate!! |  |  | 2024.05.16 17:56:31.315 | 0 | PKV
WENT UNACK High | 2024.05.16 13:55:52.314 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.05.16 13:57:00.312 | 0 | STL
WENT UNACK High | 2024.05.16 13:01:38.150 | PKV-Z-4313 | ZONE 4313: B2, PKV-AF-01 BOH Fire Lobby & Corridor | Smoke or heat detected - fire unconfirmed! |  |  | 2024.05.16 13:11:55.144 | 0 | PKV
WENT UNACK High | 2024.05.16 12:56:54.609 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.05.16 13:00:12.610 | 0 | THL
WENT UNACK High | 2024.05.16 12:51:48.615 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.05.16 12:53:52.608 | 0 | THL
WENT UNACK High | 2024.05.16 12:43:28.612 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | Manual release activated! |  |  | 2024.05.16 12:44:00.616 | 0 | THL
WENT UNACK High | 2024.05.16 12:16:06.616 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.05.16 12:18:56.614 | 0 | THL
WENT UNACK High | 2024.05.16 12:15:02.307 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.05.16 12:17:26.315 | 0 | STL
WENT UNACK High | 2024.05.16 12:11:06.310 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.05.16 12:13:22.306 | 0 | STL
WENT UNACK High | 2024.05.16 12:09:38.611 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.05.16 12:12:32.608 | 0 | THL
WENT UNACK High | 2024.05.16 12:02:02.307 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.05.16 12:02:10.305 | 0 | STL
WENT UNACK High | 2024.05.16 11:52:34.081 | AEN-Z-39001 | ZONE 39001: GF, AEN-SCV-0001,Control Valve CV1 East | Confirmed fire! |  |  | 2024.05.16 12:01:21.095 | 0 | ARN
WENT UNACK High | 2024.05.16 09:28:06.116 | AEN-Z-33121 | ZONE 33121: GF, AEN-G-04 HV SUB B | Smoke or heat detected - fire unconfirmed! |  |  | 2024.05.16 09:28:51.124 | 0 | ARN
WENT UNACK Med | 2024.05.17 08:45:32.082 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.17 08:45:40.996 | 0 | AZC
WENT UNACK Med | 2024.05.17 07:17:46.077 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.17 07:17:56.997 | 0 | AZC
WENT UNACK Med | 2024.05.17 07:07:36.999 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.17 07:07:49.021 | 0 | AZC
WENT UNACK Med | 2024.05.17 02:00:26.922 | AEN_FCU_0013_14_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.17 06:41:56.933 | 0 | ARN
WENT UNACK Med | 2024.05.17 01:51:40.312 | TNC-W-PSD-025 | State Library Platform 1 Zone 3 PSD 25 | Door control unit communication lost |  |  | 2024.05.17 01:52:38.312 | 0 | STL
WENT UNACK Med | 2024.05.16 22:52:40.078 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 22:52:50.087 | 0 | AZC
WENT UNACK Med | 2024.05.16 22:44:21.045 | DMA_FCU_1111_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 22:44:51.039 | 0 | AZC
WENT UNACK Med | 2024.05.16 22:44:20.163 | DMA_FCU_1115_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 22:48:58.162 | 0 | AZC
WENT UNACK Med | 2024.05.16 22:19:09.042 | DMA_FCU_1139_40_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 22:19:39.042 | 0 | AZC
WENT UNACK Med | 2024.05.16 22:19:09.042 | DMA_FCU_1137_38_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 22:19:39.042 | 0 | AZC
WENT UNACK Med | 2024.05.16 21:35:14.221 | DMA_FCU_1143_44_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 21:35:51.032 | 0 | AZC
WENT UNACK Med | 2024.05.16 21:34:41.568 | _Mod_Plc_1_2 | MTSTL:_Mod_Plc_1_2. | Communications Fault - State Library Server 2 to State Library PSD Servers |  |  | 2024.05.16 21:34:43.590 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:39.554 | _Conn_event_0_2_to_event_0_1 | State Library Server 2 | Connection lost to Server 2 - Link 1 |  |  | 2024.05.16 21:35:23.370 | 0 | STL
WENT UNACK Med | 2024.05.16 21:34:39.554 | _Conn_event_0_2_to_event_0_1 | State Library Server 2 | Connection lost to Server 2 - Link 0 |  |  | 2024.05.16 21:35:03.358 | 0 | STL
WENT UNACK Med | 2024.05.16 21:34:39.554 | _Conn_event_0_2_to_driver_2_2 | State Library Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.05.16 21:34:41.192 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:39.554 | _Conn_event_0_2_to_driver_1_2 | State Library Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.05.16 21:34:40.776 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:39.554 | _Conn_event_0_2_to_ctrl_3_2 | State Library Server 2 | Control Manager Not Running - mtstl_scripts.lst |  |  | 2024.05.16 21:34:42.598 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:39.554 | _Conn_event_0_2_to_ctrl_2_2 | State Library Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.05.16 21:34:42.390 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:39.554 | _Conn_event_0_2_to_ctrl_1_2 | State Library Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.05.16 21:34:39.981 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:36.411 | _Conn_event_0_1_to_driver_2_1 | Town Hall Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.05.16 21:34:38.159 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:36.411 | _Conn_event_0_1_to_driver_1_1 | Town Hall Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.05.16 21:34:37.668 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:36.411 | _Conn_event_0_1_to_ctrl_3_1 | Town Hall Server 1 | Control Manager Not Running - mtthl_scripts.lst |  |  | 2024.05.16 21:34:39.584 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:36.411 | _Conn_event_0_1_to_ctrl_2_1 | Town Hall Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.05.16 21:34:39.375 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:36.411 | _Conn_event_0_1_to_ctrl_1_1 | Town Hall Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.05.16 21:34:36.858 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:35.866 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost |  |  | 2024.05.16 21:34:38.167 | 0 | THL
WENT UNACK Med | 2024.05.16 21:34:31.150 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost |  |  | 2024.05.16 21:34:33.835 | 0 | THL
WENT UNACK Med | 2024.05.16 21:08:19.052 | DMA_FCU_0111_12_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 21:08:43.026 | 0 | AZC
WENT UNACK Med | 2024.05.16 20:50:54.219 | DMA_FCU_0113_14_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 20:51:18.153 | 0 | AZC
WENT UNACK Med | 2024.05.16 20:35:18.158 | DMA_FCU_0115_16_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 20:35:48.159 | 0 | AZC
WENT UNACK Med | 2024.05.16 20:30:35.470 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | Degraded fans |  |  | 2024.05.16 20:30:43.465 | 0 | PKV
WENT UNACK Med | 2024.05.16 20:30:06.465 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | Degraded fans |  |  | 2024.05.16 20:30:15.469 | 0 | PKV
WENT UNACK Med | 2024.05.16 20:29:30.464 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | Degraded fans |  |  | 2024.05.16 20:29:37.466 | 0 | PKV
WENT UNACK Med | 2024.05.16 20:24:44.222 | DMA_FCU_0107_08_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 20:24:58.143 | 0 | AZC
WENT UNACK Med | 2024.05.16 19:54:00.088 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 19:54:08.078 | 0 | AZC
WENT UNACK Med | 2024.05.16 18:53:49.151 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Emergency Intercom Activated Level 1 |  |  | 2024.05.16 18:57:24.151 | 0 | PKV
WENT UNACK Med | 2024.05.16 18:47:09.956 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.05.16 18:51:29.957 | 0 | PKV
WENT UNACK Med | 2024.05.16 18:41:17.950 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.05.16 18:46:15.956 | 0 | PKV
WENT UNACK Med | 2024.05.16 18:34:39.955 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.05.16 18:38:31.956 | 0 | PKV
WENT UNACK Med | 2024.05.16 18:29:41.951 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.05.16 18:34:09.951 | 0 | PKV
WENT UNACK Med | 2024.05.16 17:50:44.323 | PKV_FCU_0211_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 17:56:44.353 | 0 | PKV
WENT UNACK Med | 2024.05.16 17:50:44.287 | PKV_FCU_1201_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 17:56:44.325 | 0 | PKV
WENT UNACK Med | 2024.05.16 17:50:44.276 | PKV_FCU_1219_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 17:56:44.315 | 0 | PKV
WENT UNACK Med | 2024.05.16 17:50:44.275 | PKV_FCU_0213_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 17:56:44.315 | 0 | PKV
WENT UNACK Med | 2024.05.16 17:50:44.252 | PKV_FCU_1107_08_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 17:56:44.283 | 0 | PKV
WENT UNACK Med | 2024.05.16 17:50:44.252 | PKV_FCU_1105_06_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 17:56:44.283 | 0 | PKV
WENT UNACK Med | 2024.05.16 17:50:43.374 | PKV_FCU_0309_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 17:56:45.363 | 0 | PKV
WENT UNACK Med | 2024.05.16 16:34:18.083 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 16:34:28.089 | 0 | AZC
WENT UNACK Med | 2024.05.16 14:20:26.291 | _DMA-BMS-PLC | MTAZC:_DMA-BMS-PLC. | Communications Fault - Anzac Server 1 to Anzac BMS PLC |  |  | 2024.05.16 14:20:31.965 | 0 | AZC
WENT UNACK Med | 2024.05.16 14:17:59.013 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 14:18:06.990 | 0 | AZC
WENT UNACK Med | 2024.05.16 13:57:35.036 | DMA_SPP_0205_06_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.05.16 14:35:25.042 | 0 | AZC
WENT UNACK Med | 2024.05.16 13:55:42.313 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.05.16 13:57:02.305 | 0 | STL
WENT UNACK Med | 2024.05.16 12:25:35.083 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 12:25:45.094 | 0 | PKV
WENT UNACK Med | 2024.05.16 12:22:44.116 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 12:22:53.010 | 0 | AZC
WENT UNACK Med | 2024.05.16 12:18:44.217 | DMA_FCU_1201_02_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 12:19:12.140 | 0 | AZC
WENT UNACK Med | 2024.05.16 12:14:58.308 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.05.16 12:17:28.307 | 0 | STL
WENT UNACK Med | 2024.05.16 12:10:14.310 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.05.16 12:13:28.305 | 0 | STL
WENT UNACK Med | 2024.05.16 12:09:32.609 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.05.16 12:09:56.611 | 0 | THL
WENT UNACK Med | 2024.05.16 11:59:50.305 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.05.16 12:02:22.307 | 0 | STL
WENT UNACK Med | 2024.05.16 11:22:24.108 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 11:22:32.076 | 0 | AZC
WENT UNACK Med | 2024.05.16 10:59:18.129 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 10:59:30.110 | 0 | PKV
WENT UNACK Med | 2024.05.16 09:36:53.126 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 09:37:01.109 | 0 | PKV
WENT UNACK Med | 2024.05.16 09:06:52.611 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.05.16 09:07:16.615 | 0 | THL
WENT UNACK Med | 2024.05.16 09:01:44.229 | DMA_FCU_0103_04_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.16 09:26:46.146 | 0 | AZC
WENT UNACK Med | 2024.05.16 08:48:11.077 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 08:48:19.078 | 0 | PKV
WENT UNACK Med | 2024.05.16 08:48:05.075 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.16 08:48:14.083 | 0 | PKV
WENT UNACK Med | 2024.05.16 08:15:34.258 | PKV-FIP-0006 | Parkville Station SHCIE Panel 5 | Power supply to gas supression panel fault |  |  | 2024.05.16 10:36:47.179 | 0 | PKV
WENT UNACK Med | 2024.05.15 15:43:10.077 | _AEN-BMS-PLC3 | MTARD:_AEN-BMS-PLC3. | Communications Fault - Arden Server 1 to Arden BMS 3 PLC |  |  | 2024.05.15 15:43:10.941 | 0 | ARN
WENT UNACK Med | 2024.05.15 15:42:42.410 | _AEN-BMS-PLC | Arden BMS PLC | Communications Fault - Arden Server 1 to Arden BMS PLC |  |  | 2024.05.15 15:42:49.197 | 0 | ARN
WENT UNACK Med | 2024.05.15 15:31:04.020 | _AEN-TVC-PLC_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden TVCS PLC |  |  | 2024.05.15 15:31:04.069 | 0 | PKV
WENT UNACK Med | 2024.05.15 15:29:40.930 | _Mod_Plc_2_2 | MTARD:_Mod_Plc_2_2. | Communications Fault - Arden Server 2 to Arden FDS Gateway |  |  | 2024.05.15 15:31:05.829 | 0 | PKV
WENT UNACK Med | 2024.05.15 15:29:40.929 | _Mod_Plc_1_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden PSD Servers |  |  | 2024.05.15 15:31:06.674 | 0 | PKV
WENT UNACK Med | 2024.05.15 15:29:40.929 | _Mod_Plc_4_2 | MTARD:_Mod_Plc_4_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  | 2024.05.15 15:31:06.356 | 0 | PKV
WENT UNACK Med | 2024.05.15 15:29:40.929 | _Mod_Plc_3_2 | MTARD:_Mod_Plc_3_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  | 2024.05.15 15:31:06.256 | 0 | PKV
WENT UNACK Med | 2024.05.15 15:29:40.919 | _AEN-BMS-PLC_2 | Arden BMS PLC | Communications Fault - Arden Server 2 to Arden BMS PLC |  |  | 2024.05.15 15:31:11.274 | 0 | PKV
WENT UNACK Med | 2024.05.15 15:29:40.919 | _AEN-BMS-PLC3_2 | MTARD:_AEN-BMS-PLC3_2. | Communications Fault - Arden Server 2 to Arden BMS 3 PLC |  |  | 2024.05.15 15:31:05.150 | 0 | PKV
WENT UNACK Med | 2024.05.15 15:29:40.919 | _AEN-FDS-S7PLUS_2 | MTARD:_AEN-FDS-S7PLUS_2. | Communications Fault - Arden Server 2 to Arden FDS PLC |  |  | 2024.05.15 15:31:07.243 | 0 | PKV
WENT UNACK Med | 2024.05.15 15:29:40.919 | _PAE-BMS-PLC_2 | MTARD:_PAE-BMS-PLC_2. | Communications Fault - Arden Server 2 to Western Portal BMS PLC |  |  | 2024.05.15 15:31:06.178 | 0 | PKV
WENT UNACK Med | 2024.05.10 09:02:15.294 | _Conn_dist_1_2_to_dist_5_2 | Distributed Server 2 | Connection lost to State Library Server 2 - Link 0 |  |  | 2024.05.16 21:35:10.103 | 0 | THL
WENT UNACK Med | 2024.05.10 09:02:15.294 | _Conn_dist_1_2_to_dist_5_2 | Distributed Server 2 | Connection lost to State Library Server 2 - Link 1 |  |  | 2024.05.16 21:34:49.929 | 0 | THL
WENT UNACK Med | 2024.05.10 09:02:15.294 | _Conn_dist_1_2_to_dist_6_1 | Distributed Server 2 | Connection lost to Town Hall Server 1 - Link 0 |  |  | 2024.05.16 21:34:49.930 | 0 | ARN
WENT UNACK Med | 2024.05.10 09:02:15.294 | _Conn_dist_1_2_to_dist_6_1 | Distributed Server 2 | Connection lost to Town Hall Server 1 - Link 1 |  |  | 2024.05.16 21:35:10.104 | 0 | ARN
WENT UNACK Med | 2024.05.10 08:49:20.226 | _Conn_dist_1_1_to_dist_6_1 | Distributed Server 1 | Connection lost to Town Hall Server 1 - Link 1 |  |  | 2024.05.16 21:35:03.322 | 0 | ARN
WENT UNACK Med | 2024.05.10 08:49:20.022 | _Conn_event_0_1_to_event_0_2 | State Library Server 1 | Connection lost to Server 2 - Link 0 |  |  | 2024.05.16 21:35:03.360 | 0 | THL
WENT UNACK Med | 2024.05.10 08:49:20.022 | _Conn_event_0_1_to_event_0_2 | State Library Server 1 | Connection lost to Server 2 - Link 1 |  |  | 2024.05.16 21:35:23.370 | 0 | THL
WENT UNACK Med | 2024.05.10 08:49:19.891 | _Conn_dist_1_1_to_dist_5_2 | Distributed Server 1 | Connection lost to State Library Server 2 - Link 0 |  |  | 2024.05.16 21:35:03.321 | 0 | THL
WENT UNACK Med | 2024.05.10 08:49:19.891 | _Conn_dist_1_1_to_dist_5_2 | Distributed Server 1 | Connection lost to State Library Server 2 - Link 1 |  |  | 2024.05.16 21:34:44.220 | 0 | THL
WENT UNACK Med | 2024.05.10 08:49:19.891 | _Conn_dist_1_1_to_dist_6_1 | Distributed Server 1 | Connection lost to Town Hall Server 1 - Link 0 |  |  | 2024.05.16 21:34:44.222 | 0 | ARN
WENT UNACK Low | 2024.05.17 09:08:40.805 | AEN_DOR_B2_ESC_STAIRS_04_2 | Platform 2 east - single emergency door | Unauthorised access |  |  | 2024.05.17 09:08:44.058 | 0 | ARN
WENT UNACK Low | 2024.05.17 09:06:58.859 | AEN_DOR_GF_405-2_2 | Ground floor east - back of house emergency corridor | Unauthorised access |  |  | 2024.05.17 09:07:02.497 | 0 | ARN
WENT UNACK Low | 2024.05.17 09:06:43.734 | AEN_DOR_L1_ESC_STAIRS_5_1 | Level 1 east - office stairs | Unauthorised access |  |  | 2024.05.17 09:06:47.368 | 0 | ARN
WENT UNACK Low | 2024.05.17 08:47:38.044 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.05.17 08:47:47.072 | 0 | PKV
WENT UNACK Low | 2024.05.17 08:23:46.389 | PKV_DOR_B4_PKV-S-01_1 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.05.17 08:35:18.505 | 0 | PKV
WENT UNACK Low | 2024.05.17 07:54:59.678 | PAE_LFT_0002 | Lift 2 BOH (Ground Floor to Level 1) | Lift monitoring lost |  |  | 2024.05.17 08:50:15.681 | 0 | SDU
WENT UNACK Low | 2024.05.17 07:54:45.191 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  | 2024.05.17 07:54:57.165 | 0 | PKV
WENT UNACK Low | 2024.05.17 07:54:45.191 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  | 2024.05.17 07:54:57.165 | 0 | PKV
WENT UNACK Low | 2024.05.17 07:34:03.391 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.05.17 07:38:31.831 | 0 | PKV
WENT UNACK Low | 2024.05.17 07:25:15.505 | AEN_DOR_GF_246-1_2 | Ground floor west - loading dock 2 | Unauthorised access |  |  | 2024.05.17 07:25:19.151 | 0 | ARN
WENT UNACK Low | 2024.05.17 07:22:54.155 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.05.17 08:22:43.149 | 0 | SDU
WENT UNACK Low | 2024.05.17 02:25:52.040 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  | 2024.05.17 02:27:51.037 | 0 | SDU
WENT UNACK Low | 2024.05.17 02:14:50.528 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.05.17 02:14:51.522 | 0 | THL
WENT UNACK Low | 2024.05.17 00:53:26.038 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.05.17 07:28:07.037 | 0 | PKV
WENT UNACK Low | 2024.05.16 23:48:48.230 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  | 2024.05.16 23:49:01.337 | 0 | SDU
WENT UNACK Low | 2024.05.16 23:48:48.229 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  | 2024.05.16 23:49:01.337 | 0 | SDU
WENT UNACK Low | 2024.05.16 23:48:48.223 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  | 2024.05.16 23:49:01.334 | 0 | SDU
WENT UNACK Low | 2024.05.16 22:51:20.997 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.05.17 09:02:30.092 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:51:20.997 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  | 2024.05.17 09:02:30.092 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:51:04.131 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.05.17 09:03:02.092 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:51:04.131 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  | 2024.05.17 09:03:02.092 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:46:58.109 | DMA_FCU_1111_MVD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 22:50:26.115 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:46:58.109 | DMA_FCU_1111_MVD_01 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 22:50:26.115 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:46:21.014 | DMA_FCU_1111_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 22:50:26.115 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:21.045 | DMA_FCU_1105_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:48:59.044 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:21.045 | DMA_FCU_1103_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:48:59.044 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:21.045 | DMA_FCU_1101_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:48:59.044 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:21.037 | DMA_FCU_0127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:44:51.029 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:21.037 | DMA_FCU_0121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:44:51.029 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:20.177 | DMA_FCU_1119_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:44:51.039 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:20.163 | DMA_FCU_1121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:48:59.044 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:20.163 | DMA_FCU_1117_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:48:58.162 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:20.163 | DMA_FCU_1145_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:44:51.029 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:20.163 | DMA_FCU_1125_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:44:51.029 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:20.163 | DMA_FCU_1001_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:44:51.029 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:44:20.163 | DMA_FCU_0123_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 22:44:51.029 | 0 | AZC
WENT UNACK Low | 2024.05.16 22:26:47.359 | DMA-SPE-0704 | B1, DMA-SPE-0704 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.16 22:27:19.318 | 0 | AZC
WENT UNACK Low | 2024.05.16 21:46:29.750 | AEN_DOR_GF_401-1_1 | Ground floor east - fire control room | Unauthorised access |  |  | 2024.05.16 21:46:33.902 | 0 | ARN
WENT UNACK Low | 2024.05.16 21:34:40.059 | _ReduManager_2 | State Library Server 2 | Server 2 - Passive |  |  | 2024.05.16 21:34:56.259 | 0 | THL
WENT UNACK Low | 2024.05.16 20:30:36.470 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Degraded |  |  | 2024.05.16 20:30:43.465 | 0 | SDU
WENT UNACK Low | 2024.05.16 20:30:26.467 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | Loss of redundancy (fans) |  |  | 2024.05.16 20:30:36.470 | 0 | PKV
WENT UNACK Low | 2024.05.16 20:29:45.463 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | Loss of redundancy (fans) |  |  | 2024.05.16 20:30:06.465 | 0 | PKV
WENT UNACK Low | 2024.05.16 20:29:24.464 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | Loss of redundancy (fans) |  |  | 2024.05.16 20:29:31.467 | 0 | PKV
WENT UNACK Low | 2024.05.16 20:23:43.006 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator stopped(foreign object trapped in handrail entry - top right) |  |  | 2024.05.16 20:23:53.007 | 0 | AZC
WENT UNACK Low | 2024.05.16 20:06:25.489 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.05.16 20:24:43.911 | 0 | PKV
WENT UNACK Low | 2024.05.16 20:06:14.250 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.05.16 20:24:40.366 | 0 | PKV
WENT UNACK Low | 2024.05.16 20:05:58.981 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.05.16 20:24:55.028 | 0 | PKV
WENT UNACK Low | 2024.05.16 19:00:44.153 | DMA_FCU_0117_MVD_08 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 19:02:38.105 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:55:17.076 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.05.16 19:01:58.150 | 0 | ARN
WENT UNACK Low | 2024.05.16 18:41:30.105 | DMA_FCU_0119_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 18:42:42.111 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:37:38.155 | DMA_FCU_0119_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 18:38:20.109 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:10.239 | DMA-SPE-0166 | B1, DMA-SPE-0166 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:59.248 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:10.239 | DMA-SPE-0167 | B1, DMA-SPE-0167 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:59.248 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:10.239 | DMA-SPE-0168 | B1, DMA-SPE-0168 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:59.248 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:10.239 | DMA-SPE-0169 | B1, DMA-SPE-0169 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:59.248 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:10.239 | DMA-SPE-0170 | B1, DMA-SPE-0170 FIRE LOBBY C/S 406-3 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:59.248 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:10.239 | DMA-SPE-0721 | B1, DMA-SPE-0721 FIRE LOBBY 406-3 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:59.248 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:10.239 | DMA-SPE-0723 | B1, DMA-SPE-0723 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:59.248 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:10.239 | DMA-SPE-0724 | B1, DMA-SPE-0724 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:59.248 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:10.239 | DMA-SPE-0725 | B1, DMA-SPE-0725 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:59.248 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:08.247 | DMA-SPE-0005 | B1, DMA-SPE-0005 HVAC PLANT ROOM 811-8 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:56.383 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:08.247 | DMA-SPE-0006 | B1, DMA-SPE-0006 HVAC PLANT ROOM 811-8 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:56.383 | 0 | AZC
WENT UNACK Low | 2024.05.16 18:22:08.247 | DMA-SPE-0007 | B1, DMA-SPE-0007 WATER METER ROOM 884-1 | Heat or smoke detector fault |  |  | 2024.05.16 18:43:56.384 | 0 | AZC
WENT UNACK Low | 2024.05.16 17:55:02.202 | PKV_AHU_1303_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 17:58:40.222 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:53:22.230 | PKV_AHU_1303_MVD_01 | Air Handling Unit - Outside Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 17:56:40.160 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:52:43.245 | PKV_FCU_0211_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 17:58:12.217 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:52:43.245 | PKV_FCU_0211_MVD_01 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 17:56:53.195 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:52:43.245 | PKV_FCU_0207_SMD_04 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 17:56:50.165 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:52:42.202 | PKV_FCU_0403_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 17:56:49.181 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:52:42.202 | PKV_FCU_0403_MVD_03 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 17:56:49.181 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:52:42.202 | PKV_FCU_0207_SMD_05 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 17:56:50.165 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:45.398 | PKV_FCU_0215_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.325 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.287 | PKV_FCU_1303_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:45.395 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.287 | PKV_FCU_1209_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.325 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.287 | PKV_FCU_1203_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.325 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.287 | PKV_FCU_0305_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:45.395 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.287 | PKV_FCU_0303_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:45.395 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.287 | PKV_FCU_0301_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:45.395 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.287 | PKV_FCU_0217_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.325 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.276 | PKV_FCU_1211_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.315 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.276 | PKV_FCU_1119_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.315 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.275 | PKV_FCU_0205_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.315 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.275 | PKV_FCU_0203_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.315 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.252 | PKV_FCU_1115_16_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.283 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:44.252 | PKV_FCU_0207_09_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.283 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:43.374 | PKV_FCU_1305_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:45.363 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:43.374 | PKV_FCU_1123_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:44.315 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:43.374 | PKV_FCU_1121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.16 17:56:45.363 | 0 | PKV
WENT UNACK Low | 2024.05.16 17:50:12.108 | DMA_FCU_0117_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 17:51:12.106 | 0 | AZC
WENT UNACK Low | 2024.05.16 16:25:13.003 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator failed to start |  |  | 2024.05.16 16:25:23.003 | 0 | AZC
WENT UNACK Low | 2024.05.16 15:55:02.988 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  | 2024.05.16 15:55:30.076 | 0 | AZC
WENT UNACK Low | 2024.05.16 15:50:31.004 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  | 2024.05.16 15:51:01.003 | 0 | AZC
WENT UNACK Low | 2024.05.16 14:37:28.032 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.05.16 14:47:26.025 | 0 | SDU
WENT UNACK Low | 2024.05.16 14:20:32.144 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.05.16 14:20:36.103 | 0 | AZC
WENT UNACK Low | 2024.05.16 13:46:19.188 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  | 2024.05.17 06:43:27.170 | 0 | PKV
WENT UNACK Low | 2024.05.16 13:31:30.143 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD isolated |  |  | 2024.05.16 13:55:08.139 | 0 | ARN
WENT UNACK Low | 2024.05.16 13:31:28.144 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | Maintenance mode activated |  |  | 2024.05.16 13:31:30.143 | 0 | ARN
WENT UNACK Low | 2024.05.16 12:35:46.989 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  | 2024.05.16 16:03:26.074 | 0 | AZC
WENT UNACK Low | 2024.05.16 12:21:13.112 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator stopped(foreign object trapped in handrail entry - top left) |  |  | 2024.05.16 12:21:23.115 | 0 | PKV
WENT UNACK Low | 2024.05.16 12:17:20.121 | DMA_FCU_1201_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 12:17:57.015 | 0 | AZC
WENT UNACK Low | 2024.05.16 12:12:39.033 | DMA_FCU_1201_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 12:14:23.022 | 0 | AZC
WENT UNACK Low | 2024.05.16 12:01:30.090 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator stopped.(combplate top right) |  |  | 2024.05.16 12:01:40.087 | 0 | AZC
WENT UNACK Low | 2024.05.16 11:52:41.025 | DMA_FCU_1201_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 11:53:29.040 | 0 | AZC
WENT UNACK Low | 2024.05.16 11:52:41.025 | DMA_FCU_1201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 11:53:29.040 | 0 | AZC
WENT UNACK Low | 2024.05.16 11:52:03.998 | AEN_LFT_0005 | Lift 5 BOH (Platforms to Ground Floor) | Lift General Fault |  |  | 2024.05.16 11:52:41.991 | 0 | ARN
WENT UNACK Low | 2024.05.16 11:43:31.024 | DMA_FCU_1201_MVD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 11:46:21.031 | 0 | AZC
WENT UNACK Low | 2024.05.16 11:34:06.172 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift monitoring lost |  |  | 2024.05.16 11:34:52.188 | 0 | PKV
WENT UNACK Low | 2024.05.16 11:31:03.581 | AEN_DOR_B2_ESC_STAIRS_03_1 | Platform 2 west - single emergency door | Unauthorised access |  |  | 2024.05.16 11:31:08.626 | 0 | ARN
WENT UNACK Low | 2024.05.16 11:28:10.125 | DMA_FCU_1121_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 11:28:33.021 | 0 | AZC
WENT UNACK Low | 2024.05.16 11:25:00.993 | DMA_FCU_1121_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 11:25:48.118 | 0 | AZC
WENT UNACK Low | 2024.05.16 11:17:07.160 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Water in lift well pit |  |  | 2024.05.16 11:17:30.167 | 0 | PKV
WENT UNACK Low | 2024.05.16 10:34:07.036 | DMA_SDP_0105_06_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.05.16 10:34:27.045 | 0 | AZC
WENT UNACK Low | 2024.05.16 10:32:14.873 | AEN_AHU_0103_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 10:33:08.019 | 0 | ARN
WENT UNACK Low | 2024.05.16 10:30:06.882 | AEN_AHU_0101_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.05.16 10:30:55.991 | 0 | ARN
WENT UNACK Low | 2024.05.16 10:25:13.858 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  | 2024.05.16 10:25:13.903 | 0 | SDU
WENT UNACK Low | 2024.05.16 10:24:28.687 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  | 2024.05.16 10:24:29.279 | 0 | SDU
WENT UNACK Low | 2024.05.16 10:24:28.683 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  | 2024.05.16 10:24:29.277 | 0 | SDU
WENT UNACK Low | 2024.05.16 10:24:28.681 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  | 2024.05.16 10:24:29.269 | 0 | SDU
WENT UNACK Low | 2024.05.16 10:24:28.679 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  | 2024.05.16 10:24:29.268 | 0 | SDU
WENT UNACK Low | 2024.05.16 10:24:28.679 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  | 2024.05.16 10:24:29.269 | 0 | SDU
WENT UNACK Low | 2024.05.16 10:24:28.676 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  | 2024.05.16 10:24:29.268 | 0 | SDU
WENT UNACK Low | 2024.05.16 10:24:28.674 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  | 2024.05.16 10:24:29.263 | 0 | SDU
WENT UNACK Low | 2024.05.16 10:24:28.674 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  | 2024.05.16 10:24:29.263 | 0 | SDU
WENT UNACK Low | 2024.05.16 10:24:28.673 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  | 2024.05.16 10:24:29.263 | 0 | SDU
WENT UNACK Low | 2024.05.16 10:24:28.669 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  | 2024.05.16 10:24:29.260 | 0 | SDU
WENT UNACK Low | 2024.05.16 09:33:42.370 | MDW-SPE-5005 | TUNNEL, MDW-SPE-5005 Cross Passge 19 | Heat or smoke detector fault |  |  | 2024.05.16 09:35:14.349 | 0 | SDU
WENT UNACK Low | 2024.05.16 09:22:33.510 | AEN_DOR_B2_ESC_STAIRS_04_1 | Platform 2 east - single emergency door | Unauthorised access |  |  | 2024.05.16 09:22:43.483 | 0 | ARN
WENT UNACK Low | 2024.05.16 08:59:14.440 | MDW-SPE-5004 | TUNNEL, MDW-SPE-5004 Cross Passge 18 | Heat or smoke detector fault |  |  | 2024.05.16 09:00:52.367 | 0 | SDU
WENT UNACK Low | 2024.05.16 07:58:48.308 | DMA-ASD-0035 | B1, DMA-ASD-0035 BOH CORRIDOR 151-2 F1 | Aspirating smoke detector fault |  |  | 2024.05.16 08:03:44.317 | 0 | AZC
WENT UNACK Low | 2024.05.16 07:48:05.644 | AEN_DOR_B1_ESC_STAIRS_03_2 | Concourse west - back of house emergency stairs | Unauthorised access |  |  | 2024.05.16 07:48:13.081 | 0 | ARN
WENT UNACK Low | 2024.05.16 07:45:00.181 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  | 2024.05.16 07:45:02.187 | 0 | PKV
WENT UNACK Low | 2024.05.16 07:42:46.205 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.05.16 07:43:34.170 | 0 | PKV
WENT UNACK Low | 2024.05.15 23:17:54.989 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator stopped.(emergency brake fault) |  |  | 2024.05.16 15:56:39.011 | 0 | AZC
WENT UNACK Low | 2024.05.15 15:31:03.236 | _ReduManager_2 | Arden Server 2 | Server 2 - Passive |  |  | 2024.05.15 15:31:13.427 | 0 | PKV
WENT UNACK Low | 2024.05.15 15:29:41.331 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 1 |  |  | 2024.05.15 15:31:04.069 | 0 | PKV
WENT UNACK Low | 2024.05.15 15:29:41.331 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  | 2024.05.15 15:31:04.110 | 0 | PKV
WENT UNACK Low | 2024.05.15 13:16:24.723 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  | 2024.05.16 10:24:06.219 | 0 | SDU
WENT UNACK Low | 2024.05.14 16:49:22.617 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD isolated |  |  | 2024.05.16 12:53:32.611 | 0 | THL
WENT UNACK Low | 2024.05.14 11:10:35.956 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated |  |  | 2024.05.16 14:16:47.950 | 0 | PKV
WENT UNACK Low | 2024.05.13 13:39:35.953 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated |  |  | 2024.05.16 14:17:13.950 | 0 | PKV
WENT UNACK Low | 2024.05.13 10:26:06.613 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD isolated |  |  | 2024.05.16 13:58:10.613 | 0 | THL
WENT UNACK Low | 2024.05.13 09:51:34.145 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD isolated |  |  | 2024.05.16 14:43:48.146 | 0 | ARN
WENT UNACK Low | 2024.05.13 09:47:56.309 | TNC-W-PSD-025 | State Library Platform 1 Zone 3 PSD 25 | PSD isolated |  |  | 2024.05.16 14:12:44.310 | 0 | STL
WENT UNACK Low | 2024.05.13 09:27:40.307 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD isolated |  |  | 2024.05.16 13:09:52.312 | 0 | STL
WENT UNACK Low | 2024.05.06 09:24:19.432 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  | 2024.05.16 13:05:08.611 | 0 | THL
WENT UNACK Low | 2024.05.06 09:24:18.770 | TSC-E-PSD-009 | Town Hall Platform 2 Zone 1 PSD 09 | PSD isolated |  |  | 2024.05.16 13:05:00.617 | 0 | THL
ACK High | 2024.05.13 17:25:33.702 | _Driver1_2 | MTAZC:_Driver1_2. | Driver overloaded | 2024.05.17 08:14:22.995 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.13 16:55:24.141 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.05.16 08:12:39.548 | kai_longley |  | 0 | ARN
ACK High | 2024.05.13 16:52:06.138 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.05.16 08:12:37.529 | kai_longley |  | 0 | ARN
ACK High | 2024.05.06 09:09:56.866 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.05.07 11:11:31.394 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:08:17.159 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.05.07 11:11:28.284 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:53.952 | AEN-W-PSD-030 | Arden Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:25.224 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:50.397 | AEN-W-PSD-021 | Arden Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:21.622 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:46.057 | AEN-W-PSD-010 | Arden Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:19.282 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:42.500 | AEN-W-PSD-001 | Arden Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:16.395 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:42.056 | AEN-E-PSD-030 | Arden Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:13.880 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:41.617 | AEN-E-PSD-029 | Arden Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:11.622 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:41.176 | AEN-E-PSD-028 | Arden Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:08.959 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:40.736 | AEN-E-PSD-027 | Arden Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:05.281 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:40.288 | AEN-E-PSD-026 | Arden Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:02.688 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:39.848 | AEN-E-PSD-025 | Arden Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:00.161 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:39.406 | AEN-E-PSD-024 | Arden Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:56.360 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:38.966 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:53.690 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:38.524 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:50.622 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:38.081 | AEN-E-PSD-021 | Arden Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:46.885 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:37.633 | AEN-E-PSD-020 | Arden Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:36.688 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:37.189 | AEN-E-PSD-019 | Arden Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:05.878 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:36.748 | AEN-E-PSD-018 | Arden Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:33.624 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:36.298 | AEN-E-PSD-017 | Arden Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:28.595 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:35.859 | AEN-E-PSD-016 | Arden Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:26.276 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:35.420 | AEN-E-PSD-015 | Arden Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:23.623 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:34.980 | AEN-E-PSD-014 | Arden Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:18.900 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:34.541 | AEN-E-PSD-013 | Arden Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:21.491 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:34.099 | AEN-E-PSD-012 | Arden Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:16.136 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:33.658 | AEN-E-PSD-011 | Arden Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:12.867 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:33.212 | AEN-E-PSD-010 | Arden Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:10.162 | dominic_dlasselle |  | 0 | ARN
ACK Med | 2024.05.13 17:47:26.270 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | Power supply to gas supression panel fault | 2024.05.13 18:01:41.038 | himanshu_kakkad |  | 0 | AZC
ACK Med | 2024.05.13 17:47:26.270 | DMA-FIP-0005 | Anzac Station SHCIE Panel 5 | Power supply to gas supression panel fault | 2024.05.13 17:59:59.864 | himanshu_kakkad |  | 0 | AZC
ACK Med | 2024.05.13 17:47:26.268 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Power supply to fire panel fault | 2024.05.13 17:58:02.958 | himanshu_kakkad |  | 0 | AZC
ACK Med | 2024.05.13 17:47:15.540 | DMA-C-01-EVAC | EWIS device for Anzac | EWIS fault | 2024.05.13 17:49:11.875 | himanshu_kakkad |  | 0 | AZC
ACK Med | 2024.05.06 11:54:12.166 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.05.06 12:03:26.229 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.06 11:54:12.159 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.05.07 11:17:43.625 | liam_walkerchan |  | 0 | ARN
ACK Med | 2024.05.06 10:38:29.113 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.06 10:38:29.110 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.06 10:38:29.108 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.06 10:38:29.106 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.06 10:38:29.104 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.06 10:38:29.102 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.06 10:38:29.101 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.06 10:38:29.099 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.06 09:10:37.753 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Emergency Intercom Activated Level 2 | 2024.05.10 13:20:22.767 | chris_lawson |  | 0 | AZC
ACK Med | 2024.05.06 09:08:34.594 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault | 2024.05.07 11:17:43.586 | liam_walkerchan |  | 0 | ARN
ACK Med | 2024.05.06 09:08:34.583 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault | 2024.05.07 11:17:43.586 | liam_walkerchan |  | 0 | ARN
ACK Med | 2024.05.06 09:08:34.544 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault | 2024.05.07 11:17:43.586 | liam_walkerchan |  | 0 | ARN
ACK Med | 2024.05.06 09:08:30.972 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2024.05.15 17:27:58.201 | himanshu_kakkad |  | 0 | SDU
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Low | 2024.05.16 09:39:58.104 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.05.16 10:53:58.399 | josh_estrada |  | 0 | PKV
ACK Low | 2024.05.13 17:47:27.035 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault | 2024.05.13 17:58:02.875 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.05.13 09:59:29.110 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift monitoring lost | 2024.05.13 10:12:11.697 | fadi_duqman |  | 0 | AZC
ACK Low | 2024.05.13 09:44:26.108 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2024.05.13 10:12:11.630 | fadi_duqman |  | 0 | AZC
ACK Low | 2024.05.10 14:42:41.810 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.05.10 14:42:58.689 | paul_moseley |  | 0 | ARN
ACK Low | 2024.05.10 14:42:41.810 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.05.10 14:42:58.689 | paul_moseley |  | 0 | ARN
ACK Low | 2024.05.10 14:14:53.099 | AEN_DOR_B1_151-4_1 | Concourse east - back of house emergency corridor | Unauthorised access | 2024.05.10 14:16:10.529 | paul_moseley |  | 0 | ARN
ACK Low | 2024.05.09 08:07:59.254 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault | 2024.05.09 11:14:17.793 | emilio_ito |  | 0 | PKV
ACK Low | 2024.05.07 10:37:18.214 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost | 2024.05.15 20:20:25.682 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.05.07 10:37:18.214 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2024.05.15 20:20:25.651 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.05.06 11:54:12.186 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically | 2024.05.06 12:03:12.642 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.05.06 10:38:29.082 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.05.07 11:17:43.625 | liam_walkerchan |  | 0 | ARN
ACK Low | 2024.05.06 10:38:29.074 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.05.07 11:17:43.625 | liam_walkerchan |  | 0 | ARN
ACK Low | 2024.05.06 09:12:44.076 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown | 2024.05.15 17:27:58.116 | himanshu_kakkad |  | 0 | SDU
ACK Low | 2024.05.06 09:12:44.048 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown | 2024.05.15 17:27:58.122 | himanshu_kakkad |  | 0 | SDU
ACK Low | 2024.05.06 09:12:37.455 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access | 2024.05.07 11:07:42.106 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.05.06 09:12:37.328 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Door open too long | 2024.05.07 11:07:42.106 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.05.06 09:10:37.931 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.05.10 13:20:22.737 | chris_lawson |  | 0 | AZC