## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
WENT UNACK Low | 2024.09.21 06:23:06.798 | AEN_DOR_GF_246-1_2 | Ground floor west - loading dock 2 | Unauthorised access |  |  | 2024.09.21 11:18:58.725 | 0 | ARN
WENT UNACK Low | 2024.09.21 06:22:34.836 | AEN_DOR_GF_246-1_1 | Ground floor west - loading dock 1 | Unauthorised access |  |  | 2024.09.21 11:19:17.727 | 0 | ARN
WENT UNACK Low | 2024.09.20 18:12:03.877 | PKV_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.09.20 18:12:55.895 | 0 | PKV
ACK High | 2024.09.21 20:26:52.753 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.09.23 06:22:02.910 | kai_longley |  | 0 | ARN
ACK High | 2024.09.21 19:41:50.750 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.09.23 06:21:58.784 | kai_longley |  | 0 | ARN
ACK High | 2024.09.21 16:47:24.541 | TSC-E-PSD-007 | Town Hall Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! | 2024.09.23 06:22:03.908 | kai_longley |  | 0 | THL
ACK High | 2024.09.21 16:47:24.541 | TSC-E-PSD-008 | Town Hall Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.09.23 06:22:04.832 | kai_longley |  | 0 | THL
ACK High | 2024.09.21 16:47:24.541 | TSC-E-PSD-009 | Town Hall Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! | 2024.09.23 06:22:05.844 | kai_longley |  | 0 | THL
ACK High | 2024.09.21 16:47:24.540 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.09.23 06:22:06.810 | kai_longley |  | 0 | THL
ACK High | 2024.09.21 16:47:24.540 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2024.09.23 06:22:07.795 | kai_longley |  | 0 | THL
ACK High | 2024.09.21 16:47:24.540 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! | 2024.09.23 06:22:08.664 | kai_longley |  | 0 | THL
ACK High | 2024.09.21 16:47:24.540 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! | 2024.09.23 06:22:09.592 | kai_longley |  | 0 | THL
ACK High | 2024.09.21 16:47:24.540 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2024.09.23 06:22:10.501 | kai_longley |  | 0 | THL
ACK High | 2024.09.21 16:47:24.540 | TSC-E-PSD-006 | Town Hall Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! | 2024.09.23 06:22:11.402 | kai_longley |  | 0 | THL
ACK High | 2024.09.21 10:30:28.757 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.09.23 06:22:13.257 | kai_longley |  | 0 | ARN
ACK High | 2024.09.21 06:06:07.229 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! | 2024.09.23 06:22:15.058 | kai_longley |  | 0 | SDU
ACK High | 2024.09.21 06:06:05.235 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! | 2024.09.23 06:22:15.878 | kai_longley |  | 0 | SDU
ACK High | 2024.09.21 06:05:04.227 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! | 2024.09.23 06:22:16.813 | kai_longley |  | 0 | SDU
ACK High | 2024.09.21 05:57:49.227 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! | 2024.09.23 06:22:17.672 | kai_longley |  | 0 | SDU
ACK High | 2024.09.21 04:24:11.230 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! | 2024.09.23 06:22:23.831 | kai_longley |  | 0 | SDU
ACK High | 2024.09.21 01:18:54.226 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! | 2024.09.23 06:22:26.242 | kai_longley |  | 0 | SDU
ACK High | 2024.09.21 01:18:22.226 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! | 2024.09.23 06:22:27.548 | kai_longley |  | 0 | SDU
ACK High | 2024.09.21 01:18:20.232 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! | 2024.09.23 06:22:28.649 | kai_longley |  | 0 | SDU
ACK High | 2024.09.20 21:02:20.762 | TSC-E-PSD-026 | Town Hall Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:31.862 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.762 | TSC-E-PSD-027 | Town Hall Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:34.237 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.762 | TSC-E-PSD-028 | Town Hall Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:33.246 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.762 | TSC-E-PSD-029 | Town Hall Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:36.073 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.762 | TSC-E-PSD-030 | Town Hall Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:35.186 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.761 | TSC-E-PSD-025 | Town Hall Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:38.932 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.667 | TSC-E-PSD-023 | Town Hall Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:37.077 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.667 | TSC-E-PSD-024 | Town Hall Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:40.868 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.638 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:40.037 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.551 | TSC-E-PSD-013 | Town Hall Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:42.837 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.551 | TSC-E-PSD-014 | Town Hall Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:41.836 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.551 | TSC-E-PSD-015 | Town Hall Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:44.702 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.551 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:43.857 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.550 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:50.649 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.550 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:47.665 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 21:02:20.550 | TSC-E-PSD-012 | Town Hall Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2024.09.20 21:02:46.270 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 13:30:49.774 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2024.09.20 13:48:00.416 | kai_longley |  | 0 | THL
ACK High | 2024.09.20 08:19:15.134 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.09.20 13:48:06.726 | kai_longley |  | 0 | STL
ACK High | 2024.09.20 08:15:11.131 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.09.20 13:48:11.332 | kai_longley |  | 0 | STL
ACK High | 2024.09.20 00:38:29.218 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! | 2024.09.20 13:48:24.137 | kai_longley |  | 0 | SDU
ACK High | 2024.09.20 00:38:00.243 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! | 2024.09.20 13:48:25.743 | kai_longley |  | 0 | SDU
ACK High | 2024.09.20 00:37:46.246 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! | 2024.09.20 13:48:27.514 | kai_longley |  | 0 | SDU
ACK High | 2024.09.20 00:37:37.232 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! | 2024.09.20 13:48:29.409 | kai_longley |  | 0 | SDU
ACK High | 2024.09.19 20:42:08.822 | TSC-W-PSD-020 | Town Hall Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2024.09.19 20:44:39.473 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.821 | TSC-W-PSD-019 | Town Hall Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2024.09.19 20:44:43.865 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.700 | TSC-W-PSD-018 | Town Hall Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2024.09.19 20:44:41.660 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.699 | TSC-W-PSD-014 | Town Hall Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.09.19 20:44:46.175 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.699 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2024.09.19 20:44:49.076 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.699 | TSC-W-PSD-017 | Town Hall Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.09.19 20:44:51.392 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.698 | TSC-W-PSD-013 | Town Hall Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2024.09.19 20:44:53.660 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.630 | TSC-W-PSD-011 | Town Hall Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.09.19 20:44:55.816 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.630 | TSC-W-PSD-012 | Town Hall Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2024.09.19 20:44:58.114 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.545 | TSC-W-PSD-002 | Town Hall Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:00.744 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.545 | TSC-W-PSD-003 | Town Hall Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:02.975 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.545 | TSC-W-PSD-004 | Town Hall Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:05.673 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.545 | TSC-W-PSD-006 | Town Hall Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:07.975 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.545 | TSC-W-PSD-007 | Town Hall Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:12.276 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.545 | TSC-W-PSD-008 | Town Hall Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:15.461 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.545 | TSC-W-PSD-009 | Town Hall Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:18.420 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.545 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:20.758 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:08.544 | TSC-W-PSD-001 | Town Hall Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:22.975 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:06.571 | TSC-W-PSD-015 | Town Hall Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:25.075 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:06.571 | TSC-W-PSD-021 | Town Hall Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:27.659 | chris_lawson |  | 0 | THL
ACK High | 2024.09.19 20:42:06.539 | TSC-W-PSD-005 | Town Hall Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2024.09.19 20:45:30.461 | chris_lawson |  | 0 | THL
ACK High | 2024.09.18 01:18:06.585 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! | 2024.09.20 13:48:31.215 | kai_longley |  | 0 | AZC
ACK High | 2024.09.18 01:18:01.577 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! | 2024.09.20 13:48:32.898 | kai_longley |  | 0 | AZC
ACK High | 2024.09.18 01:17:48.590 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.09.20 13:48:34.793 | kai_longley |  | 0 | AZC
ACK High | 2024.09.18 01:17:12.571 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.09.20 13:48:38.362 | kai_longley |  | 0 | AZC
ACK High | 2024.09.18 01:13:42.590 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.09.20 13:48:40.408 | kai_longley |  | 0 | SDU
ACK High | 2024.09.18 01:13:42.590 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.09.20 13:48:36.808 | kai_longley |  | 0 | SDU
ACK High | 2024.09.17 19:00:20.877 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! | 2024.09.18 00:47:55.956 | kai_longley |  | 0 | PKV
ACK High | 2024.09.17 18:28:38.874 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.09.18 00:47:59.482 | kai_longley |  | 0 | SDU
ACK High | 2024.09.17 18:28:38.874 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.09.18 00:48:00.836 | kai_longley |  | 0 | SDU
ACK High | 2024.09.17 03:28:06.872 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! | 2024.09.17 15:01:27.544 | chris_lawson |  | 0 | PKV
ACK High | 2024.09.17 03:27:55.911 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.09.17 14:10:10.878 | chris_lawson |  | 0 | PKV
ACK High | 2024.09.12 17:43:27.350 | TNC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.09.12 18:13:19.222 | kai_longley |  | 0 | SDU
ACK High | 2024.09.11 08:21:56.711 | TSC_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2024.09.12 13:54:42.076 | kai_longley |  | 0 | THL
ACK High | 2024.09.09 17:52:49.780 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.09.10 13:43:44.802 | kai_longley |  | 0 | THL
ACK High | 2024.09.09 17:52:49.780 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.09.10 13:43:46.295 | kai_longley |  | 0 | THL
ACK High | 2024.09.09 17:52:49.780 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.09.10 13:43:49.585 | kai_longley |  | 0 | THL
ACK High | 2024.09.09 09:30:17.190 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Arden station haven't ack'd an important alarm! | 2024.09.10 13:45:14.291 | kai_longley |  | 0 | SSC
ACK High | 2024.09.09 09:30:13.101 | PKV_ROL_RNERV_W | RNERV Enclosure Door - Parkville, West Tunnel | RNERV crane arm extended over tracks! | 2024.09.10 13:45:15.893 | kai_longley |  | 0 | SDU
ACK High | 2024.09.09 09:30:12.889 | PDM_ROL_RNERV_W | RNERV Enclosure Door - Eastern Portal, West Tunnel | RNERV crane arm extended over tracks! | 2024.09.10 13:45:17.493 | kai_longley |  | 0 | SDU
ACK High | 2024.09.09 09:26:55.056 | TNC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.09.10 13:45:19.057 | kai_longley |  | 0 | SDU
ACK High | 2024.09.09 09:24:49.643 | TSC_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - OSD Shaft - Variable Speed Drive | All fans inoperative! | 2024.09.10 13:46:17.422 | kai_longley |  | 0 | THL
ACK High | 2024.09.09 09:24:49.330 | TNC_TFN_0201_03_DS | Tunnel Ventilation Fan - Latrobe Shaft | All fans inoperative! | 2024.09.10 13:46:19.051 | kai_longley |  | 0 | SDU
ACK High | 2024.09.09 09:24:49.297 | TNC_TFN_0101_03_DS | Tunnel Ventilation Fan 03 - Franklin West Shaft | All fans inoperative! | 2024.09.10 13:46:20.693 | kai_longley |  | 0 | SDU
ACK High | 2024.09.09 09:24:49.265 | TNC_OFN_0001_03_DS | Over Track Exhaust Fan 01 - A'Beckett Shaft | All fans inoperative! | 2024.09.10 13:46:22.302 | kai_longley |  | 0 | SDU
ACK High | 2024.09.09 09:24:49.233 | TNC_OCN_0201_02_DS | Over Concourse Exhaust Fan 01 - Latrobe Shaft | All fans inoperative! | 2024.09.10 13:46:24.022 | kai_longley |  | 0 | SDU
ACK High | 2024.09.09 09:24:49.200 | TNC_OCN_0101_02_DS | Over Concourse Exhaust Fan 01 - Franklin West Shaft | All fans inoperative! | 2024.09.10 13:46:25.550 | kai_longley |  | 0 | SDU
ACK High | 2024.09.09 09:24:49.000 | TSC_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - City Square Shaft - Variable Speed Drive | All fans inoperative! | 2024.09.10 13:46:27.310 | kai_longley |  | 0 | THL
ACK High | 2024.09.09 09:24:48.358 | TSC_OFN_0001_03_DS | Over Track Exhaust Fan 01 - OSD Shaft - Variable Speed Drive | All fans inoperative! | 2024.09.10 13:46:28.951 | kai_longley |  | 0 | THL
ACK High | 2024.09.09 09:24:47.710 | TSC_OCN_0101_02_DS | Over Concourse Exhaust Fan 01 - City Square Shaft | All fans inoperative! | 2024.09.10 13:46:30.580 | kai_longley |  | 0 | THL
ACK Med | 2024.09.21 07:40:13.857 | AEN_FCU_1909_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2024.09.23 06:22:37.876 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.20 00:38:00.243 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable | 2024.09.20 13:47:42.929 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.20 00:37:37.232 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable | 2024.09.20 13:47:42.929 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.19 12:21:58.456 | PKV-FIP-0001 | Parkville Station FDCIE Panel | No modbus gateway connection | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Med | 2024.09.19 12:21:56.283 | PKV-FIP-0002 | Parkville Station SHCIE Panel 2 | No modbus gateway connection | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Med | 2024.09.19 12:21:56.283 | PKV-FIP-0003 | Parkville Station SHCIE Panel 3 | No modbus gateway connection | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Med | 2024.09.19 12:21:56.283 | PKV-FIP-0004 | Parkville Station SHCIE Panel 4 | No modbus gateway connection | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Med | 2024.09.19 12:21:56.283 | PKV-FIP-0005 | Parkville Station SHCIE Panel 5 | No modbus gateway connection | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Med | 2024.09.19 12:21:56.283 | PKV-FIP-0006 | Parkville Station SHCIE Panel 6 | No modbus gateway connection | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Med | 2024.09.19 12:21:53.520 | _Mod_Plc_2 | MTPKV:_Mod_Plc_2. | Communications Fault - Parkville Server 1 to Parkville FDS Gateway | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | STL
ACK Med | 2024.09.19 12:21:53.455 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Modbus redundancy loss | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Med | 2024.09.18 01:18:01.577 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable | 2024.09.18 15:15:33.826 | eric_maddocks |  | 0 | SDU
ACK Med | 2024.09.18 01:17:12.571 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2024.09.18 22:07:12.354 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.17 19:01:36.228 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault | 2024.09.18 00:49:30.918 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.17 19:00:20.877 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2024.09.17 19:22:32.736 | chris_lawson |  | 0 | SDU
ACK Med | 2024.09.17 08:10:22.535 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! | 2024.09.18 00:49:33.874 | kai_longley |  | 0 | THL
ACK Med | 2024.09.17 03:27:55.911 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2024.09.17 14:09:50.223 | chris_lawson |  | 0 | SDU
ACK Med | 2024.09.09 09:26:44.380 | TSC_BMSComm | CBD South TVCS BMS PLC | Lost communication between the TSC TVCS PLC and the BMS PLC. | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | THL
ACK Med | 2024.09.09 09:26:29.580 | TNC_BMSComm | CBD North TVCS BMS PLC | Lost communication between the TNC TVCS PLC and the BMS PLC. | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | STL
ACK Med | 2024.09.09 09:26:14.262 | TSC_ModeSts | TVCS CBD South Station mode status S08 | Tunnel section ventilation unavailable | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.09 09:26:14.255 | TSC_ModeSts | TVCS CBD South Station mode status S08 | Over Track Exhaust Unavailable | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.09 09:26:08.416 | PKV_BMSComm | Parkville TVCS BMS PLC | Lost communication between the PKV TVCS PLC and the BMS PLC. | 2024.09.10 13:46:40.070 | kai_longley |  | 0 | PKV
ACK Med | 2024.09.09 09:26:05.038 | TNC_ModeSts | TVCS CBD North Station mode status S06 | Tunnel section ventilation unavailable | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.09 09:26:05.024 | TNC_ModeSts | TVCS CBD North Station mode status S06 | Over Track Exhaust Unavailable | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.09 09:25:19.884 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | Door control unit communication lost | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | THL
ACK Med | 2024.09.09 09:25:19.157 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | Door control unit communication lost | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | THL
ACK Med | 2024.09.09 09:25:17.702 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | Door control unit communication lost | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | THL
ACK Med | 2024.09.09 09:25:16.975 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | Door control unit communication lost | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | THL
ACK Med | 2024.09.09 09:24:59.910 | TSC-FIP-0006 | Town Hall Station SHCIE Panel 6 | No modbus gateway connection | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | THL
ACK Med | 2024.09.09 09:24:59.451 | TSC-FIP-0005 | Town Hall Station SHCIE Panel 5 | No modbus gateway connection | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | THL
ACK Med | 2024.09.09 09:24:59.267 | TNC-FIP-0008 | State Library Station SHCIE Panel 8 | No modbus gateway connection | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | STL
ACK Med | 2024.09.09 09:24:58.993 | TSC-FIP-0004 | Town Hall Station SHCIE Panel 4 | No modbus gateway connection | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | THL
ACK Med | 2024.09.09 09:24:58.846 | TNC-FIP-0007 | State Library Station SHCIE Panel 7 | No modbus gateway connection | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | STL
ACK Med | 2024.09.09 09:24:58.545 | TSC-FIP-0003 | Town Hall Station SHCIE Panel 3 | No modbus gateway connection | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | THL
ACK Med | 2024.09.09 09:24:58.422 | TNC-FIP-0006 | State Library Station SHCIE Panel 6 | No modbus gateway connection | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | STL
ACK Med | 2024.09.09 09:24:58.095 | TSC-FIP-0002 | Town Hall Station SHCIE Panel 2 | No modbus gateway connection | 2024.09.10 13:46:40.077 | kai_longley |  | 0 | THL
ACK Med | 2024.09.09 09:24:57.991 | TNC-FIP-0005 | State Library Station SHCIE Panel 5 | No modbus gateway connection | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | STL
ACK Med | 2024.09.09 09:24:57.558 | TNC-FIP-0004 | State Library Station SHCIE Panel 4 | No modbus gateway connection | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | STL
ACK Med | 2024.09.09 09:24:57.123 | TNC-FIP-0003 | State Library Station SHCIE Panel 3 | No modbus gateway connection | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | STL
ACK Med | 2024.09.09 09:24:56.699 | TNC-FIP-0002 | State Library Station SHCIE Panel 2 | No modbus gateway connection | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | STL
ACK Med | 2024.09.09 09:24:56.373 | SDU-FIP-0006 | Cross Passage CDB North FDCIE Panel 2 | No modbus gateway connection | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.09 09:24:56.352 | SDU-FIP-0005 | Cross Passage CDB North FDCIE Panel 1 | No modbus gateway connection | 2024.09.10 13:46:40.104 | kai_longley |  | 0 | SDU
ACK Med | 2024.08.26 10:33:45.256 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.08.29 10:03:42.125 | kai_longley |  | 0 | AZC
ACK Med | 2024.08.26 10:33:45.253 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.08.29 10:03:42.125 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:33:43.851 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.08.29 10:03:42.125 | kai_longley |  | 0 | AZC
ACK Med | 2024.08.26 10:33:43.849 | _Mod_Plc_4 | MTTHL:_Mod_Plc_4. | Communications Fault - Town Hall Server 1 to Town Hall EWIS | 2024.08.29 10:03:42.125 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:33:43.848 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.08.29 10:03:42.125 | kai_longley |  | 0 | AZC
ACK Med | 2024.08.26 10:33:43.844 | _Mod_Plc_3 | MTTHL:_Mod_Plc_3. | Communications Fault - Town Hall Server 1 to Town Hall EWIS | 2024.08.29 10:03:42.125 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:33:43.843 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2024.08.29 10:03:42.125 | kai_longley |  | 0 | AZC
ACK Med | 2024.08.26 10:33:43.840 | _Mod_Plc_2 | MTTHL:_Mod_Plc_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS Gateway | 2024.08.29 10:03:42.125 | kai_longley |  | 0 | AZC
ACK Med | 2024.08.26 10:33:19.644 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC | 2024.08.29 10:03:42.097 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:33:19.640 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC | 2024.08.29 10:03:42.097 | kai_longley |  | 0 | STL
ACK Med | 2024.08.26 10:33:18.181 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS | 2024.08.29 10:03:42.097 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:33:18.178 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS | 2024.08.29 10:03:42.097 | kai_longley |  | 0 | STL
ACK Med | 2024.08.26 10:33:18.176 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS | 2024.08.29 10:03:42.097 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:33:18.172 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS | 2024.08.29 10:03:42.097 | kai_longley |  | 0 | STL
ACK Med | 2024.08.26 10:33:18.169 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway | 2024.08.29 10:03:42.097 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:33:18.166 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway | 2024.08.29 10:03:42.097 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:47.053 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:47.052 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:47.050 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:47.049 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:47.047 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | ARN
ACK Med | 2024.08.26 10:31:47.045 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | ARN
ACK Med | 2024.08.26 10:31:47.044 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | ARN
ACK Med | 2024.08.26 10:31:47.042 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | ARN
ACK Med | 2024.08.26 10:31:47.003 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:46.982 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.22 08:41:54.295 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.23 06:22:43.936 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.22 08:40:31.338 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.23 06:22:45.062 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.22 08:40:30.299 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault | 2024.09.23 06:22:46.297 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.21 18:13:11.828 | AEN_DOR_GF_ESC_STAIR_9_1 | Ground floor east - after hours stairs | Unauthorised access | 2024.09.23 06:22:47.484 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.21 12:40:06.305 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift monitoring lost | 2024.09.23 06:22:48.469 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.21 12:08:44.303 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift monitoring lost | 2024.09.23 06:22:49.573 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.21 12:02:30.303 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift monitoring lost | 2024.09.23 06:22:50.897 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.21 11:46:45.502 | PKV_DOR_B2_405-5_1 | West Emergency Corrdidor - Concourse | Unauthorised access | 2024.09.23 06:22:52.196 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.21 10:49:49.932 | AEN_DOR_GF_246-2_1 | Ground floor east - loading dock 3 | Unauthorised access | 2024.09.23 06:22:53.218 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.21 10:38:50.137 | AEN_DOR_B1_ESC_STAIRS_03_2 | Concourse west - back of house emergency stairs | Unauthorised access | 2024.09.23 06:22:54.246 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.21 08:59:19.268 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access | 2024.09.23 06:22:55.245 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.21 08:32:00.047 | AEN_DOR_B1_ESC_STAIRS_04_2 | Concourse east - back of house emergency stairs | Unauthorised access | 2024.09.23 06:22:56.297 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.20 13:43:27.734 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.09.20 13:47:43.019 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.20 11:14:06.977 | DMA_DOR_GF_GF_3 | Albert Rd Emergency Egress - Ground | Unauthorised access | 2024.09.20 13:47:43.009 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.20 09:08:46.569 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2024.09.20 13:47:43.019 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.20 09:05:21.359 | TNC_HCS_0002 | Staff Protection/Rail Occupancy Status - State Library Signal 02 | Staff Protection Switch activated | 2024.09.20 13:47:42.953 | kai_longley |  | 0 | STL
ACK Low | 2024.09.20 09:05:16.359 | TNC_HCS_0001 | Staff Protection/Rail Occupancy Status - State Library Signal 01 | Staff Protection Switch activated | 2024.09.20 13:47:42.953 | kai_longley |  | 0 | STL
ACK Low | 2024.09.20 08:39:54.300 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.20 08:39:00.297 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.20 08:33:17.684 | PKV_DOR_B2_402-3_2 | East Emergency Stairs - Concourse | Unauthorised access | 2024.09.20 13:47:43.009 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.20 08:32:25.291 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.20 08:14:25.262 | TSC_SDP_0101_LVT_01 | Station Drainage Pump - Level Transmitter | Drainage pit at risk of overflow | 2024.09.20 13:47:42.877 | kai_longley |  | 0 | THL
ACK Low | 2024.09.20 08:03:53.301 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.20 07:52:00.078 | DMA_DOR_B2_402-4_1 | East Emergency Stairs - Platform | Unauthorised access | 2024.09.20 13:47:43.009 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.19 23:51:42.241 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft Smoke Detection Unavailable | 2024.09.20 13:47:42.929 | kai_longley |  | 0 | SDU
ACK Low | 2024.09.19 16:32:56.119 | DMA_DOR_B1_151-5_2 | East BOH Corridor - Concourse | Unauthorised access | 2024.09.20 13:47:43.009 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.19 15:09:52.576 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.09.20 13:47:43.019 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.19 15:07:19.470 | DMA_SDP_0111_LVT_01 | Station Drainage Pump - Level Transmitter | Drainage pit at risk of overflow | 2024.09.20 13:47:43.019 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.19 12:14:32.572 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.09.20 13:47:43.019 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.19 11:42:13.475 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.364 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.364 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.363 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.363 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.363 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.363 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.207 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.207 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.207 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.207 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.207 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:13.207 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:10.203 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:10.203 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 11:42:10.203 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.19 08:23:50.574 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.09.20 13:47:43.019 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.19 07:18:06.205 | DMA_DOR_B1_406-3_1 | South Fire Escape Corridor - Concourse | Unauthorised access | 2024.09.20 13:47:43.009 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.19 07:01:09.149 | DMA_DOR_B1_151-5_3 | East BOH Corridor - Concourse | Unauthorised access | 2024.09.20 13:47:43.009 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.18 10:39:31.575 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.09.20 13:47:43.019 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.18 07:50:46.236 | DMA_DOR_B1_151-5_1 | East BOH Corridor - Concourse | Unauthorised access | 2024.09.20 13:47:43.009 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.18 07:23:42.949 | DMA_DOR_B1_151-1_1 | West Fire Escape Corridor - Concourse | Unauthorised access | 2024.09.20 13:47:43.009 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.18 06:56:19.283 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.18 06:54:46.362 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.17 23:40:52.291 | DMA_DOR_B2_402-4_3 | East Emergency Stairs - Platform | Unauthorised access | 2024.09.18 09:34:55.701 | dominic_dlasselle |  | 0 | AZC
ACK Low | 2024.09.17 19:05:23.289 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.17 19:04:40.370 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.17 19:04:23.287 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.20 13:47:42.993 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.17 08:42:54.974 | DMA_DOR_B1_ST05_1 | East Emergency Stairs - Concourse | Unauthorised access | 2024.09.18 09:35:56.538 | dominic_dlasselle |  | 0 | AZC
ACK Low | 2024.09.17 06:56:36.393 | PKV_DOR_B3_151-18_1 | West Fire Escape Corridor - Basement | Unauthorised access | 2024.09.17 15:02:35.976 | chris_lawson |  | 0 | PKV
ACK Low | 2024.09.14 11:17:59.572 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.09.16 08:45:08.057 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.13 17:10:04.563 | PKV_DOR_B4_PKV-S-02_2 | East Emergency Stairs - Platform | Unauthorised access | 2024.09.16 08:45:08.030 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.13 15:55:45.237 | PKV_DOR_B4_PKV-S-01_1 | West Emergency Stairs - Platform | Unauthorised access | 2024.09.16 08:45:08.030 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.13 15:55:14.137 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access | 2024.09.16 08:45:08.030 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.13 15:54:13.452 | PKV_DOR_B4_PKV-S-01_2 | West Emergency Stairs - Platform | Unauthorised access | 2024.09.16 08:45:08.030 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.13 09:23:34.614 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.09.16 08:45:08.057 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.12 20:41:36.581 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.09.12 21:14:59.526 | devin_long |  | 0 | AZC
ACK Low | 2024.09.12 16:26:02.538 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated | 2024.09.12 18:04:41.201 | kai_longley |  | 0 | THL
ACK Low | 2024.09.12 13:21:49.203 | _ReduManager_2 | Distributed Server 2 | Server 2 - Set active automatically | 2024.09.12 13:55:20.148 | kai_longley |  | 0 | THL
ACK Low | 2024.09.12 10:55:59.042 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault | 2024.09.12 13:55:20.063 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.12 10:54:27.968 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault | 2024.09.12 13:55:20.063 | kai_longley |  | 0 | SDU
ACK Low | 2024.09.11 14:12:29.905 | DMA_ROL_GF_DMA-DMARD_1 | Domain Road Station Entry Roller Door | Unauthorised access | 2024.09.12 13:55:20.148 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.11 08:22:06.525 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.525 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.525 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.525 | TSC_LFT_0014 | Lift 14 BOH (B6 Basement to B3 Basement) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.525 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.525 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.525 | TSC_LFT_0017 | Lift 17 BOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.513 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.513 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.513 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.513 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.513 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.482 | TSC_ESC_0043 | Escalator 43 Bank 15 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.482 | TSC_ESC_0044 | Escalator 44 Bank 15 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.471 | TSC_ESC_0038 | Escalator 38 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.471 | TSC_ESC_0039 | Escalator 39 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.471 | TSC_ESC_0040 | Escalator 40 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.471 | TSC_ESC_0041 | Escalator 41 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.471 | TSC_ESC_0042 | Escalator 42 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.470 | TSC_ESC_0037 | Escalator 37 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.460 | TSC_ESC_0030 | Escalator 30 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.460 | TSC_ESC_0031 | Escalator 31 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.460 | TSC_ESC_0032 | Escalator 32 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.460 | TSC_ESC_0033 | Escalator 33 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.460 | TSC_ESC_0034 | Escalator 34 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.460 | TSC_ESC_0035 | Escalator 35 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.460 | TSC_ESC_0036 | Escalator 36 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.458 | TSC_ESC_0029 | Escalator 29 Bank 11 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.448 | TSC_ESC_0023 | Escalator 23 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.448 | TSC_ESC_0024 | Escalator 24 Bank 9 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.448 | TSC_ESC_0025 | Escalator 25 Bank 9 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.448 | TSC_ESC_0026 | Escalator 26 Bank 10 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.448 | TSC_ESC_0027 | Escalator 27 Bank 10 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.448 | TSC_ESC_0028 | Escalator 28 Bank 11 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.447 | TSC_ESC_0022 | Escalator 22 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.439 | TSC_ESC_0017 | Escalator 17 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.439 | TSC_ESC_0018 | Escalator 18 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.439 | TSC_ESC_0019 | Escalator 19 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.439 | TSC_ESC_0020 | Escalator 20 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.439 | TSC_ESC_0021 | Escalator 21 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.428 | TSC_ESC_0013 | Escalator 13 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.428 | TSC_ESC_0014 | Escalator 14 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.428 | TSC_ESC_0015 | Escalator 15 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.428 | TSC_ESC_0016 | Escalator 16 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.428 | TSC_ESC_0009 | Escalator 9 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.428 | TSC_ESC_0010 | Escalator 10 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.428 | TSC_ESC_0011 | Escalator 11 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.428 | TSC_ESC_0012 | Escalator 12 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.417 | TSC_ESC_0002 | Escalator 2 Bank 2 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.417 | TSC_ESC_0003 | Escalator 3 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.417 | TSC_ESC_0004 | Escalator 4 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.417 | TSC_ESC_0005 | Escalator 5 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.417 | TSC_ESC_0006 | Escalator 6 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.417 | TSC_ESC_0007 | Escalator 7 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.417 | TSC_ESC_0008 | Escalator 8 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:22:06.405 | TSC_ESC_0001 | Escalator 1 Bank 1 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.525 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.525 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.525 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.525 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.525 | TSC_LFT_0014 | Lift 14 BOH (B6 Basement to B3 Basement) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.525 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.525 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.525 | TSC_LFT_0017 | Lift 17 BOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.524 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.524 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.514 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.11 08:21:56.514 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.12 13:55:20.076 | kai_longley |  | 0 | THL
ACK Low | 2024.09.10 14:12:42.513 | DMA_DOR_B1_212-1_1 | Access to Office - Concourse | Unauthorised access | 2024.09.10 16:14:48.185 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.10 10:46:13.337 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost | 2024.09.10 13:47:04.037 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.10 10:43:17.373 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost | 2024.09.10 13:47:04.037 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.10 09:07:19.159 | PKV_DOR_B2_151-15_1 | East BOH Corridor Entry - Concourse | Unauthorised access | 2024.09.10 13:47:04.092 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.09 15:13:29.775 | TSC_HCS_0002 | Staff Protection/Rail Occupancy Status - Town Hall Signal 02 | Staff Protection Switch activated | 2024.09.10 13:47:03.976 | kai_longley |  | 0 | THL
ACK Low | 2024.09.09 15:13:27.782 | TSC_HCS_0001 | Staff Protection/Rail Occupancy Status - Town Hall Signal 01 | Staff Protection Switch activated | 2024.09.10 13:47:03.976 | kai_longley |  | 0 | THL
ACK Low | 2024.09.09 09:30:12.904 | PKV_DOR_B1_PKV-S-02_1 | East Emergency Stairs - Lower Ground Floor | Unauthorised access | 2024.09.10 13:47:04.092 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.09 09:30:12.199 | AEN_DOR_LG_405-3_2 | Lower ground east - back of house emergency stairs | Unauthorised access | 2024.09.10 13:47:04.092 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.09 09:30:12.191 | AEN_DOR_LG_405-3_1 | Lower ground east - back of house emergency corridor | Unauthorised access | 2024.09.10 13:47:04.092 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.09 09:30:12.134 | AEN_DOR_GF_151-12_1 | Ground floor east - office stairs | Unauthorised access | 2024.09.10 13:47:04.092 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.09 09:28:24.176 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:24.043 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:23.889 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:23.759 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:23.604 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:23.472 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:23.316 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:23.184 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:23.023 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:22.895 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:22.741 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:22.610 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:22.449 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:22.314 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:22.143 | TNC_LFT_0011 | Lift 11 BOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:22.016 | TNC_LFT_0011 | Lift 11 BOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:21.864 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:21.733 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:21.577 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:21.447 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:21.293 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:21.158 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:21.006 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:20.879 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:20.726 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:20.598 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:20.440 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:20.310 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:20.151 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:20.024 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:19.873 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:19.742 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:19.587 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:19.456 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:19.299 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:28:19.163 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:53.281 | TNC_ESC_0025 | Escalator 25 Bank 7 (B2 Basement to Ground Floor) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:52.322 | TNC_ESC_0024 | Escalator 24 Bank 7 (B2 Basement to Ground Floor) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:51.371 | TNC_ESC_0023 | Escalator 23 Bank 7 (B2 Basement to Ground Floor) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:50.436 | TNC_ESC_0022 | Escalator 22 Bank 7 (B2 Basement to Ground Floor) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:49.493 | TNC_ESC_0021 | Escalator 21 Bank 7 (B2 Basement to Ground Floor) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:48.551 | TNC_ESC_0020 | Escalator 20 Bank 6 (B3 Basement to Ground Floor) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:47.602 | TNC_ESC_0019 | Escalator 19 Bank 6 (B3 Basement to Ground Floor) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:46.664 | TNC_ESC_0018 | Escalator 18 Bank 6 (B3 Basement to Ground Floor) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:45.709 | TNC_ESC_0017 | Escalator 17 Bank 5 (B5 Basement to B2 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:44.774 | TNC_ESC_0016 | Escalator 16 Bank 5 (B5 Basement to B2 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:43.836 | TNC_ESC_0015 | Escalator 15 Bank 5 (B5 Basement to B2 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:42.886 | TNC_ESC_0014 | Escalator 14 Bank 5 (B5 Basement to B2 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:41.934 | TNC_ESC_0013 | Escalator 13 Bank 5 (B5 Basement to B2 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:40.735 | TSC_TEXB | Tunnel Ambient Temperature Control | Tunnel B - Ambient Temperature Control Unavailable | 2024.09.10 13:47:03.976 | kai_longley |  | 0 | THL
ACK Low | 2024.09.09 09:26:38.432 | TNC_ESC_0009 | Escalator 9 Bank 3 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:37.476 | TNC_ESC_0008 | Escalator 8 Bank 3 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:36.529 | TNC_ESC_0007 | Escalator 7 Bank 3 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:35.589 | TNC_ESC_0006 | Escalator 6 Bank 2 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:34.650 | TNC_ESC_0005 | Escalator 5 Bank 2 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:33.707 | TNC_ESC_0004 | Escalator 4 Bank 2 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:32.757 | TNC_ESC_0003 | Escalator 3 Bank 1 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:31.787 | TNC_ESC_0002 | Escalator 2 Bank 1 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:30.841 | TNC_ESC_0001 | Escalator 1 Bank 1 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:26:26.260 | TNC_TEXB | Tunnel Ambient Temperature Control | Tunnel B - Ambient Temperature Control Unavailable | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | SDU
ACK Low | 2024.09.09 09:25:58.687 | TSC_TEXA | Tunnel Ambient Temperature Control | Tunnel A - Ambient Temperature Control Unavailable | 2024.09.10 13:47:03.976 | kai_longley |  | 0 | THL
ACK Low | 2024.09.09 09:25:50.573 | TNC_TEXA | Tunnel Ambient Temperature Control | Tunnel A - Ambient Temperature Control Unavailable | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | SDU
ACK Low | 2024.09.09 09:25:27.959 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | Speaker fault | 2024.09.10 13:47:04.037 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.09 09:25:27.736 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | PSD isolated | 2024.09.10 13:47:04.037 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.09 09:25:27.353 | DMA-W-PSD-004 | Anzac Platform 1 Zone 1 PSD 04 | PSD isolated | 2024.09.10 13:47:04.110 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.09 09:25:26.566 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD isolated | 2024.09.10 13:47:04.110 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.09 09:25:21.916 | TNC-W-PSD-004 | State Library Platform 1 Zone 1 PSD 04 | PSD isolated | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:25:21.353 | PKV-W-PSD-009 | Parkville Platform 1 Zone 1 PSD 09 | PSD isolated | 2024.09.10 13:47:04.037 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.09 09:25:20.784 | TNC-W-PSD-002 | State Library Platform 1 Zone 1 PSD 02 | PSD isolated | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:25:19.429 | DMA-E-PSD-023 | Anzac Platform 2 Zone 3 PSD 23 | PSD isolated | 2024.09.10 13:47:04.110 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.09 09:25:17.494 | TNC-E-PSD-026 | State Library Platform 2 Zone 3 PSD 26 | PSD isolated | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.09.09 09:25:05.133 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD isolated | 2024.09.10 13:47:04.022 | kai_longley |  | 0 | STL
ACK Low | 2024.08.26 10:31:47.010 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 | 2024.08.29 10:05:04.938 | kai_longley |  | 0 | THL
ACK Low | 2024.08.26 10:31:47.006 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.08.29 10:05:04.938 | kai_longley |  | 0 | ARN
ACK Low | 2024.08.26 10:31:46.998 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.08.29 10:05:04.938 | kai_longley |  | 0 | THL
ACK Low | 2024.08.26 10:31:46.995 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.08.29 10:05:04.938 | kai_longley |  | 0 | ARN