## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
ACK High | 2024.09.25 09:50:47.545 | TNC_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2024.09.25 10:01:29.940 | kai_longley |  | 0 | STL
ACK High | 2024.09.25 04:18:40.430 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! | 2024.09.25 10:01:31.074 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 13:15:00.836 | AEN-W-PSD-007 | Arden Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:18.163 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 13:15:00.836 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:19.156 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 13:15:00.836 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:20.297 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 13:15:00.835 | AEN-W-PSD-001 | Arden Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:21.412 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 13:15:00.835 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:22.570 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 13:15:00.835 | AEN-W-PSD-003 | Arden Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:23.913 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 13:15:00.835 | AEN-W-PSD-004 | Arden Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:25.127 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 13:15:00.835 | AEN-W-PSD-005 | Arden Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:26.515 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 13:15:00.835 | AEN-W-PSD-006 | Arden Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:27.755 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.960 | AEN-W-PSD-030 | Arden Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:28.919 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.920 | AEN-W-PSD-025 | Arden Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:30.081 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.920 | AEN-W-PSD-026 | Arden Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:34.414 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.920 | AEN-W-PSD-027 | Arden Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:32.931 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.920 | AEN-W-PSD-028 | Arden Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:35.823 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.920 | AEN-W-PSD-029 | Arden Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:37.516 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.905 | AEN-W-PSD-023 | Arden Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:38.960 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.905 | AEN-W-PSD-024 | Arden Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:40.116 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.878 | AEN-W-PSD-022 | Arden Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:41.253 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.877 | AEN-W-PSD-021 | Arden Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:42.438 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.875 | AEN-W-PSD-019 | Arden Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:43.606 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.875 | AEN-W-PSD-020 | Arden Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:44.776 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.847 | AEN-W-PSD-016 | Arden Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:46.096 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.847 | AEN-W-PSD-017 | Arden Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:48.025 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.847 | AEN-W-PSD-018 | Arden Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:49.246 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.833 | AEN-W-PSD-013 | Arden Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:50.518 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.833 | AEN-W-PSD-014 | Arden Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:51.875 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.833 | AEN-W-PSD-015 | Arden Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:52.974 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.832 | AEN-W-PSD-010 | Arden Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:54.597 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.832 | AEN-W-PSD-011 | Arden Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:55.741 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 12:21:46.832 | AEN-W-PSD-012 | Arden Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2024.09.25 10:02:56.791 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 09:29:43.229 | TSC_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2024.09.25 10:03:00.066 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:27:05.417 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! | 2024.09.25 10:03:01.430 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:27:05.349 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! | 2024.09.25 10:03:02.445 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:27:05.282 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! | 2024.09.25 10:03:03.366 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:27:05.180 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! | 2024.09.25 10:03:04.438 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:27:05.112 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! | 2024.09.25 10:03:05.333 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:27:05.044 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! | 2024.09.25 10:03:10.774 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:27:04.977 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! | 2024.09.25 10:03:12.061 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:26:59.218 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Arden station haven't ack'd an important alarm! | 2024.09.25 10:03:13.485 | kai_longley |  | 0 | SSC
ACK High | 2024.09.24 09:26:55.008 | PKV_ROL_RNERV_W | RNERV Enclosure Door - Parkville, West Tunnel | RNERV crane arm extended over tracks! | 2024.09.25 10:03:14.502 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:26:54.438 | PDM_ROL_RNERV_W | RNERV Enclosure Door - Eastern Portal, West Tunnel | RNERV crane arm extended over tracks! | 2024.09.24 12:59:58.372 | operator |  | 0 | SDU
ACK High | 2024.09.24 09:21:36.138 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.09.25 10:03:15.688 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:21:35.681 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2024.09.25 10:03:16.755 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:21:34.897 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.09.25 10:03:18.064 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:21:34.453 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.09.25 10:03:19.302 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:21:34.450 | TNC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.09.25 10:03:20.502 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:21:34.424 | TNC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.09.25 10:03:23.201 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:20:47.807 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.09.25 10:03:24.438 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:20:47.683 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.09.25 10:03:38.891 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:20:38.808 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.09.25 10:03:40.094 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:20:38.771 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.09.25 10:03:41.224 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:19:52.173 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.09.25 10:05:25.223 | kai_longley |  | 0 | ARN
ACK High | 2024.09.24 09:18:57.097 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! | 2024.09.25 10:16:30.160 | kai_longley |  | 0 | PKV
ACK High | 2024.09.24 09:18:56.629 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.09.25 10:16:31.628 | kai_longley |  | 0 | PKV
ACK High | 2024.09.24 09:18:56.160 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! | 2024.09.25 10:16:32.805 | kai_longley |  | 0 | PKV
ACK High | 2024.09.24 09:18:50.822 | TNC_TFN_0201_03_DS | Tunnel Ventilation Fan - Latrobe Shaft | All fans inoperative! | 2024.09.25 10:16:34.878 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:50.792 | TNC_TFN_0101_03_DS | Tunnel Ventilation Fan 03 - Franklin West Shaft | All fans inoperative! | 2024.09.25 10:16:36.099 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:50.762 | TNC_OFN_0001_03_DS | Over Track Exhaust Fan 01 - A'Beckett Shaft | All fans inoperative! | 2024.09.25 10:16:37.191 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:50.731 | TNC_OCN_0201_02_DS | Over Concourse Exhaust Fan 01 - Latrobe Shaft | All fans inoperative! | 2024.09.25 10:16:38.568 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:50.700 | TNC_OCN_0101_02_DS | Over Concourse Exhaust Fan 01 - Franklin West Shaft | All fans inoperative! | 2024.09.25 10:16:39.852 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:48.230 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! | 2024.09.25 10:16:41.677 | kai_longley |  | 0 | AZC
ACK High | 2024.09.24 09:18:48.144 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! | 2024.09.25 10:16:42.785 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:48.070 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! | 2024.09.25 10:16:43.996 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:48.006 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! | 2024.09.25 10:16:45.247 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:47.940 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! | 2024.09.25 10:16:49.246 | kai_longley |  | 0 | SDU
ACK High | 2024.09.24 09:18:47.650 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.09.25 10:16:48.096 | kai_longley |  | 0 | AZC
ACK High | 2024.09.24 09:18:47.070 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! | 2024.09.25 10:16:50.446 | kai_longley |  | 0 | AZC
ACK High | 2024.09.24 09:18:46.475 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.09.25 10:16:54.099 | kai_longley |  | 0 | AZC
ACK High | 2024.09.24 09:18:45.924 | TSC_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - OSD Shaft - Variable Speed Drive | All fans inoperative! | 2024.09.25 10:16:53.093 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:18:45.297 | TSC_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - City Square Shaft - Variable Speed Drive | All fans inoperative! | 2024.09.25 10:16:58.691 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:18:44.674 | TSC_OFN_0001_03_DS | Over Track Exhaust Fan 01 - OSD Shaft - Variable Speed Drive | All fans inoperative! | 2024.09.25 10:16:55.202 | kai_longley |  | 0 | THL
ACK High | 2024.09.24 09:18:44.050 | TSC_OCN_0101_02_DS | Over Concourse Exhaust Fan 01 - City Square Shaft | All fans inoperative! | 2024.09.25 10:16:57.506 | kai_longley |  | 0 | THL
ACK Med | 2024.09.25 07:13:10.611 | DMA_FCU_0103_04_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2024.09.25 10:18:12.027 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:47.612 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:47.610 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 10:35:46.353 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:46.351 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 10:35:46.348 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:46.346 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 10:35:46.343 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:46.341 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:19.290 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:19.287 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:17.831 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:17.829 | _Mod_Plc_4 | MTTHL:_Mod_Plc_4. | Communications Fault - Town Hall Server 1 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:17.827 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:17.824 | _Mod_Plc_3 | MTTHL:_Mod_Plc_3. | Communications Fault - Town Hall Server 1 to Town Hall EWIS | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:35:17.822 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:35:17.819 | _Mod_Plc_2 | MTTHL:_Mod_Plc_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS Gateway | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | AZC
ACK Med | 2024.09.24 10:20:47.332 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:20:47.330 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:20:47.329 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:20:47.327 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 10:20:47.326 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.24 10:20:47.325 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.24 10:20:47.323 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.24 10:20:47.322 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.09.25 10:18:12.036 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.24 09:37:44.208 | AEN-S-STN | Arden Station PSD System | PSD lost connection to signalling system! | 2024.09.24 11:40:35.623 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.24 09:21:08.697 | TNC_BMSComm | CBD North TVCS BMS PLC | Lost communication between the TNC TVCS PLC and the BMS PLC. | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:20:43.173 | TSC_BMSComm | CBD South TVCS BMS PLC | Lost communication between the TSC TVCS PLC and the BMS PLC. | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:20:31.230 | TNC_ModeSts | TVCS CBD North Station mode status S06 | Tunnel section ventilation unavailable | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:20:31.216 | TNC_ModeSts | TVCS CBD North Station mode status S06 | Over Track Exhaust Unavailable | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:20:22.052 | PKV_BMSComm | Parkville TVCS BMS PLC | Lost communication between the PKV TVCS PLC and the BMS PLC. | 2024.09.25 10:18:11.949 | kai_longley |  | 0 | PKV
ACK Med | 2024.09.24 09:20:14.005 | TSC_ModeSts | TVCS CBD South Station mode status S08 | Tunnel section ventilation unavailable | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:20:13.988 | TSC_ModeSts | TVCS CBD South Station mode status S08 | Over Track Exhaust Unavailable | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:20:10.953 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault | 2024.09.25 10:18:12.037 | kai_longley |  | 0 | ARN
ACK Med | 2024.09.24 09:20:06.701 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2024.09.25 10:18:12.027 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:20:06.672 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable | 2024.09.25 10:18:12.027 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:20:03.562 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2024.09.25 10:18:11.949 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:20:03.542 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2024.09.25 10:18:11.949 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:19:53.006 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable | 2024.09.25 10:18:12.037 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:19:52.962 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable | 2024.09.25 10:18:12.037 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:19:17.824 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | Door control unit communication lost | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:19:17.124 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | Door control unit communication lost | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:19:15.738 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | Door control unit communication lost | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:19:15.040 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | Door control unit communication lost | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:19:08.128 | TNC-FIP-0008 | State Library Station SHCIE Panel 8 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:07.262 | TNC-FIP-0007 | State Library Station SHCIE Panel 7 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:06.401 | TNC-FIP-0006 | State Library Station SHCIE Panel 6 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:05.544 | TNC-FIP-0005 | State Library Station SHCIE Panel 5 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:04.686 | TNC-FIP-0004 | State Library Station SHCIE Panel 4 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:03.828 | TNC-FIP-0003 | State Library Station SHCIE Panel 3 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:02.958 | TNC-FIP-0002 | State Library Station SHCIE Panel 2 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | STL
ACK Med | 2024.09.24 09:19:02.304 | SDU-FIP-0006 | Cross Passage CDB North FDCIE Panel 2 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:19:02.284 | SDU-FIP-0005 | Cross Passage CDB North FDCIE Panel 1 | No modbus gateway connection | 2024.09.25 10:18:11.985 | kai_longley |  | 0 | SDU
ACK Med | 2024.09.24 09:18:58.211 | TSC-FIP-0006 | Town Hall Station SHCIE Panel 6 | No modbus gateway connection | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:18:57.324 | TSC-FIP-0005 | Town Hall Station SHCIE Panel 5 | No modbus gateway connection | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:18:56.429 | TSC-FIP-0004 | Town Hall Station SHCIE Panel 4 | No modbus gateway connection | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:18:55.543 | TSC-FIP-0003 | Town Hall Station SHCIE Panel 3 | No modbus gateway connection | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:18:54.645 | TSC-FIP-0002 | Town Hall Station SHCIE Panel 2 | No modbus gateway connection | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.09.24 09:18:26.385 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! | 2024.09.25 10:18:12.029 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:47.003 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | THL
ACK Med | 2024.08.26 10:31:46.982 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.08.29 10:03:42.169 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.25 09:36:34.520 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator General Fault | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.25 09:31:03.663 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.25 09:04:56.328 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 09:01:47.332 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 07:48:09.422 | PKV_ROL_GF_PKV-RMH_1 | RMH Entry Roller Door | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 07:07:36.238 | DMA_DOR_B1_ST01_1 | West Emergency Stairs - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.25 06:58:25.325 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:54:59.325 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:14:45.641 | PKV-W-PSD-030 | Parkville Platform 1 Zone 3 PSD 30 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:14:17.643 | PKV-W-PSD-026 | Parkville Platform 1 Zone 3 PSD 26 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:13:39.640 | PKV-W-PSD-020 | Parkville Platform 1 Zone 2 PSD 20 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:13:21.638 | PKV-W-PSD-017 | Parkville Platform 1 Zone 2 PSD 17 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:13:01.637 | PKV-W-PSD-014 | Parkville Platform 1 Zone 2 PSD 14 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:12:41.638 | PKV-W-PSD-011 | Parkville Platform 1 Zone 2 PSD 11 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:12:17.642 | PKV-W-PSD-008 | Parkville Platform 1 Zone 1 PSD 08 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:11:57.639 | PKV-W-PSD-005 | Parkville Platform 1 Zone 1 PSD 05 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:11:33.636 | PKV-W-PSD-001 | Parkville Platform 1 Zone 1 PSD 01 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:11:03.643 | PKV-E-PSD-030 | Parkville Platform 2 Zone 3 PSD 30 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:10:39.640 | PKV-E-PSD-026 | Parkville Platform 2 Zone 3 PSD 26 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:10:17.643 | PKV-E-PSD-023 | Parkville Platform 2 Zone 3 PSD 23 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:09:47.644 | PKV-E-PSD-020 | Parkville Platform 2 Zone 2 PSD 20 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:09:27.642 | PKV-E-PSD-017 | Parkville Platform 2 Zone 2 PSD 17 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:09:07.645 | PKV-E-PSD-014 | Parkville Platform 2 Zone 2 PSD 14 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:08:49.641 | PKV-E-PSD-011 | Parkville Platform 2 Zone 2 PSD 11 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:08:29.638 | PKV-E-PSD-008 | Parkville Platform 2 Zone 1 PSD 08 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:06:35.641 | PKV-E-PSD-005 | Parkville Platform 2 Zone 1 PSD 05 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 06:05:57.644 | PKV-E-PSD-001 | Parkville Platform 2 Zone 1 PSD 01 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 05:22:58.304 | TSC_SDP_0101_LVT_01 | Station Drainage Pump - Level Transmitter | Drainage pit at risk of overflow | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.25 05:18:35.335 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.25 05:18:34.343 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 18:09:17.735 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.423 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 18:09:17.735 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.423 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 16:58:45.407 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft Smoke Detection Unavailable | 2024.09.25 10:18:25.423 | kai_longley |  | 0 | SDU
ACK Low | 2024.09.24 15:24:50.356 | PKV_FCU_1115_16_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 14:11:30.555 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 14:03:08.425 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 14:02:23.542 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 13:24:12.617 | _ReduManager | Distributed Server 1 | Server 1 - Preferred active | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 13:00:44.622 | DMA_DOR_GF_GF_3 | Albert Rd Emergency Egress - Ground | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 12:24:04.611 | DMA_DOR_B1_151-5_2 | East BOH Corridor - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 11:59:34.873 | DMA_DOR_B1_151-5_4 | East BOH Corridor - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 11:03:24.335 | AEN_DOR_GF_151-12_1 | Ground floor east - office stairs | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 11:03:13.801 | AEN_DOR_LG_405-3_2 | Lower ground east - back of house emergency stairs | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 11:03:12.703 | AEN_DOR_B1_ESC_STAIRS_04_2 | Concourse east - back of house emergency stairs | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 10:20:47.295 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 10:20:47.292 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 10:20:47.287 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 10:20:47.283 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 09:50:51.890 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.09.24 11:31:40.779 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:47:06.494 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:47:06.494 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:47:06.494 | TSC_LFT_0006 | Lift 6 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:47:06.494 | TSC_LFT_0006 | Lift 6 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:47:06.494 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:47:06.494 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:47:06.494 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:47:06.494 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:47:06.494 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:47:06.494 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:37:45.476 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:27:00.629 | PKV_ROL_GF_PKV-VCCC_1 | VCCC Entry Roller Door | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:27:00.607 | PKV_ROL_GF_PKV-RPDE_1 | Royal Parade Entry Roller Door | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:27:00.552 | DMA_ROL_GF_DMA-DMARD_1 | Domain Road Station Entry Roller Door | Unauthorised access | 2024.09.24 13:00:09.806 | operator |  | 0 | AZC
ACK Low | 2024.09.24 09:26:54.892 | PKV_DOR_GF_PKV-S-03_2 | West Emergency Stairs - Ground Floor | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.843 | PKV_DOR_B4_PKV-S-02_2 | East Emergency Stairs - Platform | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.812 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.781 | PKV_DOR_B4_PKV-S-01_2 | West Emergency Stairs - Platform | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.759 | PKV_DOR_B4_PKV-S-01_1 | West Emergency Stairs - Platform | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.691 | PKV_DOR_B3_402-7_2 | East Emergency Stairs - Basement | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.660 | PKV_DOR_B3_151-18_1 | West Fire Escape Corridor - Basement | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.638 | PKV_DOR_B2_PKV-S-03_3 | West Emergency Stairs - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.617 | PKV_DOR_B2_PKV-S-03_1 | West Emergency Stairs - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.594 | PKV_DOR_B2_PKV-S-02_1 | East Emergency Stairs - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.564 | PKV_DOR_B2_405-5_1 | West Emergency Corrdidor - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.532 | PKV_DOR_B2_402-3_2 | East Emergency Stairs - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.510 | PKV_DOR_B2_151-15_1 | East BOH Corridor Entry - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:54.488 | PKV_DOR_B2_151-10_1 | East Fire Lobby Entry - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:26:53.952 | DMA_DOR_B2_402-4_1 | East Emergency Stairs - Platform | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:26:53.909 | DMA_DOR_B1_ST01_2 | West Emergency Stairs - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:26:53.870 | DMA_DOR_B1_406-3_1 | South Fire Escape Corridor - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:26:53.850 | DMA_DOR_B1_212-1_1 | Access to Office - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:26:53.814 | DMA_DOR_B1_151-5_3 | East BOH Corridor - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:26:53.771 | DMA_DOR_B1_151-1_1 | West Fire Escape Corridor - Concourse | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:26:53.460 | AEN_DOR_B1_ESC_STAIRS_03_2 | Concourse west - back of house emergency stairs | Unauthorised access | 2024.09.25 10:18:25.433 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 09:24:18.398 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:18.268 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:18.112 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.975 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.823 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.690 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.537 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.408 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.251 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:17.113 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.960 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.832 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.680 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.551 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.397 | TNC_LFT_0011 | Lift 11 BOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.267 | TNC_LFT_0011 | Lift 11 BOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:16.114 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.985 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.832 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.702 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.547 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.417 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.259 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:15.129 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.974 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.843 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.687 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.555 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.398 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.262 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:14.106 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:13.975 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:13.821 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:13.690 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:13.535 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:13.403 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:24:08.973 | TSC_LFT_0017 | Lift 17 BOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:08.823 | TSC_LFT_0017 | Lift 17 BOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:08.640 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:08.486 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:08.310 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:08.162 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:07.987 | TSC_LFT_0014 | Lift 14 BOH (B6 Basement to B3 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:07.831 | TSC_LFT_0014 | Lift 14 BOH (B6 Basement to B3 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:07.644 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:07.492 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:07.317 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:07.169 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:06.944 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:06.797 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:06.615 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:06.464 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:06.253 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:06.105 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:05.930 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:05.782 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:05.602 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:05.451 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:05.276 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:24:05.128 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:23:36.673 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:23:36.023 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:23:35.798 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:23:35.500 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:23:35.228 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:23:10.791 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:23:10.488 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2024.09.24 11:31:37.187 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:23:10.394 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.09.24 11:31:37.187 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:22:18.117 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault | 2024.09.25 10:18:25.423 | kai_longley |  | 0 | ARN
ACK Low | 2024.09.24 09:21:32.701 | TNC_ESC_0025 | Escalator 25 Bank 7 (B2 Basement to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:31.746 | TNC_ESC_0024 | Escalator 24 Bank 7 (B2 Basement to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:31.600 | TSC_ESC_0044 | Escalator 44 Bank 15 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:30.814 | TNC_ESC_0023 | Escalator 23 Bank 7 (B2 Basement to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:30.510 | TSC_ESC_0043 | Escalator 43 Bank 15 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:29.877 | TNC_ESC_0022 | Escalator 22 Bank 7 (B2 Basement to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:29.409 | TSC_ESC_0042 | Escalator 42 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:28.939 | TNC_ESC_0021 | Escalator 21 Bank 7 (B2 Basement to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:28.318 | TSC_ESC_0041 | Escalator 41 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:27.991 | TNC_ESC_0020 | Escalator 20 Bank 6 (B3 Basement to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:27.232 | TSC_ESC_0040 | Escalator 40 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:27.042 | TNC_ESC_0019 | Escalator 19 Bank 6 (B3 Basement to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:26.144 | TSC_ESC_0039 | Escalator 39 Bank 14 (B2 Basement to GF Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:26.099 | TNC_ESC_0018 | Escalator 18 Bank 6 (B3 Basement to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:25.153 | TNC_ESC_0017 | Escalator 17 Bank 5 (B5 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:25.062 | TSC_ESC_0038 | Escalator 38 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:24.187 | TNC_ESC_0016 | Escalator 16 Bank 5 (B5 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:23.979 | TSC_ESC_0037 | Escalator 37 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:23.218 | TNC_ESC_0015 | Escalator 15 Bank 5 (B5 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:22.902 | TSC_ESC_0036 | Escalator 36 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:22.217 | TNC_ESC_0014 | Escalator 14 Bank 5 (B5 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:21.815 | TSC_ESC_0035 | Escalator 35 Bank 13 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:21.239 | TNC_ESC_0013 | Escalator 13 Bank 5 (B5 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:20.722 | TSC_ESC_0034 | Escalator 34 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:19.624 | TSC_ESC_0033 | Escalator 33 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:18.534 | TSC_ESC_0032 | Escalator 32 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:17.640 | TNC_ESC_0009 | Escalator 9 Bank 3 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:17.437 | TSC_ESC_0031 | Escalator 31 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:16.675 | TNC_ESC_0008 | Escalator 8 Bank 3 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:16.358 | TSC_ESC_0030 | Escalator 30 Bank 12 (B1M Basement Mezzanine to GFM Ground Floor Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:15.714 | TNC_ESC_0007 | Escalator 7 Bank 3 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:15.263 | TSC_ESC_0029 | Escalator 29 Bank 11 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:14.766 | TNC_ESC_0006 | Escalator 6 Bank 2 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:14.164 | TSC_ESC_0028 | Escalator 28 Bank 11 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:13.808 | TNC_ESC_0005 | Escalator 5 Bank 2 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:13.069 | TSC_ESC_0027 | Escalator 27 Bank 10 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:12.845 | TNC_ESC_0004 | Escalator 4 Bank 2 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:11.988 | TSC_ESC_0026 | Escalator 26 Bank 10 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:11.881 | TNC_ESC_0003 | Escalator 3 Bank 1 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:10.924 | TNC_ESC_0002 | Escalator 2 Bank 1 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:10.906 | TSC_ESC_0025 | Escalator 25 Bank 9 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:09.977 | TNC_ESC_0001 | Escalator 1 Bank 1 (B6 Basement to B5 Basement) | Escalator communications lost | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:21:09.818 | TSC_ESC_0024 | Escalator 24 Bank 9 (B1 Basement to B1M Basement Mezzanine) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:08.734 | TSC_ESC_0023 | Escalator 23 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:07.648 | TSC_ESC_0022 | Escalator 22 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:06.555 | TSC_ESC_0021 | Escalator 21 Bank 8 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:05.440 | TSC_ESC_0020 | Escalator 20 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:05.348 | TNC_TEXB | Tunnel Ambient Temperature Control | Tunnel B - Ambient Temperature Control Unavailable | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | SDU
ACK Low | 2024.09.24 09:21:04.333 | TSC_ESC_0019 | Escalator 19 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:03.239 | TSC_ESC_0018 | Escalator 18 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:02.149 | TSC_ESC_0017 | Escalator 17 Bank 7 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:21:01.063 | TSC_ESC_0016 | Escalator 16 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:59.967 | TSC_ESC_0015 | Escalator 15 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:58.887 | TSC_ESC_0014 | Escalator 14 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:57.800 | TSC_ESC_0013 | Escalator 13 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:56.713 | TSC_ESC_0012 | Escalator 12 Bank 6 (B3 Basement to B2 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:55.619 | TSC_ESC_0011 | Escalator 11 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:54.523 | TSC_ESC_0010 | Escalator 10 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:53.411 | TSC_ESC_0009 | Escalator 9 Bank 5 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:52.314 | TSC_ESC_0008 | Escalator 8 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:51.222 | TSC_ESC_0007 | Escalator 7 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:50.130 | TSC_ESC_0006 | Escalator 6 Bank 4 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:49.036 | TSC_ESC_0005 | Escalator 5 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:47.935 | TSC_ESC_0004 | Escalator 4 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:46.844 | TSC_ESC_0003 | Escalator 3 Bank 3 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:45.749 | TSC_ESC_0002 | Escalator 2 Bank 2 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:44.653 | TSC_ESC_0001 | Escalator 1 Bank 1 (B4 Basement to B3 Basement) | Escalator communications lost | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:39.558 | TSC_TEXB | Tunnel Ambient Temperature Control | Tunnel B - Ambient Temperature Control Unavailable | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:20:30.844 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:29.875 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:28.905 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:27.950 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:26.990 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:24.244 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:23.269 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:20:09.907 | TNC_TEXA | Tunnel Ambient Temperature Control | Tunnel A - Ambient Temperature Control Unavailable | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | SDU
ACK Low | 2024.09.24 09:19:58.372 | TSC_TEXA | Tunnel Ambient Temperature Control | Tunnel A - Ambient Temperature Control Unavailable | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:19:48.906 | TNC_HCS_0002 | Staff Protection/Rail Occupancy Status - State Library Signal 02 | Staff Protection Switch activated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:48.893 | TNC_HCS_0001 | Staff Protection/Rail Occupancy Status - State Library Signal 01 | Staff Protection Switch activated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:46.224 | TSC_HCS_0002 | Staff Protection/Rail Occupancy Status - Town Hall Signal 02 | Staff Protection Switch activated | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:19:46.206 | TSC_HCS_0001 | Staff Protection/Rail Occupancy Status - Town Hall Signal 01 | Staff Protection Switch activated | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:19:38.615 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | Speaker fault | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:19:38.364 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:19:33.174 | TNC-W-PSD-004 | State Library Platform 1 Zone 1 PSD 04 | PSD isolated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:32.022 | TNC-W-PSD-002 | State Library Platform 1 Zone 1 PSD 02 | PSD isolated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:31.022 | PKV-W-PSD-009 | Parkville Platform 1 Zone 1 PSD 09 | PSD isolated | 2024.09.25 10:18:25.333 | kai_longley |  | 0 | PKV
ACK Low | 2024.09.24 09:19:28.773 | TNC-E-PSD-026 | State Library Platform 2 Zone 3 PSD 26 | PSD isolated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:16.444 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD isolated | 2024.09.25 10:18:25.414 | kai_longley |  | 0 | STL
ACK Low | 2024.09.24 09:19:16.148 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated | 2024.09.25 10:18:25.402 | kai_longley |  | 0 | THL
ACK Low | 2024.09.24 09:19:15.242 | DMA-W-PSD-004 | Anzac Platform 1 Zone 1 PSD 04 | PSD isolated | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:19:14.713 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD isolated | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC
ACK Low | 2024.09.24 09:19:09.981 | DMA-E-PSD-023 | Anzac Platform 2 Zone 3 PSD 23 | PSD isolated | 2024.09.25 10:18:25.405 | kai_longley |  | 0 | AZC