## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.04.03 00:01:03.728 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.03 00:01:03.728 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.27 16:39:32.623 | DMA-E-EED-040 | Anzac Platform 2 Zone 3 EED 40 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 16:29:26.630 | DMA-E-EED-023 | Anzac Platform 2 Zone 3 EED 23 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 16:29:26.630 | DMA-E-EED-022 | Anzac Platform 2 Zone 3 EED 22 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 16:19:34.629 | DMA-W-EED-040 | Anzac Platform 1 Zone 3 EED 40 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 16:16:26.624 | DMA-W-EED-014 | Anzac Platform 1 Zone 1 EED 14 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 16:15:54.620 | DMA-W-EED-013 | Anzac Platform 1 Zone 1 EED 13 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 12:00:04.343 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 12:00:04.343 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 11:44:30.468 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.27 10:35:12.627 | DMA-W-EED-001 | Anzac Platform 1 Zone 1 EED 01 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 09:58:48.929 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.27 09:53:50.494 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.27 09:53:50.493 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.27 09:41:18.635 | DMA-E-PSD-029 | Anzac Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 09:41:18.635 | DMA-W-PSD-002 | Anzac Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.27 09:34:32.930 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.27 09:25:40.929 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.27 09:08:02.936 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.27 08:29:28.959 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.27 08:28:20.498 | TNC-W-PSD-026 | State Library Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.27 08:28:20.483 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.27 08:06:20.467 | TNC-E-EED-001 | State Library Platform 2 Zone 1 EED 01 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.27 08:04:04.450 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.27 07:23:57.759 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 07:23:00.752 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 03:34:50.445 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.27 03:33:00.454 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-004 | Arden Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-006 | Arden Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-012 | Arden Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-014 | Arden Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-015 | Arden Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-016 | Arden Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-019 | Arden Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-020 | Arden Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.26 00:21:44.613 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.26 00:21:40.606 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.25 15:31:36.379 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 12:24:02.607 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.25 11:42:04.285 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:48:26.040 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:47:03.822 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.25 09:47:03.755 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.25 09:45:42.174 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.25 09:44:44.584 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.25 09:43:39.203 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.25 09:43:39.087 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.03.25 09:42:58.661 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:42:58.632 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:42:40.875 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:40.370 | TSC-W-PSD-029 | Town Hall Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:39.867 | TSC-W-PSD-028 | Town Hall Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:39.367 | TSC-W-PSD-027 | Town Hall Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:38.865 | TSC-W-PSD-026 | Town Hall Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:38.362 | TSC-W-PSD-025 | Town Hall Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:37.858 | TSC-W-PSD-024 | Town Hall Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:37.358 | TSC-W-PSD-023 | Town Hall Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:36.854 | TSC-W-PSD-022 | Town Hall Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:36.353 | TSC-W-PSD-021 | Town Hall Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:35.853 | TSC-W-PSD-020 | Town Hall Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:35.354 | TSC-W-PSD-019 | Town Hall Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:34.847 | TSC-W-PSD-018 | Town Hall Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:34.345 | TSC-W-PSD-017 | Town Hall Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:33.345 | TSC-W-PSD-015 | Town Hall Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:32.840 | TSC-W-PSD-014 | Town Hall Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:32.340 | TSC-W-PSD-013 | Town Hall Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:31.836 | TSC-W-PSD-012 | Town Hall Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:31.332 | TSC-W-PSD-011 | Town Hall Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:30.827 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:30.318 | TSC-W-PSD-009 | Town Hall Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:29.815 | TSC-W-PSD-008 | Town Hall Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:29.316 | TSC-W-PSD-007 | Town Hall Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:28.810 | TSC-W-PSD-006 | Town Hall Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:28.310 | TSC-W-PSD-005 | Town Hall Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:27.808 | TSC-W-PSD-004 | Town Hall Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:27.311 | TSC-W-PSD-003 | Town Hall Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:26.809 | TSC-W-PSD-002 | Town Hall Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:26.309 | TSC-W-PSD-001 | Town Hall Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:25.809 | TSC-E-PSD-030 | Town Hall Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:25.310 | TSC-E-PSD-029 | Town Hall Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:24.805 | TSC-E-PSD-028 | Town Hall Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:24.306 | TSC-E-PSD-027 | Town Hall Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:23.806 | TSC-E-PSD-026 | Town Hall Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:23.309 | TSC-E-PSD-025 | Town Hall Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:22.805 | TSC-E-PSD-024 | Town Hall Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:22.309 | TSC-E-PSD-023 | Town Hall Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:21.807 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:21.308 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:20.305 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:19.801 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:19.303 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:18.804 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:18.299 | TSC-E-PSD-015 | Town Hall Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:17.802 | TSC-E-PSD-014 | Town Hall Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:17.303 | TSC-E-PSD-013 | Town Hall Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:16.790 | TSC-E-PSD-012 | Town Hall Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:16.289 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:15.266 | TSC-E-PSD-009 | Town Hall Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:14.755 | TSC-E-PSD-008 | Town Hall Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:14.253 | TSC-E-PSD-007 | Town Hall Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:13.752 | TSC-E-PSD-006 | Town Hall Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:13.256 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.25 09:42:12.132 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.25 09:42:12.113 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.25 09:41:11.979 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.25 09:41:11.231 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.25 09:41:10.979 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 09:51:48.309 | PKV-FIP-0005 | Parkville Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 09:51:38.363 | PKV-FIP-0004 | Parkville Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 09:51:23.273 | PKV-FIP-0003 | Parkville Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 09:51:10.264 | PKV-FIP-0002 | Parkville Station SHCIE Panel 2 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 09:51:05.387 | PKV-FIP-0006 | Parkville Station SHCIE Panel 5 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 09:51:05.240 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Power supply to fire panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 09:48:10.765 | SKP-PLC-0001 | South Kensington PLC | TIAS PLC power supply fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.27 14:11:26.183 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.27 08:40:02.779 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 19:10:13.393 | AEN_ATSComm | ATS/HCS External system heartbeat | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 15:31:36.379 | AEN_SSX_0002 | TVCS Shaft Smoke Detection System 02 | External Smoke Detected! |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 10:37:49.760 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.25 10:37:49.745 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 10:36:43.499 | SYP-PLC-0001 | South Yarra PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 10:33:24.330 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.03.25 09:45:05.520 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Power supply to fire panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 09:44:24.554 | AEN_TNCComm | State Library TVCS PLC Communication heartbeat | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 09:44:24.554 | AEN_TSCComm | Town Hall TVCS PLC Communication heartbeat | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 09:42:12.832 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 09:42:12.818 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 09:41:28.114 | DMA-FIP-0005 | Anzac Station SHCIE Panel 5 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 09:41:27.871 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 09:41:27.625 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 09:41:27.377 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.03 07:22:09.593 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.02 22:24:49.395 | PKV-SPE-0498 | B2, PKV-SPE-0498 FIRE LOBBY 406-16 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.395 | PKV-SPE-0501 | B2, PKV-SPE-0501 BOH CORRIDOR 151-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.395 | PKV-SPE-0430 | B2, PKV-SPE-0430 Fire Lift Lobby 402-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.395 | PKV-SPE-1122 | B2 PKV-SPE-1122 Fire Lft Lobby 402-5 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.395 | PKV-SPE-0199 | B2, PKV-SPE-0199 FIRE LOBBY 406-16 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.395 | PKV-SPE-0206 | B2, PKV-SPE-0206 FIRE LOBBY 406-16 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.394 | PKV-IVM-0008 | B2, PKV-IVM-0008 S-03 Escape Stair 3 M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.394 | PKV-IVM-0009 | B2, PKV-IVM-0009 406-16 Fire Lobby M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.394 | PKV-IVM-0010 | B2, PKV-IVM-0010 S-03 Escape Stair 3 M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.394 | PKV-IVM-0013 | B2, PKV-IVM-0013 S-03 Escape Stair 3 M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.394 | PKV-SPE-0380 | B2, PKV-SPE-0380 Fire Corridor 402-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.394 | PKV-SPE-0431 | B2, PKV-SPE-0431 BOH Retail Riser 930-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.394 | PKV-SPE-0496 | B2, PKV-SPE-0496 BOH CORRIDOR 151-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:49.394 | PKV-SPE-0497 | B2, PKV-SPE-0497 FIRE LOBBY 406-16 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:47.326 | PKV-SPE-1120 | B2, PKV-SPE-1120 Fire Corridor 402-5 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:47.326 | PKV-SPE-1121 | B2, PKV-SPE-1121 Fire Corridor 402-5 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:47.325 | PKV-SPE-0381 | B2, PKV-SPE-0381 Fire Corridor 402-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:47.325 | PKV-SPE-0382 | B2, PKV-SPE-0382 Fire Corridor 402-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:47.325 | PKV-SPE-0383 | B2, PKV-SPE-0383 RECYCLED WATER RM 889-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:47.325 | PKV-SPE-0494 | B2, PKV-SPE-0494 RECYCLED WATER RM 889-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:47.325 | PKV-SPE-1119 | B2, PKV-SPE-1119 Fire Corridor 402-5 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0009 | GF, PKV-SPE-0009 LIFT 9 PKV-LFT-0009 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0364 | B2, PKV-SPE-0364 RETAIL UNIT 901-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0365 | B2, PKV-SPE-0365 RETAIL UNIT 901-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0368 | B2, PKV-SPE-0368 UNPAID.CONC 102-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0427 | B2, PKV-SPE-0427 CONC. UNPAID AREA 102-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0433 | B2, PKV-SPE-0433 CONC. UNPAID AREA 102-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0499 | B2, PKV-SPE-0499 UNPAID.CONC 102-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0500 | B2, PKV-SPE-0500 UNPAID.CONC 102-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0502 | B2, PKV-SPE-0502 RETAIL UNIT 901-6 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0503 | B2, PKV-SPE-0503 RETAIL UNIT 901-10 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0504 | B2, PKV-SPE-0504 RETAIL UNIT 901-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0505 | B2, PKV-SPE-0505 RETAIL UNIT 901-11 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0511 | B2, PKV-SPE-0511 RETAIL UNIT 901-12 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0512 | B2, PKV-SPE-0512 RETAIL UNIT 901-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-0531 | B2, PKV-SPE-0531 RETAIL UNIT 901-12 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-1123 | B2, PKV-SPE-1123 CH FACILITIES 110-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-HTD-0111 | B2, PKV-HTD-0111 CH. FACILITIES 110-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:24:44.411 | PKV-SPE-9132 | GF, PKV-SPE-9132 LIFT 5 PKV-LFT-0005 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 22:21:21.403 | PKV-SPE-0495 | B2, PKV-SPE-0495 Fire Corridor 402-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 17:43:41.430 | PKV-ASD-0047 | B4U, PKV-ASD-0047 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.02 08:30:12.865 | AEN_NDB_0407_MFM_01 | AEN-NDB-0407 Section 01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.02 08:30:12.865 | AEN_MSB_0404_MFM_02 | AEN-LFT-0002 Multi-function Meter | Communications lost alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.588 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.587 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.587 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.587 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.587 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.587 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.31 21:49:35.585 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.28 16:54:49.166 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 16:19:46.468 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 15:50:44.468 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 14:53:31.431 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 13:03:43.783 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 12:57:08.353 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 12:46:23.795 | PKV_AHU_1303_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 12:44:35.339 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 12:44:35.339 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 12:44:35.318 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 12:44:35.307 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 12:40:07.226 | DMA_FCU_0201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 12:31:18.154 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 12:29:23.218 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 12:12:31.927 | WPZ-FIP-0001 | Western Portal Station Fire Panel | Fire panels in the station have a power fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.28 10:58:45.290 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 10:56:42.146 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 10:49:15.319 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 10:45:31.217 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 10:44:12.150 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.28 10:41:02.328 | PKV-SPE-0111 | B1, PKV-SPE-0111 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 10:41:02.328 | PKV-SPE-0112 | B1, PKV-SPE-0112 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 10:18:59.886 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:50.424 | PKV-ASD-0059 | B4U, PKV-ASD-0059 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:44.356 | PKV-IVM-0039 | B3, PKV-IVM-0039 405-4 Esc Corridor M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:41.617 | PKV-SPE-0654 | B3, PKV-SPE-0654 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:41.617 | PKV-SPE-0657 | B3, PKV-SPE-0657 BOH CORRIDOR 151-18 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:41.617 | PKV-SPE-0726 | B3, PKV-SPE-0726 BOH CORRIDOR 151-33 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:41.617 | PKV-SPE-0727 | B3, PKV-SPE-0727 BOH CORRIDOR 151-34 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:41.617 | PKV-SPE-1206 | B3, PKV-SPE-1206 FIRE LOBBY 406-21 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:41.617 | PKV-SPE-1211 | B3, PKV-SPE-1211 FIRE ESC.C'DOR 405-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:41.617 | PKV-SPE-1212 | B3, PKV-SPE-1212 FIRE ESC.C'DOR 405-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:17.461 | PKV-ASD-0018 | B2, PKV-ASD-0018 Conc Skylight 1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:51:08.317 | PKV-BGU-0001 | B1, 401-1 PKV-BGU-0001 MFIP MCP | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:48:10.765 | SKP-PSU-1027 | PLC 24V Power supply 2 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.28 09:33:48.768 | SKP-PSU-1026 | PLC 24V Power supply 1 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.28 09:32:49.848 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:32:43.009 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 15:55:17.170 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 15:47:07.215 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 14:06:16.279 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.27 13:05:52.101 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 13:05:46.214 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 12:24:04.455 | TNC-E-PSD-001 | State Library Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.27 11:53:51.245 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 11:51:53.286 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 11:51:53.286 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1001 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 10:25:38.768 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 08:48:56.770 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 08:40:02.769 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 06:43:04.925 | PKV_FCU_1119_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:42:01.847 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:42:01.846 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:39:05.756 | PKV_ACH_1903 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:39:04.950 | PKV_ACH_1901_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:39:04.950 | PKV_HWH_1901_ENG_01 | Hot Water - Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.865 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.865 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.865 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.861 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.850 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.836 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.836 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.836 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.836 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.825 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:12.825 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:02.971 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.27 06:36:02.960 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.26 12:41:38.250 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 11:53:12.514 | PKV_MSB_0403_MFM_18 | PKV-CHD-0401 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.26 10:50:59.369 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 15:31:36.409 | AEN_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 11:18:37.777 | PKV_MSB_0402_MFM_00 | PKV-TRD-2212 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 11:18:32.777 | PKV_MSB_0404_MFM_00 | PKV-TRD-2214 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 10:37:49.767 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.764 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.25 10:37:49.756 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.754 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.25 10:36:43.488 | SYP-LS-1019 | Junction Box JB1003 Tamper Input | Tamper detected |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 10:36:43.488 | SYP-LS-1020 | Junction Box JB1004 Tamper Input | Tamper detected |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 09:42:20.560 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:15.522 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:12.510 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:12.009 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:11.508 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:42:11.005 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 09:41:50.756 | TNC-W-PSD-003 | State Library Platform 1 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:41.857 | TNC-E-PSD-021 | State Library Platform 2 Zone 2 PSD 21 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:35.190 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:29.340 | TNC-E-PSD-004 | State Library Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:28.554 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:28.063 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:41:27.771 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.25 09:40:53.299 | PKV_NDB_0401_MFM_05 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:53.243 | PKV_NDB_0401_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:53.187 | PKV_NDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:53.130 | PKV_NDB_0401_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:53.073 | PKV_NDB_0401_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:53.015 | PKV_MSB_0404_MFM_19 | PKV-CHD-0402 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:52.959 | PKV_MSB_0404_MFM_18 | PKV-ESC-0013 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:52.484 | PKV_MSB_0403_MFM_17 | PKV-ESC-0009 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.764 | PKV_MSB_0401_MFM_20 | PKV-ESC-0007 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.641 | PKV_MSB_0401_MFM_10 | PKV-LFT-0011 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.584 | PKV_MSB_0401_MFM_09 | PKV-LFT-0010 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.406 | PKV_MSB_0401_MFM_04 | PKV-ESC-0012 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.262 | PKV_MCC_0402_MFM_22 | PKV-SPF-0302 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.119 | PKV_MCC_0402_MFM_15 | PKV-OFN-0003 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:51.062 | PKV_MCC_0402_MFM_09 | PKV-TFN-0103-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:50.866 | PKV_MCC_0401_MFM_07 | PKV-TFN-0203-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:49.936 | PKV_EDB_0404_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:49.879 | PKV_EDB_0404_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:49.821 | PKV_EDB_0404_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:49.765 | PKV_EDB_0404_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:49.505 | PKV_EDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:48.304 | PKV_CDB_0406_MFM_03 | SECTION 3 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 12HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:48.246 | PKV_CDB_0406_MFM_02 | SECTION 2 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 8HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 09:40:48.189 | PKV_CDB_0406_MFM_01 | SECTION 1 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 2HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
WENT UNACK High | 2024.04.03 07:58:14.261 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.03 08:09:55.393 | 0 | AZC
WENT UNACK High | 2024.04.03 00:01:03.281 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.03 02:09:16.348 | 0 | AZC
WENT UNACK Med | 2024.04.02 20:07:46.878 | PKV_TEP_0301_02_FG | Tunnel Drainage Pump - Function Group | Tunnel drainage pit level not dropping! |  |  | 2024.04.02 20:07:52.868 | 0 | PKV
WENT UNACK Med | 2024.04.02 14:28:22.884 | PKV_TEP_0303_04_FG | Tunnel Drainage Pump - Function Group | Tunnel drainage pit level not dropping! |  |  | 2024.04.02 14:29:04.907 | 0 | PKV
WENT UNACK Med | 2024.04.02 12:54:57.484 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  | 2024.04.02 12:54:58.484 | 0 | STL
WENT UNACK Med | 2024.04.02 12:16:54.471 | PKV-E-PSD-002 | Parkville Platform 2 Zone 1 PSD 02 | Door control unit communication lost |  |  | 2024.04.02 12:17:52.472 | 0 | PKV
WENT UNACK Med | 2024.04.02 10:56:46.917 | PKV_SPP_0203_04_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.04.02 10:57:14.911 | 0 | PKV
WENT UNACK Low | 2024.04.03 08:06:32.020 | AEN_AHU_1103_MVD_03 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.03 08:06:35.027 | 0 | ARN
WENT UNACK Low | 2024.04.03 07:25:29.762 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.04.03 07:25:30.774 | 0 | THL
WENT UNACK Low | 2024.04.03 03:10:21.996 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.04.03 03:50:26.984 | 0 | ARN
WENT UNACK Low | 2024.04.03 01:21:45.475 | DMA_SDP_0101_02_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.04.03 01:28:52.370 | 0 | AZC
WENT UNACK Low | 2024.04.02 16:51:22.018 | AEN_AHU_0101_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.02 16:52:17.129 | 0 | ARN
WENT UNACK Low | 2024.04.02 16:51:22.018 | AEN_AHU_0101_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.02 16:52:11.045 | 0 | ARN
WENT UNACK Low | 2024.04.02 16:51:03.258 | AEN_AHU_1101_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.02 16:51:27.064 | 0 | ARN
WENT UNACK Low | 2024.04.02 16:51:03.258 | AEN_AHU_1101_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.02 16:51:24.150 | 0 | ARN
WENT UNACK Low | 2024.04.02 12:32:21.343 | AEN_DOR_GF_405-2_1 | Security Door (GF EAST) | Door open too long |  |  | 2024.04.02 14:51:02.926 | 0 | ARN
WENT UNACK Low | 2024.04.02 12:09:46.864 | AEN_DOR_B2_ESC_STAIRS_04_4 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.02 12:09:54.362 | 0 | ARN
WENT UNACK Low | 2024.04.02 12:06:00.298 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Unauthorised access |  |  | 2024.04.02 12:06:06.093 | 0 | ARN
WENT UNACK Low | 2024.04.02 12:02:09.790 | AEN_DOR_B2_ESC_STAIRS_03_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.02 12:02:15.277 | 0 | ARN
WENT UNACK Low | 2024.04.02 11:51:57.050 | AEN_DOR_L1_ESC_STAIRS_5_1 | Security Door (L1 EAST) | Unauthorised access |  |  | 2024.04.02 11:52:02.880 | 0 | ARN
WENT UNACK Low | 2024.04.02 11:12:32.950 | AEN_DOR_B2_ESC_STAIRS_04_1 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.02 11:12:43.506 | 0 | ARN
WENT UNACK Low | 2024.04.02 11:02:12.192 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.02 11:02:23.321 | 0 | ARN
WENT UNACK Low | 2024.04.02 10:57:51.901 | PKV_SDP_0103_04_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.04.02 10:58:25.741 | 0 | PKV
WENT UNACK Low | 2024.04.02 10:52:20.135 | AEN_DOR_B2_403-1_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.02 10:52:21.666 | 0 | ARN
WENT UNACK Low | 2024.04.02 10:51:22.446 | AEN_DOR_B2_403-1_2 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.02 10:51:54.520 | 0 | ARN
WENT UNACK Low | 2024.04.02 10:15:34.310 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.04.02 10:15:41.931 | 0 | PKV
WENT UNACK Low | 2024.04.02 08:16:52.862 | AEN_TCD_0404_MFM_02 | Lighting Bus Board Multi-function Meter | Communications lost alarm |  |  | 2024.04.02 08:25:12.864 | 0 | ARN
WENT UNACK Low | 2024.04.02 08:16:52.862 | AEN_TCD_0404_MFM_01 | Power Bus Board Multi-function Meter | Communications lost alarm |  |  | 2024.04.02 08:25:12.864 | 0 | ARN
WENT UNACK Low | 2024.04.02 08:16:52.862 | AEN_TCD_0403_MFM_01 | Power Bus Board Multi-function Meter | Communications lost alarm |  |  | 2024.04.02 08:25:12.864 | 0 | ARN
WENT UNACK Low | 2024.04.02 08:16:52.862 | AEN_TCD_0402_MFM_02 | Lighting Bus Board Multi-function Meter | Communications lost alarm |  |  | 2024.04.02 08:25:12.864 | 0 | ARN
WENT UNACK Low | 2024.04.02 08:16:52.862 | AEN_TCD_0402_MFM_01 | Power Bus Multi-function Meter | Communications lost alarm |  |  | 2024.04.02 08:25:12.864 | 0 | ARN
WENT UNACK Low | 2024.04.02 08:16:52.862 | AEN_TCD_0401_MFM_02 | Lighting Bus Board Multi-function Meter | Communications lost alarm |  |  | 2024.04.02 08:25:12.864 | 0 | ARN
WENT UNACK Low | 2024.04.02 08:16:52.862 | AEN_TCD_0401_MFM_01 | Power Bus Multi-function Meter | Communications lost alarm |  |  | 2024.04.02 08:25:12.864 | 0 | ARN
WENT UNACK Low | 2024.03.28 15:57:46.018 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.04.02 09:02:56.024 | 0 | SDU
ACK High | 2024.03.28 13:19:54.495 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2024.04.02 09:12:58.728 | richard_fry |  | 0 | ARN
ACK High | 2024.03.28 13:19:54.472 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! | 2024.04.02 09:13:08.456 | richard_fry |  | 0 | ARN
ACK High | 2024.03.26 09:41:54.297 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2024.04.02 09:14:26.387 | richard_fry |  | 0 | ARN
ACK High | 2024.03.25 15:37:01.418 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! | 2024.03.26 08:32:22.782 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.25 15:36:50.401 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! | 2024.03.26 08:32:22.824 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.25 15:31:36.379 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! | 2024.03.26 08:32:44.625 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.25 09:43:39.411 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.03.26 08:35:20.802 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.25 09:43:39.329 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.03.26 08:35:12.841 | sergio_paniagua |  | 0 | SDU
ACK High | 2024.03.25 09:41:21.474 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! | 2024.03.26 08:34:56.190 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.25 09:41:20.953 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.03.26 08:35:12.755 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.25 09:41:20.517 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! | 2024.03.26 08:34:56.267 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.03.25 09:41:20.174 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.03.26 08:34:56.356 | sergio_paniagua |  | 0 | AZC
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.03.25 15:37:01.418 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable | 2024.03.26 08:32:22.735 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.25 15:31:36.379 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable | 2024.03.26 08:32:22.655 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.25 15:31:36.379 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | External Smoke Detected! | 2024.03.26 08:32:44.567 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.25 10:37:49.805 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.803 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.802 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.799 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.798 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.796 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.795 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.793 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 09:42:47.956 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2024.03.26 08:34:56.081 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.25 09:42:47.936 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable | 2024.03.26 08:34:56.136 | sergio_paniagua |  | 0 | SDU
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.04.01 11:26:40.411 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Unauthorised access | 2024.04.02 10:16:33.132 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.28 13:10:55.190 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Door open too long | 2024.04.02 10:14:32.764 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.28 12:51:26.818 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.03.28 13:03:31.048 | josh_estrada |  | 0 | PKV
ACK Low | 2024.03.28 10:58:41.854 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault | 2024.03.28 12:22:58.297 | josh_estrada |  | 0 | PKV
ACK Low | 2024.03.27 16:04:15.010 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.04.02 14:59:45.922 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.27 14:31:06.142 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Door open too long | 2024.04.02 10:14:57.214 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.27 14:31:05.881 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Unauthorised access | 2024.04.02 09:13:20.211 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.27 13:39:26.001 | AEN_LFT_0005 | Lift 5 BOH (Platforms to Ground Floor) | Lift General Fault | 2024.04.02 09:13:26.118 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.27 13:27:02.062 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.02 14:59:56.829 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.27 13:27:02.062 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.02 15:00:03.412 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.27 10:12:03.984 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access | 2024.04.02 10:15:29.189 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.27 08:57:43.230 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault | 2024.03.27 09:18:19.771 | himanshu_kakkad |  | 0 | ARN
ACK Low | 2024.03.27 08:57:43.230 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational | 2024.03.27 09:18:19.704 | himanshu_kakkad |  | 0 | ARN
ACK Low | 2024.03.26 16:20:31.119 | AEN_DOR_LG_405-3_2 | Fire escape Corridor - Lower Ground Floor | Door open too long | 2024.04.02 10:14:28.007 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.26 16:20:31.058 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long | 2024.04.02 10:14:46.770 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.26 16:20:31.006 | AEN_DOR_B1_ESC_STAIRS_03_1 | West Emergency Stairs - Concourse | Door open too long | 2024.04.02 10:14:37.841 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.26 16:20:31.002 | AEN_DOR_B1_ESC_STAIR_04_1 | Security Door (B1 EAST) | Door open too long | 2024.04.02 10:15:33.776 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.26 11:05:59.648 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown | 2024.03.26 11:06:08.800 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:59:37.774 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2024.03.26 10:59:44.951 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:58:20.171 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown | 2024.03.26 10:58:24.277 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:52:37.824 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2024.03.26 10:52:51.956 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.25 09:46:05.476 | DMA-FPD-0015 | B1, DMA-FPD-0015 ECS PLANTROOM 3 801-5 | Heat or smoke detector fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:46:05.231 | DMA-FPD-0014 | B1, DMA-FPD-0014 ECS PLANTROOM 3 801-5 | Heat or smoke detector fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:46:03.620 | DMA-FPD-0004 | B1, DMA-FPD-0004 OAF-1102 Plant Rm 801-3 | Heat or smoke detector fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:46:03.380 | DMA-FPD-0003 | B1, DMA-FPD-0003 OAF-1101 Plant Rm 801-3 | Heat or smoke detector fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:45:05.385 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:36.438 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:35.839 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:34.096 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:32.518 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:32.159 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:31.613 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:30.849 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:30.160 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.25 09:43:27.950 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.26 08:34:27.460 | sergio_paniagua |  | 0 | AZC