## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.04.10 00:01:04.216 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.10 00:01:04.216 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.337 | PKV-W-PSD-030 | Parkville Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.324 | PKV-W-PSD-026 | Parkville Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.324 | PKV-W-PSD-027 | Parkville Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.324 | PKV-W-PSD-028 | Parkville Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.324 | PKV-W-PSD-029 | Parkville Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.323 | PKV-W-PSD-015 | Parkville Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.323 | PKV-W-PSD-022 | Parkville Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.323 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.323 | PKV-W-PSD-025 | Parkville Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 20:18:02.351 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.04.09 20:13:50.361 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.04.09 20:08:42.353 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-004 | Parkville Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-005 | Parkville Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-006 | Parkville Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-007 | Parkville Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-008 | Parkville Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-009 | Parkville Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.329 | PKV-E-PSD-001 | Parkville Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.329 | PKV-E-PSD-002 | Parkville Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.329 | PKV-E-PSD-003 | Parkville Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:03:18.013 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.09 15:03:18.013 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.09 15:03:18.013 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.09 15:03:18.013 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.09 13:24:34.319 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-019 | Parkville Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-020 | Parkville Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-021 | Parkville Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-022 | Parkville Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-023 | Parkville Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-024 | Parkville Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-025 | Parkville Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-026 | Parkville Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-028 | Parkville Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-029 | Parkville Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-030 | Parkville Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.439 | PKV-E-PSD-018 | Parkville Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-010 | Parkville Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-011 | Parkville Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-012 | Parkville Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-013 | Parkville Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-014 | Parkville Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-015 | Parkville Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-016 | Parkville Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-017 | Parkville Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:20:40.327 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.394 | PKV-W-PSD-018 | Parkville Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.394 | PKV-W-PSD-019 | Parkville Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.394 | PKV-W-PSD-020 | Parkville Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.394 | PKV-W-PSD-021 | Parkville Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-010 | Parkville Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-011 | Parkville Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-012 | Parkville Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-013 | Parkville Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-014 | Parkville Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-016 | Parkville Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-017 | Parkville Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.390 | PKV-W-PSD-009 | Parkville Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.388 | PKV-W-PSD-006 | Parkville Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.388 | PKV-W-PSD-007 | Parkville Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.388 | PKV-W-PSD-008 | Parkville Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.325 | PKV-W-PSD-001 | Parkville Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.325 | PKV-W-PSD-002 | Parkville Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.325 | PKV-W-PSD-003 | Parkville Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.325 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.325 | PKV-W-PSD-005 | Parkville Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:11:26.353 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.09 12:56:16.331 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 08:48:40.356 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.04.08 16:10:50.688 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:10:38.719 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:10:31.696 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:10:24.685 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:03:37.871 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 12:13:54.347 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 12:09:30.358 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 11:46:38.348 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 11:45:06.355 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:04:05.593 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 08:02:20.553 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.08 08:02:19.865 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.08 08:02:19.611 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.08 08:02:06.720 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:02:06.243 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:02:05.852 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:02:05.551 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.07 05:14:01.751 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 07:23:57.759 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 07:23:00.752 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:48:26.040 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.09 11:50:07.101 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.08 16:10:38.719 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 16:10:24.685 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 14:46:48.740 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.08 10:00:22.565 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.08 08:03:38.289 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.08 08:03:38.282 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.08 08:03:32.441 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 08:03:32.425 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 08:03:22.656 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 08:03:22.640 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 08:02:27.898 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 09:48:10.765 | SKP-PLC-0001 | South Kensington PLC | TIAS PLC power supply fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.27 08:40:02.779 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 10:37:49.760 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.25 10:37:49.745 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 10:36:43.499 | SYP-PLC-0001 | South Yarra PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 07:06:26.651 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.09 22:56:28.215 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 22:54:03.015 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 22:49:25.018 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 22:46:44.081 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 22:42:06.080 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 22:39:52.068 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 22:14:12.074 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 20:57:25.401 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 19:28:29.401 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 19:28:28.453 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 19:28:28.453 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 19:28:28.442 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 19:28:13.400 | DMA_FCU_0201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 19:28:13.400 | DMA_FCU_0119_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 19:27:33.400 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 19:25:38.429 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 18:00:45.323 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 17:08:21.030 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 17:00:02.771 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 16:45:17.041 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 15:06:41.991 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.09 14:31:55.038 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 14:26:31.126 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 14:22:33.381 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 14:22:33.381 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 14:13:12.418 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 14:12:59.373 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 14:04:57.455 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 14:04:47.445 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 13:31:33.189 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 13:23:08.343 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 13:23:01.053 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 12:15:07.457 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 12:14:59.367 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 12:03:30.066 | PKV-SPE-0111 | B1, PKV-SPE-0111 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 12:03:30.066 | PKV-SPE-0112 | B1, PKV-SPE-0112 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 11:49:55.136 | DMA-SPE-0928 | B1, DMA-SPE-0928 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 11:49:55.099 | DMA-SPE-0826 | B1, DMA-SPE-0826 Escalator 6 (B1 Pit) | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 11:49:53.098 | DMA-SPE-0806 | GF, DMA-SPE-0806 Escalator 6 (GF Pit) | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 11:49:50.209 | DMA-FPD-0008 | B1, DMA-FPD-0008 BOH CORRIDOR 151-12 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 11:49:50.209 | DMA-FPD-0009 | B1, DMA-FPD-0009 BOH CORRIDOR 151-12 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 11:49:50.209 | DMA-FPD-0010 | B1, DMA-FPD-0010 MEETING ROOM 205-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 11:49:50.209 | DMA-FPD-0011 | B1, DMA-FPD-0011 MEETING ROOM 205-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 11:49:46.136 | DMA-SPE-0632 | B1, DMA-SPE-0632 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 11:49:46.136 | DMA-SPE-0636 | B1, DMA-SPE-0636 OP MALE STAFF WC 223-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 11:49:46.095 | DMA-FLS-0006 | B1, DMA-FLS-0006 Sprinkler F/S | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 08:34:36.127 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 08:24:54.132 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:33:16.154 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.205 | PKV_ACH_1901_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.205 | PKV_ACH_1903_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.205 | PKV_HWH_1901_ENG_01 | Hot Water - Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.067 | PKV_HWH_1901 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.067 | PKV_HWH_1903 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.067 | PKV_ACH_1903 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 19:36:31.674 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 15:46:29.702 | AEN_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 15:44:48.310 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.160 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.160 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.113 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.101 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.101 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:42:52.238 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:42:52.238 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.691 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:24:21.432 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.421 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.421 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.411 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.411 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.409 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.398 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.398 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.398 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.397 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.387 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:14:35.212 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 10:34:16.263 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:05:19.568 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:05:19.046 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:55.959 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:55.382 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:54.658 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:45.436 | AEN_ESC_0004 | Escalator 4 Bank 4 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:44.334 | AEN_ESC_0003 | Escalator 3 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:43.491 | AEN_ESC_0002 | Escalator 2 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:42.500 | AEN_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:36.183 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:27.826 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:22.855 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.977 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.100 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:20.211 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:02:53.033 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:02:52.879 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:48:10.765 | SKP-PSU-1027 | PLC 24V Power supply 2 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.28 09:33:48.768 | SKP-PSU-1026 | PLC 24V Power supply 1 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1001 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 10:25:38.768 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 08:48:56.770 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 08:40:02.769 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 12:41:38.250 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 10:50:59.369 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 10:37:49.767 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.764 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.25 10:37:49.756 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.754 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.25 10:36:43.488 | SYP-LS-1019 | Junction Box JB1003 Tamper Input | Tamper detected |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 10:36:43.488 | SYP-LS-1020 | Junction Box JB1004 Tamper Input | Tamper detected |  |  |  | 0 | SDU
WENT UNACK High | 2024.04.10 07:21:15.994 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.04.10 07:21:27.999 | 0 | ARN
WENT UNACK High | 2024.04.10 07:07:31.996 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.04.10 07:12:51.995 | 0 | ARN
WENT UNACK High | 2024.04.10 06:34:02.006 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.04.10 06:34:34.005 | 0 | ARN
WENT UNACK High | 2024.04.10 06:32:08.004 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.04.10 06:32:31.995 | 0 | ARN
WENT UNACK High | 2024.04.10 01:48:15.517 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.10 07:28:45.535 | 0 | AZC
WENT UNACK High | 2024.04.10 00:01:03.540 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.10 00:50:10.537 | 0 | AZC
WENT UNACK High | 2024.04.09 20:22:42.354 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.04.09 20:22:54.363 | 0 | THL
WENT UNACK High | 2024.04.09 20:18:02.353 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.04.09 20:19:02.361 | 0 | THL
WENT UNACK High | 2024.04.09 20:13:50.360 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.04.09 20:14:48.354 | 0 | THL
WENT UNACK High | 2024.04.09 20:08:42.354 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.04.09 20:13:12.364 | 0 | THL
WENT UNACK High | 2024.04.09 15:59:49.394 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Emergency Inside Lift! |  |  | 2024.04.09 16:00:00.461 | 0 | AZC
WENT UNACK High | 2024.04.09 15:00:49.012 | DMA_StationFunc | Operator Fire Emergency Mode Selection - Domain Station | Operator initiated emergency ventilation mode Is active In the station! |  |  | 2024.04.09 15:03:18.013 | 0 | SDU
WENT UNACK High | 2024.04.09 13:24:34.320 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.04.09 13:24:42.325 | 0 | PKV
WENT UNACK High | 2024.04.09 13:20:40.325 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.04.09 13:21:00.326 | 0 | PKV
WENT UNACK High | 2024.04.09 13:11:26.352 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.04.09 13:11:42.351 | 0 | STL
WENT UNACK High | 2024.04.09 13:08:38.352 | TNC-E-LCP | State Library Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.09 13:08:42.359 | 0 | STL
WENT UNACK High | 2024.04.09 13:06:10.349 | TNC-W-LCP | State Library Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.09 13:06:14.354 | 0 | STL
WENT UNACK High | 2024.04.09 13:00:44.356 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.04.09 13:00:46.353 | 0 | STL
WENT UNACK High | 2024.04.09 12:59:10.359 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 13:06:10.369 | 0 | STL
WENT UNACK High | 2024.04.09 12:56:16.320 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.04.09 12:56:24.320 | 0 | PKV
WENT UNACK High | 2024.04.09 12:53:02.320 | PKV-W-LCP | Parkville Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.09 12:53:06.318 | 0 | PKV
WENT UNACK High | 2024.04.09 12:52:12.323 | PKV-W-PSD-016 | Parkville Platform 1 Zone 2 PSD 16 | Manual release activated! |  |  | 2024.04.09 12:52:48.318 | 0 | PKV
WENT UNACK High | 2024.04.09 12:50:28.319 | PKV-E-LCP | Parkville Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.04.09 12:50:32.323 | 0 | PKV
WENT UNACK High | 2024.04.09 12:49:24.319 | PKV-E-PSD-016 | Parkville Platform 2 Zone 2 PSD 16 | Manual release activated! |  |  | 2024.04.09 12:49:56.319 | 0 | PKV
WENT UNACK High | 2024.04.09 12:37:42.320 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.04.09 12:38:00.326 | 0 | PKV
WENT UNACK High | 2024.04.09 12:37:42.318 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 12:51:50.335 | 0 | PKV
WENT UNACK High | 2024.04.09 09:30:54.355 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.04.09 09:31:10.358 | 0 | STL
WENT UNACK High | 2024.04.09 09:30:54.354 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 13:04:44.377 | 0 | STL
WENT UNACK High | 2024.04.09 09:23:34.352 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.04.09 09:23:50.359 | 0 | STL
WENT UNACK High | 2024.04.09 09:23:34.352 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.04.09 09:24:38.378 | 0 | STL
WENT UNACK High | 2024.04.09 09:16:46.352 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | Manual release activated! |  |  | 2024.04.09 09:17:18.354 | 0 | STL
WENT UNACK Med | 2024.04.10 07:21:13.994 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.10 07:21:33.994 | 0 | ARN
WENT UNACK Med | 2024.04.10 07:07:30.002 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.10 07:12:54.004 | 0 | ARN
WENT UNACK Med | 2024.04.10 06:43:00.006 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.10 06:43:01.998 | 0 | ARN
WENT UNACK Med | 2024.04.10 06:42:56.355 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door control unit communication lost |  |  | 2024.04.10 06:44:06.354 | 0 | STL
WENT UNACK Med | 2024.04.10 06:31:47.995 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.10 06:32:26.003 | 0 | ARN
WENT UNACK Med | 2024.04.10 06:04:36.216 | PKV_TEP_0301_02_FG | Tunnel Drainage Pump - Function Group | Tunnel drainage pit level not dropping! |  |  | 2024.04.10 06:04:47.065 | 0 | PKV
WENT UNACK Med | 2024.04.09 22:55:33.019 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator stopped(emergency stop button activated!) |  |  | 2024.04.09 22:55:42.093 | 0 | PKV
WENT UNACK Med | 2024.04.09 22:48:36.071 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator stopped(emergency stop button activated!) |  |  | 2024.04.09 22:48:45.016 | 0 | PKV
WENT UNACK Med | 2024.04.09 21:34:14.227 | PKV_FCU_1111_12_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.04.10 00:00:00.239 | 0 | PKV
WENT UNACK Med | 2024.04.09 21:09:15.121 | PKV_FCU_0211_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.04.09 22:36:33.116 | 0 | PKV
WENT UNACK Med | 2024.04.09 20:19:44.353 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.09 20:22:56.360 | 0 | THL
WENT UNACK Med | 2024.04.09 20:17:40.361 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.09 20:19:02.361 | 0 | THL
WENT UNACK Med | 2024.04.09 20:13:46.359 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.09 20:14:50.361 | 0 | THL
WENT UNACK Med | 2024.04.09 20:08:32.363 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.09 20:13:14.364 | 0 | THL
WENT UNACK Med | 2024.04.09 17:50:15.325 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.04.09 17:50:24.384 | 0 | AZC
WENT UNACK Med | 2024.04.09 17:07:44.004 | AEN-E-PSD-004 | Arden Platform 2 Zone 1 PSD 04 | Door control unit communication lost |  |  | 2024.04.09 17:09:00.004 | 0 | ARN
WENT UNACK Med | 2024.04.09 17:06:10.002 | AEN-E-PSD-001 | Arden Platform 2 Zone 1 PSD 01 | Door control unit communication lost |  |  | 2024.04.09 17:07:36.003 | 0 | ARN
WENT UNACK Med | 2024.04.09 16:32:36.358 | TSC-E-PSD-008 | Town Hall Platform 2 Zone 1 PSD 08 | Door control unit communication lost |  |  | 2024.04.09 16:33:34.359 | 0 | THL
WENT UNACK Med | 2024.04.09 15:28:42.001 | AEN-E-PSD-004 | Arden Platform 2 Zone 1 PSD 04 | Door control unit fault |  |  | 2024.04.09 17:09:00.004 | 0 | ARN
WENT UNACK Med | 2024.04.09 15:28:42.001 | AEN-E-PSD-001 | Arden Platform 2 Zone 1 PSD 01 | Door control unit fault |  |  | 2024.04.09 17:07:36.003 | 0 | ARN
WENT UNACK Med | 2024.04.09 15:27:02.080 | _Conn_event_0_2_to_ctrl_3_2 | MTDIST:_Conn_event_0_2_to_ctrl_3_2. | Control Manager Not Running - mtdist_scripts.lst |  |  | 2024.04.09 15:27:03.133 | 0 | THL
WENT UNACK Med | 2024.04.09 15:26:43.431 | _Conn_event_0_1_to_ctrl_3_1 | Distributed Server 1 | Control Manager Not Running - mtdist_scripts.lst |  |  | 2024.04.09 15:26:44.530 | 0 | ARN
WENT UNACK Med | 2024.04.09 14:56:48.448 | PKV_TEP_0303_04_FG | Tunnel Drainage Pump - Function Group | Tunnel drainage pit level not dropping! |  |  | 2024.04.09 14:57:10.215 | 0 | PKV
WENT UNACK Med | 2024.04.09 14:05:00.301 | PKV_SPP_0201_02_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.04.09 14:05:08.562 | 0 | PKV
WENT UNACK Med | 2024.04.09 13:11:24.355 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.09 13:12:04.356 | 0 | STL
WENT UNACK Med | 2024.04.09 13:01:33.051 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Emergency Intercom Activated Level 4 |  |  | 2024.04.09 13:02:46.047 | 0 | SDU
WENT UNACK Med | 2024.04.09 13:00:12.350 | TNC-W-PLT | State Library Platform 1 | PSDs in local control mode on specified platform |  |  | 2024.04.09 13:01:14.355 | 0 | STL
WENT UNACK Med | 2024.04.09 12:39:22.317 | PKV-W-PLT | Parkville Platform 1 | PSDs in local control mode on specified platform |  |  | 2024.04.09 12:40:52.318 | 0 | PKV
WENT UNACK Med | 2024.04.09 09:30:50.360 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.09 09:31:18.353 | 0 | STL
WENT UNACK Med | 2024.04.09 09:19:20.326 | PKV-W-PSD-029 | Parkville Platform 1 Zone 3 PSD 29 | Door control unit communication lost |  |  | 2024.04.09 09:20:26.326 | 0 | PKV
WENT UNACK Med | 2024.04.09 09:10:14.352 | TNC-W-PLT | State Library Platform 1 | PSDs in local control mode on specified platform |  |  | 2024.04.09 09:15:10.354 | 0 | STL
WENT UNACK Med | 2024.04.09 08:30:56.325 | PKV-W-PSD-029 | Parkville Platform 1 Zone 3 PSD 29 | Door control unit fault |  |  | 2024.04.09 09:20:26.326 | 0 | PKV
WENT UNACK Low | 2024.04.10 07:37:06.271 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.04.10 07:37:37.297 | 0 | THL
WENT UNACK Low | 2024.04.10 07:25:17.628 | AEN_DOR_B2_ESC_STAIRS_04_4 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.10 07:25:27.323 | 0 | ARN
WENT UNACK Low | 2024.04.10 07:19:19.399 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.04.10 07:19:32.434 | 0 | AZC
WENT UNACK Low | 2024.04.10 07:13:55.317 | AEN_DOR_GF_405-2_2 | East Emergency Stairs - Ground Floor | Unauthorised access |  |  | 2024.04.10 07:13:58.708 | 0 | ARN
WENT UNACK Low | 2024.04.10 06:59:17.701 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.04.10 07:08:41.700 | 0 | SDU
WENT UNACK Low | 2024.04.10 06:52:35.961 | AEN_DOR_GF_401-1_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.04.10 06:52:44.576 | 0 | ARN
WENT UNACK Low | 2024.04.10 06:52:10.701 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  | 2024.04.10 07:05:43.698 | 0 | SDU
WENT UNACK Low | 2024.04.10 03:33:35.884 | AEN-FLS-0008 | GF, AEN-FLS-0008, SCV1-RETAIL 1 Spr.F/S | Heat or smoke detector fault |  |  | 2024.04.10 03:34:18.874 | 0 | ARN
WENT UNACK Low | 2024.04.10 02:18:11.045 | AEN-ASD-0056 | B1, AEN-ASD-0056, 602-3 TRAC SUB 3 - F1 | Aspirating smoke detector fault |  |  | 2024.04.10 02:18:53.035 | 0 | ARN
WENT UNACK Low | 2024.04.09 22:45:49.078 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator stopped(foreign object trapped in handrail entry - top right) |  |  | 2024.04.09 22:45:58.171 | 0 | PKV
WENT UNACK Low | 2024.04.09 22:41:14.069 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator stopped(foreign object trapped in handrail entry - top left) |  |  | 2024.04.09 22:41:23.001 | 0 | PKV
WENT UNACK Low | 2024.04.09 22:38:21.008 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator stopped(foreign object trapped in handrail entry - top right) |  |  | 2024.04.09 22:38:30.068 | 0 | PKV
WENT UNACK Low | 2024.04.09 21:54:12.898 | AEN_AHU_1103_MVD_03 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 21:54:16.967 | 0 | ARN
WENT UNACK Low | 2024.04.09 21:11:16.148 | PKV_FCU_0403_MVD_03 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 22:36:32.154 | 0 | PKV
WENT UNACK Low | 2024.04.09 21:11:15.038 | PKV_FCU_0403_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 22:36:32.154 | 0 | PKV
WENT UNACK Low | 2024.04.09 21:11:14.148 | PKV_FCU_0211_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 22:38:01.042 | 0 | PKV
WENT UNACK Low | 2024.04.09 21:11:14.148 | PKV_FCU_0211_MVD_01 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 22:36:42.153 | 0 | PKV
WENT UNACK Low | 2024.04.09 21:11:14.148 | PKV_FCU_0207_SMD_05 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 22:38:01.042 | 0 | PKV
WENT UNACK Low | 2024.04.09 21:11:13.063 | PKV_FCU_0207_SMD_04 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 22:38:02.143 | 0 | PKV
WENT UNACK Low | 2024.04.09 20:52:55.389 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.04.09 20:57:24.433 | 0 | AZC
WENT UNACK Low | 2024.04.09 19:33:07.851 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.04.09 19:33:16.893 | 0 | PKV
WENT UNACK Low | 2024.04.09 19:25:38.440 | DMA_FCU_1001_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 19:27:12.446 | 0 | AZC
WENT UNACK Low | 2024.04.09 17:59:23.031 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  | 2024.04.10 06:54:08.263 | 0 | PKV
WENT UNACK Low | 2024.04.09 17:15:17.017 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  | 2024.04.09 17:16:14.019 | 0 | AZC
WENT UNACK Low | 2024.04.09 17:11:24.825 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Unauthorised access |  |  | 2024.04.09 17:11:30.021 | 0 | ARN
WENT UNACK Low | 2024.04.09 17:05:29.145 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.04.09 17:06:38.267 | 0 | PKV
WENT UNACK Low | 2024.04.09 16:51:09.675 | AEN_DOR_L1_ESC_STAIRS_5_1 | Security Door (L1 EAST) | Unauthorised access |  |  | 2024.04.09 16:51:14.055 | 0 | ARN
WENT UNACK Low | 2024.04.09 15:50:40.805 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Lift monitoring lost |  |  | 2024.04.09 15:51:38.804 | 0 | SDU
WENT UNACK Low | 2024.04.09 15:50:39.796 | PAE_LFT_0002 | Lift 2 BOH (Ground Floor to Level 1) | Lift monitoring lost |  |  | 2024.04.09 15:51:38.804 | 0 | SDU
WENT UNACK Low | 2024.04.09 15:46:54.355 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Speaker fault |  |  | 2024.04.10 06:44:06.354 | 0 | STL
WENT UNACK Low | 2024.04.09 15:46:54.355 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  | 2024.04.10 06:44:06.354 | 0 | STL
WENT UNACK Low | 2024.04.09 15:34:31.326 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator stopped (braking distance exceeded) |  |  | 2024.04.09 15:36:12.392 | 0 | AZC
WENT UNACK Low | 2024.04.09 14:53:27.030 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift monitoring lost |  |  | 2024.04.09 14:54:14.151 | 0 | PKV
WENT UNACK Low | 2024.04.09 14:40:32.903 | AEN_AHU_0103_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 14:47:16.020 | 0 | ARN
WENT UNACK Low | 2024.04.09 14:22:07.459 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  | 2024.04.09 14:22:32.421 | 0 | AZC
WENT UNACK Low | 2024.04.09 14:22:05.390 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.04.09 14:22:31.384 | 0 | AZC
WENT UNACK Low | 2024.04.09 14:01:20.769 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Lift General Fault |  |  | 2024.04.09 16:09:16.786 | 0 | SDU
WENT UNACK Low | 2024.04.09 13:59:03.296 | PKV_FCU_0211_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 14:03:53.065 | 0 | PKV
WENT UNACK Low | 2024.04.09 13:52:57.068 | PKV_FCU_0211_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 13:54:12.189 | 0 | PKV
WENT UNACK Low | 2024.04.09 13:24:24.877 | PKV_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  | 2024.04.09 13:30:27.880 | 0 | PKV
WENT UNACK Low | 2024.04.09 12:54:31.871 | PKV_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.04.09 12:54:46.871 | 0 | PKV
WENT UNACK Low | 2024.04.09 11:57:55.379 | DMA_FCU_0105_SMD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 11:58:32.443 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:57:54.435 | DMA_FCU_0105_SMD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 11:58:33.398 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:47:55.981 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.04.09 14:57:22.978 | 0 | SDU
WENT UNACK Low | 2024.04.09 11:33:52.151 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.04.09 11:34:20.161 | 0 | PKV
WENT UNACK Low | 2024.04.09 11:08:47.630 | DMA_SDP_0101_02_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.04.09 11:15:59.619 | 0 | AZC
WENT UNACK Low | 2024.04.09 09:09:06.547 | DMA_FCU_0119_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.09 09:16:08.445 | 0 | AZC
ACK High | 2024.04.09 13:38:54.000 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.04.09 13:49:05.926 | leanne_schwabe |  | 3 | ARN
ACK High | 2024.04.09 13:37:27.999 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.04.09 13:48:42.136 | leanne_schwabe |  | 0 | ARN
ACK High | 2024.04.09 12:38:19.996 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.04.09 12:38:27.665 | leanne_schwabe |  | 0 | ARN
ACK High | 2024.04.09 12:12:43.998 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.04.09 13:49:11.280 | leanne_schwabe |  | 0 | ARN
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.805 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.803 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.802 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.799 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.798 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.796 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.795 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.793 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.04.09 22:12:50.074 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.04.09 22:25:31.585 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.09 12:17:50.103 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Unauthorised access | 2024.04.09 13:39:02.129 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.09 11:17:46.845 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access | 2024.04.09 11:17:50.338 | richard_fry |  | 0 | ARN
ACK Low | 2024.04.09 11:11:03.225 | AEN_DOR_B1_ESC_STAIRS_04_2 | East Emergency Stairs - Concourse | Door open too long | 2024.04.09 13:38:20.508 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.09 10:46:45.969 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long | 2024.04.09 13:39:30.196 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.09 06:52:15.039 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.09 21:45:38.884 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.08 17:49:26.108 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost | 2024.04.09 11:27:38.603 | juan_castilloruiz |  | 0 | PKV
ACK Low | 2024.04.08 14:11:57.042 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.08 14:46:47.398 | josh_estrada |  | 0 | PKV
ACK Low | 2024.04.08 13:43:02.111 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost | 2024.04.09 14:22:03.703 | juan_castilloruiz |  | 0 | PKV
ACK Low | 2024.04.08 13:08:40.634 | AEN_DOR_B2_ESC_STAIRS_04_1 | Security Door (B2 EAST) | Unauthorised access | 2024.04.09 13:37:38.577 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.08 11:51:10.496 | AEN_DOR_B2_ESC_STAIRS_03_1 | Security Door (B2 WEST) | Unauthorised access | 2024.04.09 13:37:42.780 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.08 10:09:30.338 | AEN_DOR_B2_ESC_STAIRS_03_2 | Security Door (B2 WEST) | Unauthorised access | 2024.04.09 13:39:04.988 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.08 09:02:50.773 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault | 2024.04.08 18:14:44.939 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.08 08:27:29.035 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault | 2024.04.09 13:39:15.128 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.08 08:05:20.566 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.09 13:39:09.381 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.08 08:05:20.072 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.09 13:51:54.167 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.08 08:05:19.077 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational | 2024.04.09 13:51:54.167 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.04 10:04:30.760 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Unauthorised access | 2024.04.04 10:04:35.384 | kai_longley |  | 0 | ARN
ACK Low | 2024.03.26 16:20:31.006 | AEN_DOR_B1_ESC_STAIRS_03_1 | West Emergency Stairs - Concourse | Door open too long | 2024.04.02 10:14:37.841 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.26 11:05:59.648 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown | 2024.03.26 11:06:08.800 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:59:37.774 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2024.03.26 10:59:44.951 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:58:20.171 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown | 2024.03.26 10:58:24.277 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:52:37.824 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2024.03.26 10:52:51.956 | sergio_paniagua |  | 0 | SDU