## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.04.17 07:14:21.215 | _Event_2 | MTTHL:_Event_2. | License expires |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.17 00:37:58.821 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.17 00:37:22.966 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.16 18:04:23.871 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.16 18:04:23.871 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.16 11:39:07.026 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.16 11:39:07.026 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.16 10:27:08.997 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.15 22:57:59.869 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.15 22:56:23.879 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.15 22:56:23.879 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 21:29:14.357 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:28:20.354 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:17:26.355 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:17:16.354 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.14 21:04:12.323 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 21:03:24.319 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 21:02:40.319 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door opened! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 20:52:08.328 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.14 18:29:21.994 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 11:35:13.998 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 07:42:42.000 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 07:27:27.998 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.14 06:46:08.103 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.14 03:03:52.102 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.13 18:03:14.319 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.13 11:08:59.101 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.13 11:08:57.100 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.12 09:47:39.690 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.12 09:47:21.691 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.12 09:46:59.692 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.12 09:46:37.688 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.11 13:13:21.023 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.11 13:06:45.017 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.11 12:58:29.016 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:02:06.720 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.16 11:33:58.432 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Emergency Intercom Activated Level 2 |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.16 10:38:50.945 | DMA_UPS_0401 | Uninterruptible Power Supply | UPS general fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.16 10:38:50.945 | DMA_UPS_0401 | Uninterruptible Power Supply | UPS internal diagnostic fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.15 22:57:59.869 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.15 22:56:23.879 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.15 12:04:29.762 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.14 22:09:25.645 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.14 22:09:25.361 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.14 21:52:28.370 | _Mod_Plc_1_2 | MTSTL:_Mod_Plc_1_2. | Communications Fault - State Library Server 2 to State Library PSD Servers |  |  |  | 0 | THL
CAME UNACK Med | 2024.04.14 21:52:28.361 | _Mod_Plc_1 | MTSTL:_Mod_Plc_1. | Communications Fault - State Library Server 1 to State Library PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.14 21:37:10.377 | _Mod_Plc_1_2 | MTTHL:_Mod_Plc_1_2. | Communications Fault - Town Hall Server 2 to Town Hall PSD Servers |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.14 21:31:47.016 | _Mod_Plc_1_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden PSD Servers |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.14 21:31:47.004 | _Mod_Plc_1 | Arden Server 1 | Communications Fault - Arden Server 1 to Arden PSD Servers |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.14 21:26:05.337 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.14 21:02:04.318 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.13 09:24:30.103 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.12 09:47:39.690 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.12 09:46:37.688 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.11 13:06:45.017 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 10:37:49.760 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.17 07:07:04.460 | PKV_HWH_1901_ENG_01 | Hot Water - Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 07:07:04.460 | PKV_ACH_1903_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 07:07:04.191 | PKV_ACH_1901 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 07:07:02.352 | PKV_ACH_1901_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.17 02:13:29.710 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 22:43:43.012 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:42:34.192 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:39:51.027 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:39:42.204 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:35:28.118 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:32:36.117 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:30:52.124 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:27:53.036 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:23:19.030 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:21:02.160 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:17:14.302 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:14:37.030 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:13:30.129 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:12:27.015 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:10:58.190 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:06:19.022 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:05:42.112 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator stopped (braking distance exceeded) |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 22:04:05.096 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 21:59:22.213 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 21:55:38.094 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 21:52:58.132 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 21:25:28.248 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.16 17:22:44.253 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 15:21:57.943 | _ReduManager_2 | Anzac Server 2 | Server 2 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 15:09:51.864 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 14:29:43.832 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 14:29:38.756 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 14:14:14.649 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 14:14:14.649 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 13:57:18.460 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 13:57:18.460 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 13:56:40.820 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 12:49:12.105 | SKP-DT-1001 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.16 12:11:24.908 | AEN_DOR_B1_ESC_STAIRS_04_2 | East Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.16 11:39:17.022 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:53:09.324 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:09:47.615 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:09:47.615 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:09:47.594 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:09:47.581 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:07:22.277 | DMA_FCU_0119_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:06:42.294 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:06:12.191 | DMA_ACH_1003 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:06:12.191 | DMA_ACH_1001 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 07:04:47.539 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.16 03:48:02.729 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.15 23:31:53.256 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 23:31:44.261 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 13:04:58.981 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 11:18:46.246 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.15 10:57:28.791 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.15 06:26:43.107 | PKV_HWH_1901 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:26:43.107 | PKV_HWH_1903 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:26:43.107 | PKV_ACH_1903 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:23.113 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:23.113 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:22.238 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:22.238 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:13.212 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:25:13.211 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.15 06:02:32.199 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.15 06:02:32.199 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.13 10:57:11.949 | DMA-SPE-0928 | B1, DMA-SPE-0928 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.13 10:43:30.111 | SKP-DT-1006 | Westbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:45:36.112 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:45:36.112 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:43:44.103 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:27:32.108 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:26:14.106 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:24:30.103 | SKP-DT-1005 | Westbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.13 09:17:19.998 | AEN-W-PSD-015 | Arden Platform 1 Zone 2 PSD 15 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 09:07:02.358 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.13 08:49:42.001 | AEN-E-PSD-018 | Arden Platform 2 Zone 2 PSD 18 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:49:16.002 | AEN-E-PSD-015 | Arden Platform 2 Zone 2 PSD 15 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:47:49.157 | AEN_DOR_GF_246-2_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:44:39.998 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:40:33.997 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:40:13.997 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:38:45.996 | AEN-W-PSD-007 | Arden Platform 1 Zone 1 PSD 07 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.13 08:07:06.356 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.13 06:51:36.352 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.13 06:51:36.352 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Speaker fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.12 18:00:41.028 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.12 12:23:20.028 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.12 12:23:13.998 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.12 09:45:35.700 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.12 09:45:35.700 | AEN_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.11 20:48:07.470 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 20:02:31.308 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 19:49:48.299 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 17:01:53.238 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 13:13:12.039 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.11 10:34:56.950 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.10 22:06:57.503 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:57:40.174 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 20:35:49.370 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.432 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.421 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.411 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.411 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.398 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:14:35.212 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:36.183 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:27.826 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:22.855 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.977 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.100 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:20.211 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:02:53.033 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:02:52.879 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.25 10:37:49.767 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.756 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
WENT UNACK High | 2024.04.16 14:12:47.918 | _Driver1_2 | MTAZC:_Driver1_2. |  |  |  | 2024.04.16 15:54:22.908 | 0 | ARN
WENT UNACK High | 2024.04.16 08:55:58.106 | SDU_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.16 10:13:10.140 | 0 | SDU
WENT UNACK Med | 2024.04.17 07:14:21.215 | _Conn_event_0_2_to_driver_2_2 | Town Hall Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.17 07:14:22.826 | 0 | AZC
WENT UNACK Med | 2024.04.17 07:14:21.215 | _Conn_event_0_2_to_driver_1_2 | Town Hall Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.17 07:14:22.372 | 0 | AZC
WENT UNACK Med | 2024.04.17 07:14:21.215 | _Conn_event_0_2_to_ctrl_3_2 | Town Hall Server 2 | Control Manager Not Running - mtthl_scripts.lst |  |  | 2024.04.17 07:14:24.223 | 0 | AZC
WENT UNACK Med | 2024.04.17 07:14:21.215 | _Conn_event_0_2_to_ctrl_2_2 | Town Hall Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.17 07:14:24.022 | 0 | AZC
WENT UNACK Med | 2024.04.17 07:14:21.215 | _Conn_event_0_2_to_ctrl_1_2 | Town Hall Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.17 07:14:21.619 | 0 | AZC
WENT UNACK Med | 2024.04.17 07:13:34.699 | _Conn_dist_1_2_to_dist_6_2 | Distributed Server 2 | Connection lost to Town Hall Server 2 - Link 1 |  |  | 2024.04.17 07:14:55.267 | 0 | THL
WENT UNACK Med | 2024.04.17 07:13:34.698 | _Conn_dist_1_1_to_dist_6_2 | Distributed Server 1 | Connection lost to Town Hall Server 2 - Link 0 |  |  | 2024.04.17 07:14:33.876 | 0 | THL
WENT UNACK Med | 2024.04.17 07:13:34.698 | _Conn_dist_1_1_to_dist_6_2 | Distributed Server 1 | Connection lost to Town Hall Server 2 - Link 1 |  |  | 2024.04.17 07:14:53.769 | 0 | THL
WENT UNACK Med | 2024.04.17 07:13:34.698 | _Conn_dist_1_2_to_dist_6_2 | Distributed Server 2 | Connection lost to Town Hall Server 2 - Link 0 |  |  | 2024.04.17 07:14:35.247 | 0 | THL
WENT UNACK Med | 2024.04.16 17:07:00.922 | DMA_FCU_1111_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.04.16 17:07:20.107 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:23:09.374 | DMA-C-01-EVAC | EWIS device for Anzac | EWIS fault |  |  | 2024.04.16 15:23:10.329 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:21:38.997 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  | 2024.04.16 15:21:39.847 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:21:37.908 | _DMA-BMS-PLC3 | MTAZC:_DMA-BMS-PLC3. | Communications Fault - Anzac Server 1 to Anzac BMS 3 PLC |  |  | 2024.04.16 15:21:38.575 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:21:37.900 | _DMA-BMS-PLC | MTAZC:_DMA-BMS-PLC. | Communications Fault - Anzac Server 1 to Anzac BMS PLC |  |  | 2024.04.16 15:21:44.851 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:21:36.251 | _Conn_event_0_1_to_event_0_2 | Anzac Server 1 | Connection lost to Server 2 - Link 1 |  |  | 2024.04.16 15:22:36.275 | 0 | ARN
WENT UNACK Med | 2024.04.16 15:21:36.251 | _Conn_event_0_1_to_event_0_2 | Anzac Server 1 | Connection lost to Server 2 - Link 0 |  |  | 2024.04.16 15:22:16.275 | 0 | ARN
WENT UNACK Med | 2024.04.16 15:21:36.251 | _Conn_event_0_1_to_driver_2_1 | Anzac Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.16 15:21:37.868 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:21:36.251 | _Conn_event_0_1_to_driver_1_1 | Anzac Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.16 15:21:37.460 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:21:36.251 | _Conn_event_0_1_to_ctrl_3_1 | Anzac Server 1 | Control Manager Not Running - mtazc_scripts.lst |  |  | 2024.04.16 15:21:39.505 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:21:36.251 | _Conn_event_0_1_to_ctrl_2_1 | Anzac Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.16 15:21:39.302 | 0 | AZC
WENT UNACK Med | 2024.04.16 15:21:36.251 | _Conn_event_0_1_to_ctrl_1_1 | Anzac Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.16 15:21:36.690 | 0 | AZC
WENT UNACK Med | 2024.04.16 14:28:27.977 | _SYP-TIAS-PLC | MTDIST:_SYP-TIAS-PLC. | Communications Fault - Dist Server 1 to SYP TIAS PLC |  |  | 2024.04.16 15:17:27.154 | 0 | ARN
WENT UNACK Med | 2024.04.16 14:13:22.190 | _SYP-TIAS-PLC_2 | MTDIST:_SYP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SYP TIAS PLC |  |  | 2024.04.16 15:17:46.175 | 0 | THL
WENT UNACK Med | 2024.04.16 14:12:47.805 | _Conn_event_0_2_to_event_0_1 | Anzac Server 2 | Connection lost to Server 2 - Link 1 |  |  | 2024.04.16 15:22:35.938 | 0 | AZC
WENT UNACK Med | 2024.04.16 14:12:47.805 | _Conn_event_0_2_to_event_0_1 | Anzac Server 2 | Connection lost to Server 2 - Link 0 |  |  | 2024.04.16 15:22:15.938 | 0 | AZC
WENT UNACK Med | 2024.04.16 14:12:47.170 | _Conn_dist_1_2_to_dist_7_1 | Distributed Server 2 | Connection lost to Anzac Server 1 - Link 1 |  |  | 2024.04.16 15:22:01.799 | 0 | ARN
WENT UNACK Med | 2024.04.16 14:12:47.170 | _Conn_dist_1_2_to_dist_7_1 | Distributed Server 2 | Connection lost to Anzac Server 1 - Link 0 |  |  | 2024.04.16 15:21:41.799 | 0 | ARN
WENT UNACK Med | 2024.04.16 14:12:47.169 | _Conn_dist_1_1_to_dist_7_1 | Distributed Server 1 | Connection lost to Anzac Server 1 - Link 1 |  |  | 2024.04.16 15:21:59.892 | 0 | ARN
WENT UNACK Med | 2024.04.16 14:12:47.169 | _Conn_dist_1_1_to_dist_7_1 | Distributed Server 1 | Connection lost to Anzac Server 1 - Link 0 |  |  | 2024.04.16 15:21:40.881 | 0 | ARN
WENT UNACK Med | 2024.04.16 14:07:36.945 | DMA_UPS_0402 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.04.16 15:14:46.393 | 0 | AZC
WENT UNACK Med | 2024.04.16 14:07:36.945 | DMA_UPS_0402 | Uninterruptible Power Supply | UPS internal diagnostic fault |  |  | 2024.04.16 15:14:27.390 | 0 | AZC
WENT UNACK Med | 2024.04.16 13:12:24.109 | AEN_SPP_0203_04_FG | Sewer Drainage Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.04.16 13:13:12.128 | 0 | ARN
WENT UNACK Med | 2024.04.16 10:44:30.995 | AEN_SPP_0201_02_FG | Sewer Drainage Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.04.16 10:45:38.112 | 0 | ARN
WENT UNACK Med | 2024.04.16 10:06:50.988 | AEN_FCU_1005_06_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.04.16 10:06:54.978 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:15:58.446 | _PKV-BMS-PLC | MTPKV:_PKV-BMS-PLC. | Communications Fault - Parkville Server 1 to Parkville BMS PLC |  |  | 2024.04.16 01:16:04.667 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:03:53.894 | _AEN-BMS-PLC3 | MTARD:_AEN-BMS-PLC3. | Communications Fault - Arden Server 1 to Arden BMS 3 PLC |  |  | 2024.04.16 01:16:13.821 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:59.777 | _PAE-BMS-PLC | MTARD:_PAE-BMS-PLC. | Communications Fault - Arden Server 1 to Western Portal BMS PLC |  |  | 2024.04.16 01:03:55.130 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:49.963 | _DMA-BMS-PLC_2 | MTAZC:_DMA-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Anzac BMS PLC |  |  | 2024.04.16 01:04:24.271 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:49.963 | _DMA-BMS-PLC3_2 | MTAZC:_DMA-BMS-PLC3_2. | Communications Fault - Anzac Server 2 to Anzac BMS 3 PLC |  |  | 2024.04.16 01:03:55.517 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:49.582 | _PDM-BMS-PLC_2 | MTAZC:_PDM-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Eastern Portal BMS PLC |  |  | 2024.04.16 01:03:56.142 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:46.075 | _PKV-BMS-PLC3 | MTPKV:_PKV-BMS-PLC3. | Communications Fault - Parkville Server 1 to Parkville BMS 3 PLC |  |  | 2024.04.16 01:04:16.725 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:41.699 | _AEN-BMS-PLC3_2 | MTARD:_AEN-BMS-PLC3_2. | Communications Fault - Arden Server 2 to Arden BMS 3 PLC |  |  | 2024.04.16 01:04:11.800 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:41.690 | _AEN-BMS-PLC_2 | Arden BMS PLC | Communications Fault - Arden Server 2 to Arden BMS PLC |  |  | 2024.04.16 01:04:19.125 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:41.298 | _PKV-BMS-PLC3_2 | MTPKV:_PKV-BMS-PLC3_2. | Communications Fault - Parkville Server 2 to Parkville BMS 3 PLC |  |  | 2024.04.16 01:04:11.720 | 0 | STL
WENT UNACK Med | 2024.04.16 01:00:40.787 | _PAE-BMS-PLC_2 | MTARD:_PAE-BMS-PLC_2. | Communications Fault - Arden Server 2 to Western Portal BMS PLC |  |  | 2024.04.16 01:04:10.954 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:39.886 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Communications Fault - Parkville Server 2 to Parkville TVCS PLC |  |  | 2024.04.16 01:04:21.495 | 0 | STL
WENT UNACK Med | 2024.04.16 01:00:39.884 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Communications Fault - Parkville Server 1 to Parkville TVCS PLC |  |  | 2024.04.16 01:04:35.805 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:39.721 | _AEN-TVC-PLC_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden TVCS PLC |  |  | 2024.04.16 01:04:12.343 | 0 | PKV
WENT UNACK Med | 2024.04.16 01:00:39.712 | _AEN-TVC-PLC | Arden Server 1 | Communications Fault - Arden Server 1 to Arden TVCS PLC |  |  | 2024.04.16 01:04:29.096 | 0 | ARN
WENT UNACK Med | 2024.04.16 01:00:32.036 | _PKV-BMS-PLC_2 | MTPKV:_PKV-BMS-PLC_2. | Communications Fault - Parkville Server 2 to Parkville BMS PLC |  |  | 2024.04.16 01:04:07.678 | 0 | STL
WENT UNACK Med | 2024.04.15 12:03:56.498 | _Mod_Plc_3_2 | MTPKV:_Mod_Plc_3_2. | Communications Fault - Parkville Server 2 to Parkville EWIS |  |  | 2024.04.15 12:04:29.577 | 0 | STL
WENT UNACK Med | 2024.04.15 12:03:52.106 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  | 2024.04.15 12:04:31.974 | 0 | STL
WENT UNACK Low | 2024.04.17 07:17:29.799 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.17 07:17:36.062 | 0 | ARN
WENT UNACK Low | 2024.04.17 07:14:21.666 | _ReduManager_2 | Town Hall Server 2 | Server 2 - Passive |  |  | 2024.04.17 07:14:37.064 | 0 | AZC
WENT UNACK Low | 2024.04.17 06:57:27.171 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Unauthorised access |  |  | 2024.04.17 06:57:32.347 | 0 | ARN
WENT UNACK Low | 2024.04.17 06:52:35.731 | PAE_LFT_0002 | Lift 2 BOH (Ground Floor to Level 1) | Lift General Fault |  |  | 2024.04.17 06:52:38.733 | 0 | SDU
WENT UNACK Low | 2024.04.17 06:52:23.644 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.04.17 06:53:02.649 | 0 | SDU
WENT UNACK Low | 2024.04.17 06:38:33.352 | AEN_DOR_GF_401-1_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.04.17 06:38:40.629 | 0 | ARN
WENT UNACK Low | 2024.04.17 03:22:02.299 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.04.17 03:22:03.282 | 0 | THL
WENT UNACK Low | 2024.04.17 02:10:58.845 | AEN_DOR_B2_ESC_STAIRS_04_1 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.17 02:11:06.434 | 0 | ARN
WENT UNACK Low | 2024.04.17 02:08:37.599 | AEN_DOR_B2_ESC_STAIRS_03_2 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.17 02:08:42.584 | 0 | ARN
WENT UNACK Low | 2024.04.17 02:05:26.985 | AEN_DOR_B2_ESC_STAIRS_03_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.17 02:05:34.215 | 0 | ARN
WENT UNACK Low | 2024.04.17 02:05:12.599 | AEN_DOR_B2_403-1_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.17 02:05:21.054 | 0 | ARN
WENT UNACK Low | 2024.04.17 01:44:09.879 | PKV_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.04.17 01:49:33.878 | 0 | PKV
WENT UNACK Low | 2024.04.17 00:26:31.394 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Unauthorised access |  |  | 2024.04.17 00:26:35.906 | 0 | ARN
WENT UNACK Low | 2024.04.17 00:24:39.839 | PKV_DOR_B4_PKV-S-01_1 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.17 00:24:44.801 | 0 | PKV
WENT UNACK Low | 2024.04.16 22:11:14.894 | AEN_AHU_1103_MVD_03 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 22:11:16.021 | 0 | ARN
WENT UNACK Low | 2024.04.16 22:10:12.221 | PKV_AHU_1303_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 22:14:41.053 | 0 | PKV
WENT UNACK Low | 2024.04.16 22:09:32.279 | PKV_FCU_0403_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 22:16:07.119 | 0 | PKV
WENT UNACK Low | 2024.04.16 22:09:32.279 | PKV_FCU_0211_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 22:14:40.293 | 0 | PKV
WENT UNACK Low | 2024.04.16 22:09:32.279 | PKV_FCU_0207_SMD_05 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 22:14:41.053 | 0 | PKV
WENT UNACK Low | 2024.04.16 22:09:31.093 | PKV_FCU_0211_MVD_01 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 22:16:14.340 | 0 | PKV
WENT UNACK Low | 2024.04.16 22:09:31.093 | PKV_FCU_0403_MVD_03 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 22:16:07.119 | 0 | PKV
WENT UNACK Low | 2024.04.16 22:09:31.093 | PKV_FCU_0207_SMD_04 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 22:16:14.340 | 0 | PKV
WENT UNACK Low | 2024.04.16 22:07:33.198 | PKV_FCU_1119_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.04.16 22:14:44.523 | 0 | PKV
WENT UNACK Low | 2024.04.16 21:49:07.694 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.04.16 22:04:44.683 | 0 | SDU
WENT UNACK Low | 2024.04.16 21:05:32.891 | DMA_FCU_0121_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 21:06:04.703 | 0 | AZC
WENT UNACK Low | 2024.04.16 20:57:30.070 | DMA_FCU_0121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.04.16 20:58:03.967 | 0 | AZC
WENT UNACK Low | 2024.04.16 20:39:00.772 | AEN_DOR_GF_405-2_1 | Security Door (GF EAST) | Door open too long |  |  | 2024.04.16 21:52:37.877 | 0 | ARN
WENT UNACK Low | 2024.04.16 20:35:01.549 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.16 20:35:04.637 | 0 | PKV
WENT UNACK Low | 2024.04.16 18:38:57.989 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.04.16 18:59:48.332 | 0 | ARN
WENT UNACK Low | 2024.04.16 17:44:53.847 | DMA_FCU_1111_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:45:56.833 | 0 | AZC
WENT UNACK Low | 2024.04.16 17:41:30.772 | DMA_FCU_1111_MVD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:42:00.804 | 0 | AZC
WENT UNACK Low | 2024.04.16 17:27:18.767 | DMA_FCU_1111_MVD_01 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:27:41.934 | 0 | AZC
WENT UNACK Low | 2024.04.16 17:23:21.903 | DMA_FCU_1111_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:24:19.898 | 0 | AZC
WENT UNACK Low | 2024.04.16 17:20:49.891 | DMA_FCU_1111_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:21:07.926 | 0 | AZC
WENT UNACK Low | 2024.04.16 17:10:06.021 | AEN_AHU_0103_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:10:18.014 | 0 | ARN
WENT UNACK Low | 2024.04.16 17:09:58.043 | AEN_AHU_0103_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:10:26.011 | 0 | ARN
WENT UNACK Low | 2024.04.16 17:09:16.050 | AEN_AHU_0101_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:10:00.022 | 0 | ARN
WENT UNACK Low | 2024.04.16 17:09:14.915 | AEN_AHU_0101_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:10:06.991 | 0 | ARN
WENT UNACK Low | 2024.04.16 17:08:54.021 | AEN_AHU_1101_MVD_02 | Air Handling Unit - CO2 Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:09:04.047 | 0 | ARN
WENT UNACK Low | 2024.04.16 17:08:52.044 | AEN_AHU_1101_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 17:09:10.041 | 0 | ARN
WENT UNACK Low | 2024.04.16 16:14:58.878 | PKV_StationFunc | TVCS Operator Fire Emergency Section 04 - Parkville Station | Station Fire Ventilation Mode still active |  |  | 2024.04.16 18:04:23.871 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:56:47.487 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.04.16 15:56:51.709 | 0 | PKV
WENT UNACK Low | 2024.04.16 15:09:56.695 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.695 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.695 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.695 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.694 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.694 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.694 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.694 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.694 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.694 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.694 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.694 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.694 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.694 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.693 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.693 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.693 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.693 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  | 2024.04.16 15:10:13.694 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:09:56.691 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  | 2024.04.16 15:10:13.691 | 0 | SDU
WENT UNACK Low | 2024.04.16 15:03:58.767 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.04.16 15:08:42.899 | 0 | AZC
WENT UNACK Low | 2024.04.16 14:58:39.972 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.04.16 14:58:46.365 | 0 | PKV
WENT UNACK Low | 2024.04.16 13:56:50.442 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  | 2024.04.16 13:57:17.291 | 0 | AZC
WENT UNACK Low | 2024.04.16 13:56:47.315 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.04.16 13:57:15.212 | 0 | AZC
WENT UNACK Low | 2024.04.16 13:56:44.366 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.04.16 13:57:19.212 | 0 | AZC
WENT UNACK Low | 2024.04.16 13:45:49.414 | AEN_DOR_B2_403-1_2 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.16 13:45:55.648 | 0 | ARN
WENT UNACK Low | 2024.04.16 12:28:06.475 | DMA_FCU_0111_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 12:30:52.601 | 0 | AZC
WENT UNACK Low | 2024.04.16 12:27:59.206 | DMA_FCU_0112_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 12:29:22.597 | 0 | AZC
WENT UNACK Low | 2024.04.16 12:17:38.512 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.16 18:09:30.777 | 0 | PKV
WENT UNACK Low | 2024.04.16 11:41:52.272 | AEN_DOR_GF_405-2_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.04.16 11:41:59.117 | 0 | ARN
WENT UNACK Low | 2024.04.16 11:41:35.324 | AEN_DOR_B2_ESC_STAIRS_04_4 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.16 11:41:43.489 | 0 | ARN
WENT UNACK Low | 2024.04.16 11:38:30.033 | DMA_HCS_0001 | Staff Protection Switch - Protection Enabled Signal 01 | Staff Protection Switch fault |  |  | 2024.04.16 11:39:02.034 | 0 | AZC
WENT UNACK Low | 2024.04.16 11:38:00.027 | DMA_TEXB | Tunnel Ambient Temperature Control | Tunnel B - Ambient Temperature Control Unavailable |  |  | 2024.04.16 11:39:02.034 | 0 | AZC
WENT UNACK Low | 2024.04.16 11:38:00.027 | DMA_TEXA | Tunnel Ambient Temperature Control | Tunnel A - Ambient Temperature Control Unavailable |  |  | 2024.04.16 11:39:02.034 | 0 | AZC
WENT UNACK Low | 2024.04.16 11:37:55.028 | DMA_TEXB | Tunnel Ambient Temperature Control | Temperature Sensors B - Discrepancy |  |  | 2024.04.16 11:38:00.027 | 0 | AZC
WENT UNACK Low | 2024.04.16 11:33:22.738 | DMA_FCU_1105_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.04.17 00:00:00.879 | 0 | AZC
WENT UNACK Low | 2024.04.16 10:47:31.342 | PKV_FCU_1119_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.16 10:49:18.294 | 0 | PKV
WENT UNACK Low | 2024.04.16 09:22:34.869 | AEN_ESC_0002 | Escalator 2 Bank 2 (Platforms to Concourse) | Escalator stopped(foreign object trapped in handrail entry - top left) |  |  | 2024.04.16 09:22:43.937 | 0 | ARN
WENT UNACK Low | 2024.04.16 07:37:55.585 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Unauthorised access |  |  | 2024.04.16 07:38:46.841 | 0 | ARN
WENT UNACK Low | 2024.04.16 01:00:39.886 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Link Failure - Parkville Server 2 to Parkville TVCS CPU 1 |  |  | 2024.04.16 01:04:21.495 | 0 | STL
WENT UNACK Low | 2024.04.16 01:00:39.884 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Link Failure - Parkville Server 1 to Parkville TVCS CPU 1 |  |  | 2024.04.16 01:04:35.805 | 0 | PKV
WENT UNACK Low | 2024.04.16 01:00:39.717 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  | 2024.04.16 01:04:12.384 | 0 | PKV
WENT UNACK Low | 2024.04.16 01:00:39.709 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 1 |  |  | 2024.04.16 01:04:29.096 | 0 | ARN
WENT UNACK Low | 2024.04.16 01:00:38.862 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 2 |  |  | 2024.04.16 01:04:29.118 | 0 | ARN
WENT UNACK Low | 2024.04.16 01:00:22.136 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 1 |  |  | 2024.04.16 01:04:12.343 | 0 | PKV
WENT UNACK Low | 2024.04.15 13:09:09.498 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.04.16 12:02:21.417 | 0 | PKV
ACK High | 2024.04.11 13:10:49.024 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.04.11 13:11:08.032 | sergio_pareja |  | 0 | SDU
ACK High | 2024.04.08 08:02:06.243 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.04.11 11:52:48.986 | sergio_pareja |  | 0 | AZC
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.04.08 14:46:48.740 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault | 2024.04.11 09:41:53.793 | kai_longley |  | 0 | ARN
ACK Med | 2024.04.08 08:03:38.289 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault | 2024.04.11 09:41:56.666 | kai_longley |  | 0 | ARN
ACK Med | 2024.04.08 08:03:38.282 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault | 2024.04.11 09:41:56.666 | kai_longley |  | 0 | ARN
ACK Med | 2024.04.08 08:03:32.441 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable | 2024.04.11 12:01:37.313 | sergio_pareja |  | 0 | SDU
ACK Med | 2024.03.25 10:37:49.805 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.803 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.802 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.799 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.798 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.796 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.795 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.793 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.745 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost | 2024.04.11 09:41:56.763 | kai_longley |  | 0 | ARN
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.04.15 16:33:52.256 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.15 18:04:27.400 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.15 06:30:11.325 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault | 2024.04.16 16:44:23.140 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.15 06:30:11.325 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault | 2024.04.16 16:44:23.007 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.15 06:25:13.201 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.15 18:04:39.311 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.08 10:34:16.263 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Low | 2024.04.08 08:05:19.568 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.04.11 09:39:52.885 | kai_longley |  | 0 | ARN
ACK Low | 2024.04.08 08:05:19.077 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational | 2024.04.09 13:51:54.167 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.03.26 12:41:38.250 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown | 2024.04.11 09:40:13.294 | kai_longley |  | 0 | SDU
ACK Low | 2024.03.26 11:05:59.648 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown | 2024.03.26 11:06:08.800 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:59:37.774 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2024.03.26 10:59:44.951 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:58:20.171 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown | 2024.03.26 10:58:24.277 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:52:37.824 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2024.03.26 10:52:51.956 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:50:59.369 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown | 2024.04.11 09:40:32.821 | kai_longley |  | 0 | SDU
ACK Low | 2024.03.25 10:37:49.764 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Low | 2024.03.25 10:37:49.754 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN