## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.06.20 02:47:14.884 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.20 02:46:47.933 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.20 01:43:53.424 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.20 00:55:14.421 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.19 14:10:57.424 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.19 04:42:42.168 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.06.18 17:21:16.572 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-006 | Town Hall Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-008 | Town Hall Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-009 | Town Hall Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.754 | TSC-E-PSD-030 | Town Hall Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.696 | TSC-E-PSD-026 | Town Hall Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.696 | TSC-E-PSD-027 | Town Hall Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.696 | TSC-E-PSD-028 | Town Hall Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.696 | TSC-E-PSD-029 | Town Hall Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.659 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.659 | TSC-E-PSD-024 | Town Hall Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.619 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.619 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.619 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.619 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.578 | TSC-E-PSD-013 | Town Hall Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.578 | TSC-E-PSD-014 | Town Hall Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.578 | TSC-E-PSD-015 | Town Hall Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.577 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.577 | TSC-E-PSD-012 | Town Hall Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 23:25:36.571 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 23:25:34.578 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 20:12:08.573 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 17:25:05.719 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 17:24:47.727 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 15:47:05.986 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 15:35:35.983 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:48:30.898 | AEN_ROL_RNERV_W | West Tunnel RNERV Roller Door | RNERV crane arm extended over tracks! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:46:38.491 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:44:45.111 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:44:45.077 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:44:24.887 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:33.339 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:13.465 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:13.004 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:12.542 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:10.739 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.666 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.602 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.536 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:09.187 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:08.593 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.18 17:15:38.168 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | Door control unit fault |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.17 17:25:05.719 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:47:01.743 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:46:32.867 | TSC-FIP-0001 | Town Hall Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.17 10:46:02.656 | TNC-FIP-0001 | State Library Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.17 10:43:09.320 | PKV-FIP-0001 | Parkville Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | PKV
CAME UNACK Med | 2024.06.17 10:35:18.075 | WPZ-FIP-0001 | Western Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:35:16.887 | AEN-FIP-0001 | Arden Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.344 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.333 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.298 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:25.710 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:14.359 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:14.316 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:11.700 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:11.682 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:42:54.181 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:50:15.741 | _Driver1_2 | Anzac Server 2 | PSS2 S7 Driver 1 overloaded (TVCS PLC) |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.03 10:49:53.704 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.699 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.694 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:52.198 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.195 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.192 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:38.107 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Communications Fault - State Library Server 2 to State Library TVCS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:38.099 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Communications Fault - State Library Server 1 to State Library TVCS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.241 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.239 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.238 | _TNC-BMS-PLC3_2 | MTSTL:_TNC-BMS-PLC3_2. | Communications Fault - State Library Server 2 to State Library BMS Gateway PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.236 | _TNC-BMS-PLC3 | MTSTL:_TNC-BMS-PLC3. | Communications Fault - State Library Server 1 to State Library BMS Gateway PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.234 | _TNC-BMS-PLC_2 | MTSTL:_TNC-BMS-PLC_2. | Communications Fault - State Library Server 2 to State Library BMS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.232 | _TNC-BMS-PLC | MTSTL:_TNC-BMS-PLC. | Communications Fault - State Library Server 1 to State Library BMS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.970 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.968 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.967 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.964 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.962 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.960 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.20 08:13:27.955 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.20 08:12:39.914 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.20 07:59:10.727 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.20 07:59:10.727 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.20 07:40:51.141 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.20 06:00:55.726 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.20 06:00:55.726 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:03:54.849 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:03:47.874 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:14.147 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:14.147 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:14.147 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:14.147 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:14.147 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:13.163 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:13.163 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:13.163 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:13.163 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:13.163 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:13.163 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:02:13.163 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:01:17.862 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 20:01:10.839 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 19:59:43.853 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 19:57:41.853 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 19:57:36.840 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 19:57:05.868 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 19:57:00.848 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 19:48:18.722 | DMA_StationFunc | Operator Fire Emergency Mode Selection - Domain Station | Station Fire Ventilation Mode still active |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.19 19:21:37.969 | DMA_FCU_1127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 16:39:38.600 | PKV_DOR_B4_PKV-S-01_1 | Security Door (B4 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 16:29:31.226 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 16:25:55.273 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 15:59:46.186 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 14:19:17.608 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.19 14:14:56.214 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 13:59:19.227 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 13:33:58.041 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 13:19:22.962 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.19 13:17:02.130 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.19 13:16:38.133 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.19 13:11:54.934 | AEN_DOR_B1_151-3_1 | Concourse west - back of house corridor | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.19 13:10:28.131 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.19 13:03:52.119 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.19 13:02:35.024 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.19 11:56:45.574 | PKV_DOR_B2_405-5_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 11:10:16.913 | PKV_DOR_B2_PKV-S-02_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 11:04:25.791 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.19 10:28:05.303 | AEN_DOR_GF_401-1_1 | Ground floor east - fire control room | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.19 09:02:37.201 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 07:37:55.269 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 07:37:41.180 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 05:01:13.394 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.19 05:01:13.391 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.18 21:50:20.831 | PKV_DOR_B2_151-15_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 17:20:18.162 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.18 13:31:51.222 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 12:01:07.000 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 10:35:29.128 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 07:56:27.791 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 15:36:14.088 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 11:53:36.306 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:17:22.155 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:38.267 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.246 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.209 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.177 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.154 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.131 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:31.392 | PKV_DOR_GF_PKV-S-03_2 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.349 | PKV_DOR_B2_PKV-S-03_3 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:30.818 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:22.356 | AEN-SPE-0404 | B1, AEN-SPE-0404, 151-10 BOH Corridor | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:22.030 | AEN-SPE-0403 | B1, AEN-SPE-0403, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:21.408 | AEN-SPE-0400 | B1, AEN-SPE-0400, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:39.288 | AEN-SPE-0095 | B1, AEN-SPE-0095, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:38.386 | AEN-SPE-0090 | B1, AEN-SPE-0090, 151-10 BOH Corridor | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:22.661 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.286 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.046 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.849 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.609 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.414 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:20.799 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:20.560 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:40.506 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:39.768 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:39.026 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:38.286 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:37.548 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:36.802 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:36.058 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:35.313 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:34.562 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:33.818 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:33.074 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:32.331 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:31.586 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:30.836 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:30.088 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:29.344 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:06.674 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:43:58.781 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:43:48.039 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:47.837 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:38.900 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:35.739 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:35.299 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.17 09:43:31.275 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.17 09:43:25.896 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.104 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 2 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.101 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.095 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 2 |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.091 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 1 |  |  |  | 0 | STL
WENT UNACK High | 2024.06.20 00:12:03.784 | AEN-W-LCP | Arden Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.20 00:12:15.785 | 0 | ARN
WENT UNACK High | 2024.06.20 00:10:13.786 | AEN-E-LCP | Arden Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.20 00:10:29.786 | 0 | ARN
WENT UNACK High | 2024.06.20 00:09:41.604 | DMA-E-LCP | Anzac Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.20 00:09:55.600 | 0 | AZC
WENT UNACK High | 2024.06.19 23:57:05.597 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.20 00:09:41.629 | 0 | AZC
WENT UNACK High | 2024.06.19 23:57:05.597 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.06.19 23:57:27.604 | 0 | AZC
WENT UNACK High | 2024.06.19 23:57:03.597 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.06.19 23:57:27.604 | 0 | AZC
WENT UNACK High | 2024.06.19 23:51:59.792 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.06.19 23:52:07.792 | 0 | ARN
WENT UNACK High | 2024.06.19 23:36:01.785 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.19 23:39:27.786 | 0 | ARN
WENT UNACK High | 2024.06.19 23:30:19.785 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.06.19 23:30:29.785 | 0 | ARN
WENT UNACK High | 2024.06.19 23:30:19.784 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.20 00:12:03.805 | 0 | ARN
WENT UNACK High | 2024.06.19 19:47:24.707 | DMA_FIO_0148_CONC | Tunnel Vent. Zone S10 - Fire Confirmed at Concourse | Smoke detected in shaft! |  |  | 2024.06.19 19:48:17.719 | 0 | AZC
WENT UNACK High | 2024.06.19 12:56:06.566 | TSC-W-LCP | Town Hall Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.19 12:56:12.573 | 0 | THL
WENT UNACK High | 2024.06.19 12:45:52.572 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.06.19 12:45:58.570 | 0 | THL
WENT UNACK High | 2024.06.19 11:02:01.791 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD obstructed on opening or closing! |  |  | 2024.06.19 11:02:19.791 | 0 | ARN
WENT UNACK High | 2024.06.19 10:54:17.788 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD obstructed on opening or closing! |  |  | 2024.06.19 11:00:01.790 | 0 | ARN
WENT UNACK High | 2024.06.19 04:50:26.573 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.19 12:56:06.593 | 0 | THL
WENT UNACK High | 2024.06.19 03:03:57.789 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.20 00:12:03.805 | 0 | ARN
WENT UNACK High | 2024.06.19 02:21:38.569 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.19 12:56:06.593 | 0 | THL
WENT UNACK High | 2024.06.19 02:06:20.589 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 12:56:06.603 | 0 | THL
WENT UNACK High | 2024.06.19 02:06:20.567 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 12:56:06.602 | 0 | THL
WENT UNACK High | 2024.06.18 23:45:37.784 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.20 00:10:13.808 | 0 | ARN
WENT UNACK High | 2024.06.18 20:39:31.787 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.20 00:10:13.808 | 0 | ARN
WENT UNACK High | 2024.06.18 14:32:11.603 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.19 23:54:03.624 | 0 | AZC
WENT UNACK High | 2024.06.17 17:18:57.688 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  | 2024.06.19 19:47:24.707 | 0 | SDU
WENT UNACK Med | 2024.06.20 08:00:14.714 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.20 08:00:26.716 | 0 | AZC
WENT UNACK Med | 2024.06.20 07:42:53.720 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.20 07:43:01.715 | 0 | AZC
WENT UNACK Med | 2024.06.20 07:41:15.720 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.20 07:41:24.719 | 0 | AZC
WENT UNACK Med | 2024.06.20 07:28:30.340 | PKV_SPP_0201_02_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.06.20 07:46:30.345 | 0 | PKV
WENT UNACK Med | 2024.06.20 07:27:47.715 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.20 07:27:57.723 | 0 | AZC
WENT UNACK Med | 2024.06.20 03:59:58.315 | PKV_FCU_1213_14_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.20 07:33:16.350 | 0 | PKV
WENT UNACK Med | 2024.06.19 23:57:01.600 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.19 23:57:23.597 | 0 | AZC
WENT UNACK Med | 2024.06.19 23:56:39.604 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.19 23:57:23.596 | 0 | AZC
WENT UNACK Med | 2024.06.19 23:33:25.784 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.19 23:39:29.786 | 0 | ARN
WENT UNACK Med | 2024.06.19 23:28:11.785 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.19 23:34:51.787 | 0 | ARN
WENT UNACK Med | 2024.06.19 19:47:25.966 | DMA_FCU_1115_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.19 19:48:31.968 | 0 | AZC
WENT UNACK Med | 2024.06.19 19:25:53.978 | DMA_FCU_1111_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.19 19:26:31.975 | 0 | AZC
WENT UNACK Med | 2024.06.19 19:01:10.894 | DMA_FCU_0107_08_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.19 19:01:39.951 | 0 | AZC
WENT UNACK Med | 2024.06.19 18:46:13.933 | DMA_FCU_0101_02_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.19 18:46:51.943 | 0 | AZC
WENT UNACK Med | 2024.06.19 18:33:02.900 | DMA_FCU_0103_04_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.19 18:33:17.956 | 0 | AZC
WENT UNACK Med | 2024.06.19 16:28:06.756 | DMA_FCU_1135_36_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.19 16:28:20.830 | 0 | AZC
WENT UNACK Med | 2024.06.19 12:42:26.571 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.19 12:43:50.577 | 0 | THL
WENT UNACK Med | 2024.06.19 12:39:18.228 | AEN_SPP_0203_04_FG | Sewer Drainage Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.06.19 12:40:07.003 | 0 | ARN
WENT UNACK Med | 2024.06.19 11:40:45.979 | PKV-W-PSD-010 | Parkville Platform 1 Zone 2 PSD 10 | Door control unit communication lost |  |  | 2024.06.19 11:41:43.979 | 0 | PKV
WENT UNACK Med | 2024.06.19 11:01:31.790 | AEN-W-PLT | Arden Platform 1 | PSDs in local control mode on specified platform |  |  | 2024.06.19 11:02:31.790 | 0 | ARN
WENT UNACK Med | 2024.06.19 10:18:37.309 | PKV_FCU_1111_12_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.19 10:25:14.362 | 0 | PKV
WENT UNACK Low | 2024.06.20 08:12:36.913 | AEN_DOR_B1_151-4_1 | Concourse east - back of house emergency corridor | Unauthorised access |  |  | 2024.06.20 08:12:49.579 | 0 | ARN
WENT UNACK Low | 2024.06.20 08:08:14.477 | AEN_DOR_B2_ESC_STAIRS_03_2 | Platform 1 west - double emergency door | Unauthorised access |  |  | 2024.06.20 08:08:28.648 | 0 | ARN
WENT UNACK Low | 2024.06.20 08:02:36.125 | PKV_DOR_B1_PKV-S-02_2 | Security Door (B1 EAST) | Unauthorised access |  |  | 2024.06.20 08:02:41.272 | 0 | PKV
WENT UNACK Low | 2024.06.20 08:00:35.328 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.20 08:00:42.509 | 0 | PKV
WENT UNACK Low | 2024.06.20 07:38:30.520 | PKV_DOR_GF_PKV-S-05_1 | Security Door (PUBLIC REALM EAST) | Unauthorised access |  |  | 2024.06.20 08:08:45.976 | 0 | PKV
WENT UNACK Low | 2024.06.20 07:34:55.287 | PKV_DOR_GF_PKV-S-04_2 | Security Door (PUBLIC REALM) | Unauthorised access |  |  | 2024.06.20 07:35:01.960 | 0 | PKV
WENT UNACK Low | 2024.06.20 07:34:15.169 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.20 07:34:25.750 | 0 | PKV
WENT UNACK Low | 2024.06.20 07:28:57.714 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator stopped (main drive chain top right) |  |  | 2024.06.20 07:29:38.720 | 0 | AZC
WENT UNACK Low | 2024.06.20 07:12:27.884 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.06.20 07:12:28.879 | 0 | THL
WENT UNACK Low | 2024.06.20 07:06:39.570 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.06.20 07:06:46.217 | 0 | PKV
WENT UNACK Low | 2024.06.20 06:29:49.719 | DMA_TEXB | Tunnel Ambient Temperature Control | Temperature Sensors B - Discrepancy |  |  | 2024.06.20 06:32:55.732 | 0 | AZC
WENT UNACK Low | 2024.06.20 06:00:16.725 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.06.20 06:00:54.725 | 0 | AZC
WENT UNACK Low | 2024.06.20 06:00:15.728 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  | 2024.06.20 06:00:57.724 | 0 | AZC
WENT UNACK Low | 2024.06.20 06:00:15.725 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  | 2024.06.20 06:00:41.722 | 0 | AZC
WENT UNACK Low | 2024.06.20 01:47:15.928 | PKV_DOR_B3_PKV-S-01_1 | Security Door (B3 WEST) | Unauthorised access |  |  | 2024.06.20 01:47:20.148 | 0 | PKV
WENT UNACK Low | 2024.06.19 23:58:35.921 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.06.20 00:06:30.901 | 0 | SDU
WENT UNACK Low | 2024.06.19 19:47:25.966 | DMA_FCU_1101_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:48:33.981 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:47:25.966 | DMA_FCU_1103_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:48:33.981 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:47:25.966 | DMA_FCU_1105_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:48:33.981 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:47:25.966 | DMA_FCU_1117_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:48:31.968 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:47:25.966 | DMA_FCU_1121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:48:31.968 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:25:53.955 | DMA_FCU_0121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:26:31.953 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:25:53.955 | DMA_FCU_0123_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:26:31.953 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:25:53.955 | DMA_FCU_0127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:26:31.953 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:25:53.955 | DMA_FCU_1001_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:26:31.953 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:25:53.955 | DMA_FCU_1145_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:26:31.953 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:25:52.929 | DMA_FCU_1119_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:26:31.975 | 0 | AZC
WENT UNACK Low | 2024.06.19 19:25:52.915 | DMA_FCU_1125_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 19:26:31.953 | 0 | AZC
WENT UNACK Low | 2024.06.19 16:42:04.066 | AEN_DOR_B2_ESC_STAIRS_04_2 | Platform 2 east - single emergency door | Unauthorised access |  |  | 2024.06.19 16:42:16.257 | 0 | ARN
WENT UNACK Low | 2024.06.19 15:41:37.226 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault |  |  | 2024.06.19 15:42:36.172 | 0 | PKV
WENT UNACK Low | 2024.06.19 14:51:09.514 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.19 14:51:09.565 | 0 | PKV
WENT UNACK Low | 2024.06.19 14:41:17.985 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.19 14:41:28.187 | 0 | PKV
WENT UNACK Low | 2024.06.19 14:40:19.593 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.19 14:40:22.271 | 0 | PKV
WENT UNACK Low | 2024.06.19 14:07:07.839 | PKV_DOR_GF_PKV-S-03_1 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  | 2024.06.19 14:07:13.103 | 0 | PKV
WENT UNACK Low | 2024.06.19 14:04:46.979 | PKV_DOR_B2_PKV-S-03_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.06.19 14:04:48.300 | 0 | PKV
WENT UNACK Low | 2024.06.19 13:36:56.283 | PKV-ASD-0007 | B2, PKV-ASD-0007 STATN EQ.RM 705-1 - F1 | Aspirating smoke detector fault |  |  | 2024.06.19 13:37:47.233 | 0 | PKV
WENT UNACK Low | 2024.06.19 13:34:25.549 | PKV_DOR_GF_PKV-S-04_1 | Security Door (PUBLIC REALM) | Unauthorised access |  |  | 2024.06.19 13:34:29.604 | 0 | PKV
WENT UNACK Low | 2024.06.19 13:02:35.024 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  | 2024.06.19 13:02:36.997 | 0 | ARN
WENT UNACK Low | 2024.06.19 12:19:26.257 | AEN_DOR_B2_ESC_STAIRS_03_1 | Platform 2 west - single emergency door | Unauthorised access |  |  | 2024.06.19 12:19:50.717 | 0 | ARN
WENT UNACK Low | 2024.06.19 11:33:44.730 | PKV_DOR_B3_PKV-S-01_2 | Security Door (B3 WEST) | Unauthorised access |  |  | 2024.06.19 11:33:47.993 | 0 | PKV
WENT UNACK Low | 2024.06.19 11:26:02.696 | AEN_DOR_B1_ESC_STAIRS_03_2 | Concourse west - back of house emergency stairs | Unauthorised access |  |  | 2024.06.19 11:26:13.197 | 0 | ARN
WENT UNACK Low | 2024.06.19 11:16:31.748 | AEN_DOR_B2_403-1_1 | Platform 2 west - single emergency door | Unauthorised access |  |  | 2024.06.19 11:16:44.957 | 0 | ARN
WENT UNACK Low | 2024.06.19 11:15:17.928 | AEN_DOR_B2_403-1_2 | Platform 1 west - single emergency door | Unauthorised access |  |  | 2024.06.19 11:16:28.232 | 0 | ARN
WENT UNACK Low | 2024.06.19 10:12:33.312 | PKV_FCU_1121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 10:25:15.384 | 0 | PKV
WENT UNACK Low | 2024.06.19 10:12:33.312 | PKV_FCU_1305_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.19 10:25:15.384 | 0 | PKV
WENT UNACK Low | 2024.06.19 10:07:41.787 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | Maintenance mode activated |  |  | 2024.06.19 10:53:45.789 | 0 | ARN
WENT UNACK Low | 2024.06.19 09:01:59.793 | AEN_DOR_LG_ESC_STAIR_07_1 | Lower ground west - back of house stairs | Unauthorised access |  |  | 2024.06.19 09:02:34.203 | 0 | ARN
WENT UNACK Low | 2024.06.19 09:00:40.399 | Cameras | CCTV Camera | Lost connection to Genetec camera status service |  |  | 2024.06.19 09:02:36.677 | 0 | ARN
WENT UNACK Low | 2024.06.19 08:59:46.774 | Cameras | CCTV Camera | Lost connection to Genetec media streaming service |  |  | 2024.06.19 09:03:41.777 | 0 | ARN
WENT UNACK Low | 2024.06.19 07:56:19.153 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.19 14:44:18.137 | 0 | PKV
WENT UNACK Low | 2024.06.19 07:55:54.188 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.19 14:44:05.222 | 0 | PKV
WENT UNACK Low | 2024.06.19 07:55:03.161 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.19 14:45:16.117 | 0 | PKV
WENT UNACK Low | 2024.06.19 02:14:59.387 | AEN_DOR_B2_ESC_STAIRS_04_4 | Platform 1 east - single emergency door | Unauthorised access |  |  | 2024.06.19 10:10:28.532 | 0 | ARN
WENT UNACK Low | 2024.06.18 06:48:39.994 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift monitoring lost |  |  | 2024.06.19 13:02:50.994 | 0 | ARN
WENT UNACK Low | 2024.06.18 06:45:42.928 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift monitoring lost |  |  | 2024.06.19 13:01:51.011 | 0 | ARN
ACK High | 2024.05.20 08:23:30.503 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.05.20 15:17:54.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded | 2024.05.20 15:17:59.449 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.17 10:47:01.691 | DMA-FIP-0001 | Anzac Station FDCIE Panel | No modbus server/gateway connection | 2024.06.17 14:28:57.072 | emilio_ito |  | 0 | AZC
ACK Med | 2024.06.03 10:48:16.689 | _Driver1_2 | MTARD:_Driver1_2. | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.04 08:54:10.389 | sergio_paniagua |  | 0 | PKV
ACK Med | 2024.06.03 10:47:25.340 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.339 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.338 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.336 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.335 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.334 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.333 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.332 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.306 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.291 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.19 19:48:18.848 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.06.19 19:49:28.143 | emilio_ito |  | 0 | AZC
ACK Low | 2024.06.19 19:48:17.855 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.06.19 19:49:51.139 | emilio_ito |  | 0 | AZC
ACK Low | 2024.06.19 15:54:40.831 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.06.19 16:03:32.239 | emilio_ito |  | 0 | AZC
ACK Low | 2024.06.03 10:47:25.310 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.308 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.03 10:47:25.302 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.299 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN