## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.04.11 08:58:31.418 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.11 00:01:04.213 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.10 21:41:12.884 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.10 21:41:12.884 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.10 17:57:51.022 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.10 17:57:51.022 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.10 17:57:50.022 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.10 17:57:50.022 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.10 17:42:36.878 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.10 17:06:56.016 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.10 17:02:36.020 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.09 21:43:30.337 | PKV-W-PSD-030 | Parkville Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.324 | PKV-W-PSD-026 | Parkville Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.324 | PKV-W-PSD-027 | Parkville Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.324 | PKV-W-PSD-028 | Parkville Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.324 | PKV-W-PSD-029 | Parkville Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.323 | PKV-W-PSD-015 | Parkville Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.323 | PKV-W-PSD-022 | Parkville Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.323 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 21:43:30.323 | PKV-W-PSD-025 | Parkville Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 20:18:02.351 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.04.09 20:13:50.361 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.04.09 20:08:42.353 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-004 | Parkville Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-005 | Parkville Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-006 | Parkville Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-007 | Parkville Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-008 | Parkville Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.330 | PKV-E-PSD-009 | Parkville Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.329 | PKV-E-PSD-001 | Parkville Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.329 | PKV-E-PSD-002 | Parkville Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 15:39:32.329 | PKV-E-PSD-003 | Parkville Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:24:34.319 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-019 | Parkville Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-020 | Parkville Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-021 | Parkville Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-022 | Parkville Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-023 | Parkville Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-024 | Parkville Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-025 | Parkville Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-026 | Parkville Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-028 | Parkville Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-029 | Parkville Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.440 | PKV-E-PSD-030 | Parkville Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.439 | PKV-E-PSD-018 | Parkville Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-010 | Parkville Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-011 | Parkville Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-012 | Parkville Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-013 | Parkville Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-014 | Parkville Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-015 | Parkville Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-016 | Parkville Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:21:44.335 | PKV-E-PSD-017 | Parkville Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:20:40.327 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.394 | PKV-W-PSD-018 | Parkville Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.394 | PKV-W-PSD-019 | Parkville Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.394 | PKV-W-PSD-020 | Parkville Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.394 | PKV-W-PSD-021 | Parkville Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-010 | Parkville Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-011 | Parkville Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-012 | Parkville Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-013 | Parkville Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-014 | Parkville Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-016 | Parkville Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.393 | PKV-W-PSD-017 | Parkville Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.390 | PKV-W-PSD-009 | Parkville Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.388 | PKV-W-PSD-006 | Parkville Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.388 | PKV-W-PSD-007 | Parkville Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.388 | PKV-W-PSD-008 | Parkville Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.325 | PKV-W-PSD-001 | Parkville Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.325 | PKV-W-PSD-002 | Parkville Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.325 | PKV-W-PSD-003 | Parkville Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.325 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:17:42.325 | PKV-W-PSD-005 | Parkville Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 13:11:26.353 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.09 12:56:16.331 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.09 08:48:40.356 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.04.08 16:10:50.688 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:10:38.719 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:10:31.696 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 16:10:24.685 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.08 12:13:54.347 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 12:09:30.358 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 11:46:38.348 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 11:45:06.355 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:02:20.553 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.08 08:02:19.865 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.08 08:02:06.720 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.08 08:02:06.243 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.07 05:14:01.751 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 07:23:57.759 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.27 07:23:00.752 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 10:36:43.499 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.25 09:48:26.040 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.11 09:16:02.744 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.10 17:42:36.878 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.10 17:06:56.016 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.09 11:50:07.101 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.08 16:10:38.719 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 16:10:24.685 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 14:46:48.740 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.08 08:03:38.289 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.08 08:03:38.282 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.08 08:03:32.441 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 08:03:22.656 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.08 08:02:27.898 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.28 09:48:10.765 | SKP-PLC-0001 | South Kensington PLC | TIAS PLC power supply fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.27 08:40:02.779 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.25 10:37:49.760 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.25 10:37:49.745 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.25 10:36:43.499 | SYP-PLC-0001 | South Yarra PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 09:22:05.027 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.11 09:21:49.150 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.11 09:11:20.177 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 09:08:47.892 | AEN_DOR_B1_ESC_STAIRS_04_2 | East Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.11 09:05:34.191 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.11 08:59:30.399 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.11 08:33:50.131 | PKV-SPE-0111 | B1, PKV-SPE-0111 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.11 08:29:23.069 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.11 08:27:37.134 | PKV-SPE-0112 | B1, PKV-SPE-0112 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.11 08:12:08.360 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Speaker fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.11 08:12:08.360 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.11 08:06:49.178 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.11 07:44:20.076 | PKV_HWH_1903 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.11 07:18:36.186 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 23:53:07.045 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 23:17:01.008 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 23:14:57.029 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 23:08:55.007 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 23:06:46.097 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 23:02:44.092 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 23:00:16.087 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 22:06:57.503 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:58:13.417 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:58:13.417 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:58:13.406 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:58:13.394 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:57:40.174 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:52:10.374 | DMA_FCU_0201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:52:10.374 | DMA_FCU_0119_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:51:31.412 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 21:49:36.248 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 20:35:49.370 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 14:54:55.366 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.10 13:42:40.133 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 12:40:25.022 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 10:15:32.122 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 10:00:38.329 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 10:00:38.329 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 09:18:13.626 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 09:18:13.584 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 09:17:43.168 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.10 08:53:13.297 | DMA-SPE-0922 | B1, DMA-SPE-0922 GOODS LIFT LOBBY 402-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:13.297 | DMA-FPD-1101 | B1, DMA-FPD-1101 AHU-1101 ECS PLANT801-4 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:13.184 | DMA-FPD-0012 | B1, DMA-FPD-0012 SPF-1103 Plant Rm 802-6 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:13.184 | DMA-FPD-0013 | B1, DMA-FPD-0013 SPF-1104 Plant Rm 802-6 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:13.184 | DMA-SPE-0010 | B1, DMA-SPE-0010 LIFT DMA-LT-0009 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.108 | DMA-SPE-0592 | B1, DMA-SPE-0592 GOODS LIFT LOBBY 402-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0108 | B1, DMA-SPE-0108 ECS PLANTROOM 3 801-4 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0109 | B1, DMA-SPE-0109 ECS PLANTROOM 3 801-4 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0110 | B1, DMA-SPE-0110 ECS PLANTROOM 3 801-4 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0111 | B1, DMA-SPE-0111 FIRE LOBBY 406-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0112 | B1, DMA-SPE-0112 BOH CORRIDOR 151-6 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0113 | B1, DMA-SPE-0113 BOH CORRIDOR 151-6 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0114 | B1, DMA-SPE-0114 BOH CORRIDOR 151-6 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0115 | B1, DMA-SPE-0115 BOH CORRIDOR 151-6 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0116 | B1, DMA-SPE-0116 BOH CORRIDOR 151-6 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0117 | B1, DMA-SPE-0117 ECS PLANTROOM 2 801-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0118 | B1, DMA-SPE-0118 ECS PLANTROOM 801-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0119 | B1, DMA-SPE-0119 SPF ROOM 802-5 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0120 | B1, DMA-SPE-0120 NON HAB VOID 297-4 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0160 | B2, DMA-SPE-0160 FIRE LOBBY 406-9 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0179 | B1, DMA-SPE-0179 TUN VENT FAN ROOM 830-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0180 | B1, DMA-SPE-0180 TUN VENT FAN ROOM 830-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0181 | B1, DMA-SPE-0181 TUN VENT FAN ROOM 830-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0182 | B1, DMA-SPE-0182 TUN VENT FAN ROOM 830-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0183 | B1, DMA-SPE-0183 OTE EXH.FAN EAST 831-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0184 | B1, DMA-SPE-0184 OTE EXH.FAN EAST 831-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0185 | B1, DMA-SPE-0185 ECS PLANTROOM 3 801-4 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0542 | B1, DMA-SPE-0542 ECS PLANTROOM 801-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0543 | B1, DMA-SPE-0543 ECS PLANTROOM 801-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0544 | B1, DMA-SPE-0544 FIRE LOBBY 406-5 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0575 | B1, DMA-SPE-0575 HVAC PLANT ROOM 811-5 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0590 | B1, DMA-SPE-0590 ECS PLANTROOM 801-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0011 | B1, DMA-SPE-0011 ECS PLANTROOM 801-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0012 | B1, DMA-SPE-0012 ECS PLANTROOM 801-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.107 | DMA-SPE-0013 | B1, DMA-SPE-0013 SPF ROOM 802-6 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:11.064 | DMA-IVM-0029 | B2, DMA-IVM-0029 Stair 5 ST-05 Hyd.M/V | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:08.281 | DMA-FLS-0005 | B1, DMA-FLS-0005 BOH ST-05 Spr.F/S | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:08.281 | DMA-FLS-0010 | B2, DMA-FLS-0010 BOH Platform Spr.F/S | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:08.281 | DMA-FLS-0011 | B2, DMA-FLS-0011 FOH Platform Spr.F/S | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.10 08:53:08.281 | DMA-IVM-0039 | B1, DMA-IVM-0039 BOH ST-05 Spr.MV | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 22:14:12.074 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 18:00:45.323 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 16:45:17.041 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 14:22:33.381 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 14:22:33.381 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 12:15:07.457 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 12:14:59.367 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.09 08:34:36.127 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 08:24:54.132 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.067 | PKV_HWH_1901 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.09 06:32:46.067 | PKV_ACH_1903 | Air Cooled Chillers | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 19:36:31.674 | AEN_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 15:46:29.702 | AEN_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft Smoke Detection Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 13:43:02.160 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.160 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.101 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:43:02.101 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:42:52.238 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 13:42:52.238 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.693 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.692 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:41:31.691 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.08 12:24:21.432 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.421 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.421 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.411 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.411 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.409 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.398 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:24:21.398 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.08 12:14:35.212 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 10:34:16.263 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:05:19.568 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:05:19.046 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.08 08:03:55.959 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:55.382 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:54.658 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:03:36.183 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:27.826 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:22.855 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.977 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:21.100 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:03:20.211 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.08 08:02:53.033 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.08 08:02:52.879 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.28 09:48:10.765 | SKP-PSU-1027 | PLC 24V Power supply 2 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.28 09:33:48.768 | SKP-PSU-1026 | PLC 24V Power supply 1 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1001 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 11:24:40.762 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 10:25:38.768 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 08:48:56.770 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.27 08:40:02.769 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 12:41:38.250 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.26 10:50:59.369 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 10:37:49.767 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.764 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.25 10:37:49.756 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.754 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.25 10:36:43.488 | SYP-LS-1019 | Junction Box JB1003 Tamper Input | Tamper detected |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.25 10:36:43.488 | SYP-LS-1020 | Junction Box JB1004 Tamper Input | Tamper detected |  |  |  | 0 | SDU
WENT UNACK High | 2024.04.11 07:59:17.998 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.04.11 08:03:07.998 | 0 | ARN
WENT UNACK High | 2024.04.11 07:17:34.325 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.04.11 07:17:40.325 | 0 | PKV
WENT UNACK High | 2024.04.11 06:58:50.356 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.04.11 06:59:18.355 | 0 | AZC
WENT UNACK High | 2024.04.11 06:58:01.994 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.04.11 06:58:14.000 | 0 | ARN
WENT UNACK High | 2024.04.11 06:57:12.007 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.04.11 06:57:16.002 | 0 | ARN
WENT UNACK High | 2024.04.11 00:01:04.213 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.11 02:54:51.092 | 0 | PKV
WENT UNACK High | 2024.04.11 00:01:03.490 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.11 01:35:57.704 | 0 | AZC
WENT UNACK High | 2024.04.10 21:41:06.320 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.04.10 21:41:16.321 | 0 | PKV
WENT UNACK High | 2024.04.10 21:27:35.999 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.04.10 21:27:44.003 | 0 | ARN
WENT UNACK High | 2024.04.10 17:57:01.019 | DMA_FIO_0148_RE0103 | Tunnel Vent. Zone S10 - Fire Confirmed at Retail Room 901-03 | Smoke detected in shaft! |  |  | 2024.04.10 17:57:40.017 | 0 | AZC
WENT UNACK High | 2024.04.10 17:56:18.031 | DMA_FIO_0148_RE0102 | Tunnel Vent. Zone S10 - Fire Confirmed at Retail Room 901-02 | Smoke detected in shaft! |  |  | 2024.04.10 17:56:32.013 | 0 | AZC
WENT UNACK High | 2024.04.10 17:55:20.017 | DMA_FIO_0148_RE0101 | Tunnel Vent. Zone S10 - Fire Confirmed at Retail Room 901-01 | Smoke detected in shaft! |  |  | 2024.04.10 17:55:47.013 | 0 | AZC
WENT UNACK High | 2024.04.10 16:57:20.014 | DMA_FIO_0148_PLAT | Tunnel Vent. Zone S10 - Fire Confirmed at Platform | Smoke detected in shaft! |  |  | 2024.04.10 16:59:28.009 | 0 | AZC
WENT UNACK High | 2024.04.10 16:25:07.024 | DMA_FIO_0148_CONC | Tunnel Vent. Zone S10 - Fire Confirmed at Concourse | Smoke detected in shaft! |  |  | 2024.04.10 16:27:31.023 | 0 | AZC
WENT UNACK High | 2024.04.10 16:21:37.019 | DMA_StationFunc | Operator Fire Emergency Mode Selection - Domain Station | Operator initiated emergency ventilation mode Is active In the station! |  |  | 2024.04.10 16:23:10.025 | 0 | SDU
WENT UNACK Med | 2024.04.11 09:16:58.318 | PKV-W-PLT | Parkville Platform 1 | PSDs in local control mode on specified platform |  |  | 2024.04.11 09:17:54.319 | 0 | PKV
WENT UNACK Med | 2024.04.11 09:15:57.506 | _Mod_Plc_3_2 | MTPKV:_Mod_Plc_3_2. | Communications Fault - Parkville Server 2 to Parkville EWIS |  |  | 2024.04.11 09:16:02.584 | 0 | STL
WENT UNACK Med | 2024.04.11 08:48:20.360 | TSC-W-PLT | Town Hall Platform 1 | PSDs in local control mode on specified platform |  |  | 2024.04.11 08:50:10.358 | 0 | THL
WENT UNACK Med | 2024.04.11 08:31:04.355 | DMA-W-PLT | Anzac Platform 1 | PSDs in local control mode on specified platform |  |  | 2024.04.11 08:32:12.352 | 0 | AZC
WENT UNACK Med | 2024.04.11 08:24:28.968 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  | 2024.04.11 08:25:50.985 | 0 | STL
WENT UNACK Med | 2024.04.11 07:59:15.997 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.11 08:03:09.999 | 0 | ARN
WENT UNACK Med | 2024.04.11 06:58:34.353 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.11 06:59:20.352 | 0 | AZC
WENT UNACK Med | 2024.04.11 06:56:58.006 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.11 06:57:04.002 | 0 | ARN
WENT UNACK Med | 2024.04.11 02:36:08.357 | TSC-E-PSD-012 | Town Hall Platform 2 Zone 2 PSD 12 | Door control unit communication lost |  |  | 2024.04.11 02:37:06.355 | 0 | THL
WENT UNACK Med | 2024.04.11 00:00:16.223 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.04.11 00:00:20.310 | 0 | AZC
WENT UNACK Med | 2024.04.11 00:00:16.223 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.04.11 00:00:20.297 | 0 | AZC
WENT UNACK Med | 2024.04.11 00:00:16.223 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.04.11 00:00:20.310 | 0 | AZC
WENT UNACK Med | 2024.04.10 21:17:23.996 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.04.10 21:27:45.999 | 0 | ARN
WENT UNACK Med | 2024.04.10 17:42:32.894 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | Degraded fans |  |  | 2024.04.10 17:42:36.878 | 0 | PKV
WENT UNACK Med | 2024.04.10 17:37:12.878 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | Degraded fans |  |  | 2024.04.10 17:37:13.879 | 0 | PKV
WENT UNACK Med | 2024.04.10 16:02:48.351 | DMA-E-PSD-029 | Anzac Platform 2 Zone 3 PSD 29 | Door control unit communication lost |  |  | 2024.04.10 16:03:46.350 | 0 | AZC
WENT UNACK Med | 2024.04.10 15:28:22.003 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.04.10 15:29:10.000 | 0 | ARN
WENT UNACK Med | 2024.04.10 15:08:46.325 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  | 2024.04.10 15:08:52.382 | 0 | AZC
WENT UNACK Med | 2024.04.10 15:08:30.998 | _PDM-BMS-PLC_2 | MTAZC:_PDM-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Eastern Portal BMS PLC |  |  | 2024.04.10 15:08:48.325 | 0 | ARN
WENT UNACK Med | 2024.04.10 14:47:24.360 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door control unit communication lost |  |  | 2024.04.10 14:48:34.360 | 0 | STL
WENT UNACK Med | 2024.04.10 11:44:45.136 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Emergency Intercom Activated Level 4 |  |  | 2024.04.10 11:46:22.135 | 0 | SDU
WENT UNACK Med | 2024.04.10 10:29:26.309 | PKV_TEP_0303_04_FG | Tunnel Drainage Pump - Function Group | Tunnel drainage pit level not dropping! |  |  | 2024.04.10 10:29:30.301 | 0 | PKV
WENT UNACK Med | 2024.04.10 10:02:51.115 | PKV_TEP_0301_02_FG | Tunnel Drainage Pump - Function Group | Tunnel drainage pit level not dropping! |  |  | 2024.04.10 10:04:05.112 | 0 | PKV
WENT UNACK Low | 2024.04.11 09:30:12.273 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.04.11 09:30:13.330 | 0 | THL
WENT UNACK Low | 2024.04.11 09:30:00.194 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  | 2024.04.11 09:30:51.345 | 0 | AZC
WENT UNACK Low | 2024.04.11 09:23:21.398 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Unauthorised access |  |  | 2024.04.11 09:23:26.581 | 0 | ARN
WENT UNACK Low | 2024.04.11 09:21:19.158 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.04.11 09:21:50.160 | 0 | PKV
WENT UNACK Low | 2024.04.11 09:16:59.877 | PKV_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.04.11 09:17:04.872 | 0 | PKV
WENT UNACK Low | 2024.04.11 09:12:19.307 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Water in lift well pit |  |  | 2024.04.11 09:12:40.170 | 0 | AZC
WENT UNACK Low | 2024.04.11 09:07:37.524 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.04.11 09:25:01.332 | 0 | AZC
WENT UNACK Low | 2024.04.11 09:03:38.751 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.04.11 09:03:44.945 | 0 | PKV
WENT UNACK Low | 2024.04.11 09:03:29.279 | PKV_ACH_1901_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  | 2024.04.11 09:04:01.293 | 0 | PKV
WENT UNACK Low | 2024.04.11 09:03:28.475 | PKV_HWH_1901_ENG_01 | Hot Water - Thermal Energy Meter | Communications lost alarm |  |  | 2024.04.11 09:04:03.099 | 0 | PKV
WENT UNACK Low | 2024.04.11 08:57:43.711 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.04.11 08:57:48.501 | 0 | ARN
WENT UNACK Low | 2024.04.11 08:56:35.696 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.04.11 09:17:32.743 | 0 | ARN
WENT UNACK Low | 2024.04.11 08:56:23.645 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.04.11 09:17:19.652 | 0 | SDU
WENT UNACK Low | 2024.04.11 08:56:09.462 | DMA_SDP_0109_10_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.04.11 08:57:21.504 | 0 | AZC
WENT UNACK Low | 2024.04.11 08:51:28.498 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.11 08:51:36.891 | 0 | PKV
WENT UNACK Low | 2024.04.11 08:48:28.730 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  | 2024.04.11 08:49:25.702 | 0 | SDU
WENT UNACK Low | 2024.04.11 08:44:11.491 | AEN_DOR_L1_ESC_STAIRS_5_1 | Security Door (L1 EAST) | Unauthorised access |  |  | 2024.04.11 08:45:29.368 | 0 | ARN
WENT UNACK Low | 2024.04.11 08:42:47.105 | PKV_ACH_1903_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  | 2024.04.11 09:02:03.270 | 0 | PKV
WENT UNACK Low | 2024.04.11 08:42:21.141 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.11 08:42:29.099 | 0 | PKV
WENT UNACK Low | 2024.04.11 08:28:07.011 | DMA_TEXB | Tunnel Ambient Temperature Control | Temperature Sensors B - Discrepancy |  |  | 2024.04.11 08:44:53.010 | 0 | AZC
WENT UNACK Low | 2024.04.11 08:27:10.370 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.11 08:27:18.058 | 0 | ARN
WENT UNACK Low | 2024.04.11 08:24:34.174 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  | 2024.04.11 08:55:50.168 | 0 | PKV
WENT UNACK Low | 2024.04.11 08:17:38.271 | AEN_DOR_GF_405-2_2 | East Emergency Stairs - Ground Floor | Unauthorised access |  |  | 2024.04.11 08:17:41.846 | 0 | ARN
WENT UNACK Low | 2024.04.11 06:18:37.851 | AEN_DOR_GF_401-1_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.04.11 06:18:47.704 | 0 | ARN
WENT UNACK Low | 2024.04.11 05:28:27.717 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.04.11 05:30:16.679 | 0 | SDU
WENT UNACK Low | 2024.04.11 00:10:50.929 | AEN_AHU_1103_MVD_03 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.11 00:10:54.019 | 0 | ARN
WENT UNACK Low | 2024.04.11 00:00:19.313 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped(foreign object trapped in handrail entry - top left) |  |  | 2024.04.11 00:00:20.310 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:19.313 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped.(combplate bottom left) |  |  | 2024.04.11 00:00:20.310 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:19.301 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(foreign object trapped in handrail entry - top left) |  |  | 2024.04.11 00:00:20.310 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:19.301 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped.(combplate bottom left) |  |  | 2024.04.11 00:00:20.310 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:19.301 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(foreign object trapped in handrail entry - top left) |  |  | 2024.04.11 00:00:20.297 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:19.301 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped.(combplate bottom left) |  |  | 2024.04.11 00:00:20.297 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:18.314 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped(tension fault - right) |  |  | 2024.04.11 00:00:20.310 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:18.302 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(tension fault - right) |  |  | 2024.04.11 00:00:20.310 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:18.302 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(tension fault - right) |  |  | 2024.04.11 00:00:20.308 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:17.478 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped. (combplate top left) |  |  | 2024.04.11 00:00:19.313 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:17.477 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped. (combplate top left) |  |  | 2024.04.11 00:00:19.301 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:17.466 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped. (combplate top left) |  |  | 2024.04.11 00:00:19.301 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:16.223 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(skirt contact top left/ right alarm) |  |  | 2024.04.11 00:00:18.302 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:16.223 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(foreign object trapped in handrail entry - bottom left) |  |  | 2024.04.11 00:00:18.302 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:16.223 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(skirt contact top left/ right alarm) |  |  | 2024.04.11 00:00:18.302 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:16.223 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(foreign object trapped in handrail entry - bottom left) |  |  | 2024.04.11 00:00:18.302 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:16.223 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped(skirt contact top left/ right alarm) |  |  | 2024.04.11 00:00:18.302 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:16.223 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped(foreign object trapped in handrail entry - bottom left) |  |  | 2024.04.11 00:00:18.302 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:12.309 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped (main drive chain top right) |  |  | 2024.04.11 00:00:18.302 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:12.297 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped (main drive chain top right) |  |  | 2024.04.11 00:00:18.302 | 0 | AZC
WENT UNACK Low | 2024.04.11 00:00:12.297 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped (main drive chain top right) |  |  | 2024.04.11 00:00:18.302 | 0 | AZC
WENT UNACK Low | 2024.04.10 23:55:54.135 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  | 2024.04.11 08:20:51.173 | 0 | PKV
WENT UNACK Low | 2024.04.10 22:35:46.168 | PKV_FCU_0403_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 22:37:24.155 | 0 | PKV
WENT UNACK Low | 2024.04.10 22:35:46.168 | PKV_FCU_0211_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 22:37:15.036 | 0 | PKV
WENT UNACK Low | 2024.04.10 22:35:46.168 | PKV_FCU_0211_MVD_01 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 22:37:16.150 | 0 | PKV
WENT UNACK Low | 2024.04.10 22:35:46.168 | PKV_FCU_0403_MVD_03 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 22:37:24.155 | 0 | PKV
WENT UNACK Low | 2024.04.10 22:35:46.168 | PKV_FCU_0207_SMD_05 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 22:37:16.150 | 0 | PKV
WENT UNACK Low | 2024.04.10 22:35:45.041 | PKV_FCU_0207_SMD_04 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 22:38:28.321 | 0 | PKV
WENT UNACK Low | 2024.04.10 22:33:27.494 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopeed.(brake mechanism fault) |  |  | 2024.04.11 00:00:02.307 | 0 | AZC
WENT UNACK Low | 2024.04.10 22:33:27.494 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopeed.(brake mechanism fault) |  |  | 2024.04.11 00:00:02.307 | 0 | AZC
WENT UNACK Low | 2024.04.10 22:33:27.482 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopeed.(brake mechanism fault) |  |  | 2024.04.11 00:00:02.295 | 0 | AZC
WENT UNACK Low | 2024.04.10 22:27:28.213 | PKV-SPE-0510 | B2, PKV-SPE-0510 RETAIL UNIT 901-9 | Heat or smoke detector fault |  |  | 2024.04.10 22:28:20.265 | 0 | PKV
WENT UNACK Low | 2024.04.10 22:19:19.155 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift monitoring lost |  |  | 2024.04.10 22:19:47.090 | 0 | PKV
WENT UNACK Low | 2024.04.10 21:52:02.763 | AEN_DOR_GF_405-2_1 | Security Door (GF EAST) | Door open too long |  |  | 2024.04.11 09:10:27.709 | 0 | ARN
WENT UNACK Low | 2024.04.10 21:51:31.414 | DMA_FCU_0127_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 21:56:56.282 | 0 | AZC
WENT UNACK Low | 2024.04.10 21:51:31.414 | DMA_FCU_0121_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 21:56:56.282 | 0 | AZC
WENT UNACK Low | 2024.04.10 21:49:36.257 | DMA_FCU_1001_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 21:56:57.590 | 0 | AZC
WENT UNACK Low | 2024.04.10 21:40:45.879 | PKV_StationFunc | TVCS Operator Fire Emergency Section 04 - Parkville Station | Station Fire Ventilation Mode still active |  |  | 2024.04.10 21:41:13.871 | 0 | SDU
WENT UNACK Low | 2024.04.10 17:57:41.006 | DMA_StationFunc | Operator Fire Emergency Mode Selection - Domain Station | Station Fire Ventilation Mode still active |  |  | 2024.04.10 17:57:50.022 | 0 | SDU
WENT UNACK Low | 2024.04.10 17:42:29.870 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | Loss of redundancy (fans) |  |  | 2024.04.10 17:42:33.873 | 0 | PKV
WENT UNACK Low | 2024.04.10 17:36:45.881 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Degraded |  |  | 2024.04.10 17:42:36.878 | 0 | SDU
WENT UNACK Low | 2024.04.10 17:02:36.020 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Degraded |  |  | 2024.04.10 17:06:56.016 | 0 | SDU
WENT UNACK Low | 2024.04.10 17:02:33.012 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | Loss of redundancy (fans) |  |  | 2024.04.10 17:02:36.020 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.225 | DMA_FCU_1202_MVD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:07.382 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.225 | DMA_FCU_1201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:07.382 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.225 | DMA_FCU_1201_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:07.382 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.225 | DMA_FCU_1201_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:07.382 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.225 | DMA_FCU_1201_MVD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:07.382 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.225 | DMA_FCU_1141_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.833 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.225 | DMA_FCU_1141_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.833 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.225 | DMA_FCU_1141_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.833 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.225 | DMA_FCU_1141_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.833 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.204 | DMA_FCU_0201_MVD_08 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:29:39.484 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.204 | DMA_FCU_0201_MVD_07 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:29:39.484 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.204 | DMA_FCU_0201_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:29:40.526 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.204 | DMA_FCU_0201_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:29:40.515 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.204 | DMA_FCU_0119_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.802 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.192 | DMA_FCU_0117_MVD_08 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.791 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.192 | DMA_FCU_0117_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.791 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.192 | DMA_AHU_1103_MVD_04 | Air Handling Unit - CO2 Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.780 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.192 | DMA_AHU_1103_MVD_03 | Air Handling Unit - Outside Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.780 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.192 | DMA_AHU_1103_MVD_02 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.780 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.192 | DMA_AHU_1101_MVD_04 | Air Handling Unit - CO2 Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.780 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.192 | DMA_AHU_1101_MVD_03 | Air Handling Unit - Outside Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.780 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:50.192 | DMA_AHU_1101_MVD_02 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.780 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1202_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:58.504 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1201_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:58.504 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1145_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:51.479 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1144_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:59.546 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1143_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:59.546 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1142_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:59.546 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1141_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:59.546 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1140_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:51.479 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1139_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:51.479 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1138_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:58.504 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1137_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:57.570 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1136_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:36.615 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1135_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:36.615 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1133_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:38.489 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1132_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:37.562 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.206 | DMA_FCU_1131_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:36.615 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1130_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:59.535 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1129_SMD_02 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.822 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1129_SMD_01 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:08.822 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1129_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:37.562 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1127_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:28.493 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1127_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:27.566 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1125_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:52.489 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1121_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:27.566 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1121_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:52.489 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1119_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:25.461 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1119_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:27.566 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1117_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:28.493 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1117_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:28.493 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1115_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:28.493 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.196 | DMA_FCU_1115_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:27.566 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.185 | DMA_FCU_0202_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:59.524 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.185 | DMA_FCU_0201_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:30:16.592 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.172 | DMA_AHU_1103_MCV_01 | Air Handling Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:37.540 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:24:10.172 | DMA_AHU_1101_MCV_01 | Air Handling Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 16:28:36.583 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:22:18.158 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.04.10 16:28:43.433 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:22:17.142 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.04.10 16:28:47.508 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:22:16.287 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.04.10 16:28:46.569 | 0 | AZC
WENT UNACK Low | 2024.04.10 16:22:10.744 | DMA_MCC_0402_ATS_01 | DMA-MCC-0402-ESB-03 ATS | Automatic transfer switch unhealthy |  |  | 2024.04.10 16:28:08.681 | 0 | AZC
WENT UNACK Low | 2024.04.10 15:58:07.014 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Loss of redundancy (fans) |  |  | 2024.04.10 17:06:55.019 | 0 | AZC
WENT UNACK Low | 2024.04.10 15:32:26.715 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Lift General Fault |  |  | 2024.04.10 16:07:04.797 | 0 | SDU
WENT UNACK Low | 2024.04.10 15:20:12.969 | PKV_DOR_B4_PKV-S-01_1 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.10 15:20:32.424 | 0 | PKV
WENT UNACK Low | 2024.04.10 15:08:52.413 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift monitoring lost |  |  | 2024.04.10 15:08:58.096 | 0 | SDU
WENT UNACK Low | 2024.04.10 13:59:55.775 | PAE_LFT_0002 | Lift 2 BOH (Ground Floor to Level 1) | Lift monitoring lost |  |  | 2024.04.10 14:00:45.775 | 0 | SDU
WENT UNACK Low | 2024.04.10 13:25:31.168 | DMA-FLS-0004 | GF, DMA-FLS-0004 Tram Stop Spr.F/S | Heat or smoke detector fault |  |  | 2024.04.10 13:26:03.094 | 0 | AZC
WENT UNACK Low | 2024.04.10 12:45:31.025 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  | 2024.04.10 12:45:54.018 | 0 | AZC
WENT UNACK Low | 2024.04.10 12:15:41.757 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.04.10 12:15:47.693 | 0 | PKV
WENT UNACK Low | 2024.04.10 11:46:12.200 | PKV_FCU_0403_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 11:47:04.221 | 0 | PKV
WENT UNACK Low | 2024.04.10 11:46:03.384 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  | 2024.04.10 14:15:37.566 | 0 | AZC
WENT UNACK Low | 2024.04.10 11:32:27.054 | PKV_FCU_0404_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 11:37:18.401 | 0 | PKV
WENT UNACK Low | 2024.04.10 11:02:28.374 | PKV_FCU_1402_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 11:09:09.245 | 0 | PKV
WENT UNACK Low | 2024.04.10 11:02:28.353 | PKV_FCU_1401_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.10 11:09:09.225 | 0 | PKV
WENT UNACK Low | 2024.04.10 09:03:04.146 | PKV_FCU_0207_SMD_04 | Fan Coil Unit - Field Modulated SA Damper | Analogue bad quality alarm |  |  | 2024.04.10 09:03:15.042 | 0 | PKV
WENT UNACK Low | 2024.04.10 08:42:42.706 | PAE_LFT_0002 | Lift 2 BOH (Ground Floor to Level 1) | Lift safety feature fault |  |  | 2024.04.10 08:42:43.781 | 0 | SDU
WENT UNACK Low | 2024.04.10 08:42:42.706 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Lift safety feature fault |  |  | 2024.04.10 08:42:43.781 | 0 | SDU
WENT UNACK Low | 2024.04.09 14:13:12.418 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.04.11 08:32:22.211 | 0 | AZC
WENT UNACK Low | 2024.04.09 14:12:59.373 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  | 2024.04.11 08:32:37.497 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:49:55.136 | DMA-SPE-0928 | B1, DMA-SPE-0928 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  | 2024.04.11 09:18:31.339 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:49:55.099 | DMA-SPE-0826 | B1, DMA-SPE-0826 Escalator 6 (B1 Pit) | Heat or smoke detector fault |  |  | 2024.04.11 09:18:31.339 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:49:53.098 | DMA-SPE-0806 | GF, DMA-SPE-0806 Escalator 6 (GF Pit) | Heat or smoke detector fault |  |  | 2024.04.11 09:18:31.146 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:49:50.209 | DMA-FPD-0008 | B1, DMA-FPD-0008 BOH CORRIDOR 151-12 | Heat or smoke detector fault |  |  | 2024.04.11 09:18:31.146 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:49:50.209 | DMA-FPD-0009 | B1, DMA-FPD-0009 BOH CORRIDOR 151-12 | Heat or smoke detector fault |  |  | 2024.04.11 09:18:31.146 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:49:50.209 | DMA-FPD-0010 | B1, DMA-FPD-0010 MEETING ROOM 205-1 | Heat or smoke detector fault |  |  | 2024.04.11 09:18:31.146 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:49:50.209 | DMA-FPD-0011 | B1, DMA-FPD-0011 MEETING ROOM 205-1 | Heat or smoke detector fault |  |  | 2024.04.11 09:18:31.146 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:49:46.136 | DMA-SPE-0632 | B1, DMA-SPE-0632 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  | 2024.04.11 09:18:29.058 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:49:46.136 | DMA-SPE-0636 | B1, DMA-SPE-0636 OP MALE STAFF WC 223-1 | Heat or smoke detector fault |  |  | 2024.04.11 09:18:29.058 | 0 | AZC
WENT UNACK Low | 2024.04.09 11:49:46.095 | DMA-FLS-0006 | B1, DMA-FLS-0006 Sprinkler F/S | Heat or smoke detector fault |  |  | 2024.04.11 09:18:26.177 | 0 | AZC
ACK High | 2024.04.09 13:38:54.000 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.04.09 13:49:05.926 | leanne_schwabe |  | 3 | ARN
ACK High | 2024.04.09 13:37:27.999 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.04.09 13:48:42.136 | leanne_schwabe |  | 0 | ARN
ACK High | 2024.04.09 12:38:19.996 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.04.09 12:38:27.665 | leanne_schwabe |  | 0 | ARN
ACK High | 2024.04.09 12:12:43.998 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.04.09 13:49:11.280 | leanne_schwabe |  | 0 | ARN
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.805 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.803 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.802 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.799 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.798 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.796 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.795 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.793 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.04.10 10:25:26.811 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access | 2024.04.10 10:26:10.664 | operator |  | 0 | ARN
ACK Low | 2024.04.09 22:12:50.074 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.04.09 22:25:31.585 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.09 10:46:45.969 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long | 2024.04.09 13:39:30.196 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.09 06:52:15.039 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.09 21:45:38.884 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.08 14:11:57.042 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.08 14:46:47.398 | josh_estrada |  | 0 | PKV
ACK Low | 2024.04.08 08:05:20.566 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.09 13:39:09.381 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.08 08:05:20.072 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.09 13:51:54.167 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.04.08 08:05:19.077 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational | 2024.04.09 13:51:54.167 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.03.26 16:20:31.006 | AEN_DOR_B1_ESC_STAIRS_03_1 | West Emergency Stairs - Concourse | Door open too long | 2024.04.02 10:14:37.841 | richard_fry |  | 0 | ARN
ACK Low | 2024.03.26 11:05:59.648 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown | 2024.03.26 11:06:08.800 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:59:37.774 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown | 2024.03.26 10:59:44.951 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:58:20.171 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown | 2024.03.26 10:58:24.277 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.26 10:52:37.824 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown | 2024.03.26 10:52:51.956 | sergio_paniagua |  | 0 | SDU