## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.05.13 02:26:41.204 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.12 21:24:20.318 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.12 21:13:44.329 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.12 19:58:24.614 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.12 19:50:16.330 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.11 19:15:22.819 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.09 08:52:02.821 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.09 04:27:28.821 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.09 00:18:57.827 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.08 09:24:26.938 | _Driver1_2 | MTARD:_Driver1_2. | Driver overloaded |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.07 20:55:46.316 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.07 20:55:32.309 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.07 19:19:16.312 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.07 19:13:18.333 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.07 19:01:04.576 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.07 14:15:35.973 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.07 14:13:49.974 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.06 13:49:44.822 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 13:21:29.819 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:24:49.474 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.06 09:24:37.553 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.06 09:12:45.472 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:09:04.993 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:09:04.983 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:07:20.816 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.06 09:07:17.901 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:07:17.893 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:07:17.885 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:07:17.877 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.06 09:07:17.740 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.06 09:07:17.148 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.06 09:07:16.563 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.06 09:07:15.973 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.13 07:28:17.143 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift locked out due to high temperature! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.11 17:49:31.321 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.05.11 15:46:26.790 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD |  |  |  | 0 | ARN
CAME UNACK Med | 2024.05.10 09:02:15.294 | _Conn_dist_1_2_to_dist_6_1 | Distributed Server 2 | Connection lost to Town Hall Server 1 - Link 1 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.05.10 09:02:15.294 | _Conn_dist_1_2_to_dist_6_1 | Distributed Server 2 | Connection lost to Town Hall Server 1 - Link 0 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.05.10 09:02:15.294 | _Conn_dist_1_2_to_dist_5_2 | Distributed Server 2 | Connection lost to State Library Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.05.10 09:02:15.294 | _Conn_dist_1_2_to_dist_5_2 | Distributed Server 2 | Connection lost to State Library Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.05.10 08:49:20.226 | _Conn_dist_1_1_to_dist_6_1 | Distributed Server 1 | Connection lost to Town Hall Server 1 - Link 1 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.05.10 08:49:20.022 | _Conn_event_0_1_to_event_0_2 | State Library Server 1 | Connection Connection lost to Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.05.10 08:49:20.022 | _Conn_event_0_1_to_event_0_2 | State Library Server 1 | Connection lost to Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.05.10 08:49:19.891 | _Conn_dist_1_1_to_dist_6_1 | Distributed Server 1 | Connection lost to Town Hall Server 1 - Link 0 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.05.10 08:49:19.891 | _Conn_dist_1_1_to_dist_5_2 | Distributed Server 1 | Connection lost to State Library Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.05.10 08:49:19.891 | _Conn_dist_1_1_to_dist_5_2 | Distributed Server 1 | Connection lost to State Library Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.05.07 14:15:35.973 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.06 09:08:30.972 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.06 09:08:30.969 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.06 09:08:20.849 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.06 09:08:17.878 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.06 09:08:17.874 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.13 07:29:53.142 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | High Temperature Near Lift Drive Motor |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.13 07:20:57.507 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.12 09:04:43.841 | AEN_FCU_0007_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.11 17:44:44.220 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 17:44:44.220 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 17:44:44.220 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 17:44:44.220 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 17:44:44.220 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 17:44:44.220 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 17:32:30.803 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.11 17:31:51.797 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.11 16:58:05.378 | PKV_AHU_1301_MVD_03 | Air Handling Unit - Return Air Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 16:55:39.400 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 16:55:39.389 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 16:55:37.359 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 16:55:37.359 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 16:37:25.153 | _ReduManager_2 | Parkville Server 2 | Server 2 - Set active automatically |  |  |  | 0 | STL
CAME UNACK Low | 2024.05.11 16:31:46.182 | PKV_StationFunc | TVCS Operator Fire Emergency Section 04 - Parkville Station | Station Fire Ventilation Mode still active |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.11 15:54:09.359 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 15:54:09.359 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 13:34:15.250 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.11 13:01:18.109 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.11 13:01:18.109 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.10 14:23:57.298 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.10 13:55:36.006 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.10 13:55:01.004 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.10 13:51:18.013 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator stopped(tension fault - right) |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.10 12:19:25.412 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.10 12:09:52.390 | PKV-SPE-0018 | B1, PKV-SPE-0018 Gas Meter Room 944-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.10 11:10:51.389 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.10 10:34:58.577 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.10 09:36:36.079 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.10 09:36:36.079 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.10 09:35:22.263 | DMA_SDP_0109_10_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.10 08:49:20.799 | _ReduManager_2 | Town Hall Server 2 | Server 2 - Active - No connection to redundant peer |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.10 08:21:52.383 | PKV-SPE-0008 | GF, PKV-SPE-0008 LIFT 3 PKV-LFT-0003 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.10 07:37:25.391 | PKV-SPE-0007 | GF, PKV-SPE-0007 LIFT 4 PKV-LFT-0004 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 18:07:40.088 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.09 13:54:52.273 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:52.273 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:52.273 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:52.273 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:52.273 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:52.273 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:52.273 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:52.254 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:50.256 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:50.256 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:50.256 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:50.256 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:50.255 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:50.255 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:50.255 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 13:54:50.255 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.09 09:34:52.371 | PKV_FCU_1208_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.08 19:18:06.264 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.08 19:18:06.252 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.08 14:11:37.281 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.08 14:11:34.169 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.08 13:06:35.362 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.08 11:58:19.016 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.08 05:20:09.728 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.727 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.726 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.726 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.726 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.08 05:20:09.724 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.07 12:45:46.279 | PKV_FCU_1207_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.07 10:37:18.224 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.07 10:37:18.224 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.07 10:37:18.214 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.07 10:37:18.214 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.07 10:37:18.214 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.07 09:16:13.328 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 10:38:29.085 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.05.06 10:38:29.076 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.05.06 10:38:23.547 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  |  | 0 | THL
CAME UNACK Low | 2024.05.06 09:24:19.432 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.05.06 09:24:18.770 | TSC-E-PSD-009 | Town Hall Platform 2 Zone 1 PSD 09 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.05.06 09:13:17.271 | DMA-SPE-0928 | B1, DMA-SPE-0928 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.06 09:12:44.076 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.06 09:12:44.048 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.06 09:12:44.004 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.06 09:12:43.963 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.06 09:12:43.937 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.06 09:12:43.908 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.06 09:12:37.783 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:12:37.638 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:12:37.580 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:10:37.862 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:10:37.753 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:10:35.679 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.06 09:10:35.561 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.06 09:10:34.706 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.06 09:10:34.588 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.06 09:08:58.871 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.06 09:08:58.066 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.06 09:08:50.121 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:49.343 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:48.560 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:46.196 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:42.286 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:41.504 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:39.183 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:38.414 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:08:16.052 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.06 09:07:56.289 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.06 09:07:34.198 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.05.06 09:07:33.965 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
WENT UNACK Med | 2024.05.13 07:29:35.300 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.13 07:29:45.298 | 0 | PKV
WENT UNACK Med | 2024.05.12 03:33:46.157 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Communications Fault - Parkville Server 2 to Parkville TVCS PLC |  |  | 2024.05.12 03:34:16.189 | 0 | STL
WENT UNACK Med | 2024.05.12 03:33:39.472 | _PAE-BMS-PLC_2 | MTARD:_PAE-BMS-PLC_2. | Communications Fault - Arden Server 2 to Western Portal BMS PLC |  |  | 2024.05.12 03:34:21.044 | 0 | PKV
WENT UNACK Med | 2024.05.12 03:33:39.050 | _PKV-BMS-PLC3 | MTPKV:_PKV-BMS-PLC3. | Communications Fault - Parkville Server 1 to Parkville BMS 3 PLC |  |  | 2024.05.12 03:34:21.051 | 0 | PKV
WENT UNACK Med | 2024.05.12 03:33:38.184 | _DMA-BMS-PLC3 | MTAZC:_DMA-BMS-PLC3. | Communications Fault - Anzac Server 1 to Anzac BMS 3 PLC |  |  | 2024.05.12 03:33:45.327 | 0 | AZC
WENT UNACK Med | 2024.05.12 03:33:38.159 | _PKV-BMS-PLC | MTPKV:_PKV-BMS-PLC. | Communications Fault - Parkville Server 1 to Parkville BMS PLC |  |  | 2024.05.12 03:34:20.204 | 0 | PKV
WENT UNACK Med | 2024.05.12 03:33:37.819 | _PDM-BMS-PLC_2 | MTAZC:_PDM-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Eastern Portal BMS PLC |  |  | 2024.05.12 03:33:40.926 | 0 | ARN
WENT UNACK Med | 2024.05.12 03:33:37.249 | _PKV-BMS-PLC_2 | MTPKV:_PKV-BMS-PLC_2. | Communications Fault - Parkville Server 2 to Parkville BMS PLC |  |  | 2024.05.12 03:33:41.486 | 0 | STL
WENT UNACK Med | 2024.05.12 03:33:37.165 | _PKV-BMS-PLC3_2 | MTPKV:_PKV-BMS-PLC3_2. | Communications Fault - Parkville Server 2 to Parkville BMS 3 PLC |  |  | 2024.05.12 03:33:41.147 | 0 | STL
WENT UNACK Med | 2024.05.12 03:33:35.665 | _DMA-BMS-PLC_2 | MTAZC:_DMA-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Anzac BMS PLC |  |  | 2024.05.12 03:34:17.169 | 0 | ARN
WENT UNACK Med | 2024.05.12 03:33:35.665 | _DMA-BMS-PLC3_2 | MTAZC:_DMA-BMS-PLC3_2. | Communications Fault - Anzac Server 2 to Anzac BMS 3 PLC |  |  | 2024.05.12 03:33:41.790 | 0 | ARN
WENT UNACK Med | 2024.05.12 03:33:35.133 | _PAE-BMS-PLC | MTARD:_PAE-BMS-PLC. | Communications Fault - Arden Server 1 to Western Portal BMS PLC |  |  | 2024.05.12 03:34:17.045 | 0 | ARN
WENT UNACK Med | 2024.05.12 03:33:28.224 | _DMA-BMS-PLC | MTAZC:_DMA-BMS-PLC. | Communications Fault - Anzac Server 1 to Anzac BMS PLC |  |  | 2024.05.12 03:34:10.150 | 0 | AZC
WENT UNACK Med | 2024.05.12 03:32:57.770 | _AEN-TVC-PLC | Arden Server 1 | Communications Fault - Arden Server 1 to Arden TVCS PLC |  |  | 2024.05.12 03:33:57.813 | 0 | ARN
WENT UNACK Med | 2024.05.12 03:32:47.658 | _AEN-TVC-PLC_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden TVCS PLC |  |  | 2024.05.12 03:33:47.691 | 0 | PKV
WENT UNACK Med | 2024.05.12 03:32:34.486 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Communications Fault - Parkville Server 1 to Parkville TVCS PLC |  |  | 2024.05.12 03:33:47.514 | 0 | PKV
WENT UNACK Med | 2024.05.12 03:32:28.061 | _AEN-BMS-PLC_2 | Arden BMS PLC | Communications Fault - Arden Server 2 to Arden BMS PLC |  |  | 2024.05.12 03:33:52.142 | 0 | PKV
WENT UNACK Med | 2024.05.12 03:32:25.867 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  | 2024.05.12 03:33:07.041 | 0 | AZC
WENT UNACK Med | 2024.05.12 03:32:23.717 | _AEN-BMS-PLC3_2 | MTARD:_AEN-BMS-PLC3_2. | Communications Fault - Arden Server 2 to Arden BMS 3 PLC |  |  | 2024.05.12 03:33:47.058 | 0 | PKV
WENT UNACK Med | 2024.05.12 03:32:16.162 | _AEN-BMS-PLC3 | MTARD:_AEN-BMS-PLC3. | Communications Fault - Arden Server 1 to Arden BMS 3 PLC |  |  | 2024.05.12 03:33:46.047 | 0 | ARN
WENT UNACK Med | 2024.05.12 03:32:15.289 | _AEN-BMS-PLC | Arden BMS PLC | Communications Fault - Arden Server 1 to Arden BMS PLC |  |  | 2024.05.12 03:33:46.287 | 0 | ARN
WENT UNACK Med | 2024.05.11 17:50:18.722 | _Mod_Plc_4_2 | MTARD:_Mod_Plc_4_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  | 2024.05.11 17:50:19.955 | 0 | PKV
WENT UNACK Med | 2024.05.11 17:50:18.722 | _Mod_Plc_3_2 | MTARD:_Mod_Plc_3_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  | 2024.05.11 17:50:19.790 | 0 | PKV
WENT UNACK Med | 2024.05.11 17:50:18.554 | _AEN-FDS-S7PLUS_2 | MTARD:_AEN-FDS-S7PLUS_2. | Communications Fault - Arden Server 2 to Arden FDS PLC |  |  | 2024.05.11 17:50:20.801 | 0 | PKV
WENT UNACK Med | 2024.05.11 17:50:18.347 | _Mod_Plc_2_2 | MTARD:_Mod_Plc_2_2. | Communications Fault - Arden Server 2 to Arden FDS Gateway |  |  | 2024.05.11 17:50:19.372 | 0 | PKV
WENT UNACK Med | 2024.05.11 17:50:18.201 | _Mod_Plc_1_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden PSD Servers |  |  | 2024.05.11 17:50:20.226 | 0 | PKV
WENT UNACK Med | 2024.05.11 17:18:35.610 | _Mod_Plc_3_2 | MTPKV:_Mod_Plc_3_2. | Communications Fault - Parkville Server 2 to Parkville EWIS |  |  | 2024.05.11 17:49:31.666 | 0 | STL
WENT UNACK Med | 2024.05.11 17:18:27.272 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  | 2024.05.11 17:49:31.284 | 0 | STL
WENT UNACK Med | 2024.05.11 17:18:26.926 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  | 2024.05.11 17:49:30.919 | 0 | STL
WENT UNACK Med | 2024.05.10 09:02:15.781 | _SYP-TIAS-PLC_2 | MTDIST:_SYP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SYP TIAS PLC |  |  | 2024.05.10 09:02:16.027 | 0 | THL
WENT UNACK Med | 2024.05.10 09:02:15.780 | _SKP-TIAS-PLC_2 | MTDIST:_SKP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SKP TIAS PLC |  |  | 2024.05.10 09:02:16.026 | 0 | THL
WENT UNACK Med | 2024.05.10 08:49:12.621 | _Mod_Plc_1_2 | MTTHL:_Mod_Plc_1_2. | Communications Fault - Town Hall Server 2 to Town Hall PSD Servers |  |  | 2024.05.10 08:57:08.617 | 0 | AZC
WENT UNACK Low | 2024.05.13 07:29:43.153 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  | 2024.05.13 07:29:44.075 | 0 | AZC
WENT UNACK Low | 2024.05.13 07:28:33.149 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Water in lift well pit |  |  | 2024.05.13 07:29:34.075 | 0 | AZC
WENT UNACK Low | 2024.05.12 03:33:46.157 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Link Failure - Parkville Server 2 to Parkville TVCS CPU 1 |  |  | 2024.05.12 03:34:16.189 | 0 | STL
WENT UNACK Low | 2024.05.12 03:32:57.766 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 1 |  |  | 2024.05.12 03:36:27.833 | 0 | ARN
WENT UNACK Low | 2024.05.12 03:32:47.653 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 1 |  |  | 2024.05.12 03:36:17.742 | 0 | PKV
WENT UNACK Low | 2024.05.12 03:32:34.585 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  | 2024.05.12 03:33:47.691 | 0 | PKV
WENT UNACK Low | 2024.05.12 03:32:34.486 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Link Failure - Parkville Server 1 to Parkville TVCS CPU 1 |  |  | 2024.05.12 03:33:47.514 | 0 | PKV
WENT UNACK Low | 2024.05.12 03:32:07.806 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 2 |  |  | 2024.05.12 03:33:57.813 | 0 | ARN
WENT UNACK Low | 2024.05.11 17:50:16.790 | _ReduManager_2 | Arden Server 2 | Server 2 - Passive |  |  | 2024.05.11 17:50:28.507 | 0 | PKV
WENT UNACK Low | 2024.05.11 15:46:23.428 | _ReduManager_2 | Anzac Server 2 | Server 2 - Passive |  |  | 2024.05.11 15:46:40.605 | 0 | ARN
WENT UNACK Low | 2024.05.10 09:02:14.874 | _ReduManager_2 | Distributed Server 2 | Server 2 - Passive |  |  | 2024.05.10 09:02:28.335 | 0 | THL
ACK High | 2024.05.06 09:09:56.866 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.05.07 11:11:31.394 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:08:17.159 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.05.07 11:11:28.284 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:53.952 | AEN-W-PSD-030 | Arden Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:25.224 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:50.397 | AEN-W-PSD-021 | Arden Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:21.622 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:46.057 | AEN-W-PSD-010 | Arden Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:19.282 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:42.500 | AEN-W-PSD-001 | Arden Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:16.395 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:42.056 | AEN-E-PSD-030 | Arden Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:13.880 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:41.617 | AEN-E-PSD-029 | Arden Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:11.622 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:41.176 | AEN-E-PSD-028 | Arden Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:08.959 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:40.736 | AEN-E-PSD-027 | Arden Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:05.281 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:40.288 | AEN-E-PSD-026 | Arden Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:02.688 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:39.848 | AEN-E-PSD-025 | Arden Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2024.05.07 11:11:00.161 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:39.406 | AEN-E-PSD-024 | Arden Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:56.360 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:38.966 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:53.690 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:38.524 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:50.622 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:38.081 | AEN-E-PSD-021 | Arden Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:46.885 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:37.633 | AEN-E-PSD-020 | Arden Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:36.688 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:37.189 | AEN-E-PSD-019 | Arden Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:05.878 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:36.748 | AEN-E-PSD-018 | Arden Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:33.624 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:36.298 | AEN-E-PSD-017 | Arden Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:28.595 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:35.859 | AEN-E-PSD-016 | Arden Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:26.276 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:35.420 | AEN-E-PSD-015 | Arden Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:23.623 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:34.980 | AEN-E-PSD-014 | Arden Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:18.900 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:34.541 | AEN-E-PSD-013 | Arden Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:21.491 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:34.099 | AEN-E-PSD-012 | Arden Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:16.136 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:33.658 | AEN-E-PSD-011 | Arden Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:12.867 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.06 09:07:33.212 | AEN-E-PSD-010 | Arden Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2024.05.07 11:10:10.162 | dominic_dlasselle |  | 0 | ARN
ACK Med | 2024.05.06 11:54:12.166 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.05.06 12:03:26.229 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.06 11:54:12.159 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.05.07 11:17:43.625 | liam_walkerchan |  | 0 | ARN
ACK Med | 2024.05.06 10:38:29.113 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.06 10:38:29.110 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.06 10:38:29.108 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.06 10:38:29.106 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.06 10:38:29.104 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.06 10:38:29.102 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.06 10:38:29.101 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.06 10:38:29.099 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.05.06 11:54:59.156 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.06 09:10:37.753 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Emergency Intercom Activated Level 2 | 2024.05.10 13:20:22.767 | chris_lawson |  | 0 | AZC
ACK Med | 2024.05.06 09:08:34.594 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault | 2024.05.07 11:17:43.586 | liam_walkerchan |  | 0 | ARN
ACK Med | 2024.05.06 09:08:34.583 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault | 2024.05.07 11:17:43.586 | liam_walkerchan |  | 0 | ARN
ACK Med | 2024.05.06 09:08:34.544 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault | 2024.05.07 11:17:43.586 | liam_walkerchan |  | 0 | ARN
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Low | 2024.05.10 14:42:41.810 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.05.10 14:42:58.689 | paul_moseley |  | 0 | ARN
ACK Low | 2024.05.10 14:42:41.810 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.05.10 14:42:58.689 | paul_moseley |  | 0 | ARN
ACK Low | 2024.05.10 14:21:31.993 | AEN_DOR_B1_151-3_1 | Concourse west - back of house corridor | Unauthorised access | 2024.05.10 14:23:06.520 | paul_moseley |  | 0 | ARN
ACK Low | 2024.05.10 14:14:53.099 | AEN_DOR_B1_151-4_1 | Concourse east - back of house emergency corridor | Unauthorised access | 2024.05.10 14:16:10.529 | paul_moseley |  | 0 | ARN
ACK Low | 2024.05.10 14:05:15.841 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access | 2024.05.10 14:05:32.060 | paul_moseley |  | 0 | ARN
ACK Low | 2024.05.09 08:07:59.254 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault | 2024.05.09 11:14:17.793 | emilio_ito |  | 0 | PKV
ACK Low | 2024.05.08 14:30:29.243 | AEN-FLS-0008 | GF, AEN-FLS-0008, SCV1-RETAIL 1 Spr.F/S | Heat or smoke detector fault | 2024.05.10 08:43:22.041 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.08 14:30:27.070 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault | 2024.05.08 14:58:16.752 | kai_longley |  | 0 | ARN
ACK Low | 2024.05.06 11:54:12.186 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically | 2024.05.06 12:03:12.642 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.05.06 10:38:29.082 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.05.07 11:17:43.625 | liam_walkerchan |  | 0 | ARN
ACK Low | 2024.05.06 10:38:29.074 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.05.07 11:17:43.625 | liam_walkerchan |  | 0 | ARN
ACK Low | 2024.05.06 09:12:37.455 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access | 2024.05.07 11:07:42.106 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.05.06 09:12:37.328 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Door open too long | 2024.05.07 11:07:42.106 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.05.06 09:10:37.931 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.05.10 13:20:22.737 | chris_lawson |  | 0 | AZC