## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.06.25 13:48:43.429 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.25 13:39:43.424 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.25 12:50:29.427 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.24 16:26:19.877 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.24 16:26:01.877 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.24 16:25:50.904 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.24 16:25:39.897 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.23 20:11:46.426 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.23 20:09:40.429 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.23 20:07:53.421 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.23 16:17:39.429 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.23 16:17:13.422 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.23 13:22:28.284 | AEN_ROL_RNERV_W | West Tunnel RNERV Roller Door | RNERV crane arm extended over tracks! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.23 05:01:19.980 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.22 08:08:48.055 | PDM-Z-8301 | ZONE 8301: B1M, EPZ-A-01 | Smoke or heat detected - fire unconfirmed! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.20 08:25:18.732 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 17:25:05.719 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 17:24:47.727 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:44:45.111 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:44:45.077 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:13.465 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:13.004 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:12.542 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:09.187 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:08.593 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.26 08:51:27.926 | DMA_FCU_1143_44_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.24 16:26:01.877 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.24 16:25:50.904 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.23 14:49:30.617 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.17 17:25:05.719 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:47:01.743 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:46:32.867 | TSC-FIP-0001 | Town Hall Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.17 10:46:02.656 | TNC-FIP-0001 | State Library Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.17 10:35:18.075 | WPZ-FIP-0001 | Western Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:35:16.887 | AEN-FIP-0001 | Arden Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.344 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.333 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.298 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:25.710 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:11.700 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:11.682 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.03 10:49:53.704 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.699 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.694 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:52.198 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.195 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.192 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:38.107 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Communications Fault - State Library Server 2 to State Library TVCS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:38.099 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Communications Fault - State Library Server 1 to State Library TVCS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.241 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.239 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.238 | _TNC-BMS-PLC3_2 | MTSTL:_TNC-BMS-PLC3_2. | Communications Fault - State Library Server 2 to State Library BMS Gateway PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.236 | _TNC-BMS-PLC3 | MTSTL:_TNC-BMS-PLC3. | Communications Fault - State Library Server 1 to State Library BMS Gateway PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.234 | _TNC-BMS-PLC_2 | MTSTL:_TNC-BMS-PLC_2. | Communications Fault - State Library Server 2 to State Library BMS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.232 | _TNC-BMS-PLC | MTSTL:_TNC-BMS-PLC. | Communications Fault - State Library Server 1 to State Library BMS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.970 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.968 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.967 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.964 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.962 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.960 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.26 10:33:03.839 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.26 10:33:03.839 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.26 10:18:02.100 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 10:17:26.110 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 10:11:55.062 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 10:11:53.051 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 10:02:54.122 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 08:59:12.811 | AEN_DOR_GF_ESC_STAIR_9_1 | Ground floor east - after hours stairs | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.26 07:58:55.075 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:55.075 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:55.075 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:55.075 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:55.075 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:55.075 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:55.075 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:55.025 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:55.025 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:55.025 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:53.028 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:53.028 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:53.028 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:53.028 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:53.028 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:58:53.028 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:54:34.491 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:36:44.123 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:36:44.123 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 07:06:51.861 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.26 07:06:51.861 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.26 05:35:08.119 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:35:08.119 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:35:08.119 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:35:08.119 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:35:08.119 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:35:08.119 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:35:08.119 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:35:08.119 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:35:08.119 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:33:18.116 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:33:18.116 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:33:18.116 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.26 05:33:18.116 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.25 15:16:31.211 | PKV_DOR_B2_PKV-S-03_3 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.25 14:05:09.982 | PKV-E-PSD-029 | Parkville Platform 2 Zone 3 PSD 29 | Speaker fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.25 11:25:26.838 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 11:25:26.838 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 09:10:15.874 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:24:32.459 | PKV_DOR_B3_PKV-S-01_1 | Security Door (B3 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.25 07:07:17.152 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:17.152 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:17.152 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:17.152 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:17.152 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:17.152 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:16.259 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:16.259 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:16.259 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:16.259 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:16.259 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.25 07:07:16.259 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.24 13:08:57.611 | PKV_DOR_B3_PKV-S-03_3 | Security Door (B3 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.24 12:53:43.117 | PKV_DOR_B3_PKV-S-03_1 | Security Door (B3 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.24 12:39:03.249 | PKV_DOR_B3_151-18_1 | Security Door (B3 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.23 15:25:20.028 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.22 11:49:07.851 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.22 08:04:55.845 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.22 06:49:34.735 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.22 03:28:46.168 | TNC-E-PSD-027 | State Library Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.21 17:20:38.105 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.21 17:20:38.105 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.21 14:33:30.846 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.21 14:15:40.851 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.21 12:34:18.847 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.21 12:34:18.847 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.21 11:03:07.023 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.21 07:15:19.115 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.21 07:14:26.232 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.21 07:13:14.243 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.20 08:56:21.143 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 19:57:05.868 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 19:57:00.848 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 17:20:18.162 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.17 15:36:14.088 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 10:17:22.155 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:38.267 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.246 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.209 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.177 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.154 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.131 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:44:06.674 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:43:58.781 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:43:48.039 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:47.837 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:25.896 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.104 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 2 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.101 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.095 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 2 |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.091 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 1 |  |  |  | 0 | STL
WENT UNACK High | 2024.06.26 05:34:24.143 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.06.26 05:34:39.084 | 0 | PKV
WENT UNACK High | 2024.06.26 05:33:19.087 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.06.26 05:33:32.147 | 0 | PKV
WENT UNACK High | 2024.06.26 00:01:03.996 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.06.26 06:59:47.937 | 0 | AZC
WENT UNACK High | 2024.06.26 00:01:03.996 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.06.26 00:48:32.963 | 0 | AZC
WENT UNACK High | 2024.06.25 13:51:21.093 | DMA-Z-7601 | ZONE 7601: B1, DMA-FPD-0001 AHU-0101 Plant Rm 801-1 | Confirmed fire! |  |  | 2024.06.25 13:52:23.127 | 0 | AZC
WENT UNACK High | 2024.06.25 12:48:03.117 | DMA-Z-7244 | ZONE 7244: B1, DMA-BL-01 RETAIL 1 | Smoke or heat detected - fire unconfirmed! |  |  | 2024.06.25 12:54:20.120 | 0 | AZC
WENT UNACK High | 2024.06.25 12:47:59.341 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  | 2024.06.25 12:48:29.344 | 0 | AZC
WENT UNACK High | 2024.06.25 12:47:58.343 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke or heat detected! Extend timer within 30s to investigate!! |  |  | 2024.06.25 12:48:28.346 | 0 | AZC
WENT UNACK High | 2024.06.25 12:30:51.094 | DMA-Z-7202 | ZONE 7202: B1, DMA-BF-01 FIRE ESCAPE CORRIDOR | Smoke or heat detected - fire unconfirmed! |  |  | 2024.06.25 12:41:50.103 | 0 | AZC
WENT UNACK High | 2024.06.25 11:48:33.120 | DMA-Z-7220 | ZONE 7220: B1, DMA-CG-01 ECS PLANTROOM 3 | Smoke or heat detected - fire unconfirmed! |  |  | 2024.06.25 11:51:13.145 | 0 | AZC
WENT UNACK High | 2024.06.25 11:38:52.133 | DMA-Z-74121 | ZONE 74121: B1, DMA-CB-01 TRAC SUBSTATION 602-2 | Smoke or heat detected - fire unconfirmed! |  |  | 2024.06.25 11:51:26.153 | 0 | AZC
WENT UNACK High | 2024.06.25 09:22:13.784 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.06.25 09:41:13.792 | 0 | ARN
WENT UNACK Med | 2024.06.26 09:44:57.057 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.26 09:45:06.098 | 0 | PKV
WENT UNACK Med | 2024.06.26 08:26:38.909 | DMA_SPP_0205_06_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.06.26 08:33:18.915 | 0 | AZC
WENT UNACK Med | 2024.06.26 07:50:44.093 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.06.26 07:50:54.105 | 0 | PKV
WENT UNACK Med | 2024.06.26 07:10:43.000 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  | 2024.06.26 07:10:44.000 | 0 | STL
WENT UNACK Med | 2024.06.26 05:34:57.991 | PKV_UPS_0401 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.06.26 05:35:18.989 | 0 | PKV
WENT UNACK Med | 2024.06.26 05:34:26.995 | PKV_UPS_0402 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.06.26 05:34:49.991 | 0 | PKV
WENT UNACK Med | 2024.06.26 05:34:18.165 | PKV_FCU_0309_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.26 05:34:38.162 | 0 | PKV
WENT UNACK Med | 2024.06.25 14:38:40.847 | _Driver2 | Parkville Server 1 | PSS1 S7Plus Driver 2 overloaded (BMS PLC) |  |  | 2024.06.25 14:38:41.105 | 0 | STL
WENT UNACK Med | 2024.06.25 14:38:37.090 | _PKV-BMS-PLC | MTPKV:_PKV-BMS-PLC. | Communications Fault - Parkville Server 1 to Parkville BMS PLC |  |  | 2024.06.25 14:38:40.631 | 0 | PKV
WENT UNACK Med | 2024.06.25 12:07:52.368 | PKV_FCU_1301_02_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.25 12:10:27.183 | 0 | PKV
WENT UNACK Med | 2024.06.25 11:27:11.886 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift locked out due to high temperature! |  |  | 2024.06.25 11:38:34.879 | 0 | AZC
WENT UNACK Med | 2024.06.25 11:27:11.886 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift locked out due to high temperature! |  |  | 2024.06.25 11:38:34.879 | 0 | AZC
WENT UNACK Med | 2024.06.25 11:27:11.886 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift locked out due to high temperature! |  |  | 2024.06.25 11:38:34.879 | 0 | AZC
WENT UNACK Med | 2024.06.25 11:27:11.886 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift locked out due to high temperature! |  |  | 2024.06.25 11:38:34.879 | 0 | AZC
WENT UNACK Med | 2024.06.25 11:27:11.874 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift locked out due to high temperature! |  |  | 2024.06.25 11:38:34.868 | 0 | AZC
WENT UNACK Med | 2024.06.25 11:27:11.874 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift locked out due to high temperature! |  |  | 2024.06.25 11:38:34.868 | 0 | AZC
WENT UNACK Med | 2024.06.25 11:27:11.874 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift locked out due to high temperature! |  |  | 2024.06.25 11:38:33.889 | 0 | AZC
WENT UNACK Med | 2024.06.25 11:27:11.874 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift locked out due to high temperature! |  |  | 2024.06.25 11:38:33.889 | 0 | AZC
WENT UNACK Med | 2024.06.25 11:27:11.874 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift locked out due to high temperature! |  |  | 2024.06.25 11:38:33.889 | 0 | AZC
WENT UNACK Med | 2024.06.25 09:58:43.087 | PKV_SPP_0203_04_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.06.25 10:11:41.090 | 0 | PKV
WENT UNACK Med | 2024.06.25 09:21:53.784 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.25 09:41:17.791 | 0 | ARN
WENT UNACK Low | 2024.06.26 10:33:19.283 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access |  |  | 2024.06.26 10:33:28.803 | 0 | ARN
WENT UNACK Low | 2024.06.26 10:32:34.819 | PKV_DOR_B1_PKV-S-02_1 | Security Door (B1 EAST) | Unauthorised access |  |  | 2024.06.26 10:32:38.789 | 0 | PKV
WENT UNACK Low | 2024.06.26 10:30:59.579 | PKV_DOR_GF_PKV-S-04_2 | Security Door (PUBLIC REALM) | Unauthorised access |  |  | 2024.06.26 10:31:05.675 | 0 | PKV
WENT UNACK Low | 2024.06.26 10:27:57.215 | PKV_DOR_B1_PKV-S-02_2 | Security Door (B1 EAST) | Unauthorised access |  |  | 2024.06.26 10:28:04.437 | 0 | PKV
WENT UNACK Low | 2024.06.26 10:25:21.152 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift General Fault |  |  | 2024.06.26 10:26:21.151 | 0 | SDU
WENT UNACK Low | 2024.06.26 10:24:39.343 | PKV_DOR_GF_PKV-S-03_1 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  | 2024.06.26 10:24:43.030 | 0 | PKV
WENT UNACK Low | 2024.06.26 10:23:56.732 | PKV_DOR_B3_402-7_2 | Security Door (B3 EAST) | Unauthorised access |  |  | 2024.06.26 10:24:01.466 | 0 | PKV
WENT UNACK Low | 2024.06.26 10:20:38.468 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.26 10:21:00.262 | 0 | PKV
WENT UNACK Low | 2024.06.26 10:20:13.530 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  | 2024.06.26 10:25:45.796 | 0 | SDU
WENT UNACK Low | 2024.06.26 10:20:13.530 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  | 2024.06.26 10:25:45.796 | 0 | SDU
WENT UNACK Low | 2024.06.26 10:20:13.527 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  | 2024.06.26 10:25:45.794 | 0 | SDU
WENT UNACK Low | 2024.06.26 10:19:58.964 | PKV_DOR_B3_PKV-S-02_1 | Security Door (B3 EAST) | Unauthorised access |  |  | 2024.06.26 10:20:03.043 | 0 | PKV
WENT UNACK Low | 2024.06.26 10:11:41.891 | PKV_DOR_B3_402-7_1 | Security Door (B3 EAST) | Unauthorised access |  |  | 2024.06.26 10:11:46.887 | 0 | PKV
WENT UNACK Low | 2024.06.26 10:10:33.837 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.26 10:10:43.759 | 0 | PKV
WENT UNACK Low | 2024.06.26 09:56:09.911 | AEN_DOR_B1_151-4_1 | Concourse east - back of house emergency corridor | Unauthorised access |  |  | 2024.06.26 09:56:19.748 | 0 | ARN
WENT UNACK Low | 2024.06.26 09:50:30.131 | AEN_DOR_B1_151-3_1 | Concourse west - back of house corridor | Unauthorised access |  |  | 2024.06.26 09:50:36.748 | 0 | ARN
WENT UNACK Low | 2024.06.26 09:49:21.133 | AEN_DOR_B1_ESC_STAIRS_03_2 | Concourse west - back of house emergency stairs | Unauthorised access |  |  | 2024.06.26 09:49:32.851 | 0 | ARN
WENT UNACK Low | 2024.06.26 09:46:55.777 | PKV_DOR_B3_PKV-S-01_2 | Security Door (B3 WEST) | Unauthorised access |  |  | 2024.06.26 09:47:01.331 | 0 | PKV
WENT UNACK Low | 2024.06.26 09:45:50.772 | AEN_DOR_L1_ESC_STAIRS_5_1 | Level 1 east - office stairs | Unauthorised access |  |  | 2024.06.26 09:47:08.723 | 0 | ARN
WENT UNACK Low | 2024.06.26 09:42:20.665 | AEN_DOR_GF_401-1_1 | Ground floor east - fire control room | Unauthorised access |  |  | 2024.06.26 09:42:31.460 | 0 | ARN
WENT UNACK Low | 2024.06.26 09:21:36.179 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  | 2024.06.26 09:31:14.128 | 0 | SDU
WENT UNACK Low | 2024.06.26 09:21:36.179 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  | 2024.06.26 09:31:14.129 | 0 | SDU
WENT UNACK Low | 2024.06.26 09:21:36.176 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  | 2024.06.26 09:31:14.126 | 0 | SDU
WENT UNACK Low | 2024.06.26 09:20:38.489 | AEN_DOR_GF_405-2_2 | Ground floor east - back of house emergency corridor | Unauthorised access |  |  | 2024.06.26 09:20:44.835 | 0 | ARN
WENT UNACK Low | 2024.06.26 09:16:24.835 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  | 2024.06.26 09:16:46.833 | 0 | AZC
WENT UNACK Low | 2024.06.26 09:16:12.514 | AEN_DOR_B2_403-1_1 | Platform 2 west - single emergency door | Unauthorised access |  |  | 2024.06.26 09:16:27.240 | 0 | ARN
WENT UNACK Low | 2024.06.26 09:13:50.662 | AEN_DOR_B2_ESC_STAIRS_03_1 | Platform 2 west - single emergency door | Unauthorised access |  |  | 2024.06.26 09:14:21.809 | 0 | ARN
WENT UNACK Low | 2024.06.26 09:10:05.822 | AEN_DOR_B2_403-1_2 | Platform 1 west - single emergency door | Unauthorised access |  |  | 2024.06.26 09:10:35.490 | 0 | ARN
WENT UNACK Low | 2024.06.26 09:03:39.055 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.26 09:05:04.087 | 0 | PKV
WENT UNACK Low | 2024.06.26 09:01:36.579 | AEN_DOR_B2_ESC_STAIRS_04_2 | Platform 2 east - single emergency door | Unauthorised access |  |  | 2024.06.26 09:01:52.148 | 0 | ARN
WENT UNACK Low | 2024.06.26 08:59:57.953 | AEN_DOR_B2_ESC_STAIRS_04_1 | Platform 2 east - single emergency door | Unauthorised access |  |  | 2024.06.26 09:34:09.788 | 0 | ARN
WENT UNACK Low | 2024.06.26 08:57:46.377 | AEN_DOR_B2_ESC_STAIRS_04_4 | Platform 1 east - single emergency door | Unauthorised access |  |  | 2024.06.26 10:15:28.964 | 0 | ARN
WENT UNACK Low | 2024.06.26 08:50:17.861 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  | 2024.06.26 09:17:13.850 | 0 | AZC
WENT UNACK Low | 2024.06.26 08:40:26.022 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.06.26 08:40:26.922 | 0 | THL
WENT UNACK Low | 2024.06.26 08:36:26.661 | PDM_DOR_E_1 | PDM East Tunnel Door 1 | Unauthorised access |  |  | 2024.06.26 08:36:58.326 | 0 | SDU
WENT UNACK Low | 2024.06.26 08:24:19.451 | PKV_DOR_B4_PKV-S-01_1 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.26 08:24:46.180 | 0 | PKV
WENT UNACK Low | 2024.06.26 07:57:02.848 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  | 2024.06.26 07:57:45.847 | 0 | AZC
WENT UNACK Low | 2024.06.26 07:50:18.773 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.26 07:50:25.831 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:35:08.119 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault |  |  | 2024.06.26 05:35:09.068 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:34:26.126 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.06.26 05:35:09.068 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:34:24.110 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.06.26 05:35:07.071 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:34:24.110 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.06.26 05:35:09.068 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:34:23.069 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift monitoring lost |  |  | 2024.06.26 05:35:07.071 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:34:23.069 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.06.26 05:35:09.068 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:34:23.059 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift monitoring lost |  |  | 2024.06.26 05:35:07.057 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:34:04.112 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift monitoring lost |  |  | 2024.06.26 05:34:30.164 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:33:21.056 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.26 05:33:47.058 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:33:13.103 | PKV_FCU_1305_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.26 05:33:31.100 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:33:13.103 | PKV_FCU_1121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.26 05:33:31.100 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:32:52.114 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.06.26 05:33:19.069 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:32:50.178 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift monitoring lost |  |  | 2024.06.26 05:33:17.075 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:32:50.178 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift monitoring lost |  |  | 2024.06.26 05:33:17.075 | 0 | PKV
WENT UNACK Low | 2024.06.26 05:32:50.175 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.06.26 05:33:20.173 | 0 | PKV
WENT UNACK Low | 2024.06.25 15:31:28.900 | DMA_SDP_0101_02_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.06.25 15:38:28.905 | 0 | AZC
WENT UNACK Low | 2024.06.25 14:41:18.639 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.25 14:41:25.265 | 0 | PKV
WENT UNACK Low | 2024.06.25 13:32:41.126 | PKV_DOR_B2_151-15_1 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.06.25 13:39:46.443 | 0 | PKV
WENT UNACK Low | 2024.06.25 13:31:16.477 | PKV_DOR_B2_405-5_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.06.25 13:39:46.342 | 0 | PKV
WENT UNACK Low | 2024.06.25 11:27:11.955 | SDU_TEP_0305_06_DS | Tunnel Drainage Pump - Duty Selection | All devices unavailable |  |  | 2024.06.25 11:27:14.926 | 0 | AZC
WENT UNACK Low | 2024.06.25 11:24:50.814 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  | 2024.06.25 11:25:12.811 | 0 | AZC
WENT UNACK Low | 2024.06.25 11:24:48.842 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.06.25 11:25:25.860 | 0 | AZC
WENT UNACK Low | 2024.06.25 11:24:48.818 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  | 2024.06.25 11:25:12.811 | 0 | AZC
WENT UNACK Low | 2024.06.25 11:24:47.833 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  | 2024.06.25 11:25:17.830 | 0 | AZC
WENT UNACK Low | 2024.06.25 11:24:47.831 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  | 2024.06.25 11:25:16.815 | 0 | AZC
WENT UNACK Low | 2024.06.25 11:24:46.817 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  | 2024.06.25 11:25:12.811 | 0 | AZC
WENT UNACK Low | 2024.06.25 11:24:45.828 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  | 2024.06.25 11:25:12.811 | 0 | AZC
WENT UNACK Low | 2024.06.25 10:11:13.640 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  | 2024.06.25 10:11:13.685 | 0 | SDU
WENT UNACK Low | 2024.06.25 10:11:13.640 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  | 2024.06.25 10:11:13.685 | 0 | SDU
WENT UNACK Low | 2024.06.25 10:11:13.637 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  | 2024.06.25 10:11:13.685 | 0 | SDU
WENT UNACK Low | 2024.06.25 10:11:13.633 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  | 2024.06.25 10:11:13.681 | 0 | SDU
WENT UNACK Low | 2024.06.25 10:11:13.633 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  | 2024.06.25 10:11:13.681 | 0 | SDU
WENT UNACK Low | 2024.06.25 10:11:13.627 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  | 2024.06.25 10:11:13.678 | 0 | SDU
WENT UNACK Low | 2024.06.25 10:11:13.624 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  | 2024.06.25 10:11:13.676 | 0 | SDU
WENT UNACK Low | 2024.06.25 10:05:50.544 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  | 2024.06.25 10:05:50.930 | 0 | SDU
WENT UNACK Low | 2024.06.25 10:05:50.544 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  | 2024.06.25 10:05:50.930 | 0 | SDU
WENT UNACK Low | 2024.06.25 10:05:50.544 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  | 2024.06.25 10:05:50.930 | 0 | SDU
WENT UNACK Low | 2024.06.25 09:58:10.573 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  | 2024.06.25 09:58:11.572 | 0 | SDU
WENT UNACK Low | 2024.06.25 09:48:04.290 | DMA-SPE-0183 | B1, DMA-SPE-0183 OTE EXH.FAN EAST 831-2 | Heat or smoke detector fault |  |  | 2024.06.25 11:52:57.186 | 0 | AZC
WENT UNACK Low | 2024.06.25 09:48:04.290 | DMA-SPE-0184 | B1, DMA-SPE-0184 OTE EXH.FAN EAST 831-2 | Heat or smoke detector fault |  |  | 2024.06.25 11:52:57.186 | 0 | AZC
WENT UNACK Low | 2024.06.25 09:24:09.827 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped.(combplate bottom right) |  |  | 2024.06.25 09:24:19.828 | 0 | AZC
WENT UNACK Low | 2024.06.25 09:19:41.638 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.25 09:19:57.657 | 0 | PKV
WENT UNACK Low | 2024.06.25 08:58:44.263 | DMA-IVM-0052 | B2, DMA-IVM-0052 Mains Spr.M/V | Heat or smoke detector fault |  |  | 2024.06.25 08:59:16.282 | 0 | AZC
WENT UNACK Low | 2024.06.25 08:42:51.859 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.06.25 09:01:35.867 | 0 | AZC
WENT UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.26 09:14:07.057 | 0 | PKV
WENT UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.26 09:12:30.123 | 0 | PKV
ACK High | 2024.06.23 14:30:35.789 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.06.26 08:36:11.656 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.06.23 04:46:43.786 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.06.23 10:02:11.994 | sergio_paniagua |  | 0 | ARN
ACK High | 2024.06.23 04:43:17.787 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.06.23 09:18:02.789 | sergio_paniagua |  | 0 | ARN
ACK High | 2024.05.20 08:23:30.503 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.05.20 15:17:54.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded | 2024.05.20 15:17:59.449 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.21 12:28:48.176 | TNC-S-STN | State Library Station PSD System | PSD lost connection to signalling system! | 2024.06.24 07:23:43.058 | kai_longley |  | 0 | STL
ACK Med | 2024.06.21 08:54:21.784 | AEN-W-PSD-023 | Arden Platform 1 Zone 3 PSD 23 | Door control unit fault | 2024.06.26 08:36:05.872 | dominic_dlasselle |  | 0 | ARN
ACK Med | 2024.06.17 10:47:01.691 | DMA-FIP-0001 | Anzac Station FDCIE Panel | No modbus server/gateway connection | 2024.06.17 14:28:57.072 | emilio_ito |  | 0 | AZC
ACK Med | 2024.06.17 10:43:09.320 | PKV-FIP-0001 | Parkville Station FDCIE Panel | No modbus server/gateway connection | 2024.06.21 07:00:25.850 | emilio_ito |  | 0 | PKV
ACK Med | 2024.06.03 10:50:15.741 | _Driver1_2 | Anzac Server 2 | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.25 13:27:25.359 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:48:16.689 | _Driver1_2 | MTARD:_Driver1_2. | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.04 08:54:10.389 | sergio_paniagua |  | 0 | PKV
ACK Med | 2024.06.03 10:47:25.340 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.339 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.338 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.336 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.335 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.334 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.333 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.332 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.306 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.291 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.25 16:22:24.550 | AEN_DOR_B2_ESC_STAIRS_03_2 | Platform 1 west - double emergency door | Unauthorised access | 2024.06.26 08:32:22.624 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.06.22 07:30:11.785 | AEN-W-PSD-030 | Arden Platform 1 Zone 3 PSD 30 | PSD isolated | 2024.06.26 08:35:30.125 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.06.21 08:58:35.788 | AEN-W-PSD-023 | Arden Platform 1 Zone 3 PSD 23 | PSD isolated | 2024.06.26 08:32:31.871 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.06.20 13:54:38.119 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.06.20 14:57:08.354 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.06.20 13:01:36.118 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.06.20 14:57:12.884 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.06.19 13:03:52.119 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault | 2024.06.20 14:57:17.162 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.06.19 13:02:35.024 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.06.20 14:57:19.656 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.06.17 09:48:30.818 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access | 2024.06.20 14:57:28.000 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.06.17 09:47:22.356 | AEN-SPE-0404 | B1, AEN-SPE-0404, 151-10 BOH Corridor | Heat or smoke detector fault | 2024.06.20 14:57:33.157 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.06.17 09:47:22.030 | AEN-SPE-0403 | B1, AEN-SPE-0403, 103-2 PAID CONC | Heat or smoke detector fault | 2024.06.26 08:34:09.800 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.06.17 09:47:21.408 | AEN-SPE-0400 | B1, AEN-SPE-0400, 103-2 PAID CONC | Heat or smoke detector fault | 2024.06.26 08:35:45.800 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.06.17 09:46:39.288 | AEN-SPE-0095 | B1, AEN-SPE-0095, 103-2 PAID CONC | Heat or smoke detector fault | 2024.06.26 08:35:45.800 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.06.17 09:46:38.386 | AEN-SPE-0090 | B1, AEN-SPE-0090, 151-10 BOH Corridor | Heat or smoke detector fault | 2024.06.26 08:34:05.586 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.06.03 10:47:25.310 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.308 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.03 10:47:25.302 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.299 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN