## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.04.23 00:01:04.282 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.23 00:01:04.282 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 12:12:39.168 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 10:12:18.564 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 10:11:54.564 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 09:02:53.065 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.22 09:02:52.782 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.22 08:55:11.935 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.22 08:55:11.381 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.22 08:55:08.153 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:55:08.128 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:52:51.751 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.22 08:52:51.741 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.22 08:51:41.101 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:51:41.091 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:51:21.535 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.22 08:50:39.083 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.22 08:50:23.180 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:50:23.178 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:50:23.173 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:50:23.171 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:50:00.849 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.22 08:50:00.837 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.04.22 08:49:20.507 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:49:20.494 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:57.840 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:48:57.293 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.04.22 08:48:45.955 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:43.442 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:22.518 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:21.913 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:21.658 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.04.22 08:48:21.404 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.22 08:48:20.804 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.22 08:48:20.253 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.22 08:48:19.904 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.04.22 08:48:05.490 | AEN-W-EED-001 | Arden Platform 1 Zone 1 EED 01 | EED Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.04.22 08:48:05.363 | AEN-W-EED-001 | Arden Platform 1 Zone 1 EED 01 | EED opened! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 14:09:41.138 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.22 10:12:18.564 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 09:46:55.586 | _PDM-BMS-PLC | MTAZC:_PDM-BMS-PLC. | Communications Fault - Anzac Server 1 to Eastern Portal BMS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.22 09:02:45.569 | AEN_LFT_0006 | Lift 6 BOH (Platforms to Level 2) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 09:02:42.723 | AEN_LFT_0005 | Lift 5 BOH (Platforms to Ground Floor) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 09:02:39.592 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 09:02:36.736 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 09:02:33.808 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 09:02:30.848 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift locked out due to high temperature! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 08:57:30.529 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 08:57:30.340 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 08:57:29.401 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 08:55:12.810 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:55:05.225 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:52:03.265 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift locked out due to high temperature! |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:52:02.216 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Emergency Intercom Activated Level 2 |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.22 08:49:54.745 | AEN-E-PSD-007 | Arden Platform 2 Zone 1 PSD 07 | Low motor current |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.22 08:49:40.865 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:49:40.862 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:49:21.229 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:49:21.226 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.04.22 08:48:05.434 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.22 08:25:20.552 | _PDM-BMS-PLC_2 | MTAZC:_PDM-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Eastern Portal BMS PLC |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.19 10:17:09.081 | _PAE-BMS-PLC | MTARD:_PAE-BMS-PLC. | Communications Fault - Arden Server 1 to Western Portal BMS PLC |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.19 10:17:09.079 | _PAE-BMS-PLC_2 | MTARD:_PAE-BMS-PLC_2. | Communications Fault - Arden Server 2 to Western Portal BMS PLC |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.17 14:08:47.545 | _AEN-BMS-PLC | Arden BMS PLC | Communications Fault - Arden Server 1 to Arden BMS PLC |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 14:08:47.536 | _AEN-BMS-PLC_2 | Arden BMS PLC | Communications Fault - Arden Server 2 to Arden BMS PLC |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.17 14:03:50.885 | _AEN-BMS-PLC3 | MTARD:_AEN-BMS-PLC3. | Communications Fault - Arden Server 1 to Arden BMS 3 PLC |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 14:03:48.884 | _AEN-BMS-PLC3_2 | MTARD:_AEN-BMS-PLC3_2. | Communications Fault - Arden Server 2 to Arden BMS 3 PLC |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.17 12:57:28.526 | _Mod_Plc_1 | Arden Server 1 | Communications Fault - Arden Server 1 to Arden PSD Servers |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.17 12:57:28.526 | _Mod_Plc_1_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden PSD Servers |  |  |  | 0 | PKV
CAME UNACK Med | 2024.04.17 10:19:55.703 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.14 22:09:25.645 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD |  |  |  | 0 | ARN
CAME UNACK Med | 2024.04.14 22:09:25.361 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD |  |  |  | 0 | AZC
CAME UNACK Med | 2024.04.14 21:52:28.370 | _Mod_Plc_1_2 | MTSTL:_Mod_Plc_1_2. | Communications Fault - State Library Server 2 to State Library PSD Servers |  |  |  | 0 | THL
CAME UNACK Med | 2024.04.14 21:52:28.361 | _Mod_Plc_1 | MTSTL:_Mod_Plc_1. | Communications Fault - State Library Server 1 to State Library PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.04.14 21:37:10.377 | _Mod_Plc_1_2 | MTTHL:_Mod_Plc_1_2. | Communications Fault - Town Hall Server 2 to Town Hall PSD Servers |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.25 10:37:49.760 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.23 06:58:46.386 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.23 06:52:04.204 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 00:35:19.095 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 00:10:38.186 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.23 00:10:38.186 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:59:08.137 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:57:13.060 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:54:58.198 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:54:42.196 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:50:55.070 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:48:54.164 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:43:45.111 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:35:29.067 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:34:22.143 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:32:22.152 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:27:27.058 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:26:29.063 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:24:01.207 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:24:01.207 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:18:37.097 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:12:25.074 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:10:54.157 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 23:09:53.070 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 17:54:40.393 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:54:40.371 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:43:00.390 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:43:00.378 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:43:00.378 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:41:05.431 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:41:05.429 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:41:05.418 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 17:35:16.143 | PKV_HWH_1903 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 17:35:16.143 | PKV_HWH_1901 | Hot Water Boiler | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 15:46:24.905 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 14:39:34.323 | _ReduManager_2 | Parkville Server 2 | Server 2 - Set active automatically |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.22 14:17:18.823 | _ReduManager_2 | Distributed Server 2 | Server 2 - Set active automatically |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 14:14:56.187 | SYP-DT-1012 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 14:14:56.187 | SYP-DT-1009 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.301 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.301 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.301 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.301 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.301 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.300 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 13:44:42.298 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 12:48:58.426 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 12:22:46.188 | SYP-DT-1013 | Westbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 11:48:17.557 | PKV_StationFunc | TVCS Operator Fire Emergency Section 04 - Parkville Station | Station Fire Ventilation Mode still active |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 10:51:21.893 | AEN_DOR_LG_405-3_2 | Fire escape Corridor - Lower Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 09:44:36.091 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 09:02:40.508 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 09:02:37.644 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 09:02:34.721 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 09:02:31.880 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 09:02:31.758 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:55:09.712 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.692 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.672 | SKP-DT-1006 | Westbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.653 | SKP-DT-1005 | Westbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.633 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.614 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.594 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:09.574 | SKP-DT-1001 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.728 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.709 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.676 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.646 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.626 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:06.605 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:55:00.765 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:55:00.761 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:55:00.727 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:55:00.717 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:55:00.670 | AEN_DOR_GF_246-1_1 | Security Door (GF WEST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:55:00.667 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:55:00.659 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:55:00.657 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:55:00.652 | AEN_DOR_B2_ESC_STAIRS_03_2 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:55:00.644 | AEN_DOR_B1_ESC_STAIRS_04_2 | East Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:55:00.641 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:55:00.633 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:54:46.655 | DMA-SPE-0928 | B1, DMA-SPE-0928 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:52:21.373 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Lift General Fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:52:03.255 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.04.22 08:52:02.125 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:52:00.266 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:52:00.215 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:51:59.647 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:51:59.596 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:51:59.232 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:51:59.179 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:51:37.059 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:51:36.964 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:51:36.167 | AEN-W-PSD-015 | Arden Platform 1 Zone 2 PSD 15 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:51:20.143 | AEN-W-PSD-009 | Arden Platform 1 Zone 1 PSD 09 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:51:17.419 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:51:14.710 | AEN-W-PSD-007 | Arden Platform 1 Zone 1 PSD 07 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:51:01.466 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:50:37.711 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:50:24.478 | AEN-E-PSD-018 | Arden Platform 2 Zone 2 PSD 18 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:50:21.095 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:20.493 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:19.775 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:19.158 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:18.499 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:17.983 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:17.120 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:16.673 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:16.535 | AEN-E-PSD-015 | Arden Platform 2 Zone 2 PSD 15 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.04.22 08:50:15.808 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:15.269 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:14.549 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:50:13.978 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:49:53.036 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:49:49.365 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:49:48.846 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:49:20.506 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.04.22 08:48:54.891 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 08:48:52.846 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:48:50.828 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.22 08:48:46.490 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 08:48:45.745 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:48:43.852 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Speaker fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.22 08:48:43.800 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.22 08:48:43.512 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.04.22 08:48:43.235 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.04.22 08:48:41.480 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 08:48:40.616 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 08:48:39.761 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.04.22 08:48:38.892 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.767 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.25 10:37:49.756 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
WENT UNACK High | 2024.04.23 00:01:03.435 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.23 03:48:32.560 | 0 | AZC
WENT UNACK High | 2024.04.22 22:49:44.093 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  | 2024.04.22 22:50:14.093 | 0 | PKV
WENT UNACK High | 2024.04.22 22:49:44.093 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Smoke or heat detected! Extend timer within 30s to investigate!! |  |  | 2024.04.22 22:52:08.102 | 0 | PKV
WENT UNACK High | 2024.04.22 22:47:44.111 | PKV-Z-4283 | ZONE 4283: PKV-AA-09, ESCALATOR 8 GROUND (TOP) | Confirmed fire! |  |  | 2024.04.22 22:53:04.125 | 0 | PKV
WENT UNACK High | 2024.04.22 22:47:18.154 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Smoke detected in escalator pit! |  |  | 2024.04.22 22:47:41.159 | 0 | PKV
WENT UNACK High | 2024.04.22 22:39:31.102 | PKV-Z-4284 | ZONE 4284: PKV-AN-01, ESCALATOR 8 CONC. (BOTTOM) | Confirmed fire! |  |  | 2024.04.22 22:41:43.101 | 0 | PKV
WENT UNACK High | 2024.04.22 22:38:23.128 | PKV-Z-4284 | ZONE 4284: PKV-AN-01, ESCALATOR 8 CONC. (BOTTOM) | Smoke or heat detected - fire unconfirmed! |  |  | 2024.04.22 22:39:31.147 | 0 | PKV
WENT UNACK High | 2024.04.22 18:14:11.439 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.04.23 00:00:25.406 | 0 | AZC
WENT UNACK High | 2024.04.22 14:08:20.547 | _Event | MTPKV:_Event. | License OK |  |  | 2024.04.22 14:39:12.379 | 0 | PKV
WENT UNACK High | 2024.04.22 08:49:59.997 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  | 2024.04.22 11:48:17.557 | 0 | SDU
WENT UNACK High | 2024.04.22 08:49:59.996 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  | 2024.04.22 11:48:17.557 | 0 | SDU
WENT UNACK High | 2024.04.22 08:49:59.989 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  | 2024.04.22 11:48:17.557 | 0 | SDU
WENT UNACK High | 2024.04.22 08:22:19.183 | _Driver1 | MTAZC:_Driver1. |  |  |  | 2024.04.22 10:57:41.680 | 0 | AZC
WENT UNACK High | 2024.04.22 08:02:26.520 | _Event_2 | MTDIST:_Event_2. | License OK |  |  | 2024.04.22 08:18:57.064 | 0 | THL
WENT UNACK Med | 2024.04.22 20:15:31.296 | DMA_FCU_1113_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.04.22 20:17:29.584 | 0 | AZC
WENT UNACK Med | 2024.04.22 17:34:31.553 | _PKV-BMS-PLC_2 | MTPKV:_PKV-BMS-PLC_2. | Communications Fault - Parkville Server 2 to Parkville BMS PLC |  |  | 2024.04.22 17:34:36.575 | 0 | STL
WENT UNACK Med | 2024.04.22 17:33:34.589 | _PKV-BMS-PLC | MTPKV:_PKV-BMS-PLC. | Communications Fault - Parkville Server 1 to Parkville BMS PLC |  |  | 2024.04.22 17:33:46.040 | 0 | PKV
WENT UNACK Med | 2024.04.22 17:33:28.430 | _PKV-BMS-PLC3_2 | MTPKV:_PKV-BMS-PLC3_2. | Communications Fault - Parkville Server 2 to Parkville BMS 3 PLC |  |  | 2024.04.22 17:33:32.717 | 0 | STL
WENT UNACK Med | 2024.04.22 17:33:15.210 | _PKV-BMS-PLC3 | MTPKV:_PKV-BMS-PLC3. | Communications Fault - Parkville Server 1 to Parkville BMS 3 PLC |  |  | 2024.04.22 17:33:31.060 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:49:04.001 | _Mod_Plc_4_2 | MTARD:_Mod_Plc_4_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  | 2024.04.22 16:49:05.152 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:49:04.001 | _Mod_Plc_3_2 | MTARD:_Mod_Plc_3_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  | 2024.04.22 16:49:05.067 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:49:03.823 | _AEN-FDS-S7PLUS_2 | MTARD:_AEN-FDS-S7PLUS_2. | Communications Fault - Arden Server 2 to Arden FDS PLC |  |  | 2024.04.22 16:49:06.089 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:49:03.626 | _Mod_Plc_2_2 | MTARD:_Mod_Plc_2_2. | Communications Fault - Arden Server 2 to Arden FDS Gateway |  |  | 2024.04.22 16:49:04.649 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:49:02.826 | _AEN-TVC-PLC_2 | Arden Server 2 | Communications Fault - Arden Server 2 to Arden TVCS PLC |  |  | 2024.04.22 16:49:02.875 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:49:01.618 | _Conn_event_0_2_to_driver_1_2 | Arden Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.22 16:49:02.764 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:49:01.618 | _Conn_event_0_2_to_ctrl_3_2 | Arden Server 2 | Control Manager Not Running - mtard_scripts.lst |  |  | 2024.04.22 16:49:04.717 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:49:01.618 | _Conn_event_0_2_to_ctrl_2_2 | Arden Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 16:49:04.511 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:49:01.618 | _Conn_event_0_2_to_ctrl_1_2 | Arden Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.22 16:49:02.004 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:48:57.387 | _RDBArchive_2 | Arden Server 2 | RDB Connection Lost |  |  | 2024.04.22 16:49:00.059 | 0 | PKV
WENT UNACK Med | 2024.04.22 16:48:52.035 | _Conn_dist_1_2_to_dist_3_2 | Distributed Server 2 | Connection lost to Arden Server 2 - Link 0 |  |  | 2024.04.22 16:49:13.498 | 0 | THL
WENT UNACK Med | 2024.04.22 16:48:52.035 | _Conn_dist_1_1_to_dist_3_2 | Distributed Server 1 | Connection lost to Arden Server 2 - Link 0 |  |  | 2024.04.22 16:49:18.467 | 0 | THL
WENT UNACK Med | 2024.04.22 16:20:31.728 | _Conn_dist_1_2_to_dist_3_2 | Distributed Server 2 | Connection lost to Arden Server 2 - Link 1 |  |  | 2024.04.22 16:49:33.482 | 0 | THL
WENT UNACK Med | 2024.04.22 16:20:31.728 | _Conn_dist_1_1_to_dist_3_2 | Distributed Server 1 | Connection lost to Arden Server 2 - Link 1 |  |  | 2024.04.22 16:49:38.342 | 0 | THL
WENT UNACK Med | 2024.04.22 16:11:32.670 | _Conn_event_0_2_to_driver_2_2 | Arden Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.22 16:49:03.109 | 0 | PKV
WENT UNACK Med | 2024.04.22 15:39:21.324 | _Conn_event_0_1_to_event_0_2 | Arden Server 1 | Connection lost to Server 2 - Link 0 |  |  | 2024.04.22 16:49:33.484 | 0 | PKV
WENT UNACK Med | 2024.04.22 15:39:21.324 | _Conn_event_0_1_to_event_0_2 | Arden Server 1 | Connection lost to Server 2 - Link 1 |  |  | 2024.04.22 16:49:53.369 | 0 | PKV
WENT UNACK Med | 2024.04.22 15:39:21.317 | _Conn_event_0_2_to_event_0_1 | Arden Server 2 | Connection lost to Server 1 - Link 0 |  |  | 2024.04.22 16:49:33.753 | 0 | ARN
WENT UNACK Med | 2024.04.22 15:39:21.317 | _Conn_event_0_2_to_event_0_1 | Arden Server 2 | Connection lost to Server 1 - Link 1 |  |  | 2024.04.22 16:49:53.639 | 0 | ARN
WENT UNACK Med | 2024.04.22 14:40:06.094 | PKV_UPS_0401 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.04.22 14:41:09.102 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:40:06.094 | PKV_UPS_0401 | Uninterruptible Power Supply | UPS internal diagnostic fault |  |  | 2024.04.22 14:41:09.102 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:39:13.562 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Communications Fault - Parkville Server 1 to Parkville TVCS PLC |  |  | 2024.04.22 14:39:13.646 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:39:12.382 | _Conn_event_0_1_to_event_0_2 | MTPKV:_Conn_event_0_1_to_event_0_2. | Connection lost to Server 2 - Link 1 |  |  | 2024.04.22 14:40:12.601 | 0 | STL
WENT UNACK Med | 2024.04.22 14:39:12.382 | _Conn_event_0_1_to_event_0_2 | MTPKV:_Conn_event_0_1_to_event_0_2. | Connection lost to Server 2 - Link 0 |  |  | 2024.04.22 14:39:52.582 | 0 | STL
WENT UNACK Med | 2024.04.22 14:39:12.382 | _Conn_event_0_1_to_driver_2_1 | Parkville Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.22 14:39:13.882 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:39:12.382 | _Conn_event_0_1_to_driver_1_1 | Parkville Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.22 14:39:13.526 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:39:12.382 | _Conn_event_0_1_to_ctrl_3_1 | Parkville Server 1 | Control Manager Not Running - mtpkv_scripts.lst |  |  | 2024.04.22 14:39:15.284 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:39:12.382 | _Conn_event_0_1_to_ctrl_2_1 | Parkville Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 14:39:15.076 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:39:12.382 | _Conn_event_0_1_to_ctrl_1_1 | Parkville Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.22 14:39:12.767 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:39:08.347 | _RDBArchive | Parkville Server 1 | RDB Connection Lost |  |  | 2024.04.22 14:39:10.828 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:38:23.024 | _Conn_event_0_2_to_event_0_1 | MTPKV:_Conn_event_0_2_to_event_0_1. | Connection lost to Server 1 - Link 1 |  |  | 2024.04.22 14:40:12.601 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:38:23.014 | _Conn_dist_1_1_to_dist_4_1 | Distributed Server 1 | Connection lost to Parkville Server 1 - Link 1 |  |  | 2024.04.22 14:39:55.750 | 0 | ARN
WENT UNACK Med | 2024.04.22 14:38:23.013 | _Conn_dist_1_2_to_dist_4_1 | Distributed Server 2 | Connection lost to Parkville Server 1 - Link 0 |  |  | 2024.04.22 14:39:31.278 | 0 | ARN
WENT UNACK Med | 2024.04.22 14:38:23.013 | _Conn_dist_1_2_to_dist_4_1 | Distributed Server 2 | Connection lost to Parkville Server 1 - Link 1 |  |  | 2024.04.22 14:39:50.330 | 0 | ARN
WENT UNACK Med | 2024.04.22 14:38:23.013 | _Conn_dist_1_1_to_dist_4_1 | Distributed Server 1 | Connection lost to Parkville Server 1 - Link 0 |  |  | 2024.04.22 14:39:36.265 | 0 | ARN
WENT UNACK Med | 2024.04.22 14:17:28.249 | _Conn_event_0_1_to_ctrl_2_1 | Distributed Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 14:17:29.083 | 0 | ARN
WENT UNACK Med | 2024.04.22 14:17:18.819 | _Conn_event_0_1_to_ctrl_3_1 | Distributed Server 1 | Control Manager Not Running - mtdist_scripts.lst |  |  | 2024.04.22 14:17:19.681 | 0 | ARN
WENT UNACK Med | 2024.04.22 14:02:26.558 | AEN_PKVComm | Parkville TVCS PLC | HCS/ATS communication fault |  |  | 2024.04.22 14:02:32.550 | 0 | ARN
WENT UNACK Med | 2024.04.22 14:01:59.636 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Communications Fault - Parkville Server 2 to Parkville TVCS PLC |  |  | 2024.04.22 14:02:47.619 | 0 | STL
WENT UNACK Med | 2024.04.22 14:01:46.044 | PKV_UPS_0402 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.04.22 14:26:37.018 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:01:46.044 | PKV_UPS_0402 | Uninterruptible Power Supply | UPS internal diagnostic fault |  |  | 2024.04.22 14:26:37.018 | 0 | PKV
WENT UNACK Med | 2024.04.22 14:01:25.437 | _Mod_Plc_3_2 | MTPKV:_Mod_Plc_3_2. | Communications Fault - Parkville Server 2 to Parkville EWIS |  |  | 2024.04.22 14:09:41.473 | 0 | STL
WENT UNACK Med | 2024.04.22 14:01:22.085 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  | 2024.04.22 14:09:40.092 | 0 | STL
WENT UNACK Med | 2024.04.22 13:17:03.692 | _Conn_event_0_1_to_ctrl_3_1 | Arden Server 1 | Control Manager Not Running - mtard_scripts.lst |  |  | 2024.04.22 13:17:03.968 | 0 | ARN
WENT UNACK Med | 2024.04.22 13:16:57.523 | _Conn_event_0_1_to_ctrl_2_1 | Arden Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 13:16:57.772 | 0 | ARN
WENT UNACK Med | 2024.04.22 11:18:40.800 | _Conn_event_0_2_to_ctrl_2_2 | Anzac Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 11:18:41.067 | 0 | ARN
WENT UNACK Med | 2024.04.22 11:18:16.751 | _Conn_event_0_1_to_ctrl_2_1 | Anzac Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 11:18:17.020 | 0 | AZC
WENT UNACK Med | 2024.04.22 10:37:43.181 | PKV_TEP_0303_04_FG | Tunnel Drainage Pump - Function Group | Tunnel drainage pit level not dropping! |  |  | 2024.04.22 10:37:56.466 | 0 | PKV
WENT UNACK Med | 2024.04.22 09:56:46.192 | _Conn_event_0_2_to_ctrl_1_2 | Parkville Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.22 09:56:46.588 | 0 | STL
WENT UNACK Med | 2024.04.22 09:56:46.192 | _Conn_event_0_2_to_ctrl_2_2 | Parkville Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 09:56:48.899 | 0 | STL
WENT UNACK Med | 2024.04.22 09:56:46.192 | _Conn_event_0_2_to_ctrl_3_2 | Parkville Server 2 | Control Manager Not Running - mtpkv_scripts.lst |  |  | 2024.04.22 09:56:49.100 | 0 | STL
WENT UNACK Med | 2024.04.22 09:56:46.192 | _Conn_event_0_2_to_driver_1_2 | Parkville Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.22 09:56:47.351 | 0 | STL
WENT UNACK Med | 2024.04.22 09:56:46.192 | _Conn_event_0_2_to_driver_2_2 | Parkville Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.22 09:56:47.715 | 0 | STL
WENT UNACK Med | 2024.04.22 09:56:41.780 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost |  |  | 2024.04.22 09:56:44.702 | 0 | STL
WENT UNACK Med | 2024.04.22 09:55:06.389 | _Conn_dist_1_1_to_dist_4_2 | Distributed Server 1 | Connection lost to Parkville Server 2 - Link 0 |  |  | 2024.04.22 09:56:51.869 | 0 | THL
WENT UNACK Med | 2024.04.22 09:55:06.389 | _Conn_dist_1_1_to_dist_4_2 | Distributed Server 1 | Connection lost to Parkville Server 2 - Link 1 |  |  | 2024.04.22 09:57:10.916 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:56.555 | _DMA-BMS-PLC3_2 | MTAZC:_DMA-BMS-PLC3_2. | Communications Fault - Anzac Server 2 to Anzac BMS 3 PLC |  |  | 2024.04.22 09:54:57.183 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:56.548 | _DMA-BMS-PLC_2 | MTAZC:_DMA-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Anzac BMS PLC |  |  | 2024.04.22 09:55:03.510 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:55.650 | _Conn_event_0_2_to_ctrl_1_2 | Town Hall Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.22 09:54:56.099 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:54:55.650 | _Conn_event_0_2_to_ctrl_2_2 | Town Hall Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 09:54:58.499 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:54:55.650 | _Conn_event_0_2_to_ctrl_3_2 | Town Hall Server 2 | Control Manager Not Running - mtthl_scripts.lst |  |  | 2024.04.22 09:54:58.705 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:54:55.650 | _Conn_event_0_2_to_driver_1_2 | Town Hall Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.22 09:54:56.850 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:54:55.650 | _Conn_event_0_2_to_driver_2_2 | Town Hall Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.22 09:54:57.300 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:54:54.932 | _Conn_event_0_2_to_ctrl_1_2 | Anzac Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.22 09:54:55.365 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:54.932 | _Conn_event_0_2_to_ctrl_3_2 | Anzac Server 2 | Control Manager Not Running - mtazc_scripts.lst |  |  | 2024.04.22 09:54:58.167 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:54.932 | _Conn_event_0_2_to_driver_1_2 | Anzac Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.22 09:54:56.120 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:54.932 | _Conn_event_0_2_to_driver_2_2 | Anzac Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.22 09:54:56.516 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:49.586 | _Conn_event_0_2_to_ctrl_1_2 | State Library Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.22 09:54:49.978 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:49.586 | _Conn_event_0_2_to_ctrl_2_2 | State Library Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 09:54:52.320 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:49.586 | _Conn_event_0_2_to_ctrl_3_2 | State Library Server 2 | Control Manager Not Running - mtstl_scripts.lst |  |  | 2024.04.22 09:54:52.512 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:49.586 | _Conn_event_0_2_to_driver_1_2 | State Library Server 2 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.22 09:54:50.739 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:49.586 | _Conn_event_0_2_to_driver_2_2 | State Library Server 2 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.22 09:54:51.128 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:49.216 | _Conn_dist_1_1_to_dist_6_2 | Distributed Server 1 | Connection lost to Town Hall Server 2 - Link 0 |  |  | 2024.04.22 09:55:31.120 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:49.216 | _Conn_dist_1_1_to_dist_6_2 | Distributed Server 1 | Connection lost to Town Hall Server 2 - Link 1 |  |  | 2024.04.22 09:55:11.793 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:47.965 | _Conn_dist_1_1_to_dist_7_2 | Distributed Server 1 | Connection lost to Anzac Server 2 - Link 0 |  |  | 2024.04.22 09:55:10.841 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:47.964 | _Conn_dist_1_1_to_dist_7_2 | Distributed Server 1 | Connection lost to Anzac Server 2 - Link 1 |  |  | 2024.04.22 09:55:30.843 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:43.960 | _Conn_dist_1_1_to_dist_5_2 | Distributed Server 1 | Connection lost to State Library Server 2 - Link 1 |  |  | 2024.04.22 09:55:10.907 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:43.959 | _Conn_dist_1_1_to_dist_5_2 | Distributed Server 1 | Connection lost to State Library Server 2 - Link 0 |  |  | 2024.04.22 09:54:51.674 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:33.919 | _SYP-TIAS-PLC_2 | MTDIST:_SYP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SYP TIAS PLC |  |  | 2024.04.22 09:54:34.186 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:33.914 | _SKP-TIAS-PLC_2 | MTDIST:_SKP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SKP TIAS PLC |  |  | 2024.04.22 09:54:34.326 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_3_1 | Distributed Server 2 | Connection lost to Arden Server 1 - Link 0 |  |  | 2024.04.22 09:55:13.587 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_3_1 | Distributed Server 2 | Connection lost to Arden Server 1 - Link 1 |  |  | 2024.04.22 09:55:33.657 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_4_2 | Distributed Server 2 | Connection lost to Parkville Server 2 - Link 0 |  |  | 2024.04.22 09:56:53.792 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_4_2 | Distributed Server 2 | Connection lost to Parkville Server 2 - Link 1 |  |  | 2024.04.22 09:57:13.724 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_5_1 | Distributed Server 2 | Connection lost to State Library Server 1 - Link 0 |  |  | 2024.04.22 09:55:13.579 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_5_1 | Distributed Server 2 | Connection lost to State Library Server 1 - Link 1 |  |  | 2024.04.22 09:54:53.560 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_5_2 | Distributed Server 2 | Connection lost to State Library Server 2 - Link 0 |  |  | 2024.04.22 09:55:13.585 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_5_2 | Distributed Server 2 | Connection lost to State Library Server 2 - Link 1 |  |  | 2024.04.22 09:55:33.557 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_6_1 | Distributed Server 2 | Connection lost to Town Hall Server 1 - Link 0 |  |  | 2024.04.22 09:55:13.581 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_6_1 | Distributed Server 2 | Connection lost to Town Hall Server 1 - Link 1 |  |  | 2024.04.22 09:54:53.629 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_6_2 | Distributed Server 2 | Connection lost to Town Hall Server 2 - Link 0 |  |  | 2024.04.22 09:55:33.577 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_6_2 | Distributed Server 2 | Connection lost to Town Hall Server 2 - Link 1 |  |  | 2024.04.22 09:55:13.574 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_7_1 | Distributed Server 2 | Connection lost to Anzac Server 1 - Link 0 |  |  | 2024.04.22 09:54:53.578 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_7_1 | Distributed Server 2 | Connection lost to Anzac Server 1 - Link 1 |  |  | 2024.04.22 09:55:13.572 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_7_2 | Distributed Server 2 | Connection lost to Anzac Server 2 - Link 0 |  |  | 2024.04.22 09:55:13.575 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:33.502 | _Conn_dist_1_2_to_dist_7_2 | Distributed Server 2 | Connection lost to Anzac Server 2 - Link 1 |  |  | 2024.04.22 09:55:33.558 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:32.635 | _Conn_event_0_2_to_ctrl_1_2 | Distributed Server 2 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.22 09:54:32.890 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:32.635 | _Conn_event_0_2_to_ctrl_2_2 | Distributed Server 2 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 09:54:34.305 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:32.635 | _Conn_event_0_2_to_ctrl_3_2 | MTDIST:_Conn_event_0_2_to_ctrl_3_2. | Control Manager Not Running - mtdist_scripts.lst |  |  | 2024.04.22 09:54:34.506 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:32.635 | _Conn_event_0_2_to_ctrl_4_2 | Distributed Server 2 |  |  |  | 2024.04.22 09:54:34.707 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:32.635 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 |  |  |  | 2024.04.22 09:54:33.694 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:31.582 | _RDBArchive_2 | Distributed Server 2 | RDB Connection Lost |  |  | 2024.04.22 09:54:31.989 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:12.684 | _Conn_event_0_2_to_event_0_1 | Anzac Server 2 | Connection lost to Server 2 - Link 0 |  |  | 2024.04.22 09:55:13.363 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:54:12.684 | _Conn_event_0_2_to_event_0_1 | Anzac Server 2 | Connection lost to Server 2 - Link 1 |  |  | 2024.04.22 09:55:33.384 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:54:12.669 | _Conn_event_0_1_to_event_0_2 | Anzac Server 1 | Connection lost to Server 2 - Link 0 |  |  | 2024.04.22 09:55:13.364 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:12.669 | _Conn_event_0_1_to_event_0_2 | Anzac Server 1 | Connection lost to Server 2 - Link 1 |  |  | 2024.04.22 09:55:33.385 | 0 | ARN
WENT UNACK Med | 2024.04.22 09:54:07.114 | _Conn_event_0_1_to_event_0_2 | State Library Server 1 | Connection lost to Server 2 - Link 0 |  |  | 2024.04.22 09:55:26.221 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:07.114 | _Conn_event_0_1_to_event_0_2 | State Library Server 1 | Connection lost to Server 2 - Link 1 |  |  | 2024.04.22 09:55:46.300 | 0 | THL
WENT UNACK Med | 2024.04.22 09:54:07.066 | _Conn_event_0_2_to_event_0_1 | State Library Server 2 | Connection lost to Server 2 - Link 0 |  |  | 2024.04.22 09:55:26.219 | 0 | STL
WENT UNACK Med | 2024.04.22 09:54:07.066 | _Conn_event_0_2_to_event_0_1 | State Library Server 2 | Connection lost to Server 2 - Link 1 |  |  | 2024.04.22 09:55:46.300 | 0 | STL
WENT UNACK Med | 2024.04.22 09:46:54.491 | _DMA-BMS-PLC3 | MTAZC:_DMA-BMS-PLC3. | Communications Fault - Anzac Server 1 to Anzac BMS 3 PLC |  |  | 2024.04.22 09:46:55.114 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:46:54.484 | _DMA-BMS-PLC | MTAZC:_DMA-BMS-PLC. | Communications Fault - Anzac Server 1 to Anzac BMS PLC |  |  | 2024.04.22 09:47:01.700 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:46:52.845 | _Conn_event_0_1_to_ctrl_1_1 | Anzac Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.22 09:46:53.280 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:46:52.845 | _Conn_event_0_1_to_driver_1_1 | Anzac Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.22 09:46:54.045 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:46:52.845 | _Conn_event_0_1_to_driver_2_1 | Anzac Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.22 09:46:54.447 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:46:52.845 | _Conn_event_0_1_to_ctrl_3_1 | Anzac Server 1 | Control Manager Not Running - mtazc_scripts.lst |  |  | 2024.04.22 09:46:56.090 | 0 | AZC
WENT UNACK Med | 2024.04.22 09:46:45.194 | _Conn_event_0_1_to_ctrl_1_1 | State Library Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.22 09:46:45.563 | 0 | STL
WENT UNACK Med | 2024.04.22 09:46:45.194 | _Conn_event_0_1_to_driver_1_1 | State Library Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.22 09:46:46.323 | 0 | STL
WENT UNACK Med | 2024.04.22 09:46:45.194 | _Conn_event_0_1_to_ctrl_2_1 | State Library Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 09:46:47.875 | 0 | STL
WENT UNACK Med | 2024.04.22 09:46:45.194 | _Conn_event_0_1_to_ctrl_3_1 | State Library Server 1 | Control Manager Not Running - mtstl_scripts.lst |  |  | 2024.04.22 09:46:48.072 | 0 | STL
WENT UNACK Med | 2024.04.22 09:46:45.194 | _Conn_event_0_1_to_driver_2_1 | State Library Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.22 09:46:46.714 | 0 | STL
WENT UNACK Med | 2024.04.22 09:46:43.562 | _Mod_Plc_2 | MTARD:_Mod_Plc_2. | Communications Fault - Arden Server 1 to Arden FDS Gateway |  |  | 2024.04.22 09:46:44.575 | 0 | PKV
WENT UNACK Med | 2024.04.22 09:44:51.281 | _Conn_event_0_1_to_ctrl_1_1 | Town Hall Server 1 | Control Manager Not Running - pvss_scripts.lst |  |  | 2024.04.22 09:44:51.699 | 0 | THL
WENT UNACK Med | 2024.04.22 09:44:51.281 | _Conn_event_0_1_to_driver_1_1 | Town Hall Server 1 | TVCS PLC Driver Not Running (S7) |  |  | 2024.04.22 09:44:52.453 | 0 | THL
WENT UNACK Med | 2024.04.22 09:44:51.281 | _Conn_event_0_1_to_ctrl_2_1 | Town Hall Server 1 | Control Manager Not Running - mtlib_scripts.lst |  |  | 2024.04.22 09:44:54.106 | 0 | THL
WENT UNACK Med | 2024.04.22 09:44:51.281 | _Conn_event_0_1_to_ctrl_3_1 | Town Hall Server 1 | Control Manager Not Running - mtthl_scripts.lst |  |  | 2024.04.22 09:44:54.310 | 0 | THL
WENT UNACK Med | 2024.04.22 09:44:51.281 | _Conn_event_0_1_to_driver_2_1 | Town Hall Server 1 | BMS PLC Driver Not Running (S7+) |  |  | 2024.04.22 09:44:52.903 | 0 | THL
WENT UNACK Low | 2024.04.23 07:17:42.638 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Unauthorised access |  |  | 2024.04.23 07:17:46.614 | 0 | ARN
WENT UNACK Low | 2024.04.23 07:09:30.708 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.04.23 07:09:31.760 | 0 | THL
WENT UNACK Low | 2024.04.23 07:03:49.777 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.04.23 07:03:58.699 | 0 | PKV
WENT UNACK Low | 2024.04.23 06:57:27.449 | AEN_DOR_GF_405-2_1 | Security Door (GF EAST) | Door open too long |  |  | 2024.04.23 06:58:07.172 | 0 | ARN
WENT UNACK Low | 2024.04.23 01:09:18.158 | AEN-FLS-0008 | GF, AEN-FLS-0008, SCV1-RETAIL 1 Spr.F/S | Heat or smoke detector fault |  |  | 2024.04.23 03:09:09.174 | 0 | ARN
WENT UNACK Low | 2024.04.22 23:55:29.732 | PKV_DOR_B4_PKV-S-01_1 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.22 23:55:34.812 | 0 | PKV
WENT UNACK Low | 2024.04.22 23:50:53.093 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.04.22 23:50:59.536 | 0 | PKV
WENT UNACK Low | 2024.04.22 22:52:17.095 | PKV_FCU_0403_MVD_03 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 22:54:01.204 | 0 | PKV
WENT UNACK Low | 2024.04.22 22:52:16.244 | PKV_FCU_0211_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 22:52:30.398 | 0 | PKV
WENT UNACK Low | 2024.04.22 22:52:16.234 | PKV_FCU_0403_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 22:54:01.204 | 0 | PKV
WENT UNACK Low | 2024.04.22 22:52:15.102 | PKV_FCU_0211_MVD_01 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 22:54:03.103 | 0 | PKV
WENT UNACK Low | 2024.04.22 22:52:15.102 | PKV_FCU_0207_SMD_05 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 22:54:02.229 | 0 | PKV
WENT UNACK Low | 2024.04.22 22:52:15.102 | PKV_FCU_0207_SMD_04 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 22:54:03.103 | 0 | PKV
WENT UNACK Low | 2024.04.22 22:42:56.158 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator stopped(foreign object trapped in handrail entry - top right) |  |  | 2024.04.22 22:43:05.084 | 0 | PKV
WENT UNACK Low | 2024.04.22 21:35:29.702 | AEN_DOR_GF_401-1_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.04.22 21:35:34.369 | 0 | ARN
WENT UNACK Low | 2024.04.22 20:31:22.505 | DMA_FCU_1113_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 20:31:47.383 | 0 | AZC
WENT UNACK Low | 2024.04.22 20:05:42.549 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.04.22 20:16:20.567 | 0 | SDU
WENT UNACK Low | 2024.04.22 19:36:08.547 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  | 2024.04.22 19:38:01.550 | 0 | SDU
WENT UNACK Low | 2024.04.22 19:35:27.513 | AEN_DOR_B2_403-1_2 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.04.22 19:35:32.527 | 0 | ARN
WENT UNACK Low | 2024.04.22 19:02:14.866 | AEN_DOR_B2_ESC_STAIRS_04_1 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.22 19:02:22.235 | 0 | ARN
WENT UNACK Low | 2024.04.22 18:57:30.066 | AEN_DOR_B2_ESC_STAIRS_04_4 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.04.22 18:57:36.762 | 0 | ARN
WENT UNACK Low | 2024.04.22 17:34:36.773 | PKV_FCU_1209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.324 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.773 | PKV_FCU_1211_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.324 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.773 | PKV_FCU_1209_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.324 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.773 | PKV_FCU_1222_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.285 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.773 | PKV_FCU_1222_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.285 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.773 | PKV_FCU_1221_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.285 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.773 | PKV_FCU_1216_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.285 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0403_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:23.232 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0303_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.262 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0303_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.260 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0301_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.260 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0207_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:13:13.110 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0205_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.262 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0203_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.262 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0202_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:21.280 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0201_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:21.280 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1221_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.252 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1219_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.264 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1203_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.324 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.275 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1121_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.275 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1115_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.313 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1113_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.313 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1108_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:23.245 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1107_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:23.245 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1106_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:23.245 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0402_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:23.245 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0401_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:23.243 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0309_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:23.243 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0305_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.249 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0305_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.249 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0301_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.260 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0217_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.262 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0217_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.262 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0215_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.262 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0215_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.262 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0213_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.262 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0211_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.262 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0211_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:22.262 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1215_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.252 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1208_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.324 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1208_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.324 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1207_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:12:49.114 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1207_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:13:49.112 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1203_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.324 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1201_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.324 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1201_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.324 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1116_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.324 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1114_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:24.313 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1105_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:23.245 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_0404_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:23.232 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1402_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.264 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1401_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:12:46.251 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1401_MVD_03 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 17:35:12.212 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1401_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:12:46.251 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1401_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.264 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1305_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.252 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1303_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.252 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.763 | PKV_FCU_1303_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:07:25.252 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.760 | PKV_FCU_1301_MVD_03 | Fan Coil Unit - Supply Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:12:46.251 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.760 | PKV_FCU_1213_MVD_03 | Fan Coil Unit - Supply Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:12:46.251 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.760 | PKV_FCU_1213_MVD_02 | Fan Coil Unit - Supply Air Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:12:46.251 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:34:36.760 | PKV_FCU_1301_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 18:12:46.251 | 0 | PKV
WENT UNACK Low | 2024.04.22 17:06:50.436 | DMA_FCU_1001_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.04.22 17:07:33.375 | 0 | AZC
WENT UNACK Low | 2024.04.22 17:02:01.496 | DMA_FCU_1001_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.04.22 17:02:18.820 | 0 | AZC
WENT UNACK Low | 2024.04.22 16:49:02.781 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 1 |  |  | 2024.04.22 16:49:02.875 | 0 | PKV
WENT UNACK Low | 2024.04.22 16:49:02.781 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  | 2024.04.22 16:49:02.885 | 0 | PKV
WENT UNACK Low | 2024.04.22 16:49:02.080 | _ReduManager_2 | Arden Server 2 | Server 2 - Passive |  |  | 2024.04.22 16:49:17.492 | 0 | PKV
WENT UNACK Low | 2024.04.22 15:30:05.099 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Door open too long |  |  | 2024.04.22 15:32:20.172 | 0 | ARN
WENT UNACK Low | 2024.04.22 15:23:35.975 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.04.22 15:23:43.931 | 0 | PKV
WENT UNACK Low | 2024.04.22 14:39:13.541 | _PKV-TVC-PLC | MTPKV:_PKV-TVC-PLC. | Link Failure - Parkville Server 1 to Parkville TVCS CPU 1 |  |  | 2024.04.22 14:39:13.646 | 0 | PKV
WENT UNACK Low | 2024.04.22 14:26:23.660 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.04.22 14:26:33.146 | 0 | PKV
WENT UNACK Low | 2024.04.22 14:01:59.636 | _PKV-TVC-PLC_2 | MTPKV:_PKV-TVC-PLC_2. | Link Failure - Parkville Server 2 to Parkville TVCS CPU 1 |  |  | 2024.04.22 14:02:47.619 | 0 | STL
WENT UNACK Low | 2024.04.22 12:48:20.557 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  | 2024.04.22 12:48:25.372 | 0 | AZC
WENT UNACK Low | 2024.04.22 12:48:20.557 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  | 2024.04.22 12:48:26.581 | 0 | AZC
WENT UNACK Low | 2024.04.22 10:11:54.564 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Degraded |  |  | 2024.04.22 10:12:18.564 | 0 | SDU
WENT UNACK Low | 2024.04.22 09:54:56.145 | _ReduManager_2 | Town Hall Server 2 | Server 2 - Passive |  |  | 2024.04.22 09:55:15.782 | 0 | AZC
WENT UNACK Low | 2024.04.22 09:54:55.419 | _ReduManager_2 | Anzac Server 2 | Server 2 - Passive |  |  | 2024.04.22 09:54:56.349 | 0 | ARN
WENT UNACK Low | 2024.04.22 09:54:53.426 | _ReduManager | Distributed Server 1 | Server 1 - Passive |  |  | 2024.04.22 14:17:18.822 | 0 | ARN
WENT UNACK Low | 2024.04.22 09:54:50.054 | _ReduManager_2 | State Library Server 2 | Server 2 - Passive |  |  | 2024.04.22 09:55:09.666 | 0 | THL
WENT UNACK Low | 2024.04.22 09:54:32.635 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 0 |  |  | 2024.04.22 09:54:33.501 | 0 | THL
WENT UNACK Low | 2024.04.22 09:54:32.635 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 0 |  |  | 2024.04.22 09:54:33.066 | 0 | THL
WENT UNACK Low | 2024.04.22 09:53:55.514 | _Conn_event_0_1_to_event_0_2 | Distributed Server 1 | Connection lost to Server 2 - Link 0 |  |  | 2024.04.22 09:55:09.616 | 0 | THL
WENT UNACK Low | 2024.04.22 09:53:55.514 | _Conn_event_0_1_to_event_0_2 | Distributed Server 1 | Connection lost to Server 2 - Link 1 |  |  | 2024.04.22 09:55:29.637 | 0 | THL
WENT UNACK Low | 2024.04.22 09:53:55.502 | _Conn_event_0_2_to_event_0_1 | Distributed Server 2 | Connection lost to Server 1 - Link 0 |  |  | 2024.04.22 09:55:09.614 | 0 | ARN
WENT UNACK Low | 2024.04.22 09:53:55.502 | _Conn_event_0_2_to_event_0_1 | Distributed Server 2 | Connection lost to Server 1 - Link 1 |  |  | 2024.04.22 09:55:29.637 | 0 | ARN
WENT UNACK Low | 2024.04.22 09:09:26.170 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault |  |  | 2024.04.22 13:14:25.987 | 0 | SDU
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.805 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.803 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.802 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.799 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | THL
ACK Med | 2024.03.25 10:37:49.798 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.796 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.795 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.793 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.03.25 15:58:37.659 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.03.25 10:37:49.745 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost | 2024.04.11 09:41:56.763 | kai_longley |  | 0 | ARN
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.04.22 19:15:03.086 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault | 2024.04.22 19:19:32.112 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.22 18:27:24.095 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault | 2024.04.22 19:19:23.674 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.22 17:58:13.101 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault | 2024.04.22 18:13:31.801 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.22 10:53:50.290 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost | 2024.04.22 14:55:38.656 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.22 09:02:28.865 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault | 2024.04.22 09:48:59.644 | operator |  | 0 | ARN
ACK Low | 2024.04.22 08:51:35.599 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.22 18:13:21.684 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.22 08:51:35.051 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault | 2024.04.22 18:13:09.131 | emilio_ito |  | 0 | PKV
ACK Low | 2024.04.22 08:51:34.956 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.04.22 18:13:09.161 | emilio_ito |  | 0 | PKV
ACK Low | 2024.03.25 10:37:49.764 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN
ACK Low | 2024.03.25 10:37:49.754 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.04.11 09:41:56.762 | kai_longley |  | 0 | ARN