## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.05.21 08:40:27.453 | PKV-Z-4352 | ZONE 4352: B2, PKV-AJ-01 Unallocated Area 299-5 | Smoke or heat detected - fire unconfirmed! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 14:42:37.566 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 14:42:26.553 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 11:41:01.441 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:41:01.382 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:41:01.316 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:41:01.264 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:39:51.562 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.20 11:39:51.547 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.20 11:39:46.730 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:39:46.626 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:39:16.818 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.20 11:39:16.804 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.20 11:39:11.392 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:39:11.379 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:37:21.333 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:37:05.406 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.20 11:37:05.387 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.20 11:36:58.729 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.20 11:36:58.712 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.05.20 11:36:46.457 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:36:46.444 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:36:37.323 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 11:36:32.084 | DMA-E-PSD-028 | Anzac Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 11:36:31.964 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.20 11:36:20.196 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.20 11:36:13.988 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:36:10.790 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:35:50.579 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 11:35:49.862 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 11:35:47.957 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:35:47.478 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:35:46.985 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:35:44.005 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:35:43.996 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:35:43.989 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:35:43.980 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 14:42:37.566 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:42:04.525 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Power supply to fire panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.20 11:38:23.007 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:38:12.663 | DMA-C-01-EVAC | EWIS device for Anzac | EWIS fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.20 11:37:01.190 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.05.20 11:37:01.179 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.05.20 11:36:47.215 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:36:47.211 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:36:44.454 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:36:44.450 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:35:57.887 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.20 11:35:57.455 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.20 11:35:57.031 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.20 11:35:27.847 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.21 10:20:20.976 | DMA-SPE-0248 | B1, DMA-SPE-0248 CONC UNPAID AREA 102-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 10:09:04.885 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.21 10:09:02.212 | _ReduManager | Distributed Server 1 | Server 1 - Preferred active |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.21 10:09:00.081 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.009 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:54:38.061 | DMA-SPE-0831 | B1, DMA-SPE-0831 Escalator 11 (B1 Pit) | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:38.061 | DMA-SPE-0832 | B1, DMA-SPE-0832 Escalator 12 (B1 Pit) | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:38.061 | DMA-FPD-0019 | B1, DMA-FPD-0019 FCU-1123 LFT-07 S/A | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:38.061 | DMA-FPD-0020 | B1, DMA-FPD-0020 FCU-1124 LFT-07 S/A | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:37.957 | DMA-SPE-0811 | GF, DMA-SPE-0811 Escalator 11 (GF Pit) | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:37.957 | DMA-SPE-0812 | GF, DMA-SPE-0812 Escalator 12 (GF Pit) | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:35.810 | DMA-SPE-0166 | B1, DMA-SPE-0166 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:35.810 | DMA-SPE-0167 | B1, DMA-SPE-0167 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:35.810 | DMA-SPE-0168 | B1, DMA-SPE-0168 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:35.810 | DMA-SPE-0722 | B1, DMA-SPE-0722 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:35.810 | DMA-SPE-0723 | B1, DMA-SPE-0723 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:35.810 | DMA-SPE-0725 | B1, DMA-SPE-0725 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:34.929 | DMA-SPE-0170 | B1, DMA-SPE-0170 FIRE LOBBY C/S 406-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:34.929 | DMA-SPE-0721 | B1, DMA-SPE-0721 FIRE LOBBY 406-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:34.929 | DMA-SPE-0724 | B1, DMA-SPE-0724 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:34.928 | DMA-SPE-0004 | B1, DMA-SPE-0004 FIELD DEV ROOM 710-6 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:34.928 | DMA-SPE-0005 | B1, DMA-SPE-0005 HVAC PLANT ROOM 811-8 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:34.928 | DMA-SPE-0006 | B1, DMA-SPE-0006 HVAC PLANT ROOM 811-8 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:04.929 | DMA-SPE-0244 | B1, DMA-SPE-0244 CONC UNPAID AREA 102-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:04.929 | DMA-SPE-0245 | B1, DMA-SPE-0245 CONC UNPAID AREA 102-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:04.929 | DMA-SPE-0246 | B1, DMA-SPE-0246 CONC UNPAID AREA 102-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:04.929 | DMA-SPE-0247 | B1, DMA-SPE-0247 CONC UNPAID AREA 102-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:04.877 | DMA-SPE-0169 | B1, DMA-SPE-0169 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:54:01.937 | DMA-SPE-0007 | B1, DMA-SPE-0007 WATER METER ROOM 884-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:32:55.877 | DMA-SPE-0326 | B1, DMA-SPE-0326 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 09:32:45.676 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 08:40:28.398 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 08:40:18.390 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 08:39:39.856 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.21 08:32:16.871 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.21 07:59:26.410 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 07:59:26.410 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 07:46:35.826 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.21 07:23:41.390 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:42:12.082 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:42:10.607 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:42:10.373 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:42:09.770 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:42:09.544 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:42:07.284 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:42:07.088 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:42:05.520 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:42:04.140 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:40:59.840 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.814 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.786 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.771 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.746 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.732 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.703 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.676 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:53.391 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:40:53.378 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:40:31.169 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:39:52.026 | PKV-SPE-0018 | B1, PKV-SPE-0018 Gas Meter Room 944-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:43.737 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:41.444 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:38.899 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:36.789 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:34.649 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:32.562 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:30.472 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:28.351 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:26.240 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:24.083 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:21.975 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:19.781 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:39:07.244 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:07.090 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:06.834 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:06.572 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:06.422 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:06.268 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:06.120 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.966 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.814 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.661 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.399 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.252 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.097 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:04.942 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:04.769 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:04.621 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:04.467 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:04.208 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:03.104 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:49.465 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:37:16.533 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:15.771 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:15.006 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:14.241 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:13.477 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:12.716 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:11.955 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:08.899 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:08.137 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:07.369 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:06.603 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:05.820 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:05.051 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:01.467 | PKV_TEXB | Tunnel Ambient Temperature Control - Westbound | Tunnel B - Ambient Temperature Control Unavailable |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:36:36.736 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:36:31.515 | DMA-E-PSD-028 | Anzac Platform 2 Zone 3 PSD 28 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:36:22.801 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:36:00.710 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.05.20 11:36:00.473 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
WENT UNACK High | 2024.05.21 09:56:06.722 | DMA-Z-7608 | ZONE 7608: B1, DMA-FPD-0009 FCU-1108 FCR 401-1 S/A | Confirmed fire! |  |  | 2024.05.21 09:56:39.763 | 0 | AZC
WENT UNACK High | 2024.05.21 08:02:18.728 | DMA-Z-7202 | ZONE 7202: B1, DMA-BF-01 FIRE ESCAPE CORRIDOR | Smoke or heat detected - fire unconfirmed! |  |  | 2024.05.21 08:16:57.745 | 0 | AZC
WENT UNACK High | 2024.05.21 07:23:01.414 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.05.21 07:23:12.419 | 0 | AZC
WENT UNACK High | 2024.05.21 07:21:22.420 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.05.21 07:36:20.421 | 0 | AZC
WENT UNACK Med | 2024.05.21 10:12:33.845 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 |  |  |  | 2024.05.21 10:12:33.899 | 0 | THL
WENT UNACK Med | 2024.05.21 10:07:28.422 | DMA_SPP_0205_06_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.05.21 10:09:30.432 | 0 | AZC
WENT UNACK Med | 2024.05.21 10:04:00.714 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  | 2024.05.21 10:10:02.711 | 0 | ARN
WENT UNACK Med | 2024.05.21 09:24:48.838 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 09:24:58.850 | 0 | PKV
WENT UNACK Med | 2024.05.21 09:23:22.849 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 09:23:32.879 | 0 | PKV
WENT UNACK Med | 2024.05.21 09:12:35.810 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift locked out due to high temperature! |  |  | 2024.05.21 09:25:13.392 | 0 | AZC
WENT UNACK Med | 2024.05.21 09:12:35.810 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift locked out due to high temperature! |  |  | 2024.05.21 09:25:13.392 | 0 | AZC
WENT UNACK Med | 2024.05.21 09:12:35.810 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift locked out due to high temperature! |  |  | 2024.05.21 09:25:13.392 | 0 | AZC
WENT UNACK Med | 2024.05.21 09:12:35.810 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift locked out due to high temperature! |  |  | 2024.05.21 09:25:13.392 | 0 | AZC
WENT UNACK Med | 2024.05.21 09:12:35.810 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift locked out due to high temperature! |  |  | 2024.05.21 09:25:14.460 | 0 | AZC
WENT UNACK Med | 2024.05.21 09:12:35.810 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift locked out due to high temperature! |  |  | 2024.05.21 09:25:14.460 | 0 | AZC
WENT UNACK Med | 2024.05.21 09:11:54.735 | _DMA-BMS-PLC_2 | MTAZC:_DMA-BMS-PLC_2. | Communications Fault - Anzac Server 2 to Anzac BMS PLC |  |  | 2024.05.21 09:12:41.795 | 0 | ARN
WENT UNACK Med | 2024.05.21 09:11:48.652 | _DMA-BMS-PLC | MTAZC:_DMA-BMS-PLC. | Communications Fault - Anzac Server 1 to Anzac BMS PLC |  |  | 2024.05.21 09:12:35.735 | 0 | AZC
WENT UNACK Med | 2024.05.21 07:23:50.383 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 07:24:02.390 | 0 | AZC
WENT UNACK Med | 2024.05.21 07:23:00.430 | DMA_FCU_1115_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.21 07:23:09.427 | 0 | AZC
WENT UNACK Med | 2024.05.21 07:07:35.655 | AEN-W-PSD-003 | Arden Platform 1 Zone 1 PSD 03 | Door control unit communication lost |  |  | 2024.05.21 07:08:31.655 | 0 | ARN
WENT UNACK Med | 2024.05.20 21:56:00.289 | DMA_UPS_0401 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.05.20 21:56:25.289 | 0 | AZC
WENT UNACK Med | 2024.05.20 21:55:43.973 | AEN_UPS_0402 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.05.20 21:55:57.973 | 0 | ARN
WENT UNACK Med | 2024.05.20 21:55:43.973 | AEN_UPS_0402 | Uninterruptible Power Supply | UPS internal diagnostic fault |  |  | 2024.05.20 21:55:57.973 | 0 | ARN
WENT UNACK Med | 2024.05.20 21:51:29.773 | PKV-E-PSD-003 | Parkville Platform 2 Zone 1 PSD 03 | Door control unit communication lost |  |  | 2024.05.20 21:52:29.774 | 0 | PKV
WENT UNACK Med | 2024.05.20 21:42:16.418 | DMA_SPP_0209_10_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.05.20 21:45:54.516 | 0 | AZC
WENT UNACK Med | 2024.05.20 11:39:07.183 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.072 | 0 | PKV
WENT UNACK Med | 2024.05.20 11:39:06.926 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.072 | 0 | PKV
WENT UNACK Med | 2024.05.20 11:39:06.669 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.072 | 0 | PKV
WENT UNACK Med | 2024.05.20 11:39:06.360 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.061 | 0 | PKV
WENT UNACK Med | 2024.05.20 11:39:06.059 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.061 | 0 | PKV
WENT UNACK Med | 2024.05.20 11:39:05.754 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.061 | 0 | PKV
WENT UNACK Med | 2024.05.20 11:39:05.497 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.061 | 0 | PKV
WENT UNACK Med | 2024.05.20 11:39:05.191 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.061 | 0 | PKV
WENT UNACK Med | 2024.05.20 11:39:04.879 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.061 | 0 | PKV
WENT UNACK Med | 2024.05.20 11:39:04.560 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.061 | 0 | PKV
WENT UNACK Med | 2024.05.20 11:39:04.301 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift locked out due to high temperature! |  |  | 2024.05.20 11:53:02.061 | 0 | PKV
WENT UNACK Low | 2024.05.21 10:43:47.726 | AEN_DOR_GF_401-1_1 | Ground floor east - fire control room | Unauthorised access |  |  | 2024.05.21 10:45:07.278 | 0 | ARN
WENT UNACK Low | 2024.05.21 10:42:54.890 | AEN_DOR_B2_ESC_STAIRS_04_2 | Platform 2 east - single emergency door | Unauthorised access |  |  | 2024.05.21 10:43:00.489 | 0 | ARN
WENT UNACK Low | 2024.05.21 10:42:49.476 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access |  |  | 2024.05.21 10:42:52.513 | 0 | ARN
WENT UNACK Low | 2024.05.21 10:35:11.121 | AEN_DOR_GF_ESC_STAIR_9_1 | Ground floor east - after hours stairs | Unauthorised access |  |  | 2024.05.21 10:42:29.773 | 0 | ARN
WENT UNACK Low | 2024.05.21 10:30:35.373 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.05.21 10:30:46.865 | 0 | PKV
WENT UNACK Low | 2024.05.21 10:08:29.672 | _ReduManager_2 | Distributed Server 2 | Server 2 - Passive |  |  | 2024.05.21 10:09:02.212 | 0 | THL
WENT UNACK Low | 2024.05.21 10:02:39.302 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.05.21 10:02:48.565 | 0 | PKV
WENT UNACK Low | 2024.05.21 09:58:27.550 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.05.21 09:58:46.015 | 0 | PKV
WENT UNACK Low | 2024.05.21 09:55:04.421 | DMA_SDP_0109_10_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.05.21 10:25:34.439 | 0 | AZC
WENT UNACK Low | 2024.05.21 09:54:42.625 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.05.21 09:54:50.033 | 0 | PKV
WENT UNACK Low | 2024.05.21 09:54:21.999 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.05.21 09:54:31.615 | 0 | PKV
WENT UNACK Low | 2024.05.21 09:52:21.783 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.05.21 10:12:35.921 | 0 | THL
WENT UNACK Low | 2024.05.21 09:32:53.816 | DMA-SPE-0321 | B1, DMA-SPE-0321 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:47:37.920 | 0 | AZC
WENT UNACK Low | 2024.05.21 09:12:35.810 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  | 2024.05.21 09:25:14.456 | 0 | AZC
WENT UNACK Low | 2024.05.21 08:43:36.849 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.05.21 08:44:15.852 | 0 | PKV
WENT UNACK Low | 2024.05.21 08:41:34.462 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  | 2024.05.21 08:47:06.413 | 0 | AZC
WENT UNACK Low | 2024.05.21 08:22:52.612 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.05.21 08:23:01.826 | 0 | PKV
WENT UNACK Low | 2024.05.21 08:19:24.829 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator stopped(broken step - bottom) |  |  | 2024.05.21 08:20:08.846 | 0 | PKV
WENT UNACK Low | 2024.05.21 08:17:30.819 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator stopped (broken step - top) |  |  | 2024.05.21 08:17:54.828 | 0 | PKV
WENT UNACK Low | 2024.05.21 07:23:07.393 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.05.21 07:23:43.390 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:23:06.400 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.05.21 07:23:44.469 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:23:06.384 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  | 2024.05.21 07:23:34.441 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:23:06.384 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  | 2024.05.21 07:23:35.376 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:23:05.397 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  | 2024.05.21 07:23:42.389 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:23:04.444 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  | 2024.05.21 07:23:29.383 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:23:04.444 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  | 2024.05.21 07:23:31.377 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:23:00.430 | DMA_FCU_1121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 07:23:13.424 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:23:00.430 | DMA_FCU_1117_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 07:23:09.427 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:23:00.430 | DMA_FCU_1125_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 07:23:13.424 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:23:00.430 | DMA_FCU_0123_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 07:23:13.424 | 0 | AZC
WENT UNACK Low | 2024.05.21 07:22:59.434 | DMA_FCU_1119_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 07:23:09.427 | 0 | AZC
WENT UNACK Low | 2024.05.20 14:42:32.547 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Loss of redundancy (fans) |  |  | 2024.05.20 14:42:37.566 | 0 | AZC
WENT UNACK Low | 2024.05.20 14:42:22.547 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | Loss of redundancy (fans) |  |  | 2024.05.20 14:42:26.553 | 0 | AZC
WENT UNACK Low | 2024.05.20 14:37:16.534 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Degraded |  |  | 2024.05.20 14:42:37.566 | 0 | SDU
WENT UNACK Low | 2024.05.20 12:32:01.894 | DMA-SPE-0760 | B1, DMA-SPE-0760 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.779 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:34.706 | DMA-SPE-0827 | B1, DMA-SPE-0827 Escalator 7 (B1 Pit) | Heat or smoke detector fault |  |  | 2024.05.21 09:32:23.926 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:31.761 | DMA-SPE-0807 | GF, DMA-SPE-0807 Escalator 7 (GF Pit) | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.779 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:29.923 | DMA-SPE-0765 | B1, DMA-SPE-0765 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.799 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:29.485 | DMA-SPE-0763 | B1, DMA-SPE-0763 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.799 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:29.047 | DMA-SPE-0762 | B1, DMA-SPE-0762 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.779 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:28.605 | DMA-SPE-0761 | B1, DMA-SPE-0761 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:18.312 | DMA-SPE-0673 | GF, DMA-SPE-0673 LIFT 5 DMA-LFT-0005 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.779 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:07.616 | DMA-SPE-0625 | B1, DMA-SPE-0625 RETAIL WC LOBBY 913-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.779 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:07.180 | DMA-SPE-0612 | B1, DMA-SPE-0612 DDA TOILET RETAIL 912-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.779 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:06.731 | DMA-SPE-0611 | B1, DMA-SPE-0611 MALE WC RETAIL 910-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.779 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:06.295 | DMA-SPE-0610 | B1, DMA-SPE-0610 FEMALE WC RETAIL 911-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.779 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:02.911 | DMA-SPE-0579 | B1, DMA-SPE-0579 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.779 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:02.468 | DMA-SPE-0578 | B1, DMA-SPE-0578 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.778 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:02.018 | DMA-SPE-0577 | B1, DMA-SPE-0577 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:01.579 | DMA-SPE-0576 | B1, DMA-SPE-0576 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:45:00.215 | DMA-SPE-0565 | B1, DMA-SPE-0565 RETAIL WC LOBBY 913-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.778 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:19.995 | DMA-SPE-0348 | B1, DMA-SPE-0348 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.778 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:18.659 | DMA-SPE-0343 | B1, DMA-SPE-0343 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.778 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:18.223 | DMA-SPE-0342 | B1, DMA-SPE-0342 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:17.782 | DMA-SPE-0341 | B1, DMA-SPE-0341 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:17.346 | DMA-SPE-0340 | B1, DMA-SPE-0340 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:16.901 | DMA-SPE-0339 | B1, DMA-SPE-0339 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:16.456 | DMA-SPE-0338 | B1, DMA-SPE-0338 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:16.013 | DMA-SPE-0337 | B1, DMA-SPE-0337 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:15.574 | DMA-SPE-0336 | B1, DMA-SPE-0336 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:15.127 | DMA-SPE-0335 | B1, DMA-SPE-0335 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:14.680 | DMA-SPE-0334 | B1, DMA-SPE-0334 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:14.244 | DMA-SPE-0333 | B1, DMA-SPE-0333 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:13.801 | DMA-SPE-0332 | B1, DMA-SPE-0332 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:13.367 | DMA-SPE-0331 | B1, DMA-SPE-0331 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:21.798 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:12.926 | DMA-SPE-0330 | B1, DMA-SPE-0330 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.778 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:12.490 | DMA-SPE-0329 | B1, DMA-SPE-0329 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.676 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:12.052 | DMA-SPE-0328 | B1, DMA-SPE-0328 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.676 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:11.614 | DMA-SPE-0327 | B1, DMA-SPE-0327 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.676 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:10.503 | DMA-SPE-0324 | B1, DMA-SPE-0324 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.676 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:10.060 | DMA-SPE-0323 | B1, DMA-SPE-0323 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.676 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:09.620 | DMA-SPE-0322 | B1, DMA-SPE-0322 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.676 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:44:08.740 | DMA-SPE-0320 | B1, DMA-SPE-0320 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 07:28:50.862 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:42:59.120 | DMA-HTD-0120 | B1, DMA-HTD-0120 MALE WC RETAIL 910-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.676 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:42:58.676 | DMA-HTD-0119 | B1, DMA-HTD-0119 FEMALE WC RETAIL 911-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.676 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:42:58.239 | DMA-HTD-0118 | B1, DMA-HTD-0118 DDA TOILET RETAIL 912-1 | Heat or smoke detector fault |  |  | 2024.05.21 09:32:22.675 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:37:11.198 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.05.21 07:53:11.821 | 0 | PKV
WENT UNACK Low | 2024.05.20 11:37:10.433 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.05.21 07:54:02.828 | 0 | PKV
WENT UNACK Low | 2024.05.20 11:36:01.136 | DMA_FCU_1123_24_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 09:08:21.425 | 0 | AZC
WENT UNACK Low | 2024.05.17 13:00:18.369 | DMA-FPD-1101 | B1, DMA-FPD-1101 AHU-1101 ECS PLANT801-4 | Heat or smoke detector fault |  |  | 2024.05.17 13:06:06.528 | 0 | AZC
ACK High | 2024.05.20 11:38:22.078 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.05.21 09:42:54.436 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:38:22.062 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.05.21 09:43:00.172 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:43.639 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.05.21 09:43:02.788 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:43.624 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.05.21 09:43:06.872 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:20.068 | AEN-W-PSD-030 | Arden Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2024.05.21 09:43:10.210 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:16.396 | AEN-W-PSD-021 | Arden Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.05.21 09:43:16.772 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:11.965 | AEN-W-PSD-010 | Arden Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2024.05.21 09:43:19.309 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:08.360 | AEN-W-PSD-001 | Arden Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:03.086 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:07.916 | AEN-E-PSD-030 | Arden Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:04.696 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:07.471 | AEN-E-PSD-029 | Arden Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:06.305 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:07.023 | AEN-E-PSD-028 | Arden Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:09.228 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:06.570 | AEN-E-PSD-027 | Arden Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:13.697 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:06.124 | AEN-E-PSD-026 | Arden Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:15.881 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:05.660 | AEN-E-PSD-025 | Arden Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:17.853 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:05.212 | AEN-E-PSD-024 | Arden Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:19.824 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:04.760 | AEN-E-PSD-023 | Arden Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:21.281 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:04.300 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2024.05.21 09:52:18.107 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:03.846 | AEN-E-PSD-021 | Arden Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2024.05.21 09:56:16.109 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:03.404 | AEN-E-PSD-020 | Arden Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:29.874 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:02.960 | AEN-E-PSD-019 | Arden Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:27.187 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:02.513 | AEN-E-PSD-018 | Arden Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:34.472 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:02.070 | AEN-E-PSD-017 | Arden Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:32.389 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:01.625 | AEN-E-PSD-016 | Arden Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:38.752 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:01.181 | AEN-E-PSD-015 | Arden Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:41.572 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:00.734 | AEN-E-PSD-014 | Arden Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:44.027 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:36:00.288 | AEN-E-PSD-013 | Arden Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2024.05.21 09:47:45.336 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:35:59.833 | AEN-E-PSD-012 | Arden Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2024.05.21 09:43:53.595 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:35:59.383 | AEN-E-PSD-011 | Arden Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2024.05.21 09:43:57.348 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 11:35:58.924 | AEN-E-PSD-010 | Arden Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2024.05.21 09:43:59.900 | harsimran_virk |  | 0 | ARN
ACK High | 2024.05.20 08:23:30.503 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.05.20 15:17:54.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.13 17:25:33.702 | _Driver1_2 | MTAZC:_Driver1_2. | Driver overloaded | 2024.05.17 08:14:22.995 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded | 2024.05.20 15:17:59.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.08 09:24:26.938 | _Driver1_2 | MTARD:_Driver1_2. | Driver overloaded | 2024.05.20 15:17:40.384 | eric_maddocks |  | 0 | PKV
ACK Med | 2024.05.20 12:06:59.071 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:06:59.068 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:06:59.066 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:06:59.064 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:06:59.062 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:06:59.059 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:06:59.057 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:06:59.054 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:06:59.001 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:06:58.974 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:03:55.569 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2024.05.20 15:18:27.816 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:03:55.564 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.05.20 15:18:27.816 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:03:55.560 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.05.20 15:18:27.816 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:03:54.231 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.05.20 15:18:27.816 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:03:54.227 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.05.20 15:18:07.088 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:03:54.223 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2024.05.20 15:18:07.088 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:03:15.441 | _Mod_Plc_4_2 | MTAZC:_Mod_Plc_4_2. | Communications Fault - Anzac Server 2 to Anzac EWIS | 2024.05.20 15:18:27.824 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:03:15.441 | _Mod_Plc_3_2 | MTAZC:_Mod_Plc_3_2. | Communications Fault - Anzac Server 2 to Anzac EWIS | 2024.05.20 15:18:27.824 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:03:14.933 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD | 2024.05.20 15:18:07.116 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:02:23.523 | _Mod_Plc_4 | MTAZC:_Mod_Plc_4. | Communications Fault - Anzac Server 1 to Anzac EWIS | 2024.05.20 15:18:27.824 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:02:23.482 | _Mod_Plc_3 | MTAZC:_Mod_Plc_3. | Communications Fault - Anzac Server 1 to Anzac EWIS | 2024.05.20 15:18:07.116 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:02:23.399 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD | 2024.05.20 15:18:07.116 | eric_maddocks |  | 0 | AZC
ACK Low | 2024.05.21 09:50:11.517 | AEN_DOR_B1_151-4_1 | Concourse east - back of house emergency corridor | Unauthorised access | 2024.05.21 09:52:39.145 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 12:06:59.010 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Low | 2024.05.20 12:06:59.006 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.05.20 12:06:58.995 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Low | 2024.05.20 12:06:58.990 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.05.20 11:40:53.209 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access | 2024.05.21 09:43:32.566 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:40:53.176 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Door open too long | 2024.05.21 09:43:32.566 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:39:46.751 | AEN-SPE-0404 | B1, AEN-SPE-0404, 151-10 BOH Corridor | Heat or smoke detector fault | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:38:18.110 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:38:17.926 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:38:16.922 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:37:06.086 | AEN_ESC_0007 | Escalator 7 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:37:05.402 | AEN_ESC_0006 | Escalator 6 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:37:04.724 | AEN_ESC_0005 | Escalator 5 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN