## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
1 | 2025.04.15 07:26:19.497 | PKV_SYS_0007 | Parkville PSD connection status | All connections lost |  |  | 2025.04.15 07:26:19.607 | 0 | PKV
1 | 2025.04.15 07:26:19.497 | PKV_SYS_0007 | Parkville PSD connection status | PSS 2 connection 1 lost |  |  | 2025.04.15 07:26:19.607 | 0 | PKV
1 | 2025.04.15 07:26:19.494 | PKV_SYS_0007 | Parkville PSD connection status | PSS 1 connection 1 lost |  |  | 2025.04.15 07:26:19.636 | 0 | PKV
1 | 2025.04.15 07:26:18.708 | TSC_SYS_0007 | Town Hall PSD connection status | All connections lost |  |  | 2025.04.15 07:26:18.747 | 0 | THL
1 | 2025.04.15 07:26:18.708 | TSC_SYS_0007 | Town Hall PSD connection status | PSS 2 connection 1 lost |  |  | 2025.04.15 07:26:18.750 | 0 | THL
1 | 2025.04.15 07:26:18.705 | TSC_SYS_0007 | Town Hall PSD connection status | PSS 1 connection 1 lost |  |  | 2025.04.15 07:26:18.747 | 0 | THL
1 | 2025.04.15 07:26:15.035 | TNC_SYS_0007 | State Library PSD connection status | All connections lost |  |  | 2025.04.15 07:26:15.194 | 0 | STL
1 | 2025.04.15 07:26:15.035 | TNC_SYS_0007 | State Library PSD connection status | PSS 2 connection 1 lost |  |  | 2025.04.15 07:26:15.194 | 0 | STL
1 | 2025.04.15 07:26:15.032 | TNC_SYS_0007 | State Library PSD connection status | PSS 1 connection 1 lost |  |  | 2025.04.15 07:26:15.213 | 0 | STL
1 | 2025.04.15 07:26:12.918 | AEN_SYS_0007 | Arden PSD connection status | PSS 1 connection 1 lost |  |  | 2025.04.15 07:26:13.034 | 0 | ARN
1 | 2025.04.15 07:26:11.001 | DMA_SYS_0007 | Anzac PSD connection status | PSS 1 connection 1 lost |  |  | 2025.04.15 07:26:11.266 | 0 | AZC
1 | 2025.04.15 07:26:10.520 | DMA_DOR_B1_151-5_3 | Concourse East - Back of House East corridor | Unauthorised access |  |  | 2025.04.15 07:26:17.943 | 0 | AZC
1 | 2025.04.15 07:24:35.084 | DMA_DOR_B1_406-3_2 | Concourse - South fire lobby | Unauthorised access |  |  | 2025.04.15 07:24:41.769 | 0 | AZC
1 | 2025.04.14 20:28:07.729 | TNC_OCN_0101_02_DS | Franklin St OCE shaft | All fans inoperative! | 2025.04.15 07:14:38.438 | kai_longley |  | 0 | SDU
1 | 2025.04.14 20:28:01.754 | TNC_OCN_0201_02_DS | Lt LaTrobe St OCE shaft | All fans inoperative! | 2025.04.15 07:14:45.482 | kai_longley |  | 0 | SDU
1 | 2025.04.14 20:26:52.751 | TNC_OFN_0001_03_DS | AâBeckett St OTE shaft | All fans inoperative! | 2025.04.15 07:14:47.198 | kai_longley |  | 0 | SDU
1 | 2025.04.14 18:23:57.744 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2025.04.15 07:14:52.154 | kai_longley |  | 0 | SDU
1 | 2025.04.14 18:23:57.744 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2025.04.15 07:14:50.762 | kai_longley |  | 0 | SDU
1 | 2025.04.14 18:16:59.477 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2025.04.15 07:14:56.122 | kai_longley |  | 0 | THL
1 | 2025.04.14 18:16:59.477 | TSC_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2025.04.15 07:14:54.779 | kai_longley |  | 0 | THL
1 | 2025.04.14 15:54:48.205 | TSC_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.04.15 07:14:57.378 | kai_longley |  | 0 | SDU
1 | 2025.04.14 15:52:11.451 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2025.04.15 07:15:00.853 | kai_longley |  | 0 | SDU
1 | 2025.04.14 15:33:01.484 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2025.04.15 07:15:03.894 | kai_longley |  | 0 | SDU
1 | 2025.04.14 15:33:01.484 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2025.04.15 07:15:02.314 | kai_longley |  | 0 | SDU
1 | 2025.04.11 12:26:49.977 | TNC-E-EED-014 | State Library Platform 2 Zone 1 EED 14 | EED Unscheduled Door Opening! | 2025.04.11 12:35:18.413 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:25:46.721 | TNC-E-EED-012 | State Library Platform 2 Zone 1 EED 12 | EED Unscheduled Door Opening! | 2025.04.11 12:35:20.510 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:19:46.169 | TNC-E-EED-011 | State Library Platform 2 Zone 1 EED 11 | EED Unscheduled Door Opening! | 2025.04.11 12:35:21.938 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:19:10.474 | TNC-E-EED-010 | State Library Platform 2 Zone 1 EED 10 | EED Unscheduled Door Opening! | 2025.04.11 12:35:26.705 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:18:49.980 | TNC-E-EED-009 | State Library Platform 2 Zone 1 EED 09 | EED Unscheduled Door Opening! | 2025.04.11 12:35:28.239 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:17:49.715 | TNC-E-EED-008 | State Library Platform 2 Zone 1 EED 08 | EED Unscheduled Door Opening! | 2025.04.11 12:35:29.544 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:16:53.965 | TNC-E-EED-007 | State Library Platform 2 Zone 1 EED 07 | EED Unscheduled Door Opening! | 2025.04.11 12:35:31.079 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:16:43.713 | TNC-E-EED-006 | State Library Platform 2 Zone 1 EED 06 | EED Unscheduled Door Opening! | 2025.04.11 12:35:32.354 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:16:00.981 | TNC-E-EED-004 | State Library Platform 2 Zone 1 EED 04 | EED Unscheduled Door Opening! | 2025.04.11 12:35:33.855 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:15:53.466 | TNC-E-EED-005 | State Library Platform 2 Zone 1 EED 05 | EED Unscheduled Door Opening! | 2025.04.11 12:35:35.158 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:14:46.471 | TNC-E-EED-003 | State Library Platform 2 Zone 1 EED 03 | EED Unscheduled Door Opening! | 2025.04.11 12:35:36.724 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:14:39.978 | TNC-E-EED-002 | State Library Platform 2 Zone 1 EED 02 | EED Unscheduled Door Opening! | 2025.04.11 12:35:41.104 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:13:58.972 | TNC-E-EED-001 | State Library Platform 2 Zone 1 EED 01 | EED Unscheduled Door Opening! | 2025.04.11 12:35:45.330 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:03:43.121 | PKV-W-PSD-005 | Parkville Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2025.04.11 12:03:48.301 | shabnam_lal |  | 0 | PKV
1 | 2025.04.11 11:58:01.872 | PKV-E-PSD-026 | Parkville Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2025.04.11 11:58:13.615 | shabnam_lal |  | 0 | PKV
1 | 2025.04.11 09:05:54.469 | TNC-E-EED-013 | State Library Platform 2 Zone 1 EED 13 | EED Unscheduled Door Opening! | 2025.04.11 12:35:58.191 | kai_longley |  | 0 | STL
1 | 2025.04.10 13:31:57.429 | DMA_OFN_0201_02_DS | Bowen Ln OTE shaft | All fans inoperative! | 2025.04.11 12:36:03.766 | kai_longley |  | 0 | AZC
1 | 2025.04.10 13:31:54.428 | DMA_OFN_0101_02_DS | Albert Rd OTE shaft | All fans inoperative! | 2025.04.11 12:36:05.459 | kai_longley |  | 0 | AZC
1 | 2025.04.10 13:30:36.440 | DMA_TFN_0101_03_DS | Albert Rd TVF shaft | All fans inoperative! | 2025.04.11 12:36:15.099 | kai_longley |  | 0 | AZC
1 | 2025.04.10 13:30:36.440 | DMA_TFN_0201_03_DS | Bowen Ln TVF shaft | All fans inoperative! | 2025.04.11 12:36:12.466 | kai_longley |  | 0 | AZC
1 | 2025.04.10 10:30:53.722 | TNC-W-EED-001 | State Library Platform 1 Zone 1 EED 01 | EED Unscheduled Door Opening! | 2025.04.10 10:36:46.022 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:16:31.473 | TNC-W-EED-003 | State Library Platform 1 Zone 1 EED 03 | EED Unscheduled Door Opening! | 2025.04.11 12:36:16.563 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:16:23.471 | TNC-W-EED-002 | State Library Platform 1 Zone 1 EED 02 | EED Unscheduled Door Opening! | 2025.04.11 12:36:19.195 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:15:20.721 | TNC-W-EED-005 | State Library Platform 1 Zone 1 EED 05 | EED Unscheduled Door Opening! | 2025.04.11 12:36:20.652 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:15:14.975 | TNC-W-EED-004 | State Library Platform 1 Zone 1 EED 04 | EED Unscheduled Door Opening! | 2025.04.11 12:36:22.084 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:10:46.971 | TNC-W-EED-007 | State Library Platform 1 Zone 1 EED 07 | EED Unscheduled Door Opening! | 2025.04.11 12:36:23.508 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:10:33.974 | TNC-W-EED-006 | State Library Platform 1 Zone 1 EED 06 | EED Unscheduled Door Opening! | 2025.04.11 12:36:24.737 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:09:56.971 | TNC-W-EED-008 | State Library Platform 1 Zone 1 EED 08 | EED Unscheduled Door Opening! | 2025.04.11 12:36:26.468 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:08:42.224 | TNC-W-EED-009 | State Library Platform 1 Zone 1 EED 09 | EED Unscheduled Door Opening! | 2025.04.11 12:36:31.324 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:08:30.221 | TNC-W-EED-010 | State Library Platform 1 Zone 1 EED 10 | EED Unscheduled Door Opening! | 2025.04.11 12:36:34.236 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:06:55.222 | TNC-W-EED-011 | State Library Platform 1 Zone 1 EED 11 | EED Unscheduled Door Opening! | 2025.04.11 12:36:35.665 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:06:44.473 | TNC-W-EED-012 | State Library Platform 1 Zone 1 EED 12 | EED Unscheduled Door Opening! | 2025.04.11 12:36:38.768 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:04:29.969 | TNC-W-EED-014 | State Library Platform 1 Zone 1 EED 14 | EED Unscheduled Door Opening! | 2025.04.11 12:36:40.248 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:04:04.719 | TNC-W-EED-013 | State Library Platform 1 Zone 1 EED 13 | EED Unscheduled Door Opening! | 2025.04.11 12:36:41.974 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:02:52.722 | TNC-W-EED-015 | State Library Platform 1 Zone 1 EED 15 | EED Unscheduled Door Opening! | 2025.04.11 12:37:07.918 | kai_longley |  | 0 | STL
1 | 2025.04.10 10:00:19.469 | TNC-W-EED-017 | State Library Platform 1 Zone 1 EED 17 | EED Unscheduled Door Opening! | 2025.04.11 12:37:16.829 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:59:58.222 | TNC-W-EED-016 | State Library Platform 1 Zone 1 EED 16 | EED Unscheduled Door Opening! | 2025.04.11 12:39:04.117 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:55:20.723 | TNC-W-EED-019 | State Library Platform 1 Zone 1 EED 19 | EED Unscheduled Door Opening! | 2025.04.11 12:39:31.088 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:55:18.972 | TNC-W-EED-018 | State Library Platform 1 Zone 1 EED 18 | EED Unscheduled Door Opening! | 2025.04.11 12:39:34.255 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:37:59.722 | TNC-W-EED-020 | State Library Platform 1 Zone 2 EED 20 | EED Unscheduled Door Opening! | 2025.04.11 12:39:37.075 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:37:49.722 | TNC-W-DDX-001 | State Library Platform 1 Zone 2 DD 01 | Driver Door Unscheduled Door Opening! | 2025.04.11 12:39:39.944 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:34:12.973 | TNC-W-DDX-002 | State Library Platform 1 Zone 2 DD 02 | Driver Door Unscheduled Door Opening! | 2025.04.11 12:39:27.353 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:33:28.976 | TNC-W-EED-021 | State Library Platform 1 Zone 2 EED 21 | EED Unscheduled Door Opening! | 2025.04.11 12:40:57.099 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:31:33.224 | TNC-W-EED-023 | State Library Platform 1 Zone 3 EED 23 | EED Unscheduled Door Opening! | 2025.04.11 12:39:19.498 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:31:30.725 | TNC-W-EED-022 | State Library Platform 1 Zone 3 EED 22 | EED Unscheduled Door Opening! | 2025.04.11 12:39:14.807 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:29:52.219 | TNC-W-EED-025 | State Library Platform 1 Zone 3 EED 25 | EED Unscheduled Door Opening! | 2025.04.11 12:39:09.688 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:29:45.969 | TNC-W-EED-024 | State Library Platform 1 Zone 3 EED 24 | EED Unscheduled Door Opening! | 2025.04.11 12:39:07.889 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:22:17.220 | TNC-W-EED-028 | State Library Platform 1 Zone 3 EED 28 | EED Unscheduled Door Opening! | 2025.04.11 12:39:11.161 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:22:08.970 | TNC-W-EED-027 | State Library Platform 1 Zone 3 EED 27 | EED Unscheduled Door Opening! | 2025.04.11 12:39:17.785 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:21:30.726 | TNC-W-EED-026 | State Library Platform 1 Zone 3 EED 26 | EED Unscheduled Door Opening! | 2025.04.11 12:39:25.716 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:19:11.974 | TNC-W-EED-029 | State Library Platform 1 Zone 3 EED 29 | EED Unscheduled Door Opening! | 2025.04.11 12:39:13.241 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:19:05.470 | TNC-W-EED-030 | State Library Platform 1 Zone 3 EED 30 | EED Unscheduled Door Opening! | 2025.04.11 12:40:58.506 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:16:20.719 | TNC-W-EED-031 | State Library Platform 1 Zone 3 EED 31 | EED Unscheduled Door Opening! | 2025.04.11 12:39:16.496 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:15:35.970 | TNC-W-EED-032 | State Library Platform 1 Zone 3 EED 32 | EED Unscheduled Door Opening! | 2025.04.11 12:39:24.508 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:13:32.722 | TNC-W-EED-033 | State Library Platform 1 Zone 3 EED 33 | EED Unscheduled Door Opening! | 2025.04.11 12:41:02.062 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:05:41.948 | AEN_TFN_0201_03_DS | Laurens St TVF shaft | Tunnel Section 03 Arden End - Ventilation Unavailable! | 2025.04.11 12:39:20.848 | kai_longley |  | 0 | SDU
1 | 2025.04.10 09:05:15.917 | AEN_OFN_0201_02_DS | Laurens St OTE shaft | Arden - East End Over Track Ventilation Unavailable! | 2025.04.11 12:41:03.462 | kai_longley |  | 0 | SDU
1 | 2025.04.10 09:04:59.972 | AEN_OFN_0101_02_DS | Fogarty St OTE shaft | Arden - West End Over Track Ventilation Unavailable! | 2025.04.11 12:41:05.257 | kai_longley |  | 0 | SDU
1 | 2025.04.10 09:04:53.944 | AEN_TFN_0101_03_DS | Fogarty St TVF shaft | Tunnel Section 01 - Ventilation Unavailable! | 2025.04.11 12:41:06.758 | kai_longley |  | 0 | SDU
1 | 2025.04.10 09:00:40.719 | TNC-W-EED-034 | State Library Platform 1 Zone 3 EED 34 | EED Unscheduled Door Opening! | 2025.04.11 12:41:08.083 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:00:24.970 | TNC-W-EED-035 | State Library Platform 1 Zone 3 EED 35 | EED Unscheduled Door Opening! | 2025.04.11 12:41:09.444 | kai_longley |  | 0 | STL
1 | 2025.04.10 08:55:12.225 | TNC-W-EED-036 | State Library Platform 1 Zone 3 EED 36 | EED Unscheduled Door Opening! | 2025.04.11 12:41:11.157 | kai_longley |  | 0 | STL
1 | 2025.04.10 08:55:02.477 | TNC-W-EED-037 | State Library Platform 1 Zone 3 EED 37 | EED Unscheduled Door Opening! | 2025.04.11 12:41:14.301 | kai_longley |  | 0 | STL
1 | 2025.04.10 08:51:39.972 | TNC-W-EED-038 | State Library Platform 1 Zone 3 EED 38 | EED Unscheduled Door Opening! | 2025.04.11 12:41:15.848 | kai_longley |  | 0 | STL
1 | 2025.04.10 08:47:32.471 | TNC-W-EED-039 | State Library Platform 1 Zone 3 EED 39 | EED Unscheduled Door Opening! | 2025.04.11 12:41:18.773 | kai_longley |  | 0 | STL
1 | 2025.04.10 08:42:22.472 | TNC-W-EED-040 | State Library Platform 1 Zone 3 EED 40 | EED Unscheduled Door Opening! | 2025.04.11 12:41:20.249 | kai_longley |  | 0 | STL
1 | 2025.04.09 16:54:24.430 | PKV_TFN_0201_03_DS | Leicester St TVF shaft | All fans inoperative! | 2025.04.10 07:26:09.250 | kai_longley |  | 0 | PKV
1 | 2025.04.09 16:54:15.428 | PKV_OFN_0001_03_DS | Kernot Rd OTE shaft | All fans inoperative! | 2025.04.10 07:26:11.325 | kai_longley |  | 0 | PKV
1 | 2025.04.09 16:54:07.426 | PKV_TFN_0101_03_DS | Barry St TVF shaft | All fans inoperative! | 2025.04.10 07:26:12.522 | kai_longley |  | 0 | PKV
1 | 2025.04.09 14:14:12.706 | TNC-E-EED-022 | State Library Platform 2 Zone 3 EED 22 | EED Unscheduled Door Opening! | 2025.04.10 07:26:53.961 | kai_longley |  | 0 | STL
1 | 2025.04.09 14:02:46.223 | TNC-E-EED-023 | State Library Platform 2 Zone 3 EED 23 | EED Unscheduled Door Opening! | 2025.04.10 07:26:55.482 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:54:20.206 | TNC-E-EED-024 | State Library Platform 2 Zone 3 EED 24 | EED Unscheduled Door Opening! | 2025.04.10 07:26:56.831 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:52:32.722 | TNC-E-EED-025 | State Library Platform 2 Zone 3 EED 25 | EED Unscheduled Door Opening! | 2025.04.10 07:26:58.107 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:50:13.960 | TNC-E-EED-026 | State Library Platform 2 Zone 3 EED 26 | EED Unscheduled Door Opening! | 2025.04.10 07:26:59.614 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:33:40.458 | TNC-E-EED-028 | State Library Platform 2 Zone 3 EED 28 | EED Unscheduled Door Opening! | 2025.04.10 07:27:01.064 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:33:33.213 | TNC-E-EED-027 | State Library Platform 2 Zone 3 EED 27 | EED Unscheduled Door Opening! | 2025.04.10 07:27:02.847 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:31:09.961 | TNC-E-EED-029 | State Library Platform 2 Zone 3 EED 29 | EED Unscheduled Door Opening! | 2025.04.10 07:27:04.371 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:30:20.461 | TNC-E-EED-030 | State Library Platform 2 Zone 3 EED 30 | EED Unscheduled Door Opening! | 2025.04.10 07:27:05.866 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:24:23.714 | TNC-E-EED-031 | State Library Platform 2 Zone 3 EED 31 | EED Unscheduled Door Opening! | 2025.04.10 07:27:07.319 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:13:05.961 | TNC-E-EED-032 | State Library Platform 2 Zone 3 EED 32 | EED Unscheduled Door Opening! | 2025.04.10 07:27:10.530 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:07:41.710 | TNC-E-EED-033 | State Library Platform 2 Zone 3 EED 33 | EED Unscheduled Door Opening! | 2025.04.10 07:27:11.828 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:04:28.462 | TNC-E-EED-034 | State Library Platform 2 Zone 3 EED 34 | EED Unscheduled Door Opening! | 2025.04.10 07:27:13.284 | kai_longley |  | 0 | STL
1 | 2025.04.09 13:02:04.712 | TNC-E-EED-035 | State Library Platform 2 Zone 3 EED 35 | EED Unscheduled Door Opening! | 2025.04.10 07:27:14.492 | kai_longley |  | 0 | STL
1 | 2025.04.09 12:36:34.466 | TNC-E-EED-036 | State Library Platform 2 Zone 3 EED 36 | EED Unscheduled Door Opening! | 2025.04.10 07:27:17.135 | kai_longley |  | 0 | STL
1 | 2025.04.09 12:12:38.956 | TNC-E-EED-040 | State Library Platform 2 Zone 3 EED 40 | EED Unscheduled Door Opening! | 2025.04.10 07:27:15.891 | kai_longley |  | 0 | STL
1 | 2025.04.09 08:55:50.218 | TNC-E-EED-020 | State Library Platform 2 Zone 2 EED 20 | EED Unscheduled Door Opening! | 2025.04.10 07:27:26.206 | kai_longley |  | 0 | STL
1 | 2025.04.08 18:34:03.487 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2025.04.09 07:30:12.952 | kai_longley |  | 0 | THL
1 | 2025.04.08 18:34:03.487 | TSC_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2025.04.09 07:30:11.358 | kai_longley |  | 0 | THL
1 | 2025.04.07 13:33:09.469 | TNC-E-EED-015 | State Library Platform 2 Zone 1 EED 15 | EED Unscheduled Door Opening! | 2025.04.07 14:29:46.572 | kai_longley |  | 0 | STL
1 | 2025.04.07 10:01:28.706 | TNC-E-DDX-001 | State Library Platform 2 Zone 2 DD 01 | Driver Door Unscheduled Door Opening! | 2025.04.07 11:52:39.064 | kai_longley |  | 0 | STL
1 | 2025.04.07 09:39:53.211 | TNC-E-EED-021 | State Library Platform 2 Zone 2 EED 21 | EED Unscheduled Door Opening! | 2025.04.07 09:40:07.698 | kai_longley |  | 0 | STL
1 | 2025.04.07 09:39:37.212 | TNC-E-EED-038 | State Library Platform 2 Zone 3 EED 38 | EED Unscheduled Door Opening! | 2025.04.07 09:39:38.338 | kai_longley |  | 0 | STL
1 | 2025.04.07 09:38:45.207 | TNC-E-DDX-002 | State Library Platform 2 Zone 2 DD 02 | Driver Door Unscheduled Door Opening! | 2025.04.07 09:38:46.430 | kai_longley |  | 0 | STL
1 | 2025.04.07 09:23:42.495 | TNC-E-EED-037 | State Library Platform 2 Zone 3 EED 37 | EED Unscheduled Door Opening! | 2025.04.07 09:38:08.818 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.517 | TNC-W-PSD-030 | State Library Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:25.522 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.496 | TNC-W-PSD-028 | State Library Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:26.778 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.496 | TNC-W-PSD-029 | State Library Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:28.136 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.492 | TNC-W-PSD-027 | State Library Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:29.586 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.487 | TNC-W-PSD-026 | State Library Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:31.038 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.483 | TNC-W-PSD-025 | State Library Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:32.302 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.478 | TNC-W-PSD-024 | State Library Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:34.028 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.473 | TNC-W-PSD-023 | State Library Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:35.818 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.469 | TNC-W-PSD-022 | State Library Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:37.415 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.464 | TNC-W-PSD-021 | State Library Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:41.491 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.459 | TNC-W-PSD-020 | State Library Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:40.321 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.454 | TNC-W-PSD-019 | State Library Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:42.732 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.451 | TNC-W-PSD-018 | State Library Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:43.854 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.450 | TNC-W-PSD-017 | State Library Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:45.228 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.447 | TNC-W-PSD-016 | State Library Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:50.015 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.443 | TNC-W-PSD-015 | State Library Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:51.416 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.441 | TNC-W-PSD-014 | State Library Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:53.053 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.437 | TNC-W-PSD-013 | State Library Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:54.405 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.434 | TNC-W-PSD-012 | State Library Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:55.830 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.407 | TNC-W-PSD-011 | State Library Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:57.236 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.405 | TNC-W-PSD-010 | State Library Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:58.466 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.399 | TNC-W-PSD-008 | State Library Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2025.04.07 09:38:59.623 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.374 | TNC-W-PSD-007 | State Library Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:00.939 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.315 | TNC-W-PSD-006 | State Library Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:02.148 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.291 | TNC-W-PSD-005 | State Library Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:03.641 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.286 | TNC-W-PSD-004 | State Library Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:04.852 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.281 | TNC-W-PSD-003 | State Library Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:06.094 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.277 | TNC-W-PSD-002 | State Library Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:07.488 | kai_longley |  | 0 | STL
1 | 2025.04.06 12:26:18.272 | TNC-W-PSD-001 | State Library Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:08.629 | kai_longley |  | 0 | STL
1 | 2025.04.05 11:50:52.462 | TNC-W-PSD-009 | State Library Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:09.773 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.536 | TNC-E-PSD-030 | State Library Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:10.907 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.535 | TNC-E-PSD-029 | State Library Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:13.769 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.533 | TNC-E-PSD-028 | State Library Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:14.936 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.531 | TNC-E-PSD-026 | State Library Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:16.216 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.531 | TNC-E-PSD-027 | State Library Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:17.361 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.529 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:18.536 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.523 | TNC-E-PSD-023 | State Library Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:19.770 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.523 | TNC-E-PSD-024 | State Library Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:20.855 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.521 | TNC-E-PSD-021 | State Library Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:22.029 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.521 | TNC-E-PSD-022 | State Library Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:23.249 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.519 | TNC-E-PSD-020 | State Library Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:24.370 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.518 | TNC-E-PSD-019 | State Library Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:25.442 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.517 | TNC-E-PSD-018 | State Library Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:26.684 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.516 | TNC-E-PSD-017 | State Library Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:27.819 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.514 | TNC-E-PSD-015 | State Library Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:28.997 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.514 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:30.535 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.513 | TNC-E-PSD-014 | State Library Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:31.935 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.511 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:34.443 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.511 | TNC-E-PSD-013 | State Library Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:36.008 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.510 | TNC-E-PSD-011 | State Library Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:41.845 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.508 | TNC-E-PSD-010 | State Library Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:42.992 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.507 | TNC-E-PSD-009 | State Library Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:44.092 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.505 | TNC-E-PSD-008 | State Library Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:45.209 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.504 | TNC-E-PSD-007 | State Library Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:46.423 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.503 | TNC-E-PSD-006 | State Library Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:47.574 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.500 | TNC-E-PSD-005 | State Library Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:48.684 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.499 | TNC-E-PSD-004 | State Library Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:49.723 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.497 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:50.847 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.496 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2025.04.07 09:39:59.356 | kai_longley |  | 0 | STL
1 | 2025.04.05 09:25:48.495 | TNC-E-PSD-001 | State Library Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! | 2025.04.07 09:40:10.043 | kai_longley |  | 0 | STL
1 | 2025.04.04 12:24:28.871 | TSC_OCN_0101_02_DS | Flinders Ln OTE shaft | All fans inoperative! | 2025.04.04 15:21:41.506 | kai_longley |  | 0 | THL
1 | 2025.03.31 19:18:01.158 | TNC_TFN_0101_03_DS | Franklin St TVF shaft | All fans inoperative! | 2025.04.01 07:15:19.074 | kai_longley |  | 0 | SDU
1 | 2025.03.31 19:18:01.158 | TNC_TFN_0201_03_DS | LaTrobe St TVF shaft | All fans inoperative! | 2025.04.01 07:15:17.438 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:30:00.622 | TNC_TEP_0305_06_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.03.31 12:29:57.158 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:30:00.595 | TNC_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2025.03.31 12:30:00.015 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:27:16.236 | TSC_FOLLOWUP | Town Hall Follow up alarm | Town Hall station haven't ack'd an important alarm! | 2025.03.31 12:30:08.649 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:27:16.224 | TNC_FOLLOWUP | State Library Follow up alarm | State Library station haven't ack'd an important alarm! | 2025.03.31 12:30:10.148 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:27:16.206 | SSC_FOLLOWUP | Sunshine SCC Follow up alarm | Arden station haven't ack'd an important alarm! | 2025.03.31 12:30:13.047 | kai_longley |  | 0 | SSC
1 | 2025.03.31 10:27:16.024 | SDU_FOLLOWUP | Tunnels and Portals Follow up alarm | Anzac station haven't ack'd an important alarm! | 2025.03.31 12:30:19.249 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:27:15.939 | AEN_FOLLOWUP | Arden Follow up alarm | Arden station haven't ack'd an important alarm! | 2025.03.31 10:53:22.098 | dominic_dlasselle |  | 0 | ARN
1 | 2025.03.31 10:27:12.036 | PDM_ROL_RNERV_W | RNERV Enclosure Door - Eastern Portal, West Tunnel | RNERV crane arm extended over tracks! | 2025.03.31 12:30:20.587 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:21:45.204 | TSC_TFN_0201_03_DS | Royston Pl TVF shaft | All fans inoperative! | 2025.03.31 12:30:35.649 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:44.544 | TSC_TFN_0101_03_DS | Flinders Ln TVF shaft | All fans inoperative! | 2025.03.31 12:30:45.349 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:43.870 | TSC_OFN_0001_03_DS | Royston Pl OTE shaft | All fans inoperative! | 2025.03.31 12:30:51.010 | kai_longley |  | 0 | THL
1 | 2025.04.15 07:22:19.247 | PKV-FIP-0006 | Parkville Station SHCIE Panel 6 | No modbus gateway connection | 2025.04.15 07:26:12.981 | kai_longley |  | 0 | PKV
1 | 2025.04.15 07:22:17.565 | PKV-FIP-0004 | Parkville Station SHCIE Panel 4 | No modbus gateway connection | 2025.04.15 07:26:12.981 | kai_longley |  | 0 | PKV
1 | 2025.04.15 07:22:17.565 | PKV-FIP-0005 | Parkville Station SHCIE Panel 5 | No modbus gateway connection | 2025.04.15 07:26:12.981 | kai_longley |  | 0 | PKV
1 | 2025.04.15 07:19:32.405 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | No modbus gateway connection | 2025.04.15 07:26:12.955 | kai_longley |  | 0 | AZC
1 | 2025.04.15 07:19:32.405 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | No modbus gateway connection | 2025.04.15 07:26:12.955 | kai_longley |  | 0 | AZC
1 | 2025.04.15 07:19:32.405 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | No modbus gateway connection | 2025.04.15 07:26:12.955 | kai_longley |  | 0 | AZC
1 | 2025.04.15 07:19:32.405 | DMA-FIP-0005 | Anzac Station SHCIE Panel 5 | No modbus gateway connection | 2025.04.15 07:26:12.955 | kai_longley |  | 0 | AZC
1 | 2025.04.15 07:19:32.405 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | No modbus gateway connection | 2025.04.15 07:26:12.955 | kai_longley |  | 0 | AZC
1 | 2025.04.15 07:19:32.405 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | No modbus gateway connection | 2025.04.15 07:26:12.955 | kai_longley |  | 0 | SDU
1 | 2025.04.15 07:19:32.405 | EPZ-FIP-0002 | Eastern Portal Station Fire Panel | No modbus gateway connection | 2025.04.15 07:26:12.955 | kai_longley |  | 0 | SDU
1 | 2025.04.14 20:26:52.751 | TNC_ModeSts | TVCS State Library Station Mode Status S06 | Over Track Exhaust Unavailable | 2025.04.15 07:15:23.741 | kai_longley |  | 0 | SDU
1 | 2025.04.14 08:01:11.025 | AEN-S-STN | Arden Station PSD System | PSD lost connection to signalling system! | 2025.04.14 08:12:53.068 | oumadevi_mantilla |  | 0 | ARN
1 | 2025.04.12 08:17:13.657 | TNC_FCU_6603_FG | Fan Coil Unit - Function Group | Cooling unavailable! | 2025.04.15 07:15:23.741 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:45:10.843 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! | 2025.04.11 12:45:20.833 | kai_longley |  | 0 | PKV
1 | 2025.04.11 08:48:22.240 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! | 2025.04.11 12:43:01.565 | kai_longley |  | 0 | THL
1 | 2025.04.10 13:31:57.429 | DMA_ModeSts | TVCS Mode Status - Anzac Station S10 | Over Track Exhaust Unavailable | 2025.04.11 12:43:01.559 | kai_longley |  | 0 | SDU
1 | 2025.04.10 13:30:36.440 | DMA_ModeSts | TVCS Mode Status - Anzac Station S10 | Tunnel section ventilation unavailable | 2025.04.11 12:43:01.559 | kai_longley |  | 0 | SDU
1 | 2025.04.10 12:31:39.702 | TNC-S-STN | State Library Station PSD System | PSD lost connection to signalling system! | 2025.04.11 12:43:01.678 | kai_longley |  | 0 | STL
1 | 2025.04.10 09:05:15.917 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable | 2025.04.11 12:43:01.524 | kai_longley |  | 0 | SDU
1 | 2025.04.10 09:04:53.944 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable | 2025.04.11 12:43:01.524 | kai_longley |  | 0 | SDU
1 | 2025.04.10 08:49:25.629 | DMA-S-STN | Anzac Station PSD System | PSD lost connection to signalling system! | 2025.04.10 08:49:45.829 | elizabeth_james |  | 0 | AZC
1 | 2025.04.09 16:54:15.428 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2025.04.10 07:29:10.535 | kai_longley |  | 0 | SDU
1 | 2025.04.09 16:54:07.426 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2025.04.10 07:29:10.535 | kai_longley |  | 0 | SDU
1 | 2025.03.31 19:18:01.158 | TNC_ModeSts | TVCS State Library Station Mode Status S06 | Tunnel section ventilation unavailable | 2025.04.01 07:16:13.123 | kai_longley |  | 0 | SDU
1 | 2025.03.31 11:48:43.704 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | THL
1 | 2025.03.31 11:48:43.702 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | THL
1 | 2025.03.31 11:48:43.700 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | THL
1 | 2025.03.31 11:48:43.697 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | THL
1 | 2025.03.31 11:48:43.694 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | ARN
1 | 2025.03.31 11:48:43.692 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | ARN
1 | 2025.03.31 11:48:43.690 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | ARN
1 | 2025.03.31 11:48:43.687 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | ARN
1 | 2025.03.31 10:23:10.155 | TSC_ModeSts | TVCS Town Hall Station Mode Status S08 | Tunnel section ventilation unavailable | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:23:10.151 | TSC_ModeSts | TVCS Town Hall Station Mode Status S08 | Over Track Exhaust Unavailable | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:21:55.627 | TSC-FIP-0006 | Town Hall Station SHCIE Panel 6 | No modbus gateway connection | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:55.159 | TSC-FIP-0005 | Town Hall Station SHCIE Panel 5 | No modbus gateway connection | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:54.689 | TSC-FIP-0004 | Town Hall Station SHCIE Panel 4 | No modbus gateway connection | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:54.223 | TSC-FIP-0003 | Town Hall Station SHCIE Panel 3 | No modbus gateway connection | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:53.753 | TSC-FIP-0002 | Town Hall Station SHCIE Panel 2 | No modbus gateway connection | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:21:53.240 | TNC-FIP-0008 | State Library Station SHCIE Panel 8 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:52.696 | TNC-FIP-0007 | State Library Station SHCIE Panel 7 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:52.157 | TNC-FIP-0006 | State Library Station SHCIE Panel 6 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:51.617 | TNC-FIP-0005 | State Library Station SHCIE Panel 5 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:51.074 | TNC-FIP-0004 | State Library Station SHCIE Panel 4 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:50.537 | TNC-FIP-0003 | State Library Station SHCIE Panel 3 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:50.000 | TNC-FIP-0002 | State Library Station SHCIE Panel 2 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:21:49.593 | SDU-FIP-0006 | Cross Passage CDB North FDCIE Panel 2 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | SDU
1 | 2025.03.31 10:21:49.581 | SDU-FIP-0005 | Cross Passage CDB North FDCIE Panel 1 | No modbus gateway connection | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | SDU
1 | 2025.04.15 06:00:42.526 | DMA_DOR_B1_212-1_1 | Concourse - Office access | Unauthorised access | 2025.04.15 06:13:19.671 | frank_stanisic |  | 0 | AZC
1 | 2025.04.15 05:12:32.010 | AEN_StationFunc | TVCS Operator Fire Emergency Section 02 - Arden Station | Train Fire Ventilation Mode Still On Without An Active Train Fire | 2025.04.15 07:15:23.738 | kai_longley |  | 0 | SDU
1 | 2025.04.15 01:34:17.950 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2025.04.15 07:15:23.660 | kai_longley |  | 0 | THL
1 | 2025.04.14 23:04:45.156 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2025.04.15 07:15:23.741 | kai_longley |  | 0 | STL
1 | 2025.04.14 19:32:35.013 | AEN_StationSPDFunc | Operator Fire Emergency Speed Control Mode Selection - Arden Station | PSD data fault | 2025.04.15 07:15:23.738 | kai_longley |  | 0 | SDU
1 | 2025.04.14 17:53:36.686 | PKV_DOR_B2_406-14_2 | East Fire Escape Corridor - Concourse | Unauthorised access | 2025.04.14 18:02:58.657 | andrew_hitchell |  | 0 | PKV
1 | 2025.04.14 17:24:55.159 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2025.04.15 07:15:23.741 | kai_longley |  | 0 | STL
1 | 2025.04.14 17:24:42.287 | TNC_LFT_0002 | Lift 2 FOH (B6 Basement to B5 Basement) | Lift General Fault | 2025.04.15 07:15:23.741 | kai_longley |  | 0 | STL
1 | 2025.04.14 15:40:26.020 | TNC_DOR_B3_CBN-S-04_1 | Franklin West Emergency Stairs - B3 | Unauthorised access | 2025.04.15 07:15:23.750 | kai_longley |  | 0 | STL
1 | 2025.04.14 14:04:19.002 | TNC_DOR_B4_CBN-S-04_1 | Franklin West Emergency Stairs - B4 | Unauthorised access | 2025.04.15 07:15:23.750 | kai_longley |  | 0 | STL
1 | 2025.04.14 14:04:01.774 | TSC_LFT_0013 | Lift 13 BOH (B4 Basement to GF Ground Floor) | Lift General Fault | 2025.04.15 07:15:23.660 | kai_longley |  | 0 | THL
1 | 2025.04.14 11:50:15.054 | PKV_DOR_B2_PKV-S-03_3 | West Emergency Stairs - Concourse | Unauthorised access | 2025.04.14 11:52:17.724 | kira_scotland |  | 0 | PKV
1 | 2025.04.14 09:22:39.628 | TSC_LFT_0002 | Lift 2 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.04.15 07:15:23.660 | kai_longley |  | 0 | THL
1 | 2025.04.14 07:18:44.480 | PAE-ASD-0006 | UB1, PAE-ASD-0006 Under Substations - F1 | Aspirating smoke detector fault | 2025.04.15 07:15:23.738 | kai_longley |  | 0 | SDU
1 | 2025.04.14 07:18:32.721 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panel(s) in the portal building have a fault | 2025.04.15 07:15:23.738 | kai_longley |  | 0 | SDU
1 | 2025.04.14 07:16:23.181 | TNC_DOR_GF_CBN-S-04_1 | Franklin West Emergency Stairs - Ground Floor | Unauthorised access | 2025.04.15 07:15:23.750 | kai_longley |  | 0 | STL
1 | 2025.04.14 07:13:29.689 | TSC_LFT_0005 | Lift 5 FOH (B3 Basement to GF Ground Floor) | Lift General Fault | 2025.04.15 07:15:23.660 | kai_longley |  | 0 | THL
1 | 2025.04.14 06:22:07.527 | DMA_DOR_B1_151-5_4 | Concourse East - Back of house East corridor | Unauthorised access | 2025.04.14 06:23:28.449 | frank_stanisic |  | 0 | AZC
1 | 2025.04.13 10:04:52.521 | PKV_LFT_0011 | Lift 11 BOH (Street to Lower Ground) | Lift General Fault | 2025.04.13 10:18:26.335 | kira_scotland |  | 0 | PKV
1 | 2025.04.13 10:04:51.810 | TSC_LFT_0012 | Lift 12 BOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.04.15 07:15:13.496 | kai_longley |  | 0 | THL
1 | 2025.04.13 10:03:11.338 | TNC_LFT_0017 | Lift 17 BOH (Ground Floor to Level 3) | Lift General Fault | 2025.04.15 07:15:13.444 | kai_longley |  | 0 | STL
1 | 2025.04.13 10:03:11.315 | TNC_LFT_0004 | Lift 4 FOH (B6 Basement to B4 Basement) | Lift General Fault | 2025.04.15 07:15:13.444 | kai_longley |  | 0 | STL
1 | 2025.04.13 10:01:29.857 | TNC_LFT_0014 | Lift 14 BOH (B5 Basement to Ground Floor) | Lift General Fault | 2025.04.15 07:15:13.444 | kai_longley |  | 0 | STL
1 | 2025.04.13 10:01:28.738 | TSC_LFT_0006 | Lift 6 FOH (B3 Basement to GF Ground Floor) | Lift General Fault | 2025.04.15 07:15:13.496 | kai_longley |  | 0 | THL
1 | 2025.04.13 09:58:11.507 | DMA_LFT_0003 | Lift 3 FOH (Street to Concourse) | Lift General Fault | 2025.04.13 09:59:48.566 | elizabeth_james |  | 0 | AZC
1 | 2025.04.13 09:58:10.712 | TSC_LFT_0014 | Lift 14 BOH (B6 Basement to B3 Basement) | Lift General Fault | 2025.04.15 07:15:13.496 | kai_longley |  | 0 | THL
1 | 2025.04.13 08:54:01.335 | TNC_LFT_0011 | Lift 11 BOH (B6 Basement to B5 Basement) | Lift General Fault | 2025.04.15 07:15:13.444 | kai_longley |  | 0 | STL
1 | 2025.04.13 08:54:00.633 | TSC_LFT_0004 | Lift 4 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.04.15 07:15:13.496 | kai_longley |  | 0 | THL
1 | 2025.04.13 08:53:59.508 | DMA_LFT_0009 | Lift 9 BOH (Concourse to Platforms) | Lift General Fault | 2025.04.13 08:56:38.280 | elizabeth_james |  | 0 | AZC
1 | 2025.04.13 08:53:59.499 | PKV_LFT_0005 | Lift 5 FOH (Street to Concourse) | Lift General Fault | 2025.04.13 09:12:59.678 | kira_scotland |  | 0 | PKV
1 | 2025.04.13 08:53:58.750 | TSC_LFT_0003 | Lift 3 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.04.15 07:15:13.496 | kai_longley |  | 0 | THL
1 | 2025.04.13 08:53:58.502 | PKV_LFT_0007 | Lift 7 FOH (Street to Concourse) | Lift General Fault | 2025.04.13 09:13:21.766 | kira_scotland |  | 0 | PKV
1 | 2025.04.13 08:53:13.846 | AEN_ESC_0003 | Escalator 3 Bank 3 (Concourse to Platforms) | Escalator communications lost | 2025.04.13 08:55:19.559 | sandi_murphy |  | 0 | ARN
1 | 2025.04.12 13:37:22.898 | TNC_LFT_0012 | Lift 12 BOH (B7 Basement to Ground Floor) | Lift General Fault | 2025.04.15 07:15:13.444 | kai_longley |  | 0 | STL
1 | 2025.04.12 13:15:54.096 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift safety feature fault | 2025.04.15 07:15:13.444 | kai_longley |  | 0 | STL
1 | 2025.04.12 07:36:51.704 | PKV_DOR_B4_PKV-S-02_3 | East Emergency Stairs - Platform | Unauthorised access | 2025.04.12 07:37:19.588 | khondoker_hossain |  | 0 | PKV
1 | 2025.04.12 07:35:34.437 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift General Fault | 2025.04.15 07:15:13.444 | kai_longley |  | 0 | STL
1 | 2025.04.12 07:35:34.437 | TNC_LFT_0001 | Lift 1 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2025.04.15 07:15:13.444 | kai_longley |  | 0 | STL
1 | 2025.04.11 12:49:03.678 | TSC_LFT_0001 | Lift 1 FOH (B4 Basement to B3 Basement) | Lift General Fault | 2025.04.15 07:15:13.496 | kai_longley |  | 0 | THL
1 | 2025.04.11 12:41:31.496 | PKV_DOR_B2_402-3_2 | East Emergency Stairs - Concourse | Unauthorised access | 2025.04.11 12:43:01.576 | kai_longley |  | 0 | PKV
1 | 2025.04.11 11:15:01.142 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift safety feature fault | 2025.04.11 12:43:01.678 | kai_longley |  | 0 | STL
1 | 2025.04.11 11:14:51.665 | TNC_LFT_0013 | Lift 13 FOH (B6 Basement to B5 Basement) | Lift General Fault | 2025.04.11 12:43:01.678 | kai_longley |  | 0 | STL
1 | 2025.04.11 09:54:09.176 | PKV-SPE-0380 | B2, PKV-SPE-0380 Fire Corridor 402-5 | Heat or smoke detector fault | 2025.04.11 10:37:03.607 | shabnam_lal |  | 0 | PKV
1 | 2025.04.11 09:54:02.663 | PKV-SPE-0382 | B2, PKV-SPE-0382 Fire Corridor 402-5 | Heat or smoke detector fault | 2025.04.11 10:37:05.640 | shabnam_lal |  | 0 | PKV
1 | 2025.04.11 09:54:01.280 | PKV-SPE-1119 | B2, PKV-SPE-1119 Fire Corridor 402-5 C/S | Heat or smoke detector fault | 2025.04.11 11:04:23.530 | shabnam_lal |  | 0 | PKV
1 | 2025.04.11 09:53:59.394 | PKV-SPE-0495 | B2, PKV-SPE-0495 Fire Corridor 402-5 | Heat or smoke detector fault | 2025.04.11 11:04:56.101 | shabnam_lal |  | 0 | PKV
1 | 2025.04.11 09:51:58.164 | PKV-SPE-0383 | B2, PKV-SPE-0383 RECYCLED WATER RM 889-1 | Heat or smoke detector fault | 2025.04.11 11:05:02.300 | shabnam_lal |  | 0 | PKV
1 | 2025.04.11 09:48:19.796 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panel(s) in the station have a fault | 2025.04.11 11:05:10.038 | shabnam_lal |  | 0 | PKV
1 | 2025.04.10 08:46:26.540 | PKV_DOR_B3_PKV-S-03_1 | West Upper Emergency Stairs - Basement | Unauthorised access | 2025.04.10 09:05:06.420 | alena_vu |  | 0 | PKV
1 | 2025.04.10 08:22:48.744 | TSC_ESC_0041 | Escalator 41 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.04.11 12:43:08.991 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.744 | TSC_ESC_0042 | Escalator 42 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.04.11 12:43:08.991 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.744 | TSC_ESC_0043 | Escalator 43 Bank 15 (B3M Basement Mezzanine to Concourse) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.744 | TSC_ESC_0044 | Escalator 44 Bank 15 (B3M Basement Mezzanine to Concourse) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.743 | TSC_ESC_0040 | Escalator 40 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.733 | TSC_ESC_0034 | Escalator 34 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.733 | TSC_ESC_0035 | Escalator 35 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.733 | TSC_ESC_0036 | Escalator 36 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.733 | TSC_ESC_0037 | Escalator 37 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.733 | TSC_ESC_0038 | Escalator 38 Bank 13 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.733 | TSC_ESC_0039 | Escalator 39 Bank 14 (Street to B1 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.722 | TSC_ESC_0027 | Escalator 27 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.722 | TSC_ESC_0028 | Escalator 28 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.722 | TSC_ESC_0029 | Escalator 29 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.722 | TSC_ESC_0030 | Escalator 30 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.722 | TSC_ESC_0031 | Escalator 31 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.722 | TSC_ESC_0032 | Escalator 32 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.722 | TSC_ESC_0033 | Escalator 33 Bank 12 (Street to B1 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.717 | TSC_ESC_0025 | Escalator 25 Bank 9 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.717 | TSC_ESC_0026 | Escalator 26 Bank 10 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.716 | TSC_ESC_0024 | Escalator 24 Bank 9 (B1 Basement to B2 Basement) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.706 | TSC_ESC_0019 | Escalator 19 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.706 | TSC_ESC_0020 | Escalator 20 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.706 | TSC_ESC_0021 | Escalator 21 Bank 8 (B1 Basement to B3M Basement Mezzanine) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.706 | TSC_ESC_0022 | Escalator 22 Bank 8 (B1 Basement to B3M Basement Mezzanine) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.706 | TSC_ESC_0023 | Escalator 23 Bank 8 (B1 Basement to B3M Basement Mezzanine) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.704 | TSC_ESC_0018 | Escalator 18 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.694 | TSC_ESC_0013 | Escalator 13 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.694 | TSC_ESC_0014 | Escalator 14 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.694 | TSC_ESC_0015 | Escalator 15 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.694 | TSC_ESC_0016 | Escalator 16 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.04.11 12:43:13.981 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.694 | TSC_ESC_0017 | Escalator 17 Bank 7 (B2 Basement to Concourse) | Escalator communications lost | 2025.04.11 12:43:18.529 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.694 | TSC_ESC_0012 | Escalator 12 Bank 6 (B2 Basement to Concourse) | Escalator communications lost | 2025.04.11 12:43:18.529 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.682 | TSC_ESC_0006 | Escalator 6 Bank 4 (Concourse to Platforms) | Escalator communications lost | 2025.04.11 12:43:18.529 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.682 | TSC_ESC_0007 | Escalator 7 Bank 4 (Concourse to Platforms) | Escalator communications lost | 2025.04.11 12:43:18.529 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.682 | TSC_ESC_0008 | Escalator 8 Bank 4 (Concourse to Platforms) | Escalator communications lost | 2025.04.11 12:43:18.529 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.682 | TSC_ESC_0009 | Escalator 9 Bank 5 (Concourse to Platforms) | Escalator communications lost | 2025.04.11 12:43:18.529 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.682 | TSC_ESC_0010 | Escalator 10 Bank 5 (Concourse to Platforms) | Escalator communications lost | 2025.04.11 12:43:18.529 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:22:48.682 | TSC_ESC_0011 | Escalator 11 Bank 5 (Concourse to Platforms) | Escalator communications lost | 2025.04.11 12:43:18.529 | kai_longley |  | 0 | THL
1 | 2025.04.10 08:18:36.745 | PAE_LFT_0001 | Lift 1 BOH (B1 Basement to Level 1) | Portal building lift General Fault | 2025.04.11 12:43:18.470 | kai_longley |  | 0 | SDU
1 | 2025.04.10 07:54:05.565 | TNC_LFT_0003 | Lift 3 FOH (B6 Basement to B4 Basement) | Lift General Fault | 2025.04.11 12:43:18.530 | kai_longley |  | 0 | STL
1 | 2025.04.10 00:23:30.040 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically | 2025.04.10 07:31:18.184 | kai_longley |  | 0 | ARN
1 | 2025.04.09 07:53:55.533 | TNC_DOR_L2_CBN-S-04_1 | Franklin West Emergency Stairs - L2 | Unauthorised access | 2025.04.10 07:29:10.608 | kai_longley |  | 0 | STL
1 | 2025.04.08 12:24:22.796 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift monitoring lost | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:22.796 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift monitoring lost | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:22.795 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:22.795 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift monitoring lost | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:22.784 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:22.784 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift monitoring lost | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:22.784 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift monitoring lost | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.805 | TSC_LFT_0015 | Lift 15 BOH (B4 Basement to GF Ground Floor) | Lift safety feature fault | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.805 | TSC_LFT_0016 | Lift 16 FOH (B4 Basement to B3 Basement) | Lift safety feature fault | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.793 | TSC_LFT_0007 | Lift 7 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.793 | TSC_LFT_0008 | Lift 8 FOH (B3 Basement to B2 Basement) | Lift safety feature fault | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.793 | TSC_LFT_0009 | Lift 9 FOH (B3 Basement to GF Ground Floor) | Lift safety feature fault | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.793 | TSC_LFT_0010 | Lift 10 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.793 | TSC_LFT_0011 | Lift 11 FOH (B2 Basement to GF Ground Floor) | Lift safety feature fault | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.681 | TSC_ESC_0003 | Escalator 3 Bank 3 (Concourse to Platforms) | Escalator General Fault | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.681 | TSC_ESC_0004 | Escalator 4 Bank 3 (Concourse to Platforms) | Escalator General Fault | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.670 | TSC_ESC_0002 | Escalator 2 Bank 2 (Concourse to Platforms) | Escalator stopped (brake mechanism fault) | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.08 12:24:12.670 | TSC_ESC_0002 | Escalator 2 Bank 2 (Concourse to Platforms) | Escalator General Fault | 2025.04.09 07:30:59.380 | kai_longley |  | 0 | THL
1 | 2025.04.07 12:24:35.497 | TNC_ESC_0007 | Escalator 7 Bank 3 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:24:22.585 | TNC_ESC_0008 | Escalator 8 Bank 3 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:23:59.375 | TNC_ESC_0009 | Escalator 9 Bank 3 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:16:07.567 | TNC_ESC_0005 | Escalator 5 Bank 2 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:15:46.529 | TNC_ESC_0006 | Escalator 6 Bank 2 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.07 12:14:51.300 | TNC_ESC_0004 | Escalator 4 Bank 2 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.07 14:29:51.366 | kai_longley |  | 0 | STL
1 | 2025.04.05 11:46:09.248 | PKV_LFT_0004 | Lift 4 FOH (Street to Concourse) | Lift power lost | 2025.04.05 11:46:22.947 | alena_vu |  | 0 | PKV
1 | 2025.04.05 08:46:19.217 | PKV_ESC_0006 | Escalator 6 Bank 3 (Concourse to Platforms) | Escalator power lost | 2025.04.05 08:53:19.363 | alena_vu |  | 0 | PKV
1 | 2025.04.05 08:44:58.263 | PKV_ESC_0005 | Escalator 5 Bank 3 (Concourse to Platforms) | Escalator power lost | 2025.04.05 08:53:21.662 | alena_vu |  | 0 | PKV
1 | 2025.04.04 09:56:49.167 | PKV_DOR_B2_151-15_1 | East BOH Corridor Entry - Concourse | Unauthorised access | 2025.04.04 12:16:32.980 | tauseef_mohammed |  | 0 | PKV
1 | 2025.04.04 06:21:04.294 | PKV_DOR_B3_151-18_1 | West Fire Escape Corridor - Basement | Unauthorised access | 2025.04.04 12:16:47.658 | tauseef_mohammed |  | 0 | PKV
1 | 2025.04.03 18:32:27.853 | DMA_LFT_0006 | Lift 6 FOH (Street to Concourse) | Lift failed to enter secure mode | 2025.04.04 13:15:58.298 | dominic_dlasselle |  | 0 | AZC
1 | 2025.04.03 11:51:41.685 | AEN-ASD-0009 | L2, AEN-ASD-0009, Entrance C/S - F1 | Aspirating smoke detector fault | 2025.04.04 15:22:28.942 | kai_longley |  | 0 | ARN
1 | 2025.04.03 11:51:41.525 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panel(s) in the station have a fault | 2025.04.03 11:51:57.747 | emilio_ito |  | 0 | ARN
1 | 2025.04.03 09:10:00.241 | PKV_ESC_0004 | Escalator 4 Bank 2 (Concourse to Platforms) | Escalator power lost | 2025.04.03 09:29:31.808 | kai_longley |  | 0 | PKV
1 | 2025.04.03 09:08:57.213 | PKV_ESC_0003 | Escalator 3 Bank 2 (Concourse to Platforms) | Escalator power lost | 2025.04.03 09:29:31.808 | kai_longley |  | 0 | PKV
1 | 2025.04.02 13:50:42.651 | TNC_ESC_0025 | Escalator 25 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.650 | TNC_ESC_0024 | Escalator 24 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0017 | Escalator 17 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0018 | Escalator 18 Bank 6 (Street to B3 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0019 | Escalator 19 Bank 6 (Street to B3 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0020 | Escalator 20 Bank 6 (Street to B3 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0021 | Escalator 21 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0022 | Escalator 22 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.640 | TNC_ESC_0023 | Escalator 23 Bank 7 (Street to B2 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.638 | TNC_ESC_0016 | Escalator 16 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0010 | Escalator 10 Bank 4 (B3 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0011 | Escalator 11 Bank 4 (B3 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0012 | Escalator 12 Bank 4 (B3 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0013 | Escalator 13 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0014 | Escalator 14 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.628 | TNC_ESC_0015 | Escalator 15 Bank 5 (B2 Basement to B5 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.616 | TNC_ESC_0001 | Escalator 1 Bank 1 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.616 | TNC_ESC_0002 | Escalator 2 Bank 1 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.02 13:50:42.616 | TNC_ESC_0003 | Escalator 3 Bank 1 (B5 Basement to B6 Basement) | Escalator communications lost | 2025.04.03 09:29:31.799 | kai_longley |  | 0 | STL
1 | 2025.04.01 10:37:33.379 | DMA_LFT_0006 | Lift 6 FOH (Street to Concourse) | Lift monitoring lost | 2025.04.01 10:38:51.967 | elizabeth_james |  | 0 | AZC
1 | 2025.03.31 15:13:51.808 | DMA_LFT_0007 | Lift 7 BOH (Street to Concourse) | Lift monitoring lost | 2025.03.31 17:56:21.708 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 15:13:51.801 | DMA_ESC_0011 | Escalator 11 Bank 7 (Street to Concourse) | Escalator communications lost | 2025.03.31 17:56:46.724 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 15:13:51.801 | DMA_ESC_0012 | Escalator 12 Bank 7 (Street to Concourse) | Escalator communications lost | 2025.03.31 17:56:46.724 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 15:13:39.795 | DMA_LFT_0006 | Lift 6 FOH (Street to Concourse) | Lift safety feature fault | 2025.03.31 17:56:46.724 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 15:13:39.795 | DMA_LFT_0007 | Lift 7 BOH (Street to Concourse) | Lift safety feature fault | 2025.03.31 17:56:46.724 | dominic_dlasselle |  | 0 | AZC
1 | 2025.03.31 10:27:17.608 | PKV_ROL_GF_PKV-RPDE_1 | Royal Parade Entry Roller Door | Unauthorised access | 2025.03.31 10:53:27.507 | dominic_dlasselle |  | 0 | PKV
1 | 2025.03.31 10:27:12.132 | PKV_DOR_B3_PKV-S-03_3 | West Upper Emergency Stairs - Basement | Unauthorised access | 2025.03.31 11:46:23.693 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:26:27.936 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:27.761 | TNC_LFT_0019 | Lift 19 BOH (B5 Basement to B7 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:27.218 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:27.034 | TNC_LFT_0016 | Lift 16 BOH (B7 Basement to Level 1) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:26.824 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:26.654 | TNC_LFT_0015 | Lift 15 BOH (B7 Basement to Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:25.091 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:24.918 | TNC_LFT_0010 | Lift 10 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:24.699 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:24.524 | TNC_LFT_0009 | Lift 9 FOH (B2 Basement to Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:24.312 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:24.137 | TNC_LFT_0008 | Lift 8 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:23.924 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:23.752 | TNC_LFT_0007 | Lift 7 FOH (B4 Basement to B1 Basement) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:23.540 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:23.367 | TNC_LFT_0006 | Lift 6 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:23.144 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift safety feature fault | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:26:22.970 | TNC_LFT_0005 | Lift 5 FOH (B5 Basement to Ground Floor) | Lift monitoring lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:25:07.572 | PKV_LFT_0004 | Lift 4 FOH (Street to Concourse) | Lift General Fault | 2025.03.31 11:46:48.885 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:25:07.392 | PKV_LFT_0003 | Lift 3 FOH (Street to Concourse) | Lift safety feature fault | 2025.03.31 11:46:52.717 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:25:07.274 | PKV_LFT_0003 | Lift 3 FOH (Street to Concourse) | Lift General Fault | 2025.03.31 11:46:54.876 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:24:19.224 | AEN_LFT_0006 | Lift 6 BOH (Level 2 to Platforms) | Lift monitoring lost | 2025.03.31 11:47:03.089 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:16.626 | PKV_ESC_0002 | Escalator 2 Bank 1 (Concourse to Platforms) | Escalator power lost | 2025.03.31 11:45:21.275 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:23:15.742 | PKV_ESC_0001 | Escalator 1 Bank 1 (Concourse to Platforms) | Escalator power lost | 2025.03.31 11:45:19.648 | kasturi_jathar |  | 0 | PKV
1 | 2025.03.31 10:23:10.119 | AEN_ESC_0007 | Escalator 7 Bank 5 (Street to Concourse) | Escalator power lost | 2025.03.31 11:45:24.299 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:09.317 | AEN_ESC_0006 | Escalator 6 Bank 5 (Street to Concourse) | Escalator power lost | 2025.03.31 11:45:23.027 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:08.538 | AEN_ESC_0005 | Escalator 5 Bank 5 (Street to Concourse) | Escalator power lost | 2025.03.31 11:45:27.273 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:07.016 | AEN_ESC_0003 | Escalator 3 Bank 3 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 11:45:25.939 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:06.883 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 2 connection 2 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.877 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 2 connection 1 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.871 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 1 connection 2 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.866 | TSC_SYS_0003 | Town Hall EWIS connection status | PSS 1 connection 1 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.858 | TSC_SYS_0003 | Town Hall EWIS connection status | All connections lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.818 | TSC_SYS_0001 | Town Hall FDS (Modbus) connection status | PSS 2 connection 1 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.810 | TSC_SYS_0001 | Town Hall FDS (Modbus) connection status | PSS 1 connection 1 lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.802 | TSC_SYS_0001 | Town Hall FDS (Modbus) connection status | All connections lost | 2025.03.31 12:31:55.441 | kai_longley |  | 0 | THL
1 | 2025.03.31 10:23:06.534 | AEN_ESC_0003 | Escalator 3 Bank 3 (Concourse to Platforms) | Escalator stopped (main drive chain top right) | 2025.03.31 11:45:29.274 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:05.442 | AEN_ESC_0001 | Escalator 1 Bank 1 (Concourse to Platforms) | Escalator General Fault | 2025.03.31 11:45:30.618 | kasturi_jathar |  | 0 | ARN
1 | 2025.03.31 10:23:01.437 | TNC_SYS_0003 | State Library EWIS connection status | PSS 2 connection 2 lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:01.431 | TNC_SYS_0003 | State Library EWIS connection status | PSS 2 connection 1 lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:01.426 | TNC_SYS_0003 | State Library EWIS connection status | PSS 1 connection 2 lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:01.420 | TNC_SYS_0003 | State Library EWIS connection status | PSS 1 connection 1 lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL
1 | 2025.03.31 10:23:01.411 | TNC_SYS_0003 | State Library EWIS connection status | All connections lost | 2025.03.31 12:31:55.443 | kai_longley |  | 0 | STL