## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.03.22 11:05:29.410 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.22 11:05:15.462 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.22 10:50:59.432 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.22 10:43:53.443 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.22 09:52:51.682 | PKV-Z-4392 | ZONE 4392: PKV-AJ-02, ESCALATOR 16 GROUND (TOP) | Smoke or heat detected - fire unconfirmed! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.22 02:02:44.733 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.22 01:55:38.735 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.22 00:01:03.884 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.22 00:01:03.487 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.22 00:01:03.487 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.21 10:54:34.409 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.03.20 09:05:54.706 | TSC-W-PSD-029 | Town Hall Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 09:05:54.706 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 09:05:54.705 | TSC-W-PSD-022 | Town Hall Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 09:05:54.705 | TSC-W-PSD-023 | Town Hall Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 09:05:54.705 | TSC-W-PSD-024 | Town Hall Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 09:05:54.705 | TSC-W-PSD-025 | Town Hall Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 09:05:54.705 | TSC-W-PSD-026 | Town Hall Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 09:05:54.705 | TSC-W-PSD-028 | Town Hall Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 09:05:52.699 | TSC-W-PSD-027 | Town Hall Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.823 | TSC-W-PSD-019 | Town Hall Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.823 | TSC-W-PSD-020 | Town Hall Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.823 | TSC-W-PSD-021 | Town Hall Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.735 | TSC-W-PSD-013 | Town Hall Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.735 | TSC-W-PSD-014 | Town Hall Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.735 | TSC-W-PSD-015 | Town Hall Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.735 | TSC-W-PSD-017 | Town Hall Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.735 | TSC-W-PSD-018 | Town Hall Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.707 | TSC-W-PSD-004 | Town Hall Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.707 | TSC-W-PSD-005 | Town Hall Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.707 | TSC-W-PSD-006 | Town Hall Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.707 | TSC-W-PSD-007 | Town Hall Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.707 | TSC-W-PSD-008 | Town Hall Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.707 | TSC-W-PSD-009 | Town Hall Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.707 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.707 | TSC-W-PSD-011 | Town Hall Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.707 | TSC-W-PSD-012 | Town Hall Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.706 | TSC-W-PSD-002 | Town Hall Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.706 | TSC-W-PSD-003 | Town Hall Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 08:36:30.705 | TSC-W-PSD-001 | Town Hall Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.20 02:00:58.232 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.19 19:09:46.722 | TSC-E-PSD-007 | Town Hall Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 19:09:46.722 | TSC-E-PSD-008 | Town Hall Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 19:09:46.722 | TSC-E-PSD-009 | Town Hall Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 19:09:46.722 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 19:09:46.702 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 19:09:46.702 | TSC-E-PSD-006 | Town Hall Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.781 | TSC-E-PSD-029 | Town Hall Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.781 | TSC-E-PSD-030 | Town Hall Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.764 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.764 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.764 | TSC-E-PSD-023 | Town Hall Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.764 | TSC-E-PSD-024 | Town Hall Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.764 | TSC-E-PSD-025 | Town Hall Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.764 | TSC-E-PSD-026 | Town Hall Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.764 | TSC-E-PSD-027 | Town Hall Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.764 | TSC-E-PSD-028 | Town Hall Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.763 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.737 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.736 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.727 | TSC-E-PSD-013 | Town Hall Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.727 | TSC-E-PSD-014 | Town Hall Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.727 | TSC-E-PSD-015 | Town Hall Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.697 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 12:10:40.697 | TSC-E-PSD-012 | Town Hall Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:17:32.727 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.19 11:05:20.734 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.14 12:18:07.008 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.14 12:17:49.983 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.14 12:17:43.992 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.14 12:15:46.017 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.22 11:05:29.410 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.22 10:43:53.443 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.21 09:03:03.923 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Power supply to fire panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.19 11:24:00.000 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  |  | 0 | STL
CAME UNACK Med | 2024.03.16 19:24:28.682 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.14 12:17:49.983 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.14 12:15:46.017 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.13 13:13:19.882 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 11:59:41.831 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.829 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.827 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.825 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.823 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.822 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.819 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.817 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.777 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.757 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.22 12:22:45.870 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Smoke Detected in Pit |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.22 12:22:36.872 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.22 12:22:25.782 | PKV-SPE-0011 | B1, PKV-SPE-0011 S-5 Fire Stair 1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:22.837 | PKV-SPE-0534 | PKV-SPE-0534 ESCALATOR 8 CONC. (BOTTOM) | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:22.837 | PKV-SPE-0535 | PKV-SPE-0535 ESCALATOR 9 CONC. (BOTTOM) | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:22.835 | PKV-IVM-0029 | B1, PKV-IVM-0029 931-1 Retail Plant M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:22.001 | PKV-SPE-1022 | B1, PKV-SPE-1022 FIRE LOBBY 406-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:22.001 | PKV-SPE-0533 | PKV-SPE-0533 ESCALATOR 7 CONC. (BOTTOM) | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.879 | PKV-SPE-0176 | B1, PKV-SPE-0176 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.879 | PKV-SPE-0177 | B1, PKV-SPE-0177 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.879 | PKV-SPE-0184 | B1, PKV-SPE-0184 UNALLOCATED ROOM 299-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.879 | PKV-SPE-0185 | B1, PKV-SPE-0185 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.879 | PKV-SPE-0186 | B1, PKV-SPE-0186 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.879 | PKV-SPE-0187 | B1, PKV-SPE-0187 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.879 | PKV-SPE-0189 | B1, PKV-SPE-0189 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.879 | PKV-SPE-0190 | B1, PKV-SPE-0190 SERV HATCH-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.879 | PKV-SPE-0194 | B1, PKV-SPE-0194 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.879 | PKV-SPE-0205 | B1, PKV-SPE-0205 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0117 | B1, PKV-SPE-0117 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0121 | B1, PKV-SPE-0121 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0122 | B1, PKV-SPE-0122 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0123 | B1, PKV-SPE-0123 HYDRAULIC RISER 890-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0132 | B1, PKV-SPE-0132 CLEANER'S STORE 236-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0133 | B1, PKV-SPE-0133 SERV HATCH-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0134 | B1, PKV-SPE-0134 BOH CORRIDOR 151-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0135 | B1, PKV-SPE-0135 BOH CORRIDOR 151-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0136 | B1, PKV-SPE-0136 UNALLOCATED ROOM 299-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0138 | B1, PKV-SPE-0138 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0139 | B1, PKV-SPE-0139 FIELD DEV. RM 7 710-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0140 | B1, PKV-SPE-0140 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0142 | B1, PKV-SPE-0142 HVAC PLANT ROOM 811-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0150 | B1, PKV-SPE-0150 HVAC PLANT ROOM 811-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0169 | B1, PKV-SPE-0169 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.148 | PKV-SPE-0173 | B1, PKV-SPE-0173 MECH PLANT ROOM 812-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.147 | PKV-FPD-0010 | B1, PKV-FPD-0010 (FCU-1113) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.147 | PKV-FPD-0011 | B1, PKV-FPD-0011 (FCU-1114) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.147 | PKV-SPE-0107 | B1, PKV-SPE-0107 FIRE CONTROL ROOM 401-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.147 | PKV-SPE-0108 | B1, PKV-SPE-0108 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.147 | PKV-SPE-0109 | B1, PKV-SPE-0109 FIRE SPF ROOM 3 802-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.147 | PKV-SPE-0110 | B1, PKV-SPE-0110 FIRE LOBBY 406-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.147 | PKV-SPE-0113 | B1, PKV-SPE-0113 HVAC PLANT ROOM 811-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.147 | PKV-SPE-0114 | B1, PKV-SPE-0114 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.147 | PKV-SPE-0115 | B1, PKV-SPE-0115 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:21.147 | PKV-SPE-0116 | B1, PKV-SPE-0116 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:20.845 | PKV-SPE-0145 | B1, PKV-SPE-0145 LV SWITCHROOM A1 650-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:20.845 | PKV-SPE-0146 | B1, PKV-SPE-0146 LV SWITCHROOM A1 650-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:20.845 | PKV-SPE-0147 | B1, PKV-SPE-0147 LV SWITCHROOM B1 650-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:20.845 | PKV-SPE-0148 | B1, PKV-SPE-0148 LV SWITCHROOM B1 650-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:20.845 | PKV-SPE-0151 | B1, PKV-SPE-0151 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:20.845 | PKV-SPE-0152 | B1, PKV-SPE-0152 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:20.845 | PKV-SPE-0153 | B1, PKV-SPE-0153 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:18.732 | PKV-SPE-0192 | B1, PKV-SPE-0192 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:18.732 | PKV-SPE-0193 | B1, PKV-SPE-0193 BOH CORRIDOR 151-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:15.749 | PKV-SPE-0737 | B2, PKV-SPE-0737 LIFT 1&2 PKV-LFT-0001,2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 12:22:15.749 | PKV-IVM-0068 | B1, PKV-IVM-0068 Grattan St Canopy M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.22 10:48:12.133 | AEN_DOR_LG_405-3_2 | Fire escape Corridor - Lower Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.22 10:40:32.574 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.22 10:04:01.698 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.22 08:39:38.262 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.22 08:11:16.796 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.22 08:11:06.949 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.22 07:35:46.230 | AEN_DOR_GF_405-2_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.22 06:50:44.006 | DMA-FPD-0014 | B1, DMA-FPD-0014 ECS PLANTROOM 3 801-5 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.22 06:50:41.959 | DMA-FPD-0015 | B1, DMA-FPD-0015 ECS PLANTROOM 3 801-5 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.22 06:50:41.959 | DMA-FPD-0003 | B1, DMA-FPD-0003 ECS PLANTROOM 3 801-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.22 06:50:41.959 | DMA-FPD-0004 | B1, DMA-FPD-0004 ECS PLANTROOM 3 801-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.21 22:36:42.938 | AEN_FCU_0107_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.21 20:20:06.220 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.21 17:03:57.957 | PKV_NDB_0405_MFM_05 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 17:03:55.959 | PKV_NDB_0405_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 17:03:54.951 | PKV_NDB_0405_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 17:03:52.957 | PKV_NDB_0405_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 17:03:51.958 | PKV_NDB_0405_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 16:35:40.160 | PKV_FCU_0207_SMD_05 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 16:35:40.160 | PKV_FCU_0207_SMD_04 | Fan Coil Unit - Field Modulated SA Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 16:33:45.271 | PKV_FCU_0211_MVD_02 | Fan Coil Unit - Field Modulated Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 16:28:00.890 | _ReduManager_2 | Town Hall Server 2 | Server 2 - Set active automatically |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.21 14:13:05.261 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 14:13:05.261 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 13:22:39.713 | PKV-BGU-0001 | B1, 401-1 PKV-BGU-0001 MFIP MCP | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 13:16:59.816 | PKV-ASD-0013 | B2, PKV-ASD-0013 Conc 102-3 Esc.14-16 F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 13:16:54.768 | PKV-ASD-0018 | B2, PKV-ASD-0018 Conc Skylight 1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 11:22:59.789 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.21 11:06:39.837 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.21 11:04:46.000 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-03A | Traction Section Arden to Parkville | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-03B | Traction Section Arden to Parkville section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-04A | Traction Section Parkville Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-04B | Traction Section Parkville Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-05A | Traction Section Parkville to State Library | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-05B | Traction Section Parkville to State Library section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-06A | Traction Section State Library Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-06B | Traction Section State Library Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-07A | Traction Section State Library to Town Hall | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-07B | Traction Section State Library to Town hall section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.433 | ESS-Section-08A | Traction Section Town Hall Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 10:38:18.431 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.21 09:05:47.908 | PKV-ASD-0059 | B4U, PKV-ASD-0059 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 09:03:03.981 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.21 08:04:41.248 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 08:02:16.121 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.21 03:03:58.178 | WPZ-FIP-0001 | Western Portal Station Fire Panel | Fire panels in the station have a power fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.20 15:22:15.117 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.20 11:53:14.226 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.20 11:53:11.226 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.20 11:27:39.814 | PKV-IVM-0039 | B3, PKV-IVM-0039 405-4 Esc Corridor M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.19 15:33:43.725 | _ReduManager | Distributed Server 1 | Server 1 - Forced active |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.18 11:15:23.286 | PKV_FCU_1119_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:05:46.076 | SDU_FCU_1001 | Air Cooled Unit | Communications lost alarm |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.18 11:04:26.104 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.104 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.104 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.104 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.104 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.090 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.090 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.090 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.090 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:21.129 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 08:25:59.758 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.18 08:25:36.939 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:10:58.943 | DMA_FCU_0201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:10:57.803 | DMA_FCU_1109_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:10:57.803 | DMA_FCU_1109_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:09:29.766 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:09:29.766 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:09:29.766 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:08:50.937 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:08:50.937 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.15 08:57:09.315 | ESS-Section-08B | Traction Section Town Hall Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.14 09:58:47.041 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.041 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_1101_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_1101_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_1109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_1109_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_1110_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:53:11.808 | DMA_FCU_1110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:53:11.797 | DMA_FCU_0118_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:51:17.008 | DMA_FCU_0118_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.13 11:51:16.716 | PKV-SPE-0111 | B1, PKV-SPE-0111 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:16.716 | PKV-SPE-0112 | B1, PKV-SPE-0112 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0047 | B4U, PKV-ASD-0047 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.10 14:24:08.689 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 14:03:08.402 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 13:57:40.409 | TNC-W-PSD-003 | State Library Platform 1 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 13:22:16.409 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 12:41:16.726 | DMA-W-PSD-004 | Anzac Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.10 12:34:34.403 | TNC-E-PSD-021 | State Library Platform 2 Zone 2 PSD 21 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 12:29:54.730 | DMA-W-PSD-001 | Anzac Platform 1 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.10 12:06:12.411 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 12:05:58.408 | TNC-E-PSD-004 | State Library Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 11:42:42.690 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 11:42:28.688 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 11:32:58.689 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 11:30:52.411 | TNC-E-PSD-001 | State Library Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 11:03:58.687 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 10:30:50.682 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.09 18:26:22.405 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.09 18:21:46.685 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.08 11:59:41.784 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.08 11:59:41.780 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 11:59:41.772 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.08 11:59:41.769 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 10:33:39.570 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:39.008 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:36.962 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:36.071 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:34.017 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:33.280 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:31:44.309 | PKV_NDB_0401_MFM_05 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.251 | PKV_NDB_0401_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.193 | PKV_NDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.135 | PKV_NDB_0401_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.077 | PKV_NDB_0401_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.020 | PKV_MSB_0404_MFM_19 | PKV-CHD-0402 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:43.962 | PKV_MSB_0404_MFM_18 | PKV-ESC-0013 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:43.636 | PKV_MSB_0403_MFM_17 | PKV-ESC-0009 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:43.069 | PKV_MSB_0401_MFM_20 | PKV-ESC-0007 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.958 | PKV_MSB_0401_MFM_10 | PKV-LFT-0011 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.900 | PKV_MSB_0401_MFM_09 | PKV-LFT-0010 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.736 | PKV_MSB_0401_MFM_04 | PKV-ESC-0012 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.595 | PKV_MCC_0402_MFM_22 | PKV-SPF-0302 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.456 | PKV_MCC_0402_MFM_15 | PKV-OFN-0003 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.399 | PKV_MCC_0402_MFM_09 | PKV-TFN-0103-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.206 | PKV_MCC_0401_MFM_07 | PKV-TFN-0203-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.362 | PKV_EDB_0404_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.304 | PKV_EDB_0404_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.246 | PKV_EDB_0404_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.189 | PKV_EDB_0404_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.943 | PKV_EDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.158 | PKV_CDB_0406_MFM_03 | SECTION 3 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 12HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.100 | PKV_CDB_0406_MFM_02 | SECTION 2 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 8HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.040 | PKV_CDB_0406_MFM_01 | SECTION 1 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 2HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 08:23:58.250 | ESS-Section-11B | Traction Section Anzac to South yarra section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.08 08:23:58.216 | ESS-Section-10A | Traction Section Anzac Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
WENT UNACK High | 2024.03.22 12:22:42.079 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke detected! Confirm Station Evac within 5 mins!! |  |  | 2024.03.22 12:22:44.077 | 0 | AZC
WENT UNACK High | 2024.03.22 12:22:07.079 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Smoke or heat detected! Extend timer within 30s to investigate!! |  |  | 2024.03.22 12:22:08.071 | 0 | AZC
WENT UNACK High | 2024.03.22 12:21:58.921 | DMA-Z-7121 | ZONE 7121: GF, DMA-AA-01 ENTRY PORTAL | Confirmed fire! |  |  | 2024.03.22 12:22:39.903 | 0 | AZC
WENT UNACK High | 2024.03.22 12:21:08.897 | DMA-Z-7241 | ZONE 7241: B1, DMA-BH-01 CONC UNPAID AREA | Smoke or heat detected - fire unconfirmed! |  |  | 2024.03.22 12:22:01.939 | 0 | AZC
WENT UNACK High | 2024.03.22 06:49:36.734 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.03.22 06:49:40.735 | 0 | AZC
WENT UNACK High | 2024.03.21 15:57:10.480 | _Event | MTTHL:_Event. | License OK |  |  | 2024.03.21 16:27:39.296 | 0 | THL
WENT UNACK High | 2024.03.21 15:22:08.695 | PKV-Z-4404 | ZONE 4404: B3, PKV-AS-01 BOH NORTH | Smoke or heat detected - fire unconfirmed! |  |  | 2024.03.21 23:34:14.706 | 0 | PKV
WENT UNACK High | 2024.03.21 14:02:18.735 | PKV-Z-4412 | ZONE 4412: B3, PKV-AA-15 LIFT 8 | Confirmed fire! |  |  | 2024.03.21 14:04:04.690 | 0 | PKV
WENT UNACK High | 2024.03.21 11:24:11.954 | DMA-Z-7321 | ZONE 7321: B2, DMA-DD-01 PLATFORM AREA | Smoke or heat detected - fire unconfirmed! |  |  | 2024.03.22 06:48:54.932 | 0 | AZC
WENT UNACK High | 2024.03.21 10:54:34.410 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.03.21 11:42:56.403 | 0 | STL
WENT UNACK High | 2024.03.20 16:08:31.983 | PKV_FIO_0001_PLAT | Fire Confirmed - Parkville Station S04A Platform - PKV-C-01 | Shaft smoke detection unavailable! |  |  | 2024.03.21 11:22:17.980 | 0 | PKV
WENT UNACK High | 2024.03.20 16:08:31.983 | PKV_FIO_0001_CONC | Fire Confirmed - Parkville Station S04A - Concourse - PKV-B-01 | Shaft smoke detection unavailable! |  |  | 2024.03.21 11:22:17.980 | 0 | PKV
WENT UNACK Med | 2024.03.22 12:16:18.701 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | Door control unit communication lost |  |  | 2024.03.22 12:17:18.702 | 0 | THL
WENT UNACK Med | 2024.03.22 11:57:44.768 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD |  |  | 2024.03.22 11:57:45.763 | 0 | ARN
WENT UNACK Med | 2024.03.20 10:05:32.008 | _DMA-BMS-PLC3 | MTAZC:_DMA-BMS-PLC3. | Communications Fault - Anzac Server 1 to Anzac BMS 3 PLC |  |  | 2024.03.20 10:05:32.541 | 0 | AZC
WENT UNACK Med | 2024.03.20 10:04:00.597 | _DMA-BMS-PLC3_2 | MTAZC:_DMA-BMS-PLC3_2. | Communications Fault - Anzac Server 2 to Anzac BMS 3 PLC |  |  | 2024.03.20 10:05:29.958 | 0 | ARN
WENT UNACK Low | 2024.03.22 11:57:19.289 | PKV_FCU_1116_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  | 2024.03.22 12:22:32.163 | 0 | PKV
WENT UNACK Low | 2024.03.22 08:06:41.308 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.03.22 08:06:46.356 | 0 | THL
ACK High | 2024.03.22 12:17:57.863 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! | 2024.03.22 12:21:17.873 | kai_longley |  | 0 | AZC
ACK High | 2024.03.21 11:22:22.980 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2024.03.21 11:40:23.434 | operator |  | 0 | SDU
ACK High | 2024.03.21 11:22:22.980 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.03.21 11:47:34.811 | operator |  | 0 | SDU
ACK High | 2024.03.19 10:53:36.393 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.03.21 11:12:13.971 | operator |  | 0 | PKV
ACK High | 2024.03.16 08:35:12.032 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD obstructed on opening or closing! | 2024.03.18 10:18:52.999 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.03.15 21:12:36.033 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.03.18 10:46:51.464 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.03.15 13:16:34.030 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.03.18 10:46:44.619 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.03.15 13:08:12.029 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.03.18 10:46:38.781 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.03.14 16:16:22.007 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! | 2024.03.21 11:12:22.020 | operator |  | 0 | SDU
ACK High | 2024.03.14 16:15:22.009 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! | 2024.03.21 11:12:23.918 | operator |  | 0 | SDU
ACK High | 2024.03.14 16:07:51.001 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! | 2024.03.21 11:12:25.065 | operator |  | 0 | SDU
ACK High | 2024.03.14 16:07:51.001 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! | 2024.03.21 11:12:26.324 | operator |  | 0 | SDU
ACK High | 2024.03.08 10:32:04.850 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! | 2024.03.10 08:40:44.594 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.08 10:32:04.482 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.03.10 08:39:37.030 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.08 10:32:04.008 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! | 2024.03.10 08:39:52.262 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded | 2024.03.21 11:12:27.592 | operator |  | 0 | THL
ACK Med | 2024.03.21 09:03:19.963 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | Power supply to gas supression panel fault | 2024.03.21 11:50:52.123 | operator |  | 0 | AZC
ACK Med | 2024.03.21 09:03:16.987 | DMA-FIP-0005 | Anzac Station SHCIE Panel 5 | Power supply to gas supression panel fault | 2024.03.21 11:42:18.533 | operator |  | 0 | AZC
ACK Med | 2024.03.21 09:03:12.938 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | Power supply to gas supression panel fault | 2024.03.21 11:42:08.445 | operator |  | 0 | AZC
ACK Med | 2024.03.21 09:03:10.008 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | Power supply to gas supression panel fault | 2024.03.21 13:03:03.053 | operator |  | 1 | AZC
ACK Med | 2024.03.21 09:03:07.954 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | Power supply to gas supression panel fault | 2024.03.21 13:03:04.592 | operator |  | 0 | AZC
ACK Med | 2024.03.20 11:27:33.699 | PKV-FIP-0004 | Parkville Station SHCIE Panel 3 | Power supply to gas supression panel fault | 2024.03.21 13:03:06.417 | operator |  | 0 | PKV
ACK Med | 2024.03.16 08:32:08.031 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door alarm bypassed! | 2024.03.18 10:46:44.400 | dominic_dlasselle |  | 0 | ARN
ACK Med | 2024.03.13 11:51:09.656 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Power supply to fire panel fault | 2024.03.14 10:48:39.923 | operator |  | 0 | PKV
ACK Med | 2024.03.13 11:51:07.724 | PKV-FIP-0006 | Parkville Station SHCIE Panel 5 | Power supply to gas supression panel fault | 2024.03.18 09:25:27.889 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.13 11:51:02.705 | PKV-FIP-0005 | Parkville Station SHCIE Panel 4 | Power supply to gas supression panel fault | 2024.03.18 09:25:32.358 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.08 14:08:07.473 | _Mod_Plc_4_2 | MTARD:_Mod_Plc_4_2. | Communications Fault - Arden Server 2 to Arden EWIS | 2024.03.18 09:27:33.455 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.08 14:08:07.473 | _Mod_Plc_3_2 | MTARD:_Mod_Plc_3_2. | Communications Fault - Arden Server 2 to Arden EWIS | 2024.03.18 09:25:21.305 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.08 14:08:07.473 | _Mod_Plc_2_2 | MTARD:_Mod_Plc_2_2. | Communications Fault - Arden Server 2 to Arden FDS Gateway | 2024.03.18 09:25:24.036 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.08 10:32:59.576 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2024.03.10 08:39:51.926 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.08 10:32:59.573 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2024.03.10 08:39:52.088 | sergio_paniagua |  | 0 | SDU
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.03.22 09:37:01.727 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator communications lost | 2024.03.22 09:39:40.389 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.03.21 14:52:29.861 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.03.21 14:53:10.969 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.03.21 14:52:08.925 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.03.21 14:53:12.832 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.03.21 14:51:55.081 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.03.21 14:53:14.410 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.03.21 14:51:35.102 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault | 2024.03.21 14:53:17.235 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.03.21 06:22:47.059 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long | 2024.03.21 11:16:02.847 | ronan_mcinerney |  | 0 | ARN
ACK Low | 2024.03.20 14:55:56.111 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost | 2024.03.20 14:59:37.266 | josh_estrada |  | 0 | PKV
ACK Low | 2024.03.20 12:58:34.030 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long | 2024.03.21 11:16:09.895 | ronan_mcinerney |  | 0 | ARN
ACK Low | 2024.03.20 11:46:12.842 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access | 2024.03.21 11:16:11.504 | ronan_mcinerney |  | 0 | ARN
ACK Low | 2024.03.19 21:12:35.511 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access | 2024.03.21 11:16:15.072 | ronan_mcinerney |  | 0 | ARN
ACK Low | 2024.03.15 08:33:47.863 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational | 2024.03.18 10:07:42.451 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.14 15:16:59.752 | AEN_DOR_B1_ESC_STAIRS_03_1 | West Emergency Stairs - Concourse | Door open too long | 2024.03.18 10:07:29.035 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.10 12:40:44.033 | AEN-E-PSD-006 | Arden Platform 2 Zone 1 PSD 06 | PSD isolated | 2024.03.12 09:26:58.207 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.10 10:43:32.734 | DMA-E-PSD-002 | Anzac Platform 2 Zone 1 PSD 02 | PSD isolated | 2024.03.10 12:27:22.357 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.08 10:32:35.203 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated | 2024.03.10 10:32:41.281 | sergio_paniagua |  | 0 | PKV
ACK Low | 2024.03.08 08:23:58.239 | ESS-Section-11A | Traction Section Anzac to South Yarra | Section A Traction Power status Unknown | 2024.03.10 08:42:33.500 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.227 | ESS-Section-10B | Traction Section Anzac Station section B | Section B Traction Power status Unknown | 2024.03.10 08:42:11.005 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.207 | ESS-Section-09B | Traction Section Town Hall to Anzac section B | Section B Traction Power status Unknown | 2024.03.10 08:41:59.353 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.194 | ESS-Section-09A | Traction Section Town Hall to Anzac | Section A Traction Power status Unknown | 2024.03.10 08:41:47.459 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.056 | ESS-Section-02B | Traction Section Arden Station section B | Section B Traction Power status Unknown | 2024.03.10 08:39:21.581 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.043 | ESS-Section-02A | Traction Section Arden Station | Section A Traction Power status Unknown | 2024.03.10 08:36:47.589 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.034 | ESS-Section-01B | Traction Section Footscray west to Arden section B | Section B Traction Power status Unknown | 2024.03.10 08:38:34.238 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.023 | ESS-Section-01A | Traction Section Footscray west to Arden | Section A Traction Power status Unknown | 2024.03.09 09:31:33.545 | sergio_paniagua |  | 0 | SDU