## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.06.19 04:50:26.573 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.19 04:42:42.168 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.06.19 03:03:57.789 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.06.19 02:21:38.569 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.19 02:06:20.589 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.19 02:06:20.567 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.19 00:01:03.864 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.18 23:45:37.784 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.06.18 20:39:31.787 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.06.18 17:21:16.572 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-006 | Town Hall Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-008 | Town Hall Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 17:18:38.577 | TSC-E-PSD-009 | Town Hall Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.754 | TSC-E-PSD-030 | Town Hall Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.696 | TSC-E-PSD-026 | Town Hall Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.696 | TSC-E-PSD-027 | Town Hall Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.696 | TSC-E-PSD-028 | Town Hall Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.696 | TSC-E-PSD-029 | Town Hall Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.659 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.659 | TSC-E-PSD-024 | Town Hall Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.619 | TSC-E-PSD-017 | Town Hall Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.619 | TSC-E-PSD-018 | Town Hall Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.619 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.619 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.578 | TSC-E-PSD-013 | Town Hall Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.578 | TSC-E-PSD-014 | Town Hall Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.578 | TSC-E-PSD-015 | Town Hall Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.577 | TSC-E-PSD-011 | Town Hall Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:49:20.577 | TSC-E-PSD-012 | Town Hall Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.18 14:32:11.603 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.18 13:21:01.598 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.18 10:15:57.426 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.18 10:15:54.424 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.18 10:15:07.424 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.18 10:07:32.423 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 23:25:36.571 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 23:25:34.578 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 20:12:08.573 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.06.17 17:25:05.719 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 17:24:47.727 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 17:18:57.688 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 15:47:05.986 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 15:35:35.983 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:48:30.898 | AEN_ROL_RNERV_W | West Tunnel RNERV Roller Door | RNERV crane arm extended over tracks! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:46:38.491 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:44:45.111 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:44:45.077 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:44:24.887 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:33.339 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:13.465 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:13.004 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:12.542 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.06.17 09:43:10.739 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.666 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.602 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:10.536 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.06.17 09:43:09.187 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.06.17 09:43:08.593 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.19 04:00:08.324 | PKV_FCU_1213_14_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.06.18 17:15:38.168 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | Door control unit fault |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.17 17:25:05.719 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:47:01.743 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:46:32.867 | TSC-FIP-0001 | Town Hall Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.17 10:46:02.656 | TNC-FIP-0001 | State Library Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.17 10:43:09.320 | PKV-FIP-0001 | Parkville Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | PKV
CAME UNACK Med | 2024.06.17 10:35:18.075 | WPZ-FIP-0001 | Western Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 10:35:16.887 | AEN-FIP-0001 | Arden Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.344 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.333 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:32.298 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.17 09:44:25.710 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:14.359 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:14.316 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:11.700 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:44:11.682 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.06.17 09:42:54.181 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:50:15.741 | _Driver1_2 | Anzac Server 2 | PSS2 S7 Driver 1 overloaded (TVCS PLC) |  |  |  | 0 | ARN
CAME UNACK Med | 2024.06.03 10:49:53.704 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.699 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.694 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:52.198 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.195 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.192 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:38.107 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Communications Fault - State Library Server 2 to State Library TVCS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:38.099 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Communications Fault - State Library Server 1 to State Library TVCS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.241 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.239 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.238 | _TNC-BMS-PLC3_2 | MTSTL:_TNC-BMS-PLC3_2. | Communications Fault - State Library Server 2 to State Library BMS Gateway PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.236 | _TNC-BMS-PLC3 | MTSTL:_TNC-BMS-PLC3. | Communications Fault - State Library Server 1 to State Library BMS Gateway PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.234 | _TNC-BMS-PLC_2 | MTSTL:_TNC-BMS-PLC_2. | Communications Fault - State Library Server 2 to State Library BMS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.232 | _TNC-BMS-PLC | MTSTL:_TNC-BMS-PLC. | Communications Fault - State Library Server 1 to State Library BMS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.970 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.968 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.967 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.964 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.962 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.960 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.19 07:26:07.700 | DMA_TEXB | Tunnel Ambient Temperature Control | Temperature Sensors B - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.19 07:25:18.202 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 07:19:54.013 | PKV_DOR_B2_PKV-S-02_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.19 05:01:13.394 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.19 05:01:13.391 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.19 02:14:59.387 | AEN_DOR_B2_ESC_STAIRS_04_4 | Platform 1 east - single emergency door | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.18 21:50:20.831 | PKV_DOR_B2_151-15_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 20:10:12.740 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:10:11.754 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:06:18.746 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:06:12.740 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:05:41.747 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:05:37.739 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:03:37.744 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:03:37.744 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:02:20.744 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:02:14.747 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:01:10.740 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:00:57.742 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 20:00:48.747 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:59:43.827 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:59:33.828 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:59:24.743 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.116 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.116 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.116 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.115 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.115 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.115 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.115 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.115 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.115 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.115 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:36:12.115 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 19:34:44.781 | DMA_FCU_1127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.18 17:20:18.162 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.18 14:07:07.520 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.18 13:50:38.121 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 13:31:51.222 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 13:10:10.120 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 12:01:07.000 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 10:35:29.128 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.18 07:56:27.791 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.18 06:48:39.994 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift monitoring lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.18 06:47:58.009 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.18 06:45:42.928 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift monitoring lost |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.18 06:44:59.998 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 15:36:14.088 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 12:23:05.220 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 12:13:06.295 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 11:53:36.306 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:17:22.155 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 10:14:18.577 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:38.267 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.246 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.209 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.177 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.154 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:38.131 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:48:31.392 | PKV_DOR_GF_PKV-S-03_2 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.349 | PKV_DOR_B2_PKV-S-03_3 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:31.339 | PKV_DOR_B2_405-5_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:48:30.818 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:22.356 | AEN-SPE-0404 | B1, AEN-SPE-0404, 151-10 BOH Corridor | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:22.030 | AEN-SPE-0403 | B1, AEN-SPE-0403, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:47:21.408 | AEN-SPE-0400 | B1, AEN-SPE-0400, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:39.288 | AEN-SPE-0095 | B1, AEN-SPE-0095, 103-2 PAID CONC | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:38.386 | AEN-SPE-0090 | B1, AEN-SPE-0090, 151-10 BOH Corridor | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:46:22.755 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.661 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.286 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:22.046 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.849 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.609 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:21.414 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:20.799 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:46:20.560 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:45:54.246 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:45:54.077 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:44:40.506 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:39.768 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:39.026 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:38.286 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:37.548 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:36.802 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:36.058 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:35.313 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:34.562 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:33.818 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:33.074 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:32.331 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:31.586 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:30.836 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:30.088 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:29.344 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:44:06.674 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.06.17 09:43:58.781 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  |  | 0 | SDU
CAME UNACK Low | 2024.06.17 09:43:48.039 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:47.837 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:38.900 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:36.959 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.06.17 09:43:35.739 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.06.17 09:43:35.299 | TSC-E-PSD-016 | Town Hall Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.17 09:43:31.275 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.17 09:43:25.896 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.104 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 2 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.101 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.095 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 2 |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.091 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 1 |  |  |  | 0 | STL
WENT UNACK High | 2024.06.19 05:07:46.167 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.06.19 05:08:06.162 | 0 | STL
WENT UNACK High | 2024.06.19 04:59:48.570 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.19 04:59:58.567 | 0 | THL
WENT UNACK High | 2024.06.19 03:47:41.791 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.19 03:47:45.781 | 0 | ARN
WENT UNACK High | 2024.06.19 03:37:31.792 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.06.19 03:43:13.793 | 0 | ARN
WENT UNACK High | 2024.06.19 02:23:42.569 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.06.19 02:23:46.570 | 0 | THL
WENT UNACK High | 2024.06.19 01:59:52.567 | TSC-W-LCP | Town Hall Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.19 01:59:54.573 | 0 | THL
WENT UNACK High | 2024.06.19 01:49:34.160 | TNC-E-LCP | State Library Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.19 01:49:56.160 | 0 | STL
WENT UNACK High | 2024.06.19 01:45:56.167 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.06.19 01:46:02.164 | 0 | STL
WENT UNACK High | 2024.06.19 01:06:03.785 | AEN-W-LCP | Arden Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.19 01:06:09.785 | 0 | ARN
WENT UNACK High | 2024.06.19 00:52:25.782 | AEN-W-PSD-021 | Arden Platform 1 Zone 2 PSD 21 | Manual release activated! |  |  | 2024.06.19 00:52:59.783 | 0 | ARN
WENT UNACK High | 2024.06.19 00:01:03.864 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.06.19 04:36:20.831 | 0 | AZC
WENT UNACK High | 2024.06.18 21:00:21.791 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.06.18 21:00:27.792 | 0 | ARN
WENT UNACK High | 2024.06.18 19:22:09.603 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.06.18 19:22:13.603 | 0 | AZC
WENT UNACK High | 2024.06.18 19:14:17.599 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.06.18 19:20:11.604 | 0 | AZC
WENT UNACK High | 2024.06.18 18:33:03.985 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.06.18 18:41:17.987 | 0 | PKV
WENT UNACK High | 2024.06.18 18:28:34.165 | TNC-W-LCP | State Library Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.18 18:28:42.163 | 0 | STL
WENT UNACK High | 2024.06.18 18:26:10.161 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.18 18:26:28.165 | 0 | STL
WENT UNACK High | 2024.06.18 18:26:10.161 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.18 18:28:14.183 | 0 | STL
WENT UNACK High | 2024.06.18 18:23:32.183 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.19 01:49:34.187 | 0 | STL
WENT UNACK High | 2024.06.18 18:05:11.601 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.06.18 18:08:33.599 | 0 | AZC
WENT UNACK High | 2024.06.18 17:25:40.593 | TSC-W-PSD-015 | Town Hall Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 01:58:10.602 | 0 | THL
WENT UNACK High | 2024.06.18 17:25:40.593 | TSC-W-PSD-021 | Town Hall Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 01:58:10.602 | 0 | THL
WENT UNACK High | 2024.06.18 17:25:40.572 | TSC-W-PSD-007 | Town Hall Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 01:58:10.601 | 0 | THL
WENT UNACK High | 2024.06.18 17:21:16.572 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.06.18 17:25:52.571 | 0 | THL
WENT UNACK High | 2024.06.18 17:15:14.165 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.06.18 17:15:26.161 | 0 | STL
WENT UNACK High | 2024.06.18 16:43:13.977 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.18 16:43:23.977 | 0 | PKV
WENT UNACK High | 2024.06.18 14:54:36.167 | TNC-W-PSD-016 | State Library Platform 1 Zone 2 PSD 16 | PSD obstructed on opening or closing! |  |  | 2024.06.18 15:00:36.168 | 0 | STL
WENT UNACK High | 2024.06.18 13:51:40.162 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | Manual release activated! |  |  | 2024.06.18 13:52:24.168 | 0 | STL
WENT UNACK High | 2024.06.18 13:19:11.597 | DMA-E-LCP | Anzac Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.18 13:19:13.604 | 0 | AZC
WENT UNACK High | 2024.06.18 13:17:03.598 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door opened! |  |  | 2024.06.18 13:17:09.597 | 0 | AZC
WENT UNACK High | 2024.06.18 11:35:51.785 | AEN-E-LCP | Arden Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.06.18 11:36:01.785 | 0 | ARN
WENT UNACK High | 2024.06.18 00:13:51.791 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.19 01:03:11.804 | 0 | ARN
WENT UNACK High | 2024.06.17 20:03:22.169 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.06.18 17:17:04.190 | 0 | STL
WENT UNACK High | 2024.06.17 19:05:46.197 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  | 2024.06.18 17:17:04.199 | 0 | STL
WENT UNACK High | 2024.06.17 18:10:00.653 | TSC-W-PSD-025 | Town Hall Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 01:58:10.602 | 0 | THL
WENT UNACK High | 2024.06.17 18:10:00.653 | TSC-W-PSD-029 | Town Hall Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 01:58:10.602 | 0 | THL
WENT UNACK High | 2024.06.17 18:10:00.618 | TSC-W-PSD-024 | Town Hall Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 01:58:10.602 | 0 | THL
WENT UNACK High | 2024.06.17 18:10:00.576 | TSC-W-PSD-011 | Town Hall Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 01:58:10.602 | 0 | THL
WENT UNACK High | 2024.06.17 18:10:00.576 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 01:58:10.602 | 0 | THL
WENT UNACK High | 2024.06.17 17:18:56.719 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  | 2024.06.18 12:40:28.721 | 0 | SDU
WENT UNACK High | 2024.06.17 14:50:44.600 | TSC-W-PSD-020 | Town Hall Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 01:58:10.602 | 0 | THL
WENT UNACK High | 2024.06.17 14:50:44.576 | TSC-W-PSD-002 | Town Hall Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  | 2024.06.19 01:58:10.601 | 0 | THL
WENT UNACK Med | 2024.06.19 07:23:40.995 | PKV_UPS_0402 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.06.19 07:24:05.988 | 0 | PKV
WENT UNACK Med | 2024.06.19 06:16:06.614 | DMA_UPS_0402 | Uninterruptible Power Supply | UPS general fault |  |  | 2024.06.19 06:16:32.612 | 0 | AZC
WENT UNACK Med | 2024.06.19 04:42:14.166 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.19 04:42:34.160 | 0 | STL
WENT UNACK Med | 2024.06.19 03:32:41.787 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.19 03:47:45.781 | 0 | ARN
WENT UNACK Med | 2024.06.19 03:17:15.785 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.19 03:43:15.792 | 0 | ARN
WENT UNACK Med | 2024.06.19 02:21:16.568 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.19 02:23:52.575 | 0 | THL
WENT UNACK Med | 2024.06.19 01:45:50.167 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.19 01:46:08.170 | 0 | STL
WENT UNACK Med | 2024.06.18 21:00:19.791 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.18 21:00:29.791 | 0 | ARN
WENT UNACK Med | 2024.06.18 19:21:08.782 | DMA_FCU_1115_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.18 19:34:43.888 | 0 | AZC
WENT UNACK Med | 2024.06.18 19:12:09.601 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.18 19:22:15.601 | 0 | AZC
WENT UNACK Med | 2024.06.18 18:59:15.598 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.18 19:20:13.601 | 0 | AZC
WENT UNACK Med | 2024.06.18 18:50:29.783 | DMA_FCU_1111_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.18 18:50:44.784 | 0 | AZC
WENT UNACK Med | 2024.06.18 18:33:03.985 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.18 18:41:19.986 | 0 | PKV
WENT UNACK Med | 2024.06.18 18:21:18.162 | TNC-E-PLT | State Library Platform 2 | PSDs in local control mode on specified platform |  |  | 2024.06.18 18:22:00.167 | 0 | STL
WENT UNACK Med | 2024.06.18 18:05:09.600 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.06.18 18:08:35.604 | 0 | AZC
WENT UNACK Med | 2024.06.18 17:21:12.572 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.18 17:25:56.572 | 0 | THL
WENT UNACK Med | 2024.06.18 17:15:28.169 | TNC-E-PLT | State Library Platform 2 | PSDs in local control mode on specified platform |  |  | 2024.06.18 17:15:58.160 | 0 | STL
WENT UNACK Med | 2024.06.18 17:15:12.165 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.18 17:15:28.169 | 0 | STL
WENT UNACK Med | 2024.06.18 16:43:09.978 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.18 16:43:25.980 | 0 | PKV
WENT UNACK Med | 2024.06.18 15:18:06.812 | DMA_FCU_0105_06_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.06.18 15:18:16.812 | 0 | AZC
WENT UNACK Med | 2024.06.18 13:16:59.601 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.06.18 13:17:19.599 | 0 | AZC
WENT UNACK Low | 2024.06.19 07:26:46.853 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.19 07:26:53.470 | 0 | PKV
WENT UNACK Low | 2024.06.19 07:23:35.845 | PKV_DOR_B1_PKV-S-02_2 | Security Door (B1 EAST) | Unauthorised access |  |  | 2024.06.19 07:23:42.048 | 0 | PKV
WENT UNACK Low | 2024.06.19 07:22:20.799 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  | 2024.06.19 07:22:22.720 | 0 | AZC
WENT UNACK Low | 2024.06.19 07:21:37.198 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.06.19 07:22:12.180 | 0 | PKV
WENT UNACK Low | 2024.06.19 07:18:04.707 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  | 2024.06.19 07:18:24.708 | 0 | AZC
WENT UNACK Low | 2024.06.19 07:14:38.705 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped (main drive chain top right) |  |  | 2024.06.19 07:15:30.772 | 0 | AZC
WENT UNACK Low | 2024.06.19 07:01:37.043 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  | 2024.06.19 07:03:21.025 | 0 | PKV
WENT UNACK Low | 2024.06.19 06:38:43.030 | PKV_DOR_GF_PKV-S-05_1 | Security Door (PUBLIC REALM EAST) | Unauthorised access |  |  | 2024.06.19 06:38:48.316 | 0 | PKV
WENT UNACK Low | 2024.06.19 03:46:16.169 | AEN_DOR_B2_ESC_STAIRS_04_2 | Platform 2 east - single emergency door | Unauthorised access |  |  | 2024.06.19 03:46:29.357 | 0 | ARN
WENT UNACK Low | 2024.06.19 03:11:05.927 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.06.19 03:13:52.896 | 0 | SDU
WENT UNACK Low | 2024.06.19 00:52:59.783 | AEN-W-PSD-021 | Arden Platform 1 Zone 2 PSD 21 | PSD isolated |  |  | 2024.06.19 00:53:07.782 | 0 | ARN
WENT UNACK Low | 2024.06.19 00:52:19.782 | AEN-W-PSD-021 | Arden Platform 1 Zone 2 PSD 21 | Maintenance mode activated |  |  | 2024.06.19 00:52:43.792 | 0 | ARN
WENT UNACK Low | 2024.06.18 22:31:32.758 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.06.18 22:31:41.422 | 0 | PKV
WENT UNACK Low | 2024.06.18 22:27:17.268 | PKV_DOR_B4_PKV-S-02_2 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.18 22:27:26.598 | 0 | PKV
WENT UNACK Low | 2024.06.18 20:00:27.090 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  | 2024.06.18 20:01:07.381 | 0 | PKV
WENT UNACK Low | 2024.06.18 19:21:09.789 | DMA_FCU_1105_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 19:34:44.781 | 0 | AZC
WENT UNACK Low | 2024.06.18 19:21:09.789 | DMA_FCU_1103_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 19:34:44.781 | 0 | AZC
WENT UNACK Low | 2024.06.18 19:21:09.789 | DMA_FCU_1101_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 19:34:44.781 | 0 | AZC
WENT UNACK Low | 2024.06.18 19:21:08.782 | DMA_FCU_1121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 19:34:43.888 | 0 | AZC
WENT UNACK Low | 2024.06.18 19:21:08.782 | DMA_FCU_1117_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 19:34:43.888 | 0 | AZC
WENT UNACK Low | 2024.06.18 18:50:29.783 | DMA_FCU_1119_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 18:50:44.784 | 0 | AZC
WENT UNACK Low | 2024.06.18 18:50:29.778 | DMA_FCU_1145_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 18:50:44.768 | 0 | AZC
WENT UNACK Low | 2024.06.18 18:50:29.778 | DMA_FCU_1125_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 18:50:44.768 | 0 | AZC
WENT UNACK Low | 2024.06.18 18:50:29.778 | DMA_FCU_1001_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 18:50:44.768 | 0 | AZC
WENT UNACK Low | 2024.06.18 18:50:29.778 | DMA_FCU_0127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 18:50:44.768 | 0 | AZC
WENT UNACK Low | 2024.06.18 18:50:29.778 | DMA_FCU_0123_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 18:50:44.768 | 0 | AZC
WENT UNACK Low | 2024.06.18 18:50:29.778 | DMA_FCU_0121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 18:50:44.768 | 0 | AZC
WENT UNACK Low | 2024.06.18 17:03:39.078 | PKV_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  | 2024.06.18 17:07:06.047 | 0 | PKV
WENT UNACK Low | 2024.06.18 16:58:48.050 | PKV_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  | 2024.06.18 16:59:13.055 | 0 | PKV
WENT UNACK Low | 2024.06.18 16:34:10.798 | AEN_DOR_B2_ESC_STAIRS_03_2 | Platform 1 west - double emergency door | Unauthorised access |  |  | 2024.06.18 16:34:16.873 | 0 | ARN
WENT UNACK Low | 2024.06.18 16:20:12.638 | AEN_DOR_B1_151-4_1 | Concourse east - back of house emergency corridor | Unauthorised access |  |  | 2024.06.18 16:20:19.325 | 0 | ARN
WENT UNACK Low | 2024.06.18 16:13:43.256 | AEN_DOR_B1_151-3_1 | Concourse west - back of house corridor | Unauthorised access |  |  | 2024.06.18 16:13:49.343 | 0 | ARN
WENT UNACK Low | 2024.06.18 16:08:17.317 | AEN_DOR_GF_401-1_1 | Ground floor east - fire control room | Unauthorised access |  |  | 2024.06.18 16:08:21.463 | 0 | ARN
WENT UNACK Low | 2024.06.18 15:54:28.064 | PKV_DOR_GF_PKV-S-03_1 | Security Door (PUBLIC REALM WEST) | Unauthorised access |  |  | 2024.06.18 15:54:31.314 | 0 | PKV
WENT UNACK Low | 2024.06.18 15:23:24.624 | AEN_DOR_L1_ESC_STAIRS_5_1 | Level 1 east - office stairs | Unauthorised access |  |  | 2024.06.18 15:23:44.816 | 0 | ARN
WENT UNACK Low | 2024.06.18 14:50:27.473 | AEN_DOR_B1_ESC_STAIRS_03_2 | Concourse west - back of house emergency stairs | Unauthorised access |  |  | 2024.06.18 14:50:39.131 | 0 | ARN
WENT UNACK Low | 2024.06.18 14:48:24.938 | AEN_DOR_GF_405-2_2 | Ground floor east - back of house emergency corridor | Unauthorised access |  |  | 2024.06.18 14:48:29.089 | 0 | ARN
WENT UNACK Low | 2024.06.18 14:47:59.728 | AEN_DOR_B2_ESC_STAIRS_03_1 | Platform 2 west - single emergency door | Unauthorised access |  |  | 2024.06.18 14:48:22.944 | 0 | ARN
WENT UNACK Low | 2024.06.18 14:31:24.161 | PKV_DOR_B4_PKV-S-01_3 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.18 14:31:35.824 | 0 | PKV
WENT UNACK Low | 2024.06.18 14:20:09.119 | PKV_DOR_B4_PKV-S-02_1 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.18 14:20:20.679 | 0 | PKV
WENT UNACK Low | 2024.06.18 14:10:17.126 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  | 2024.06.19 07:27:19.212 | 0 | PKV
WENT UNACK Low | 2024.06.18 14:09:22.124 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  | 2024.06.19 07:05:08.178 | 0 | PKV
WENT UNACK Low | 2024.06.18 14:06:11.081 | AEN_DOR_GF_246-1_2 | Ground floor west - loading dock 2 | Unauthorised access |  |  | 2024.06.18 14:06:23.567 | 0 | ARN
WENT UNACK Low | 2024.06.18 13:58:48.141 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift safety feature fault |  |  | 2024.06.18 13:58:55.113 | 0 | PKV
WENT UNACK Low | 2024.06.18 13:57:12.152 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault |  |  | 2024.06.18 13:59:40.131 | 0 | PKV
WENT UNACK Low | 2024.06.18 13:39:24.165 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | Maintenance mode activated |  |  | 2024.06.18 13:56:28.163 | 0 | STL
WENT UNACK Low | 2024.06.18 12:24:15.006 | AEN_DOR_LG_ESC_STAIR_07_1 | Lower ground west - back of house stairs | Unauthorised access |  |  | 2024.06.18 12:24:22.203 | 0 | ARN
WENT UNACK Low | 2024.06.18 12:16:20.972 | AEN_DOR_B2_403-1_1 | Platform 2 west - single emergency door | Unauthorised access |  |  | 2024.06.18 12:16:29.463 | 0 | ARN
WENT UNACK Low | 2024.06.18 11:58:40.168 | PDM_DOR_W_1 | PDM West Tunnel Door 1 | Unauthorised access |  |  | 2024.06.18 11:58:45.224 | 0 | SDU
WENT UNACK Low | 2024.06.18 11:23:21.906 | PKV_DOR_B3_PKV-S-01_2 | Security Door (B3 WEST) | Unauthorised access |  |  | 2024.06.18 11:23:25.171 | 0 | PKV
WENT UNACK Low | 2024.06.18 11:22:51.630 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.06.18 11:22:57.614 | 0 | PKV
WENT UNACK Low | 2024.06.18 11:17:33.355 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.06.18 11:17:45.459 | 0 | PKV
WENT UNACK Low | 2024.06.18 11:10:46.107 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.18 14:30:25.109 | 0 | PKV
WENT UNACK Low | 2024.06.18 11:10:03.093 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.18 14:30:57.099 | 0 | PKV
WENT UNACK Low | 2024.06.18 11:09:40.098 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.18 14:31:12.093 | 0 | PKV
WENT UNACK Low | 2024.06.18 09:55:48.783 | DMA_FCU_1123_24_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.06.18 09:55:52.788 | 0 | AZC
WENT UNACK Low | 2024.06.18 08:56:17.144 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift General Fault |  |  | 2024.06.18 13:18:19.147 | 0 | SDU
WENT UNACK Low | 2024.06.18 07:46:07.109 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.18 11:10:52.110 | 0 | PKV
WENT UNACK Low | 2024.06.18 07:45:07.097 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.06.18 11:09:52.099 | 0 | PKV
WENT UNACK Low | 2024.06.17 09:48:31.347 | PKV_DOR_B2_PKV-S-03_1 | Security Door (B2 WEST) | Unauthorised access |  |  | 2024.06.18 14:05:53.471 | 0 | PKV
ACK High | 2024.05.20 08:23:30.503 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.05.20 15:17:54.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded | 2024.05.20 15:17:59.449 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.17 10:47:01.691 | DMA-FIP-0001 | Anzac Station FDCIE Panel | No modbus server/gateway connection | 2024.06.17 14:28:57.072 | emilio_ito |  | 0 | AZC
ACK Med | 2024.06.03 10:48:16.689 | _Driver1_2 | MTARD:_Driver1_2. | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.04 08:54:10.389 | sergio_paniagua |  | 0 | PKV
ACK Med | 2024.06.03 10:47:25.340 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.339 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.338 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.336 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.335 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.334 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.333 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.332 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:47:25.306 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:47:25.291 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.18 19:36:12.115 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated | 2024.06.18 19:37:03.813 | emilio_ito |  | 0 | AZC
ACK Low | 2024.06.18 19:33:46.756 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.06.18 19:34:29.203 | emilio_ito |  | 0 | AZC
ACK Low | 2024.06.18 19:33:46.742 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault | 2024.06.18 19:34:04.902 | emilio_ito |  | 0 | AZC
ACK Low | 2024.06.18 08:00:44.161 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault | 2024.06.18 15:06:54.382 | emilio_ito |  | 0 | AZC
ACK Low | 2024.06.03 10:47:25.310 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.308 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.06.03 10:47:25.302 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:47:25.299 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.06.03 12:19:48.554 | eric_maddocks |  | 0 | ARN