## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.03.06 09:08:08.084 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.06 08:45:56.982 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.05 11:45:21.346 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.05 11:45:21.346 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.05 09:26:24.101 | DMA-E-LCP | Anzac Platform 2 LCP | LCP Interlock Override fault! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.05 09:26:24.101 | DMA-E-PLT | Anzac Platform 2 | PED safety loop fault! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.05 09:26:24.095 | DMA-W-LCP | Anzac Platform 1 LCP | LCP Interlock Override fault! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.05 09:26:24.095 | DMA-W-PLT | Anzac Platform 1 | PED safety loop fault! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.05 09:12:56.282 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.05 09:12:56.282 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.05 09:12:56.282 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.05 09:12:56.282 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.05 09:12:56.282 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.05 09:12:56.282 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.03 00:01:03.345 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.01 14:55:17.531 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.01 14:55:07.527 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.01 11:14:14.188 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.01 10:33:45.181 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.01 10:33:27.188 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.01 10:32:28.185 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.02.29 14:58:23.509 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.02.29 14:58:10.486 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.02.29 08:07:02.895 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.02.26 09:46:23.268 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.02.26 09:42:02.026 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.02.26 09:37:24.814 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.02.26 09:37:24.336 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.02.26 09:37:23.698 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.05 18:40:36.986 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.05 15:55:03.290 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.05 11:15:55.383 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.03.05 09:26:24.101 | DMA-E-PLT | Anzac Platform 2 | PSD signalling order fault! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.05 09:26:24.101 | DMA-E-PLT | Anzac Platform 2 | Zone 1 PSD/EED safety loop failure |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.05 09:26:24.101 | DMA-E-PLT | Anzac Platform 2 | Zone 2 PSD/EED safety loop failure |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.05 09:26:24.101 | DMA-E-PLT | Anzac Platform 2 | Zone 3 PSD/EED safety loop failure |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.05 09:26:24.095 | DMA-W-PLT | Anzac Platform 1 | PSD signalling order fault! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.05 09:26:24.095 | DMA-W-PLT | Anzac Platform 1 | Zone 1 PSD/EED safety loop failure |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.05 09:26:24.095 | DMA-W-PLT | Anzac Platform 1 | Zone 2 PSD/EED safety loop failure |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.05 09:26:24.095 | DMA-W-PLT | Anzac Platform 1 | Zone 3 PSD/EED safety loop failure |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.05 09:23:57.286 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  |  | 0 | STL
CAME UNACK Med | 2024.03.05 09:12:56.282 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.05 09:12:56.282 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.05 07:09:12.408 | AEN-S-STN | Arden Station PSD System | PSD power fault (Surge protection or Earth failure) |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.04 19:15:44.299 | AEN_TEP_0303_05_DS | Tunnel Drainage Pump - Duty Selection | Tunnel drainage pit - reduced capability! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.04 14:10:34.942 | _Mod_Plc_2_2 | MTARD:_Mod_Plc_2_2. | Communications Fault - Arden Server 2 to Arden FDS Gateway |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.04 14:10:34.942 | _Mod_Plc_4_2 | MTARD:_Mod_Plc_4_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.04 14:10:34.942 | _Mod_Plc_3_2 | MTARD:_Mod_Plc_3_2. | Communications Fault - Arden Server 2 to Arden EWIS |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.03 09:06:15.909 | AEN-S-STN | Arden Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.01 14:55:07.527 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.01 13:54:43.903 | PKV-FIP-0006 | Parkville Station SHCIE Panel 5 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.01 13:54:43.757 | PKV-FIP-0005 | Parkville Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.01 13:54:43.756 | PKV-FIP-0004 | Parkville Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.01 13:54:43.691 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Power supply to fire panel fault |  |  |  | 0 | PKV
CAME UNACK Med | 2024.03.01 12:24:08.169 | SYP-PLC-0001 | South Yarra PLC | TIAS PLC power supply fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.01 12:24:08.169 | SYP-PLC-0001 | South Yarra PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.01 11:13:44.196 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.02.29 14:57:35.484 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.02.27 12:24:30.620 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.02.27 11:41:17.634 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.02.27 11:31:43.644 | DMA-FIP-0005 | Anzac Station SHCIE Panel 5 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.02.27 11:13:01.575 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Power supply to fire panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.02.27 11:11:44.657 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.02.26 09:39:18.246 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.02.26 09:39:18.204 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.02.26 09:36:34.021 | TNC-S-STN | State Library Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | STL
CAME UNACK Med | 2024.02.26 09:36:32.961 | DMA-S-STN | Anzac Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.02.12 10:56:29.417 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.02.12 10:56:29.416 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.02.12 10:56:29.414 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.02.12 10:56:29.412 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.02.12 10:56:29.361 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.06 09:16:40.636 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.06 09:16:25.152 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.06 09:16:25.152 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.06 08:43:15.552 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.06 08:42:55.547 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.06 08:29:13.818 | PKV-SPE-1316 | B2, PKV-SPE-1316 STORE RM 213-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-FPD-0012 | B2, PKV-FPD-0012 (OAF-1201) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-FPD-0013 | B2, PKV-FPD-0013 (OAF-1202) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-FPD-0014 | B2, PKV-FPD-0014 (FCU-1207) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-FPD-0015 | B2, PKV-FPD-0015 (FCU-1208) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-FPD-0018 | B2, PKV-FPD-0018 (SPF-1201)STAIR PRESS | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-FPD-0019 | B2, PKV-FPD-0019 (SPF-1202)STAIR PRESS | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-HTD-0005 | B2, PKV-HTD-0005 DDA TOILET RETAIL 912-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-HTD-0006 | B2, PKV-HTD-0006 MALE WC RETAIL 910-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-HTD-0007 | B2, PKV-HTD-0007 FEMALE WC RETAIL 911-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-SPE-0341 | B2, PKV-SPE-0341 REFUSE ROOM 239-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-SPE-0350 | B2, PKV-SPE-0350 Void Under Escalators | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-SPE-1135 | B2, PKV-SPE-1135 DDA TOILET RETAIL 912-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-SPE-1136 | B2, PKV-SPE-1136 MALE WC RETAIL 910-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:13.817 | PKV-SPE-1137 | B2, PKV-SPE-1137 FEMALE WC RETAIL 911-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.601 | PKV-SPE-1155 | B2, PKV-SPE-1155 STAFF DDA WC 228-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.601 | PKV-SPE-1157 | B2, PKV-SPE-1157 BOH CORRIDOR 151-14 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.601 | PKV-HTD-0012 | B2, PKV-HTD-0012 OP STAFF DDA WC 228-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.601 | PKV-SPE-1313 | B2, PKV-SPE-1313 SMO 204-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.561 | PKV-SPE-1154 | B2, PKV-SPE-1154 GENERAL STORE 213-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-0347 | B2, PKV-SPE-0347 ST.CONTROL RM 201-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-0348 | B2, PKV-SPE-0348 ST.CONTROL RM 201-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-0349 | B2, PKV-SPE-0349 GENERAL STORE 213-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-0438 | B2, PKV-SPE-0438 FIRE LOBBY 406-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-0439 | B2, PKV-SPE-0439 BOH CORRIDOR 151-27 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-0513 | B2, PKV-SPE-0513 MECHANICAL RISER 821-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-0527 | B2, PKV-SPE-0527 BOH CORRIDOR 151-12 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-1141 | B2, PKV-SPE-1141 FIRE LOBBY 406-14 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-1142 | B2, PKV-SPE-1142 ST.CONTROL RM 201-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-1143 | B2, PKV-SPE-1143 ST.CONTROL RM 201-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-1144 | B2, PKV-SPE-1144 INC.CONT ROOM 211-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-1145 | B2, PKV-SPE-1145 ST.MASTER OFF 204-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-1146 | B2, PKV-SPE-1146 OP STAFF TEA 229-2 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.560 | PKV-SPE-1147 | B2 PKV-SPE-1147 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.558 | PKV-SPE-0345 | B2, PKV-SPE-0345 ST. MASTER OFFICE 204-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.558 | PKV-SPE-0346 | B2, PKV-SPE-0346 INCIDENT CONT.RM 211-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.355 | PKV-SPE-0325 | B2, PKV-SPE-0325 FIELD DEV RM 1 710-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.355 | PKV-SPE-0326 | B2, PKV-SPE-0326 GAS CYLINDER RM 409-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.355 | PKV-SPE-0327 | B2, PKV-SPE-0327 FIRE TANK PUMP RM 415-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.355 | PKV-SPE-0342 | B2, PKV-SPE-0342 FIRE LOBBY 406-14 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.355 | PKV-SPE-0343 | B2, PKV-SPE-0343 BOH CORRIDOR 151-11 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.355 | PKV-SPE-0344 | B2, PKV-SPE-0344 OP STAFF TEA 229-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.354 | PKV-SPE-0304 | B2, PKV-SPE-0304 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.354 | PKV-SPE-0305 | B2, PKV-SPE-0305 FIRE SPF ROOM 1 802-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.354 | PKV-SPE-0306 | B2, PKV-SPE-0306 FIRE SPF ROOM 1 802-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.354 | PKV-SPE-0307 | B2, PKV-SPE-0307 OP.EQUIP STORE 244-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:12.354 | PKV-SPE-0308 | B2, PKV-SPE-0308 BOH CORRIDOR 151-14 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-0440 | B2, PKV-SPE-0440 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-0441 | B2, PKV-SPE-0441 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-0442 | B2, PKV-SPE-0442 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-0443 | B2, PKV-SPE-0443 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-0444 | B2, PKV-SPE-0444 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-0445 | B2, PKV-SPE-0445 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-0446 | B2, PKV-SPE-0446 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-0447 | B2, PKV-SPE-0447 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-0521 | B2, PKV-SPE-0521 BOH PLANT ENTRY 151-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-0524 | B2, PKV-SPE-0524 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-1148 | B2 PKV-SPE-1148 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-1149 | B2 PKV-SPE-1149 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-1150 | B2 PKV-SPE-1150 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-1158 | B2 PKV-SPE-1158 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:11.746 | PKV-SPE-1159 | B2 PKV-SPE-1159 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:10.102 | PKV-SPE-0220 | B2, PKV-SPE-0220 CONC. CORRIDOR 103-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:10.102 | PKV-SPE-0482 | B2, PKV-SPE-0482 CONC. CORRIDOR 103-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:10.102 | PKV-SPE-0483 | B2, PKV-SPE-0483 CONC. CORRIDOR 103-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:09.738 | PKV-SPE-0510 | B2, PKV-SPE-0510 RETAIL UNIT 901-9 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:09.738 | PKV-SPE-0514 | B2, PKV-SPE-0514 CONC. LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:09.738 | PKV-SPE-0515 | B2, PKV-SPE-0515 CONC. LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:09.738 | PKV-SPE-0516 | B2, PKV-SPE-0516 RETAIL UNIT 901-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:09.738 | PKV-SPE-0517 | B2, PKV-SPE-0517 RETAIL UNIT 901-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:09.738 | PKV-SPE-0518 | B2, PKV-SPE-0518 MECH RISER 821-10 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:09.738 | PKV-SPE-0519 | B2, PKV-SPE-0519 RETAIL UNIT 901-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:09.738 | PKV-SPE-0520 | B2, PKV-SPE-0520 RETAIL UNIT 901-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:29:09.738 | PKV-SPE-1315 | B2, PKV-SPE-1315 CONC. ADJ LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:26:52.358 | DMA_TEXB | Tunnel Ambient Temperature Control | Temperature Sensors B - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.06 08:26:11.754 | PKV-ASD-0013 | B2, PKV-ASD-0013 Conc 102-3 Esc.14-16 F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:26:07.728 | PKV-ASD-0018 | B2, PKV-ASD-0018 Conc Skylight 1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.06 08:21:21.362 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.06 08:21:15.372 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.06 07:39:13.913 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.06 07:39:12.970 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.06 07:28:49.617 | AEN_DOR_GF_405-2_2 | East Emergency Stairs - Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.06 05:37:30.767 | AEN-IVM-0017 | B2, AEN-IVM-0017, ARD-S-03 West Hyd.M/V | Heat or smoke detector fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.05 21:41:12.424 | PKV_FCU_1116_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.05 18:42:12.635 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.05 15:36:50.047 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.05 15:08:51.684 | _ReduManager_2 | Distributed Server 2 | Server 2 - Set active automatically |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.05 14:06:45.371 | AEN_LFT_0005 | Lift 5 BOH (Platforms to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.05 14:05:01.704 | AEN_DOR_B1_ESC_STAIRS_03_2 | West Emergency Stairs - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.05 10:52:41.998 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.05 10:52:22.038 | AEN_DOR_B2_ESC_STAIRS_04_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.05 10:15:04.820 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.05 10:14:49.992 | AEN_DOR_B2_ESC_STAIRS_04_3 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.05 09:26:24.101 | DMA-E-PLT | Anzac Platform 2 | Driver Control Panel fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.05 09:26:24.101 | DMA-E-PLT | Anzac Platform 2 | PSI falsely illuminated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.05 09:26:24.101 | DMA-E-PLT | Anzac Platform 2 | Remote LCP fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.05 09:26:24.095 | DMA-W-PLT | Anzac Platform 1 | Driver Control Panel fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.05 09:26:24.095 | DMA-W-PLT | Anzac Platform 1 | PSI falsely illuminated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.05 09:26:24.095 | DMA-W-PLT | Anzac Platform 1 | Remote LCP fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.05 08:17:51.186 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-03A | Traction Section Arden to Parkville | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-03B | Traction Section Arden to Parkville section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-04A | Traction Section Parkville Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-04B | Traction Section Parkville Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-05A | Traction Section Parkville to State Library | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-05B | Traction Section Parkville to State Library section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-06A | Traction Section State Library Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-06B | Traction Section State Library Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-07A | Traction Section State Library to Town Hall | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-07B | Traction Section State Library to Town hall section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.772 | ESS-Section-08A | Traction Section Town Hall Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 20:10:45.770 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 17:56:31.380 | AEN_AHU_1103_MVD_03 | Air Handling Unit - Return Air Modulated Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.04 15:45:30.993 | PKV_FCU_1201_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 15:45:30.993 | PKV_FCU_1201_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 13:49:18.045 | PKV_FCU_1115_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 13:47:23.055 | PKV_FCU_1115_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 09:34:51.973 | SKP-DT-1001 | Eastbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 09:34:51.973 | SKP-DT-1003 | Eastbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 08:54:29.829 | PKV-FPD-0020 | B3, PKV-FPD-0020 (SPF-0301) STAIR | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:29.829 | PKV-FPD-0021 | B3, PKV-FPD-0021 (SPF-0302) STAIR | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:29.829 | PKV-IVM-0039 | B3, PKV-IVM-0039 405-4 Esc Corridor M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-0722 | B3, PKV-SPE-0722 FIRE LOBBY 406-9 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-0726 | B3, PKV-SPE-0726 BOH CORRIDOR 151-33 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-0727 | B3, PKV-SPE-0727 BOH CORRIDOR 151-34 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-0728 | B3, PKV-SPE-0728 UNALLOCATED ROOM 299-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-0729 | B3, PKV-SPE-0729 DRAIN PUMP ROOM | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-1202 | B3, PKV-SPE-1202 FIRE LOBBY 406-7 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-1205 | B3, PKV-SPE-1205 FIRE LOBBY 406-6 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-1206 | B3, PKV-SPE-1206 FIRE LOBBY 406-21 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-1207 | B3, PKV-SPE-1207 FIRE LOBBY 406-8 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-1208 | B3, PKV-SPE-1208 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-1210 | B3 PKV-SPE-1210 FIRE ESC.C'DOR 405-5 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.763 | PKV-SPE-1211 | B3, PKV-SPE-1211 FIRE ESC.C'DOR 405-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.762 | PKV-SPE-0657 | B3, PKV-SPE-0657 BOH CORRIDOR 151-18 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.762 | PKV-SPE-0660 | B3, PKV-SPE-0660 STAFF BIKE STORE 290-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.762 | PKV-SPE-0663 | B3, PKV-SPE-0663 FIRE LOBBY 406-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.762 | PKV-SPE-0664 | B3, PKV-SPE-0664 FIRE LOBBY 406-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.762 | PKV-SPE-0666 | B3, PKV-SPE-0666 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.762 | PKV-SPE-0681 | B3, PKV-SPE-0681 FIRE ESC.C'DOR 405-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.762 | PKV-SPE-0720 | B3, PKV-SPE-0720 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:27.762 | PKV-SPE-0721 | B3, PKV-SPE-0721 LIFT 9 LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:54:25.760 | PKV-SPE-0665 | B3, PKV-SPE-0665 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:42:31.767 | PKV-SPE-0667 | B3, PKV-SPE-0667 FIRE LOBBY 406-21 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:42:31.767 | PKV-SPE-0725 | B3, PKV-SPE-0725 FIRE LOBBY 406-6 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:42:31.766 | PKV-SPE-0658 | B3, PKV-SPE-0658 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:42:31.766 | PKV-SPE-0661 | B3, PKV-SPE-0661 FIRE LOBBY 406-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:42:31.766 | PKV-SPE-0662 | B3, PKV-SPE-0662 FIRE LOBBY 406-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:29:19.979 | SKP-DT-1006 | Westbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.04 08:28:26.237 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.04 08:28:26.237 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.04 08:28:26.226 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.04 08:28:26.226 | DMA_FCU_1101_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.04 08:28:26.226 | DMA_FCU_1101_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.04 08:28:26.226 | DMA_FCU_1109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.04 08:28:26.226 | DMA_FCU_1109_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.04 08:28:26.226 | DMA_FCU_1110_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.04 08:28:26.212 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.04 08:25:34.735 | PKV-SPE-0111 | B1, PKV-SPE-0111 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:25:34.735 | PKV-SPE-0112 | B1, PKV-SPE-0112 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:17:08.853 | PKV-ASD-0058 | B4U, PKV-ASD-0058 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:17:08.852 | PKV-ASD-0043 | B4U, PKV-ASD-0043 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:17:08.852 | PKV-ASD-0044 | B4U, PKV-ASD-0044 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:17:08.852 | PKV-ASD-0055 | B4U, PKV-ASD-0055 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:17:08.852 | PKV-ASD-0056 | B4U, PKV-ASD-0056 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:17:08.852 | PKV-ASD-0057 | B4U, PKV-ASD-0057 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:17:05.872 | PKV-ASD-0045 | B4U, PKV-ASD-0045 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:17:05.872 | PKV-ASD-0046 | B4U, PKV-ASD-0046 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:16:01.843 | PKV-ASD-0051 | B4U, PKV-ASD-0051 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:16:01.843 | PKV-ASD-0059 | B4U, PKV-ASD-0059 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:16:01.843 | PKV-ASD-0060 | B4U, PKV-ASD-0060 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:16:01.843 | PKV-ASD-0067 | B4U, PKV-ASD-0067 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:16:01.843 | PKV-ASD-0068 | B4U, PKV-ASD-0068 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:16:01.843 | PKV-ASD-0069 | B4U, PKV-ASD-0069 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:15:59.786 | PKV-ASD-0047 | B4U, PKV-ASD-0047 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.04 08:15:59.786 | PKV-ASD-0048 | B4U, PKV-ASD-0048 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.03 13:24:31.209 | DMA_FCU_1109_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.03 13:24:31.209 | DMA_FCU_1109_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.03 12:09:06.108 | DMA_FCU_0119_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.03 10:03:21.402 | _AEN-TVC-PLC | Arden Server 1 | Link Failure - Arden Server 1 to Arden TVCS CPU 2 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.03 09:07:10.488 | _AEN-TVC-PLC_2 | Arden Server 2 | Link Failure - Arden Server 2 to Arden TVCS CPU 2 |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.03 07:40:03.283 | DMA_FCU_1141_MVD_06 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.03 07:07:16.907 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.02 08:30:12.197 | SKP-DT-1005 | Westbound zone 1 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.01 22:30:46.193 | SKP-DT-1008 | Westbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.01 14:33:24.193 | SKP-DT-1002 | Eastbound zone 1 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.01 14:33:24.193 | SKP-DT-1004 | Eastbound zone 2 sonar sensor 2 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.01 13:54:45.401 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:54:44.212 | PKV-ASD-0052 | B4, PKV-ASD-0052 OHLE SWITCH 601-1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:54:44.211 | PKV-ASD-0011 | B4, PKV-ASD-0011 TIE STATION 603-1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:54:44.126 | PKV-ASD-0061 | B4U, PKV-ASD-0061 U/P CENTRE EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:54:44.126 | PKV-ASD-0062 | B4U, PKV-ASD-0062 U/P CENTRE EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:54:44.126 | PKV-ASD-0065 | B4U, PKV-ASD-0065 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:54:44.125 | PKV-ASD-0053 | B4U, PKV-ASD-0053 U/P WEST 3 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:54:44.125 | PKV-ASD-0054 | B4U, PKV-ASD-0054 U/P WEST 4 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:54:44.084 | PKV-ASD-0049 | B4U, PKV-ASD-0049 U/P CENTRE EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:54:44.079 | PKV-ASD-0041 | B4U, PKV-ASD-0041 U/P WEST 1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:54:44.079 | PKV-ASD-0042 | B4U, PKV-ASD-0042 U/P WEST 2 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 13:03:17.897 | PKV_FCU_0404_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 12:34:16.187 | SYP-PSU-1029 | PLC 24V Power supply 1 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.01 12:24:27.257 | AEN_DOR_L1_ESC_STAIRS_5_1 | Security Door (L1 EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.01 12:24:08.154 | SYP-PSU-1028 | PLC 24V Power supply redundancy alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.01 12:24:08.154 | SYP-PSU-1030 | PLC 24V Power supply 2 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.01 11:13:44.196 | SKP-DT-1007 | Westbound zone 2 sonar sensor 1 | Train detection sensor fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.01 09:41:33.832 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.01 07:18:25.693 | DMA-HTD-0105 | B1, DMA-HTD-0105 FIRST AID ROOM 105-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:18:25.693 | DMA-HTD-0106 | B1, DMA-HTD-0106 AMS MALE SHOWER 257-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:18:25.693 | DMA-HTD-0107 | B1, DMA-HTD-0107 MAINT M STAFF WC 253-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:18:25.693 | DMA-HTD-0108 | B1, DMA-HTD-0108 AMS STAFF F LOCK 252-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:18:25.693 | DMA-HTD-0130 | B1, DMA-HTD-0130 AMS STAFF M LOCK 251-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:18:25.693 | DMA-SPE-0646 | B1, DMA-SPE-0646 FIRST AID ROOM 105-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:18:25.693 | DMA-SPE-0647 | B1, DMA-SPE-0647 AMS M STAFF LOCKR 251-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:18:25.693 | DMA-SPE-0648 | B1, DMA-SPE-0648 MAINT M STAFF WC 253-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:18:25.693 | DMA-SPE-0649 | B1, DMA-SPE-0649 AMS F STAFF LOCKR 252-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:18:23.623 | DMA-SPE-0138 | B1, DMA-SPE-0138 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:18:23.623 | DMA-SPE-0640 | B1, DMA-SPE-0640 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:58.671 | DMA-SPE-0137 | B1, DMA-SPE-0137 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:58.671 | DMA-SPE-0641 | B1, DMA-SPE-0641 CUST.SERVICE CTR 202-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:31.684 | DMA-HTD-0109 | B1, DMA-HTD-0109 MAINT STAFF KITCH 250-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:31.684 | DMA-HTD-0110 | B1, DMA-HTD-0110 MAINT STAF DDA WC 255-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:31.684 | DMA-SPE-0121 | B1, DMA-SPE-0121 MAINT. OFFICE 230-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:31.684 | DMA-SPE-0132 | B1, DMA-SPE-0132 BOH CORRIDOR 151-5 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:31.684 | DMA-SPE-0133 | B1, DMA-SPE-0133 BOH CORRIDOR 151-5 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:31.684 | DMA-SPE-0650 | B1, DMA-SPE-0650 MAINT STAF DDA WC 255-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:31.684 | DMA-SPE-0651 | B1, DMA-SPE-0651 MAINT STAFF KITCH 250-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:31.684 | DMA-SPE-0652 | B1, DMA-SPE-0652 MAINT OFFICE 230-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:29.701 | DMA-SPE-0135 | B1, DMA-SPE-0135 FIELD DEVICE RM 2 710-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:29.701 | DMA-SPE-0136 | B1, DMA-SPE-0136 GENERAL OFFICE 209-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.01 07:15:29.701 | DMA-SPE-0642 | B1, DMA-SPE-0642 GENERAL OFFICE 209-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.29 14:52:07.175 | DMA_FCU_0102_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.29 14:50:14.251 | DMA_FCU_1110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.29 14:44:09.172 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.29 14:44:09.172 | DMA_FCU_0118_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.29 14:42:14.264 | DMA_FCU_0118_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.29 14:42:14.254 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.29 13:00:15.858 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.29 12:08:07.989 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.02.28 15:29:52.850 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_CDB_0406_MFM_01 | SECTION 1 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 2HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_CDB_0406_MFM_02 | SECTION 2 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 8HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_CDB_0406_MFM_03 | SECTION 3 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 12HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_EDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_EDB_0404_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_EDB_0404_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_EDB_0404_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_EDB_0404_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MCC_0401_MFM_07 | PKV-TFN-0203-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MCC_0402_MFM_09 | PKV-TFN-0103-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MCC_0402_MFM_15 | PKV-OFN-0003 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MCC_0402_MFM_22 | PKV-SPF-0302 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MSB_0401_MFM_04 | PKV-ESC-0012 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MSB_0401_MFM_09 | PKV-LFT-0010 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MSB_0401_MFM_10 | PKV-LFT-0011 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MSB_0401_MFM_20 | PKV-ESC-0007 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MSB_0403_MFM_17 | PKV-ESC-0009 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MSB_0404_MFM_18 | PKV-ESC-0013 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_MSB_0404_MFM_19 | PKV-CHD-0402 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_NDB_0401_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_NDB_0401_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_NDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_NDB_0401_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.28 14:16:56.641 | PKV_NDB_0401_MFM_05 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.27 14:41:55.945 | SDU_FCU_0402 | Air Cooled Unit | Communications lost alarm |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.27 11:54:36.068 | ESS-Section-11A | Traction Section Anzac to South Yarra | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.27 11:52:49.852 | ESS-Section-08B | Traction Section Town Hall Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.27 11:13:09.224 | DMA-SPE-0760 | B1, DMA-SPE-0760 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:09.224 | DMA-SPE-0764 | B1, DMA-SPE-0764 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:09.223 | DMA-SPE-0322 | B1, DMA-SPE-0322 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:09.223 | DMA-SPE-0323 | B1, DMA-SPE-0323 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:09.223 | DMA-SPE-0324 | B1, DMA-SPE-0324 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:09.223 | DMA-SPE-0326 | B1, DMA-SPE-0326 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:09.223 | DMA-SPE-0328 | B1, DMA-SPE-0328 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:09.223 | DMA-SPE-0329 | B1, DMA-SPE-0329 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:09.223 | DMA-SPE-0579 | B1, DMA-SPE-0579 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:09.223 | DMA-SPE-0625 | B1, DMA-SPE-0625 RETAIL WC LOBBY 913-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:09.223 | DMA-SPE-0762 | B1, DMA-SPE-0762 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.627 | DMA-SPE-0338 | B1, DMA-SPE-0338 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.627 | DMA-SPE-0339 | B1, DMA-SPE-0339 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.627 | DMA-SPE-0340 | B1, DMA-SPE-0340 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.627 | DMA-SPE-0341 | B1, DMA-SPE-0341 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.627 | DMA-SPE-0342 | B1, DMA-SPE-0342 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.627 | DMA-SPE-0576 | B1, DMA-SPE-0576 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.627 | DMA-SPE-0761 | B1, DMA-SPE-0761 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.627 | DMA-SPE-0763 | B1, DMA-SPE-0763 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.627 | DMA-SPE-0765 | B1, DMA-SPE-0765 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.626 | DMA-SPE-0320 | B1, DMA-SPE-0320 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.626 | DMA-SPE-0321 | B1, DMA-SPE-0321 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.626 | DMA-SPE-0331 | B1, DMA-SPE-0331 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.626 | DMA-SPE-0332 | B1, DMA-SPE-0332 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.626 | DMA-SPE-0333 | B1, DMA-SPE-0333 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.626 | DMA-SPE-0335 | B1, DMA-SPE-0335 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.626 | DMA-SPE-0336 | B1, DMA-SPE-0336 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:08.626 | DMA-SPE-0337 | B1, DMA-SPE-0337 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.27 11:13:02.660 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.26 17:04:59.893 | PKV_AHU_1301_MCV_01 | Air Handling Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 17:04:59.893 | PKV_AHU_1303_MCV_01 | Air Handling Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 17:04:59.893 | PKV_AHU_1305_MCV_01 | Air Handling Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 17:03:04.803 | PKV_FCU_1221_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 16:56:54.796 | PKV_FCU_1119_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 16:46:28.793 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 16:45:59.818 | SDU_FCU_1001 | Air Cooled Unit | Communications lost alarm |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.26 16:45:58.828 | PKV_ACH_1901_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 16:45:58.828 | PKV_ACH_1903_ENG_01 | Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 16:45:58.828 | PKV_HWH_1901_ENG_01 | Hot Water - Thermal Energy Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 09:41:41.314 | ESS-Section-10B | Traction Section Anzac Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.26 09:41:41.302 | ESS-Section-10A | Traction Section Anzac Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.26 09:41:41.293 | ESS-Section-09B | Traction Section Town Hall to Anzac section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.26 09:41:41.201 | ESS-Section-02B | Traction Section Arden Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.26 09:41:41.190 | ESS-Section-02A | Traction Section Arden Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.26 09:41:41.181 | ESS-Section-01B | Traction Section Footscray west to Arden section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.26 09:41:41.170 | ESS-Section-01A | Traction Section Footscray west to Arden | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.02.26 09:40:21.346 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 09:40:18.933 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 09:40:17.635 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 09:40:15.580 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 09:40:12.979 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 09:40:11.619 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 09:40:09.632 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 09:40:07.046 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.02.26 09:38:43.996 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.26 09:38:43.413 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.26 09:38:41.024 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.26 09:38:40.162 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.26 09:38:37.706 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.02.12 10:56:29.368 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.02.12 10:56:29.356 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
WENT UNACK High | 2024.03.05 14:37:43.837 | _Event | MTDIST:_Event. | License OK |  |  | 2024.03.05 15:08:30.445 | 0 | ARN
WENT UNACK Med | 2024.03.06 09:06:02.082 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.03.06 09:08:26.089 | 0 | AZC
WENT UNACK Med | 2024.03.05 22:55:22.005 | _Mod_Plc_1_2 | Parkville Server 2 | Communications Fault - Parkville Server 2 to Parkville PSD Servers |  |  | 2024.03.05 22:55:22.846 | 0 | STL
WENT UNACK Med | 2024.03.05 15:08:31.777 | _SYP-TIAS-PLC | MTDIST:_SYP-TIAS-PLC. | Communications Fault - Dist Server 1 to SYP TIAS PLC |  |  | 2024.03.05 15:08:32.074 | 0 | ARN
WENT UNACK Med | 2024.03.05 15:08:31.773 | _SKP-TIAS-PLC | MTDIST:_SKP-TIAS-PLC. | Communications Fault - Dist Server 1 to SKP TIAS PLC |  |  | 2024.03.05 15:08:32.216 | 0 | ARN
WENT UNACK Low | 2024.03.06 09:19:03.973 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  | 2024.03.06 09:20:33.981 | 0 | AZC
WENT UNACK Low | 2024.03.06 09:16:34.336 | AEN_LFT_0006 | Lift 6 BOH (Platforms to Level 2) | Lift General Fault |  |  | 2024.03.06 09:17:24.339 | 0 | ARN
WENT UNACK Low | 2024.03.06 09:12:52.374 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  | 2024.03.06 09:22:41.335 | 0 | AZC
WENT UNACK Low | 2024.03.05 15:08:30.935 | _ReduManager | Distributed Server 1 | Server 1 - Passive |  |  | 2024.03.05 15:08:51.685 | 0 | ARN
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK Med | 2024.02.26 09:37:55.578 | AEN_TSCComm | Town Hall TVCS PLC Communication heartbeat | HCS/ATS communication fault | 2024.02.27 09:51:00.669 | kai_longley |  | 0 | ARN
ACK Med | 2024.02.26 09:37:55.574 | AEN_TNCComm | State Library TVCS PLC Communication heartbeat | HCS/ATS communication fault | 2024.02.27 09:51:00.669 | kai_longley |  | 0 | ARN
ACK Med | 2024.02.26 09:37:55.555 | AEN_ATSComm | ATS/HCS External system heartbeat | HCS/ATS communication fault | 2024.02.27 09:51:00.669 | kai_longley |  | 0 | ARN
ACK Med | 2024.02.12 10:56:29.410 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.02.17 09:40:23.432 | sergio_pareja |  | 0 | ARN
ACK Med | 2024.02.12 10:56:29.408 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.02.17 09:40:26.058 | sergio_pareja |  | 0 | ARN
ACK Med | 2024.02.12 10:56:29.406 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.02.17 09:40:28.465 | sergio_pareja |  | 0 | ARN
ACK Med | 2024.02.12 10:56:29.404 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.02.17 09:40:30.691 | sergio_pareja |  | 0 | ARN
ACK Med | 2024.02.12 10:56:29.339 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.02.17 09:40:34.980 | sergio_pareja |  | 0 | ARN
ACK Med | 2023.11.06 09:46:20.181 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost | 2023.11.27 11:09:34.324 | farrell_atlas |  | 0 | ARN
ACK Med | 2023.11.06 09:46:20.180 | _RDBArchive | Anzac Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.426 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.02.29 17:22:36.178 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Door open too long | 2024.03.03 07:33:02.051 | sergio_paniagua |  | 0 | ARN
ACK Low | 2024.02.29 10:33:05.741 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Door open too long | 2024.03.03 07:32:29.682 | sergio_paniagua |  | 0 | ARN
ACK Low | 2024.02.28 07:20:51.966 | AEN_DOR_B2_ESC_STAIRS_03_2 | Security Door (B2 WEST) | Door open too long | 2024.03.03 07:32:43.255 | sergio_paniagua |  | 0 | ARN
ACK Low | 2024.02.27 16:15:52.970 | AEN_DOR_B2_403-1_2 | Security Door (B2 WEST) | Door open too long | 2024.03.03 07:32:47.133 | sergio_paniagua |  | 0 | ARN
ACK Low | 2024.02.26 09:41:41.336 | ESS-Section-11B | Traction Section Anzac to South yarra section B | Section B Traction Power status Unknown | 2024.02.27 11:52:18.740 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.02.26 09:41:41.282 | ESS-Section-09A | Traction Section Town Hall to Anzac | Section A Traction Power status Unknown | 2024.02.27 11:52:07.644 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.02.26 09:41:35.211 | AEN_DOR_LG_405-3_2 | Fire escape Corridor - Lower Ground Floor | Door open too long | 2024.02.27 09:51:00.674 | kai_longley |  | 0 | ARN
ACK Low | 2024.02.26 09:41:35.207 | AEN_DOR_LG_405-3_1 | Fire escape Corridor - Lower Ground Floor | Door open too long | 2024.02.27 09:51:00.674 | kai_longley |  | 0 | ARN
ACK Low | 2024.02.26 09:41:35.173 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long | 2024.02.27 09:51:00.674 | kai_longley |  | 0 | ARN
ACK Low | 2024.02.26 09:36:39.585 | AEN_MSB_0403_MFM_02 | AEN-LFT-0003 Multi-function Meter | Communications lost alarm | 2024.02.27 09:51:00.669 | kai_longley |  | 0 | ARN
ACK Low | 2024.02.26 09:36:39.415 | AEN_MSB_0402_MFM_19 | PAE-MDB-0402 Multi-function Meter | Communications lost alarm | 2024.02.27 09:51:00.669 | kai_longley |  | 0 | ARN
ACK Low | 2024.02.26 09:36:39.020 | AEN_MSB_0401_MFM_19 | PAE-MDB-0401 Multi-function Meter | Communications lost alarm | 2024.02.27 09:51:00.669 | kai_longley |  | 0 | ARN
ACK Low | 2024.02.12 10:56:29.365 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.02.17 09:41:31.617 | sergio_pareja |  | 0 | ARN
ACK Low | 2024.02.12 10:56:29.352 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.02.17 09:41:33.866 | sergio_pareja |  | 0 | ARN