## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.03.19 11:27:48.513 | _Event_2 | MTDIST:_Event_2. | License expires |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:23:56.719 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:23:56.718 | TSC-W-PSD-029 | Town Hall Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:23:56.701 | TSC-W-PSD-025 | Town Hall Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:23:56.701 | TSC-W-PSD-026 | Town Hall Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:23:56.701 | TSC-W-PSD-027 | Town Hall Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:23:56.701 | TSC-W-PSD-028 | Town Hall Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:23:56.700 | TSC-W-PSD-022 | Town Hall Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:23:56.700 | TSC-W-PSD-023 | Town Hall Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:23:56.700 | TSC-W-PSD-024 | Town Hall Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:17:32.727 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.19 11:14:02.472 | _Event | MTTHL:_Event. | License expires |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 11:05:20.734 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.19 10:53:36.393 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.19 08:25:30.801 | TSC-W-PSD-020 | Town Hall Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.801 | TSC-W-PSD-021 | Town Hall Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.784 | TSC-W-PSD-017 | Town Hall Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.784 | TSC-W-PSD-018 | Town Hall Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.784 | TSC-W-PSD-019 | Town Hall Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.781 | TSC-W-PSD-013 | Town Hall Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.781 | TSC-W-PSD-014 | Town Hall Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.781 | TSC-W-PSD-015 | Town Hall Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.704 | TSC-W-PSD-007 | Town Hall Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.704 | TSC-W-PSD-008 | Town Hall Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.704 | TSC-W-PSD-009 | Town Hall Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.704 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.704 | TSC-W-PSD-011 | Town Hall Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.704 | TSC-W-PSD-012 | Town Hall Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.703 | TSC-W-PSD-001 | Town Hall Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.703 | TSC-W-PSD-002 | Town Hall Platform 1 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.703 | TSC-W-PSD-003 | Town Hall Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.703 | TSC-W-PSD-004 | Town Hall Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.703 | TSC-W-PSD-005 | Town Hall Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 08:25:30.703 | TSC-W-PSD-006 | Town Hall Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.03.19 02:54:46.984 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.19 00:01:04.003 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.19 00:01:03.255 | PKV_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.19 00:01:03.255 | PKV_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | PKV
CAME UNACK High | 2024.03.18 15:40:27.456 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.18 15:40:22.474 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.18 15:40:16.462 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.18 15:40:13.441 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.15 11:26:56.039 | PKV_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.15 11:26:56.039 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.14 16:16:22.007 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.14 16:15:22.009 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Smoke detected in shaft! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.14 16:07:51.001 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.14 16:07:51.001 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.03.14 12:18:07.008 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.14 12:17:49.983 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.14 12:17:43.992 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.03.14 12:15:46.017 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.01.15 14:33:03.316 | _Driver2 | MTSTL:_Driver2. | Driver overloaded |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.19 11:24:00.000 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  |  | 0 | STL
CAME UNACK Med | 2024.03.19 10:23:44.937 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.18 15:40:22.474 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.18 15:40:13.441 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.16 19:24:28.682 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.14 12:17:49.983 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.14 12:15:46.017 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.03.13 13:13:19.882 | _Mod_Plc_4_2 | MTPKV:_Mod_Plc_4_2. | ommunications Fault - Parkville Server 2 to Parkville EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.03.13 09:43:48.970 | DMA-FIP-0006 | Anzac Station SHCIE Panel 6 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 12:02:27.852 | _RDBArchive_2 | Anzac Server 2 | RDB Connection Lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 12:02:27.845 | _RDBArchive | Anzac Server 1 | RDB Connection Lost |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 11:59:41.831 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.829 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.827 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.825 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.823 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.822 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.819 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.817 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 11:59:41.777 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.03.08 11:59:41.757 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.03.08 10:32:10.843 | DMA-FIP-0005 | Anzac Station SHCIE Panel 5 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 10:32:10.352 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.03.08 10:32:10.106 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.19 11:31:22.469 | AEN_DOR_GF_401-1_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 11:27:52.678 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 11:14:24.360 | _ReduManager_2 | Town Hall Server 2 | Server 2 - Set active automatically |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.19 10:57:24.578 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 10:56:55.459 | AEN_DOR_LG_ESC_STAIR_07_1 | Security Door (LG WEST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 10:23:27.872 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.19 10:11:58.340 | AEN_DOR_GF_246-1_2 | Security Door (GF WEST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 09:38:04.945 | DMA-SPE-0632 | B1, DMA-SPE-0632 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.19 09:25:39.012 | AEN_DOR_GF_246-2_1 | Security Door (GF EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 09:05:38.709 | AEN_DOR_B1_151-3_1 | West BOH Corridor Entry - Concourse | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 09:01:49.139 | AEN_DOR_B1_151-4_1 | Security Door (B1 EAST) | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 08:54:20.734 | AEN_DOR_B1_ESC_STAIR_04_1 | Security Door (B1 EAST) | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 08:33:02.815 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.19 08:32:23.898 | AEN_DOR_LG_405-3_1 | Fire escape Corridor - Lower Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 08:19:08.290 | AEN_DOR_GF_151-12_1 | Access to office - Ground Floor | Door open too long |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.19 08:00:49.179 | WPZ-FIP-0001 | Western Portal Station Fire Panel | Fire panels in the station have a power fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.18 13:25:01.775 | AEN_MSB_0402_MFM_19 | PAE-MDB-0402 Multi-function Meter | Communications lost alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.18 13:25:01.775 | AEN_MSB_0401_MFM_19 | PAE-MDB-0401 Multi-function Meter | Communications lost alarm |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.18 11:19:46.209 | PKV_AHU_1303_MCV_01 | Air Handling Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:19:46.209 | PKV_AHU_1301_MCV_01 | Air Handling Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:16:04.161 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:16:04.161 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:15:23.286 | PKV_FCU_1119_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:05:46.076 | SDU_FCU_1001 | Air Cooled Unit | Communications lost alarm |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.18 11:04:26.104 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.104 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.104 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.104 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.104 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.090 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.090 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.090 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.090 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.090 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:26.090 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:21.129 | PKV_FCU_1116_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:21.129 | PKV_FCU_1115_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:21.129 | PKV_FCU_1115_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:21.129 | PKV_FCU_0209_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:16.181 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 11:04:16.181 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.18 08:25:59.758 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.18 08:25:36.939 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-03A | Traction Section Arden to Parkville | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-03B | Traction Section Arden to Parkville section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-04A | Traction Section Parkville Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-04B | Traction Section Parkville Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-05A | Traction Section Parkville to State Library | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-05B | Traction Section Parkville to State Library section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-06A | Traction Section State Library Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-06B | Traction Section State Library Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-07A | Traction Section State Library to Town Hall | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-07B | Traction Section State Library to Town hall section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.433 | ESS-Section-08A | Traction Section Town Hall Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 16:07:56.430 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.17 12:10:58.943 | DMA_FCU_0201_MVD_05 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:10:57.803 | DMA_FCU_1109_MVD_03 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:10:57.803 | DMA_FCU_1109_MVD_04 | Fan Coil Unit - Field Damper | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:09:29.766 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:09:29.766 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:09:29.766 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:08:50.937 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:08:50.937 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:08:50.937 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.17 12:08:50.937 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.15 08:57:09.315 | ESS-Section-08B | Traction Section Town Hall Station section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.14 09:58:47.041 | DMA_FCU_1123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.041 | DMA_FCU_1124_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_0110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_0123_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_1101_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_1101_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_1109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_1109_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:58:47.028 | DMA_FCU_1110_MCV_02 | Fan Coil Unit - Hot Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:53:11.808 | DMA_FCU_1110_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:53:11.797 | DMA_FCU_0102_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:53:11.797 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:53:11.797 | DMA_FCU_0118_MCV_01 | Fan Coil Unit - Chilled Water Valve | Modulated device position discrepancy fault alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:51:17.008 | DMA_FCU_0109_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.14 09:51:17.008 | DMA_FCU_0118_MCV_01 | Fan Coil Unit - Chilled Water Valve | Analogue bad quality alarm |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.13 12:20:21.800 | PKV-SPE-0342 | B2, PKV-SPE-0342 FIRE LOBBY 406-14 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 12:06:34.763 | PKV-SPE-1314 | B2, PKV-SPE-1314 BOH CORRIDOR 151-9 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 12:06:34.763 | PKV-SPE-8824 | B2, PKV-SPE-8824 VENDING MACHINE 907-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-FPD-0014 | B2, PKV-FPD-0014 (FCU-1207) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-FPD-0015 | B2, PKV-FPD-0015 (FCU-1208) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-FPD-0018 | B2, PKV-FPD-0018 (SPF-1201)STAIR PRESS | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-FPD-0019 | B2, PKV-FPD-0019 (SPF-1202)STAIR PRESS | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-HTD-0005 | B2, PKV-HTD-0005 DDA TOILET RETAIL 912-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-HTD-0006 | B2, PKV-HTD-0006 MALE WC RETAIL 910-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-HTD-0007 | B2, PKV-HTD-0007 FEMALE WC RETAIL 911-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-SPE-0341 | B2, PKV-SPE-0341 REFUSE ROOM 239-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-SPE-0350 | B2, PKV-SPE-0350 Void Under Escalators | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-SPE-1135 | B2, PKV-SPE-1135 DDA TOILET RETAIL 912-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-SPE-1136 | B2, PKV-SPE-1136 MALE WC RETAIL 910-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-SPE-1137 | B2, PKV-SPE-1137 FEMALE WC RETAIL 911-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.267 | PKV-SPE-1316 | B2, PKV-SPE-1316 STORE RM 213-2 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.266 | PKV-FPD-0012 | B2, PKV-FPD-0012 (OAF-1201) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:36.266 | PKV-FPD-0013 | B2, PKV-FPD-0013 (OAF-1202) S/A FAN | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-0347 | B2, PKV-SPE-0347 ST.CONTROL RM 211-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-0348 | B2, PKV-SPE-0348 ST.CONTROL RM 211-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-0349 | B2, PKV-SPE-0349 GENERAL STORE 213-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-0438 | B2, PKV-SPE-0438 FIRE LOBBY 406-3 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-0439 | B2, PKV-SPE-0439 BOH CORRIDOR 151-27 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-1142 | B2, PKV-SPE-1142 INCIDENT .CONT RM 211-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-1143 | B2, PKV-SPE-1143 INCIDENT .CONT RM 211-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-1144 | B2, PKV-SPE-1144 INC.CONT ROOM 201-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-1145 | B2, PKV-SPE-1145 ST.MASTER OFF 201-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-1154 | B2, PKV-SPE-1154 GENERAL STORE 213-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.755 | PKV-SPE-1313 | B2, PKV-SPE-1313 SMO 204-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:35.754 | PKV-SPE-0346 | B2, PKV-SPE-0346 INCIDENT CONT.RM 201-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.980 | PKV-SPE-0327 | B2, PKV-SPE-0327 FIRE TANK PUMP RM 415-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.980 | PKV-SPE-0343 | B2, PKV-SPE-0343 BOH CORRIDOR 151-11 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.980 | PKV-SPE-0344 | B2, PKV-SPE-0344 FIRE LOBBY 406-10 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.980 | PKV-SPE-0345 | B2, PKV-SPE-0345 ST. MASTER OFFICE 201-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.980 | PKV-SPE-0527 | B2, PKV-SPE-0527 BOH CORRIDOR 201-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.980 | PKV-SPE-1146 | B2, PKV-SPE-1146 FIRE LOBBY 406-10 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.980 | PKV-SPE-1155 | B2, PKV-SPE-1155 STAFF DDA WC 228-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.980 | PKV-SPE-1157 | B2, PKV-SPE-1157 BOH CORRIDOR 151-14 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.980 | PKV-HTD-0012 | B2, PKV-HTD-0012 OP STAFF DDA WC 228-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.979 | PKV-SPE-0305 | B2, PKV-SPE-0305 FIRE SPF ROOM 1 802-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.979 | PKV-SPE-0306 | B2, PKV-SPE-0306 FIRE SPF ROOM 1 802-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.979 | PKV-SPE-0307 | B2, PKV-SPE-0307 OP.EQUIP STORE 244-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.979 | PKV-SPE-0308 | B2, PKV-SPE-0308 BOH CORRIDOR 151-14 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.979 | PKV-SPE-0325 | B2, PKV-SPE-0325 FIELD DEV RM 1 710-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.979 | PKV-SPE-0326 | B2, PKV-SPE-0326 Fire Suppress RM 409-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:33.038 | PKV-SPE-1147 | B2 PKV-SPE-1147 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.996 | PKV-SPE-0513 | B2, PKV-SPE-0513 MECHANICAL RISER 821-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.996 | PKV-SPE-1141 | B2, PKV-SPE-1141 FIRE LOBBY 406-14 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0440 | B2, PKV-SPE-0440 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0441 | B2, PKV-SPE-0441 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0442 | B2, PKV-SPE-0442 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0443 | B2, PKV-SPE-0443 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0444 | B2, PKV-SPE-0444 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0445 | B2, PKV-SPE-0445 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0446 | B2, PKV-SPE-0446 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0447 | B2, PKV-SPE-0447 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0482 | B2, PKV-SPE-0482 CONC. CORRIDOR 103-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0483 | B2, PKV-SPE-0483 CONC. CORRIDOR 103-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0521 | B2, PKV-SPE-0521 BOH PLANT ENTRY 151-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0524 | B2, PKV-SPE-0524 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-1148 | B2 PKV-SPE-1148 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-1149 | B2 PKV-SPE-1149 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-1150 | B2 PKV-SPE-1150 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-1158 | B2 PKV-SPE-1158 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-1159 | B2 PKV-SPE-1159 FIRE ESC.C'DOR 405-1 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.995 | PKV-SPE-0304 | B2, PKV-SPE-0304 FIRE ESC.C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.994 | PKV-SPE-0220 | B2, PKV-SPE-0220 CONC. CORRIDOR 103-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.865 | PKV-SPE-0514 | B2, PKV-SPE-0514 CONC. LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.865 | PKV-SPE-0515 | B2, PKV-SPE-0515 CONC. LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:32.865 | PKV-SPE-1315 | B2, PKV-SPE-1315 CONC. ADJ LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:30.735 | PKV-SPE-0510 | B2, PKV-SPE-0510 RETAIL UNIT 901-9 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:30.735 | PKV-SPE-0516 | B2, PKV-SPE-0516 RETAIL UNIT 901-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:30.735 | PKV-SPE-0517 | B2, PKV-SPE-0517 RETAIL UNIT 901-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:30.735 | PKV-SPE-0518 | B2, PKV-SPE-0518 MECH RISER 821-10 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:30.735 | PKV-SPE-0519 | B2, PKV-SPE-0519 RETAIL UNIT 901-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:30.735 | PKV-SPE-0520 | B2, PKV-SPE-0520 RETAIL UNIT 901-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:26.732 | PKV-ASD-0013 | B2, PKV-ASD-0013 Conc 102-3 Esc.14-16 F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:21.735 | PKV-ASD-0018 | B2, PKV-ASD-0018 Conc Skylight 1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:16.716 | PKV-SPE-0111 | B1, PKV-SPE-0111 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:16.716 | PKV-SPE-0112 | B1, PKV-SPE-0112 TELEPH EQUIP.RM 706-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:10.782 | PKV-ASD-0052 | B4, PKV-ASD-0052 OHLE SWITCH 601-1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:10.705 | PKV-BGU-0001 | B1, 401-1 PKV-BGU-0001 MFIP MCP | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:06.249 | PKV-ASD-0011 | B4, PKV-ASD-0011 TIE STATION 603-1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.782 | PKV-ASD-0059 | B4U, PKV-ASD-0059 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.782 | PKV-ASD-0060 | B4U, PKV-ASD-0060 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.782 | PKV-ASD-0061 | B4U, PKV-ASD-0061 U/P CENTRE EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.782 | PKV-ASD-0062 | B4U, PKV-ASD-0062 U/P CENTRE EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.782 | PKV-ASD-0065 | B4U, PKV-ASD-0065 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.782 | PKV-ASD-0068 | B4U, PKV-ASD-0068 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.782 | PKV-ASD-0069 | B4U, PKV-ASD-0069 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.781 | PKV-ASD-0043 | B4U, PKV-ASD-0043 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.781 | PKV-ASD-0044 | B4U, PKV-ASD-0044 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.781 | PKV-ASD-0056 | B4U, PKV-ASD-0056 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:05.781 | PKV-ASD-0058 | B4U, PKV-ASD-0058 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0041 | B4U, PKV-ASD-0041 U/P WEST 1 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0042 | B4U, PKV-ASD-0042 U/P WEST 2 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0045 | B4U, PKV-ASD-0045 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0046 | B4U, PKV-ASD-0046 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0047 | B4U, PKV-ASD-0047 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0048 | B4U, PKV-ASD-0048 U/P CENTRE F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0049 | B4U, PKV-ASD-0049 U/P CENTRE EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0051 | B4U, PKV-ASD-0051 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0053 | B4U, PKV-ASD-0053 U/P WEST 3 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0054 | B4U, PKV-ASD-0054 U/P WEST 4 - F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0055 | B4U, PKV-ASD-0055 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0057 | B4U, PKV-ASD-0057 U/P CENTRE WEST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:51:04.920 | PKV-ASD-0067 | B4U, PKV-ASD-0067 U/P EAST F1 | Aspirating smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:55.793 | PKV-FPD-0021 | B3, PKV-FPD-0021 (SPF-0302) STAIR | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:55.793 | PKV-IVM-0039 | B3, PKV-IVM-0039 405-4 Esc Corridor M/V | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:55.792 | PKV-FPD-0020 | B3, PKV-FPD-0020 (SPF-0301) STAIR | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0666 | B3, PKV-SPE-0666 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0667 | B3, PKV-SPE-0667 FIRE LOBBY 406-21 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0681 | B3, PKV-SPE-0681 FIRE ESC.C'DOR 405-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0720 | B3, PKV-SPE-0720 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0721 | B3, PKV-SPE-0721 LIFT 9 LIFT LOBBY | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0722 | B3, PKV-SPE-0722 FIRE LOBBY 406-9 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0725 | B3, PKV-SPE-0725 FIRE LOBBY 406-6 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0726 | B3, PKV-SPE-0726 BOH CORRIDOR 151-33 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0727 | B3, PKV-SPE-0727 BOH CORRIDOR 151-34 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0728 | B3, PKV-SPE-0728 UNALLOCATED ROOM 299-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-0729 | B3, PKV-SPE-0729 DRAIN PUMP ROOM | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-1202 | B3, PKV-SPE-1202 FIRE LOBBY 406-7 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-1205 | B3, PKV-SPE-1205 FIRE LOBBY 406-6 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-1206 | B3, PKV-SPE-1206 FIRE LOBBY 406-21 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-1207 | B3, PKV-SPE-1207 FIRE LOBBY 406-8 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-1208 | B3, PKV-SPE-1208 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-1210 | B3 PKV-SPE-1210 FIRE ESC.C'DOR 405-5 C/S | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.765 | PKV-SPE-1211 | B3, PKV-SPE-1211 FIRE ESC.C'DOR 405-4 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.764 | PKV-SPE-0657 | B3, PKV-SPE-0657 BOH CORRIDOR 151-18 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.764 | PKV-SPE-0658 | B3, PKV-SPE-0658 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.764 | PKV-SPE-0660 | B3, PKV-SPE-0660 STAFF BIKE STORE 290-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.764 | PKV-SPE-0661 | B3, PKV-SPE-0661 FIRE LOBBY 406-8 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.764 | PKV-SPE-0662 | B3, PKV-SPE-0662 FIRE LOBBY 406-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.764 | PKV-SPE-0663 | B3, PKV-SPE-0663 FIRE LOBBY 406-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.764 | PKV-SPE-0664 | B3, PKV-SPE-0664 FIRE LOBBY 406-7 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.13 11:50:53.764 | PKV-SPE-0665 | B3, PKV-SPE-0665 FIRE ESC.C'DOR 405-5 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.10 14:24:08.689 | TSC-E-PSD-020 | Town Hall Platform 2 Zone 2 PSD 20 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 14:03:08.402 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 13:57:40.409 | TNC-W-PSD-003 | State Library Platform 1 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 13:22:16.409 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 12:41:16.726 | DMA-W-PSD-004 | Anzac Platform 1 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.10 12:34:34.403 | TNC-E-PSD-021 | State Library Platform 2 Zone 2 PSD 21 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 12:29:54.730 | DMA-W-PSD-001 | Anzac Platform 1 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.10 12:06:12.411 | TNC-E-PSD-003 | State Library Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 12:05:58.408 | TNC-E-PSD-004 | State Library Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 11:42:42.690 | TSC-E-PSD-003 | Town Hall Platform 2 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 11:42:28.688 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 11:32:58.689 | TSC-E-PSD-002 | Town Hall Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 11:30:52.411 | TNC-E-PSD-001 | State Library Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.10 11:03:58.687 | TSC-W-PSD-016 | Town Hall Platform 1 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.10 10:30:50.682 | TSC-E-PSD-001 | Town Hall Platform 2 Zone 1 PSD 01 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.09 18:26:22.405 | TNC-E-PSD-012 | State Library Platform 2 Zone 2 PSD 12 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.03.09 18:21:46.685 | TSC-E-PSD-010 | Town Hall Platform 2 Zone 2 PSD 10 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.08 11:59:41.784 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.08 11:59:41.780 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 11:59:41.772 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.03.08 11:59:41.769 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.03.08 10:33:39.570 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:39.008 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:36.962 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:36.071 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:34.017 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:33:33.280 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator communications lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.03.08 10:31:44.309 | PKV_NDB_0401_MFM_05 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.251 | PKV_NDB_0401_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.193 | PKV_NDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.135 | PKV_NDB_0401_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.077 | PKV_NDB_0401_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:44.020 | PKV_MSB_0404_MFM_19 | PKV-CHD-0402 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:43.962 | PKV_MSB_0404_MFM_18 | PKV-ESC-0013 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:43.636 | PKV_MSB_0403_MFM_17 | PKV-ESC-0009 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:43.069 | PKV_MSB_0401_MFM_20 | PKV-ESC-0007 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.958 | PKV_MSB_0401_MFM_10 | PKV-LFT-0011 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.900 | PKV_MSB_0401_MFM_09 | PKV-LFT-0010 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.736 | PKV_MSB_0401_MFM_04 | PKV-ESC-0012 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.595 | PKV_MCC_0402_MFM_22 | PKV-SPF-0302 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.456 | PKV_MCC_0402_MFM_15 | PKV-OFN-0003 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.399 | PKV_MCC_0402_MFM_09 | PKV-TFN-0103-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:42.206 | PKV_MCC_0401_MFM_07 | PKV-TFN-0203-VSD-01 Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.362 | PKV_EDB_0404_MFM_04 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.304 | PKV_EDB_0404_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.246 | PKV_EDB_0404_MFM_02 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:41.189 | PKV_EDB_0404_MFM_01 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.943 | PKV_EDB_0401_MFM_03 | TBA Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.158 | PKV_CDB_0406_MFM_03 | SECTION 3 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 12HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.100 | PKV_CDB_0406_MFM_02 | SECTION 2 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 8HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 10:31:40.040 | PKV_CDB_0406_MFM_01 | SECTION 1 - GENERAL POWER (B1 LEVEL BACK OF HOUSE) - 2HR Multi-function Meter | Communications lost alarm |  |  |  | 0 | PKV
CAME UNACK Low | 2024.03.08 08:23:58.250 | ESS-Section-11B | Traction Section Anzac to South yarra section B | Section B Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.03.08 08:23:58.216 | ESS-Section-10A | Traction Section Anzac Station | Section A Traction Power status Unknown |  |  |  | 0 | SDU
WENT UNACK High | 2024.03.19 11:23:58.733 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.03.19 11:24:36.737 | 0 | AZC
WENT UNACK High | 2024.03.19 11:05:20.734 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.03.19 11:06:04.734 | 0 | AZC
WENT UNACK High | 2024.03.19 10:53:36.392 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.03.19 10:54:08.388 | 0 | PKV
WENT UNACK Med | 2024.03.19 11:27:49.822 | _SYP-TIAS-PLC_2 | MTDIST:_SYP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SYP TIAS PLC |  |  | 2024.03.19 11:27:50.192 | 0 | THL
WENT UNACK Med | 2024.03.19 11:27:49.818 | _SKP-TIAS-PLC_2 | MTDIST:_SKP-TIAS-PLC_2. | Communications Fault - Dist Server 2 to SKP TIAS PLC |  |  | 2024.03.19 11:27:50.089 | 0 | THL
WENT UNACK Low | 2024.03.19 11:30:53.692 | AEN_DOR_GF_401-1_1 | Security Door (GF EAST) | Unauthorised access |  |  | 2024.03.19 11:31:04.031 | 0 | ARN
WENT UNACK Low | 2024.03.19 11:27:49.605 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.03.19 11:27:54.669 | 0 | THL
WENT UNACK Low | 2024.03.19 11:27:48.989 | _ReduManager_2 | Distributed Server 2 | Server 2 - Passive |  |  | 2024.03.19 11:27:52.676 | 0 | THL
ACK High | 2024.03.16 08:35:12.032 | AEN-W-PSD-002 | Arden Platform 1 Zone 1 PSD 02 | PSD obstructed on opening or closing! | 2024.03.18 10:18:52.999 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.03.15 21:12:36.033 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.03.18 10:46:51.464 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.03.15 13:16:34.030 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.03.18 10:46:44.619 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.03.15 13:08:12.029 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.03.18 10:46:38.781 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.03.08 10:32:04.850 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! | 2024.03.10 08:40:44.594 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.08 10:32:04.482 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! | 2024.03.10 08:39:37.030 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.03.08 10:32:04.008 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! | 2024.03.10 08:39:52.262 | sergio_paniagua |  | 0 | PKV
ACK High | 2024.01.15 14:33:26.677 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.01.18 09:02:39.998 | himanshu_kakkad |  | 0 | AZC
ACK Med | 2024.03.16 08:32:08.031 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door alarm bypassed! | 2024.03.18 10:46:44.400 | dominic_dlasselle |  | 0 | ARN
ACK Med | 2024.03.13 11:51:09.656 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Power supply to fire panel fault | 2024.03.14 10:48:39.923 | operator |  | 0 | PKV
ACK Med | 2024.03.13 11:51:07.724 | PKV-FIP-0006 | Parkville Station SHCIE Panel 5 | Power supply to gas supression panel fault | 2024.03.18 09:25:27.889 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.13 11:51:02.705 | PKV-FIP-0005 | Parkville Station SHCIE Panel 4 | Power supply to gas supression panel fault | 2024.03.18 09:25:32.358 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.13 11:50:50.732 | PKV-FIP-0004 | Parkville Station SHCIE Panel 3 | Power supply to gas supression panel fault | 2024.03.18 09:25:36.435 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.08 14:08:07.473 | _Mod_Plc_4_2 | MTARD:_Mod_Plc_4_2. | Communications Fault - Arden Server 2 to Arden EWIS | 2024.03.18 09:27:33.455 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.08 14:08:07.473 | _Mod_Plc_3_2 | MTARD:_Mod_Plc_3_2. | Communications Fault - Arden Server 2 to Arden EWIS | 2024.03.18 09:25:21.305 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.08 14:08:07.473 | _Mod_Plc_2_2 | MTARD:_Mod_Plc_2_2. | Communications Fault - Arden Server 2 to Arden FDS Gateway | 2024.03.18 09:25:24.036 | chris_lawson |  | 0 | PKV
ACK Med | 2024.03.08 10:34:39.460 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Power supply to fire panel fault | 2024.03.15 11:13:07.508 | emilio_ito |  | 0 | AZC
ACK Med | 2024.03.08 10:32:59.576 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2024.03.10 08:39:51.926 | sergio_paniagua |  | 0 | SDU
ACK Med | 2024.03.08 10:32:59.573 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2024.03.10 08:39:52.088 | sergio_paniagua |  | 0 | SDU
ACK Med | 2023.10.21 17:29:12.128 | _RDBArchive_2 | Parkville Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | STL
ACK Med | 2023.10.21 17:29:12.125 | _RDBArchive | Parkville Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.462 | chris_lawson |  | 0 | PKV
ACK Med | 2023.10.10 08:29:54.232 | _RDBArchive_2 | Town Hall Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:54.231 | _RDBArchive | Town Hall Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:53.877 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:53.243 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:52.927 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:29:50.304 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.671 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:29:49.030 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2023.11.28 08:35:41.398 | chris_lawson |  | 0 | AZC
ACK Med | 2023.10.10 08:12:51.271 | _RDBArchive_2 | State Library Server 2 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | THL
ACK Med | 2023.10.10 08:12:51.268 | _RDBArchive | State Library Server 1 | RDB Connection Lost | 2023.11.28 08:35:41.432 | chris_lawson |  | 0 | STL
ACK Low | 2024.03.19 10:59:01.588 | AEN_DOR_B2_403-1_2 | Security Door (B2 WEST) | Unauthorised access | 2024.03.19 11:30:23.915 | kai_longley |  | 0 | ARN
ACK Low | 2024.03.19 09:38:04.945 | DMA-SPE-0636 | B1, DMA-SPE-0636 OP MALE STAFF WC 223-1 | Heat or smoke detector fault | 2024.03.19 11:30:23.834 | kai_longley |  | 0 | AZC
ACK Low | 2024.03.18 06:18:08.770 | AEN_DOR_GF_ESC_STAIR_9_1 | Security Door (GF EAST) | Unauthorised access | 2024.03.18 10:07:29.035 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.15 08:33:47.863 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift is not Operational | 2024.03.18 10:07:42.451 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.15 08:15:58.948 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.03.18 10:07:42.451 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.15 07:53:16.064 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.03.18 10:07:48.754 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.15 07:51:11.041 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.03.18 10:07:48.754 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.14 15:16:59.752 | AEN_DOR_B1_ESC_STAIRS_03_1 | West Emergency Stairs - Concourse | Door open too long | 2024.03.18 10:07:29.035 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.13 07:39:12.847 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault | 2024.03.14 09:06:47.454 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.10 12:40:44.033 | AEN-E-PSD-006 | Arden Platform 2 Zone 1 PSD 06 | PSD isolated | 2024.03.12 09:26:58.207 | dominic_dlasselle |  | 0 | ARN
ACK Low | 2024.03.10 10:43:32.734 | DMA-E-PSD-002 | Anzac Platform 2 Zone 1 PSD 02 | PSD isolated | 2024.03.10 12:27:22.357 | sergio_paniagua |  | 0 | AZC
ACK Low | 2024.03.08 10:34:39.322 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault | 2024.03.15 11:13:07.348 | emilio_ito |  | 0 | AZC
ACK Low | 2024.03.08 10:32:35.203 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated | 2024.03.10 10:32:41.281 | sergio_paniagua |  | 0 | PKV
ACK Low | 2024.03.08 08:23:58.239 | ESS-Section-11A | Traction Section Anzac to South Yarra | Section A Traction Power status Unknown | 2024.03.10 08:42:33.500 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.227 | ESS-Section-10B | Traction Section Anzac Station section B | Section B Traction Power status Unknown | 2024.03.10 08:42:11.005 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.207 | ESS-Section-09B | Traction Section Town Hall to Anzac section B | Section B Traction Power status Unknown | 2024.03.10 08:41:59.353 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.194 | ESS-Section-09A | Traction Section Town Hall to Anzac | Section A Traction Power status Unknown | 2024.03.10 08:41:47.459 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.056 | ESS-Section-02B | Traction Section Arden Station section B | Section B Traction Power status Unknown | 2024.03.10 08:39:21.581 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.043 | ESS-Section-02A | Traction Section Arden Station | Section A Traction Power status Unknown | 2024.03.10 08:36:47.589 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.034 | ESS-Section-01B | Traction Section Footscray west to Arden section B | Section B Traction Power status Unknown | 2024.03.10 08:38:34.238 | sergio_paniagua |  | 0 | SDU
ACK Low | 2024.03.08 08:23:58.023 | ESS-Section-01A | Traction Section Footscray west to Arden | Section A Traction Power status Unknown | 2024.03.09 09:31:33.545 | sergio_paniagua |  | 0 | SDU