## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.07.04 09:39:04.398 | PKV-W-EED-024 | Parkville Platform 1 Zone 3 EED 24 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:39:04.382 | PKV-W-EED-024 | Parkville Platform 1 Zone 3 EED 24 | EED opened! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:35:18.384 | PKV-E-PSD-029 | Parkville Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:34:58.397 | PKV-W-EED-023 | Parkville Platform 1 Zone 3 EED 23 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:31:24.397 | PKV-W-EED-025 | Parkville Platform 1 Zone 3 EED 25 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:26:06.403 | PKV-W-EED-022 | Parkville Platform 1 Zone 3 EED 22 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:05:36.382 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:54:20.381 | PKV-E-PSD-030 | Parkville Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:52:14.399 | PKV-W-DDX-002 | Parkville Platform 1 Zone 2 DD 02 | Driver Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:47:40.399 | PKV-E-EED-036 | Parkville Platform 2 Zone 3 EED 36 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:45:44.397 | PKV-W-EED-021 | Parkville Platform 1 Zone 2 EED 21 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:45:28.398 | PKV-E-EED-037 | Parkville Platform 2 Zone 3 EED 37 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:43:52.398 | PKV-E-EED-038 | Parkville Platform 2 Zone 3 EED 38 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:42:02.405 | PKV-E-EED-039 | Parkville Platform 2 Zone 3 EED 39 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:35:58.404 | PKV-E-EED-040 | Parkville Platform 2 Zone 3 EED 40 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:19:18.382 | PKV-W-PSD-022 | Parkville Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:05:22.392 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door opened! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.04 08:01:20.378 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 14:28:28.379 | PKV-W-PSD-021 | Parkville Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 13:48:10.378 | PKV-W-PSD-020 | Parkville Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 13:43:00.379 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 13:20:18.380 | PKV-W-PSD-019 | Parkville Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 12:50:16.397 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 12:50:16.378 | PKV-W-PSD-018 | Parkville Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 12:38:08.418 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 12:38:08.397 | PKV-E-EED-023 | Parkville Platform 2 Zone 3 EED 23 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 12:07:08.381 | PKV-W-PSD-017 | Parkville Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 09:45:08.377 | PKV-W-PSD-016 | Parkville Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 09:07:54.379 | PKV-W-PSD-015 | Parkville Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 08:09:48.386 | PKV-W-PSD-014 | Parkville Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 08:06:44.383 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.02 14:57:46.379 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.02 14:57:28.403 | PKV-W-PSD-005 | Parkville Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.02 09:12:31.977 | TNC-E-EED-021 | State Library Platform 2 Zone 2 EED 21 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 14:16:13.974 | TNC-W-EED-033 | State Library Platform 1 Zone 3 EED 33 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:45:21.969 | TNC-E-EED-008 | State Library Platform 2 Zone 1 EED 08 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:32:43.957 | TNC-E-PSD-030 | State Library Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:28:23.954 | TNC-E-PSD-028 | State Library Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:26:17.958 | TNC-E-PSD-027 | State Library Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:23:57.951 | TNC-E-PSD-026 | State Library Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:01:35.955 | TNC-E-PSD-019 | State Library Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:58:57.953 | TNC-E-PSD-018 | State Library Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:57:37.952 | TNC-W-PSD-014 | State Library Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:56:11.950 | TNC-E-PSD-017 | State Library Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:53:29.956 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:51:07.957 | TNC-E-PSD-015 | State Library Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:48:03.955 | TNC-E-PSD-008 | State Library Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:46:11.948 | TNC-E-PSD-007 | State Library Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:44:03.955 | TNC-E-PSD-006 | State Library Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:43:57.950 | TNC-W-PSD-013 | State Library Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:41:15.948 | TNC-E-PSD-004 | State Library Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:26:13.947 | TNC-W-PSD-029 | State Library Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:23:43.948 | TNC-W-PSD-028 | State Library Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:20:03.954 | TNC-W-PSD-027 | State Library Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:17:19.953 | TNC-W-PSD-026 | State Library Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:15:09.952 | TNC-W-PSD-025 | State Library Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:12:09.949 | TNC-W-PSD-019 | State Library Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:10:13.948 | TNC-W-PSD-018 | State Library Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:07:38.921 | DMA-E-PSD-028 | Anzac Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 11:06:45.950 | TNC-W-PSD-017 | State Library Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:04:41.949 | TNC-W-PSD-016 | State Library Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:02:11.948 | TNC-W-PSD-015 | State Library Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:54:41.970 | TNC-E-EED-011 | State Library Platform 2 Zone 1 EED 11 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:49:25.952 | TNC-W-PSD-004 | State Library Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:31:45.950 | TNC-W-PSD-008 | State Library Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:28:05.980 | TNC-W-EED-004 | State Library Platform 1 Zone 1 EED 04 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:27:52.077 | TNC-W-EED-005 | State Library Platform 1 Zone 1 EED 05 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:21:37.963 | TNC-W-PSD-007 | State Library Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:03:34.982 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 10:03:28.186 | TSC-W-PSD-023 | Town Hall Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 10:03:27.263 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 10:03:14.765 | TNC-W-PSD-009 | State Library Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:03:14.725 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:52:04.815 | SDU_STP_0401_02_DS | Stormwater Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:22:42.175 | TNC-W-PSD-006 | State Library Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:21:33.505 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.443 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.382 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.328 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.262 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.199 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.130 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.076 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:20:03.295 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 09:20:03.279 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 09:19:33.096 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:19:33.082 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:19:25.388 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:19:25.373 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:18:42.231 | TNC-W-PSD-005 | State Library Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:50.954 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:17:34.607 | TNC-W-EED-028 | State Library Platform 1 Zone 3 EED 28 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:34.479 | TNC-W-EED-024 | State Library Platform 1 Zone 3 EED 24 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:33.934 | TNC-W-DDX-001 | State Library Platform 1 Zone 2 DD 01 | Driver Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:16.380 | TNC-W-EED-037 | State Library Platform 1 Zone 3 EED 37 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:16.084 | TNC-W-EED-027 | State Library Platform 1 Zone 3 EED 27 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:14.924 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 09:17:14.903 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 09:17:13.117 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:13.101 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:11.076 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:17:11.062 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:17:01.352 | TNC-W-EED-036 | State Library Platform 1 Zone 3 EED 36 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:01.055 | TNC-W-EED-026 | State Library Platform 1 Zone 3 EED 26 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:44.713 | TNC-W-PSD-030 | State Library Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:39.972 | TNC-W-PSD-021 | State Library Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:34.010 | TNC-W-PSD-010 | State Library Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:28.866 | TNC-W-PSD-001 | State Library Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:27.761 | TNC-E-PSD-029 | State Library Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:23.400 | TNC-E-PSD-021 | State Library Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:22.815 | TNC-E-PSD-020 | State Library Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:18.051 | TNC-E-PSD-011 | State Library Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:12.787 | TNC-E-PSD-001 | State Library Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:15:58.473 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.01 09:15:58.010 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.01 09:15:57.545 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.01 09:15:56.051 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:15:55.976 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:15:55.913 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:15:55.848 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:15:55.631 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:15:55.052 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:15:54.477 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:15:53.902 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:15:36.667 | TNC-W-EED-025 | State Library Platform 1 Zone 3 EED 25 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:15:36.519 | TNC-W-EED-020 | State Library Platform 1 Zone 2 EED 20 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK Med | 2024.07.04 09:38:20.379 | PKV-E-PLT | Parkville Platform 2 | PSDs in local control mode on specified platform |  |  |  | 0 | PKV
CAME UNACK Med | 2024.07.04 09:23:18.484 | DMA-FIP-0001 | Anzac Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | AZC
CAME UNACK Med | 2024.07.04 08:05:14.389 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door alarm bypassed! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.07.04 07:05:38.051 | DMA_FCU_0111_12_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.07.03 21:24:35.970 | _Mod_Plc_1_2 | MTSTL:_Mod_Plc_1_2. | Communications Fault - State Library Server 2 to State Library PSD Servers |  |  |  | 0 | THL
CAME UNACK Med | 2024.07.03 21:24:35.958 | _Mod_Plc_1 | MTSTL:_Mod_Plc_1. | Communications Fault - State Library Server 1 to State Library PSD Servers |  |  |  | 0 | STL
CAME UNACK Med | 2024.07.03 15:45:43.694 | _Mod_Plc_2_2 | MTPKV:_Mod_Plc_2_2. | Communications Fault - Parkville Server 2 to Parkville FDS Gateway |  |  |  | 0 | STL
CAME UNACK Med | 2024.07.03 11:16:56.787 | SKP-PLC-0001 | South Kensington PLC | TIAS PLC power supply fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.03 10:58:18.780 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 13:07:04.413 | _Mod_Plc_1_2 | MTTHL:_Mod_Plc_1_2. | Communications Fault - Town Hall Server 2 to Town Hall PSD Servers |  |  |  | 0 | AZC
CAME UNACK Med | 2024.07.01 10:19:33.015 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.07.01 10:19:33.013 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.07.01 10:19:33.010 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 |  |  |  | 0 | THL
CAME UNACK Med | 2024.07.01 10:19:33.008 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 |  |  |  | 0 | THL
CAME UNACK Med | 2024.07.01 10:19:33.006 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 10:19:33.003 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 10:19:33.001 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 10:19:32.999 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 10:19:32.948 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.07.01 10:19:32.922 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 10:03:34.786 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 10:03:27.140 | TSC-FIP-0001 | Town Hall Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | THL
CAME UNACK Med | 2024.07.01 10:03:14.603 | TNC-FIP-0001 | State Library Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | STL
CAME UNACK Med | 2024.07.01 10:03:05.625 | WPZ-FIP-0001 | Western Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 09:17:20.334 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 09:17:20.323 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 09:17:20.284 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 09:17:11.867 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 09:17:11.839 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 09:17:01.424 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 09:17:01.382 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 09:15:39.683 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:53.704 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.699 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:53.694 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:52.198 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.195 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:52.192 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway |  |  |  | 0 | AZC
CAME UNACK Med | 2024.06.03 10:49:38.107 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Communications Fault - State Library Server 2 to State Library TVCS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:38.099 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Communications Fault - State Library Server 1 to State Library TVCS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.241 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.239 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.238 | _TNC-BMS-PLC3_2 | MTSTL:_TNC-BMS-PLC3_2. | Communications Fault - State Library Server 2 to State Library BMS Gateway PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.236 | _TNC-BMS-PLC3 | MTSTL:_TNC-BMS-PLC3. | Communications Fault - State Library Server 1 to State Library BMS Gateway PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:36.234 | _TNC-BMS-PLC_2 | MTSTL:_TNC-BMS-PLC_2. | Communications Fault - State Library Server 2 to State Library BMS PLC |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:36.232 | _TNC-BMS-PLC | MTSTL:_TNC-BMS-PLC. | Communications Fault - State Library Server 1 to State Library BMS PLC |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.970 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.968 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.967 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.964 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS |  |  |  | 0 | STL
CAME UNACK Med | 2024.06.03 10:49:34.962 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Med | 2024.06.03 10:49:34.960 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway |  |  |  | 0 | THL
CAME UNACK Low | 2024.07.04 09:39:02.830 | PKV_DOR_B1_PKV-S-02_2 | Security Door (B1 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 09:38:58.044 | AEN-W-PSD-014 | Arden Platform 1 Zone 2 PSD 14 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.07.04 09:37:27.862 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.07.04 09:31:11.982 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 09:14:21.860 | PKV_DOR_B3_402-7_2 | Security Door (B3 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 09:08:36.384 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | Maintenance mode activated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 09:00:06.038 | AEN-W-PSD-013 | Arden Platform 1 Zone 2 PSD 13 | PSD isolated |  |  |  | 0 | ARN
CAME UNACK Low | 2024.07.04 08:59:45.194 | PDM_DOR_E_1 | PDM East Tunnel Door 1 | Unauthorised access |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.04 08:50:34.741 | PKV_DOR_B2_PKV-S-02_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:31:35.593 | PDM_DOR_W_1 | PDM West Tunnel Door 1 | Unauthorised access |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:11:20.974 | PKV_DOR_B3_PKV-S-03_1 | Security Door (B3 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:05:51.296 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:04:07.650 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 07:38:26.576 | PKV_DOR_B2_151-15_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 07:32:36.377 | PKV-W-PSD-005 | Parkville Platform 1 Zone 1 PSD 05 | Maintenance mode activated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 05:10:31.500 | DMA_TEXB | Tunnel Ambient Temperature Control | Temperature Sensors B - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.03 20:53:38.466 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.07.03 14:36:00.076 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.03 14:36:00.076 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.03 12:39:13.000 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.03 11:16:56.787 | SKP-PSU-1027 | PLC 24V Power supply 2 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.03 11:04:14.028 | PKV_DOR_B3_PKV-S-01_1 | Security Door (B3 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.03 10:58:18.780 | SKP-PSU-1026 | PLC 24V Power supply 1 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.03 07:40:18.874 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.02 15:40:25.997 | PKV_DOR_B2_PKV-S-03_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.02 15:31:48.437 | PKV_DOR_B2_405-5_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.02 15:09:13.106 | PKV_DOR_B3_PKV-S-01_2 | Security Door (B3 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.02 13:47:40.673 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.02 10:11:39.189 | _ReduManager | Distributed Server 1 | Server 1 - Forced active |  |  |  | 0 | ARN
CAME UNACK Low | 2024.07.01 12:28:05.955 | TNC-E-PSD-027 | State Library Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.07.01 12:19:57.952 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.07.01 12:14:38.009 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:38.009 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:38.007 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:37.997 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:37.997 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:37.997 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:37.997 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:37.986 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:37.985 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:37.974 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:37.974 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:14:37.974 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 11:54:55.952 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.07.01 11:16:08.035 | DMA-SPE-0183 | B1, DMA-SPE-0183 OTE EXH.FAN EAST 831-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 11:16:08.035 | DMA-SPE-0184 | B1, DMA-SPE-0184 OTE EXH.FAN EAST 831-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 11:07:38.428 | DMA-E-PSD-028 | Anzac Platform 2 Zone 3 PSD 28 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 11:07:38.412 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 10:19:32.956 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.07.01 10:19:32.952 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.07.01 10:19:32.942 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.07.01 10:19:32.938 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 |  |  |  | 0 | ARN
CAME UNACK Low | 2024.07.01 10:19:26.244 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:21:31.655 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:31.631 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:31.581 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:31.541 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:31.516 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:31.490 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:24.940 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:18.523 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:18.432 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:18.288 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:18.196 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:18.049 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:17.957 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:17.811 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:17.720 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:17.574 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:17.483 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:16.963 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:08.583 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:08.436 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:08.344 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:08.148 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:08.003 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:07.911 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:07.087 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:06.986 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:06.832 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:06.736 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:16:53.278 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:16:39.490 | TSC-W-PSD-023 | Town Hall Platform 1 Zone 3 PSD 23 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.07.01 09:16:33.114 | TNC-W-PSD-009 | State Library Platform 1 Zone 1 PSD 09 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.07.01 09:16:21.161 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | Speaker fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:16:20.600 | PKV-E-PSD-026 | Parkville Platform 2 Zone 3 PSD 26 | Door status indicator fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:16:20.399 | PKV-E-PSD-026 | Parkville Platform 2 Zone 3 PSD 26 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:16:19.621 | PKV-E-PSD-024 | Parkville Platform 2 Zone 3 PSD 24 | Speaker fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:16:19.402 | PKV-E-PSD-024 | Parkville Platform 2 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:16:18.159 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | PSD isolated |  |  |  | 0 | THL
CAME UNACK Low | 2024.07.01 09:16:13.115 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.104 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 2 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.101 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 1 |  |  |  | 0 | THL
CAME UNACK Low | 2024.06.03 10:49:38.095 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 2 |  |  |  | 0 | STL
CAME UNACK Low | 2024.06.03 10:49:38.091 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 1 |  |  |  | 0 | STL
WENT UNACK Med | 2024.07.04 09:36:03.089 | _Mod_Plc_2 | MTAZC:_Mod_Plc_2. | Communications Fault - Anzac Server 1 to Anzac FDS Gateway |  |  | 2024.07.04 09:36:04.213 | 0 | ARN
ACK High | 2024.07.03 12:58:12.037 | AEN-W-PSD-023 | Arden Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2024.07.03 12:58:50.384 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.03 07:30:34.041 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.07.03 09:35:33.890 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.03 07:23:06.038 | AEN-W-PSD-014 | Arden Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.07.03 09:35:35.768 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.02 15:58:26.042 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.07.03 09:35:38.079 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.02 13:38:24.045 | AEN-E-PSD-007 | Arden Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! | 2024.07.02 13:38:34.384 | leanne_schwabe |  | 0 | ARN
ACK High | 2024.07.02 12:33:32.038 | AEN-E-PSD-002 | Arden Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2024.07.02 12:50:17.513 | leanne_schwabe |  | 0 | ARN
ACK High | 2024.07.01 15:56:46.062 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2024.07.01 15:56:52.438 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 10:03:05.753 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.07.01 10:03:16.664 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:18:48.149 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.07.01 09:54:30.500 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:17:00.497 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.07.01 09:18:24.347 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:32.455 | AEN-W-PSD-029 | Arden Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:48.753 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:32.003 | AEN-W-PSD-028 | Arden Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:42.617 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:31.559 | AEN-W-PSD-027 | Arden Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:44.354 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:31.110 | AEN-W-PSD-026 | Arden Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:45.899 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:30.659 | AEN-W-PSD-025 | Arden Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:47.440 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:30.213 | AEN-W-PSD-024 | Arden Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:18.626 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:29.270 | AEN-W-PSD-022 | Arden Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:16.043 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.05.20 08:23:30.503 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.05.20 15:17:54.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded | 2024.05.20 15:17:59.449 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.07.01 10:03:05.482 | AEN-FIP-0001 | Arden Main Fire Panel | No modbus server/gateway connection | 2024.07.03 13:44:34.706 | kasturi_jathar |  | 0 | ARN
ACK Med | 2024.07.01 09:16:56.910 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2024.07.04 09:19:50.005 | kai_longley |  | 0 | SDU
ACK Med | 2024.07.01 09:16:56.892 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2024.07.04 09:19:50.005 | kai_longley |  | 0 | SDU
ACK Med | 2024.06.03 10:50:15.741 | _Driver1_2 | Anzac Server 2 | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.25 13:27:25.359 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:48:16.689 | _Driver1_2 | MTARD:_Driver1_2. | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.04 08:54:10.389 | sergio_paniagua |  | 0 | PKV
ACK Low | 2024.07.04 08:16:35.974 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault | 2024.07.04 08:54:09.018 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.07.03 12:35:00.384 | PKV_StationFunc | TVCS Operator Fire Emergency Section 04 - Parkville Station | Station Fire Ventilation Mode still active | 2024.07.04 09:19:50.005 | kai_longley |  | 0 | SDU
ACK Low | 2024.07.01 16:08:14.041 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD isolated | 2024.07.02 09:35:36.768 | leanne_schwabe |  | 0 | ARN
ACK Low | 2024.07.01 11:58:33.014 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault | 2024.07.03 10:06:49.827 | emilio_ito |  | 0 | PKV
ACK Low | 2024.07.01 11:58:13.013 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.07.03 10:06:49.827 | emilio_ito |  | 0 | PKV
ACK Low | 2024.07.01 11:16:07.947 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault | 2024.07.03 08:10:20.867 | emilio_ito |  | 0 | AZC
ACK Low | 2024.07.01 09:21:24.284 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access | 2024.07.01 09:56:02.655 | kasturi_jathar |  | 0 | ARN
ACK Low | 2024.07.01 09:19:07.331 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault | 2024.07.03 10:08:55.884 | emilio_ito |  | 0 | PKV
ACK Low | 2024.07.01 09:19:07.236 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.07.03 10:08:55.884 | emilio_ito |  | 0 | PKV
ACK Low | 2024.07.01 09:19:05.146 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault | 2024.07.03 08:08:57.520 | emilio_ito |  | 0 | PKV
ACK Low | 2024.07.01 09:17:44.285 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped.(brake mechanism fault) | 2024.07.02 14:56:55.649 | chris_lawson |  | 0 | AZC
ACK Low | 2024.07.01 09:16:23.470 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD isolated | 2024.07.01 09:17:51.240 | kasturi_jathar |  | 0 | ARN