## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.07.09 10:06:11.592 | PKV-E-PSD-019 | Parkville Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 09:51:41.602 | PKV-E-PSD-018 | Parkville Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 09:44:21.596 | PKV-E-PSD-017 | Parkville Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 09:36:23.594 | PKV-E-PSD-016 | Parkville Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 09:30:01.592 | PKV-E-PSD-015 | Parkville Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 09:16:35.592 | PKV-E-PSD-014 | Parkville Platform 2 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 09:03:21.597 | PKV-E-PSD-013 | Parkville Platform 2 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 08:54:19.596 | PKV-E-PSD-012 | Parkville Platform 2 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 08:49:35.593 | PKV-W-PSD-010 | Parkville Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 08:49:35.593 | PKV-W-PSD-011 | Parkville Platform 1 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 08:49:35.593 | PKV-W-PSD-012 | Parkville Platform 1 Zone 2 PSD 12 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 08:49:35.593 | PKV-W-PSD-013 | Parkville Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 08:42:23.590 | PKV-E-PSD-011 | Parkville Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 08:24:07.597 | PKV-E-PSD-010 | Parkville Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 08:12:35.610 | PKV-E-EED-020 | Parkville Platform 2 Zone 2 EED 20 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 08:12:13.611 | PKV-E-DDX-001 | Parkville Platform 2 Zone 2 DD 01 | Driver Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.09 03:25:21.012 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.08 12:00:33.478 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.08 11:45:54.468 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.08 11:45:54.468 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.07 00:25:53.384 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.07 00:25:31.383 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.07 00:25:24.400 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.07 00:25:14.386 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.05 12:48:43.212 | PKV_ROL_RNERV_W | West Tunnel RNERV Roller Door | RNERV crane arm extended over tracks! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.05 12:35:44.398 | PKV-E-PSD-009 | Parkville Platform 2 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 12:23:30.393 | PKV-E-PSD-008 | Parkville Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 12:19:20.407 | PKV-E-EED-019 | Parkville Platform 2 Zone 1 EED 19 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 12:18:08.410 | PKV-E-EED-018 | Parkville Platform 2 Zone 1 EED 18 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 12:17:20.406 | PKV-E-EED-017 | Parkville Platform 2 Zone 1 EED 17 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 12:16:14.415 | PKV-E-EED-016 | Parkville Platform 2 Zone 1 EED 16 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 12:04:32.390 | PKV-E-PSD-007 | Parkville Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 11:56:46.415 | PKV-E-EED-015 | Parkville Platform 2 Zone 1 EED 15 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 11:56:16.415 | PKV-E-EED-014 | Parkville Platform 2 Zone 1 EED 14 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 11:54:54.413 | PKV-E-EED-013 | Parkville Platform 2 Zone 1 EED 13 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 11:43:44.415 | PKV-E-PSD-006 | Parkville Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 11:38:46.392 | PKV-W-PSD-027 | Parkville Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 11:27:24.389 | PKV-E-PSD-002 | Parkville Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 11:21:16.396 | PKV-W-PSD-009 | Parkville Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 11:10:04.394 | PKV-E-PSD-003 | Parkville Platform 2 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 11:10:02.395 | PKV-W-PSD-008 | Parkville Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 10:54:18.391 | PKV-W-PSD-007 | Parkville Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 10:54:10.409 | PKV-E-EED-006 | Parkville Platform 2 Zone 1 EED 06 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 10:52:12.410 | PKV-E-EED-007 | Parkville Platform 2 Zone 1 EED 07 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 10:50:06.407 | PKV-E-EED-008 | Parkville Platform 2 Zone 1 EED 08 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:39:14.400 | TSC-E-PSD-026 | Town Hall Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:37:26.393 | TSC-E-PSD-025 | Town Hall Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:35:42.390 | TSC-E-PSD-024 | Town Hall Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:33:44.392 | TSC-E-PSD-023 | Town Hall Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:31:58.397 | TSC-E-PSD-022 | Town Hall Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:31:16.389 | PKV-W-PSD-006 | Parkville Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:29:36.397 | TSC-E-PSD-021 | Town Hall Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:27:08.396 | PKV-E-PSD-004 | Parkville Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:26:24.392 | TSC-E-PSD-008 | Town Hall Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:22:00.395 | TSC-E-PSD-006 | Town Hall Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:19:52.414 | PKV-E-EED-009 | Parkville Platform 2 Zone 1 EED 09 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:19:26.397 | TSC-E-PSD-005 | Town Hall Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:18:38.412 | PKV-E-EED-010 | Parkville Platform 2 Zone 1 EED 10 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:16:36.414 | PKV-E-EED-011 | Parkville Platform 2 Zone 1 EED 11 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:15:18.415 | PKV-E-EED-012 | Parkville Platform 2 Zone 1 EED 12 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:15:16.392 | TSC-E-PSD-004 | Town Hall Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:13:48.411 | PKV-W-EED-034 | Parkville Platform 1 Zone 3 EED 34 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:12:24.411 | PKV-W-EED-033 | Parkville Platform 1 Zone 3 EED 33 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:11:42.397 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:09:00.394 | TSC-W-PSD-029 | Town Hall Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:08:16.413 | PKV-W-EED-032 | Parkville Platform 1 Zone 3 EED 32 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:06:44.394 | TSC-W-PSD-028 | Town Hall Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:05:30.391 | PKV-E-PSD-005 | Parkville Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:04:32.412 | PKV-W-EED-031 | Parkville Platform 1 Zone 3 EED 31 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:04:20.397 | TSC-W-PSD-027 | Town Hall Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 09:02:20.410 | PKV-W-EED-030 | Parkville Platform 1 Zone 3 EED 30 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 09:00:14.392 | TSC-W-PSD-026 | Town Hall Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 08:58:04.392 | TSC-W-PSD-025 | Town Hall Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 08:55:18.392 | TSC-W-PSD-024 | Town Hall Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 08:41:06.393 | TSC-W-PSD-022 | Town Hall Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 08:38:42.393 | TSC-W-PSD-021 | Town Hall Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.05 08:22:04.389 | PKV-W-PSD-003 | Parkville Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 08:21:42.394 | PKV-E-PSD-001 | Parkville Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 08:15:30.411 | PKV-E-EED-005 | Parkville Platform 2 Zone 1 EED 05 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 08:14:00.411 | PKV-E-EED-004 | Parkville Platform 2 Zone 1 EED 04 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 08:12:26.409 | PKV-E-EED-003 | Parkville Platform 2 Zone 1 EED 03 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 08:11:04.416 | PKV-E-EED-002 | Parkville Platform 2 Zone 1 EED 02 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.05 08:02:52.407 | PKV-E-EED-001 | Parkville Platform 2 Zone 1 EED 01 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 14:18:28.394 | PKV-W-EED-019 | Parkville Platform 1 Zone 1 EED 19 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 14:16:48.394 | PKV-W-EED-018 | Parkville Platform 1 Zone 1 EED 18 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 14:15:18.394 | PKV-W-EED-017 | Parkville Platform 1 Zone 1 EED 17 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 14:12:26.399 | PKV-W-EED-016 | Parkville Platform 1 Zone 1 EED 16 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 14:09:38.402 | PKV-W-EED-015 | Parkville Platform 1 Zone 1 EED 15 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 14:07:54.402 | PKV-W-EED-014 | Parkville Platform 1 Zone 1 EED 14 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 14:06:46.399 | PKV-W-EED-013 | Parkville Platform 1 Zone 1 EED 13 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 14:04:00.400 | PKV-W-EED-012 | Parkville Platform 1 Zone 1 EED 12 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 14:02:50.397 | PKV-W-EED-011 | Parkville Platform 1 Zone 1 EED 11 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:37:00.397 | PKV-E-EED-032 | Parkville Platform 2 Zone 3 EED 32 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:36:02.397 | PKV-E-EED-033 | Parkville Platform 2 Zone 3 EED 33 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:35:22.396 | PKV-E-EED-034 | Parkville Platform 2 Zone 3 EED 34 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:34:56.402 | PKV-E-EED-035 | Parkville Platform 2 Zone 3 EED 35 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:22:18.386 | PKV-W-PSD-030 | Parkville Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:15:44.402 | PKV-W-EED-040 | Parkville Platform 1 Zone 3 EED 40 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:14:48.401 | PKV-W-EED-039 | Parkville Platform 1 Zone 3 EED 39 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:13:46.394 | PKV-W-EED-038 | Parkville Platform 1 Zone 3 EED 38 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:12:38.400 | PKV-W-EED-036 | Parkville Platform 1 Zone 3 EED 36 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:08:00.399 | PKV-W-EED-037 | Parkville Platform 1 Zone 3 EED 37 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 13:05:12.383 | PKV-E-PSD-022 | Parkville Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 12:51:38.379 | PKV-W-PSD-029 | Parkville Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 12:50:54.380 | PKV-E-PSD-023 | Parkville Platform 2 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 12:40:46.400 | PKV-W-EED-029 | Parkville Platform 1 Zone 3 EED 29 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 12:38:32.402 | PKV-W-EED-035 | Parkville Platform 1 Zone 3 EED 35 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 12:36:48.403 | PKV-E-EED-022 | Parkville Platform 2 Zone 3 EED 22 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 12:22:14.401 | PKV-E-EED-024 | Parkville Platform 2 Zone 3 EED 24 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 12:21:36.405 | PKV-E-EED-025 | Parkville Platform 2 Zone 3 EED 25 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 12:16:08.385 | PKV-E-PSD-024 | Parkville Platform 2 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 12:12:54.381 | PKV-W-PSD-028 | Parkville Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 12:04:58.398 | PKV-E-EED-026 | Parkville Platform 2 Zone 3 EED 26 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:59:00.395 | PKV-E-EED-027 | Parkville Platform 2 Zone 3 EED 27 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:58:04.397 | PKV-E-EED-028 | Parkville Platform 2 Zone 3 EED 28 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:54:20.381 | PKV-W-PSD-026 | Parkville Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:45:38.386 | PKV-E-PSD-025 | Parkville Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:38:06.407 | DMA-W-EED-014 | Anzac Platform 1 Zone 1 EED 14 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.04 11:37:38.406 | DMA-W-EED-013 | Anzac Platform 1 Zone 1 EED 13 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.04 11:34:16.378 | PKV-W-PSD-025 | Parkville Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:30:26.403 | DMA-W-EED-001 | Anzac Platform 1 Zone 1 EED 01 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.04 11:27:28.381 | PKV-E-PSD-026 | Parkville Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:23:32.412 | DMA-E-EED-039 | Anzac Platform 2 Zone 3 EED 39 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.04 11:23:30.395 | PKV-W-EED-028 | Parkville Platform 1 Zone 3 EED 28 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:20:42.394 | PKV-W-EED-027 | Parkville Platform 1 Zone 3 EED 27 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:18:34.407 | DMA-E-EED-023 | Anzac Platform 2 Zone 3 EED 23 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.04 11:18:34.407 | DMA-E-EED-022 | Anzac Platform 2 Zone 3 EED 22 | EED Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.04 11:15:12.403 | PKV-W-EED-026 | Parkville Platform 1 Zone 3 EED 26 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:15:06.401 | PKV-E-EED-029 | Parkville Platform 2 Zone 3 EED 29 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:14:46.402 | PKV-E-EED-030 | Parkville Platform 2 Zone 3 EED 30 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 11:00:58.392 | DMA-E-PSD-005 | Anzac Platform 2 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.04 10:53:36.394 | DMA-E-PSD-010 | Anzac Platform 2 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.04 09:59:24.405 | PKV-E-EED-031 | Parkville Platform 2 Zone 3 EED 31 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:46:26.382 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:39:04.398 | PKV-W-EED-024 | Parkville Platform 1 Zone 3 EED 24 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:35:18.384 | PKV-E-PSD-029 | Parkville Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:34:58.397 | PKV-W-EED-023 | Parkville Platform 1 Zone 3 EED 23 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:31:24.397 | PKV-W-EED-025 | Parkville Platform 1 Zone 3 EED 25 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:26:06.403 | PKV-W-EED-022 | Parkville Platform 1 Zone 3 EED 22 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 09:05:36.382 | PKV-W-PSD-023 | Parkville Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:54:20.381 | PKV-E-PSD-030 | Parkville Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:52:14.399 | PKV-W-DDX-002 | Parkville Platform 1 Zone 2 DD 02 | Driver Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:47:40.399 | PKV-E-EED-036 | Parkville Platform 2 Zone 3 EED 36 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:45:44.397 | PKV-W-EED-021 | Parkville Platform 1 Zone 2 EED 21 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:45:28.398 | PKV-E-EED-037 | Parkville Platform 2 Zone 3 EED 37 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:43:52.398 | PKV-E-EED-038 | Parkville Platform 2 Zone 3 EED 38 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:42:02.405 | PKV-E-EED-039 | Parkville Platform 2 Zone 3 EED 39 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:35:58.404 | PKV-E-EED-040 | Parkville Platform 2 Zone 3 EED 40 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:19:18.382 | PKV-W-PSD-022 | Parkville Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.04 08:01:20.378 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 14:28:28.379 | PKV-W-PSD-021 | Parkville Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 13:48:10.378 | PKV-W-PSD-020 | Parkville Platform 1 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 13:43:00.379 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 13:20:18.380 | PKV-W-PSD-019 | Parkville Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 12:50:16.397 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 12:50:16.378 | PKV-W-PSD-018 | Parkville Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 12:38:08.418 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 12:38:08.397 | PKV-E-EED-023 | Parkville Platform 2 Zone 3 EED 23 | EED Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 12:07:08.381 | PKV-W-PSD-017 | Parkville Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 09:45:08.377 | PKV-W-PSD-016 | Parkville Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 09:07:54.379 | PKV-W-PSD-015 | Parkville Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 08:09:48.386 | PKV-W-PSD-014 | Parkville Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.03 08:06:44.383 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.02 14:57:46.379 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.02 14:57:28.403 | PKV-W-PSD-005 | Parkville Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.02 09:12:31.977 | TNC-E-EED-021 | State Library Platform 2 Zone 2 EED 21 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 14:16:13.974 | TNC-W-EED-033 | State Library Platform 1 Zone 3 EED 33 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:45:21.969 | TNC-E-EED-008 | State Library Platform 2 Zone 1 EED 08 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:32:43.957 | TNC-E-PSD-030 | State Library Platform 2 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:28:23.954 | TNC-E-PSD-028 | State Library Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:26:17.958 | TNC-E-PSD-027 | State Library Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:23:57.951 | TNC-E-PSD-026 | State Library Platform 2 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 12:01:35.955 | TNC-E-PSD-019 | State Library Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:58:57.953 | TNC-E-PSD-018 | State Library Platform 2 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:57:37.952 | TNC-W-PSD-014 | State Library Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:56:11.950 | TNC-E-PSD-017 | State Library Platform 2 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:53:29.956 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:51:07.957 | TNC-E-PSD-015 | State Library Platform 2 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:48:03.955 | TNC-E-PSD-008 | State Library Platform 2 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:46:11.948 | TNC-E-PSD-007 | State Library Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:44:03.955 | TNC-E-PSD-006 | State Library Platform 2 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:43:57.950 | TNC-W-PSD-013 | State Library Platform 1 Zone 2 PSD 13 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:41:15.948 | TNC-E-PSD-004 | State Library Platform 2 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:26:13.947 | TNC-W-PSD-029 | State Library Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:23:43.948 | TNC-W-PSD-028 | State Library Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:20:03.954 | TNC-W-PSD-027 | State Library Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:17:19.953 | TNC-W-PSD-026 | State Library Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:15:09.952 | TNC-W-PSD-025 | State Library Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:12:09.949 | TNC-W-PSD-019 | State Library Platform 1 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:10:13.948 | TNC-W-PSD-018 | State Library Platform 1 Zone 2 PSD 18 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:07:38.921 | DMA-E-PSD-028 | Anzac Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 11:06:45.950 | TNC-W-PSD-017 | State Library Platform 1 Zone 2 PSD 17 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:04:41.949 | TNC-W-PSD-016 | State Library Platform 1 Zone 2 PSD 16 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 11:02:11.948 | TNC-W-PSD-015 | State Library Platform 1 Zone 2 PSD 15 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:54:41.970 | TNC-E-EED-011 | State Library Platform 2 Zone 1 EED 11 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:49:25.952 | TNC-W-PSD-004 | State Library Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:31:45.950 | TNC-W-PSD-008 | State Library Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:28:05.980 | TNC-W-EED-004 | State Library Platform 1 Zone 1 EED 04 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:27:52.077 | TNC-W-EED-005 | State Library Platform 1 Zone 1 EED 05 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:21:37.963 | TNC-W-PSD-007 | State Library Platform 1 Zone 1 PSD 07 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:03:34.982 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 10:03:28.186 | TSC-W-PSD-023 | Town Hall Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 10:03:27.263 | TSC-E-PSD-019 | Town Hall Platform 2 Zone 2 PSD 19 | PSD Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 10:03:14.765 | TNC-W-PSD-009 | State Library Platform 1 Zone 1 PSD 09 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 10:03:14.725 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:52:04.815 | SDU_STP_0401_02_DS | Stormwater Pump - Duty Selection | Risk of track flooding! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:22:42.175 | TNC-W-PSD-006 | State Library Platform 1 Zone 1 PSD 06 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:21:33.505 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.443 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.382 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.328 | SYP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.262 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.199 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.130 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:21:33.076 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.07.01 09:20:03.295 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 09:20:03.279 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 09:19:33.096 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:19:33.082 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:19:25.388 | DMA-W-PED-002 | Anzac Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:19:25.373 | DMA-E-PED-002 | Anzac Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:18:42.231 | TNC-W-PSD-005 | State Library Platform 1 Zone 1 PSD 05 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:34.607 | TNC-W-EED-028 | State Library Platform 1 Zone 3 EED 28 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:34.479 | TNC-W-EED-024 | State Library Platform 1 Zone 3 EED 24 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:33.934 | TNC-W-DDX-001 | State Library Platform 1 Zone 2 DD 01 | Driver Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:16.380 | TNC-W-EED-037 | State Library Platform 1 Zone 3 EED 37 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:16.084 | TNC-W-EED-027 | State Library Platform 1 Zone 3 EED 27 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:14.924 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 09:17:14.903 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.07.01 09:17:13.117 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:13.101 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:11.076 | DMA-W-PED-001 | Anzac Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:17:11.062 | DMA-E-PED-001 | Anzac Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:17:01.352 | TNC-W-EED-036 | State Library Platform 1 Zone 3 EED 36 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:17:01.055 | TNC-W-EED-026 | State Library Platform 1 Zone 3 EED 26 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:44.713 | TNC-W-PSD-030 | State Library Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:39.972 | TNC-W-PSD-021 | State Library Platform 1 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:34.010 | TNC-W-PSD-010 | State Library Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:28.866 | TNC-W-PSD-001 | State Library Platform 1 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:27.761 | TNC-E-PSD-029 | State Library Platform 2 Zone 3 PSD 29 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:23.400 | TNC-E-PSD-021 | State Library Platform 2 Zone 2 PSD 21 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:22.815 | TNC-E-PSD-020 | State Library Platform 2 Zone 2 PSD 20 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:18.051 | TNC-E-PSD-011 | State Library Platform 2 Zone 2 PSD 11 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:16:12.787 | TNC-E-PSD-001 | State Library Platform 2 Zone 1 PSD 01 | PSD Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:15:58.473 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.01 09:15:58.010 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.01 09:15:57.545 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.07.01 09:15:55.631 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:15:55.052 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:15:54.477 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.07.01 09:15:36.667 | TNC-W-EED-025 | State Library Platform 1 Zone 3 EED 25 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK High | 2024.07.01 09:15:36.519 | TNC-W-EED-020 | State Library Platform 1 Zone 2 EED 20 | EED Unscheduled Door Opening! |  |  |  | 0 | STL
CAME UNACK Med | 2024.07.09 04:16:08.403 | DMA-S-STN | Anzac Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | AZC
CAME UNACK Med | 2024.07.08 12:00:33.478 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.07 00:25:31.383 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.07 00:25:14.386 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.05 22:41:50.597 | TNC-E-PSD-013 | State Library Platform 2 Zone 2 PSD 13 | Door control unit communication lost |  |  |  | 0 | STL
CAME UNACK Med | 2024.07.05 22:41:50.595 | TNC-E-PSD-007 | State Library Platform 2 Zone 1 PSD 07 | Door control unit communication lost |  |  |  | 0 | STL
CAME UNACK Med | 2024.07.05 22:41:50.594 | TNC-E-PSD-004 | State Library Platform 2 Zone 1 PSD 04 | Door control unit communication lost |  |  |  | 0 | STL
CAME UNACK Med | 2024.07.04 12:21:48.402 | TSC-W-PSD-007 | Town Hall Platform 1 Zone 1 PSD 07 | Door control unit communication lost |  |  |  | 0 | THL
CAME UNACK Med | 2024.07.03 11:16:56.787 | SKP-PLC-0001 | South Kensington PLC | TIAS PLC power supply fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.03 10:58:18.780 | SKP-PLC-0001 | South Kensington PLC | PLC system fault |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 10:03:34.786 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 10:03:27.140 | TSC-FIP-0001 | Town Hall Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | THL
CAME UNACK Med | 2024.07.01 10:03:14.603 | TNC-FIP-0001 | State Library Station FDCIE Panel | No modbus server/gateway connection |  |  |  | 0 | STL
CAME UNACK Med | 2024.07.01 10:03:05.625 | WPZ-FIP-0001 | Western Portal Main Fire Panel | No modbus server/gateway connection |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 09:17:20.334 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 09:17:20.323 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 09:17:20.284 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.07.01 09:17:11.867 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.07.01 09:15:39.683 | TSC-S-STN | Town Hall Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | THL
CAME UNACK Low | 2024.07.09 10:03:51.971 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.476 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.476 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.476 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.472 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.472 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.472 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.472 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.472 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.472 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.472 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.472 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.462 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 08:45:27.462 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 07:51:31.471 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 06:55:07.800 | PKV_DOR_B3_PKV-S-03_3 | Security Door (B3 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.09 04:54:14.505 | _ReduManager | Distributed Server 1 | Server 1 - Set active automatically |  |  |  | 0 | ARN
CAME UNACK Low | 2024.07.09 04:16:08.809 | DMA-SPE-0183 | B1, DMA-SPE-0183 OTE EXH.FAN EAST 831-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.09 04:16:08.809 | DMA-SPE-0184 | B1, DMA-SPE-0184 OTE EXH.FAN EAST 831-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.06 12:40:27.057 | PKV_DOR_B3_151-18_1 | Security Door (B3 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.05 12:22:24.024 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.05 11:53:56.037 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.05 11:16:34.870 | PDM_LFT_0001 | Lift 1 BOH (B2 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.05 10:37:48.088 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.05 09:54:14.093 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.05 08:33:05.594 | PDM_DOR_E_1 | PDM East Tunnel Door 1 | Unauthorised access |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.05 06:02:28.043 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.05 06:02:28.043 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.04 15:27:51.965 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 15:13:58.961 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 14:46:52.992 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 14:29:14.948 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 13:56:41.956 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 13:56:25.955 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 13:41:11.964 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 12:29:21.971 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 11:48:50.728 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 11:22:53.145 | PKV_DOR_B2_405-5_1 | Security Door (B2 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:50:34.741 | PKV_DOR_B2_PKV-S-02_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:34.828 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.04 08:27:31.821 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator fire response isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.03 12:39:13.000 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.03 11:16:56.787 | SKP-PSU-1027 | PLC 24V Power supply 2 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.03 10:58:18.780 | SKP-PSU-1026 | PLC 24V Power supply 1 alarm | PLC Power Supply fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.03 07:40:18.874 | PKV_DOR_B4_PKV-S-02_4 | Security Door (B4 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 12:28:05.955 | TNC-E-PSD-027 | State Library Platform 2 Zone 3 PSD 27 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.07.01 12:19:57.952 | TNC-E-PSD-025 | State Library Platform 2 Zone 3 PSD 25 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.07.01 11:54:55.952 | TNC-E-PSD-016 | State Library Platform 2 Zone 2 PSD 16 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.07.01 11:07:38.428 | DMA-E-PSD-028 | Anzac Platform 2 Zone 3 PSD 28 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 11:07:38.412 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:21:31.655 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:31.631 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:31.581 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:31.541 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:31.516 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:31.490 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.07.01 09:21:24.940 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:18.288 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:18.196 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:18.049 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:17.957 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:17.811 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:17.720 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:17.574 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:17.483 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:19:08.583 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:08.148 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:19:07.911 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.07.01 09:16:53.278 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.07.01 09:16:33.114 | TNC-W-PSD-009 | State Library Platform 1 Zone 1 PSD 09 | PSD isolated |  |  |  | 0 | STL
CAME UNACK Low | 2024.07.01 09:16:13.115 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
WENT UNACK Low | 2024.07.09 10:09:50.028 | PKV_DOR_B1_PKV-S-02_1 | Security Door (B1 EAST) | Unauthorised access |  |  | 2024.07.09 10:09:55.349 | 0 | PKV
ACK High | 2024.07.03 12:58:12.037 | AEN-W-PSD-023 | Arden Platform 1 Zone 3 PSD 23 | PSD Unscheduled Door Opening! | 2024.07.03 12:58:50.384 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.03 07:30:34.041 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.07.03 09:35:33.890 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.03 07:23:06.038 | AEN-W-PSD-014 | Arden Platform 1 Zone 2 PSD 14 | PSD Unscheduled Door Opening! | 2024.07.03 09:35:35.768 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.02 15:58:26.042 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.07.03 09:35:38.079 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.02 13:38:24.045 | AEN-E-PSD-007 | Arden Platform 2 Zone 1 PSD 07 | PSD Unscheduled Door Opening! | 2024.07.02 13:38:34.384 | leanne_schwabe |  | 0 | ARN
ACK High | 2024.07.02 12:33:32.038 | AEN-E-PSD-002 | Arden Platform 2 Zone 1 PSD 02 | PSD Unscheduled Door Opening! | 2024.07.02 12:50:17.513 | leanne_schwabe |  | 0 | ARN
ACK High | 2024.07.01 15:56:46.062 | AEN-E-PSD-022 | Arden Platform 2 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2024.07.01 15:56:52.438 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 10:03:05.753 | AEN-W-PSD-008 | Arden Platform 1 Zone 1 PSD 08 | PSD Unscheduled Door Opening! | 2024.07.01 10:03:16.664 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:18:48.149 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! | 2024.07.01 09:54:30.500 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:17:00.497 | AEN-W-PED-001 | Arden Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! | 2024.07.01 09:18:24.347 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:32.455 | AEN-W-PSD-029 | Arden Platform 1 Zone 3 PSD 29 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:48.753 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:32.003 | AEN-W-PSD-028 | Arden Platform 1 Zone 3 PSD 28 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:42.617 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:31.559 | AEN-W-PSD-027 | Arden Platform 1 Zone 3 PSD 27 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:44.354 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:31.110 | AEN-W-PSD-026 | Arden Platform 1 Zone 3 PSD 26 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:45.899 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:30.659 | AEN-W-PSD-025 | Arden Platform 1 Zone 3 PSD 25 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:47.440 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:30.213 | AEN-W-PSD-024 | Arden Platform 1 Zone 3 PSD 24 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:18.626 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.07.01 09:16:29.270 | AEN-W-PSD-022 | Arden Platform 1 Zone 3 PSD 22 | PSD Unscheduled Door Opening! | 2024.07.01 09:18:16.043 | kasturi_jathar |  | 0 | ARN
ACK High | 2024.05.20 08:23:30.503 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.05.20 15:17:54.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded | 2024.05.20 15:17:59.449 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.07.04 09:23:18.484 | DMA-FIP-0001 | Anzac Station FDCIE Panel | No modbus server/gateway connection | 2024.07.05 07:22:10.649 | emilio_ito |  | 0 | AZC
ACK Med | 2024.07.01 10:19:33.015 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | THL
ACK Med | 2024.07.01 10:19:33.013 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | THL
ACK Med | 2024.07.01 10:19:33.010 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | THL
ACK Med | 2024.07.01 10:19:33.008 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | THL
ACK Med | 2024.07.01 10:19:33.006 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.07.01 10:19:33.003 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.07.01 10:19:33.001 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.07.01 10:19:32.999 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.07.01 10:19:32.948 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | THL
ACK Med | 2024.07.01 10:19:32.922 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.07.01 10:03:05.482 | AEN-FIP-0001 | Arden Main Fire Panel | No modbus server/gateway connection | 2024.07.03 13:44:34.706 | kasturi_jathar |  | 0 | ARN
ACK Med | 2024.07.01 09:16:56.910 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable | 2024.07.04 09:19:50.005 | kai_longley |  | 0 | SDU
ACK Med | 2024.07.01 09:16:56.892 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable | 2024.07.04 09:19:50.005 | kai_longley |  | 0 | SDU
ACK Med | 2024.06.03 10:50:15.741 | _Driver1_2 | Anzac Server 2 | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.25 13:27:25.359 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.06.03 10:49:53.704 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2024.07.08 10:36:22.046 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.03 10:49:53.699 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.07.08 10:36:22.046 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.03 10:49:53.694 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.07.08 10:36:22.046 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:49:52.198 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.07.08 10:36:22.046 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.03 10:49:52.195 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.07.08 10:36:22.046 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.03 10:49:52.192 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2024.07.08 10:36:22.046 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.06.03 10:49:38.107 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Communications Fault - State Library Server 2 to State Library TVCS PLC | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:49:38.099 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Communications Fault - State Library Server 1 to State Library TVCS PLC | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | STL
ACK Med | 2024.06.03 10:49:36.241 | _TNC-FDS-S7PLUS_2 | MTSTL:_TNC-FDS-S7PLUS_2. | Communications Fault - State Library Server 2 to State Library FDS PLC | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:49:36.239 | _TNC-FDS-S7PLUS | MTSTL:_TNC-FDS-S7PLUS. | Communications Fault - State Library Server 1 to State Library FDS PLC | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | STL
ACK Med | 2024.06.03 10:49:36.238 | _TNC-BMS-PLC3_2 | MTSTL:_TNC-BMS-PLC3_2. | Communications Fault - State Library Server 2 to State Library BMS Gateway PLC | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:49:36.236 | _TNC-BMS-PLC3 | MTSTL:_TNC-BMS-PLC3. | Communications Fault - State Library Server 1 to State Library BMS Gateway PLC | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | STL
ACK Med | 2024.06.03 10:49:36.234 | _TNC-BMS-PLC_2 | MTSTL:_TNC-BMS-PLC_2. | Communications Fault - State Library Server 2 to State Library BMS PLC | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:49:36.232 | _TNC-BMS-PLC | MTSTL:_TNC-BMS-PLC. | Communications Fault - State Library Server 1 to State Library BMS PLC | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | STL
ACK Med | 2024.06.03 10:49:34.970 | _Mod_Plc_4_2 | MTSTL:_Mod_Plc_4_2. | Communications Fault - State Library Server 2 to State Library EWIS | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:49:34.968 | _Mod_Plc_4 | MTSTL:_Mod_Plc_4. | Communications Fault - State Library Server 1 to State Library EWIS | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | STL
ACK Med | 2024.06.03 10:49:34.967 | _Mod_Plc_3_2 | MTSTL:_Mod_Plc_3_2. | Communications Fault - State Library Server 2 to State Library EWIS | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:49:34.964 | _Mod_Plc_3 | MTSTL:_Mod_Plc_3. | Communications Fault - State Library Server 1 to State Library EWIS | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | STL
ACK Med | 2024.06.03 10:49:34.962 | _Mod_Plc_2_2 | MTSTL:_Mod_Plc_2_2. | Communications Fault - State Library Server 2 to State Library FDS Gateway | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:49:34.960 | _Mod_Plc_2 | MTSTL:_Mod_Plc_2. | Communications Fault - State Library Server 1 to State Library FDS Gateway | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | THL
ACK Med | 2024.06.03 10:48:16.689 | _Driver1_2 | MTARD:_Driver1_2. | PSS2 S7 Driver 1 overloaded (TVCS PLC) | 2024.06.04 08:54:10.389 | sergio_paniagua |  | 0 | PKV
ACK Low | 2024.07.09 09:19:28.851 | AEN_DOR_B1_ESC_STAIRS_03_2 | Concourse west - back of house emergency stairs | Unauthorised access | 2024.07.09 09:22:12.555 | paul_moseley |  | 0 | ARN
ACK Low | 2024.07.09 08:43:47.966 | AEN_DOR_GF_405-2_1 | Ground floor east - emergency escape ramp | Unauthorised access | 2024.07.09 09:22:17.555 | paul_moseley |  | 0 | ARN
ACK Low | 2024.07.09 07:39:20.951 | AEN_DOR_GF_151-12_1 | Ground floor east - office stairs | Unauthorised access | 2024.07.09 09:22:21.366 | paul_moseley |  | 0 | ARN
ACK Low | 2024.07.09 05:51:40.841 | DMA-HTD-0112 | B1, DMA-HTD-0112 OP MALE STAFF LCK 221-1 | Heat or smoke detector fault | 2024.07.09 06:45:59.649 | emilio_ito |  | 0 | AZC
ACK Low | 2024.07.09 04:16:08.960 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault | 2024.07.09 06:45:55.649 | emilio_ito |  | 0 | AZC
ACK Low | 2024.07.08 10:56:27.201 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault | 2024.07.08 12:05:39.403 | kasturi_jathar |  | 0 | ARN
ACK Low | 2024.07.01 11:58:33.014 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault | 2024.07.03 10:06:49.827 | emilio_ito |  | 0 | PKV
ACK Low | 2024.07.01 11:58:13.013 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.07.03 10:06:49.827 | emilio_ito |  | 0 | PKV
ACK Low | 2024.07.01 10:19:32.956 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | THL
ACK Low | 2024.07.01 10:19:32.952 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.07.01 10:19:32.942 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | THL
ACK Low | 2024.07.01 10:19:32.938 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.07.08 10:36:11.001 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.07.01 09:21:24.284 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access | 2024.07.01 09:56:02.655 | kasturi_jathar |  | 0 | ARN
ACK Low | 2024.07.01 09:19:18.523 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault | 2024.07.09 06:46:27.699 | emilio_ito |  | 0 | AZC
ACK Low | 2024.07.01 09:19:18.432 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.07.09 06:46:27.699 | emilio_ito |  | 0 | AZC
ACK Low | 2024.07.01 09:19:07.236 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault | 2024.07.03 10:08:55.884 | emilio_ito |  | 0 | PKV
ACK Low | 2024.07.01 09:19:05.146 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault | 2024.07.03 08:08:57.520 | emilio_ito |  | 0 | PKV
ACK Low | 2024.07.01 09:17:44.285 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped.(brake mechanism fault) | 2024.07.02 14:56:55.649 | chris_lawson |  | 0 | AZC
ACK Low | 2024.06.03 10:49:38.104 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 2 | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:49:38.101 | _TNC-TVC-PLC_2 | MTSTL:_TNC-TVC-PLC_2. | Link Failure - State Library Server 2 to State Library TVCS CPU 1 | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | THL
ACK Low | 2024.06.03 10:49:38.095 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 2 | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | STL
ACK Low | 2024.06.03 10:49:38.091 | _TNC-TVC-PLC | MTSTL:_TNC-TVC-PLC. | Link Failure - State Library Server 1 to State Library TVCS CPU 1 | 2024.07.08 10:36:22.015 | eric_maddocks |  | 0 | STL