## Sheet1
Severity | Alarm Raised | Asset ID | Asset Name | Alarm Description | Acknowledged | By | Cleared | Comments | Location
CAME UNACK High | 2024.05.22 07:31:36.110 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | THL
CAME UNACK High | 2024.05.22 07:00:27.658 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  |  | 0 | ARN
CAME UNACK High | 2024.05.22 04:23:26.807 | SYP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.22 04:23:15.810 | SYP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.21 14:29:20.808 | SYP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.21 08:40:27.453 | PKV-Z-4352 | ZONE 4352: B2, PKV-AJ-01 Unallocated Area 299-5 | Smoke or heat detected - fire unconfirmed! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 14:42:37.566 | DMA_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 14:42:26.553 | DMA_OFN_0101_02_DS | Over Track Exhaust Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 11:41:01.441 | SKP-ZONE-0004 | Westbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:41:01.382 | SKP-ZONE-0003 | Westbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:41:01.316 | SKP-ZONE-0002 | Eastbound Detection Zone 2 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:41:01.264 | SKP-ZONE-0001 | Eastbound Detection Zone 1 | TIAS activated! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:39:46.730 | DMA_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:39:46.626 | DMA_SSX_0001 | TVCS Shaft Smoke Detection System 01 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:37:21.333 | PKV_SSX_0002 | TVCS Shaft Smoke Detection System 02 | Shaft smoke detection unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:36:37.323 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 11:36:32.084 | DMA-E-PSD-028 | Anzac Platform 2 Zone 3 PSD 28 | PSD Unscheduled Door Opening! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 11:35:50.579 | DMA_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 11:35:49.862 | DMA_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | AZC
CAME UNACK High | 2024.05.20 11:35:47.957 | PKV_TFN_0201_03_DS | Tunnel Ventilation Fan 01 - East End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:35:47.478 | PKV_TFN_0101_03_DS | Tunnel Ventilation Fan 01 - West End - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:35:46.985 | PKV_OFN_0001_03_DS | Over Track Exhaust Fan 01 - Duty Selection | All fans inoperative! |  |  |  | 0 | PKV
CAME UNACK High | 2024.05.20 11:35:44.005 | AEN_TFN_0201_03_DS | Tunnel Ventilation Fan - East End - Duty Selection | Tunnel Section 03 Arden End - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:35:43.996 | AEN_TFN_0101_03_DS | Tunnel Ventilation Fan - West End - Duty Selection | Tunnel Section 01 - Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:35:43.989 | AEN_OFN_0201_02_DS | Over Track Exhaust Fan - East End - Duty Selection | Arden - East End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK High | 2024.05.20 11:35:43.980 | AEN_OFN_0101_02_DS | Over Track Exhaust Fan - West End - Duty Selection | Arden - West End Over Track Ventilation Unavailable! |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.22 07:33:14.844 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  |  | 0 | PKV
CAME UNACK Med | 2024.05.22 07:33:14.844 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  |  | 0 | PKV
CAME UNACK Med | 2024.05.22 07:01:27.658 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door alarm bypassed! |  |  |  | 0 | ARN
CAME UNACK Med | 2024.05.21 13:30:39.905 | PKV_FCU_0309_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  |  | 0 | PKV
CAME UNACK Med | 2024.05.20 14:42:37.566 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:38:23.007 | DMA_ModeSts | TVCS Mode Status - Domain Station S10 | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:37:01.190 | AEN_TSCComm | CBD South TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.05.20 11:37:01.179 | AEN_TNCComm | CBS North TVCS PLC | HCS/ATS communication fault |  |  |  | 0 | ARN
CAME UNACK Med | 2024.05.20 11:36:47.215 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Tunnel section ventilation unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:36:47.211 | PKV_ModeSts | TVCS Section 04 Parkville Station mode status | Over Track Exhaust Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:36:44.454 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Tunnel Section Ventilation (TVS) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:36:44.450 | AEN_ModeSts | TVCS Section 02 Arden Station mode status | Station Ventilation (OTE) Unavailable |  |  |  | 0 | SDU
CAME UNACK Med | 2024.05.20 11:35:57.887 | DMA-FIP-0004 | Anzac Station SHCIE Panel 4 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.20 11:35:57.455 | DMA-FIP-0003 | Anzac Station SHCIE Panel 3 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.20 11:35:57.031 | DMA-FIP-0002 | Anzac Station SHCIE Panel 2 | Power supply to gas supression panel fault |  |  |  | 0 | AZC
CAME UNACK Med | 2024.05.20 11:35:27.847 | PKV-S-STN | Parkville Station PSD System | PSD lost connection to signalling system! |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.22 07:25:56.181 | DMA-SPE-0726 | B1, DMA-SPE-0726 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.181 | DMA-SPE-0727 | B1, DMA-SPE-0727 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.181 | DMA-SPE-0728 | B1, DMA-SPE-0728 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.181 | DMA-SPE-0729 | B1, DMA-SPE-0729 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.181 | DMA-SPE-0730 | B1, DMA-SPE-0730 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.181 | DMA-SPE-0731 | B1, DMA-SPE-0731 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.131 | DMA-SPE-0432 | B1, DMA-SPE-0432 HV RISER 620-3 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.131 | DMA-SPE-0433 | B1, DMA-SPE-0433 LV RISER 660-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.131 | DMA-SPE-0593 | B1, DMA-SPE-0593 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.130 | DMA-SPE-0224 | B1, DMA-SPE-0224 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.130 | DMA-SPE-0226 | B1, DMA-SPE-0226 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.130 | DMA-SPE-0227 | B1, DMA-SPE-0227 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.130 | DMA-SPE-0345 | B1, DMA-SPE-0345 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.130 | DMA-SPE-0431 | B1, DMA-SPE-0431 HV RISER 620-2 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.080 | DMA-SPE-0188 | B1, DMA-SPE-0188 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.080 | DMA-SPE-0189 | B1, DMA-SPE-0189 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.080 | DMA-SPE-0191 | B1, DMA-SPE-0191 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.080 | DMA-SPE-0223 | B1, DMA-SPE-0223 GOODS LIFT LOBBY 402-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:56.079 | DMA-SPE-0187 | B1, DMA-SPE-0187 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:55.824 | DMA-IVM-0013 | B1, DMA-IVM-0013 Hydrant M/V | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:55.824 | DMA-IVM-0023 | B1, DMA-IVM-0023 Hydrant M/V | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:55.824 | DMA-IVM-0024 | B1, DMA-IVM-0024 Hydrant M/V | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:55.824 | DMA-IVM-0025 | B1, DMA-IVM-0025 Tunnel Hyd.M/V | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:55.824 | DMA-IVM-0026 | B1, DMA-IVM-0026 Tunnel Hyd.M/V | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:52.914 | DMA-FLS-0012 | B2, DMA-FLS-0012 Sprinkler F/S | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:52.914 | DMA-FLS-0013 | B2, DMA-FLS-0013 BOH Platform Spr.F/S | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:52.914 | DMA-IVM-0006 | B1, DMA-IVM-0006 Hydrant M/V | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:25.878 | DMA-FPD-0017 | B1, DMA-FPD-0017 FCU-0109 LFT-03 S/A | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:25.878 | DMA-FPD-0018 | B1, DMA-FPD-0018 FCU-0110 LFT-03 S/A | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:23.809 | DMA-SPE-0674 | GF, DMA-SPE-0674 LIFT DMA-LT-0003 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:23.809 | DMA-IVM-0064 | B1, DMA-IVM-0064 Tunnel Hyd.M/V | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:25:23.808 | DMA-SPE-0666 | B1, DMA-SPE-0666 LIFT DMA-LT-0008 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 07:19:03.740 | AEN_TEXB | Tunnel Ambient Temperature Control - Westbound | Temperature Sensors B - Discrepancy |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.22 07:03:09.904 | DMA-SPE-0225 | B1, DMA-SPE-0225 FIRE ESCAPE C'DOR 405-1 | Heat or smoke detector fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.22 01:43:21.386 | PKV_DOR_B4_PKV-S-01_1 | Security Door (B4 WEST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.22 00:06:49.448 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift monitoring lost |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:43:35.434 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:43:35.434 | DMA_LFT_0008 | Lift 8 BOH (B2 Basement to B1 Basement) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:42:19.437 | DMA_LFT_0003 | Lift 3 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:40:05.434 | DMA_LFT_0001 | Lift 1 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:40:05.434 | DMA_LFT_0002 | Lift 2 FOH (B2 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:39:03.452 | DMA_FCU_1123_24_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:45.431 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:45.431 | DMA_LFT_0005 | Lift 5 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.801 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.801 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.801 | DMA_ESC_0007 | Escalator 7 Bank 5 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.801 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.801 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.801 | DMA_ESC_0010 | Escalator 10 Bank 6 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.801 | DMA_ESC_0011 | Escalator 11 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.801 | DMA_ESC_0012 | Escalator 12 Bank 7 (B1 Basement to GF Gound Floor) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.800 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.800 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.800 | DMA_ESC_0003 | Escalator 3 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:38:12.800 | DMA_ESC_0004 | Escalator 4 Bank 3 (B2 Basement to B1 Basement) | Escalator fire response isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 22:17:02.394 | DMA_LFT_0007 | Lift 7 BOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.21 17:00:48.082 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Unauthorised access |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.21 16:41:43.827 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.21 10:09:04.885 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.21 10:09:02.212 | _ReduManager | Distributed Server 1 | Server 1 - Preferred active |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.21 10:09:00.081 | AEN_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | ARN
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_94_1_14750 | Traction Section State Library Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_95_1_14753 | Traction Section State Library Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_96_1_14800 | Traction Section Town Hall to Anzac | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_97_1_14802 | Traction Section Town Hall to Anzac section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_98_1_14850 | Traction Section Anzac to South Yarra | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.012 | S_99_1_14851 | Traction Section Anzac to South yarra section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_88_1_14600 | Traction Section Footscray west to Arden | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_89_1_14603 | Traction Section Footscray west to Arden section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_90_1_14650 | Traction Section Arden Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_90_2_14651 | Traction Section Arden to Parkville | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_91_1_14652 | Traction Section Arden Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_91_2_14653 | Traction Section Arden to Parkville section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_92_1_14700 | Traction Section Parkville Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.011 | S_93_1_14702 | Traction Section Parkville Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:58:33.009 | essGeneral | ESS Overall health Status | ELECTROL SCADA System Timeout. All Traction Power State Unknown. |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 09:32:45.676 | EPZ-FIP-0001 | Eastern Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.21 08:39:39.856 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.21 08:32:16.871 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.21 07:46:35.826 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift monitoring lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:40:59.840 | S_97_2_14803 | Traction Section Anzac Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.814 | S_96_2_14801 | Traction Section Anzac Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.786 | S_95_3_14755 | Traction Section Town Hall Station section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.771 | S_95_2_14754 | Traction Section State Library to Town hall section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.746 | S_94_3_14752 | Traction Section Town Hall Station | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.732 | S_94_2_14751 | Traction Section State Library to Town Hall | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.703 | S_93_2_14703 | Traction Section Parkville to State Library section B | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:59.676 | S_92_2_14701 | Traction Section Parkville to State Library | Section Traction Power status Unknown |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:40:53.391 | PKV_DOR_B2_406-14_2 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:40:53.378 | PKV_DOR_B2_151-10_1 | Security Door (B2 EAST) | Unauthorised access |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:40:31.169 | WPZ-FIP-0001 | Western Portal Main Fire Panel | Fire panels in the station have a fault |  |  |  | 0 | SDU
CAME UNACK Low | 2024.05.20 11:39:52.026 | PKV-SPE-0018 | B1, PKV-SPE-0018 Gas Meter Room 944-1 | Heat or smoke detector fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:07.244 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:07.090 | PKV_LFT_0011 | Lift 11 BOH (B1 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:06.834 | PKV_LFT_0010 | Lift 10 BOH (B4 Basement to B1 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:06.572 | PKV_LFT_0009 | Lift 9 BOH (B3 Basement to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:06.422 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:06.268 | PKV_LFT_0008 | Lift 8 BOH (Platforms to B3 Basement) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:06.120 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.966 | PKV_LFT_0007 | Lift 7 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.814 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.661 | PKV_LFT_0006 | Lift 6 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.399 | PKV_LFT_0005 | Lift 5 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.252 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:05.097 | PKV_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:04.942 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:04.769 | PKV_LFT_0003 | Lift 3 FOH (Concourse to Ground Floor) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:04.621 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift safety feature fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:04.467 | PKV_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:04.208 | PKV_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:39:03.104 | PKV-FIP-0001 | Parkville Station FDCIE Panel | Fire panels in the station have a fault |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:49.465 | DMA_TEXA | Tunnel Ambient Temperature Control | Temperature Sensors A - Discrepancy |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:37:16.533 | PKV_ESC_0016 | Escalator 16 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:15.771 | PKV_ESC_0015 | Escalator 15 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:15.006 | PKV_ESC_0014 | Escalator 14 Bank 7 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:14.241 | PKV_ESC_0013 | Escalator 13 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:13.477 | PKV_ESC_0012 | Escalator 12 Bank 6 (Concourse to Ground Floor) | Escalator communications lost |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:37:01.467 | PKV_TEXB | Tunnel Ambient Temperature Control - Westbound | Tunnel B - Ambient Temperature Control Unavailable |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:36:36.736 | DMA-W-PSD-003 | Anzac Platform 1 Zone 1 PSD 03 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:36:31.515 | DMA-E-PSD-028 | Anzac Platform 2 Zone 3 PSD 28 | PSD isolated |  |  |  | 0 | AZC
CAME UNACK Low | 2024.05.20 11:36:22.801 | PKV-W-PSD-024 | Parkville Platform 1 Zone 3 PSD 24 | PSD isolated |  |  |  | 0 | PKV
CAME UNACK Low | 2024.05.20 11:36:00.710 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | Door status indicator fault |  |  |  | 0 | STL
CAME UNACK Low | 2024.05.20 11:36:00.473 | TNC-E-PSD-002 | State Library Platform 2 Zone 1 PSD 02 | PSD isolated |  |  |  | 0 | STL
WENT UNACK High | 2024.05.22 07:31:34.113 | TSC-W-PED-002 | Town Hall Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.05.22 07:31:38.113 | 0 | THL
WENT UNACK High | 2024.05.22 07:29:04.110 | TSC-W-LCP | Town Hall Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.05.22 07:29:08.111 | 0 | THL
WENT UNACK High | 2024.05.22 07:28:18.111 | TSC-E-LCP | Town Hall Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.05.22 07:28:22.113 | 0 | THL
WENT UNACK High | 2024.05.22 07:09:27.661 | AEN-E-LCP | Arden Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.05.22 07:09:33.657 | 0 | ARN
WENT UNACK High | 2024.05.22 07:05:29.658 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door opened! |  |  | 2024.05.22 07:06:45.657 | 0 | ARN
WENT UNACK High | 2024.05.22 07:00:27.659 | AEN-W-PED-002 | Arden Platform 1 PED 02 | Platform End Door opened! |  |  | 2024.05.22 07:01:21.660 | 0 | ARN
WENT UNACK High | 2024.05.22 06:57:29.670 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.22 07:08:49.678 | 0 | ARN
WENT UNACK High | 2024.05.22 06:52:23.655 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door opened! |  |  | 2024.05.22 06:52:31.663 | 0 | ARN
WENT UNACK High | 2024.05.22 06:52:23.654 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.22 07:08:49.678 | 0 | ARN
WENT UNACK High | 2024.05.22 00:01:03.457 | DMA_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.05.22 05:41:45.455 | 0 | AZC
WENT UNACK High | 2024.05.21 22:34:18.785 | DMA-Z-7431 | ZONE 7431: B1, DMA-BS-01 Escalator 11 (Bottom Pit) | Confirmed fire! |  |  | 2024.05.21 22:36:55.779 | 0 | AZC
WENT UNACK High | 2024.05.21 19:01:19.460 | DMA_TEP_0303_04_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.05.21 21:42:28.426 | 0 | AZC
WENT UNACK High | 2024.05.21 15:26:00.117 | TNC-W-LCP | State Library Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.05.21 15:26:10.117 | 0 | STL
WENT UNACK High | 2024.05.21 15:15:13.661 | AEN-W-LCP | Arden Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.05.21 15:15:23.661 | 0 | ARN
WENT UNACK High | 2024.05.21 15:07:32.033 | AEN_TEP_0301_02_DS | Tunnel Drainage Pump - Duty Selection | Risk of track flooding! |  |  | 2024.05.21 15:09:20.193 | 0 | ARN
WENT UNACK High | 2024.05.21 13:22:20.120 | TNC-E-LCP | State Library Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.05.21 13:22:36.120 | 0 | STL
WENT UNACK High | 2024.05.21 13:07:11.769 | PKV-W-LCP | Parkville Platform 1 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.05.21 13:07:23.764 | 0 | PKV
WENT UNACK High | 2024.05.21 13:06:23.766 | PKV-E-LCP | Parkville Platform 2 LCP | LCP Interlock Override keyswitch activated |  |  | 2024.05.21 13:06:31.771 | 0 | PKV
WENT UNACK High | 2024.05.20 11:39:51.547 | TSC-E-PED-002 | Town Hall Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 14:19:42.135 | 0 | THL
WENT UNACK High | 2024.05.20 11:39:16.818 | TNC-W-PED-002 | State Library Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 13:23:46.138 | 0 | STL
WENT UNACK High | 2024.05.20 11:39:16.804 | TNC-E-PED-002 | State Library Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 13:22:20.146 | 0 | STL
WENT UNACK High | 2024.05.20 11:39:11.392 | PKV-W-PED-002 | Parkville Platform 1 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 13:07:11.788 | 0 | PKV
WENT UNACK High | 2024.05.20 11:39:11.379 | PKV-E-PED-002 | Parkville Platform 2 PED 02 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 13:06:23.789 | 0 | PKV
WENT UNACK High | 2024.05.20 11:37:05.406 | TSC-W-PED-001 | Town Hall Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 14:20:44.131 | 0 | THL
WENT UNACK High | 2024.05.20 11:37:05.387 | TSC-E-PED-001 | Town Hall Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 14:19:42.135 | 0 | THL
WENT UNACK High | 2024.05.20 11:36:58.729 | TNC-W-PED-001 | State Library Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 13:23:46.138 | 0 | STL
WENT UNACK High | 2024.05.20 11:36:58.712 | TNC-E-PED-001 | State Library Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 13:22:20.146 | 0 | STL
WENT UNACK High | 2024.05.20 11:36:46.457 | PKV-W-PED-001 | Parkville Platform 1 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 13:07:11.788 | 0 | PKV
WENT UNACK High | 2024.05.20 11:36:46.444 | PKV-E-PED-001 | Parkville Platform 2 PED 01 | Platform End Door Unscheduled Door Opening! |  |  | 2024.05.21 13:06:23.789 | 0 | PKV
WENT UNACK High | 2024.05.20 11:36:31.964 | TSC-W-PSD-030 | Town Hall Platform 1 Zone 3 PSD 30 | PSD Unscheduled Door Opening! |  |  | 2024.05.21 14:20:44.138 | 0 | THL
WENT UNACK High | 2024.05.20 11:36:20.196 | TSC-W-PSD-010 | Town Hall Platform 1 Zone 2 PSD 10 | PSD Unscheduled Door Opening! |  |  | 2024.05.21 14:20:44.137 | 0 | THL
WENT UNACK High | 2024.05.20 11:36:13.988 | PKV-W-PSD-004 | Parkville Platform 1 Zone 1 PSD 04 | PSD Unscheduled Door Opening! |  |  | 2024.05.21 13:07:12.411 | 0 | PKV
WENT UNACK High | 2024.05.20 11:36:10.790 | PKV-E-PSD-027 | Parkville Platform 2 Zone 3 PSD 27 | PSD Unscheduled Door Opening! |  |  | 2024.05.21 13:06:24.408 | 0 | PKV
WENT UNACK Med | 2024.05.22 07:12:51.425 | DMA_ESC_0001 | Escalator 1 Bank 1 (B2 Basement to B1 Basement) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.22 07:13:05.423 | 0 | AZC
WENT UNACK Med | 2024.05.22 07:02:07.659 | AEN-E-PED-001 | Arden Platform 2 PED 01 | Platform End Door alarm bypassed! |  |  | 2024.05.22 07:10:59.659 | 0 | ARN
WENT UNACK Med | 2024.05.22 06:52:19.664 | AEN-E-PED-002 | Arden Platform 2 PED 02 | Platform End Door alarm bypassed! |  |  | 2024.05.22 07:01:07.660 | 0 | ARN
WENT UNACK Med | 2024.05.22 06:41:01.717 | AEN_ATSComm | RSG Modbus | HCS/ATS communication fault |  |  | 2024.05.22 06:41:03.732 | 0 | ARN
WENT UNACK Med | 2024.05.22 05:31:10.255 | AEN_FCU_0013_14_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.22 07:20:42.080 | 0 | ARN
WENT UNACK Med | 2024.05.22 05:15:48.732 | AEN_RSGComm | RSG Train Data Timestamp | HCS/ATS communication fault |  |  | 2024.05.22 05:15:50.693 | 0 | SDU
WENT UNACK Med | 2024.05.21 22:41:46.393 | DMA_ESC_0006 | Escalator 6 Bank 4 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 22:41:55.433 | 0 | AZC
WENT UNACK Med | 2024.05.21 22:40:26.390 | DMA_ESC_0005 | Escalator 5 Bank 3 (B2 Basement to B1 Basement) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 22:40:35.433 | 0 | AZC
WENT UNACK Med | 2024.05.21 22:39:56.392 | DMA_ESC_0002 | Escalator 2 Bank 2 (B2 Basement to B1 Basement) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 22:40:05.423 | 0 | AZC
WENT UNACK Med | 2024.05.21 22:39:06.392 | DMA_ESC_0008 | Escalator 8 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 22:39:15.427 | 0 | AZC
WENT UNACK Med | 2024.05.21 22:39:00.378 | DMA_ESC_0009 | Escalator 9 Bank 6 (B1 Basement to GF Gound Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 22:39:09.423 | 0 | AZC
WENT UNACK Med | 2024.05.21 22:33:38.422 | DMA_FCU_1115_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.21 22:37:01.467 | 0 | AZC
WENT UNACK Med | 2024.05.21 22:30:50.436 | DMA_FCU_1111_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.21 22:31:19.480 | 0 | AZC
WENT UNACK Med | 2024.05.21 20:28:07.559 | DMA_FCU_0201_02_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.21 20:28:44.422 | 0 | AZC
WENT UNACK Med | 2024.05.21 16:44:34.414 | DMA_FCU_1135_36_FG | Fan Coil Unit - Function Group | Cooling unavailable! |  |  | 2024.05.21 16:45:04.417 | 0 | AZC
WENT UNACK Med | 2024.05.21 16:39:29.828 | PKV_ESC_0001 | Escalator 1 Bank 1 (Platforms to Concourse) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 16:39:38.832 | 0 | PKV
WENT UNACK Med | 2024.05.21 14:47:41.826 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 14:47:50.853 | 0 | PKV
WENT UNACK Med | 2024.05.21 14:47:36.855 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 14:47:44.836 | 0 | PKV
WENT UNACK Med | 2024.05.21 14:47:30.842 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 14:47:39.838 | 0 | PKV
WENT UNACK Med | 2024.05.21 12:10:15.464 | DMA_SPP_0205_06_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.05.21 12:12:05.480 | 0 | AZC
WENT UNACK Med | 2024.05.21 11:56:23.842 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator stopped(emergency stop button activated!) |  |  | 2024.05.21 11:56:35.853 | 0 | PKV
WENT UNACK Med | 2024.05.21 11:07:32.437 | DMA_SPP_0209_10_FG | Sewer Pump Pit - Function Group | Sewer drainage pit not dropping! |  |  | 2024.05.21 11:07:43.479 | 0 | AZC
WENT UNACK Low | 2024.05.22 07:31:57.258 | AEN_DOR_GF_405-2_2 | Ground floor east - back of house emergency corridor | Unauthorised access |  |  | 2024.05.22 07:32:26.352 | 0 | ARN
WENT UNACK Low | 2024.05.22 07:29:34.186 | AEN_DOR_B2_ESC_STAIRS_04_2 | Platform 2 east - single emergency door | Unauthorised access |  |  | 2024.05.22 07:29:39.229 | 0 | ARN
WENT UNACK Low | 2024.05.22 07:22:31.752 | AEN_TEXA | Tunnel Ambient Temperature Control - Eastbound | Temperature Sensors A - Discrepancy |  |  | 2024.05.22 07:30:55.732 | 0 | SDU
WENT UNACK Low | 2024.05.22 07:22:20.917 | _Mod_Plc_1_2 | Distributed Server 1 | Communications Fault - Distributed Server 2 to RSG |  |  | 2024.05.22 07:22:21.928 | 0 | THL
WENT UNACK Low | 2024.05.21 22:37:40.394 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift General Fault |  |  | 2024.05.22 07:15:25.432 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:37:40.394 | DMA_LFT_0004 | Lift 4 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault |  |  | 2024.05.22 07:15:25.432 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:33:39.471 | DMA_FCU_1101_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:37:01.467 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:33:39.471 | DMA_FCU_1103_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:37:01.467 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:33:39.471 | DMA_FCU_1105_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:37:01.467 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:33:38.422 | DMA_FCU_1117_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:37:01.467 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:33:38.422 | DMA_FCU_1121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:37:01.467 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:31:14.426 | DMA_FCU_1127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:38:48.425 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:50.430 | DMA_FCU_0121_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:31:19.469 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:50.430 | DMA_FCU_0127_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:31:19.469 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:49.476 | DMA_FCU_1119_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:31:19.480 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:49.466 | DMA_FCU_0123_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:31:19.469 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:49.466 | DMA_FCU_1001_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:31:19.469 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:49.466 | DMA_FCU_1125_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:31:19.469 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:49.466 | DMA_FCU_1145_FG | Fan Coil Unit - Function Group | Heating / cooling unavailable |  |  | 2024.05.21 22:31:19.469 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:46.397 | DMA-SPE-0244 | B1, DMA-SPE-0244 CONC UNPAID AREA 102-3 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:03.524 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:46.397 | DMA-SPE-0245 | B1, DMA-SPE-0245 CONC UNPAID AREA 102-3 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:03.524 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:45.885 | DMA-SPE-0166 | B1, DMA-SPE-0166 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.807 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:45.885 | DMA-SPE-0167 | B1, DMA-SPE-0167 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.807 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:45.885 | DMA-SPE-0168 | B1, DMA-SPE-0168 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.807 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:45.885 | DMA-SPE-0169 | B1, DMA-SPE-0169 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.807 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:45.885 | DMA-SPE-0170 | B1, DMA-SPE-0170 FIRE LOBBY C/S 406-3 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.808 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:45.885 | DMA-SPE-0721 | B1, DMA-SPE-0721 FIRE LOBBY 406-3 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.808 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:45.885 | DMA-SPE-0722 | B1, DMA-SPE-0722 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.808 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:45.885 | DMA-SPE-0723 | B1, DMA-SPE-0723 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.808 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:45.885 | DMA-SPE-0724 | B1, DMA-SPE-0724 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.808 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:45.885 | DMA-SPE-0725 | B1, DMA-SPE-0725 FIRE ESCAPE C'DOR 405-2 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.808 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:16.925 | DMA-SPE-0832 | B1, DMA-SPE-0832 Escalator 12 (B1 Pit) | Heat or smoke detector fault |  |  | 2024.05.21 22:33:04.983 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:16.874 | DMA-SPE-0811 | GF, DMA-SPE-0811 Escalator 11 (GF Pit) | Heat or smoke detector fault |  |  | 2024.05.21 22:33:04.878 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:14.806 | DMA-SPE-0004 | B1, DMA-SPE-0004 FIELD DEV ROOM 710-6 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.807 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:14.806 | DMA-SPE-0005 | B1, DMA-SPE-0005 HVAC PLANT ROOM 811-8 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.807 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:14.806 | DMA-SPE-0006 | B1, DMA-SPE-0006 HVAC PLANT ROOM 811-8 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.807 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:14.806 | DMA-SPE-0007 | B1, DMA-SPE-0007 WATER METER ROOM 884-1 | Heat or smoke detector fault |  |  | 2024.05.21 22:33:02.807 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:30:11.888 | DMA-FLS-0008 | B1, DMA-FLS-0008 Spr.F/S | Heat or smoke detector fault |  |  | 2024.05.21 22:32:59.890 | 0 | AZC
WENT UNACK Low | 2024.05.21 22:14:16.933 | DMA-SPE-0821 | B2, DMA-SPE-0821 Escalator 1 (B2 Pit) | Heat or smoke detector fault |  |  | 2024.05.21 22:14:47.872 | 0 | AZC
WENT UNACK Low | 2024.05.21 21:56:11.534 | AEN_DOR_GF_401-1_1 | Ground floor east - fire control room | Unauthorised access |  |  | 2024.05.21 21:56:15.728 | 0 | ARN
WENT UNACK Low | 2024.05.21 21:06:00.024 | DMA-SPE-0289 | B2, DMA-SPE-0289 BOH CORRIDOR 151-10 | Heat or smoke detector fault |  |  | 2024.05.21 21:07:02.956 | 0 | AZC
WENT UNACK Low | 2024.05.21 20:51:23.952 | DMA-SPE-0282 | B2, DMA-SPE-0282 FIELD DEV.ROOM 1 710-1 | Heat or smoke detector fault |  |  | 2024.05.21 20:53:00.959 | 0 | AZC
WENT UNACK Low | 2024.05.21 20:35:08.962 | DMA-SPE-0456 | B2, DMA-SPE-0456 FIRE ESC CORRIDOR 405-3 | Heat or smoke detector fault |  |  | 2024.05.21 20:36:14.026 | 0 | AZC
WENT UNACK Low | 2024.05.21 18:18:08.015 | DMA-ASD-0028 | B2, DMA-ASD-0028 OHLE SWITCH RM - F1 | Aspirating smoke detector fault |  |  | 2024.05.21 18:20:14.963 | 0 | AZC
WENT UNACK Low | 2024.05.21 16:39:20.826 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator communications lost |  |  | 2024.05.22 07:21:55.834 | 0 | PKV
WENT UNACK Low | 2024.05.21 16:16:15.332 | AEN_DOR_GF_ESC_STAIR_9_1 | Ground floor east - after hours stairs | Unauthorised access |  |  | 2024.05.21 16:19:19.157 | 0 | ARN
WENT UNACK Low | 2024.05.21 15:43:56.000 | AEN_LFT_0004 | Lift 4 FOH (Concourse to Ground Floor) | Lift monitoring lost |  |  | 2024.05.21 15:44:00.969 | 0 | ARN
WENT UNACK Low | 2024.05.21 15:37:24.827 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator stopped(foreign object trapped in handrail entry - bottom right) |  |  | 2024.05.21 15:37:34.859 | 0 | PKV
WENT UNACK Low | 2024.05.21 15:11:54.469 | PKV_DOR_B4_PKV-S-02_3 | Security Door (B4 EAST) | Unauthorised access |  |  | 2024.05.21 15:12:01.361 | 0 | PKV
WENT UNACK Low | 2024.05.21 15:04:11.018 | AEN_SDP_0101_02_FG | Station Drainage Pit - Function Group | Station drainage pit not dropping! |  |  | 2024.05.21 15:04:40.173 | 0 | ARN
WENT UNACK Low | 2024.05.21 15:04:00.835 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator stopped.(combplate bottom left) |  |  | 2024.05.21 15:04:10.836 | 0 | PKV
WENT UNACK Low | 2024.05.21 15:03:47.838 | PKV_ESC_0002 | Escalator 2 Bank 1 (Platforms to Concourse) | Escalator stopped.(combplate bottom right) |  |  | 2024.05.21 15:03:57.838 | 0 | PKV
WENT UNACK Low | 2024.05.21 14:56:45.041 | AEN_DOR_B2_ESC_STAIRS_03_2 | Platform 1 west - double emergency door | Unauthorised access |  |  | 2024.05.21 14:56:50.898 | 0 | ARN
WENT UNACK Low | 2024.05.21 14:50:13.826 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.05.22 06:59:09.818 | 0 | PKV
WENT UNACK Low | 2024.05.21 14:49:21.837 | PKV_ESC_0008 | Escalator 8 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.05.22 06:58:24.814 | 0 | PKV
WENT UNACK Low | 2024.05.21 14:48:33.837 | PKV_ESC_0007 | Escalator 7 Bank 4 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.05.22 06:57:31.818 | 0 | PKV
WENT UNACK Low | 2024.05.21 14:45:22.062 | AEN_DOR_B2_ESC_STAIRS_03_1 | Platform 2 west - single emergency door | Unauthorised access |  |  | 2024.05.21 14:45:40.583 | 0 | ARN
WENT UNACK Low | 2024.05.21 14:28:29.622 | AEN_DOR_B2_403-1_2 | Platform 1 west - single emergency door | Unauthorised access |  |  | 2024.05.21 14:28:35.076 | 0 | ARN
WENT UNACK Low | 2024.05.21 14:10:28.439 | DMA-BGU-0001 | B2, DMA-BGU-0001 FIRE CONTROL ROOM | Heat or smoke detector fault |  |  | 2024.05.21 14:21:07.826 | 0 | AZC
WENT UNACK Low | 2024.05.21 14:10:27.818 | DMA-SPE-0321 | B1, DMA-SPE-0321 CONC UNPAID AREA 102-2 | Heat or smoke detector fault |  |  | 2024.05.21 14:23:48.885 | 0 | AZC
WENT UNACK Low | 2024.05.21 13:12:34.852 | PKV_DOR_B4_PKV-S-01_4 | West Emergency Stairs - Platform | Unauthorised access |  |  | 2024.05.21 13:12:44.139 | 0 | PKV
WENT UNACK Low | 2024.05.21 12:50:02.435 | DMA_SDP_0105_06_FG | Station Drainage Pump - Function Group | Station drainage pit not dropping! |  |  | 2024.05.21 12:50:06.438 | 0 | AZC
WENT UNACK Low | 2024.05.21 12:32:57.116 | AEN_DOR_L1_ESC_STAIRS_5_1 | Level 1 east - office stairs | Unauthorised access |  |  | 2024.05.21 12:33:01.397 | 0 | ARN
WENT UNACK Low | 2024.05.21 12:27:15.077 | AEN_DOR_GF_405-2_1 | Ground floor east - emergency escape ramp | Door open too long |  |  | 2024.05.21 12:27:38.938 | 0 | ARN
WENT UNACK Low | 2024.05.21 12:19:23.457 | DMA_MCC_0401_ATS_01 | DMA-MCC-0401-ESB-03 ATS | Automatic transfer switch unhealthy |  |  | 2024.05.21 12:59:26.428 | 0 | AZC
WENT UNACK Low | 2024.05.21 12:13:27.641 | PKV_DOR_B4_PKV-S-01_2 | Security Door (B4 WEST) | Unauthorised access |  |  | 2024.05.21 12:13:36.470 | 0 | PKV
WENT UNACK Low | 2024.05.21 11:57:09.286 | AEN_DOR_GF_405-2_1 | Ground floor east - emergency escape ramp | Unauthorised access |  |  | 2024.05.21 12:07:54.024 | 0 | ARN
WENT UNACK Low | 2024.05.21 10:57:19.850 | PKV_ESC_0009 | Escalator 9 Bank 4 (Concourse to Ground Floor) | Escalator failed to start |  |  | 2024.05.21 10:57:28.846 | 0 | PKV
WENT UNACK Low | 2024.05.21 09:32:55.877 | DMA-SPE-0326 | B1, DMA-SPE-0326 CONC PAID AREA 103-1 | Heat or smoke detector fault |  |  | 2024.05.21 14:45:31.962 | 0 | AZC
WENT UNACK Low | 2024.05.20 11:37:12.716 | PKV_ESC_0011 | Escalator 11 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.05.22 07:30:34.830 | 0 | PKV
WENT UNACK Low | 2024.05.20 11:37:11.955 | PKV_ESC_0010 | Escalator 10 Bank 5 (Concourse to Ground Floor) | Escalator communications lost |  |  | 2024.05.22 07:30:43.829 | 0 | PKV
WENT UNACK Low | 2024.05.20 11:37:08.899 | PKV_ESC_0006 | Escalator 6 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  | 2024.05.22 07:10:37.819 | 0 | PKV
WENT UNACK Low | 2024.05.20 11:37:08.137 | PKV_ESC_0005 | Escalator 5 Bank 3 (Platforms to Concourse) | Escalator communications lost |  |  | 2024.05.22 07:12:07.855 | 0 | PKV
WENT UNACK Low | 2024.05.20 11:37:07.369 | PKV_ESC_0004 | Escalator 4 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  | 2024.05.22 07:20:49.830 | 0 | PKV
WENT UNACK Low | 2024.05.20 11:37:06.603 | PKV_ESC_0003 | Escalator 3 Bank 2 (Platforms to Concourse) | Escalator communications lost |  |  | 2024.05.22 07:18:43.838 | 0 | PKV
ACK High | 2024.05.20 08:23:30.503 | _Driver2 | MTTHL:_Driver2. | Driver overloaded | 2024.05.20 15:17:54.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.13 17:25:33.702 | _Driver1_2 | MTAZC:_Driver1_2. | Driver overloaded | 2024.05.17 08:14:22.995 | dominic_dlasselle |  | 0 | ARN
ACK High | 2024.05.10 08:49:20.968 | _Driver2_2 | MTTHL:_Driver2_2. | Driver overloaded | 2024.05.20 15:17:59.449 | eric_maddocks |  | 0 | AZC
ACK High | 2024.05.08 09:24:26.938 | _Driver1_2 | MTARD:_Driver1_2. | Driver overloaded | 2024.05.20 15:17:40.384 | eric_maddocks |  | 0 | PKV
ACK Med | 2024.05.20 12:06:59.071 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:06:59.068 | _Conn_dist_1_2_to_dist_2_2 | Distributed Server 2 | Connection lost to Sunshine Server 2 - Link 0 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:06:59.066 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:06:59.064 | _Conn_dist_1_1_to_dist_2_2 | Distributed Server 1 | Connection lost to Sunshine Server 2 - Link 0 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:06:59.062 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:06:59.059 | _Conn_dist_1_2_to_dist_2_1 | Distributed Server 2 | Connection lost to Sunshine Server 1 - Link 0 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:06:59.057 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:06:59.054 | _Conn_dist_1_1_to_dist_2_1 | Distributed Server 1 | Connection lost to Sunshine Server 1 - Link 0 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:06:59.001 | _Conn_event_0_2_to_driver_1_2 | Distributed Server 2 | Connection lost | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:06:58.974 | _Conn_event_0_1_to_driver_1_1 | Distributed Server 1 | Connection lost | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:03:55.569 | _TSC-BMS-PLC_2 | MTTHL:_TSC-BMS-PLC_2. | Communications Fault - Town Hall Server 2 to Town Hall BMS PLC | 2024.05.20 15:18:27.816 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:03:55.564 | _TSC-FDS-S7PLUS_2 | MTTHL:_TSC-FDS-S7PLUS_2. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.05.20 15:18:27.816 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:03:55.560 | _TSC-FDS-S7PLUS | MTTHL:_TSC-FDS-S7PLUS. | Communications Fault - Town Hall Server 1 to Town Hall FDS PLC | 2024.05.20 15:18:27.816 | eric_maddocks |  | 0 | THL
ACK Med | 2024.05.20 12:03:54.231 | _Mod_Plc_4_2 | MTTHL:_Mod_Plc_4_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.05.20 15:18:27.816 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:03:54.227 | _Mod_Plc_3_2 | MTTHL:_Mod_Plc_3_2. | Communications Fault - Town Hall Server 2 to Town Hall EWIS | 2024.05.20 15:18:07.088 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:03:54.223 | _Mod_Plc_2_2 | MTTHL:_Mod_Plc_2_2. | Communications Fault - Town Hall Server 2 to Town Hall FDS Gateway | 2024.05.20 15:18:07.088 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 12:03:14.933 | _Mod_Plc_1_2 | Anzac Server 2 | Communications Fault - Anzac Server 2 to Anzac PSD | 2024.05.20 15:18:07.116 | eric_maddocks |  | 0 | ARN
ACK Med | 2024.05.20 12:02:23.399 | _Mod_Plc_1 | Anzac Server 1 | Communications Fault - Anzac Server 1 to Anzac PSD | 2024.05.20 15:18:07.116 | eric_maddocks |  | 0 | AZC
ACK Med | 2024.05.20 11:42:04.525 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Power supply to fire panel fault | 2024.05.21 15:26:39.478 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.05.21 09:50:11.517 | AEN_DOR_B1_151-4_1 | Concourse east - back of house emergency corridor | Unauthorised access | 2024.05.21 09:52:39.145 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 12:06:59.010 | _Conn_event_0_2_to_dist_1_2 | Distributed Server 2 | Connection lost - Event to Distribution Manager - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Low | 2024.05.20 12:06:59.006 | _Conn_event_0_1_to_dist_1_1 | Distributed Server 1 | Connection lost - Event to Distribution Manager - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.05.20 12:06:58.995 | _Conn_event_0_2_to_redu_1_2 | Distributed Server 2 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | THL
ACK Low | 2024.05.20 12:06:58.990 | _Conn_event_0_1_to_redu_1_1 | Distributed Server 1 | Connection lost - Event to Redundancy Manager - Link 1 | 2024.05.20 15:17:20.301 | eric_maddocks |  | 0 | ARN
ACK Low | 2024.05.20 11:42:12.082 | DMA_LFT_0009 | Lift 9 BOH (B2 Basement to B1 Basement) | Lift General Fault | 2024.05.21 15:56:43.017 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.05.20 11:42:09.770 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift safety feature fault | 2024.05.21 15:07:27.040 | fadi_duqman |  | 0 | AZC
ACK Low | 2024.05.20 11:42:09.544 | DMA_LFT_0006 | Lift 6 FOH (B1 Basement to GF Gound Floor) | Lift monitoring lost | 2024.05.21 15:07:27.066 | fadi_duqman |  | 0 | AZC
ACK Low | 2024.05.20 11:42:04.140 | DMA-FIP-0001 | Anzac Station FDCIE Panel | Fire panels in the station have a fault | 2024.05.21 15:26:39.393 | himanshu_kakkad |  | 0 | AZC
ACK Low | 2024.05.20 11:40:53.209 | AEN_DOR_L2_ESC_STAIRS_5_2 | Level 2 east - back of house stairs | Unauthorised access | 2024.05.21 09:43:32.566 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:40:53.176 | AEN_DOR_B2_ESC_STAIRS_04_3 | Platform 1 east - double emergency door | Door open too long | 2024.05.21 09:43:32.566 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:39:46.751 | AEN-SPE-0404 | B1, AEN-SPE-0404, 151-10 BOH Corridor | Heat or smoke detector fault | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:38:18.110 | AEN_LFT_0002 | Lift 2 FOH (Platforms to Concourse) | Lift General Fault | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:38:17.926 | AEN_LFT_0001 | Lift 1 FOH (Platforms to Concourse) | Lift General Fault | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:38:16.922 | AEN-FIP-0001 | Arden Main Fire Panel | Fire panels in the station have a fault | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:37:06.086 | AEN_ESC_0007 | Escalator 7 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:37:05.402 | AEN_ESC_0006 | Escalator 6 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN
ACK Low | 2024.05.20 11:37:04.724 | AEN_ESC_0005 | Escalator 5 Bank 5 (Concourse to Ground Floor) | Escalator communications lost | 2024.05.21 09:43:32.472 | harsimran_virk |  | 0 | ARN